## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-20 00:00:00 | 3.117 | 331.13 | 3.288 | 311.132 | 4.022 | 323.845 | 4.088 | 312.722 | 20.52 | 881 | 97.38 | 4.9467
2020-06-20 00:15:00 | 3.034 | 326.71 | 3.22 | 310.761 | 3.699 | 319.523 | 3.856 | 312.349 | 20.43 | 881 | 98.04 | 3.2893
2020-06-20 00:30:00 | 2.492 | 285.65 | 2.519 | 307.435 | 3.031 | 279.365 | 2.931 | 309.006 | 20.45 | 881 | 98.26 | 1.8733
2020-06-20 00:45:00 | 2.014 | 208.95 | 1.913 | 312.56 | 2.568 | 204.353 | 2.216 | 314.157 | 20.44 | 881 | 97.86 | 0.84067
2020-06-20 01:00:00 | 2.026 | 273.0933 | 1.948 | 321.704 | 2.5967 | 267.0847 | 2.2853 | 323.348 | 20.42 | 881 | 97.5667 | 0.82667
2020-06-20 01:15:00 | 2.326 | 340.68 | 2.3593 | 322.5507 | 2.9627 | 333.1847 | 2.8453 | 324.1987 | 20.32 | 881 | 97.44 | 1.3847
2020-06-20 01:30:00 | 2.5087 | 309.94 | 2.5813 | 317.2887 | 3.104 | 301.922 | 3.0653 | 318.912 | 20.3067 | 881 | 97.9133 | 1.706
2020-06-20 01:45:00 | 2.298 | 293.04 | 2.373 | 317.986 | 2.933 | 286.592 | 2.896 | 319.611 | 20.29 | 881 | 98.34 | 1.7553
2020-06-20 02:00:00 | 2.602 | 302.42 | 2.695 | 325.449 | 3.234 | 295.766 | 3.231 | 327.112 | 20.28 | 881 | 98.49 | 1.9793
2020-06-20 02:15:00 | 2.74 | 239.92 | 2.82 | 317.439 | 3.5 | 234.64 | 3.433 | 319.062 | 20.32 | 880.6 | 98.81 | 3.302
2020-06-20 02:30:00 | 3.011 | 341.97 | 3.181 | 322.671 | 3.682 | 334.446 | 3.811 | 324.319 | 20.33 | 880 | 99.14 | 3.0753
2020-06-20 02:45:00 | 3.055 | 314.02 | 3.235 | 328.578 | 3.534 | 307.112 | 3.739 | 330.259 | 20.32 | 880 | 99.3 | 3.116
2020-06-20 03:00:00 | 3.067 | 342.65 | 3.282 | 323.131 | 3.741 | 335.111 | 3.959 | 324.784 | 20.1 | 880 | 99.54 | 3.8653
2020-06-20 03:15:00 | 3.014 | 350.28 | 3.206 | 326.203 | 3.606 | 342.574 | 3.801 | 327.87 | 20.09 | 880 | 99.84 | 3.366
2020-06-20 03:30:00 | 2.882 | 344.17 | 3.035 | 326.301 | 3.538 | 336.598 | 3.638 | 327.967 | 20.04 | 880 | 99.99 | 3.0567
2020-06-20 03:45:00 | 2.996 | 203.48 | 3.159 | 325.685 | 3.666 | 199.003 | 3.782 | 327.348 | 19.95 | 879 | 100 | 3.2447
2020-06-20 04:00:00 | 2.804 | 311.5 | 2.923 | 324.295 | 3.316 | 304.646 | 3.397 | 325.953 | 19.75 | 879 | 100 | 2.3907
2020-06-20 04:15:00 | 2.627 | 346.59 | 2.735 | 323.992 | 3.145 | 338.964 | 3.2 | 325.648 | 19.64 | 879 | 100 | 1.5453
2020-06-20 04:30:00 | 2.5473 | 327.3133 | 2.6473 | 321.5067 | 3.0347 | 320.1127 | 3.0827 | 323.1513 | 19.7467 | 879 | 100 | 1.31
2020-06-20 04:45:00 | 2.6613 | 304.2733 | 2.7993 | 319.5507 | 3.1627 | 297.5793 | 3.28 | 321.184 | 19.76 | 879 | 100 | 1.7733
2020-06-20 05:00:00 | 2.661 | 336.13 | 2.802 | 313.263 | 3.26 | 328.735 | 3.358 | 314.863 | 19.41 | 879 | 100 | 1.8973
2020-06-20 05:15:00 | 2.694 | 245.55 | 2.842 | 321.488 | 3.242 | 240.146 | 3.366 | 323.133 | 19.37 | 879 | 100 | 2.58
2020-06-20 05:30:00 | 3.164 | 312.67 | 3.33 | 328.998 | 3.742 | 305.79 | 3.889 | 330.681 | 19.31 | 879 | 100 | 4.8047
2020-06-20 05:45:00 | 3.25 | 332.71 | 3.364 | 328.589 | 3.747 | 325.391 | 3.821 | 330.268 | 19.21 | 879 | 100 | 5.23
2020-06-20 06:00:00 | 3.014 | 337.72 | 3.117 | 326.152 | 3.567 | 330.29 | 3.601 | 327.821 | 19.24 | 879 | 100 | 4.182
2020-06-20 06:15:00 | 2.834 | 340.8 | 2.955 | 327.395 | 3.304 | 333.302 | 3.403 | 329.069 | 19.21 | 879 | 100 | 2.6267
2020-06-20 06:30:00 | 2.83 | 279.88 | 2.986 | 330.506 | 3.29 | 273.722 | 3.456 | 332.196 | 19.26 | 879 | 100 | 2.2207
2020-06-20 06:45:00 | 2.2387 | 188.3333 | 2.2987 | 334.2607 | 2.6267 | 184.1893 | 2.6293 | 335.97 | 19.22 | 879.6 | 100 | 0.43067
2020-06-20 07:00:00 | 1.8907 | 43.3267 | 1.9133 | 328.9067 | 2.2673 | 42.3727 | 2.202 | 330.588 | 19.2467 | 880 | 100 | 0
2020-06-20 07:15:00 | 1.733 | 83.65 | 1.793 | 305.732 | 2.061 | 81.81 | 2.08 | 307.297 | 19.18 | 880 | 100 | 0
2020-06-20 07:30:00 | 1.793 | 82.89 | 1.832 | 335.249 | 2.021 | 81.065 | 2.029 | 336.963 | 19.28 | 880 | 100 | 0
2020-06-20 07:45:00 | 1.695 | 59.39 | 1.729 | 270.984 | 1.907 | 58.082 | 1.912 | 272.371 | 19.45 | 880 | 100 | 0
2020-06-20 08:00:00 | 1.446 | 26.77 | 1.489 | 176.079 | 1.618 | 26.181 | 1.654 | 176.979 | 19.7 | 880 | 100 | 0
2020-06-20 08:15:00 | 1.211 | 23.6 | 1.235 | 275.149 | 1.344 | 23.079 | 1.353 | 276.557 | 19.69 | 880 | 100 | 0
2020-06-20 08:30:00 | 0.93667 | 28.0444 | 0.92667 | 8.9333 | 0.89778 | 27.4278 | 0.89222 | 8.9789 | 19.8667 | 880 | 100 | 0
2020-06-20 08:45:00 | 0.51467 | 71.58 | 0.48067 | 40.6653 | 0.42 | 70.1027 | 0.384 | 40.8733 | 20.0733 | 881 | 100 | 0
2020-06-20 09:00:00 | 0.83214 | 133.7714 | 0.845 | 119.0157 | 0.90857 | 130.8286 | 0.91286 | 119.6243 | 20.3643 | 881 | 100 | 0
2020-06-20 09:15:00 | 1.751 | 313.13 | 1.781 | 273.186 | 1.995 | 306.24 | 1.982 | 274.58 | 20.19 | 881 | 100 | 0
2020-06-20 09:30:00 | 1.875 | 287.99 | 1.936 | 347.601 | 2.225 | 281.655 | 2.241 | 349.377 | 20.19 | 881 | 100 | 0
2020-06-20 09:45:00 | 1.919 | 266.66 | 2.002 | 271.316 | 2.242 | 260.793 | 2.305 | 272.703 | 20.34 | 881 | 100 | 0
2020-06-20 10:00:00 | 1.929 | 331.29 | 2.025 | 331.825 | 2.351 | 324.002 | 2.41 | 333.521 | 20.44 | 881 | 100 | 0
2020-06-20 10:15:00 | 2.542 | 272.73 | 2.644 | 314.583 | 3.127 | 266.73 | 3.154 | 316.19 | 19.91 | 881 | 100 | 0.97467
2020-06-20 10:30:00 | 2.756 | 275.32 | 2.946 | 313.673 | 3.169 | 269.263 | 3.413 | 315.277 | 19.79 | 881 | 100 | 1.4367
2020-06-20 10:45:00 | 2.41 | 334.15 | 2.541 | 320.872 | 2.943 | 326.798 | 3.035 | 322.514 | 19.79 | 881 | 100 | 1.0087
2020-06-20 11:00:00 | 2.005 | 330.38 | 2.079 | 321.019 | 2.207 | 323.112 | 2.291 | 322.66 | 19.9 | 881 | 100 | 0
2020-06-20 11:15:00 | 1.309 | 223.87 | 1.257 | 310.632 | 1.612 | 218.944 | 1.431 | 312.221 | 20.09 | 881 | 100 | 0
2020-06-20 11:30:00 | 0.946 | 273.2 | 1.036 | 294.953 | 1.178 | 267.19 | 1.278 | 296.464 | 20.51 | 881 | 100 | 0
2020-06-20 11:45:00 | 0.66 | 262.5 | 0.723 | 325.411 | 0.743 | 256.724 | 0.837 | 327.073 | 21.16 | 881 | 100 | 0
2020-06-20 12:00:00 | 0.566 | 193.99 | 0.612 | 317.656 | 0.552 | 189.721 | 0.642 | 319.28 | 21.42 | 881 | 100 | 0
2020-06-20 12:15:00 | 0.841 | 45.7 | 0.871 | 201.772 | 0.875 | 44.695 | 0.919 | 202.802 | 21.27 | 881 | 100 | 0
2020-06-20 12:30:00 | 0.99267 | 291.3 | 1.0233 | 277.394 | 1.0253 | 284.8913 | 1.0767 | 278.8107 | 21.3933 | 881 | 100 | 0
2020-06-20 12:45:00 | 0.792 | 315.8 | 0.798 | 142.162 | 1.164 | 308.852 | 1.068 | 142.888 | 21.66 | 881 | 100 | 0
2020-06-20 13:00:00 | 1.228 | 338.22 | 1.262 | 332.578 | 1.448 | 330.78 | 1.448 | 334.28 | 21.84 | 881 | 97.68 | 0
2020-06-20 13:15:00 | 1.225 | 304.73 | 1.31 | 326.408 | 1.472 | 298.026 | 1.563 | 328.077 | 22.07 | 881 | 95.37 | 0
2020-06-20 13:30:00 | 1.435 | 238.53 | 1.534 | 240.022 | 1.71 | 233.282 | 1.823 | 241.248 | 21.86 | 881 | 94.74 | 0
2020-06-20 13:45:00 | 0.76 | 147.65 | 0.79 | 326.34 | 0.934 | 144.401 | 0.941 | 328.009 | 22.64 | 881 | 92.51 | 0
2020-06-20 14:00:00 | 0.821 | 172.71 | 0.871 | 132.792 | 0.789 | 168.909 | 0.891 | 133.472 | 22.62 | 881 | 86.92 | 0
2020-06-20 14:15:00 | 0.818 | 161.9 | 0.867 | 128.216 | 0.87 | 158.338 | 0.944 | 128.872 | 22.56 | 881 | 83.12 | 0
2020-06-20 14:30:00 | 0.908 | 92 | 0.941 | 91.531 | 1.062 | 89.975 | 1.078 | 91.998 | 22.44 | 881 | 88.98 | 0
2020-06-20 14:45:00 | 0.49 | 139.89 | 0.514 | 117.967 | 0.606 | 136.813 | 0.618 | 118.568 | 22.56 | 881 | 88.51 | 0
2020-06-20 15:00:00 | 0.733 | 171.95 | 0.813 | 180.657 | 0.902 | 168.167 | 1.01 | 181.582 | 22.86 | 881 | 84.03 | 0
2020-06-20 15:15:00 | 0.967 | 197.93 | 1.084 | 139.56 | 0.985 | 193.575 | 1.201 | 140.274 | 22.73 | 881 | 80.305 | 0
2020-06-20 15:30:00 | 1.844 | 215.8 | 1.912 | 180.313 | 2.045 | 211.053 | 2.118 | 181.235 | 22.22 | 881 | 80.568 | 0
2020-06-20 15:45:00 | 1.4193 | 196.3467 | 1.5247 | 174.338 | 1.73 | 192.0267 | 1.8393 | 175.2287 | 22.48 | 881 | 87.9 | 0
2020-06-20 16:00:00 | 1.424 | 187.3667 | 1.524 | 156.5973 | 1.5587 | 183.2453 | 1.7107 | 157.3973 | 22.16 | 881 | 90.94 | 0
2020-06-20 16:15:00 | 1.5167 | 185.7 | 1.5513 | 152.5213 | 1.6033 | 181.6133 | 1.6467 | 153.3013 | 21.6933 | 880.4 | 93.0133 | 0
2020-06-20 16:30:00 | 1.3147 | 173.7467 | 1.306 | 139.9527 | 1.3047 | 169.9247 | 1.2913 | 140.6667 | 21.48 | 880 | 94.4667 | 0
2020-06-20 16:45:00 | 1.26 | 182.0267 | 1.3047 | 160.906 | 1.408 | 178.022 | 1.4553 | 161.7287 | 21.5667 | 880 | 96.0333 | 0
2020-06-20 17:00:00 | 1.4193 | 168.8267 | 1.4947 | 188.5453 | 1.598 | 165.1107 | 1.6847 | 189.51 | 21.6 | 879.0667 | 95.94 | 0
2020-06-20 17:15:00 | 1.544 | 186.08 | 1.628 | 185.664 | 1.514 | 181.988 | 1.686 | 186.616 | 21.44 | 879 | 95.8 | 0
2020-06-20 17:30:00 | 1.458 | 172.82 | 1.534 | 188.01 | 1.438 | 169.018 | 1.58 | 188.972 | 21.44 | 879 | 95.42 | 0
2020-06-20 17:45:00 | 1.759 | 165.63 | 1.833 | 173.946 | 2.035 | 161.986 | 2.098 | 174.836 | 21.46 | 879 | 93.23 | 0
2020-06-20 18:00:00 | 1.608 | 184.97 | 1.671 | 160.666 | 1.86 | 180.901 | 1.905 | 161.488 | 21.58 | 879 | 92.63 | 0
2020-06-20 18:15:00 | 1.41 | 187.26 | 1.475 | 163.581 | 1.539 | 183.139 | 1.626 | 164.416 | 21.54 | 879 | 92.78 | 0
2020-06-20 18:30:00 | 1.322 | 192.11 | 1.342 | 176.196 | 1.283 | 187.883 | 1.336 | 177.098 | 21.49 | 879 | 93.42 | 0
2020-06-20 18:45:00 | 1.722 | 194.27 | 1.799 | 174.328 | 2.036 | 189.996 | 2.09 | 175.219 | 21.43 | 879 | 93.52 | 0.085333
2020-06-20 19:00:00 | 2.166 | 207.24 | 2.309 | 194.936 | 2.598 | 202.682 | 2.742 | 195.931 | 21.43 | 879 | 92.74 | 0.39667
2020-06-20 19:15:00 | 2.119 | 205.82 | 2.246 | 206.867 | 2.143 | 201.293 | 2.379 | 207.925 | 21.49 | 879 | 91.92 | 0.086
2020-06-20 19:30:00 | 2.039 | 199.16 | 2.222 | 186.76 | 2.561 | 194.779 | 2.757 | 187.713 | 21.51 | 879 | 91.76 | 0.016667
2020-06-20 19:45:00 | 1.543 | 203.4 | 1.727 | 190.702 | 1.977 | 198.926 | 2.199 | 191.675 | 21.63 | 879 | 92.16 | 0
2020-06-20 20:00:00 | 1.704 | 204.47 | 1.832 | 180.412 | 2.094 | 199.971 | 2.219 | 181.335 | 21.53 | 879 | 91.62 | 0
2020-06-20 20:15:00 | 1.48 | 205.53 | 1.574 | 176.637 | 1.724 | 201.01 | 1.831 | 177.539 | 21.54 | 879 | 91.18 | 0
2020-06-20 20:30:00 | 1.619 | 197.51 | 1.644 | 185.223 | 1.742 | 193.165 | 1.758 | 186.17 | 21.48 | 879 | 92.22 | 0
2020-06-20 20:45:00 | 1.424 | 208.05 | 1.525 | 201.194 | 1.685 | 203.473 | 1.803 | 202.222 | 21.5 | 879 | 93.64 | 0
2020-06-20 21:00:00 | 1.412 | 205.7733 | 1.522 | 218.4987 | 1.544 | 201.2467 | 1.7153 | 219.6153 | 21.6667 | 879 | 95.2333 | 0
2020-06-20 21:15:00 | 0.97 | 208.4 | 1.0953 | 242.7727 | 1.2193 | 203.8153 | 1.38 | 244.014 | 21.88 | 879 | 93.54 | 0
2020-06-20 21:30:00 | 0.66267 | 226.3533 | 0.71467 | 307.7773 | 0.82467 | 221.3727 | 0.87733 | 309.3507 | 21.9067 | 879 | 92.1733 | 0
2020-06-20 21:45:00 | 0.836 | 260.6333 | 0.81533 | 233.6907 | 0.79867 | 254.898 | 0.77133 | 234.8853 | 21.82 | 879 | 92.3067 | 0
2020-06-20 22:00:00 | 1.102 | 14.74 | 1.134 | 210.914 | 1.08 | 14.416 | 1.148 | 211.994 | 21.8 | 879 | 93.06 | 0
2020-06-20 22:15:00 | 0.902 | 285.7 | 0.968 | 344.43 | 1 | 279.414 | 1.098 | 346.194 | 21.7 | 879 | 92.9 | 0
2020-06-20 22:30:00 | 1.25 | 341.94 | 1.36 | 321.976 | 1.526 | 334.418 | 1.648 | 323.624 | 21.8 | 879 | 93.8 | 0.19267
2020-06-20 22:45:00 | 1.9778 | 124.2 | 2.0511 | 340.4089 | 2.1044 | 121.4678 | 2.2111 | 342.15 | 21.8111 | 879 | 95.4 | 0.51133
2020-06-20 23:00:00 | 2.079 | 16.13 | 2.131 | 340.91 | 2.309 | 15.775 | 2.344 | 342.654 | 21.67 | 879 | 96.61 | 0.46733
2020-06-20 23:15:00 | 2.536 | 117.15 | 2.641 | 314.973 | 3.08 | 114.573 | 3.121 | 316.585 | 21.14 | 879 | 97.76 | 2.8333
2020-06-20 23:30:00 | 3.102 | 312.95 | 3.282 | 319.865 | 3.711 | 306.066 | 3.876 | 321.5 | 20.91 | 879 | 98.84 | 6.4233
2020-06-20 23:45:00 | 3.683 | 343.49 | 3.932 | 328.843 | 4.077 | 335.932 | 4.435 | 330.525 | 21.13 | 879 | 99.44 | 10.1233