## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-21 00:00:00 | 4.251 | 337.9 | 4.55 | 324.304 | 4.745 | 330.466 | 5.168 | 325.963 | 21.06 | 879 | 99.74 | 14.07
2020-06-21 00:15:00 | 4.612 | 331.96 | 4.862 | 320.833 | 5.21 | 324.657 | 5.509 | 322.474 | 21.32 | 879 | 99.82 | 16.6333
2020-06-21 00:30:00 | 5.0607 | 338.5929 | 5.3214 | 321.8243 | 5.7029 | 331.1429 | 6.0136 | 323.4707 | 21.2143 | 878.0714 | 99.35 | 19.04
2020-06-21 00:45:00 | 4.6667 | 332.6733 | 4.7927 | 322.3347 | 5.2973 | 325.3553 | 5.358 | 323.984 | 21.0933 | 878 | 98.8067 | 16.9187
2020-06-21 01:00:00 | 4.4533 | 337.6 | 4.6193 | 325.688 | 5.162 | 330.1727 | 5.2733 | 327.3527 | 21.1333 | 878 | 98.1 | 14.4627
2020-06-21 01:15:00 | 4.174 | 341.12 | 4.244 | 325.006 | 4.832 | 333.614 | 4.778 | 326.668 | 21.04 | 878 | 97.7 | 12.726
2020-06-21 01:30:00 | 4.186 | 338.1 | 4.288 | 324.754 | 4.786 | 330.662 | 4.806 | 326.414 | 21 | 878 | 97.32 | 11.9787
2020-06-21 01:45:00 | 3.534 | 272.46 | 3.508 | 324.756 | 4.252 | 266.467 | 4.003 | 326.416 | 20.92 | 878 | 97.64 | 9.82
2020-06-21 02:00:00 | 4.078 | 320.0067 | 4.3153 | 322.8053 | 4.6047 | 312.966 | 4.9053 | 324.4553 | 20.7533 | 878 | 98.0267 | 10.8407
2020-06-21 02:15:00 | 4.52 | 335.22 | 4.784 | 316.197 | 5.126 | 327.844 | 5.449 | 317.812 | 20.76 | 878 | 98.6 | 14.9293
2020-06-21 02:30:00 | 4.294 | 336.85 | 4.55 | 323.757 | 4.926 | 329.44 | 5.229 | 325.412 | 20.68 | 877.1 | 99.03 | 13.1993
2020-06-21 02:45:00 | 4.226 | 343.05 | 4.522 | 323.718 | 4.829 | 335.503 | 5.22 | 325.374 | 20.58 | 877 | 98.42 | 13.4413
2020-06-21 03:00:00 | 4.74 | 306.43 | 5.024 | 325.166 | 5.355 | 299.688 | 5.716 | 326.829 | 20.53 | 877 | 98.66 | 19.466
2020-06-21 03:15:00 | 5.5447 | 341.32 | 5.9653 | 322.2193 | 6.2873 | 333.8113 | 6.8733 | 323.8653 | 20.5933 | 877 | 99.18 | 25.758
2020-06-21 03:30:00 | 6.114 | 339.08 | 6.562 | 324.754 | 6.656 | 331.62 | 7.352 | 326.414 | 20.58 | 877 | 99.58 | 35.6847
2020-06-21 03:45:00 | 6.426 | 348.4 | 6.93 | 324.17 | 6.938 | 340.734 | 7.744 | 325.826 | 20.38 | 876 | 99.9 | 37.616
2020-06-21 04:00:00 | 6.284 | 348.22 | 6.81 | 323.736 | 6.688 | 340.56 | 7.572 | 325.392 | 19.96 | 876.2 | 100 | 36.6767
2020-06-21 04:15:00 | 6.438 | 347.81 | 6.93 | 323.25 | 6.975 | 340.158 | 7.753 | 324.9 | 20.19 | 876 | 100 | 33.0787
2020-06-21 04:30:00 | 5.78 | 106.2 | 6.155 | 327.932 | 6.299 | 138.953 | 6.865 | 329.609 | 20.34 | 876 | 100 | 27.0967
2020-06-21 04:45:00 | 5.369 | 312.49 | 5.674 | 326.183 | 6.019 | 305.614 | 6.408 | 327.85 | 20.14 | 877 | 100 | 23.8813
2020-06-21 05:00:00 | 5.337 | 343.58 | 5.623 | 330.682 | 5.932 | 336.021 | 6.303 | 332.373 | 20.01 | 877 | 99.7 | 23.292
2020-06-21 05:15:00 | 4.896 | 351.27 | 5.288 | 334.221 | 5.304 | 342.076 | 5.934 | 335.929 | 19.94 | 877 | 99.74 | 18.6973
2020-06-21 05:30:00 | 4.4167 | 345.2 | 4.6973 | 333.8633 | 4.9467 | 337.7447 | 5.33 | 335.57 | 20.0267 | 877 | 99.4667 | 15.3693
2020-06-21 05:45:00 | 4.2547 | 326.36 | 4.532 | 326.8533 | 4.9373 | 319.182 | 5.268 | 328.5247 | 19.96 | 877 | 99.48 | 15.9607
2020-06-21 06:00:00 | 4.6773 | 345.9067 | 4.98 | 323.724 | 5.2707 | 338.2953 | 5.676 | 325.3793 | 19.9333 | 877 | 99.9333 | 18.25
2020-06-21 06:15:00 | 4.932 | 344.4 | 5.254 | 329.256 | 5.566 | 336.822 | 5.99 | 330.938 | 19.88 | 877 | 99.7 | 19.2
2020-06-21 06:30:00 | 4.7778 | 340.3333 | 5.15 | 329.9878 | 5.6267 | 332.8478 | 6.0822 | 331.6756 | 19.7889 | 877 | 97.6 | 19.654
2020-06-21 06:45:00 | 4.767 | 348.83 | 5.244 | 325.449 | 5.574 | 341.156 | 6.245 | 327.113 | 19.73 | 877 | 96.76 | 21.0987
2020-06-21 07:00:00 | 4.993 | 335.38 | 5.42 | 322.281 | 5.657 | 328.001 | 6.27 | 323.928 | 19.73 | 877 | 96.8 | 18.078
2020-06-21 07:15:00 | 4.9 | 337.56 | 5.286 | 325.576 | 5.426 | 330.134 | 6.009 | 327.243 | 19.84 | 877 | 96.52 | 17.7887
2020-06-21 07:30:00 | 4.827 | 340.37 | 5.101 | 323.18 | 5.278 | 332.881 | 5.67 | 324.832 | 19.74 | 877.9 | 95.59 | 16.7047
2020-06-21 07:45:00 | 4.65 | 333.8857 | 4.8543 | 329.2786 | 5.2671 | 326.5407 | 5.475 | 330.9629 | 19.6929 | 878 | 96.0929 | 16.4587
2020-06-21 08:00:00 | 4.5513 | 336.6533 | 4.836 | 331.75 | 5.178 | 329.2473 | 5.5393 | 333.448 | 19.5933 | 878 | 96.4467 | 18.0953
2020-06-21 08:15:00 | 4.3073 | 336.8267 | 4.6727 | 329.958 | 5.0393 | 329.416 | 5.5247 | 331.6447 | 19.72 | 878 | 95.3133 | 14.0433
2020-06-21 08:30:00 | 4.154 | 343.88 | 4.484 | 329.588 | 4.766 | 336.312 | 5.21 | 331.272 | 19.68 | 878 | 93.36 | 11.6067
2020-06-21 08:45:00 | 4.242 | 338.3 | 4.578 | 322.662 | 4.674 | 330.858 | 5.186 | 324.312 | 19.72 | 878 | 92.2 | 10.4747
2020-06-21 09:00:00 | 4.004 | 332.98 | 4.324 | 322.074 | 4.296 | 325.654 | 4.82 | 323.722 | 19.8 | 879 | 92.12 | 9.7927
2020-06-21 09:15:00 | 4.302 | 339.5 | 4.622 | 326.681 | 4.55 | 332.031 | 5.081 | 328.353 | 19.85 | 879 | 92.06 | 12.25
2020-06-21 09:30:00 | 3.925 | 308.71 | 4.24 | 297.215 | 4.483 | 301.919 | 4.914 | 298.733 | 20.21 | 879 | 90.78 | 10.5447
2020-06-21 09:45:00 | 3.777 | 306.03 | 3.997 | 327.485 | 4.192 | 299.296 | 4.488 | 329.157 | 20.44 | 879 | 86.98 | 8.142
2020-06-21 10:00:00 | 3.648 | 275.08 | 3.816 | 325.399 | 4.182 | 269.85 | 4.342 | 327.066 | 20.7 | 879 | 84.9 | 7.8513
2020-06-21 10:15:00 | 3.505 | 239.9 | 3.685 | 322.965 | 4.104 | 234.622 | 4.273 | 324.617 | 21.07 | 879.4 | 82.31 | 5.6193
2020-06-21 10:30:00 | 3.16 | 336.87 | 3.362 | 332.531 | 3.612 | 329.459 | 3.864 | 334.23 | 21.31 | 880 | 80.23 | 3.2933
2020-06-21 10:45:00 | 2.824 | 333.27 | 3.03 | 330.888 | 3.112 | 325.938 | 3.423 | 332.579 | 21.52 | 880 | 79.282 | 2.1087
2020-06-21 11:00:00 | 2.513 | 286.14 | 2.559 | 326.535 | 2.725 | 244.978 | 2.764 | 328.205 | 21.89 | 880 | 79.817 | 1.2013
2020-06-21 11:15:00 | 2.685 | 331.66 | 2.793 | 317.654 | 3.01 | 324.363 | 3.123 | 319.278 | 22.19 | 880 | 77.345 | 1.4893
2020-06-21 11:30:00 | 2.591 | 329.14 | 2.762 | 328.676 | 2.828 | 321.9 | 3.081 | 330.356 | 22.82 | 880 | 76.91 | 1.4307
2020-06-21 11:45:00 | 2.122 | 239.08 | 2.168 | 332.697 | 2.328 | 233.821 | 2.356 | 334.397 | 23.05 | 880 | 74.592 | 0.10333
2020-06-21 12:00:00 | 2.324 | 293.45 | 2.441 | 297.88 | 2.679 | 286.994 | 2.797 | 299.403 | 23.12 | 880 | 74.059 | 0.060714
2020-06-21 12:15:00 | 2.176 | 217.32 | 2.2413 | 307.712 | 2.4487 | 190.4947 | 2.494 | 309.2853 | 23.4533 | 880 | 74.8027 | 0.14
2020-06-21 12:30:00 | 1.6467 | 192.44 | 1.7433 | 230.9967 | 1.73 | 188.206 | 1.8893 | 232.178 | 24.4133 | 880 | 73.0807 | 0
2020-06-21 12:45:00 | 1.5027 | 137.2933 | 1.5853 | 176.392 | 1.688 | 111.2967 | 1.8047 | 177.2933 | 25.1 | 880 | 69.4307 | 0
2020-06-21 13:00:00 | 1.126 | 95.76 | 1.238 | 86.084 | 1.048 | 93.656 | 1.282 | 86.524 | 25.64 | 880 | 67.354 | 0
2020-06-21 13:15:00 | 0.96 | 153.7 | 0.994 | 179.914 | 1.08 | 150.318 | 1.106 | 180.832 | 24.8 | 880 | 66.29 | 0
2020-06-21 13:30:00 | 1.364 | 24.76 | 1.434 | 14.182 | 1.396 | 24.332 | 1.556 | 14.252 | 24.88 | 880 | 72.394 | 0
2020-06-21 13:45:00 | 1.212 | 184.73 | 1.283 | 108.394 | 1.228 | 180.665 | 1.361 | 108.945 | 25.15 | 879 | 70.49 | 0
2020-06-21 14:00:00 | 0.703 | 152.51 | 0.791 | 160.95 | 0.877 | 149.155 | 0.996 | 161.773 | 25.55 | 879 | 70 | 0
2020-06-21 14:15:00 | 0.842 | 191.1 | 0.919 | 127.561 | 0.971 | 186.897 | 1.081 | 128.214 | 25.26 | 879 | 71.249 | 0
2020-06-21 14:30:00 | 0.992 | 146.86 | 0.987 | 142.768 | 1.025 | 143.629 | 1.001 | 143.498 | 25.18 | 879 | 69.657 | 0
2020-06-21 14:45:00 | 0.842 | 169.1467 | 0.878 | 123.892 | 0.83667 | 165.426 | 0.90933 | 124.5253 | 25.2133 | 879 | 69.086 | 0
2020-06-21 15:00:00 | 0.73333 | 126.9867 | 0.752 | 137.4293 | 0.84867 | 124.1927 | 0.85267 | 138.132 | 25.2733 | 879 | 72.3 | 0
2020-06-21 15:15:00 | 0.82 | 59.48 | 0.82267 | 158.292 | 0.99 | 58.1713 | 0.94667 | 159.1027 | 25.26 | 879 | 73.97 | 0
2020-06-21 15:30:00 | 1.5953 | 130.56 | 1.606 | 185.97 | 1.8653 | 127.426 | 1.822 | 186.9213 | 24.4933 | 878.7333 | 76.462 | 0
2020-06-21 15:45:00 | 1.9093 | 315.3933 | 2.008 | 312.0287 | 2.2747 | 308.4553 | 2.3567 | 313.6227 | 24.14 | 878 | 78.9133 | 0
2020-06-21 16:00:00 | 1.954 | 280.02 | 2.062 | 143.256 | 2.284 | 273.86 | 2.396 | 143.99 | 24.06 | 878 | 80.5 | 0
2020-06-21 16:15:00 | 1.83 | 341.56 | 1.946 | 197.066 | 2.186 | 328.532 | 2.258 | 198.076 | 23.94 | 878 | 81.74 | 1.024
2020-06-21 16:30:00 | 2.937 | 210.18 | 3.014 | 304.461 | 3.08 | 205.312 | 3.194 | 306.018 | 23.67 | 877.1 | 79.629 | 4.0213
2020-06-21 16:45:00 | 2.287 | 239.54 | 2.344 | 235.707 | 2.438 | 234.269 | 2.505 | 236.911 | 23.75 | 877 | 77.503 | 2.4433
2020-06-21 17:00:00 | 2.627 | 169.91 | 2.697 | 273.605 | 2.672 | 166.17 | 2.796 | 275.003 | 23.85 | 877 | 76.204 | 3.772
2020-06-21 17:15:00 | 2.713 | 209.38 | 2.783 | 273.724 | 2.88 | 204.774 | 2.97 | 275.122 | 23.97 | 877 | 74.603 | 3.312
2020-06-21 17:30:00 | 2.253 | 337.34 | 2.322 | 337.44 | 2.411 | 329.919 | 2.498 | 339.167 | 24.08 | 877 | 74.863 | 1.6713
2020-06-21 17:45:00 | 2.244 | 333.23 | 2.315 | 319.56 | 2.355 | 324.734 | 2.461 | 321.194 | 24.15 | 878 | 75.085 | 1.4073
2020-06-21 18:00:00 | 1.91 | 236.28 | 1.933 | 321.244 | 2.135 | 232.208 | 2.138 | 322.886 | 24.14 | 878 | 73.924 | 0.966
2020-06-21 18:15:00 | 1.888 | 327.01 | 1.956 | 262.66 | 2.152 | 319.816 | 2.207 | 264.005 | 24.54 | 878 | 74.69 | 0.82
2020-06-21 18:30:00 | 2.149 | 256.7 | 2.187 | 321.977 | 2.572 | 251.051 | 2.524 | 323.623 | 24.5 | 878 | 74.858 | 1.632
2020-06-21 18:45:00 | 2.3387 | 301.2733 | 2.3573 | 319.7933 | 2.5167 | 294.6453 | 2.5027 | 321.4273 | 24.0133 | 878.6 | 74.148 | 1.5007
2020-06-21 19:00:00 | 2.6667 | 285.3333 | 2.6593 | 326.1047 | 2.9387 | 279.0547 | 2.8513 | 327.7707 | 23.7133 | 879 | 75.4713 | 2.776
2020-06-21 19:15:00 | 3.3607 | 321.1667 | 3.616 | 310.0913 | 3.8 | 314.1027 | 4.156 | 311.6767 | 23.3867 | 879 | 77.994 | 5.8813
2020-06-21 19:30:00 | 3.6373 | 340.9467 | 3.9267 | 312.074 | 4.1987 | 333.9013 | 4.588 | 313.6687 | 23.1933 | 879 | 80.68 | 9.9427
2020-06-21 19:45:00 | 3.8473 | 319.1667 | 4.1427 | 292.2453 | 4.2167 | 312.1453 | 4.67 | 293.74 | 23.0133 | 878.4 | 81.8067 | 10.6447
2020-06-21 20:00:00 | 3.76 | 345.22 | 4.018 | 334.828 | 4.092 | 337.626 | 4.478 | 336.538 | 22.9 | 878 | 82.78 | 10.0207
2020-06-21 20:15:00 | 3.804 | 284.42 | 4.104 | 275.894 | 4.236 | 278.164 | 4.67 | 277.304 | 22.82 | 878 | 84.26 | 12.1427
2020-06-21 20:30:00 | 3.852 | 8.34 | 4.094 | 142.806 | 4.304 | 8.156 | 4.632 | 143.536 | 22.76 | 877.2 | 85.4 | 13.3693
2020-06-21 20:45:00 | 3.731 | 249.5 | 3.853 | 303.834 | 4.11 | 278.259 | 4.238 | 305.389 | 22.69 | 877 | 84.97 | 9.4507
2020-06-21 21:00:00 | 3.205 | 247.24 | 3.299 | 302.037 | 3.521 | 241.801 | 3.614 | 303.581 | 22.52 | 877 | 85.1 | 7.918
2020-06-21 21:15:00 | 3.524 | 318.59 | 3.779 | 330.317 | 3.959 | 309.527 | 4.318 | 332.008 | 22.32 | 877.4 | 84.97 | 11.2547
2020-06-21 21:30:00 | 3.79 | 310.39 | 3.967 | 326.004 | 4.191 | 303.561 | 4.414 | 327.672 | 22.18 | 878 | 85.46 | 10.2507
2020-06-21 21:45:00 | 4.137 | 337.98 | 4.395 | 319.844 | 4.405 | 330.544 | 4.823 | 321.48 | 21.99 | 878 | 84.79 | 15.154
2020-06-21 22:00:00 | 4.333 | 343.7 | 4.611 | 319.013 | 4.813 | 336.138 | 5.203 | 320.645 | 21.87 | 878 | 84.55 | 16.3973
2020-06-21 22:15:00 | 4.331 | 336.82 | 4.645 | 325.859 | 4.748 | 329.41 | 5.221 | 327.524 | 21.7 | 878 | 84.66 | 18.4247
2020-06-21 22:30:00 | 4.777 | 339.97 | 5.136 | 328.648 | 5.3 | 332.492 | 5.83 | 330.327 | 21.55 | 878 | 85.3 | 19.5447
2020-06-21 22:45:00 | 4.891 | 334.57 | 5.175 | 323.162 | 5.411 | 327.21 | 5.797 | 324.812 | 21.46 | 878 | 85.89 | 17.3273
2020-06-21 23:00:00 | 4.7527 | 334.5533 | 5.0987 | 323.822 | 5.368 | 327.194 | 5.8467 | 325.478 | 21.4733 | 878 | 85.96 | 16.728
2020-06-21 23:15:00 | 4.7307 | 339.58 | 5.0927 | 324.918 | 5.3627 | 331.444 | 5.872 | 326.5793 | 21.3533 | 878 | 85.6067 | 16.4527
2020-06-21 23:30:00 | 4.444 | 337.6 | 4.876 | 317.03 | 5.202 | 330.174 | 5.806 | 318.65 | 21.26 | 878 | 85.5 | 16.5893
2020-06-21 23:45:00 | 4.732 | 337.74 | 5.09 | 328.686 | 5.332 | 330.31 | 5.84 | 330.368 | 21.3 | 878 | 85.76 | 17.206