## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-22 00:00:00 | 4.53 | 339.16 | 4.906 | 321.312 | 4.974 | 331.698 | 5.562 | 322.956 | 21.3 | 878 | 86.16 | 17.658
2020-06-22 00:15:00 | 4.519 | 339.4 | 4.897 | 318.534 | 5.056 | 331.933 | 5.623 | 320.164 | 21.08 | 878 | 85.55 | 17.19
2020-06-22 00:30:00 | 4.54 | 335.58 | 4.937 | 317.636 | 5.107 | 328.2 | 5.695 | 319.259 | 21 | 878 | 86.58 | 18.5307
2020-06-22 00:45:00 | 5.006 | 343.26 | 5.441 | 326.573 | 5.578 | 335.707 | 6.237 | 328.243 | 20.82 | 878 | 87.2 | 23.7787
2020-06-22 01:00:00 | 5.376 | 340.36 | 5.778 | 324.392 | 5.789 | 333.89 | 6.439 | 326.05 | 20.77 | 878 | 87.53 | 27.4287
2020-06-22 01:15:00 | 5.0847 | 348.3 | 5.468 | 329.5467 | 5.4673 | 340.638 | 6.0893 | 331.232 | 20.5533 | 878 | 87.2 | 29.59
2020-06-22 01:30:00 | 5.256 | 346.96 | 5.722 | 339.562 | 6.052 | 339.33 | 6.706 | 341.296 | 20.48 | 878 | 87.62 | 33.544
2020-06-22 01:45:00 | 5.879 | 339.15 | 6.34 | 326.545 | 6.556 | 331.689 | 7.236 | 328.214 | 20.35 | 878 | 88.5 | 35.32
2020-06-22 02:00:00 | 6.005 | 343.59 | 6.508 | 314.203 | 6.661 | 336.031 | 7.427 | 315.808 | 20.21 | 878 | 88.04 | 41.692
2020-06-22 02:15:00 | 6.203 | 341.02 | 6.564 | 321.087 | 6.804 | 333.515 | 7.32 | 322.728 | 20.09 | 877.6 | 87.91 | 43.8487
2020-06-22 02:30:00 | 6.039 | 342.3 | 6.401 | 324.491 | 6.576 | 334.77 | 7.108 | 326.15 | 20.14 | 877 | 88.8 | 40.834
2020-06-22 02:45:00 | 6.058 | 335 | 6.364 | 321.568 | 6.508 | 327.63 | 6.962 | 323.21 | 20.22 | 878 | 89.5 | 40.696
2020-06-22 03:00:00 | 6.416 | 343.78 | 6.712 | 331.25 | 7.068 | 336.216 | 7.444 | 332.942 | 20.26 | 877.2 | 89.56 | 42.64
2020-06-22 03:15:00 | 6.126 | 306.26 | 6.492 | 329.869 | 6.552 | 299.523 | 7.122 | 331.557 | 20.16 | 877 | 90.4 | 41.5607
2020-06-22 03:30:00 | 5.83 | 343.68 | 6.176 | 327.15 | 6.169 | 336.118 | 6.733 | 328.823 | 20.03 | 877 | 90.81 | 37.3347
2020-06-22 03:45:00 | 5.471 | 346.78 | 5.785 | 329.166 | 5.697 | 339.151 | 6.227 | 330.849 | 20.01 | 877.4 | 89.24 | 34.2727
2020-06-22 04:00:00 | 5.498 | 337.82 | 5.6753 | 320.79 | 5.774 | 330.3867 | 6.0327 | 322.4307 | 20.06 | 877.3333 | 89.2 | 33.7773
2020-06-22 04:15:00 | 4.9767 | 230.7067 | 5.0427 | 323.2793 | 5.0387 | 225.632 | 5.1513 | 324.9333 | 20.0133 | 878 | 88.54 | 30.6073
2020-06-22 04:30:00 | 5.332 | 273.04 | 5.494 | 318.298 | 5.378 | 267.034 | 5.678 | 319.928 | 19.96 | 878 | 88.52 | 33.3613
2020-06-22 04:45:00 | 5.785 | 337.59 | 5.998 | 319.111 | 5.82 | 330.162 | 6.218 | 320.744 | 19.98 | 878 | 89.2 | 38.9567
2020-06-22 05:00:00 | 6.956 | 303.53 | 7.215 | 326.094 | 7.383 | 296.851 | 7.751 | 327.763 | 19.8 | 878 | 91.13 | 51.2947
2020-06-22 05:15:00 | 6.999 | 340.41 | 7.306 | 324.489 | 7.357 | 332.285 | 7.805 | 326.149 | 19.63 | 878 | 91.96 | 52.0753
2020-06-22 05:30:00 | 7.208 | 340.04 | 7.526 | 327.072 | 7.587 | 331.503 | 8.074 | 328.744 | 19.48 | 878 | 91.6 | 52.4407
2020-06-22 05:45:00 | 6.944 | 311.54 | 7.232 | 328.266 | 7.293 | 304.687 | 7.745 | 329.945 | 19.44 | 878 | 91.76 | 51.0633
2020-06-22 06:00:00 | 6.984 | 310.64 | 7.326 | 324.959 | 7.49 | 303.806 | 7.993 | 326.621 | 19.37 | 878 | 91.74 | 49.1367
2020-06-22 06:15:00 | 6.519 | 238.85 | 6.802 | 322.526 | 7.376 | 233.594 | 7.662 | 324.173 | 19.35 | 878 | 91.64 | 45.212
2020-06-22 06:30:00 | 6.528 | 342.36 | 6.811 | 319.787 | 7.193 | 334.828 | 7.539 | 321.423 | 19.39 | 878 | 91.96 | 45.686
2020-06-22 06:45:00 | 6.5567 | 343.3867 | 6.872 | 325.0027 | 7.1127 | 335.8327 | 7.5527 | 326.6633 | 19.4333 | 878 | 92.0933 | 48.9053
2020-06-22 07:00:00 | 6.458 | 283.78 | 6.734 | 320.374 | 6.676 | 277.538 | 7.14 | 322.01 | 19.34 | 878 | 92.2 | 47.1607
2020-06-22 07:15:00 | 5.8811 | 342.8 | 6.2356 | 324.7733 | 6.4822 | 335.2589 | 6.9822 | 326.4311 | 19.2556 | 878 | 92.3 | 48.526
2020-06-22 07:30:00 | 6.22 | 240.64 | 6.519 | 334.241 | 7.192 | 235.346 | 7.478 | 335.949 | 19.32 | 878 | 91.84 | 46.8867
2020-06-22 07:45:00 | 6.689 | 246.45 | 6.915 | 328.295 | 7.677 | 241.028 | 7.822 | 329.974 | 19.34 | 878 | 91.66 | 48.92
2020-06-22 08:00:00 | 6.794 | 343.91 | 7.032 | 328.599 | 7.925 | 336.344 | 8.05 | 330.279 | 19.53 | 878 | 90.75 | 51.1467
2020-06-22 08:15:00 | 7.636 | 310 | 8.099 | 325.372 | 8.954 | 303.181 | 9.442 | 327.033 | 19.64 | 879 | 90.15 | 54.0053
2020-06-22 08:30:00 | 7.595 | 275.59 | 8.122 | 298.405 | 8.481 | 269.527 | 9.216 | 299.931 | 19.76 | 879 | 89.76 | 53.5987
2020-06-22 08:45:00 | 7.236 | 314.47 | 7.717 | 329.412 | 8.09 | 307.023 | 8.757 | 331.095 | 19.92 | 879 | 88.61 | 54.298
2020-06-22 09:00:00 | 7.683 | 346.71 | 8.139 | 327.404 | 8.577 | 339.081 | 9.186 | 329.079 | 20.27 | 879 | 88.22 | 54.382
2020-06-22 09:15:00 | 7.763 | 311.83 | 8.198 | 329.615 | 8.519 | 304.97 | 9.129 | 331.3 | 20.46 | 880 | 87.16 | 53.1613
2020-06-22 09:30:00 | 7.228 | 347.62 | 7.696 | 328.842 | 8.079 | 339.454 | 8.721 | 329.421 | 20.58 | 880 | 86.28 | 51.4007
2020-06-22 09:45:00 | 7.066 | 306.43 | 7.518 | 327.737 | 7.96 | 299.69 | 8.56 | 329.414 | 20.88 | 880 | 85.49 | 49.8233
2020-06-22 10:00:00 | 6.717 | 311.44 | 7.117 | 296.617 | 7.696 | 304.589 | 8.173 | 298.135 | 20.94 | 880 | 84.99 | 46.8847
2020-06-22 10:15:00 | 6.339 | 308.49 | 6.824 | 328.09 | 7.207 | 301.704 | 7.871 | 329.767 | 20.96 | 881 | 86.74 | 45.806
2020-06-22 10:30:00 | 6.125 | 315.98 | 6.548 | 272.636 | 7.273 | 309.028 | 7.741 | 274.031 | 21.01 | 881 | 86.21 | 46.258
2020-06-22 10:45:00 | 6.824 | 311.35 | 7.253 | 306.113 | 7.818 | 305.145 | 8.32 | 307.679 | 21.24 | 881 | 85.88 | 47.84
2020-06-22 11:00:00 | 6.113 | 242.46 | 6.364 | 300.208 | 6.906 | 237.127 | 7.153 | 301.742 | 21.5 | 881 | 84.15 | 43.8467
2020-06-22 11:15:00 | 5.805 | 309.41 | 6.086 | 270.808 | 6.584 | 302.601 | 6.892 | 272.193 | 21.62 | 881 | 81.85 | 40.3653
2020-06-22 11:30:00 | 5.457 | 204.52 | 5.646 | 265.38 | 6.131 | 200.02 | 6.296 | 266.737 | 21.59 | 881.9 | 82.89 | 38.1993
2020-06-22 11:45:00 | 4.708 | 271.07 | 4.842 | 304.529 | 5.329 | 265.107 | 5.41 | 306.086 | 21.81 | 882 | 84.17 | 32.4427
2020-06-22 12:00:00 | 4.903 | 185.65 | 5.037 | 336.276 | 5.461 | 181.564 | 5.556 | 337.995 | 22.16 | 882 | 83.06 | 32.5213
2020-06-22 12:15:00 | 4.595 | 211.89 | 4.731 | 268.529 | 5.161 | 207.227 | 5.256 | 269.903 | 22.37 | 882 | 78.621 | 32.224
2020-06-22 12:30:00 | 4.314 | 310.61 | 4.42 | 233.761 | 4.541 | 303.777 | 4.682 | 234.958 | 22.68 | 882 | 77.291 | 28.098
2020-06-22 12:45:00 | 4.312 | 154.6 | 4.47 | 212.714 | 4.588 | 151.2 | 4.808 | 213.802 | 23.2 | 882 | 76.814 | 25.7447
2020-06-22 13:00:00 | 4.288 | 265.72 | 4.498 | 203.366 | 4.62 | 259.876 | 4.922 | 204.404 | 23.56 | 882.8 | 74.786 | 24.3627
2020-06-22 13:15:00 | 4.2547 | 237.6067 | 4.4607 | 311.6953 | 4.7287 | 232.3787 | 4.9853 | 313.2893 | 23.78 | 883 | 74.29 | 23.956
2020-06-22 13:30:00 | 4.4867 | 296.26 | 4.8567 | 206.7107 | 4.93 | 289.7433 | 5.5067 | 207.768 | 23.9667 | 883 | 73.6033 | 28.278
2020-06-22 13:45:00 | 4.8893 | 169.72 | 5.2173 | 204.226 | 5.542 | 165.9847 | 5.976 | 205.27 | 24.0867 | 883 | 74.7053 | 29.362
2020-06-22 14:00:00 | 4.6953 | 164.9533 | 5.1073 | 253.7527 | 5.32 | 161.3247 | 5.9187 | 255.0493 | 24.1133 | 883 | 74.0867 | 25.706
2020-06-22 14:15:00 | 4.5307 | 191.36 | 4.7533 | 137.93 | 4.908 | 187.1493 | 5.222 | 138.6367 | 24.1933 | 883 | 72.6813 | 29.4707
2020-06-22 14:30:00 | 4.7747 | 295.82 | 5.104 | 228.846 | 5.332 | 289.3107 | 5.798 | 230.016 | 24.24 | 882.0667 | 73.9373 | 29.8
2020-06-22 14:45:00 | 4.4313 | 250.86 | 4.6587 | 282.3753 | 5.2213 | 245.2573 | 5.4227 | 306.414 | 24.18 | 882 | 75.374 | 28.1087
2020-06-22 15:00:00 | 4.9173 | 317.1333 | 5.048 | 327.5587 | 5.334 | 309.6533 | 5.4593 | 329.2333 | 24.0333 | 882 | 75.012 | 25.1513
2020-06-22 15:15:00 | 4.208 | 213.6667 | 4.4173 | 289.944 | 4.686 | 208.9647 | 4.95 | 291.4267 | 24.3467 | 882 | 75.4773 | 23.2147
2020-06-22 15:30:00 | 4.2953 | 170.4333 | 4.5293 | 245.7467 | 4.908 | 166.684 | 5.178 | 247.0027 | 24.3933 | 882 | 72.418 | 24.498
2020-06-22 15:45:00 | 4.4267 | 173.7667 | 4.6787 | 274.4987 | 5.0453 | 169.9427 | 5.348 | 275.9033 | 24.3267 | 882 | 71.4793 | 24.2633
2020-06-22 16:00:00 | 4.664 | 167.6733 | 4.9053 | 297.2867 | 5.546 | 163.9853 | 5.7473 | 298.8053 | 24.32 | 882 | 72.146 | 27.094
2020-06-22 16:15:00 | 4.954 | 260.7533 | 5.2307 | 315.508 | 5.538 | 255.0173 | 5.8913 | 317.1227 | 24.5 | 882 | 72.576 | 24.1727
2020-06-22 16:30:00 | 4.4213 | 190.18 | 4.6713 | 311.6433 | 5.23 | 185.996 | 5.474 | 313.236 | 24.84 | 882 | 71.778 | 24.3627
2020-06-22 16:45:00 | 4.456 | 170.6067 | 4.7387 | 269.1773 | 5.4327 | 166.8533 | 5.6833 | 270.5553 | 24.8733 | 882 | 70.498 | 25.5087
2020-06-22 17:00:00 | 4.912 | 142.65 | 5.355 | 266.888 | 5.992 | 139.511 | 6.514 | 268.25 | 25.01 | 882 | 68.939 | 29.7193
2020-06-22 17:15:00 | 4.816 | 178.51 | 5.108 | 207.19 | 5.47 | 209.457 | 5.842 | 208.248 | 24.9 | 882 | 68.785 | 26.688
2020-06-22 17:30:00 | 4.484 | 313.34 | 4.708 | 241.312 | 4.994 | 306.447 | 5.273 | 242.546 | 24.94 | 882 | 68.93 | 22.902
2020-06-22 17:45:00 | 4.165 | 209.58 | 4.365 | 273.049 | 4.711 | 204.968 | 4.934 | 274.443 | 24.85 | 882 | 69.391 | 23.0553
2020-06-22 18:00:00 | 4.563 | 287.26 | 4.73 | 240.96 | 5.102 | 280.94 | 5.26 | 242.193 | 24.82 | 882 | 72.47 | 24.4747
2020-06-22 18:15:00 | 5.24 | 180.3 | 5.506 | 306.126 | 5.814 | 176.109 | 6.149 | 307.69 | 25.26 | 881 | 70.307 | 29.3367
2020-06-22 18:30:00 | 5.387 | 246.03 | 5.543 | 238.79 | 5.954 | 240.618 | 6.09 | 240.009 | 25.14 | 881 | 68.506 | 32.288
2020-06-22 18:45:00 | 5.367 | 244.95 | 5.579 | 302.857 | 6.137 | 239.56 | 6.317 | 304.405 | 24.8 | 881 | 69.357 | 33.2747
2020-06-22 19:00:00 | 5.238 | 247.69 | 5.578 | 274.729 | 6.153 | 242.104 | 6.534 | 276.135 | 24.73 | 881 | 71.201 | 29.5473
2020-06-22 19:15:00 | 4.766 | 147.24 | 5.011 | 304.92 | 5.478 | 144 | 5.739 | 306.478 | 24.52 | 881 | 71.865 | 24.2767
2020-06-22 19:30:00 | 4.747 | 142.06 | 4.857 | 337.166 | 5.483 | 138.936 | 5.48 | 338.89 | 24.28 | 881 | 72.182 | 29.338
2020-06-22 19:45:00 | 5.086 | 144.77 | 5.352 | 335.854 | 5.852 | 141.585 | 6.133 | 337.571 | 24.13 | 881 | 73.677 | 30.3493
2020-06-22 20:00:00 | 5.163 | 144.61 | 5.424 | 303.826 | 5.828 | 141.429 | 6.131 | 305.379 | 24.05 | 881 | 73.838 | 27.124
2020-06-22 20:15:00 | 4.432 | 103.89 | 4.513 | 335.483 | 5.144 | 101.604 | 5.096 | 337.197 | 23.91 | 881 | 74.61 | 23.364
2020-06-22 20:30:00 | 4.884 | 180.17 | 5.02 | 307.865 | 5.4 | 176.207 | 5.507 | 309.44 | 23.95 | 881 | 74.827 | 23.7307
2020-06-22 20:45:00 | 4.41 | 215.14 | 4.581 | 340.109 | 5.092 | 210.407 | 5.22 | 341.848 | 23.81 | 881 | 75.248 | 21.1327
2020-06-22 21:00:00 | 4.016 | 111.93 | 4.205 | 304.735 | 4.63 | 109.468 | 4.812 | 306.294 | 23.75 | 881 | 74.948 | 15.424
2020-06-22 21:15:00 | 3.258 | 243.19 | 3.469 | 269.47 | 3.676 | 237.84 | 3.955 | 270.846 | 23.59 | 881 | 75.999 | 12.738
2020-06-22 21:30:00 | 3.5178 | 308.1111 | 3.6756 | 325.7833 | 3.7967 | 301.3311 | 4.0167 | 327.4489 | 23.5333 | 881 | 74.8411 | 13.134
2020-06-22 21:45:00 | 3.126 | 81.34 | 3.236 | 333.772 | 3.362 | 79.552 | 3.508 | 335.478 | 23.52 | 881 | 73.96 | 11.4493
2020-06-22 22:00:00 | 2.954 | 210.62 | 3.146 | 201.078 | 3.122 | 205.984 | 3.436 | 202.106 | 23.4 | 881.8 | 75.198 | 9.0907
2020-06-22 22:15:00 | 3.294 | 325.2133 | 3.492 | 333.1333 | 3.5567 | 318.0593 | 3.86 | 334.836 | 23.2933 | 882 | 75.696 | 10.8507
2020-06-22 22:30:00 | 3.0847 | 232.96 | 3.1927 | 333.8567 | 3.2953 | 227.8333 | 3.4413 | 335.5633 | 23.2067 | 882 | 76.398 | 8.9967
2020-06-22 22:45:00 | 3.5493 | 145.34 | 3.738 | 315.6333 | 3.7807 | 142.1433 | 4.0753 | 317.2467 | 23.18 | 882 | 77.716 | 11.1973
2020-06-22 23:00:00 | 3.5907 | 168.0267 | 3.808 | 335.4467 | 3.826 | 164.3293 | 4.1727 | 337.1627 | 22.94 | 882 | 78.7847 | 10.5487
2020-06-22 23:15:00 | 3.782 | 342.5933 | 3.9887 | 330.1073 | 4.11 | 335.0567 | 4.408 | 331.796 | 22.7933 | 882 | 80.6533 | 10.7787
2020-06-22 23:30:00 | 3.9933 | 340.38 | 4.216 | 337.6047 | 4.2953 | 332.892 | 4.6327 | 339.3313 | 22.7533 | 882 | 82.36 | 12.7747
2020-06-22 23:45:00 | 4.408 | 344.8933 | 4.654 | 314.916 | 4.7413 | 337.306 | 5.1127 | 316.5267 | 22.58 | 882 | 84.4533 | 18.432