## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-23 00:00:00 | 4.764 | 342.9267 | 4.9593 | 336.5573 | 5.1813 | 335.3827 | 5.436 | 338.2773 | 22.56 | 881.0667 | 85.6333 | 22.34
2020-06-23 00:15:00 | 4.9 | 342.66 | 5.074 | 334.574 | 5.442 | 335.122 | 5.62 | 336.282 | 22.6 | 881 | 86.26 | 25.502
2020-06-23 00:30:00 | 5.229 | 313.06 | 5.423 | 336.226 | 5.536 | 306.172 | 5.819 | 337.944 | 22.67 | 881 | 87.62 | 29.2153
2020-06-23 00:45:00 | 4.941 | 308.98 | 5.192 | 335.669 | 5.343 | 302.185 | 5.704 | 337.384 | 22.42 | 881 | 88.83 | 22.8287
2020-06-23 01:00:00 | 4.503 | 344.86 | 4.756 | 323.882 | 4.963 | 337.388 | 5.31 | 325.541 | 22.26 | 881 | 89.1 | 20.83
2020-06-23 01:15:00 | 4.5973 | 342.3733 | 4.7973 | 332.5007 | 5.106 | 334.8413 | 5.3393 | 334.2007 | 22.22 | 881 | 89.46 | 16.6393
2020-06-23 01:30:00 | 4.282 | 347.72 | 4.576 | 328.822 | 4.774 | 340.068 | 5.186 | 330.504 | 21.98 | 881 | 90.78 | 15.5253
2020-06-23 01:45:00 | 4.108 | 310.48 | 4.334 | 326.751 | 4.694 | 302.906 | 4.955 | 328.42 | 22.03 | 881 | 92.15 | 14.184
2020-06-23 02:00:00 | 4.241 | 345.24 | 4.382 | 327.414 | 4.801 | 337.644 | 4.91 | 329.089 | 22.06 | 881 | 91.11 | 12.8773
2020-06-23 02:15:00 | 3.884 | 334.62 | 4.05 | 324.694 | 3.892 | 327.258 | 4.202 | 326.356 | 22.24 | 881 | 89.12 | 12.0453
2020-06-23 02:30:00 | 4.102 | 276.16 | 4.29 | 343.708 | 4.514 | 270.086 | 4.752 | 345.464 | 22.26 | 881 | 87.94 | 11.506
2020-06-23 02:45:00 | 4.088 | 247.45 | 4.252 | 337.927 | 4.629 | 242.007 | 4.785 | 339.657 | 21.87 | 881 | 90.08 | 14.646
2020-06-23 03:00:00 | 4.446 | 247.2 | 4.663 | 308.549 | 4.758 | 241.761 | 5.083 | 310.127 | 21.72 | 881 | 92.35 | 16.5313
2020-06-23 03:15:00 | 4.4927 | 276.14 | 4.728 | 313.8607 | 5.014 | 270.0647 | 5.3053 | 315.4647 | 21.3533 | 881 | 93.9133 | 19.05
2020-06-23 03:30:00 | 4.454 | 339.2 | 4.676 | 328.744 | 4.83 | 331.74 | 5.144 | 330.426 | 21.28 | 880.2 | 93.88 | 15.3793
2020-06-23 03:45:00 | 4.109 | 330.5 | 4.316 | 312.961 | 4.503 | 323.229 | 4.786 | 314.561 | 21.11 | 881 | 93.68 | 19.0887
2020-06-23 04:00:00 | 4.829 | 274.98 | 5.038 | 329.968 | 5.015 | 268.929 | 5.363 | 331.653 | 20.84 | 881 | 96.2 | 22.3507
2020-06-23 04:15:00 | 5.374 | 345.06 | 5.721 | 330.875 | 5.745 | 337.467 | 6.297 | 332.568 | 20.53 | 880.6 | 98.03 | 31.498
2020-06-23 04:30:00 | 5.339 | 278.11 | 5.661 | 331.865 | 5.982 | 273.508 | 6.411 | 333.561 | 20.42 | 880 | 99.08 | 32.5667
2020-06-23 04:45:00 | 5.1473 | 325.14 | 5.4587 | 332.4827 | 5.3127 | 317.2253 | 5.8553 | 334.1807 | 20.32 | 880 | 99.56 | 27.734
2020-06-23 05:00:00 | 5.078 | 347.96 | 5.412 | 331.154 | 5.4 | 340.304 | 5.942 | 332.846 | 20.2 | 880 | 99.68 | 28.864
2020-06-23 05:15:00 | 5.466 | 348.89 | 5.865 | 331.484 | 6.008 | 341.214 | 6.606 | 333.178 | 20.18 | 880 | 99.84 | 40.6813
2020-06-23 05:30:00 | 6.445 | 343.78 | 6.958 | 330.064 | 7.079 | 336.217 | 7.871 | 331.752 | 19.97 | 880 | 99.81 | 46.8253
2020-06-23 05:45:00 | 6.38 | 345.48 | 6.842 | 296.939 | 6.834 | 337.879 | 7.582 | 298.458 | 19.95 | 880 | 99.94 | 46.6773
2020-06-23 06:00:00 | 5.93 | 336.6 | 6.376 | 325.81 | 6.401 | 329.194 | 7.113 | 327.476 | 19.85 | 880 | 100 | 39.9493
2020-06-23 06:15:00 | 5.74 | 341.9 | 6.193 | 327.053 | 6.372 | 334.379 | 7.051 | 328.726 | 19.94 | 880 | 100 | 35.3327
2020-06-23 06:30:00 | 5.376 | 338.12 | 5.798 | 329.812 | 5.657 | 330.682 | 6.381 | 331.497 | 19.93 | 880 | 100 | 32.6353
2020-06-23 06:45:00 | 5.539 | 308.38 | 5.922 | 330.554 | 5.882 | 301.595 | 6.509 | 332.245 | 20.19 | 880 | 100 | 30.252
2020-06-23 07:00:00 | 5.758 | 340.15 | 6.161 | 325.712 | 6.413 | 332.664 | 6.984 | 327.378 | 20.17 | 880 | 100 | 33.546
2020-06-23 07:15:00 | 6.076 | 348.06 | 6.494 | 327.588 | 6.884 | 340.404 | 7.444 | 329.266 | 20.26 | 880 | 100 | 33.4413
2020-06-23 07:30:00 | 5.93 | 338.22 | 6.266 | 322.731 | 6.71 | 330.778 | 7.117 | 324.38 | 20.36 | 881 | 100 | 30.7427
2020-06-23 07:45:00 | 5.568 | 342.19 | 5.833 | 326.721 | 6.239 | 334.663 | 6.55 | 328.392 | 20.52 | 881 | 100 | 28.832
2020-06-23 08:00:00 | 5.644 | 349.35 | 5.878 | 327.14 | 6.47 | 341.665 | 6.678 | 328.815 | 20.63 | 881 | 100 | 30.2047
2020-06-23 08:15:00 | 5.576 | 348.8 | 5.816 | 332.383 | 6.133 | 341.126 | 6.426 | 334.082 | 20.85 | 881 | 99.3 | 26.7233
2020-06-23 08:30:00 | 5.09 | 344.06 | 5.37 | 325.39 | 5.765 | 336.49 | 6.099 | 327.054 | 20.96 | 881 | 96.32 | 19.3367
2020-06-23 08:45:00 | 4.236 | 346.21 | 4.451 | 327.16 | 4.827 | 338.592 | 5.066 | 328.833 | 21.45 | 881.4 | 92.67 | 11.9627
2020-06-23 09:00:00 | 4.0471 | 342.9357 | 4.2364 | 326.6929 | 4.3193 | 335.3907 | 4.6057 | 328.365 | 21.8786 | 882 | 88.9143 | 10.7987
2020-06-23 09:15:00 | 4.4867 | 342.3933 | 4.746 | 324.1813 | 4.7627 | 334.86 | 5.1767 | 325.8393 | 22.2533 | 882.6 | 87.1533 | 12.6567
2020-06-23 09:30:00 | 4.2313 | 319.9267 | 4.504 | 331.0207 | 4.414 | 312.888 | 4.8793 | 332.7127 | 22.4667 | 883 | 85.9267 | 11.3513
2020-06-23 09:45:00 | 3.93 | 276.16 | 4.224 | 328.08 | 4.056 | 270.084 | 4.574 | 329.756 | 22.86 | 883 | 84.1 | 8.8853
2020-06-23 10:00:00 | 3.62 | 212.91 | 3.779 | 301.116 | 4.135 | 208.225 | 4.284 | 302.655 | 23.24 | 883.9 | 76.237 | 7.966
2020-06-23 10:15:00 | 3.892 | 308.7 | 4.18 | 270.955 | 4.075 | 301.908 | 4.566 | 272.341 | 23.57 | 884 | 74.114 | 7.5907
2020-06-23 10:30:00 | 3.289 | 109.55 | 3.342 | 339.495 | 3.492 | 107.141 | 3.536 | 341.229 | 23.89 | 884 | 71.166 | 9.488
2020-06-23 10:45:00 | 3.177 | 268.44 | 3.412 | 294.78 | 3.584 | 261.273 | 3.919 | 296.288 | 24.64 | 884 | 69.64 | 8.136
2020-06-23 11:00:00 | 3.098 | 122.3 | 3.163 | 325.371 | 3.462 | 119.609 | 3.483 | 327.035 | 24.91 | 884 | 66.053 | 7.9667
2020-06-23 11:15:00 | 2.8486 | 185.1429 | 2.9036 | 288.5793 | 3.1479 | 181.0707 | 3.1671 | 290.055 | 25.0786 | 884 | 65.0879 | 5.7587
2020-06-23 11:30:00 | 2.9467 | 235.8133 | 3.0593 | 288.6153 | 3.4653 | 230.6267 | 3.5287 | 290.0893 | 25.6667 | 884 | 63.6727 | 4.9713
2020-06-23 11:45:00 | 3.2533 | 338.0467 | 3.4533 | 303.3053 | 3.6833 | 330.6107 | 3.9393 | 304.8553 | 25.9733 | 884 | 61.67 | 5.4527
2020-06-23 12:00:00 | 2.9087 | 228.4733 | 3.1187 | 286.014 | 3.344 | 223.4467 | 3.618 | 287.4747 | 26.5667 | 884 | 60.1887 | 4.5473
2020-06-23 12:15:00 | 3.108 | 336.58 | 3.274 | 275.034 | 3.42 | 329.174 | 3.642 | 276.44 | 26.72 | 884 | 58.75 | 3.826
2020-06-23 12:30:00 | 3.2 | 338.42 | 3.4 | 318.556 | 3.39 | 330.974 | 3.718 | 320.186 | 26.54 | 884 | 59.778 | 4.202
2020-06-23 12:45:00 | 3.562 | 342.64 | 3.856 | 330.66 | 3.952 | 335.102 | 4.394 | 332.352 | 27.16 | 884 | 57.312 | 6.4433
2020-06-23 13:00:00 | 3.484 | 337.74 | 3.713 | 300.929 | 4.224 | 330.309 | 4.446 | 302.47 | 27.45 | 884 | 54.976 | 7.2967
2020-06-23 13:15:00 | 2.742 | 203.53 | 3.012 | 198.974 | 3.583 | 199.051 | 3.854 | 199.992 | 27.86 | 884 | 57.249 | 6.238
2020-06-23 13:30:00 | 2.793 | 59.29 | 2.94 | 102.405 | 3.191 | 57.987 | 3.355 | 102.928 | 27.79 | 884 | 55.458 | 4.6033
2020-06-23 13:45:00 | 2.364 | 297.42 | 2.504 | 301.459 | 2.674 | 290.476 | 2.842 | 303.001 | 28.12 | 884 | 53.4 | 1.2827
2020-06-23 14:00:00 | 2.155 | 320.9 | 2.305 | 225.89 | 2.412 | 313.84 | 2.622 | 227.042 | 28.69 | 884 | 51.943 | 0.116
2020-06-23 14:15:00 | 2.37 | 152.38 | 2.444 | 319.472 | 2.351 | 149.026 | 2.501 | 321.107 | 28.71 | 883.6 | 48.647 | 0.59733
2020-06-23 14:30:00 | 2.396 | 79.18 | 2.472 | 327.866 | 2.624 | 77.438 | 2.703 | 329.54 | 28.85 | 883 | 49.382 | 0.986
2020-06-23 14:45:00 | 2.4767 | 314.9533 | 2.6867 | 223.694 | 2.8193 | 308.0247 | 3.1213 | 224.838 | 29.44 | 883.6 | 47.7333 | 2.4307
2020-06-23 15:00:00 | 3.098 | 275.24 | 3.218 | 15.98 | 3.534 | 269.182 | 3.632 | 16.062 | 29.44 | 884 | 47.244 | 4.334
2020-06-23 15:15:00 | 3.25 | 330.72 | 3.474 | 23.394 | 3.434 | 323.446 | 3.802 | 23.512 | 28.94 | 884 | 48.006 | 3.8773
2020-06-23 15:30:00 | 2.527 | 236.97 | 2.713 | 51.737 | 2.904 | 231.756 | 3.15 | 51.999 | 29.38 | 883 | 46.45 | 0.93667
2020-06-23 15:45:00 | 1.943 | 267.37 | 2.038 | 285.42 | 1.972 | 261.488 | 2.151 | 286.878 | 29.54 | 883 | 45.928 | 0
2020-06-23 16:00:00 | 1.61 | 319.21 | 1.671 | 295.072 | 1.447 | 312.187 | 1.611 | 296.58 | 29.89 | 883 | 43.974 | 0
2020-06-23 16:15:00 | 1.304 | 267.71 | 1.298 | 193.251 | 1.18 | 261.82 | 1.206 | 194.242 | 29.91 | 883 | 44.326 | 0
2020-06-23 16:30:00 | 1.395 | 217.65 | 1.443 | 294.242 | 1.612 | 212.861 | 1.639 | 295.746 | 30.01 | 883 | 44.711 | 0
2020-06-23 16:45:00 | 1.329 | 313.09 | 1.461 | 263.55 | 1.632 | 306.202 | 1.794 | 264.897 | 30.04 | 883 | 47.897 | 0
2020-06-23 17:00:00 | 1.103 | 286.74 | 1.182 | 299.776 | 1.475 | 280.43 | 1.515 | 301.311 | 30.05 | 883 | 50.644 | 0
2020-06-23 17:15:00 | 0.625 | 321.35 | 0.703 | 259.053 | 0.655 | 314.28 | 0.789 | 260.379 | 30.73 | 883 | 42.352 | 0
2020-06-23 17:30:00 | 0.64 | 289.91 | 0.71 | 173.262 | 0.632 | 283.531 | 0.763 | 174.148 | 30.98 | 883 | 41.137 | 0
2020-06-23 17:45:00 | 0.561 | 297.85 | 0.667 | 142.161 | 0.687 | 291.297 | 0.85 | 142.889 | 30.58 | 883 | 40.442 | 0
2020-06-23 18:00:00 | 0.817 | 48.47 | 0.911 | 263.874 | 0.828 | 47.405 | 1.001 | 265.222 | 30.84 | 883 | 40.651 | 0
2020-06-23 18:15:00 | 0.842 | 267.45 | 0.89 | 285.887 | 1.015 | 261.136 | 1.052 | 287.349 | 30.37 | 883 | 43.512 | 0
2020-06-23 18:30:00 | 0.43267 | 282.3 | 0.47733 | 246.5933 | 0.642 | 276.0887 | 0.662 | 247.854 | 30.64 | 883 | 45.82 | 0
2020-06-23 18:45:00 | 0.53933 | 113.4533 | 0.578 | 216.9787 | 0.596 | 110.9573 | 0.654 | 218.0873 | 30.16 | 883 | 44.402 | 0
2020-06-23 19:00:00 | 1.442 | 117.12 | 1.818 | 121.8 | 1.49 | 114.544 | 2.188 | 122.422 | 29.94 | 883 | 46.1 | 0
2020-06-23 19:15:00 | 3.1 | 123.44 | 3.167 | 108.07 | 3.003 | 120.725 | 3.161 | 108.62 | 28.07 | 883 | 53.327 | 1.3727
2020-06-23 19:30:00 | 2.341 | 126.07 | 2.493 | 105.183 | 2.337 | 123.296 | 2.626 | 105.722 | 27.63 | 883 | 62.152 | 2.5
2020-06-23 19:45:00 | 2.812 | 125.74 | 2.909 | 123.051 | 3.033 | 122.974 | 3.157 | 123.68 | 27.3 | 882.6 | 65.063 | 3.692
2020-06-23 20:00:00 | 3.06 | 122.77 | 3.176 | 123.227 | 3.417 | 120.069 | 3.535 | 123.858 | 27.05 | 882 | 66.585 | 5.014
2020-06-23 20:15:00 | 2.956 | 130.68 | 3.147 | 140.255 | 3.361 | 127.806 | 3.61 | 140.973 | 26.66 | 882 | 67.212 | 7.206
2020-06-23 20:30:00 | 3.658 | 143.81 | 3.814 | 136.343 | 4.083 | 140.645 | 4.258 | 137.039 | 26.42 | 882 | 68.788 | 16.3513
2020-06-23 20:45:00 | 4.373 | 143.43 | 4.523 | 136.4 | 5.141 | 140.275 | 5.201 | 137.098 | 26.23 | 882 | 69.601 | 17.8653
2020-06-23 21:00:00 | 3.492 | 142.98 | 3.635 | 133.262 | 4.028 | 139.833 | 4.146 | 133.943 | 25.96 | 882 | 70.567 | 9.8587
2020-06-23 21:15:00 | 3.36 | 128.83 | 3.399 | 129.829 | 3.946 | 125.997 | 3.852 | 130.492 | 25.72 | 882 | 72.174 | 8.418
2020-06-23 21:30:00 | 3.3857 | 130.2 | 3.5229 | 125.3021 | 3.9807 | 127.3357 | 4.0686 | 125.9443 | 25.5286 | 882 | 74.5379 | 7.5107
2020-06-23 21:45:00 | 3.2893 | 134.0733 | 3.3827 | 132.03 | 3.7507 | 131.124 | 3.8 | 132.7053 | 25.3667 | 882.6 | 75.0447 | 7.1313
2020-06-23 22:00:00 | 3.212 | 139.3467 | 3.3253 | 130.838 | 3.6287 | 136.9333 | 3.7253 | 130.8107 | 25.1333 | 883 | 76.0627 | 7.088
2020-06-23 22:15:00 | 3.0353 | 134.98 | 3.1387 | 129.7607 | 3.478 | 132.0107 | 3.55 | 130.424 | 24.9933 | 883 | 76.284 | 5.7967
2020-06-23 22:30:00 | 3.3027 | 143.3067 | 3.4307 | 130.6353 | 3.734 | 138.4193 | 3.8547 | 131.3033 | 24.8667 | 883 | 76.5527 | 7.076
2020-06-23 22:45:00 | 3.26 | 143.48 | 3.414 | 132.676 | 3.632 | 140.326 | 3.82 | 133.356 | 24.78 | 883 | 76.45 | 7.032
2020-06-23 23:00:00 | 3.364 | 144.38 | 3.558 | 137.8 | 3.864 | 138.464 | 4.072 | 138.506 | 24.7 | 882 | 76.73 | 8.9287
2020-06-23 23:15:00 | 3.399 | 140.94 | 3.538 | 134.241 | 3.865 | 137.84 | 3.997 | 134.926 | 24.49 | 882.6 | 77.472 | 7.8253
2020-06-23 23:30:00 | 3.457 | 143.86 | 3.589 | 135.717 | 3.952 | 140.696 | 4.059 | 136.411 | 24.38 | 882 | 78.118 | 8.614
2020-06-23 23:45:00 | 3.301 | 143.15 | 3.435 | 138.992 | 3.794 | 140.002 | 3.906 | 139.704 | 24.33 | 882 | 78.558 | 7.2527