## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-24 00:00:00 | 3.128 | 140.95 | 3.228 | 134.064 | 3.585 | 137.85 | 3.64 | 134.749 | 24.27 | 882 | 79.621 | 5.7207
2020-06-24 00:15:00 | 2.8787 | 144.12 | 2.9673 | 131.684 | 3.2087 | 140.9493 | 3.28 | 132.3567 | 24.2267 | 882 | 80.3327 | 4.1047
2020-06-24 00:30:00 | 2.9713 | 141.0933 | 3.0547 | 130.5047 | 3.336 | 137.9887 | 3.392 | 131.172 | 24.1333 | 882 | 81.1267 | 4.8173
2020-06-24 00:45:00 | 2.592 | 139.2 | 2.6873 | 128.32 | 2.9653 | 136.1367 | 3.0373 | 128.9753 | 23.9933 | 882 | 82.1733 | 3.3733
2020-06-24 01:00:00 | 2.6413 | 142.04 | 2.7387 | 135.9807 | 3.018 | 139.032 | 3.0953 | 136.676 | 24.04 | 882 | 82.46 | 3.17
2020-06-24 01:15:00 | 2.8233 | 145.9333 | 2.934 | 138.276 | 3.1853 | 142.754 | 3.2953 | 138.9833 | 24.0467 | 882 | 83.02 | 3.258
2020-06-24 01:30:00 | 2.598 | 141.08 | 2.6907 | 136.9327 | 2.9647 | 137.976 | 3.0367 | 137.6333 | 23.9467 | 882 | 83.2067 | 2.5507
2020-06-24 01:45:00 | 2.54 | 136.48 | 2.62 | 135.706 | 2.834 | 133.476 | 2.904 | 136.4 | 23.84 | 882 | 83 | 1.8087
2020-06-24 02:00:00 | 2.421 | 132.53 | 2.583 | 128.795 | 2.817 | 129.614 | 3.011 | 129.451 | 23.77 | 881.1 | 82.87 | 1.7053
2020-06-24 02:15:00 | 2.442 | 130.78 | 2.532 | 127.512 | 2.774 | 127.903 | 2.853 | 128.165 | 23.75 | 881 | 82.88 | 1.1087
2020-06-24 02:30:00 | 2.602 | 127.2 | 2.747 | 127.991 | 2.768 | 124.402 | 2.998 | 128.644 | 23.73 | 881 | 83.21 | 0.972
2020-06-24 02:45:00 | 2.502 | 124.78 | 2.634 | 126.026 | 2.646 | 122.038 | 2.852 | 126.672 | 23.56 | 881 | 83.6 | 1.3493
2020-06-24 03:00:00 | 2.428 | 124.74 | 2.565 | 126.202 | 2.416 | 121.995 | 2.681 | 126.847 | 23.43 | 881 | 85.21 | 0.71333
2020-06-24 03:15:00 | 2.312 | 121.01 | 2.483 | 121.262 | 2.547 | 118.349 | 2.802 | 121.883 | 23.26 | 881 | 86.71 | 0.63533
2020-06-24 03:30:00 | 2.327 | 122.94 | 2.464 | 119.493 | 2.546 | 120.233 | 2.745 | 120.102 | 23.25 | 881 | 86.81 | 0.93533
2020-06-24 03:45:00 | 2.5 | 122.07 | 2.628 | 117.751 | 2.643 | 119.384 | 2.844 | 118.354 | 23.18 | 880 | 86.24 | 1.5873
2020-06-24 04:00:00 | 2.5493 | 119.44 | 2.6827 | 119.74 | 2.7187 | 116.8113 | 2.9267 | 120.352 | 22.92 | 880 | 86.0667 | 1.5
2020-06-24 04:15:00 | 2.7367 | 123.82 | 2.8507 | 116.2907 | 2.9607 | 121.096 | 3.1167 | 116.8853 | 22.84 | 880 | 87.1867 | 2.1407
2020-06-24 04:30:00 | 2.866 | 126.48 | 2.9853 | 126.5333 | 3.0753 | 123.6967 | 3.242 | 127.1807 | 22.74 | 880 | 88.1333 | 2.6093
2020-06-24 04:45:00 | 2.838 | 126.12 | 2.952 | 123.97 | 2.956 | 123.344 | 3.142 | 124.606 | 22.54 | 880 | 87.98 | 1.9973
2020-06-24 05:00:00 | 2.332 | 129.02 | 2.433 | 129.418 | 2.513 | 126.18 | 2.655 | 130.08 | 22.42 | 880 | 89.25 | 0.98667
2020-06-24 05:15:00 | 1.955 | 129.74 | 2.053 | 125.976 | 2.182 | 128.148 | 2.308 | 126.621 | 22.31 | 880.6 | 90.16 | 0
2020-06-24 05:30:00 | 1.919 | 123.07 | 2.054 | 119.297 | 2.143 | 119.863 | 2.348 | 119.906 | 22.29 | 880.9 | 91.54 | 0
2020-06-24 05:45:00 | 1.8379 | 121.6357 | 1.9436 | 132.3793 | 1.9821 | 118.9593 | 2.1429 | 133.0564 | 22.3571 | 880.5 | 93.24 | 0
2020-06-24 06:00:00 | 1.7486 | 128.4286 | 1.8421 | 128.055 | 1.8864 | 125.6036 | 2.0314 | 128.7086 | 22.2214 | 881 | 93.6857 | 0
2020-06-24 06:15:00 | 1.7327 | 123.6867 | 1.8473 | 120.066 | 1.778 | 120.9647 | 1.986 | 120.6813 | 22.0333 | 881 | 94.3067 | 0
2020-06-24 06:30:00 | 1.392 | 134.32 | 1.502 | 133.164 | 1.506 | 131.364 | 1.682 | 133.844 | 21.92 | 881 | 94.28 | 0
2020-06-24 06:45:00 | 0.822 | 137.02 | 0.93 | 115.21 | 0.914 | 134.006 | 1.096 | 115.798 | 22.42 | 881 | 94.7 | 0
2020-06-24 07:00:00 | 0.586 | 138.1 | 0.644 | 124.618 | 0.584 | 135.062 | 0.696 | 125.252 | 22.54 | 881 | 94.46 | 0
2020-06-24 07:15:00 | 0.384 | 216.4 | 0.419 | 119.883 | 0.389 | 211.64 | 0.454 | 120.498 | 22.85 | 881 | 92.81 | 0
2020-06-24 07:30:00 | 0.31 | 265.05 | 0.356 | 165.76 | 0.471 | 259.22 | 0.513 | 166.609 | 23.26 | 881.9 | 89.91 | 0
2020-06-24 07:45:00 | 0.335 | 216.26 | 0.344 | 159.463 | 0.508 | 211.503 | 0.474 | 160.279 | 22.92 | 882 | 89 | 0
2020-06-24 08:00:00 | 0.40667 | 170.84 | 0.40267 | 156.01 | 0.508 | 167.082 | 0.47 | 156.8087 | 22.6733 | 882 | 88.6467 | 0
2020-06-24 08:15:00 | 0.386 | 267.78 | 0.408 | 181.476 | 0.38 | 261.888 | 0.424 | 182.406 | 22.66 | 882 | 88.6 | 0
2020-06-24 08:30:00 | 0.256 | 160.66 | 0.288 | 161.84 | 0.312 | 157.126 | 0.36 | 162.668 | 22.82 | 882 | 89.7 | 0
2020-06-24 08:45:00 | 0.588 | 118.41 | 0.612 | 143.503 | 0.599 | 115.804 | 0.642 | 144.236 | 22.82 | 883 | 89.41 | 0
2020-06-24 09:00:00 | 0.733 | 146.82 | 0.76 | 158.377 | 0.965 | 143.59 | 0.947 | 159.186 | 23.1 | 883 | 88.65 | 0
2020-06-24 09:15:00 | 1.081 | 185.06 | 1.02 | 166.662 | 1.181 | 180.186 | 1.031 | 167.514 | 23.05 | 883 | 88.53 | 0
2020-06-24 09:30:00 | 1.058 | 179.81 | 1.07 | 161.143 | 1.246 | 175.854 | 1.213 | 161.969 | 22.8 | 883 | 88.06 | 0
2020-06-24 09:45:00 | 0.688 | 179.55 | 0.734 | 159.365 | 0.963 | 175.6 | 0.97 | 160.178 | 23.34 | 883 | 88.62 | 0
2020-06-24 10:00:00 | 0.83867 | 175.6133 | 0.894 | 140.748 | 0.83133 | 171.75 | 0.94067 | 141.4667 | 23.9267 | 883 | 86.5667 | 0
2020-06-24 10:15:00 | 1.268 | 121.16 | 1.28 | 142.434 | 1.254 | 118.494 | 1.282 | 143.166 | 24.02 | 883 | 84.72 | 0
2020-06-24 10:30:00 | 1.036 | 203.16 | 1.048 | 125.026 | 1.226 | 198.69 | 1.2 | 125.668 | 24.6 | 883 | 81.76 | 0
2020-06-24 10:45:00 | 1.211 | 178.35 | 1.158 | 117.636 | 1.336 | 174.425 | 1.201 | 118.235 | 24.57 | 884 | 80.398 | 0
2020-06-24 11:00:00 | 1.714 | 171.29 | 1.686 | 130.858 | 1.686 | 167.521 | 1.64 | 131.525 | 24.98 | 884 | 80.79 | 0
2020-06-24 11:15:00 | 1.964 | 188.36 | 1.997 | 125.673 | 1.817 | 184.217 | 1.923 | 126.315 | 24.93 | 884 | 81.25 | 0
2020-06-24 11:30:00 | 2.48 | 187.07 | 2.528 | 142.857 | 2.707 | 182.954 | 2.734 | 143.587 | 24.89 | 884 | 80.956 | 0.79667
2020-06-24 11:45:00 | 2.377 | 194.26 | 2.414 | 135.034 | 2.63 | 189.985 | 2.63 | 135.722 | 24.89 | 884 | 78.896 | 1.512
2020-06-24 12:00:00 | 2.706 | 185.96 | 2.761 | 140.157 | 2.811 | 181.868 | 2.89 | 140.874 | 25.46 | 883.1 | 79.151 | 2.5553
2020-06-24 12:15:00 | 2.709 | 182.08 | 2.806 | 140.226 | 3.029 | 178.075 | 3.12 | 140.941 | 25.2 | 883 | 78.527 | 2.7413
2020-06-24 12:30:00 | 2.452 | 195.42 | 2.4753 | 136.79 | 2.6987 | 191.1207 | 2.6773 | 137.4887 | 25.2133 | 883 | 76.1027 | 2.192
2020-06-24 12:45:00 | 2.37 | 206.02 | 2.412 | 131.032 | 2.68 | 201.486 | 2.674 | 131.704 | 25.34 | 883 | 77.43 | 2.5813
2020-06-24 13:00:00 | 2.688 | 174.56 | 2.718 | 139.17 | 2.686 | 170.72 | 2.748 | 139.88 | 25.48 | 883 | 76 | 2.3747
2020-06-24 13:15:00 | 2.372 | 192.58 | 2.403 | 160.206 | 2.539 | 188.344 | 2.55 | 161.025 | 26.64 | 883 | 74.87 | 2.7507
2020-06-24 13:30:00 | 2.46 | 210.98 | 2.496 | 160.569 | 2.498 | 206.339 | 2.562 | 161.389 | 26.89 | 883 | 76.507 | 2.8473
2020-06-24 13:45:00 | 2.262 | 177.06 | 2.31 | 154.3 | 2.406 | 173.166 | 2.459 | 155.087 | 27 | 882 | 73.039 | 2.8027
2020-06-24 14:00:00 | 2.545 | 176.55 | 2.672 | 165.693 | 2.616 | 172.666 | 2.838 | 166.539 | 27.19 | 882.9 | 69.559 | 2.8807
2020-06-24 14:15:00 | 2.852 | 169.42 | 2.789 | 177.195 | 2.918 | 148.324 | 2.748 | 178.101 | 27.63 | 883 | 68.022 | 2.466
2020-06-24 14:30:00 | 2.503 | 209.6 | 2.589 | 169.829 | 2.609 | 204.99 | 2.747 | 170.698 | 27.39 | 883 | 68.312 | 2.4073
2020-06-24 14:45:00 | 2.64 | 182.38 | 2.75 | 181.42 | 2.602 | 178.37 | 2.822 | 182.346 | 27.72 | 883 | 68.978 | 3.4793
2020-06-24 15:00:00 | 2.516 | 203.72 | 2.628 | 151.962 | 2.646 | 199.238 | 2.828 | 152.74 | 27.84 | 882 | 69.368 | 3.548
2020-06-24 15:15:00 | 2.629 | 201.76 | 2.682 | 145.623 | 2.878 | 197.32 | 2.911 | 146.368 | 28.26 | 882 | 65.93 | 2.1847
2020-06-24 15:30:00 | 1.93 | 200.68 | 2.073 | 144.088 | 2.391 | 196.264 | 2.528 | 144.825 | 28.37 | 882 | 65.269 | 2.4693
2020-06-24 15:45:00 | 2.784 | 206.72 | 2.864 | 178.466 | 2.819 | 202.171 | 2.96 | 179.379 | 28.19 | 882 | 67.773 | 3.6113
2020-06-24 16:00:00 | 2.277 | 110.77 | 2.316 | 156.176 | 2.75 | 108.334 | 2.69 | 156.975 | 28.54 | 882 | 64.833 | 2.822
2020-06-24 16:15:00 | 2.82 | 160.31 | 2.975 | 161.322 | 3.044 | 155.99 | 3.267 | 162.147 | 27.97 | 882 | 66.973 | 3.1673
2020-06-24 16:30:00 | 2.868 | 182.68 | 2.96 | 155.179 | 3.125 | 178.66 | 3.226 | 155.972 | 27.9 | 882 | 66.901 | 5.7873
2020-06-24 16:45:00 | 2.5264 | 195.6857 | 2.7136 | 164.3036 | 2.6493 | 191.3807 | 2.9686 | 165.1436 | 28.2214 | 882 | 65.501 | 5.716
2020-06-24 17:00:00 | 2.8821 | 183.7286 | 3.0079 | 174.8236 | 3.2571 | 179.6864 | 3.3864 | 175.7186 | 28.1214 | 882 | 63.0457 | 5.3793
2020-06-24 17:15:00 | 2.9787 | 181.9067 | 3.154 | 158.508 | 3.2287 | 177.904 | 3.4913 | 159.3187 | 28.0067 | 882 | 64.5273 | 6.6647
2020-06-24 17:30:00 | 3.2493 | 175.2133 | 3.4767 | 160.0853 | 3.408 | 172.4407 | 3.7933 | 160.904 | 27.9467 | 881.7333 | 65.8893 | 9.0253
2020-06-24 17:45:00 | 2.904 | 178.38 | 3.128 | 145.858 | 2.696 | 174.454 | 3.19 | 146.608 | 27.86 | 881 | 67.258 | 8.8487
2020-06-24 18:00:00 | 2.86 | 170.46 | 3.075 | 156.471 | 2.773 | 166.71 | 3.209 | 157.271 | 27.63 | 881 | 68.993 | 7.3007
2020-06-24 18:15:00 | 2.781 | 166.26 | 2.978 | 143.149 | 2.579 | 162.602 | 3.012 | 143.882 | 27.75 | 881 | 69.525 | 6.0267
2020-06-24 18:30:00 | 3.123 | 167.84 | 3.291 | 149.829 | 3.208 | 164.148 | 3.504 | 150.595 | 27.89 | 881 | 70.088 | 7.178
2020-06-24 18:45:00 | 2.923 | 186.9 | 3.12 | 177.379 | 2.97 | 182.788 | 3.332 | 178.288 | 27.44 | 881 | 70.875 | 6.0753
2020-06-24 19:00:00 | 2.242 | 191 | 2.475 | 179.395 | 2.604 | 186.797 | 2.942 | 180.31 | 27.32 | 881 | 71.54 | 5.2313
2020-06-24 19:15:00 | 3.164 | 181.73 | 3.315 | 170.632 | 3.495 | 177.731 | 3.686 | 171.503 | 27.18 | 881 | 72.705 | 6.5087
2020-06-24 19:30:00 | 2.774 | 187.21 | 2.889 | 172.177 | 3.047 | 183.093 | 3.188 | 173.057 | 27.1 | 881 | 74.095 | 8.6713
2020-06-24 19:45:00 | 3.012 | 175.68 | 3.15 | 172.94 | 3.254 | 171.815 | 3.449 | 173.824 | 27.01 | 881 | 74.383 | 12.722
2020-06-24 20:00:00 | 3.3887 | 171.4333 | 3.4887 | 170.0153 | 3.4627 | 167.662 | 3.6347 | 170.8853 | 26.8 | 881 | 74.5667 | 10.784
2020-06-24 20:15:00 | 3.404 | 169.88 | 3.504 | 168.824 | 3.562 | 166.142 | 3.704 | 169.686 | 26.62 | 881 | 74.704 | 11.1073
2020-06-24 20:30:00 | 3.8856 | 155.9444 | 4.0056 | 149.6011 | 4.1489 | 152.5144 | 4.3067 | 150.3667 | 26.5111 | 881 | 76.8867 | 16.844
2020-06-24 20:45:00 | 4.213 | 139.83 | 4.36 | 132.675 | 4.72 | 136.755 | 4.853 | 133.354 | 26.16 | 880 | 77.522 | 16.6513
2020-06-24 21:00:00 | 3.299 | 134.68 | 3.392 | 134.729 | 3.913 | 131.718 | 3.914 | 135.418 | 26.06 | 880 | 78.862 | 8.5707
2020-06-24 21:15:00 | 2.935 | 129.03 | 2.96 | 127.504 | 3.295 | 126.19 | 3.238 | 128.151 | 25.92 | 880 | 79.078 | 10.6847
2020-06-24 21:30:00 | 3.397 | 137.02 | 3.49 | 136.694 | 3.975 | 134.005 | 3.984 | 137.393 | 25.87 | 880 | 79.32 | 10.4353
2020-06-24 21:45:00 | 3.247 | 137.01 | 3.377 | 137.81 | 3.9 | 133.331 | 3.954 | 138.515 | 25.72 | 880 | 78.862 | 8.028
2020-06-24 22:00:00 | 3.034 | 137.94 | 3.118 | 130.055 | 3.413 | 134.905 | 3.465 | 130.72 | 25.67 | 880 | 79.046 | 6.9693
2020-06-24 22:15:00 | 2.764 | 153.9 | 2.86 | 139.932 | 3.121 | 150.514 | 3.202 | 140.648 | 25.64 | 881 | 79.207 | 6.9113
2020-06-24 22:30:00 | 2.908 | 153.36 | 2.939 | 146.348 | 3.108 | 149.985 | 3.115 | 147.096 | 25.87 | 881 | 79.203 | 5.7307
2020-06-24 22:45:00 | 2.517 | 144.63 | 2.537 | 140.795 | 2.769 | 141.447 | 2.732 | 141.512 | 25.77 | 881 | 80.94 | 4.2607
2020-06-24 23:00:00 | 2.452 | 155.62 | 2.4853 | 146.648 | 2.7473 | 152.1967 | 2.728 | 147.3967 | 25.7 | 881 | 81.6867 | 5.042
2020-06-24 23:15:00 | 2.568 | 154.9333 | 2.592 | 139.6193 | 2.9267 | 151.4593 | 2.8667 | 140.3327 | 25.64 | 881 | 81.2467 | 5.7707
2020-06-24 23:30:00 | 2.8507 | 144.5067 | 2.9527 | 137.5393 | 3.3067 | 141.3273 | 3.37 | 138.2433 | 25.5 | 881 | 81.3133 | 7.6333
2020-06-24 23:45:00 | 2.6827 | 130.4667 | 2.774 | 135.5187 | 3.1227 | 128.4113 | 3.1667 | 136.2133 | 25.46 | 881 | 81.5 | 5.67