## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-25 00:00:00 | 2.866 | 129.76 | 2.994 | 129.724 | 3.378 | 126.904 | 3.474 | 130.386 | 25.4 | 881 | 82.26 | 6.3313
2020-06-25 00:15:00 | 2.366 | 140.59 | 2.464 | 132.743 | 2.983 | 137.496 | 2.989 | 133.422 | 25.22 | 881 | 82.94 | 3.3887
2020-06-25 00:30:00 | 2.291 | 140.56 | 2.351 | 124.333 | 2.835 | 137.469 | 2.789 | 124.969 | 25.17 | 881 | 83.56 | 2.8933
2020-06-25 00:45:00 | 2.359 | 153.6 | 2.418 | 124.9 | 2.849 | 150.222 | 2.815 | 125.54 | 25.33 | 881 | 83.72 | 3.0267
2020-06-25 01:00:00 | 2.066 | 139 | 2.179 | 122.073 | 2.536 | 135.941 | 2.614 | 122.7 | 25.22 | 881 | 83.43 | 2.0207
2020-06-25 01:15:00 | 2.0313 | 135.52 | 2.118 | 137.2513 | 2.382 | 132.9627 | 2.4433 | 137.954 | 25.1333 | 881 | 83.72 | 1.5133
2020-06-25 01:30:00 | 2.01 | 140.56 | 2.062 | 135.824 | 2.376 | 137.468 | 2.37 | 136.518 | 25.1 | 881 | 83.4 | 2.972
2020-06-25 01:45:00 | 2.59 | 160.08 | 2.639 | 140.364 | 2.91 | 156.558 | 2.911 | 141.08 | 25.08 | 881 | 82.92 | 5.2273
2020-06-25 02:00:00 | 2.718 | 161.02 | 2.779 | 147.433 | 3.022 | 156.628 | 3.056 | 148.186 | 24.97 | 881 | 83.01 | 5.814
2020-06-25 02:15:00 | 2.589 | 161.21 | 2.632 | 146.025 | 2.834 | 157.664 | 2.847 | 146.773 | 25.06 | 881 | 83.26 | 4.46
2020-06-25 02:30:00 | 2.583 | 153.9 | 2.613 | 146.182 | 2.862 | 150.513 | 2.842 | 146.929 | 24.96 | 881 | 84.68 | 2.974
2020-06-25 02:45:00 | 2.408 | 139.76 | 2.438 | 135.92 | 2.75 | 136.688 | 2.708 | 136.616 | 24.76 | 880 | 85.92 | 2.6
2020-06-25 03:00:00 | 2.789 | 129.73 | 2.904 | 131.374 | 3.189 | 126.875 | 3.295 | 132.047 | 24.59 | 881 | 85.5 | 4.4907
2020-06-25 03:15:00 | 2.514 | 138.03 | 2.542 | 128.001 | 2.933 | 134.994 | 2.865 | 128.655 | 24.61 | 880 | 85.56 | 3.3867
2020-06-25 03:30:00 | 2.469 | 148.7 | 2.539 | 129.233 | 2.915 | 145.429 | 2.923 | 129.894 | 24.53 | 880.9 | 85.36 | 3.106
2020-06-25 03:45:00 | 2.3853 | 139.3533 | 2.426 | 125.1267 | 2.8567 | 136.2887 | 2.7993 | 125.764 | 24.54 | 880.4 | 85.5267 | 2.742
2020-06-25 04:00:00 | 2.6327 | 140.9333 | 2.744 | 130.884 | 2.994 | 137.834 | 3.102 | 131.5513 | 24.4067 | 880 | 85.42 | 2.3267
2020-06-25 04:15:00 | 2.358 | 135.8133 | 2.4393 | 130.2427 | 2.704 | 132.826 | 2.764 | 130.9093 | 24.3267 | 880 | 85.9133 | 1.6887
2020-06-25 04:30:00 | 2.232 | 133 | 2.332 | 123.052 | 2.606 | 130.072 | 2.686 | 123.68 | 24.12 | 880 | 85.6 | 2.2807
2020-06-25 04:45:00 | 2.774 | 131.52 | 2.884 | 120.499 | 3.179 | 128.624 | 3.272 | 121.116 | 24.14 | 881 | 85.83 | 3.906
2020-06-25 05:00:00 | 3.139 | 133.06 | 3.258 | 123.931 | 3.614 | 130.134 | 3.702 | 124.566 | 24.16 | 881 | 86.07 | 4.9233
2020-06-25 05:15:00 | 2.911 | 131.69 | 2.987 | 122.876 | 3.377 | 128.793 | 3.393 | 123.504 | 24.08 | 881 | 86.55 | 4.146
2020-06-25 05:30:00 | 2.753 | 142.4 | 2.864 | 132.391 | 3.091 | 138.78 | 3.204 | 133.07 | 23.98 | 881 | 87.2 | 2.8513
2020-06-25 05:45:00 | 2.551 | 139.7 | 2.636 | 129.573 | 2.908 | 136.626 | 2.969 | 130.237 | 23.98 | 881 | 87.75 | 2.4233
2020-06-25 06:00:00 | 2.627 | 138.41 | 2.687 | 130.612 | 2.987 | 135.366 | 2.998 | 131.28 | 23.91 | 881 | 87.82 | 3.1427
2020-06-25 06:15:00 | 3.058 | 142.34 | 3.185 | 136.714 | 3.423 | 138.69 | 3.555 | 137.413 | 23.69 | 881 | 87.84 | 4.7573
2020-06-25 06:30:00 | 3.104 | 146.73 | 3.233 | 135.384 | 3.497 | 143.718 | 3.629 | 136.076 | 23.14 | 881 | 88.63 | 6.1913
2020-06-25 06:45:00 | 2.8133 | 142.5867 | 2.882 | 134.104 | 3.2307 | 139.4493 | 3.2413 | 134.7893 | 23.12 | 881 | 89.5267 | 5.6407
2020-06-25 07:00:00 | 2.606 | 144.94 | 2.66 | 134.454 | 3.066 | 141.75 | 3.038 | 135.142 | 23.08 | 881 | 90.3 | 4.9733
2020-06-25 07:15:00 | 2.192 | 147.79 | 2.253 | 132.45 | 2.579 | 144.539 | 2.582 | 133.126 | 23.15 | 881 | 91 | 4.256
2020-06-25 07:30:00 | 2.524 | 136.09 | 2.633 | 133.546 | 2.963 | 133.097 | 3.049 | 134.23 | 23 | 881 | 91.39 | 4.6
2020-06-25 07:45:00 | 2.227 | 135.18 | 2.321 | 128.666 | 2.744 | 132.206 | 2.774 | 129.324 | 23.02 | 881 | 91.96 | 3.9047
2020-06-25 08:00:00 | 2.116 | 136.94 | 2.194 | 129.625 | 2.546 | 133.927 | 2.574 | 130.286 | 23.22 | 881 | 90.9 | 3.206
2020-06-25 08:15:00 | 1.912 | 142.4 | 1.953 | 135.804 | 2.293 | 139.268 | 2.263 | 136.499 | 23.21 | 881 | 89.76 | 2.3387
2020-06-25 08:30:00 | 2.018 | 152.69 | 2.077 | 138.554 | 2.36 | 148.99 | 2.37 | 139.262 | 23.57 | 881.9 | 89.33 | 2.164
2020-06-25 08:45:00 | 1.659 | 149.44 | 1.636 | 133.898 | 1.977 | 146.153 | 1.841 | 134.582 | 23.38 | 882 | 88.61 | 1.972
2020-06-25 09:00:00 | 1.609 | 134.18 | 1.615 | 144.528 | 1.846 | 131.229 | 1.793 | 145.267 | 23.6 | 882 | 89.1 | 2.5167
2020-06-25 09:15:00 | 1.966 | 144.2 | 2.066 | 140.6887 | 2.4087 | 141.028 | 2.472 | 141.408 | 23.5267 | 882 | 90.1067 | 3.498
2020-06-25 09:30:00 | 2.078 | 148.7 | 2.136 | 140.244 | 2.474 | 145.426 | 2.472 | 140.96 | 23.7 | 882 | 90.32 | 3.182
2020-06-25 09:45:00 | 2.45 | 155.1 | 2.428 | 139.05 | 2.74 | 151.688 | 2.62 | 139.762 | 23.8 | 882 | 88.38 | 2.5873
2020-06-25 10:00:00 | 1.99 | 148 | 2.008 | 140.812 | 2.252 | 144.744 | 2.204 | 141.532 | 24.08 | 882 | 89.6 | 2.4967
2020-06-25 10:15:00 | 1.855 | 142.89 | 1.838 | 142.7 | 2.263 | 139.744 | 2.115 | 143.43 | 23.85 | 882 | 87.56 | 2.512
2020-06-25 10:30:00 | 1.935 | 157.16 | 1.982 | 149.233 | 2.301 | 153.702 | 2.286 | 149.995 | 23.82 | 882 | 89.54 | 3.2213
2020-06-25 10:45:00 | 2.27 | 153.01 | 2.37 | 145.029 | 2.698 | 149.644 | 2.767 | 145.768 | 23.81 | 882 | 90.24 | 5.53
2020-06-25 11:00:00 | 2.657 | 154.81 | 2.734 | 149.018 | 3.031 | 151.405 | 3.068 | 149.781 | 23.89 | 882 | 89.93 | 7.5013
2020-06-25 11:15:00 | 2.484 | 140.56 | 2.504 | 137.096 | 2.884 | 137.468 | 2.806 | 137.796 | 24.26 | 882 | 89.46 | 7.0887
2020-06-25 11:30:00 | 2.416 | 144.54 | 2.431 | 132.243 | 2.845 | 141.361 | 2.752 | 132.923 | 25.09 | 882 | 87.02 | 5.6053
2020-06-25 11:45:00 | 2.677 | 166.12 | 2.681 | 135.726 | 3.037 | 162.759 | 2.941 | 136.423 | 25.83 | 882 | 84.38 | 6.372
2020-06-25 12:00:00 | 3.089 | 171.84 | 3.214 | 138.524 | 3.429 | 168.06 | 3.57 | 139.233 | 25.73 | 882 | 82.6 | 9.068
2020-06-25 12:15:00 | 2.732 | 169.4 | 2.806 | 146.084 | 3.134 | 165.672 | 3.166 | 146.829 | 25.73 | 882 | 83.73 | 7.6553
2020-06-25 12:30:00 | 2.222 | 181.51 | 2.287 | 150.144 | 2.433 | 177.517 | 2.499 | 150.911 | 25.36 | 882 | 84.69 | 4.136
2020-06-25 12:45:00 | 2.077 | 152.53 | 2.148 | 137.371 | 2.312 | 149.173 | 2.383 | 138.072 | 26.41 | 882 | 85.09 | 3.0593
2020-06-25 13:00:00 | 2.551 | 167.88 | 2.538 | 135.717 | 2.666 | 164.185 | 2.612 | 136.411 | 26.71 | 882 | 81.82 | 2.3613
2020-06-25 13:15:00 | 2.2143 | 177.05 | 2.2407 | 141.035 | 2.5121 | 174.1686 | 2.4871 | 141.7564 | 26.8286 | 882 | 82.3357 | 1.1953
2020-06-25 13:30:00 | 1.7727 | 188.4467 | 1.8847 | 147.0853 | 1.9533 | 184.3 | 2.114 | 147.8367 | 26.4333 | 882 | 81.16 | 1.1513
2020-06-25 13:45:00 | 1.6867 | 191.7867 | 1.7373 | 163.7827 | 1.9167 | 187.5673 | 1.9487 | 164.6207 | 27.64 | 881.4 | 80.3133 | 0.58733
2020-06-25 14:00:00 | 2.0613 | 194.98 | 2.1427 | 144.9987 | 2.4293 | 190.6907 | 2.4773 | 145.7387 | 28.16 | 881 | 77.4367 | 1.8027
2020-06-25 14:15:00 | 2.444 | 191.54 | 2.5067 | 155.536 | 2.778 | 187.326 | 2.804 | 156.3307 | 28.22 | 881 | 78.2587 | 2.472
2020-06-25 14:30:00 | 2.262 | 200.2133 | 2.2947 | 161.5453 | 2.5227 | 195.808 | 2.51 | 162.37 | 27.9 | 881 | 78.5913 | 2.3987
2020-06-25 14:45:00 | 2.2833 | 165.2667 | 2.324 | 146.316 | 2.6027 | 161.6307 | 2.5907 | 147.0633 | 28.4067 | 881 | 78.044 | 1.8687
2020-06-25 15:00:00 | 2.4487 | 166.42 | 2.5087 | 137.4467 | 2.8073 | 162.7587 | 2.822 | 138.1507 | 28.2733 | 881 | 76.0693 | 2.856
2020-06-25 15:15:00 | 2.718 | 170.86 | 2.854 | 139.15 | 3.128 | 167.102 | 3.276 | 139.86 | 28.2 | 881 | 75.452 | 2.5533
2020-06-25 15:30:00 | 2.538 | 157.4 | 2.756 | 142.69 | 3.17 | 153.938 | 3.396 | 143.42 | 28.8 | 881 | 72.846 | 2.8827
2020-06-25 15:45:00 | 2.522 | 149.76 | 2.62 | 143.922 | 2.824 | 146.466 | 2.928 | 144.66 | 28.68 | 880 | 71.93 | 2.416
2020-06-25 16:00:00 | 2.406 | 154.86 | 2.386 | 143.454 | 2.784 | 151.454 | 2.636 | 144.188 | 28.76 | 880 | 71.722 | 3.074
2020-06-25 16:15:00 | 2.992 | 135.3 | 3.03 | 135.688 | 3.142 | 132.324 | 3.174 | 136.384 | 28.42 | 880 | 71.326 | 3.4913
2020-06-25 16:30:00 | 2.87 | 150.7556 | 2.9511 | 136.2689 | 3.0678 | 148.2 | 3.1678 | 136.9633 | 28.6556 | 880 | 70.7267 | 3.1793
2020-06-25 16:45:00 | 3.024 | 167.93 | 3.243 | 155.697 | 3.556 | 164.236 | 3.818 | 156.494 | 29.05 | 879.6 | 69.48 | 9.358
2020-06-25 17:00:00 | 3.901 | 176.87 | 4.126 | 153.33 | 4.21 | 172.979 | 4.547 | 154.115 | 29.2 | 879 | 66.893 | 13.852
2020-06-25 17:15:00 | 3.967 | 175.62 | 4.203 | 157.018 | 4.718 | 171.757 | 4.952 | 157.819 | 29.19 | 879 | 66.225 | 17.878
2020-06-25 17:30:00 | 4.114 | 150.2 | 4.251 | 148.274 | 5.059 | 146.896 | 5.047 | 149.032 | 29.58 | 879 | 65.152 | 16.9207
2020-06-25 17:45:00 | 3.44 | 155.12 | 3.606 | 150.945 | 4.24 | 151.708 | 4.328 | 151.717 | 29.5 | 879 | 64.206 | 13.7387
2020-06-25 18:00:00 | 3.804 | 136.96 | 3.956 | 157.056 | 4.556 | 133.948 | 4.629 | 157.859 | 29.33 | 879 | 64.653 | 16.7687
2020-06-25 18:15:00 | 3.965 | 135.6 | 4.078 | 143.6 | 4.702 | 132.617 | 4.708 | 144.334 | 29.27 | 878 | 64.317 | 16.368
2020-06-25 18:30:00 | 4.314 | 131.24 | 4.43 | 133.104 | 5.162 | 128.352 | 5.137 | 133.787 | 29.04 | 878 | 63.864 | 16.8293
2020-06-25 18:45:00 | 5.173 | 144.41 | 5.308 | 134.505 | 5.781 | 141.233 | 5.865 | 135.192 | 28.91 | 878 | 64.048 | 17.0407
2020-06-25 19:00:00 | 4.962 | 137.94 | 5.173 | 135.267 | 5.56 | 134.906 | 5.788 | 135.959 | 28.59 | 878 | 64.271 | 15.8327
2020-06-25 19:15:00 | 5.222 | 146.83 | 5.521 | 133.135 | 5.753 | 143.599 | 6.168 | 133.817 | 28.51 | 878 | 65.271 | 18.57
2020-06-25 19:30:00 | 4.944 | 146.32 | 5.167 | 132.832 | 5.428 | 143.1 | 5.714 | 133.511 | 28.42 | 878 | 65.276 | 16.6047
2020-06-25 19:45:00 | 4.132 | 156.7267 | 4.3253 | 141.7327 | 4.424 | 153.2793 | 4.7067 | 142.456 | 28.34 | 878 | 65.8673 | 11.6347
2020-06-25 20:00:00 | 3.8247 | 153.18 | 4.044 | 145.774 | 4.13 | 149.8107 | 4.46 | 146.5187 | 28.12 | 878 | 66.202 | 11.034
2020-06-25 20:15:00 | 3.582 | 151.14 | 3.818 | 152.04 | 4.018 | 147.816 | 4.338 | 152.818 | 27.94 | 878 | 66.09 | 9.3747
2020-06-25 20:30:00 | 3.492 | 151.62 | 3.71 | 138.288 | 4.014 | 148.286 | 4.276 | 138.996 | 27.8 | 878.2 | 65.566 | 6.514
2020-06-25 20:45:00 | 3.069 | 149.47 | 3.163 | 142.19 | 3.274 | 146.182 | 3.396 | 142.919 | 27.68 | 878 | 68.012 | 5.3547
2020-06-25 21:00:00 | 2.801 | 146.47 | 2.897 | 141.936 | 3.219 | 143.245 | 3.283 | 142.661 | 27.55 | 878.9 | 69.56 | 4.5233
2020-06-25 21:15:00 | 2.554 | 162.73 | 2.622 | 144.696 | 2.855 | 159.15 | 2.897 | 145.436 | 27.48 | 879 | 69.457 | 2.7053
2020-06-25 21:30:00 | 2.398 | 170.26 | 2.514 | 149.007 | 2.429 | 166.513 | 2.644 | 149.77 | 27.49 | 879 | 69.304 | 3.5207
2020-06-25 21:45:00 | 2.563 | 148.33 | 2.704 | 144.304 | 2.728 | 145.065 | 2.948 | 145.041 | 27.3 | 879 | 71.16 | 5.14
2020-06-25 22:00:00 | 2.789 | 134.65 | 2.912 | 132.822 | 3.191 | 131.689 | 3.307 | 133.501 | 27.19 | 879 | 72.399 | 4.8933
2020-06-25 22:15:00 | 2.474 | 130.58 | 2.588 | 124.304 | 2.85 | 127.709 | 2.966 | 124.937 | 27.01 | 879 | 72.355 | 2.7913
2020-06-25 22:30:00 | 2.692 | 133.75 | 2.851 | 123.58 | 3.062 | 130.807 | 3.258 | 124.212 | 26.89 | 879 | 73.158 | 3.0053
2020-06-25 22:45:00 | 2.706 | 142.46 | 2.87 | 133.889 | 3.232 | 139.325 | 3.389 | 134.573 | 26.76 | 879 | 73.374 | 4.674
2020-06-25 23:00:00 | 2.865 | 142.23 | 3 | 134.182 | 3.357 | 139.101 | 3.47 | 134.867 | 26.62 | 879 | 73.87 | 5.0847
2020-06-25 23:15:00 | 2.5414 | 152.2214 | 2.6536 | 147.5664 | 2.735 | 148.8721 | 2.8929 | 148.3214 | 26.6143 | 879 | 74.6271 | 4.4567
2020-06-25 23:30:00 | 2.5757 | 147.7857 | 2.7 | 144.0871 | 2.9307 | 144.535 | 3.0657 | 144.8243 | 26.4143 | 879 | 75.0086 | 6.28
2020-06-25 23:45:00 | 2.9733 | 137.4333 | 3.1193 | 142.914 | 3.5207 | 134.4107 | 3.6407 | 143.642 | 26.2133 | 879 | 76.0487 | 7.936