## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-26 00:00:00 | 2.734 | 139.4267 | 2.8807 | 133.132 | 3.4087 | 136.3587 | 3.4967 | 133.8127 | 25.9933 | 879 | 76.8053 | 7.2333
2020-06-26 00:15:00 | 2.706 | 147.22 | 2.834 | 145.858 | 3.472 | 143.982 | 3.498 | 146.604 | 25.9 | 879 | 76.96 | 6.4093
2020-06-26 00:30:00 | 2.477 | 143.4 | 2.654 | 142.739 | 3.316 | 140.245 | 3.414 | 143.469 | 25.64 | 878.1 | 77.383 | 7.546
2020-06-26 00:45:00 | 2.757 | 130.72 | 3.005 | 139.942 | 3.407 | 127.844 | 3.688 | 140.657 | 25.55 | 878 | 78.2 | 8.1693
2020-06-26 01:00:00 | 2.856 | 134.4333 | 3.0653 | 127.6673 | 3.604 | 131.332 | 3.786 | 128.3213 | 25.5733 | 878 | 78.4067 | 8.0327
2020-06-26 01:15:00 | 3.076 | 148.22 | 3.314 | 151.608 | 3.692 | 144.958 | 3.962 | 152.384 | 25.66 | 878 | 78.77 | 8.1087
2020-06-26 01:30:00 | 2.846 | 141.8 | 3.004 | 146.916 | 3.254 | 138.68 | 3.436 | 147.668 | 25.56 | 878 | 79.144 | 5.1087
2020-06-26 01:45:00 | 2.8956 | 152.4889 | 3.0244 | 150.6989 | 3.16 | 149.1333 | 3.3278 | 151.4711 | 25.7778 | 877.3333 | 79.6889 | 8.59
2020-06-26 02:00:00 | 2.751 | 154.76 | 2.891 | 159.512 | 3.032 | 151.354 | 3.219 | 160.327 | 25.62 | 877.1 | 79.103 | 7.138
2020-06-26 02:15:00 | 2.83 | 181.64 | 2.924 | 163.238 | 3.106 | 177.087 | 3.203 | 164.073 | 25.59 | 877 | 77.904 | 6.08
2020-06-26 02:30:00 | 3.091 | 177.44 | 3.223 | 172.136 | 3.361 | 174.152 | 3.543 | 173.017 | 25.57 | 877.9 | 78.157 | 9.5373
2020-06-26 02:45:00 | 3.007 | 173 | 3.129 | 164.129 | 3.195 | 169.193 | 3.374 | 164.967 | 25.55 | 877 | 77.714 | 9.3833
2020-06-26 03:00:00 | 2.864 | 170.89 | 2.985 | 163.209 | 3.036 | 167.13 | 3.221 | 164.042 | 25.58 | 877 | 77.232 | 7.896
2020-06-26 03:15:00 | 3.1487 | 176.8933 | 3.3 | 163.144 | 3.4687 | 173.0013 | 3.6653 | 163.978 | 25.6267 | 877 | 77.7653 | 8.986
2020-06-26 03:30:00 | 3.002 | 176.14 | 3.154 | 169.194 | 3.328 | 174.142 | 3.534 | 170.058 | 25.68 | 877 | 77.59 | 9.4847
2020-06-26 03:45:00 | 2.712 | 175.95 | 2.87 | 169.634 | 3.035 | 172.079 | 3.239 | 170.501 | 25.67 | 877 | 76.433 | 8.228
2020-06-26 04:00:00 | 2.536 | 162.37 | 2.637 | 158.836 | 2.622 | 158.798 | 2.789 | 159.65 | 25.66 | 877 | 77.145 | 5.546
2020-06-26 04:15:00 | 2.159 | 155.14 | 2.247 | 166.72 | 2.231 | 151.726 | 2.379 | 167.572 | 25.42 | 877 | 78.828 | 4.3827
2020-06-26 04:30:00 | 2.217 | 183.95 | 2.306 | 173.155 | 2.593 | 179.902 | 2.658 | 174.039 | 25.35 | 877 | 78.89 | 2.242
2020-06-26 04:45:00 | 1.968 | 197.48 | 2.055 | 180.94 | 2.098 | 193.135 | 2.227 | 181.865 | 25.39 | 877 | 79.428 | 2.0553
2020-06-26 05:00:00 | 1.545 | 174.95 | 1.542 | 158.818 | 1.694 | 170.632 | 1.639 | 159.629 | 25.29 | 876.1 | 79.617 | 1.2313
2020-06-26 05:15:00 | 1.807 | 179.93 | 1.846 | 173.498 | 1.883 | 175.971 | 1.942 | 174.384 | 25.25 | 876 | 80.22 | 1.1433
2020-06-26 05:30:00 | 1.717 | 184.15 | 1.768 | 159.189 | 1.856 | 180.099 | 1.912 | 160.004 | 25.02 | 876 | 80.394 | 2.8673
2020-06-26 05:45:00 | 1.0313 | 124.4733 | 1.012 | 166.182 | 1.116 | 121.4613 | 1.0553 | 167.0307 | 24.9533 | 876 | 81.4067 | 2.108
2020-06-26 06:00:00 | 1.5073 | 103.52 | 1.512 | 104.9913 | 1.504 | 101.4647 | 1.528 | 105.528 | 25.18 | 876 | 82.64 | 3.7093
2020-06-26 06:15:00 | 1.616 | 129.62 | 1.732 | 121.742 | 1.9 | 126.77 | 2.036 | 122.364 | 25.18 | 876 | 82.84 | 5.136
2020-06-26 06:30:00 | 2.422 | 97.23 | 2.456 | 100.07 | 2.566 | 95.091 | 2.591 | 100.582 | 25.48 | 876 | 79.01 | 5.8567
2020-06-26 06:45:00 | 2.698 | 126.38 | 2.828 | 109.067 | 3.039 | 123.6 | 3.19 | 109.623 | 25.69 | 875.4 | 77.889 | 4.8673
2020-06-26 07:00:00 | 1.932 | 126.55 | 2.057 | 135.491 | 2.258 | 123.767 | 2.4 | 136.184 | 25.65 | 876 | 77.104 | 2.9673
2020-06-26 07:15:00 | 1.924 | 153.56 | 1.975 | 132.196 | 1.954 | 150.182 | 2.044 | 132.872 | 25.62 | 876 | 76.643 | 1.8587
2020-06-26 07:30:00 | 2.26 | 142.84 | 2.332 | 129.839 | 2.621 | 139.696 | 2.653 | 130.504 | 25.5 | 876 | 79.138 | 1.2033
2020-06-26 07:45:00 | 1.457 | 132.39 | 1.578 | 115.794 | 1.474 | 129.477 | 1.697 | 116.387 | 25.16 | 877 | 82.18 | 0.36
2020-06-26 08:00:00 | 1.3 | 62.42 | 1.395 | 66.974 | 1.756 | 60.666 | 1.788 | 67.689 | 24.91 | 877 | 86.75 | 0.027333
2020-06-26 08:15:00 | 2.501 | 345.99 | 2.721 | 309.488 | 3.205 | 336.794 | 3.422 | 311.069 | 24.58 | 877 | 91.55 | 1.3467
2020-06-26 08:30:00 | 3.6167 | 293.3 | 3.8853 | 325.3807 | 4.5233 | 286.8473 | 4.7707 | 327.044 | 24.3267 | 877 | 95.3867 | 8.3247
2020-06-26 08:45:00 | 4.7213 | 351 | 5.152 | 331.4767 | 5.744 | 343.2773 | 6.264 | 333.1727 | 23.78 | 877 | 97.3867 | 18.74
2020-06-26 09:00:00 | 5.3 | 349.44 | 5.698 | 327.202 | 6.208 | 343.2 | 6.71 | 328.87 | 23.52 | 877 | 98.18 | 25.188
2020-06-26 09:15:00 | 5.295 | 248.59 | 5.659 | 327.718 | 6.265 | 243.121 | 6.674 | 329.394 | 23.21 | 877 | 98.75 | 22.294
2020-06-26 09:30:00 | 5.632 | 346.12 | 6.126 | 314.359 | 6.661 | 338.506 | 7.296 | 315.967 | 22.96 | 877.9 | 99.24 | 27.4507
2020-06-26 09:45:00 | 5.902 | 328.54 | 6.407 | 309.987 | 6.485 | 321.312 | 7.275 | 311.571 | 22.74 | 878 | 99.54 | 29.392
2020-06-26 10:00:00 | 5.418 | 331.16 | 5.974 | 307.21 | 6.146 | 323.875 | 6.988 | 308.781 | 22.65 | 878.9 | 99.8 | 21.316
2020-06-26 10:15:00 | 4.336 | 340.13 | 4.786 | 308.109 | 5.271 | 332.647 | 5.85 | 309.684 | 22.77 | 879 | 99.94 | 11.718
2020-06-26 10:30:00 | 3.516 | 334.27 | 3.864 | 321.028 | 4.451 | 326.916 | 4.837 | 322.67 | 22.75 | 879 | 100 | 9.01
2020-06-26 10:45:00 | 4.929 | 332.62 | 5.343 | 314.876 | 5.57 | 325.303 | 6.171 | 316.487 | 22.49 | 879 | 100 | 18.6587
2020-06-26 11:00:00 | 4.805 | 330.09 | 5.174 | 309.812 | 5.404 | 322.827 | 5.932 | 311.396 | 22.03 | 879 | 100 | 18.0133
2020-06-26 11:15:00 | 5.4747 | 318.4067 | 5.902 | 304.7387 | 6.278 | 311.4 | 6.8593 | 306.298 | 21.6533 | 879 | 100 | 25.62
2020-06-26 11:30:00 | 5.6013 | 326.1067 | 5.9553 | 310.3327 | 5.9567 | 318.5033 | 6.526 | 311.92 | 21.4667 | 879 | 100 | 28.576
2020-06-26 11:45:00 | 5.9973 | 334.3333 | 6.4373 | 318.9333 | 6.756 | 326.978 | 7.3747 | 320.5627 | 21.0133 | 879.6 | 100 | 34.8907
2020-06-26 12:00:00 | 6.878 | 330.7533 | 7.3633 | 318.0393 | 7.6447 | 323.476 | 8.344 | 319.664 | 20.3333 | 880 | 100 | 43.4253
2020-06-26 12:15:00 | 7.1393 | 335.5 | 7.6773 | 314.8893 | 8.1193 | 328.118 | 8.8573 | 316.4987 | 20.2733 | 880 | 100 | 43.5353
2020-06-26 12:30:00 | 7.448 | 338.5333 | 8.1307 | 329.52 | 8.5153 | 331.084 | 9.494 | 331.2053 | 19.8867 | 880 | 100 | 45.9053
2020-06-26 12:45:00 | 8.1553 | 338.8133 | 8.8873 | 309.4527 | 9.0987 | 331.3587 | 10.2173 | 311.034 | 19.6333 | 879.4 | 100 | 50.9727
2020-06-26 13:00:00 | 8.072 | 345.58 | 8.652 | 323.482 | 8.852 | 337.98 | 9.736 | 325.136 | 19.34 | 879.8 | 100 | 49.9407
2020-06-26 13:15:00 | 8.594 | 310.73 | 9.313 | 326.683 | 9.466 | 303.895 | 10.582 | 328.351 | 19.34 | 879 | 100 | 52.518
2020-06-26 13:30:00 | 8.64 | 347.73 | 9.321 | 327.306 | 9.14 | 340.079 | 10.289 | 328.98 | 19.87 | 879 | 100 | 53.1027
2020-06-26 13:45:00 | 8.256 | 344.84 | 8.973 | 329.695 | 9.02 | 337.254 | 10.164 | 331.38 | 20.11 | 879 | 99.74 | 51.708
2020-06-26 14:00:00 | 8.187 | 347.6 | 8.846 | 331.426 | 9.028 | 339.952 | 10.032 | 333.119 | 20.38 | 879.9 | 98 | 52.374
2020-06-26 14:15:00 | 8.028 | 342.42 | 8.65 | 325.988 | 8.824 | 334.888 | 9.77 | 327.654 | 20.46 | 879 | 97.46 | 52.012
2020-06-26 14:30:00 | 7.902 | 343.27 | 8.46 | 323.609 | 8.572 | 334.877 | 9.427 | 325.266 | 20.7 | 879 | 95.72 | 52.6293
2020-06-26 14:45:00 | 7.56 | 346.3 | 8.197 | 318.722 | 8.13 | 338.682 | 9.177 | 320.35 | 20.6 | 879 | 95.6 | 50.092
2020-06-26 15:00:00 | 7.096 | 342.47 | 7.627 | 324.569 | 7.71 | 334.935 | 8.534 | 326.229 | 20.78 | 879 | 94.52 | 49.03
2020-06-26 15:15:00 | 7.172 | 343.45 | 7.695 | 324.569 | 7.885 | 335.893 | 8.67 | 326.229 | 20.91 | 879 | 92.87 | 50.364
2020-06-26 15:30:00 | 7.187 | 308.42 | 7.805 | 320.882 | 8.073 | 301.634 | 8.983 | 322.524 | 21.03 | 879 | 92.92 | 48.2533
2020-06-26 15:45:00 | 7.253 | 309.14 | 7.744 | 328.432 | 8.108 | 302.337 | 8.793 | 330.112 | 21.49 | 879 | 91.64 | 49.8047
2020-06-26 16:00:00 | 7.228 | 278.91 | 7.785 | 332.598 | 8.065 | 272.774 | 8.877 | 334.297 | 21.71 | 879 | 90.07 | 49.6067
2020-06-26 16:15:00 | 7.49 | 310.91 | 7.998 | 327.464 | 8.368 | 304.069 | 9.078 | 329.138 | 22.06 | 879 | 88.6 | 47.528
2020-06-26 16:30:00 | 7.038 | 316.2 | 7.578 | 326.848 | 8.124 | 308.5 | 8.829 | 328.52 | 22.24 | 879 | 86.82 | 48.894
2020-06-26 16:45:00 | 7.604 | 314.05 | 8.261 | 328.119 | 8.657 | 307.14 | 9.592 | 329.797 | 22.51 | 879.4 | 85.33 | 46.8733
2020-06-26 17:00:00 | 6.623 | 270.83 | 6.981 | 322.445 | 7.432 | 264.872 | 7.884 | 324.096 | 22.92 | 880 | 84.98 | 45.7387
2020-06-26 17:15:00 | 6.6613 | 254.9133 | 7.1127 | 324.788 | 7.6507 | 249.3053 | 8.222 | 326.448 | 23.1267 | 879 | 81.5733 | 48.2907
2020-06-26 17:30:00 | 6.952 | 278.32 | 7.5167 | 305.5593 | 8.0353 | 272.1973 | 8.7927 | 307.122 | 23.2067 | 879.9333 | 80.5367 | 49.1487
2020-06-26 17:45:00 | 7.276 | 338.9533 | 7.8073 | 327.6093 | 8.0687 | 331.4967 | 8.8527 | 329.2847 | 23.16 | 880 | 80.2267 | 50.5673
2020-06-26 18:00:00 | 7.376 | 267.68 | 7.932 | 334.204 | 8.288 | 261.788 | 9.076 | 335.91 | 23.14 | 879.2 | 79.158 | 52.4413
2020-06-26 18:15:00 | 6.96 | 340.36 | 7.422 | 327.572 | 7.474 | 332.872 | 8.2 | 329.246 | 23.14 | 879 | 77.746 | 50.4687
2020-06-26 18:30:00 | 7.124 | 342.24 | 7.492 | 326.38 | 8.056 | 334.71 | 8.482 | 328.046 | 22.88 | 879 | 78.352 | 48.892
2020-06-26 18:45:00 | 7.218 | 339.8 | 7.722 | 323.288 | 7.848 | 332.326 | 8.622 | 324.94 | 22.9 | 879 | 79.398 | 50.1273
2020-06-26 19:00:00 | 7.308 | 339.62 | 7.844 | 335.042 | 8.328 | 332.148 | 9.048 | 336.758 | 22.76 | 879 | 78.664 | 51.1287
2020-06-26 19:15:00 | 7.672 | 350.42 | 8.374 | 320.08 | 8.91 | 342.712 | 9.876 | 321.718 | 22.64 | 879 | 79.62 | 50.4693
2020-06-26 19:30:00 | 7.232 | 347.47 | 7.796 | 323.15 | 8.277 | 339.827 | 9.037 | 324.802 | 22.52 | 879 | 79.869 | 49.502
2020-06-26 19:45:00 | 7.253 | 345.51 | 7.824 | 331.611 | 8.321 | 337.566 | 9.095 | 333.304 | 22.55 | 879 | 78.15 | 50.59
2020-06-26 20:00:00 | 7.612 | 349.24 | 8.308 | 327.181 | 8.824 | 341.556 | 9.79 | 328.853 | 22.35 | 879 | 79.636 | 49.176
2020-06-26 20:15:00 | 7.231 | 348.53 | 7.823 | 327.629 | 8.292 | 340.284 | 9.107 | 329.305 | 22.2 | 878.6 | 79.072 | 49.2
2020-06-26 20:30:00 | 6.808 | 339.88 | 7.345 | 323.638 | 7.579 | 332.402 | 8.375 | 325.296 | 22.19 | 878 | 78.928 | 45.3247
2020-06-26 20:45:00 | 6.593 | 344.46 | 7.202 | 318.829 | 7.22 | 336.51 | 8.185 | 320.457 | 22.07 | 878 | 76.508 | 45.3667
2020-06-26 21:00:00 | 7.063 | 344.66 | 7.545 | 320.48 | 7.626 | 337.077 | 8.376 | 322.12 | 22.29 | 878 | 76.476 | 47.1053
2020-06-26 21:15:00 | 6.93 | 341.4 | 7.427 | 315.513 | 7.732 | 333.89 | 8.442 | 317.128 | 22.03 | 878 | 77.054 | 44.0873
2020-06-26 21:30:00 | 7.113 | 339.79 | 7.622 | 321.205 | 7.822 | 332.314 | 8.589 | 322.848 | 21.93 | 878 | 76.133 | 45.7927
2020-06-26 21:45:00 | 7.375 | 333.89 | 7.897 | 323.796 | 8.056 | 327.523 | 8.861 | 325.453 | 22 | 878.4 | 76.22 | 47.2907
2020-06-26 22:00:00 | 7.662 | 331.84 | 8.271 | 328.207 | 8.278 | 324.783 | 9.258 | 329.884 | 21.94 | 879 | 76.863 | 49.1933
2020-06-26 22:15:00 | 7.8613 | 342.1867 | 8.5107 | 327.9173 | 8.554 | 334.6587 | 9.582 | 329.5947 | 21.8533 | 878.6 | 76.6213 | 50.3967
2020-06-26 22:30:00 | 7.9327 | 344.5933 | 8.5853 | 331.8347 | 8.8027 | 337.012 | 9.7887 | 333.532 | 21.7 | 879 | 77.2953 | 51.026
2020-06-26 22:45:00 | 7.5873 | 347.0067 | 8.2247 | 335.1473 | 8.1713 | 339.3733 | 9.214 | 336.8607 | 21.7267 | 879 | 77.3047 | 50.3013
2020-06-26 23:00:00 | 7.5533 | 345.5133 | 8.2013 | 328.64 | 8.1947 | 337.912 | 9.2353 | 330.3207 | 21.6533 | 879 | 77.8347 | 48.1973
2020-06-26 23:15:00 | 7.7013 | 340.6133 | 8.3287 | 322.6493 | 8.28 | 333.12 | 9.3073 | 324.2987 | 21.7533 | 879 | 76.8493 | 48.0567
2020-06-26 23:30:00 | 7.836 | 343.46 | 8.532 | 323.562 | 8.624 | 335.902 | 9.71 | 325.216 | 21.82 | 879 | 77.53 | 49.7073
2020-06-26 23:45:00 | 7.634 | 347.22 | 8.296 | 320.568 | 8.194 | 339.582 | 9.282 | 322.208 | 21.74 | 879 | 76.554 | 48.6867