## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-27 00:00:00 | 7.849 | 343.17 | 8.452 | 328.12 | 8.36 | 335.621 | 9.359 | 329.797 | 21.83 | 879 | 77.418 | 49.4753
2020-06-27 00:15:00 | 7.881 | 344.2 | 8.475 | 330.279 | 8.344 | 336.626 | 9.341 | 331.969 | 21.96 | 878 | 77.288 | 49.7213
2020-06-27 00:30:00 | 7.5813 | 344.7933 | 8.158 | 326.9387 | 8.1373 | 337.208 | 9.064 | 328.61 | 21.7733 | 878 | 77.994 | 48.6347
2020-06-27 00:45:00 | 7.196 | 343.56 | 7.738 | 326.828 | 7.688 | 336 | 8.57 | 328.498 | 21.66 | 878 | 80.074 | 46.11
2020-06-27 01:00:00 | 7.082 | 341.88 | 7.628 | 333.342 | 7.716 | 334.36 | 8.57 | 335.044 | 21.66 | 878 | 84.02 | 46.36
2020-06-27 01:15:00 | 7.1644 | 345.0778 | 7.69 | 329.7278 | 7.8856 | 337.4844 | 8.6733 | 331.4133 | 21.4778 | 878 | 86.4889 | 46.6793
2020-06-27 01:30:00 | 7.202 | 339.1 | 7.745 | 329.872 | 7.728 | 331.642 | 8.609 | 331.556 | 21.38 | 878 | 87.07 | 47.2787
2020-06-27 01:45:00 | 7.465 | 337.26 | 8.03 | 327.414 | 8.229 | 329.841 | 9.083 | 329.088 | 20.85 | 878 | 87.01 | 48.9313
2020-06-27 02:00:00 | 7.87 | 340.23 | 8.505 | 327.259 | 8.72 | 332.745 | 9.674 | 328.932 | 20.11 | 878 | 90.24 | 50.572
2020-06-27 02:15:00 | 8.271 | 343.71 | 8.96 | 325.008 | 8.973 | 336.235 | 10.073 | 326.671 | 19.77 | 878 | 91.66 | 50.712
2020-06-27 02:30:00 | 8.154 | 346.89 | 8.751 | 328.705 | 8.798 | 339.257 | 9.745 | 330.388 | 19.67 | 877.1 | 93.27 | 49.8253
2020-06-27 02:45:00 | 7.91 | 343.88 | 8.498 | 328.238 | 8.724 | 336.316 | 9.602 | 329.914 | 19.22 | 877 | 94.94 | 48.4313
2020-06-27 03:00:00 | 7.995 | 342.77 | 8.566 | 329.41 | 8.631 | 335.445 | 9.528 | 331.094 | 18.94 | 877 | 96.83 | 50.288
2020-06-27 03:15:00 | 7.814 | 340.12 | 8.31 | 331.58 | 8.482 | 332.638 | 9.232 | 333.278 | 18.72 | 877 | 97.92 | 50.3447
2020-06-27 03:30:00 | 8.057 | 345.51 | 8.722 | 327.446 | 8.682 | 337.907 | 9.767 | 329.119 | 18.62 | 877 | 98.68 | 50.328
2020-06-27 03:45:00 | 7.884 | 347.91 | 8.503 | 327.757 | 8.512 | 340.256 | 9.504 | 329.432 | 18.52 | 877 | 99.11 | 50.352
2020-06-27 04:00:00 | 7.842 | 344.2267 | 8.4547 | 323.086 | 8.4907 | 336.7633 | 9.4473 | 324.7373 | 18.1133 | 876.3333 | 99.62 | 52.13
2020-06-27 04:15:00 | 8.13 | 347.58 | 8.758 | 328.724 | 8.686 | 339.932 | 9.722 | 330.406 | 18.2 | 877 | 99.9 | 52.806
2020-06-27 04:30:00 | 8.0689 | 346.0778 | 8.6689 | 329.9011 | 8.8811 | 338.4644 | 9.7889 | 331.5856 | 18.0889 | 876 | 99.9889 | 53.866
2020-06-27 04:45:00 | 7.826 | 344.82 | 8.414 | 322.162 | 8.484 | 337.236 | 9.414 | 323.81 | 18.11 | 876 | 100 | 54.3253
2020-06-27 05:00:00 | 7.68 | 338.61 | 8.244 | 318.7 | 8.447 | 331.161 | 9.294 | 320.331 | 18.18 | 876 | 100 | 53.26
2020-06-27 05:15:00 | 7.307 | 311.79 | 7.992 | 331.66 | 8.117 | 304.931 | 9.183 | 333.355 | 17.99 | 877 | 100 | 51.664
2020-06-27 05:30:00 | 7.936 | 339.31 | 8.532 | 327.873 | 8.526 | 331.844 | 9.489 | 329.549 | 17.74 | 877 | 100 | 55.218
2020-06-27 05:45:00 | 8.126 | 338.56 | 8.73 | 329.733 | 8.708 | 331.112 | 9.684 | 331.418 | 17.7 | 877 | 100 | 56.492
2020-06-27 06:00:00 | 8.0007 | 338.5933 | 8.5753 | 324.9507 | 8.6013 | 330.968 | 9.524 | 326.612 | 17.7 | 877 | 100 | 55.6787
2020-06-27 06:15:00 | 8.2707 | 341.0267 | 8.81 | 332.252 | 8.8913 | 333.5247 | 9.7393 | 333.9507 | 17.7 | 877 | 100 | 57.7947
2020-06-27 06:30:00 | 7.7933 | 346.6111 | 8.3111 | 291.41 | 8.3944 | 338.9856 | 9.2111 | 292.9011 | 17.6889 | 877 | 100 | 55.828
2020-06-27 06:45:00 | 8.398 | 337.83 | 9.01 | 328.354 | 9.19 | 330.398 | 10.127 | 330.032 | 17.65 | 877 | 100 | 56.694
2020-06-27 07:00:00 | 8.873 | 309.1 | 9.482 | 324.901 | 9.672 | 302.652 | 10.6 | 326.564 | 17.61 | 877 | 100 | 59.3127
2020-06-27 07:15:00 | 8.631 | 345.34 | 9.266 | 327.776 | 9.472 | 337.743 | 10.439 | 329.453 | 17.5 | 877 | 100 | 59.416
2020-06-27 07:30:00 | 8.765 | 307.48 | 9.302 | 333.127 | 9.824 | 300.716 | 10.537 | 334.83 | 17.56 | 877 | 100 | 58.6693
2020-06-27 07:45:00 | 8.408 | 305.57 | 9.074 | 328.149 | 9.458 | 298.847 | 10.416 | 329.825 | 17.63 | 877 | 100 | 58.3213
2020-06-27 08:00:00 | 8.609 | 339.05 | 9.365 | 325.723 | 9.48 | 331.592 | 10.669 | 327.386 | 17.62 | 877 | 100 | 57.0447
2020-06-27 08:15:00 | 8.87 | 338.35 | 9.624 | 331.092 | 9.814 | 330.906 | 10.975 | 332.785 | 17.62 | 877 | 100 | 58.5593
2020-06-27 08:30:00 | 8.7067 | 340.3733 | 9.498 | 330.9933 | 9.65 | 332.8847 | 10.8753 | 332.686 | 17.6 | 877 | 100 | 58.786
2020-06-27 08:45:00 | 8.722 | 341.6 | 9.3 | 335.864 | 9.822 | 334.086 | 10.598 | 337.582 | 17.6 | 877 | 100 | 58.5747
2020-06-27 09:00:00 | 8.348 | 341.96 | 9.096 | 335.688 | 9.434 | 334.438 | 10.53 | 337.406 | 17.72 | 877 | 100 | 58.468
2020-06-27 09:15:00 | 8.373 | 345.1 | 9.09 | 330.31 | 9.693 | 337.507 | 10.667 | 331.998 | 17.79 | 877 | 100 | 58.0413
2020-06-27 09:30:00 | 8.647 | 304.12 | 9.359 | 331.983 | 9.642 | 297.43 | 10.705 | 333.681 | 17.8 | 877 | 100 | 58.36
2020-06-27 09:45:00 | 8.765 | 341.54 | 9.415 | 330.592 | 9.645 | 334.027 | 10.62 | 332.282 | 17.88 | 877 | 100 | 58.4927
2020-06-27 10:00:00 | 7.83 | 341.24 | 8.641 | 322.887 | 8.565 | 333.732 | 9.892 | 324.537 | 17.91 | 877 | 100 | 59.2313
2020-06-27 10:15:00 | 8.31 | 277.04 | 9.018 | 328.393 | 9.017 | 270.945 | 10.154 | 330.072 | 18.05 | 877 | 100 | 59.5767
2020-06-27 10:30:00 | 8.241 | 312.89 | 8.901 | 324.746 | 9.335 | 306.006 | 10.276 | 326.405 | 18.23 | 877 | 100 | 59.31
2020-06-27 10:45:00 | 9.054 | 348.45 | 9.787 | 327.376 | 9.688 | 340.786 | 10.896 | 329.048 | 18.57 | 877 | 100 | 60.6793
2020-06-27 11:00:00 | 8.732 | 345.21 | 9.544 | 331.493 | 9.521 | 337.615 | 10.836 | 333.188 | 18.65 | 877 | 100 | 61.746
2020-06-27 11:15:00 | 9.364 | 347.42 | 10.116 | 324.226 | 10.052 | 339.776 | 11.286 | 325.886 | 18.92 | 877 | 100 | 61.6273
2020-06-27 11:30:00 | 8.632 | 273.14 | 9.444 | 268.324 | 9.466 | 267.128 | 10.764 | 269.696 | 18.92 | 877 | 100 | 61.596
2020-06-27 11:45:00 | 9.05 | 335.16 | 9.784 | 334.418 | 10.288 | 327.788 | 11.33 | 336.13 | 19.14 | 877 | 100 | 61.0213
2020-06-27 12:00:00 | 9.434 | 343.56 | 10.082 | 337.902 | 10.556 | 336 | 11.464 | 339.626 | 19.22 | 877 | 100 | 60.532
2020-06-27 12:15:00 | 8.746 | 277.66 | 9.284 | 268.732 | 9.802 | 271.552 | 10.518 | 270.108 | 19.42 | 877 | 100 | 60.0053
2020-06-27 12:30:00 | 9.002 | 347.23 | 9.723 | 301.555 | 10.197 | 339.591 | 11.218 | 303.098 | 19.85 | 877 | 100 | 59.508
2020-06-27 12:45:00 | 8.7 | 313.6 | 9.359 | 331.434 | 9.99 | 306.701 | 10.865 | 333.129 | 20.03 | 877 | 99.74 | 58.8487
2020-06-27 13:00:00 | 8.4233 | 305.3667 | 9.0333 | 334.6189 | 9.6467 | 298.6489 | 10.4489 | 336.3289 | 20.2556 | 877 | 95.1667 | 58.7687
2020-06-27 13:15:00 | 8.5411 | 307.3 | 9.1856 | 334.7478 | 9.8844 | 300.5389 | 10.7156 | 336.4589 | 20.4111 | 877.6667 | 93.2444 | 58.108
2020-06-27 13:30:00 | 8.246 | 242.39 | 8.782 | 332.189 | 9.447 | 237.058 | 10.119 | 333.886 | 20.65 | 877 | 92.47 | 57.4413
2020-06-27 13:45:00 | 7.475 | 312.95 | 8.065 | 294.934 | 8.81 | 306.065 | 9.548 | 296.443 | 21.06 | 877 | 90.54 | 55.6
2020-06-27 14:00:00 | 8.002 | 348.67 | 8.754 | 332.831 | 9.41 | 340.998 | 10.421 | 334.534 | 21.1 | 877 | 88.4 | 55.5747
2020-06-27 14:15:00 | 8.156 | 308.91 | 8.831 | 301.477 | 9.37 | 302.112 | 10.295 | 303.018 | 21.08 | 877 | 89.53 | 54.96
2020-06-27 14:30:00 | 7.917 | 239.72 | 8.545 | 299.198 | 9.152 | 234.446 | 9.985 | 300.728 | 20.97 | 877 | 90.34 | 56.3707
2020-06-27 14:45:00 | 7.865 | 311.55 | 8.435 | 302.035 | 8.874 | 304.696 | 9.662 | 303.579 | 21.08 | 877 | 91.7 | 57.3967
2020-06-27 15:00:00 | 7.983 | 343.24 | 8.613 | 294.828 | 9.162 | 301.35 | 10.044 | 296.336 | 21.15 | 877 | 91 | 58.81
2020-06-27 15:15:00 | 7.867 | 312.1 | 8.42 | 295.268 | 8.73 | 305.235 | 9.527 | 296.778 | 21.08 | 877 | 90.62 | 58.2133
2020-06-27 15:30:00 | 7.982 | 314.44 | 8.597 | 330.476 | 9.157 | 307.521 | 9.984 | 332.166 | 20.89 | 877 | 89.68 | 56.9787
2020-06-27 15:45:00 | 8.31 | 345.66 | 9.058 | 332.56 | 9.544 | 338.056 | 10.604 | 334.258 | 20.84 | 877 | 89.72 | 54.8507
2020-06-27 16:00:00 | 7.684 | 354 | 8.322 | 329.528 | 8.728 | 346.212 | 9.634 | 331.212 | 20.92 | 877 | 91 | 53.4533
2020-06-27 16:15:00 | 7.095 | 339.93 | 7.685 | 334.066 | 8.071 | 332.451 | 8.911 | 335.773 | 20.86 | 877 | 91.72 | 51.1973
2020-06-27 16:30:00 | 7.527 | 336.71 | 8.141 | 326.291 | 8.32 | 331.327 | 9.237 | 327.96 | 20.71 | 877 | 93.28 | 51.686
2020-06-27 16:45:00 | 7.499 | 341.07 | 8.141 | 325.957 | 8.098 | 333.567 | 9.144 | 327.624 | 20.95 | 877 | 95.62 | 51.6487
2020-06-27 17:00:00 | 6.88 | 308.49 | 7.4 | 330.106 | 7.585 | 301.704 | 8.365 | 331.792 | 21.1 | 877 | 95.44 | 50.2953
2020-06-27 17:15:00 | 6.973 | 342.01 | 7.504 | 325.831 | 7.547 | 334.485 | 8.386 | 327.496 | 21.21 | 877 | 94.38 | 50.6653
2020-06-27 17:30:00 | 6.45 | 309.53 | 6.897 | 332.9 | 7.052 | 302.721 | 7.721 | 334.604 | 21.39 | 877 | 93.1 | 48.4213
2020-06-27 17:45:00 | 6.615 | 305.5 | 6.987 | 328.227 | 6.991 | 298.78 | 7.589 | 329.906 | 21.3 | 877 | 91.35 | 47.7333
2020-06-27 18:00:00 | 6.832 | 339.28 | 7.268 | 328.277 | 7.241 | 331.746 | 7.941 | 329.954 | 21.25 | 877 | 91.98 | 48.1767
2020-06-27 18:15:00 | 6.761 | 339.84 | 7.281 | 323.513 | 7.228 | 332.363 | 8.081 | 325.166 | 21.16 | 877 | 92.51 | 48.0847
2020-06-27 18:30:00 | 7.068 | 334.95 | 7.656 | 323.278 | 7.776 | 327.582 | 8.687 | 324.93 | 20.97 | 877 | 93.03 | 48.0927
2020-06-27 18:45:00 | 7.193 | 331.69 | 7.76 | 323.461 | 8.122 | 324.393 | 8.931 | 325.119 | 20.81 | 877 | 94.06 | 50.506
2020-06-27 19:00:00 | 7.6714 | 337.6714 | 8.1736 | 327.6371 | 8.5564 | 330.2414 | 9.2521 | 329.31 | 20.55 | 877 | 94.4857 | 51.15
2020-06-27 19:15:00 | 7.1036 | 340.65 | 7.6114 | 325.6393 | 7.6407 | 333.155 | 8.4479 | 327.3036 | 20.3571 | 877 | 95.45 | 48.8613
2020-06-27 19:30:00 | 6.8187 | 340.94 | 7.2313 | 320.2107 | 7.534 | 333.438 | 8.1127 | 321.846 | 20.3667 | 877 | 95.7933 | 47.0553
2020-06-27 19:45:00 | 7.142 | 340.62 | 7.5673 | 323.86 | 7.9207 | 333.1267 | 8.5033 | 325.5173 | 20.48 | 877 | 95.16 | 49.3747
2020-06-27 20:00:00 | 7.636 | 336.64 | 8.232 | 323.638 | 8.314 | 329.86 | 9.224 | 325.294 | 20.42 | 877 | 94.88 | 51.2773
2020-06-27 20:15:00 | 7.548 | 342.04 | 8.08 | 325.9 | 7.907 | 334.516 | 8.813 | 327.565 | 20.38 | 877 | 95.3 | 50.5233
2020-06-27 20:30:00 | 7.394 | 337.73 | 7.953 | 324.012 | 8.055 | 330.3 | 8.923 | 325.665 | 20.26 | 877 | 95.46 | 50.016
2020-06-27 20:45:00 | 7.541 | 340.3 | 8.032 | 328.863 | 8.355 | 332.812 | 9.049 | 330.545 | 20.25 | 877 | 95.34 | 51.198
2020-06-27 21:00:00 | 7.353 | 309.86 | 7.822 | 330.769 | 8.122 | 303.043 | 8.79 | 332.461 | 20.27 | 877 | 95.41 | 49.7687
2020-06-27 21:15:00 | 7.005 | 344.36 | 7.486 | 323.523 | 7.564 | 336.784 | 8.317 | 325.178 | 20.27 | 877 | 94.8 | 48.9727
2020-06-27 21:30:00 | 7.554 | 345.6 | 8.034 | 328.029 | 7.987 | 337.79 | 8.788 | 329.709 | 20.39 | 877 | 94.71 | 50.7687
2020-06-27 21:45:00 | 7.243 | 343.6 | 7.698 | 326.213 | 7.711 | 336.04 | 8.441 | 327.881 | 20.38 | 878 | 94.59 | 49.6107
2020-06-27 22:00:00 | 7.372 | 335.89 | 7.922 | 324.062 | 7.776 | 328.5 | 8.7 | 325.718 | 20.48 | 878 | 94.11 | 48.614
2020-06-27 22:15:00 | 7.177 | 342.94 | 7.639 | 325.508 | 7.7 | 335.395 | 8.428 | 327.171 | 20.62 | 878 | 94 | 48.0287
2020-06-27 22:30:00 | 7.271 | 342.81 | 7.752 | 326.527 | 7.837 | 335.266 | 8.583 | 328.195 | 20.5 | 878 | 94.52 | 48.06
2020-06-27 22:45:00 | 7.1527 | 342.64 | 7.6233 | 322.382 | 7.5553 | 335.102 | 8.3373 | 324.03 | 20.64 | 878 | 94.2533 | 48.6227
2020-06-27 23:00:00 | 7.0633 | 342.64 | 7.5567 | 328.0207 | 7.48 | 335.1013 | 8.2953 | 329.698 | 20.5867 | 878 | 94.3467 | 47.296
2020-06-27 23:15:00 | 7.0667 | 340.0267 | 7.5433 | 329.9173 | 7.3253 | 332.5453 | 8.1547 | 331.6053 | 20.5867 | 878 | 94.2 | 46.762
2020-06-27 23:30:00 | 6.9527 | 340.22 | 7.4093 | 327.9353 | 7.5067 | 332.7347 | 8.2127 | 329.6127 | 20.5733 | 878 | 94.2867 | 45.9747
2020-06-27 23:45:00 | 6.9773 | 338.44 | 7.452 | 325.1527 | 7.654 | 330.9933 | 8.3613 | 326.8147 | 20.7533 | 878 | 94.3 | 45.072