## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-28 00:00:00 | 6.9067 | 336.8667 | 7.3183 | 319.4983 | 7.6183 | 329.455 | 8.2017 | 321.1283 | 20.9333 | 878 | 94.5667 | 45.322
2020-06-28 00:15:00 | 6.614 | 329.26 | 7.026 | 318.69 | 7.262 | 322.018 | 7.858 | 320.322 | 20.84 | 878 | 94.3 | 43.3293
2020-06-28 00:30:00 | 7.043 | 337.56 | 7.588 | 320.823 | 7.582 | 329.183 | 8.464 | 322.463 | 20.88 | 878 | 94.54 | 45.2993
2020-06-28 00:45:00 | 7.116 | 334.4133 | 7.694 | 316.494 | 7.6473 | 327.056 | 8.596 | 318.1113 | 20.7467 | 878 | 95.7733 | 44.792
2020-06-28 01:00:00 | 6.59 | 339.68 | 7.124 | 317.476 | 7.094 | 332.208 | 7.958 | 319.102 | 20.52 | 878 | 96.92 | 43.5167
2020-06-28 01:15:00 | 6.991 | 343.65 | 7.524 | 327.63 | 7.525 | 336.921 | 8.389 | 329.306 | 20.26 | 877 | 97.98 | 45.2467
2020-06-28 01:30:00 | 7.213 | 340.62 | 7.721 | 328.755 | 7.717 | 333.127 | 8.547 | 330.436 | 20.18 | 877 | 98.64 | 47.2273
2020-06-28 01:45:00 | 7.168 | 342.1867 | 7.706 | 328.1713 | 7.8033 | 334.6587 | 8.6393 | 329.8487 | 20.1333 | 877 | 98.72 | 45.5673
2020-06-28 02:00:00 | 6.9453 | 341.4267 | 7.494 | 323.946 | 7.4573 | 333.9153 | 8.3533 | 325.6027 | 20.1533 | 877 | 98.6267 | 44.0573
2020-06-28 02:15:00 | 7.048 | 337.22 | 7.5807 | 322.994 | 7.5233 | 329.802 | 8.3953 | 324.6467 | 20.4 | 877 | 98.96 | 42.6613
2020-06-28 02:30:00 | 7.1847 | 339.5467 | 7.7667 | 323.606 | 7.6093 | 332.076 | 8.59 | 325.2607 | 20.3733 | 877 | 99.12 | 42.93
2020-06-28 02:45:00 | 7.336 | 341.96 | 7.892 | 327.55 | 8.16 | 334.436 | 8.974 | 329.228 | 20.3 | 877 | 99.2 | 42.9033
2020-06-28 03:00:00 | 7.012 | 338.79 | 7.561 | 317.342 | 7.472 | 331.338 | 8.382 | 318.964 | 20.43 | 877 | 99 | 45.0027
2020-06-28 03:15:00 | 7.053 | 337.39 | 7.596 | 318.719 | 7.389 | 329.968 | 8.322 | 320.35 | 20.24 | 877 | 98.9 | 47.5547
2020-06-28 03:30:00 | 7.357 | 343.76 | 7.96 | 322.524 | 7.757 | 336.197 | 8.794 | 324.173 | 19.8 | 877 | 98.9 | 46.0433
2020-06-28 03:45:00 | 7.565 | 343.19 | 8.123 | 324 | 7.965 | 335.64 | 8.911 | 325.657 | 19.95 | 877 | 99.3 | 46.3673
2020-06-28 04:00:00 | 7.336 | 345.71 | 7.876 | 326.328 | 7.997 | 338.104 | 8.834 | 327.998 | 20.09 | 877 | 99.82 | 46.744
2020-06-28 04:15:00 | 7.3807 | 336.72 | 7.9287 | 329.6133 | 7.9653 | 329.3113 | 8.8293 | 331.298 | 19.8667 | 877 | 100 | 47.188
2020-06-28 04:30:00 | 7.34 | 343.58 | 7.884 | 322.74 | 7.856 | 336.022 | 8.742 | 324.39 | 19.74 | 877 | 100 | 48.5573
2020-06-28 04:45:00 | 7.74 | 336.5 | 8.306 | 324.148 | 8.444 | 329.096 | 9.316 | 325.802 | 19.76 | 877 | 100 | 48.3593
2020-06-28 05:00:00 | 7.856 | 346.8 | 8.502 | 327.532 | 8.57 | 339.17 | 9.574 | 329.204 | 19.88 | 877 | 100 | 48.6693
2020-06-28 05:15:00 | 7.645 | 343.4 | 8.252 | 325.089 | 8.077 | 335.845 | 9.103 | 326.749 | 20.19 | 878 | 100 | 47.0147
2020-06-28 05:30:00 | 7.475 | 342.08 | 8.022 | 328.324 | 7.901 | 334.555 | 8.819 | 330.003 | 20.09 | 878 | 100 | 44.4393
2020-06-28 05:45:00 | 7.474 | 343.47 | 8.061 | 330.172 | 7.792 | 335.914 | 8.814 | 331.861 | 20.11 | 878 | 100 | 45.4267
2020-06-28 06:00:00 | 7.489 | 345.15 | 8.081 | 328.02 | 7.973 | 337.556 | 8.952 | 329.698 | 20.03 | 878 | 100 | 48.216
2020-06-28 06:15:00 | 7.205 | 345.64 | 7.732 | 326.691 | 7.968 | 338.036 | 8.748 | 328.361 | 19.83 | 878 | 100 | 53.142
2020-06-28 06:30:00 | 7.718 | 325.4533 | 8.28 | 329.306 | 8.5187 | 318.2947 | 9.3507 | 330.99 | 19.8867 | 878 | 100 | 53.58
2020-06-28 06:45:00 | 7.7467 | 345.3267 | 8.364 | 332.234 | 8.4647 | 337.7293 | 9.4253 | 333.9327 | 19.7133 | 878 | 100 | 50.5387
2020-06-28 07:00:00 | 7.694 | 347.78 | 8.378 | 325.246 | 8.468 | 340.128 | 9.54 | 326.908 | 19.66 | 878 | 100 | 47.6147
2020-06-28 07:15:00 | 7.404 | 352.87 | 7.974 | 332.96 | 7.978 | 345.107 | 8.89 | 334.66 | 20.04 | 878 | 100 | 45.282
2020-06-28 07:30:00 | 7.233 | 348.7 | 7.856 | 332.697 | 7.895 | 342.261 | 8.886 | 334.396 | 20.05 | 878 | 100 | 43.0053
2020-06-28 07:45:00 | 6.737 | 348.62 | 7.479 | 328.452 | 7.639 | 340.951 | 8.783 | 330.132 | 20 | 878.4 | 100 | 41.8907
2020-06-28 08:00:00 | 6.417 | 346.92 | 7.093 | 294.761 | 7.258 | 339.287 | 8.292 | 296.266 | 20.15 | 879 | 100 | 39.4847
2020-06-28 08:15:00 | 6.1 | 341.26 | 6.611 | 323.004 | 6.644 | 333.751 | 7.453 | 324.654 | 20.18 | 879 | 99.96 | 35.2473
2020-06-28 08:30:00 | 6.002 | 336.79 | 6.45 | 318.993 | 6.63 | 329.38 | 7.292 | 320.625 | 20.46 | 879 | 99.33 | 35.5753
2020-06-28 08:45:00 | 5.759 | 348.67 | 6.308 | 326.624 | 6.52 | 340.999 | 7.337 | 328.292 | 20.38 | 879 | 98.01 | 36.7133
2020-06-28 09:00:00 | 5.653 | 351.43 | 6.266 | 327.972 | 6.539 | 343.7 | 7.443 | 329.651 | 20.31 | 879 | 96.23 | 38.0393
2020-06-28 09:15:00 | 5.5847 | 326.8467 | 6.026 | 309.0873 | 6.22 | 319.656 | 6.874 | 310.668 | 20.7333 | 879 | 95.2733 | 35.96
2020-06-28 09:30:00 | 5.29 | 342.5 | 5.672 | 334.496 | 6.038 | 334.966 | 6.55 | 336.206 | 20.88 | 879 | 95.2 | 30.2573
2020-06-28 09:45:00 | 4.984 | 340.44 | 5.46 | 318.126 | 5.764 | 332.95 | 6.444 | 319.75 | 20.88 | 879 | 94.28 | 31.824
2020-06-28 10:00:00 | 5.782 | 274.34 | 6.052 | 334.494 | 6.282 | 268.304 | 6.652 | 336.204 | 21.26 | 879.8 | 92.98 | 37.2807
2020-06-28 10:15:00 | 5.786 | 340.78 | 6.05 | 330.729 | 6.267 | 333.281 | 6.633 | 332.421 | 21.49 | 879.6 | 92.26 | 35.7773
2020-06-28 10:30:00 | 5.254 | 337.46 | 5.417 | 323.678 | 5.531 | 328.226 | 5.764 | 325.335 | 21.67 | 879 | 91.34 | 31.182
2020-06-28 10:45:00 | 5.305 | 312.28 | 5.525 | 327.777 | 5.816 | 305.41 | 6.086 | 329.453 | 21.93 | 880 | 90.32 | 30.8067
2020-06-28 11:00:00 | 5.014 | 339.25 | 5.139 | 323.082 | 5.319 | 331.786 | 5.476 | 324.735 | 22.3 | 880 | 89.46 | 28.4447
2020-06-28 11:15:00 | 5.251 | 343.35 | 5.509 | 328.871 | 5.695 | 335.796 | 6.058 | 330.553 | 22.33 | 880 | 89.58 | 30.2007
2020-06-28 11:30:00 | 5.2327 | 303.3267 | 5.5933 | 329.0513 | 5.926 | 296.654 | 6.41 | 330.7327 | 22.2333 | 880 | 89.1867 | 29.9687
2020-06-28 11:45:00 | 4.6967 | 259.0333 | 4.9413 | 331.6273 | 5.356 | 253.334 | 5.6333 | 333.322 | 22.46 | 880 | 88.4267 | 26.0047
2020-06-28 12:00:00 | 4.324 | 195.0333 | 4.568 | 332.084 | 5.304 | 190.8673 | 5.4867 | 333.7813 | 22.9733 | 880 | 86.36 | 23.664
2020-06-28 12:15:00 | 4.358 | 217.4267 | 4.5913 | 327.05 | 5.2 | 212.6433 | 5.4 | 328.7227 | 23.08 | 880 | 84.0067 | 22.8573
2020-06-28 12:30:00 | 4.3627 | 278.56 | 4.544 | 310.26 | 5.022 | 272.432 | 5.1793 | 311.8473 | 23.26 | 880 | 85.0133 | 27.81
2020-06-28 12:45:00 | 4.4767 | 254.9867 | 4.602 | 311.4727 | 5.1187 | 249.3767 | 5.174 | 313.064 | 23.2867 | 880 | 83.8133 | 29.0507
2020-06-28 13:00:00 | 4.9607 | 211.5733 | 5.1373 | 330.7073 | 5.8327 | 206.9187 | 5.918 | 332.398 | 23.28 | 880 | 82.8667 | 33.0067
2020-06-28 13:15:00 | 5.282 | 277.88 | 5.49 | 328.062 | 5.886 | 335.628 | 6.076 | 329.738 | 23.22 | 880 | 82.24 | 37.032
2020-06-28 13:30:00 | 5.378 | 209.62 | 5.745 | 325.137 | 6.305 | 204.557 | 6.734 | 327.5356 | 23.37 | 880 | 82.07 | 38.782
2020-06-28 13:45:00 | 5.547 | 278.33 | 5.977 | 200.97 | 6.458 | 272.206 | 7.008 | 201.996 | 23.72 | 880 | 81.94 | 39.5467
2020-06-28 14:00:00 | 5.907 | 317.37 | 6.335 | 303.386 | 6.596 | 310.388 | 7.211 | 304.936 | 23.92 | 880 | 80.123 | 39.76
2020-06-28 14:15:00 | 5.888 | 313.19 | 6.251 | 271.934 | 6.471 | 305.909 | 6.988 | 273.324 | 23.94 | 880 | 79.867 | 36.7213
2020-06-28 14:30:00 | 5.388 | 282.23 | 5.866 | 238.386 | 6.242 | 276.021 | 6.899 | 239.607 | 24.43 | 880 | 79.785 | 31.7753
2020-06-28 14:45:00 | 5.159 | 279.49 | 5.437 | 237.282 | 5.618 | 274.368 | 6.011 | 238.495 | 24.84 | 880 | 78.008 | 30.3313
2020-06-28 15:00:00 | 5.419 | 310.96 | 5.785 | 203.884 | 6.228 | 304.12 | 6.686 | 204.927 | 25.25 | 880 | 76.074 | 34.0847
2020-06-28 15:15:00 | 5.18 | 190.36 | 5.481 | 274.308 | 5.907 | 186.554 | 6.279 | 275.652 | 25.47 | 880 | 72.12 | 28.4473
2020-06-28 15:30:00 | 4.5493 | 255.4 | 4.924 | 211.2547 | 5.036 | 250.1133 | 5.614 | 212.3347 | 25.76 | 880 | 71.422 | 20.9933
2020-06-28 15:45:00 | 4.21 | 216.0467 | 4.5367 | 270.0193 | 4.8473 | 211.294 | 5.2807 | 271.3993 | 25.8733 | 880.6 | 70.4147 | 23.7733
2020-06-28 16:00:00 | 4.824 | 352.84 | 5.23 | 341.986 | 5.646 | 345.078 | 6.176 | 343.736 | 25.7 | 881 | 72.772 | 28.2673
2020-06-28 16:15:00 | 5.1189 | 154.2889 | 5.4589 | 187.6556 | 5.7744 | 150.8944 | 6.2311 | 188.6156 | 25.6222 | 880 | 73.2733 | 29.8733
2020-06-28 16:30:00 | 4.988 | 311.12 | 5.337 | 300.569 | 5.649 | 304.275 | 6.119 | 302.107 | 25.5 | 880 | 72.854 | 30.124
2020-06-28 16:45:00 | 4.938 | 342.03 | 5.353 | 336.795 | 5.577 | 334.504 | 6.177 | 338.516 | 25.56 | 880.4 | 73.156 | 31.1013
2020-06-28 17:00:00 | 4.531 | 308.75 | 4.906 | 268.079 | 5.05 | 301.957 | 5.613 | 269.45 | 25.46 | 881 | 74.718 | 26.9573
2020-06-28 17:15:00 | 4.988 | 340.03 | 5.398 | 302.848 | 5.674 | 332.548 | 6.254 | 304.395 | 25.36 | 881 | 73.422 | 25.766
2020-06-28 17:30:00 | 4.935 | 341.09 | 5.402 | 330.535 | 5.44 | 333.584 | 6.182 | 332.227 | 25.28 | 881 | 74.201 | 22.752
2020-06-28 17:45:00 | 4.822 | 333.81 | 5.302 | 332.05 | 5.316 | 326.465 | 6.082 | 333.748 | 25.31 | 880 | 75.347 | 22.3753
2020-06-28 18:00:00 | 4.914 | 307.36 | 5.31 | 329.372 | 5.6 | 300.598 | 6.154 | 331.054 | 25.39 | 880 | 76.425 | 25.3913
2020-06-28 18:15:00 | 5.523 | 338.74 | 5.884 | 331.679 | 6.106 | 331.286 | 6.622 | 333.376 | 25.28 | 880 | 78.033 | 26.8547
2020-06-28 18:30:00 | 5.034 | 309.76 | 5.366 | 332.363 | 5.692 | 302.945 | 6.134 | 334.064 | 25.13 | 880 | 77.65 | 25.724
2020-06-28 18:45:00 | 5.104 | 279.43 | 5.498 | 321.381 | 5.828 | 273.283 | 6.37 | 323.025 | 25.11 | 880 | 79.029 | 25.976
2020-06-28 19:00:00 | 4.969 | 280.22 | 5.345 | 335.932 | 5.665 | 274.055 | 6.175 | 337.652 | 25.15 | 880 | 80.59 | 24.56
2020-06-28 19:15:00 | 5.462 | 274.4 | 5.974 | 326.73 | 6.314 | 268.362 | 7.038 | 328.402 | 25 | 880 | 82.68 | 25.436
2020-06-28 19:30:00 | 5.128 | 205.9 | 5.564 | 322.664 | 6 | 201.368 | 6.582 | 324.312 | 25.04 | 880 | 83.08 | 23.018
2020-06-28 19:45:00 | 4.661 | 241.62 | 5.036 | 333.057 | 5.398 | 236.303 | 5.897 | 334.758 | 24.87 | 879 | 84 | 21.9267
2020-06-28 20:00:00 | 4.853 | 310.2 | 5.213 | 335.375 | 5.168 | 303.376 | 5.762 | 337.089 | 24.75 | 879 | 85.03 | 23.3913
2020-06-28 20:15:00 | 5.085 | 309.12 | 5.496 | 334.877 | 5.668 | 302.319 | 6.277 | 336.589 | 24.56 | 879 | 84.38 | 24.0173
2020-06-28 20:30:00 | 4.959 | 348.35 | 5.392 | 330.535 | 5.405 | 340.687 | 6.101 | 332.225 | 24.31 | 879 | 84.54 | 20.4547
2020-06-28 20:45:00 | 4.498 | 313.83 | 4.891 | 327.679 | 4.88 | 306.924 | 5.514 | 329.353 | 24.07 | 879 | 86.04 | 17.044
2020-06-28 21:00:00 | 4.427 | 347.82 | 4.806 | 322.73 | 4.97 | 340.519 | 5.531 | 324.38 | 24.02 | 879 | 85.95 | 17.5873
2020-06-28 21:15:00 | 4.532 | 315.47 | 4.903 | 329.946 | 5.138 | 308.529 | 5.664 | 331.635 | 24.01 | 879 | 86.1 | 16.8833
2020-06-28 21:30:00 | 4.25 | 348.84 | 4.568 | 319.573 | 4.807 | 341.167 | 5.249 | 321.205 | 23.95 | 879 | 87.31 | 14.7407
2020-06-28 21:45:00 | 3.941 | 352.42 | 4.269 | 324.041 | 4.48 | 344.667 | 4.948 | 325.697 | 23.83 | 879 | 87.24 | 11.514
2020-06-28 22:00:00 | 3.933 | 316.45 | 4.262 | 319.248 | 4.559 | 309.488 | 5.003 | 320.88 | 23.87 | 879 | 87.84 | 12.0907
2020-06-28 22:15:00 | 4.223 | 341.7 | 4.525 | 320.04 | 4.914 | 334.182 | 5.289 | 321.677 | 23.68 | 879 | 88.25 | 13.038
2020-06-28 22:30:00 | 4.212 | 336.3533 | 4.454 | 313.266 | 4.9833 | 328.9533 | 5.2193 | 314.8673 | 23.4333 | 879 | 88.6667 | 12.6707
2020-06-28 22:45:00 | 4 | 339.92 | 4.2 | 318.552 | 4.688 | 332.442 | 4.864 | 320.182 | 23.34 | 879 | 89.16 | 12.3087
2020-06-28 23:00:00 | 4.184 | 338.6 | 4.41 | 315.15 | 5.02 | 331.152 | 5.202 | 316.76 | 23.14 | 879 | 90.26 | 13.1927
2020-06-28 23:15:00 | 4.55 | 341.04 | 4.848 | 326.554 | 5.406 | 332.774 | 5.71 | 328.224 | 23.1 | 879 | 91.8 | 17.2413
2020-06-28 23:30:00 | 4.555 | 343.1 | 4.928 | 324.119 | 5.317 | 335.599 | 5.806 | 325.775 | 23.17 | 879 | 92.34 | 15.8853
2020-06-28 23:45:00 | 4.401 | 344.22 | 4.768 | 327.11 | 5.314 | 336.647 | 5.747 | 328.784 | 23.22 | 879 | 92.39 | 14.056