## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-29 00:00:00 | 4.094 | 342.93 | 4.428 | 320.345 | 4.973 | 335.387 | 5.35 | 321.982 | 23.15 | 879 | 92.22 | 13.4093
2020-06-29 00:15:00 | 4.185 | 341.24 | 4.51 | 319.152 | 5.155 | 333.733 | 5.488 | 320.783 | 22.99 | 879 | 91.42 | 13.7747
2020-06-29 00:30:00 | 4.472 | 345.76 | 4.79 | 319.385 | 5.366 | 338.153 | 5.714 | 321.019 | 22.73 | 879 | 92.44 | 13.7587
2020-06-29 00:45:00 | 4.242 | 272.94 | 4.58 | 260.286 | 4.976 | 265.056 | 5.406 | 261.616 | 22.62 | 879 | 92.6 | 12.86
2020-06-29 01:00:00 | 4.247 | 345.08 | 4.601 | 329.87 | 5.056 | 337.488 | 5.488 | 331.557 | 22.31 | 879 | 93.8 | 12.256
2020-06-29 01:15:00 | 4.113 | 350.83 | 4.436 | 329.47 | 4.853 | 343.111 | 5.251 | 331.153 | 22.25 | 879 | 94.81 | 11.6233
2020-06-29 01:30:00 | 3.92 | 342.45 | 4.186 | 328.031 | 4.707 | 334.915 | 4.984 | 329.708 | 22.18 | 879 | 95.21 | 9.8007
2020-06-29 01:45:00 | 3.6413 | 315.1867 | 3.876 | 332.9747 | 4.452 | 308.2527 | 4.6613 | 334.6807 | 22.0333 | 879 | 95.18 | 8.5973
2020-06-29 02:00:00 | 3.4413 | 336.98 | 3.6107 | 323.2553 | 4.3067 | 329.5667 | 4.382 | 324.9073 | 21.9333 | 879 | 95.4533 | 7.466
2020-06-29 02:15:00 | 3.5153 | 327.0933 | 3.6753 | 322.4473 | 4.442 | 319.898 | 4.476 | 324.096 | 21.8333 | 879 | 96.3333 | 8.2153
2020-06-29 02:30:00 | 3.342 | 327.32 | 3.506 | 326.614 | 4.15 | 320.122 | 4.228 | 328.282 | 21.76 | 878.2 | 96.94 | 5.964
2020-06-29 02:45:00 | 3.504 | 340.96 | 3.699 | 318.877 | 4.401 | 331.062 | 4.512 | 320.509 | 21.75 | 878 | 97.78 | 7.9367
2020-06-29 03:00:00 | 3.656 | 336 | 3.85 | 318.426 | 4.591 | 328.608 | 4.688 | 320.056 | 21.46 | 878 | 98.26 | 8.8547
2020-06-29 03:15:00 | 3.847 | 346.38 | 4.122 | 323.591 | 4.732 | 338.759 | 4.996 | 325.246 | 21.36 | 878 | 98.7 | 10.0513
2020-06-29 03:30:00 | 3.906 | 345.21 | 4.144 | 326.711 | 4.788 | 337.615 | 4.988 | 328.381 | 21.25 | 878 | 98.96 | 9.676
2020-06-29 03:45:00 | 3.679 | 346 | 3.953 | 324.392 | 4.528 | 338.388 | 4.8 | 326.051 | 21.26 | 878 | 99.34 | 8.5567
2020-06-29 04:00:00 | 3.764 | 351.7 | 4.092 | 324.384 | 4.618 | 343.962 | 4.994 | 326.04 | 21.26 | 878 | 99.48 | 9.0133
2020-06-29 04:15:00 | 3.861 | 353.11 | 4.143 | 325.381 | 4.621 | 345.343 | 4.938 | 327.045 | 21.05 | 878 | 99.84 | 9.098
2020-06-29 04:30:00 | 3.722 | 351.92 | 3.987 | 325.468 | 4.514 | 344.178 | 4.785 | 327.132 | 20.86 | 878 | 99.99 | 8.6127
2020-06-29 04:45:00 | 3.74 | 318.51 | 3.996 | 328.394 | 4.499 | 311.503 | 4.765 | 330.071 | 21.1 | 878 | 100 | 9.1613
2020-06-29 05:00:00 | 3.831 | 213.94 | 4.132 | 322.427 | 4.643 | 209.232 | 4.977 | 324.075 | 20.67 | 878 | 100 | 9.596
2020-06-29 05:15:00 | 3.6021 | 300.9286 | 3.8493 | 328.7264 | 4.3871 | 294.3086 | 4.6236 | 330.4057 | 20.9643 | 878 | 100 | 8.624
2020-06-29 05:30:00 | 3.948 | 210.98 | 4.2233 | 323.2613 | 4.7893 | 206.3387 | 5.0727 | 324.914 | 20.42 | 878.2667 | 100 | 11.724
2020-06-29 05:45:00 | 3.9947 | 254.6467 | 4.2927 | 325.83 | 4.7393 | 249.0447 | 5.094 | 327.4967 | 20.3533 | 879 | 100 | 12.128
2020-06-29 06:00:00 | 3.998 | 327.94 | 4.208 | 324.2913 | 4.7613 | 320.7253 | 4.9393 | 325.95 | 20.1933 | 878.0667 | 100 | 11.8993
2020-06-29 06:15:00 | 4.07 | 298.3933 | 4.232 | 321.5333 | 4.958 | 291.8287 | 5.0107 | 323.1773 | 20.14 | 878 | 100 | 12.8427
2020-06-29 06:30:00 | 4.468 | 347.06 | 4.742 | 328.468 | 5.446 | 339.426 | 5.68 | 330.15 | 20.32 | 878 | 100 | 15.5687
2020-06-29 06:45:00 | 4.226 | 317.25 | 4.539 | 323.552 | 5.138 | 310.27 | 5.469 | 325.204 | 20.59 | 879 | 100 | 14.646
2020-06-29 07:00:00 | 4.07 | 347.38 | 4.382 | 316.188 | 4.917 | 339.739 | 5.266 | 317.805 | 20.25 | 879 | 100 | 13.6767
2020-06-29 07:15:00 | 4.31 | 353.09 | 4.606 | 316.49 | 5.017 | 345.324 | 5.376 | 318.109 | 21.24 | 879 | 100 | 14.2033
2020-06-29 07:30:00 | 4.338 | 307.1733 | 4.6773 | 314.5573 | 4.972 | 277.1653 | 5.4333 | 316.1653 | 21.6267 | 879 | 100 | 15.0933
2020-06-29 07:45:00 | 4.2913 | 344.5333 | 4.6273 | 318.6713 | 4.84 | 336.9513 | 5.3213 | 320.2987 | 21.56 | 879 | 100 | 14.8073
2020-06-29 08:00:00 | 4.668 | 280.86 | 5.0327 | 323.9273 | 5.3167 | 274.6807 | 5.8213 | 325.5813 | 21.9 | 879.2667 | 100 | 18.4907
2020-06-29 08:15:00 | 4.756 | 137.08 | 5.084 | 321.762 | 5.466 | 134.066 | 5.88 | 323.406 | 20.9 | 880 | 100 | 17.7053
2020-06-29 08:30:00 | 4.72 | 282.22 | 5.046 | 330.37 | 5.504 | 276.01 | 5.898 | 332.058 | 20.52 | 880 | 100 | 18.3507
2020-06-29 08:45:00 | 4.737 | 314.56 | 5.056 | 321.928 | 5.243 | 307.639 | 5.707 | 323.575 | 20.36 | 880 | 99.66 | 17.9267
2020-06-29 09:00:00 | 3.742 | 276.8 | 4.013 | 324.558 | 2.641 | 270.71 | 3.485 | 326.219 | 20.41 | 880 | 95.61 | 16.6913
2020-06-29 09:15:00 | 3.76 | 350.55 | 4.023 | 325.743 | 2.651 | 342.837 | 3.479 | 327.407 | 20.91 | 881 | 92.14 | 15.026
2020-06-29 09:30:00 | 3.3587 | 281.72 | 3.5887 | 325.662 | 2.3693 | 252.3833 | 3.0933 | 327.326 | 21.2933 | 881.2667 | 89.4467 | 11.6707
2020-06-29 09:45:00 | 3.3753 | 347.1267 | 3.592 | 329.86 | 2.376 | 339.4893 | 3.078 | 331.5467 | 21.8533 | 882 | 86.9267 | 11.1273
2020-06-29 10:00:00 | 3.328 | 337.88 | 3.516 | 329.214 | 2.338 | 330.446 | 2.984 | 330.9 | 22.12 | 882 | 84.92 | 10.4
2020-06-29 10:15:00 | 2.903 | 295.54 | 3.121 | 313.322 | 2.05 | 289.039 | 2.716 | 314.923 | 22.79 | 882 | 82.74 | 9.49
2020-06-29 10:30:00 | 2.864 | 326 | 3.167 | 324 | 2.035 | 318.829 | 2.854 | 325.659 | 23.51 | 882 | 80.65 | 8.5153
2020-06-29 10:45:00 | 2.907 | 336.61 | 3.143 | 324.569 | 2.053 | 329.205 | 2.754 | 326.228 | 23.85 | 882 | 79.396 | 6.8887
2020-06-29 11:00:00 | 2.678 | 330.04 | 2.884 | 320.326 | 1.89 | 322.779 | 2.509 | 321.962 | 24.36 | 882 | 77.093 | 4.8953
2020-06-29 11:15:00 | 2.287 | 290.02 | 2.487 | 322.329 | 1.615 | 283.933 | 2.195 | 325.117 | 24.92 | 882 | 75.384 | 3.4073
2020-06-29 11:30:00 | 2.039 | 214.91 | 2.113 | 295.796 | 2.057 | 210.182 | 2.192 | 297.308 | 25.42 | 882 | 73.762 | 1.348
2020-06-29 11:45:00 | 2.156 | 300.67 | 2.319 | 293.155 | 2.5 | 294.056 | 2.711 | 294.655 | 25.9 | 882 | 73.382 | 0.38867
2020-06-29 12:00:00 | 2.269 | 271.12 | 2.437 | 238.837 | 2.713 | 265.156 | 2.899 | 240.058 | 26.34 | 882 | 71.748 | 0.57133
2020-06-29 12:15:00 | 2.348 | 246.41 | 2.488 | 232.384 | 2.872 | 240.988 | 2.986 | 233.57 | 26.64 | 882 | 71.244 | 0.96267
2020-06-29 12:30:00 | 2.106 | 175.21 | 2.265 | 327.259 | 2.328 | 171.315 | 2.566 | 328.93 | 27.07 | 882 | 69.771 | 0.044
2020-06-29 12:45:00 | 1.973 | 160.88 | 2.098 | 172.461 | 2.227 | 157.339 | 2.393 | 173.342 | 27.63 | 882 | 67.993 | 0
2020-06-29 13:00:00 | 1.804 | 241.75 | 1.908 | 88.305 | 2.108 | 236.431 | 2.214 | 88.754 | 28.29 | 882 | 65.626 | 0
2020-06-29 13:15:00 | 1.1793 | 210.8214 | 1.2629 | 142.8157 | 1.4864 | 206.1829 | 1.56 | 143.5464 | 28.7643 | 882 | 63.3407 | 0
2020-06-29 13:30:00 | 0.988 | 224.1733 | 1.0773 | 178.23 | 1.2533 | 219.2427 | 1.3433 | 179.1427 | 28.4933 | 882 | 64.102 | 0
2020-06-29 13:45:00 | 1.6933 | 178.3067 | 1.8087 | 186.484 | 1.6113 | 174.3847 | 1.8573 | 187.438 | 29.1867 | 882 | 64.928 | 0
2020-06-29 14:00:00 | 1.8693 | 182.7733 | 1.9507 | 203.3 | 2.1373 | 178.7527 | 2.2193 | 204.3393 | 29.3 | 882 | 65.73 | 0
2020-06-29 14:15:00 | 1.5556 | 213.6222 | 1.6911 | 148.3611 | 1.6489 | 208.9211 | 1.8822 | 149.12 | 29.6 | 881.6667 | 68.0778 | 0
2020-06-29 14:30:00 | 1.345 | 202.49 | 1.363 | 166.212 | 1.416 | 198.036 | 1.433 | 167.062 | 29.54 | 881 | 63.425 | 0
2020-06-29 14:45:00 | 1.308 | 200.95 | 1.401 | 174.612 | 1.443 | 196.529 | 1.576 | 175.506 | 29.92 | 882 | 64.914 | 0
2020-06-29 15:00:00 | 2.313 | 182.61 | 2.534 | 168.431 | 2.464 | 178.593 | 2.841 | 169.292 | 30.12 | 882 | 63.322 | 0
2020-06-29 15:15:00 | 1.882 | 203.98 | 1.961 | 163.982 | 2.067 | 199.493 | 2.163 | 164.821 | 29.92 | 882 | 62.731 | 0
2020-06-29 15:30:00 | 1.446 | 179.15 | 1.571 | 147.365 | 1.637 | 175.207 | 1.82 | 148.117 | 30.45 | 882 | 60.838 | 0
2020-06-29 15:45:00 | 2.348 | 192.46 | 2.431 | 139.913 | 2.332 | 189.252 | 2.486 | 140.627 | 30.21 | 882 | 59.555 | 0
2020-06-29 16:00:00 | 1.813 | 188.93 | 1.943 | 140.793 | 2.069 | 184.774 | 2.242 | 141.512 | 30.54 | 882 | 59.977 | 0
2020-06-29 16:15:00 | 2.114 | 206.63 | 2.117 | 144.734 | 2.102 | 202.085 | 2.112 | 145.476 | 30.35 | 881.6 | 58.477 | 0
2020-06-29 16:30:00 | 1.4227 | 199.9867 | 1.544 | 172.122 | 1.8067 | 195.5867 | 1.928 | 173.002 | 30.3267 | 881.9333 | 56.5367 | 0
2020-06-29 16:45:00 | 1.424 | 173.84 | 1.554 | 143.45 | 1.802 | 170.016 | 1.94 | 144.186 | 30.12 | 882 | 57.31 | 0
2020-06-29 17:00:00 | 1.788 | 201.5 | 1.98 | 189.516 | 2.176 | 197.068 | 2.422 | 190.486 | 30.06 | 881.2 | 61.02 | 0
2020-06-29 17:15:00 | 1.232 | 211.69 | 1.307 | 195.776 | 1.414 | 207.033 | 1.504 | 196.775 | 29.73 | 881 | 63.481 | 0
2020-06-29 17:30:00 | 0.661 | 230.16 | 0.737 | 216.336 | 0.849 | 225.097 | 0.935 | 217.439 | 29.76 | 881 | 62.816 | 0
2020-06-29 17:45:00 | 0.898 | 235.32 | 0.986 | 215.424 | 1.153 | 230.144 | 1.245 | 216.526 | 30.11 | 880.6 | 61.856 | 0
2020-06-29 18:00:00 | 1.588 | 257.8 | 1.633 | 242.642 | 1.541 | 252.129 | 1.642 | 243.882 | 29.44 | 880.9 | 58.042 | 0
2020-06-29 18:15:00 | 1.812 | 260.62 | 1.887 | 284.012 | 1.886 | 254.885 | 2.01 | 285.464 | 29.47 | 880 | 58.39 | 0
2020-06-29 18:30:00 | 1.993 | 308.95 | 2.141 | 306.74 | 2.335 | 302.153 | 2.514 | 308.309 | 29.58 | 880 | 61.046 | 0
2020-06-29 18:45:00 | 2.298 | 317.51 | 2.504 | 307.6 | 2.643 | 310.525 | 2.936 | 309.173 | 29.34 | 880 | 64.783 | 0
2020-06-29 19:00:00 | 2.2267 | 317.4 | 2.3507 | 319.0887 | 2.5133 | 310.416 | 2.6687 | 320.7187 | 29.3133 | 880.9333 | 67.17 | 0
2020-06-29 19:15:00 | 2.334 | 328.14 | 2.474 | 318.534 | 2.884 | 320.92 | 2.992 | 320.162 | 29.12 | 881 | 68.306 | 0.61
2020-06-29 19:30:00 | 1.876 | 303.98 | 1.951 | 338.858 | 2.247 | 297.294 | 2.282 | 340.59 | 28.46 | 881 | 72.025 | 0
2020-06-29 19:45:00 | 2.404 | 305.07 | 2.544 | 333.255 | 2.859 | 298.359 | 2.986 | 334.956 | 28.11 | 881 | 74.955 | 0.526
2020-06-29 20:00:00 | 1.953 | 339.88 | 2.073 | 328.754 | 2.353 | 332.402 | 2.468 | 330.435 | 28.37 | 881 | 77.756 | 0
2020-06-29 20:15:00 | 2.486 | 243.85 | 2.572 | 273.663 | 2.937 | 238.485 | 2.973 | 275.064 | 28 | 880.6 | 78.966 | 0.75267
2020-06-29 20:30:00 | 2.445 | 344.6 | 2.595 | 307.991 | 2.892 | 337.019 | 3.046 | 309.566 | 27.81 | 880 | 81.62 | 1.45
2020-06-29 20:45:00 | 3.08 | 280.96 | 3.294 | 336.346 | 3.587 | 274.78 | 3.843 | 338.064 | 27.58 | 880 | 83.54 | 4.0827
2020-06-29 21:00:00 | 3.001 | 280.8 | 3.214 | 338.908 | 3.407 | 274.622 | 3.689 | 340.64 | 27.39 | 880 | 85.65 | 3.6653
2020-06-29 21:15:00 | 2.802 | 275.51 | 2.996 | 342.819 | 3.287 | 269.449 | 3.514 | 344.571 | 27.55 | 880 | 86.54 | 2.878
2020-06-29 21:30:00 | 2.424 | 343.1067 | 2.604 | 341.464 | 2.8613 | 335.558 | 3.082 | 343.2113 | 27.64 | 880 | 85.8667 | 1.4713
2020-06-29 21:45:00 | 2.368 | 278.22 | 2.576 | 341.928 | 2.898 | 272.1 | 3.134 | 343.676 | 27.56 | 880 | 85.04 | 1.61
2020-06-29 22:00:00 | 2.714 | 346.68 | 2.942 | 327.746 | 3.34 | 339.054 | 3.592 | 329.424 | 27.3 | 880 | 85.7 | 1.814
2020-06-29 22:15:00 | 2.235 | 339.03 | 2.356 | 323.337 | 2.785 | 331.573 | 2.857 | 324.991 | 26.94 | 880.4 | 87.57 | 1.07
2020-06-29 22:30:00 | 2.281 | 333.63 | 2.417 | 326.536 | 2.878 | 326.289 | 2.966 | 328.205 | 26.89 | 881 | 87.71 | 1.1773
2020-06-29 22:45:00 | 2.291 | 302.22 | 2.365 | 319.19 | 2.978 | 295.572 | 2.919 | 320.821 | 26.86 | 881 | 87.24 | 1.062
2020-06-29 23:00:00 | 2.237 | 304.13 | 2.272 | 317.898 | 2.894 | 263.699 | 2.765 | 319.524 | 26.7 | 881 | 87.18 | 1.0173
2020-06-29 23:15:00 | 2.472 | 333.54 | 2.474 | 322.592 | 3.173 | 326.204 | 2.975 | 324.244 | 26.64 | 881 | 85.38 | 2.2587
2020-06-29 23:30:00 | 3.089 | 267.29 | 3.199 | 326.592 | 3.952 | 261.411 | 3.914 | 328.261 | 26.18 | 881 | 87.88 | 4.8153
2020-06-29 23:45:00 | 3.463 | 310.53 | 3.662 | 329.235 | 4.281 | 303.698 | 4.422 | 330.918 | 25.68 | 881 | 90.74 | 7.3907