## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-30 00:00:00 | 4.012 | 339.78 | 4.18 | 330.25 | 4.706 | 332.306 | 4.824 | 331.94 | 25.64 | 881 | 91.02 | 11.1033
2020-06-30 00:15:00 | 4.358 | 332.94 | 4.563 | 331.522 | 5.05 | 325.615 | 5.243 | 333.216 | 25.34 | 881 | 91.62 | 11.6333
2020-06-30 00:30:00 | 4.148 | 341.09 | 4.41 | 330.642 | 4.87 | 333.586 | 5.161 | 332.332 | 25.12 | 881 | 92.06 | 10.3
2020-06-30 00:45:00 | 4.055 | 338.72 | 4.345 | 328.519 | 4.795 | 331.269 | 5.132 | 330.198 | 25.12 | 880.6 | 93.36 | 11.204
2020-06-30 01:00:00 | 4.208 | 337.66 | 4.478 | 320.27 | 5.0527 | 330.2313 | 5.3187 | 321.9067 | 25.1267 | 880 | 93.96 | 11.83
2020-06-30 01:15:00 | 4.398 | 339.3533 | 4.7167 | 323.1833 | 5.254 | 331.888 | 5.6087 | 324.8367 | 24.9733 | 880 | 94.9 | 13.724
2020-06-30 01:30:00 | 4.8147 | 341.4867 | 5.1553 | 323.17 | 5.7287 | 333.974 | 6.1127 | 324.8213 | 24.7067 | 880 | 95.2133 | 17.512
2020-06-30 01:45:00 | 5.028 | 346.1067 | 5.41 | 322.2833 | 5.9713 | 338.492 | 6.422 | 323.9313 | 24.4667 | 880 | 96.0733 | 19.1813
2020-06-30 02:00:00 | 5.102 | 350.16 | 5.458 | 327.668 | 6.004 | 342.458 | 6.422 | 329.344 | 24.6 | 880 | 96.26 | 18.04
2020-06-30 02:15:00 | 4.792 | 347.7 | 5.175 | 326.789 | 5.773 | 340.05 | 6.215 | 328.458 | 24.38 | 880 | 95.42 | 18.8233
2020-06-30 02:30:00 | 5.231 | 349.64 | 5.613 | 327.659 | 5.899 | 341.948 | 6.43 | 329.335 | 24.09 | 880 | 96.68 | 22.3373
2020-06-30 02:45:00 | 5.524 | 339.92 | 5.891 | 326.269 | 6.161 | 332.441 | 6.673 | 327.938 | 24.06 | 880 | 97.41 | 23.81
2020-06-30 03:00:00 | 5.244 | 348.4 | 5.536 | 323.776 | 5.87 | 340.736 | 6.244 | 325.432 | 24.24 | 880 | 97.58 | 21.6887
2020-06-30 03:15:00 | 5.605 | 343.44 | 5.938 | 326.662 | 6.357 | 335.885 | 6.77 | 328.332 | 23.55 | 880 | 98.11 | 29.5307
2020-06-30 03:30:00 | 6.176 | 345.9467 | 6.536 | 330.5647 | 6.854 | 338.336 | 7.3413 | 332.2553 | 23.3867 | 880 | 98.9333 | 36.3753
2020-06-30 03:45:00 | 6.218 | 345.86 | 6.572 | 330.194 | 6.864 | 338.25 | 7.352 | 331.878 | 23.1 | 880 | 99.1 | 38.174
2020-06-30 04:00:00 | 6.292 | 347.13 | 6.649 | 330.458 | 7.161 | 339.494 | 7.585 | 332.146 | 23.13 | 880 | 99.54 | 36.5867
2020-06-30 04:15:00 | 6.559 | 348.69 | 6.964 | 327.444 | 7.487 | 341.019 | 7.989 | 329.118 | 22.77 | 879.6 | 99.74 | 38.7853
2020-06-30 04:30:00 | 7.209 | 349.59 | 7.609 | 335.433 | 8.097 | 341.899 | 8.604 | 337.15 | 22.97 | 879 | 100 | 41.68
2020-06-30 04:45:00 | 7.309 | 345.02 | 7.798 | 331.777 | 8.21 | 337.428 | 8.879 | 333.473 | 22.78 | 879 | 100 | 42.202
2020-06-30 05:00:00 | 7.372 | 348.61 | 7.869 | 331.072 | 8.237 | 340.941 | 8.922 | 332.765 | 22.56 | 879 | 100 | 42.178
2020-06-30 05:15:00 | 7.301 | 351.05 | 7.844 | 329.273 | 7.917 | 343.326 | 8.767 | 330.955 | 22.61 | 879 | 100 | 41.46
2020-06-30 05:30:00 | 7.326 | 347.72 | 7.867 | 324.999 | 8.193 | 340.069 | 8.967 | 326.661 | 22.67 | 879 | 100 | 41.9167
2020-06-30 05:45:00 | 7.418 | 341.98 | 7.985 | 326.74 | 8.192 | 334.456 | 9.047 | 328.411 | 22.73 | 879 | 100 | 39.536
2020-06-30 06:00:00 | 7.848 | 343.2 | 8.48 | 326.688 | 8.73 | 335.652 | 9.662 | 328.362 | 22.96 | 879 | 100 | 39.8473
2020-06-30 06:15:00 | 7.528 | 344 | 8.097 | 322.771 | 8.459 | 336.431 | 9.268 | 324.419 | 22.87 | 879 | 100 | 38.308
2020-06-30 06:30:00 | 7.159 | 343.1 | 7.765 | 317.008 | 8.183 | 335.553 | 9.04 | 318.629 | 23.01 | 879 | 100 | 37.0087
2020-06-30 06:45:00 | 6.691 | 335.39 | 7.225 | 320.041 | 7.695 | 328.012 | 8.415 | 321.679 | 22.52 | 879.4 | 100 | 32.3553
2020-06-30 07:00:00 | 6.3 | 341.26 | 6.718 | 315.465 | 7.288 | 333.751 | 7.797 | 317.076 | 22.46 | 880 | 100 | 28.5807
2020-06-30 07:15:00 | 6.194 | 307.73 | 6.56 | 309.908 | 6.964 | 300.961 | 7.438 | 311.493 | 23.25 | 880 | 100 | 27.58
2020-06-30 07:30:00 | 5.888 | 313.37 | 6.184 | 314.622 | 6.933 | 306.475 | 7.188 | 316.23 | 23.29 | 880 | 100 | 27.466
2020-06-30 07:45:00 | 6.51 | 275.31 | 6.77 | 327.522 | 7.68 | 269.252 | 7.837 | 329.197 | 22.57 | 880.4 | 99.29 | 32.354
2020-06-30 08:00:00 | 7.688 | 242.23 | 8.268 | 332.969 | 8.722 | 236.9 | 9.522 | 334.671 | 22.74 | 881 | 96.77 | 38.1973
2020-06-30 08:15:00 | 7.8987 | 349.1333 | 8.486 | 328.432 | 8.8853 | 341.452 | 9.7067 | 330.11 | 23.52 | 881.6 | 95.9867 | 44.566
2020-06-30 08:30:00 | 7.444 | 347.6 | 7.96 | 330.156 | 8.464 | 339.952 | 9.152 | 331.842 | 23.86 | 882 | 95.24 | 41.762
2020-06-30 08:45:00 | 6.327 | 305.8 | 6.8 | 324.707 | 7.311 | 299.073 | 7.924 | 326.366 | 23.59 | 882 | 92.34 | 40.712
2020-06-30 09:00:00 | 7.006 | 344.53 | 7.57 | 328.96 | 7.922 | 336.95 | 8.72 | 330.64 | 23.82 | 882.9 | 87.61 | 41.1607
2020-06-30 09:15:00 | 7.264 | 341.81 | 7.767 | 329.078 | 8.031 | 334.29 | 8.766 | 330.761 | 24.31 | 883 | 85.96 | 37.598
2020-06-30 09:30:00 | 6.148 | 294.58 | 6.4547 | 326.8353 | 7.1093 | 288.1 | 7.4153 | 328.5067 | 24.6067 | 883.2667 | 83.32 | 33.1773
2020-06-30 09:45:00 | 5.7593 | 302.82 | 5.9467 | 326.9853 | 6.4713 | 296.158 | 6.6227 | 328.6567 | 24.9867 | 884 | 81.9733 | 29.1353
2020-06-30 10:00:00 | 6.03 | 277.6133 | 6.332 | 330.6613 | 6.7327 | 271.5053 | 7.1053 | 332.352 | 25.4 | 884 | 78.8333 | 29.282
2020-06-30 10:15:00 | 6.3613 | 275.74 | 6.7247 | 326.1433 | 6.9647 | 269.674 | 7.4827 | 327.8107 | 25.7533 | 884 | 77.278 | 27.8053
2020-06-30 10:30:00 | 6.5167 | 342.7267 | 6.9727 | 329.578 | 7.0427 | 335.186 | 7.7553 | 331.264 | 26.2067 | 884 | 75.8753 | 29.764
2020-06-30 10:45:00 | 6.3433 | 341.2 | 6.8713 | 330.6487 | 6.9987 | 332.63 | 7.81 | 332.3387 | 26.4467 | 884 | 75.2673 | 29.66
2020-06-30 11:00:00 | 6.458 | 340.4 | 6.986 | 322.214 | 7.258 | 332.598 | 8.03 | 323.86 | 26.52 | 884 | 73.962 | 30.718
2020-06-30 11:15:00 | 6.342 | 333.46 | 6.884 | 330.016 | 6.901 | 326.124 | 7.769 | 331.705 | 26.97 | 884 | 72.414 | 29.6487
2020-06-30 11:30:00 | 6.31 | 339.91 | 6.654 | 302.321 | 6.909 | 332.431 | 7.391 | 303.866 | 27.39 | 884 | 70.12 | 27.5747
2020-06-30 11:45:00 | 6.2847 | 314.7933 | 6.6527 | 312.222 | 6.7827 | 307.868 | 7.3367 | 313.8193 | 27.9267 | 884 | 69.3873 | 27.608
2020-06-30 12:00:00 | 6.058 | 339.12 | 6.488 | 337.938 | 6.446 | 331.66 | 7.148 | 339.664 | 28.16 | 884 | 68.526 | 25.1487
2020-06-30 12:15:00 | 5.54 | 341.68 | 5.97 | 255.922 | 6.176 | 334.166 | 6.808 | 257.23 | 28.44 | 884 | 66.982 | 22.136
2020-06-30 12:30:00 | 5.148 | 203.08 | 5.424 | 332.792 | 5.598 | 198.614 | 5.992 | 334.494 | 28.82 | 884 | 64.246 | 19.3707
2020-06-30 12:45:00 | 5.087 | 338.17 | 5.414 | 331.092 | 5.559 | 330.73 | 6.044 | 332.784 | 29.38 | 884 | 62.319 | 18.5993
2020-06-30 13:00:00 | 4.892 | 337.88 | 5.112 | 327.111 | 5.545 | 330.447 | 5.775 | 328.785 | 29.6 | 884 | 61.59 | 18.7753
2020-06-30 13:15:00 | 4.748 | 344.11 | 4.936 | 326.387 | 5.238 | 336.539 | 5.459 | 328.057 | 29.88 | 883 | 60.757 | 14.526
2020-06-30 13:30:00 | 3.746 | 295.47 | 3.947 | 321.762 | 4.398 | 288.97 | 4.594 | 323.406 | 30.48 | 883.9 | 59.838 | 10.6613
2020-06-30 13:45:00 | 3.348 | 335.5 | 3.603 | 225.898 | 3.947 | 328.119 | 4.26 | 227.054 | 30.86 | 883 | 59.183 | 6.6367
2020-06-30 14:00:00 | 2.989 | 330.77 | 3.172 | 313.195 | 3.504 | 323.491 | 3.704 | 314.796 | 31.14 | 883 | 56.676 | 4.5053
2020-06-30 14:15:00 | 2.967 | 332.2 | 3.126 | 330.722 | 3.45 | 324.89 | 3.615 | 332.41 | 31.61 | 883 | 55.081 | 3.4647
2020-06-30 14:30:00 | 2.7907 | 297.4467 | 2.964 | 279.6247 | 3.1747 | 290.9007 | 3.3927 | 281.054 | 31.9267 | 883 | 53.7493 | 3.0653
2020-06-30 14:45:00 | 2.304 | 329.7 | 2.5413 | 187.138 | 2.6733 | 322.4473 | 3.0153 | 188.0947 | 32.42 | 883 | 52.5473 | 1.9233
2020-06-30 15:00:00 | 2.5567 | 331.4267 | 2.676 | 62.3373 | 2.8347 | 324.136 | 2.9833 | 62.656 | 32.7667 | 883 | 50.5147 | 0.544
2020-06-30 15:15:00 | 1.928 | 293.32 | 2.0193 | 175.3753 | 2.2213 | 286.8667 | 2.3087 | 176.2713 | 32.94 | 883 | 49.7807 | 0
2020-06-30 15:30:00 | 1.462 | 320.38 | 1.518 | 305.43 | 1.788 | 313.332 | 1.804 | 306.99 | 33.08 | 883 | 48.488 | 0
2020-06-30 15:45:00 | 1.35 | 334.59 | 1.498 | 108.558 | 1.603 | 327.228 | 1.81 | 109.113 | 33.86 | 883 | 48.334 | 0
2020-06-30 16:00:00 | 1.15 | 154.13 | 1.223 | 78.27 | 1.254 | 150.74 | 1.361 | 78.667 | 33.97 | 883 | 44.063 | 0
2020-06-30 16:15:00 | 0.652 | 88.05 | 0.695 | 103.122 | 0.72 | 86.113 | 0.779 | 103.649 | 33.82 | 883 | 43.919 | 0
2020-06-30 16:30:00 | 1.8 | 76.1533 | 1.9213 | 91.5473 | 2.138 | 74.478 | 2.2687 | 92.0147 | 33.24 | 882.7333 | 49.228 | 0
2020-06-30 16:45:00 | 1.9 | 84.8467 | 1.938 | 94.416 | 2.194 | 82.9807 | 2.182 | 94.898 | 32.8133 | 882 | 53.9913 | 0
2020-06-30 17:00:00 | 1.9407 | 101.5133 | 1.9367 | 114.4587 | 2.0707 | 99.2787 | 2.028 | 115.0447 | 32.3333 | 882 | 58.7853 | 0
2020-06-30 17:15:00 | 1.376 | 144.66 | 1.456 | 158.574 | 1.608 | 140.87 | 1.712 | 159.382 | 32.62 | 882 | 59.654 | 0
2020-06-30 17:30:00 | 1.7578 | 115.7778 | 1.8733 | 120.2833 | 1.8767 | 113.23 | 2.0622 | 120.8978 | 32.4778 | 881 | 58.3578 | 0
2020-06-30 17:45:00 | 1.202 | 121.07 | 1.291 | 112.588 | 1.492 | 118.405 | 1.572 | 113.164 | 32.64 | 881 | 61.058 | 0
2020-06-30 18:00:00 | 1.22 | 148.71 | 1.303 | 142.994 | 1.392 | 145.439 | 1.498 | 143.723 | 32.8 | 881 | 57.444 | 0
2020-06-30 18:15:00 | 1.29 | 166.8 | 1.34 | 140.334 | 1.487 | 163.13 | 1.526 | 141.051 | 32.7 | 881 | 57.356 | 0
2020-06-30 18:30:00 | 1.173 | 163.47 | 1.281 | 164.979 | 1.424 | 159.875 | 1.555 | 165.822 | 32.54 | 881 | 58.84 | 0
2020-06-30 18:45:00 | 1.606 | 165.13 | 1.762 | 155.483 | 1.986 | 161.497 | 2.171 | 156.278 | 32.2 | 881 | 62.648 | 0
2020-06-30 19:00:00 | 1.932 | 139.02 | 2.04 | 142.534 | 2.285 | 135.962 | 2.392 | 143.263 | 31.99 | 881 | 62.25 | 0
2020-06-30 19:15:00 | 1.818 | 153.51 | 1.941 | 141.987 | 2.083 | 150.132 | 2.238 | 142.712 | 31.89 | 881 | 60.512 | 0
2020-06-30 19:30:00 | 1.571 | 126.68 | 1.678 | 140.158 | 1.612 | 123.894 | 1.802 | 140.874 | 31.59 | 881 | 60.543 | 0
2020-06-30 19:45:00 | 1.436 | 131.42 | 1.417 | 116.754 | 1.566 | 128.529 | 1.495 | 117.351 | 31.65 | 881 | 63.165 | 0
2020-06-30 20:00:00 | 0.97067 | 78.04 | 1.034 | 93.902 | 1.0887 | 76.3233 | 1.1733 | 94.3813 | 31.5733 | 881 | 64.878 | 0
2020-06-30 20:15:00 | 0.892 | 73.6667 | 0.96 | 85.8487 | 0.93133 | 72.0467 | 1.0447 | 86.2873 | 31.4867 | 881 | 65.014 | 0
2020-06-30 20:30:00 | 0.72067 | 90.0867 | 0.82 | 76.9813 | 0.76733 | 88.1053 | 0.94267 | 77.3747 | 31.38 | 881 | 65.966 | 0
2020-06-30 20:45:00 | 0.736 | 73.32 | 0.844 | 133.242 | 0.818 | 71.706 | 1 | 133.924 | 31.1 | 881 | 66.226 | 0
2020-06-30 21:00:00 | 0.57 | 66.3 | 0.59 | 212.246 | 0.642 | 64.842 | 0.662 | 213.332 | 30.78 | 881 | 66.244 | 0
2020-06-30 21:15:00 | 0.693 | 62.87 | 0.71 | 61.535 | 0.877 | 61.487 | 0.855 | 61.85 | 30.93 | 881 | 66.39 | 0
2020-06-30 21:30:00 | 0.678 | 34.72 | 0.696 | 251.464 | 0.827 | 33.956 | 0.818 | 252.747 | 30.66 | 881 | 63.215 | 0
2020-06-30 21:45:00 | 1.02 | 51.22 | 1.053 | 144.412 | 1.432 | 50.093 | 1.374 | 145.15 | 30.3 | 881 | 61.576 | 0
2020-06-30 22:00:00 | 1.197 | 27.12 | 1.27 | 277.997 | 1.485 | 26.524 | 1.535 | 279.419 | 30.48 | 881 | 58.771 | 0
2020-06-30 22:15:00 | 1.176 | 96.1 | 1.142 | 244.07 | 1.507 | 93.985 | 1.343 | 245.318 | 30.38 | 881 | 58.686 | 0
2020-06-30 22:30:00 | 0.988 | 171.93 | 1.004 | 48 | 1.024 | 168.149 | 1.044 | 48.247 | 30.23 | 881 | 58.747 | 0
2020-06-30 22:45:00 | 1.09 | 165.26 | 1.243 | 158.122 | 1.034 | 161.625 | 1.341 | 158.931 | 29.95 | 881.4 | 58.08 | 0.11533
2020-06-30 23:00:00 | 1.441 | 136.07 | 1.508 | 140.588 | 1.633 | 133.076 | 1.703 | 141.307 | 30.01 | 882 | 55.57 | 0.566
2020-06-30 23:15:00 | 2.031 | 114.44 | 2.173 | 122.926 | 2.262 | 111.922 | 2.465 | 123.553 | 29.47 | 882 | 55.406 | 0.52533
2020-06-30 23:30:00 | 2.192 | 130.78 | 2.308 | 118.687 | 2.445 | 127.901 | 2.593 | 119.296 | 28.99 | 882 | 56.094 | 0
2020-06-30 23:45:00 | 1.782 | 139.64 | 1.879 | 140.773 | 2.017 | 136.569 | 2.134 | 141.493 | 29.13 | 882 | 59.18 | 0