## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-01 00:00:00 | 1.603 | 137.82 | 1.728 | 117.828 | 1.802 | 134.787 | 1.975 | 118.431 | 28.93 | 882 | 61.101 | 0.032667
2020-07-01 00:15:00 | 1.3933 | 128.3467 | 1.4807 | 109.6467 | 1.4887 | 125.5227 | 1.6267 | 110.2073 | 28.8333 | 882 | 60.8 | 0
2020-07-01 00:30:00 | 1.0473 | 131.3533 | 1.1407 | 105.546 | 1.178 | 128.4633 | 1.3133 | 106.0853 | 28.8333 | 882 | 62.598 | 0
2020-07-01 00:45:00 | 0.75 | 97.46 | 0.832 | 88.41 | 0.818 | 95.316 | 0.954 | 88.864 | 28.9 | 882 | 64.196 | 0
2020-07-01 01:00:00 | 0.834 | 120.32 | 0.986 | 137.118 | 0.904 | 117.672 | 1.168 | 137.816 | 28.78 | 882 | 67.018 | 0
2020-07-01 01:15:00 | 1.006 | 110.26 | 1.1 | 85.096 | 0.961 | 107.833 | 1.148 | 85.53 | 28.71 | 881 | 65.924 | 0
2020-07-01 01:30:00 | 0.601 | 75.23 | 0.698 | 149.799 | 0.726 | 73.574 | 0.872 | 150.565 | 28.65 | 881 | 63.984 | 0
2020-07-01 01:45:00 | 0.561 | 41.08 | 0.607 | 105.85 | 0.677 | 40.176 | 0.732 | 106.389 | 28.42 | 881 | 65.063 | 0
2020-07-01 02:00:00 | 0.636 | 261 | 0.65533 | 201.768 | 0.73667 | 255.2587 | 0.744 | 202.7993 | 28.2667 | 881 | 72.0313 | 0
2020-07-01 02:15:00 | 1.168 | 268.08 | 1.108 | 326.124 | 1.524 | 262.182 | 1.3 | 327.792 | 27.82 | 881 | 73.456 | 0
2020-07-01 02:30:00 | 1.872 | 332.24 | 1.852 | 335.336 | 2.314 | 324.93 | 2.15 | 337.052 | 27.54 | 881 | 74.656 | 0.32733
2020-07-01 02:45:00 | 2.879 | 270.16 | 2.959 | 323.102 | 3.461 | 264.216 | 3.447 | 324.753 | 26.94 | 880.6 | 76.385 | 2.606
2020-07-01 03:00:00 | 3.189 | 299 | 3.3 | 326.397 | 3.972 | 292.421 | 3.962 | 328.065 | 26.38 | 880 | 78.443 | 5.722
2020-07-01 03:15:00 | 3.8657 | 341.0143 | 4.0229 | 333.4207 | 4.7071 | 333.5121 | 4.7643 | 335.1257 | 26.1929 | 880 | 80.5186 | 10.048
2020-07-01 03:30:00 | 4.686 | 345.7 | 5.06 | 330.6233 | 5.6713 | 338.0947 | 6.0933 | 332.314 | 25.4533 | 880 | 82.0867 | 18.1867
2020-07-01 03:45:00 | 4.644 | 349.84 | 4.896 | 330.192 | 5.478 | 342.144 | 5.71 | 331.884 | 25.72 | 880 | 82.56 | 15.1173
2020-07-01 04:00:00 | 4.688 | 282.78 | 4.954 | 315.738 | 5.502 | 276.556 | 5.77 | 317.352 | 25.58 | 880 | 82.52 | 15.1887
2020-07-01 04:15:00 | 4.797 | 342.34 | 5.17 | 327.396 | 5.625 | 334.807 | 6.094 | 329.069 | 25.39 | 880 | 83.6 | 20.094
2020-07-01 04:30:00 | 5.908 | 338.75 | 6.395 | 331.805 | 6.881 | 331.296 | 7.525 | 333.503 | 24.68 | 880 | 86.05 | 29.7473
2020-07-01 04:45:00 | 5.664 | 308.2 | 6.064 | 296.101 | 6.513 | 301.42 | 7.025 | 297.613 | 24.21 | 880 | 88.63 | 28.866
2020-07-01 05:00:00 | 5.857 | 343.24 | 6.371 | 335.944 | 6.796 | 335.69 | 7.495 | 337.661 | 22.92 | 880 | 90.59 | 29.2667
2020-07-01 05:15:00 | 5.3653 | 342.3733 | 5.8153 | 326.7087 | 6.362 | 335.298 | 6.9187 | 328.3813 | 23.1 | 880 | 92.1733 | 25.4447
2020-07-01 05:30:00 | 5.3473 | 344.1667 | 5.8167 | 336.0673 | 6.204 | 336.596 | 6.8453 | 337.786 | 22.28 | 880 | 93.8867 | 25.1353
2020-07-01 05:45:00 | 5.6173 | 342.0333 | 6.0293 | 327.4013 | 6.4607 | 334.508 | 6.9953 | 329.0747 | 22.2 | 880 | 94.4 | 24.5053
2020-07-01 06:00:00 | 5.4089 | 341.9333 | 5.7389 | 328.5656 | 6.1011 | 334.4122 | 6.5267 | 330.2456 | 21.9333 | 880 | 94.9 | 27.5433
2020-07-01 06:15:00 | 5.776 | 242.05 | 6.103 | 334.329 | 6.612 | 236.724 | 6.99 | 336.039 | 21.89 | 880 | 94.82 | 32.9553
2020-07-01 06:30:00 | 5.96 | 247.62 | 6.296 | 329.048 | 6.767 | 242.174 | 7.173 | 330.729 | 21.44 | 880 | 94.8 | 39.0427
2020-07-01 06:45:00 | 6.905 | 345.22 | 7.438 | 331.952 | 7.868 | 337.625 | 8.601 | 333.651 | 21.26 | 880 | 95.79 | 43.6907
2020-07-01 07:00:00 | 7.775 | 307.36 | 8.295 | 323.952 | 8.721 | 300.598 | 9.435 | 325.609 | 21.45 | 880 | 96.75 | 43.9127
2020-07-01 07:15:00 | 8.2471 | 341.5929 | 8.9093 | 325.5836 | 9.0564 | 334.0779 | 10.0786 | 327.2486 | 21.2071 | 880 | 97.4643 | 44.2933
2020-07-01 07:30:00 | 7.874 | 336.1667 | 8.468 | 318.8287 | 8.5147 | 328.7707 | 9.4567 | 320.4573 | 21.1733 | 880.9333 | 98.3267 | 47.4173
2020-07-01 07:45:00 | 7.69 | 338.3333 | 8.3127 | 326.0513 | 8.3173 | 330.9427 | 9.3213 | 327.718 | 21.0867 | 881 | 99.08 | 45.3253
2020-07-01 08:00:00 | 7.76 | 333.96 | 8.348 | 319.276 | 8.46 | 326.614 | 9.384 | 320.91 | 21.18 | 881 | 99.4 | 43.3713
2020-07-01 08:15:00 | 7.596 | 341.08 | 8.168 | 320.55 | 8.412 | 333.578 | 9.252 | 322.188 | 21.12 | 881 | 99.68 | 43.3833
2020-07-01 08:30:00 | 7.535 | 340.18 | 8.13 | 322.299 | 8.333 | 332.364 | 9.226 | 323.947 | 21.25 | 882 | 100 | 43.2827
2020-07-01 08:45:00 | 7.426 | 341.88 | 8.022 | 323.335 | 8.171 | 334.359 | 9.088 | 324.989 | 21.04 | 882 | 100 | 42.5113
2020-07-01 09:00:00 | 7.315 | 338.45 | 7.913 | 320.843 | 7.891 | 331.003 | 8.86 | 322.481 | 20.85 | 882 | 100 | 43.516
2020-07-01 09:15:00 | 7.018 | 333.48 | 7.627 | 315.445 | 7.632 | 326.141 | 8.61 | 317.055 | 21.05 | 882 | 100 | 40.9253
2020-07-01 09:30:00 | 7.392 | 334.56 | 8.117 | 317.379 | 8.152 | 327.2 | 9.305 | 319.004 | 20.95 | 882 | 100 | 45.5147
2020-07-01 09:45:00 | 7.473 | 336.25 | 8.201 | 316.033 | 8.112 | 328.901 | 9.308 | 317.648 | 20.87 | 882 | 100 | 48.8853
2020-07-01 10:00:00 | 7.733 | 333.49 | 8.418 | 320.902 | 8.576 | 326.153 | 9.63 | 322.543 | 20.86 | 882 | 100 | 47.7247
2020-07-01 10:15:00 | 8.3953 | 340.0133 | 9.0933 | 320.7707 | 9.2927 | 332.5333 | 10.3533 | 322.4113 | 21.1467 | 882 | 100 | 46.8433
2020-07-01 10:30:00 | 8.2973 | 339.2133 | 8.966 | 319.826 | 9.0813 | 331.75 | 10.1253 | 321.4607 | 21.22 | 882 | 99.64 | 46.4207
2020-07-01 10:45:00 | 7.5953 | 337.4867 | 8.1393 | 321.526 | 8.2847 | 330.0613 | 9.1167 | 323.1713 | 21.4067 | 882 | 98.1867 | 44.646
2020-07-01 11:00:00 | 7.538 | 333.36 | 8.076 | 316.696 | 8.314 | 326.026 | 9.1 | 318.316 | 21.36 | 882.8 | 97.5 | 45.4173
2020-07-01 11:15:00 | 7.452 | 338.76 | 7.984 | 320.528 | 8.196 | 331.054 | 8.97 | 322.168 | 21.6 | 883 | 96.26 | 44.6433
2020-07-01 11:30:00 | 7.417 | 339.34 | 8.019 | 318.917 | 8.033 | 331.874 | 9.004 | 320.547 | 21.4 | 883 | 97.11 | 44.7067
2020-07-01 11:45:00 | 7.198 | 340.95 | 7.725 | 327.092 | 8.169 | 333.449 | 8.893 | 328.764 | 21.53 | 883 | 97.16 | 45.5873
2020-07-01 12:00:00 | 6.61 | 340.25 | 7.029 | 323.502 | 7.147 | 332.763 | 7.785 | 325.158 | 21.19 | 883 | 95.72 | 43.9533
2020-07-01 12:15:00 | 6.934 | 343.01 | 7.394 | 320.44 | 7.492 | 335.463 | 8.201 | 322.08 | 21.09 | 882.6 | 96.06 | 46.5667
2020-07-01 12:30:00 | 7.123 | 340.89 | 7.517 | 327.962 | 7.852 | 335.082 | 8.397 | 329.64 | 21.34 | 882 | 95.36 | 42.2333
2020-07-01 12:45:00 | 4.792 | 271.41 | 4.943 | 324.549 | 4.971 | 265.44 | 5.208 | 326.21 | 21.32 | 882.4 | 95.52 | 28.254
2020-07-01 13:00:00 | 6.756 | 331.92 | 7.171 | 318.438 | 7.289 | 324.616 | 7.923 | 320.066 | 21.33 | 883 | 95.9 | 38.9487
2020-07-01 13:15:00 | 6.447 | 338.34 | 6.848 | 319.055 | 6.855 | 330.066 | 7.496 | 320.684 | 21.42 | 882 | 95.48 | 41.0353
2020-07-01 13:30:00 | 7.024 | 333.11 | 7.524 | 324.697 | 7.458 | 325.782 | 8.28 | 326.355 | 21.43 | 882 | 95.26 | 43.0647
2020-07-01 13:45:00 | 7.309 | 342.18 | 7.843 | 326.339 | 8.017 | 334.652 | 8.818 | 328.008 | 21.41 | 882 | 95 | 44.23
2020-07-01 14:00:00 | 7.2821 | 343.7857 | 7.7907 | 324.5 | 8.14 | 336.2229 | 8.8536 | 326.16 | 20.8571 | 882 | 96.4857 | 44.8313
2020-07-01 14:15:00 | 6.8187 | 344.5667 | 7.372 | 323.496 | 7.6387 | 336.9853 | 8.4493 | 325.15 | 21 | 882 | 98.8 | 43.2233
2020-07-01 14:30:00 | 6.5667 | 336.6867 | 7.052 | 314.3687 | 7.1553 | 328.9147 | 7.9033 | 315.9767 | 21.1333 | 882 | 99.56 | 39.674
2020-07-01 14:45:00 | 6.892 | 329.14 | 7.388 | 315.012 | 7.632 | 321.898 | 8.354 | 316.624 | 21.18 | 882 | 99.45 | 43.7773
2020-07-01 15:00:00 | 6.678 | 335.38 | 7.238 | 324.186 | 7.402 | 328.002 | 8.262 | 325.846 | 20.96 | 882 | 99.02 | 43.1553
2020-07-01 15:15:00 | 7.276 | 337.76 | 7.902 | 317.752 | 8.152 | 330.33 | 9.088 | 319.374 | 21.1 | 882 | 99.08 | 43.5407
2020-07-01 15:30:00 | 6.893 | 340.75 | 7.378 | 319.788 | 7.719 | 333.252 | 8.4 | 321.421 | 21.22 | 882 | 99.73 | 44.3547
2020-07-01 15:45:00 | 6.372 | 340.45 | 6.879 | 319.463 | 7.109 | 332.959 | 7.857 | 321.097 | 21.21 | 882 | 99.94 | 41.7153
2020-07-01 16:00:00 | 5.628 | 335.97 | 6.02 | 318.974 | 6.02 | 328.58 | 6.653 | 320.604 | 21.12 | 882 | 100 | 39.2087
2020-07-01 16:15:00 | 6.595 | 335.65 | 7.199 | 324.48 | 7.165 | 328.267 | 8.148 | 326.138 | 21.14 | 882 | 100 | 43.8393
2020-07-01 16:30:00 | 6.866 | 337.72 | 7.362 | 322.465 | 7.417 | 330.289 | 8.197 | 324.113 | 21.15 | 882 | 99.58 | 44.4153
2020-07-01 16:45:00 | 7.197 | 344.12 | 7.718 | 328.98 | 7.73 | 336.55 | 8.567 | 330.661 | 21.16 | 882 | 99.58 | 43.4007
2020-07-01 17:00:00 | 6.611 | 341.58 | 7.133 | 319.864 | 7.252 | 334.067 | 8.054 | 321.5 | 21.08 | 881.1 | 99.8 | 44.9767
2020-07-01 17:15:00 | 7.395 | 347.65 | 7.928 | 328.628 | 8.128 | 340.003 | 8.929 | 330.308 | 20.98 | 881 | 99.49 | 49.7107
2020-07-01 17:30:00 | 7.493 | 345.8 | 8 | 328.647 | 8.465 | 338.194 | 9.147 | 330.327 | 20.89 | 881 | 99.31 | 49.7347
2020-07-01 17:45:00 | 8.004 | 348.37 | 8.552 | 327.962 | 9.16 | 340.706 | 9.864 | 329.639 | 20.87 | 881 | 99.38 | 50.658
2020-07-01 18:00:00 | 7.726 | 343.5867 | 8.3187 | 327.9567 | 8.54 | 336.0267 | 9.434 | 329.632 | 20.7733 | 881 | 99.7267 | 50.34
2020-07-01 18:15:00 | 7.556 | 340.1267 | 8.132 | 327.3627 | 8.332 | 332.644 | 9.202 | 329.0373 | 20.8333 | 881 | 99.74 | 50.592
2020-07-01 18:30:00 | 7.772 | 341.4133 | 8.3493 | 321.8467 | 8.654 | 333.902 | 9.49 | 323.4927 | 21.04 | 881 | 99.82 | 52.348
2020-07-01 18:45:00 | 8.006 | 344.8 | 8.548 | 329.45 | 8.902 | 337.214 | 9.668 | 331.132 | 21.12 | 881 | 99.9 | 52.108
2020-07-01 19:00:00 | 7.52 | 275.06 | 8.008 | 330.094 | 8.138 | 269.01 | 8.872 | 331.782 | 20.84 | 881 | 99.82 | 50.5133
2020-07-01 19:15:00 | 7.483 | 344.86 | 8.003 | 322.973 | 8.05 | 337.273 | 8.871 | 324.625 | 20.98 | 881 | 99.56 | 51.3653
2020-07-01 19:30:00 | 6.968 | 337.84 | 7.431 | 321.234 | 7.799 | 330.407 | 8.439 | 322.878 | 20.9 | 881 | 98.27 | 48.9607
2020-07-01 19:45:00 | 6.713 | 336.35 | 7.106 | 322.64 | 7.706 | 328.949 | 8.163 | 324.292 | 20.95 | 881 | 96.64 | 45.65
2020-07-01 20:00:00 | 6.014 | 329.68 | 6.4 | 317.206 | 6.643 | 322.152 | 7.192 | 318.827 | 20.73 | 881 | 94.89 | 45.7767
2020-07-01 20:15:00 | 6.536 | 341.46 | 6.998 | 322.31 | 7.074 | 333.947 | 7.799 | 323.956 | 20.77 | 881 | 95.22 | 44.5893
2020-07-01 20:30:00 | 7.034 | 337.99 | 7.565 | 319.297 | 7.747 | 330.553 | 8.549 | 320.929 | 20.81 | 881 | 95.24 | 46.6607
2020-07-01 20:45:00 | 7.011 | 341.22 | 7.563 | 323.334 | 7.553 | 334.064 | 8.43 | 324.987 | 20.73 | 881 | 94.29 | 46.5753
2020-07-01 21:00:00 | 6.932 | 334.06 | 7.452 | 329.822 | 7.462 | 326.71 | 8.294 | 331.508 | 20.64 | 881 | 94.41 | 46.518
2020-07-01 21:15:00 | 7.0873 | 332.7867 | 7.636 | 325.1573 | 7.7113 | 325.4653 | 8.5707 | 326.8207 | 20.5467 | 881 | 95.66 | 46.5513
2020-07-01 21:30:00 | 7.0567 | 335.8667 | 7.634 | 322.1613 | 7.748 | 328.4767 | 8.6447 | 323.8073 | 20.4067 | 881 | 96.2733 | 45.922
2020-07-01 21:45:00 | 7.158 | 340.1067 | 7.7707 | 327.5707 | 7.9507 | 332.6227 | 8.8813 | 329.246 | 20.4067 | 881 | 96.1133 | 47.7193
2020-07-01 22:00:00 | 7.602 | 340.28 | 8.206 | 325.224 | 8.392 | 332.794 | 9.308 | 326.888 | 20.4 | 881 | 95.66 | 48.576
2020-07-01 22:15:00 | 7.51 | 336.2 | 8.102 | 325.184 | 8.306 | 328.804 | 9.192 | 326.848 | 20.36 | 881 | 95.2 | 45.2727
2020-07-01 22:30:00 | 7.171 | 336.98 | 7.757 | 320.882 | 7.832 | 329.566 | 8.756 | 322.522 | 20.09 | 882 | 94.93 | 45.8
2020-07-01 22:45:00 | 6.661 | 338.39 | 7.186 | 327.767 | 7.112 | 331.249 | 7.973 | 329.443 | 19.97 | 882 | 96.98 | 44.1773
2020-07-01 23:00:00 | 7.411 | 339.34 | 7.921 | 327.904 | 7.999 | 331.874 | 8.797 | 329.581 | 20.16 | 881.1 | 97.41 | 44.304
2020-07-01 23:15:00 | 7.231 | 341.61 | 7.784 | 327.121 | 8.113 | 334.094 | 8.902 | 328.793 | 20.35 | 881 | 97.33 | 45.608
2020-07-01 23:30:00 | 7.289 | 343.53 | 7.851 | 331.033 | 8.185 | 335.972 | 8.988 | 332.724 | 20.05 | 881.9 | 97.8 | 45.766
2020-07-01 23:45:00 | 7.29 | 344.53 | 7.845 | 329.467 | 8.299 | 336.951 | 9.049 | 331.154 | 19.8 | 882 | 98.24 | 45.956