## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-02 00:00:00 | 7.387 | 345.96 | 7.981 | 330.691 | 8.326 | 338.35 | 9.188 | 332.381 | 19.72 | 881.1 | 99 | 45.3693
2020-07-02 00:15:00 | 7.297 | 343.2 | 7.836 | 327.288 | 8.19 | 335.651 | 8.957 | 328.961 | 19.91 | 881 | 99.74 | 43.8907
2020-07-02 00:30:00 | 7.182 | 346.5333 | 7.7073 | 329.9833 | 8.054 | 338.91 | 8.7907 | 331.67 | 19.7667 | 881 | 100 | 43.9867
2020-07-02 00:45:00 | 7.29 | 345.84 | 7.74 | 332.228 | 8.182 | 338.232 | 8.776 | 333.922 | 19.8 | 881 | 100 | 43.6047
2020-07-02 01:00:00 | 6.694 | 349.62 | 7.157 | 329.164 | 7.586 | 341.928 | 8.199 | 330.847 | 19.57 | 881 | 100 | 41.868
2020-07-02 01:15:00 | 6.952 | 312.26 | 7.382 | 335.052 | 7.762 | 305.39 | 8.349 | 336.765 | 19.73 | 881 | 100 | 44.03
2020-07-02 01:30:00 | 7.377 | 346.5 | 7.85 | 334.594 | 8.297 | 338.876 | 8.93 | 336.305 | 19.48 | 880.1 | 100 | 45.81
2020-07-02 01:45:00 | 7.797 | 312.03 | 8.267 | 331.571 | 8.573 | 305.164 | 9.25 | 333.266 | 19.57 | 880 | 100 | 48.87
2020-07-02 02:00:00 | 7.906 | 346.33 | 8.402 | 331.562 | 8.296 | 338.712 | 9.123 | 333.257 | 19.41 | 880 | 100 | 50.5047
2020-07-02 02:15:00 | 8.108 | 345.92 | 8.628 | 331.817 | 8.662 | 338.311 | 9.489 | 333.512 | 19 | 880 | 100 | 51.8107
2020-07-02 02:30:00 | 8.106 | 342.82 | 8.644 | 323.667 | 8.763 | 335.278 | 9.595 | 325.323 | 19.05 | 880 | 100 | 51.5873
2020-07-02 02:45:00 | 7.702 | 351.75 | 8.146 | 333.48 | 8.542 | 344.012 | 9.143 | 335.183 | 19.09 | 880 | 100 | 49.528
2020-07-02 03:00:00 | 7.7347 | 343.2267 | 8.2353 | 326.2413 | 8.6273 | 335.6767 | 9.3167 | 327.9093 | 19.2067 | 880 | 100 | 49.93
2020-07-02 03:15:00 | 7.5244 | 346.4111 | 8.0067 | 329.6733 | 8.3289 | 338.79 | 9.0111 | 331.36 | 19.1444 | 880 | 100 | 50.402
2020-07-02 03:30:00 | 7.405 | 243.66 | 7.748 | 330.771 | 8.09 | 238.298 | 8.542 | 332.46 | 18.96 | 879.1 | 100 | 50.4747
2020-07-02 03:45:00 | 7.646 | 351.11 | 8.105 | 326.819 | 8.528 | 343.386 | 9.145 | 328.488 | 18.88 | 879 | 100 | 50.4693
2020-07-02 04:00:00 | 7.7127 | 327.7333 | 8.2213 | 330.4267 | 8.4807 | 320.5227 | 9.2187 | 332.1153 | 18.8733 | 879 | 100 | 51.122
2020-07-02 04:15:00 | 7.7287 | 351.2267 | 8.252 | 333.804 | 8.4787 | 343.4993 | 9.2567 | 335.5107 | 18.66 | 879 | 100 | 51.384
2020-07-02 04:30:00 | 7.818 | 351.14 | 8.398 | 335.804 | 8.876 | 343.418 | 9.674 | 337.522 | 18.36 | 879 | 100 | 52.4253
2020-07-02 04:45:00 | 8.2733 | 349.6444 | 8.8511 | 331.6833 | 9.0956 | 341.9522 | 9.9533 | 333.38 | 18.5444 | 879 | 100 | 52.5247
2020-07-02 05:00:00 | 8.318 | 345.55 | 8.828 | 333.166 | 9.159 | 337.947 | 9.885 | 334.869 | 18.58 | 879 | 100 | 50.02
2020-07-02 05:15:00 | 8.019 | 346.82 | 8.622 | 327.766 | 8.94 | 339.189 | 9.816 | 329.441 | 18.82 | 879 | 100 | 49.624
2020-07-02 05:30:00 | 8.178 | 351.23 | 8.815 | 331.083 | 8.879 | 343.504 | 9.882 | 332.774 | 18.11 | 879 | 100 | 50.3353
2020-07-02 05:45:00 | 8.088 | 312.39 | 8.604 | 330.604 | 8.671 | 305.517 | 9.479 | 332.295 | 18.02 | 879.4 | 100 | 50.7587
2020-07-02 06:00:00 | 7.703 | 273.45 | 8.142 | 322.66 | 8.397 | 267.433 | 9.028 | 324.312 | 17.79 | 880 | 100 | 50.8753
2020-07-02 06:15:00 | 8.139 | 344.48 | 8.702 | 326.604 | 8.679 | 336.903 | 9.59 | 328.272 | 17.88 | 880 | 100 | 52.476
2020-07-02 06:30:00 | 8.2513 | 318.7733 | 8.6867 | 329.73 | 8.874 | 311.7613 | 9.522 | 331.416 | 17.9333 | 880 | 100 | 55.3247
2020-07-02 06:45:00 | 8.5967 | 341.9733 | 9.072 | 330.5913 | 9.1567 | 334.4507 | 9.9033 | 332.282 | 17.84 | 880 | 100 | 54.9847
2020-07-02 07:00:00 | 8.364 | 332.06 | 8.762 | 326.926 | 8.91 | 324.754 | 9.51 | 328.598 | 17.74 | 880 | 100 | 56.06
2020-07-02 07:15:00 | 8.616 | 343.28 | 9.146 | 322.711 | 8.984 | 335.728 | 9.885 | 324.36 | 18.52 | 880.4 | 96.59 | 55.9387
2020-07-02 07:30:00 | 8.165 | 308.97 | 8.557 | 328.668 | 8.709 | 302.173 | 9.299 | 330.347 | 18.65 | 881 | 93.42 | 53.924
2020-07-02 07:45:00 | 7.719 | 348.88 | 8.088 | 328.843 | 8.297 | 341.205 | 8.833 | 330.524 | 18.52 | 881 | 90.15 | 54.1093
2020-07-02 08:00:00 | 7.622 | 344.95 | 8.115 | 330.202 | 8.269 | 337.36 | 9.016 | 331.889 | 18.62 | 881.9 | 88.45 | 52.67
2020-07-02 08:15:00 | 7.08 | 340.1 | 7.528 | 324.297 | 7.572 | 332.617 | 8.283 | 325.952 | 18.82 | 882 | 85.89 | 48.4333
2020-07-02 08:30:00 | 7.178 | 305.73 | 7.528 | 326.075 | 7.875 | 299.004 | 8.333 | 327.742 | 19.13 | 882 | 85.04 | 46.47
2020-07-02 08:45:00 | 6.804 | 303.42 | 7.085 | 326.504 | 7.306 | 296.744 | 7.693 | 328.175 | 19.6 | 883 | 84.86 | 42.594
2020-07-02 09:00:00 | 6.0707 | 336.38 | 6.3393 | 321.298 | 6.59 | 328.9793 | 6.9513 | 322.9407 | 20.0267 | 883 | 82.8933 | 38.254
2020-07-02 09:15:00 | 6.5473 | 336.7933 | 6.9233 | 325.14 | 7.0773 | 329.384 | 7.6387 | 326.8027 | 20.4667 | 883 | 82.2467 | 41.96
2020-07-02 09:30:00 | 6.4833 | 229.1556 | 6.72 | 328.2067 | 7.04 | 224.1144 | 7.33 | 329.8833 | 20.6444 | 883 | 81.1111 | 40.6973
2020-07-02 09:45:00 | 6.022 | 306.1 | 6.34 | 318.612 | 6.645 | 299.365 | 7.074 | 320.243 | 21 | 883 | 80.07 | 38.7553
2020-07-02 10:00:00 | 5.557 | 346.28 | 5.822 | 322.183 | 5.949 | 338.662 | 6.341 | 323.83 | 21.39 | 883.9 | 77.729 | 32.062
2020-07-02 10:15:00 | 5.689 | 334.66 | 6.007 | 318.789 | 5.866 | 327.298 | 6.424 | 320.419 | 21.8 | 884 | 76.199 | 27.7707
2020-07-02 10:30:00 | 5.704 | 308.67 | 5.96 | 327.579 | 6.181 | 301.88 | 6.531 | 329.257 | 22.2 | 884 | 74.598 | 27.808
2020-07-02 10:45:00 | 5.453 | 207.45 | 5.634 | 333.997 | 5.993 | 202.888 | 6.182 | 335.704 | 22.59 | 884 | 74.204 | 26.2633
2020-07-02 11:00:00 | 4.951 | 272.65 | 5.228 | 306.642 | 5.281 | 266.651 | 5.714 | 308.21 | 23.11 | 884 | 72.642 | 22.3487
2020-07-02 11:15:00 | 4.95 | 303.35 | 5.181 | 304.089 | 5.589 | 296.676 | 5.844 | 305.643 | 23.34 | 884 | 70.658 | 23.0527
2020-07-02 11:30:00 | 4.9527 | 324.9867 | 5.3667 | 267.2147 | 5.776 | 317.836 | 6.3207 | 268.5807 | 23.92 | 884 | 69.7507 | 26.486
2020-07-02 11:45:00 | 5.3113 | 340.92 | 5.6913 | 327.532 | 6.1687 | 333.4193 | 6.6387 | 329.206 | 24.06 | 884 | 68.8507 | 23.5127
2020-07-02 12:00:00 | 4.8867 | 314.92 | 5.156 | 307.7767 | 5.7733 | 307.9907 | 6.0293 | 309.3487 | 24.4 | 883.7333 | 67.5433 | 21.712
2020-07-02 12:15:00 | 5.008 | 272.78 | 5.246 | 261.106 | 5.728 | 266.776 | 5.974 | 262.442 | 24.76 | 883 | 68.146 | 17.0913
2020-07-02 12:30:00 | 4.716 | 270.76 | 4.964 | 261.732 | 5.488 | 264.802 | 5.734 | 263.068 | 25.14 | 883 | 67.678 | 16.458
2020-07-02 12:45:00 | 4.73 | 338.08 | 5.026 | 327.182 | 5.024 | 330.642 | 5.5 | 328.854 | 25.56 | 883 | 66.308 | 18.268
2020-07-02 13:00:00 | 4.489 | 268.26 | 4.663 | 321.127 | 5.371 | 262.732 | 5.448 | 322.767 | 25.93 | 883 | 64.374 | 16.9107
2020-07-02 13:15:00 | 4.482 | 313.22 | 4.622 | 320.714 | 5.336 | 306.328 | 5.353 | 322.354 | 26.26 | 883 | 63.658 | 13.5087
2020-07-02 13:30:00 | 3.71 | 231.19 | 3.775 | 321.273 | 4.326 | 226.103 | 4.27 | 322.916 | 26.76 | 883 | 61.563 | 11.382
2020-07-02 13:45:00 | 3.314 | 302.26 | 3.444 | 326.984 | 3.668 | 295.609 | 3.814 | 328.656 | 27.22 | 883 | 60.3 | 6.3693
2020-07-02 14:00:00 | 3.264 | 332.79 | 3.325 | 321.253 | 3.292 | 324.197 | 3.403 | 322.896 | 27.46 | 883 | 58.911 | 4.264
2020-07-02 14:15:00 | 2.627 | 271.45 | 2.723 | 298.681 | 2.85 | 265.479 | 2.972 | 300.209 | 27.93 | 883 | 56.87 | 1.6673
2020-07-02 14:30:00 | 2.274 | 228.7333 | 2.464 | 246.5213 | 2.5213 | 223.7013 | 2.8087 | 247.7827 | 28.5533 | 883 | 55.462 | 0.86067
2020-07-02 14:45:00 | 2.16 | 254.78 | 2.298 | 135.53 | 2.55 | 249.174 | 2.69 | 136.224 | 28.56 | 883 | 53.676 | 0.42733
2020-07-02 15:00:00 | 2.292 | 275.88 | 2.402 | 266.526 | 2.63 | 269.81 | 2.742 | 267.888 | 29 | 883 | 52.374 | 0.266
2020-07-02 15:15:00 | 2.2533 | 333.3889 | 2.4156 | 300.3767 | 2.7322 | 326.0556 | 2.8967 | 301.9133 | 29.4 | 883 | 51.9256 | 0.40933
2020-07-02 15:30:00 | 1.674 | 307.82 | 1.719 | 134.29 | 1.933 | 301.048 | 1.944 | 134.977 | 29.76 | 883 | 49.535 | 0
2020-07-02 15:45:00 | 1.899 | 65.98 | 1.967 | 209.137 | 2.246 | 64.53 | 2.277 | 210.206 | 30.05 | 883 | 51.508 | 0
2020-07-02 16:00:00 | 2.023 | 251.97 | 2.066 | 227.61 | 2.405 | 246.427 | 2.378 | 228.774 | 30.25 | 883 | 48.772 | 0
2020-07-02 16:15:00 | 1.434 | 264.81 | 1.496 | 226.848 | 1.801 | 258.984 | 1.813 | 228.009 | 30.3 | 883 | 49.194 | 0
2020-07-02 16:30:00 | 1.586 | 284.13 | 1.564 | 76.716 | 1.801 | 277.879 | 1.702 | 77.106 | 30.33 | 883 | 46.749 | 0
2020-07-02 16:45:00 | 0.966 | 221.54 | 0.978 | 40.176 | 0.901 | 216.666 | 0.943 | 40.383 | 31.12 | 883 | 44.893 | 0
2020-07-02 17:00:00 | 1.002 | 325.51 | 1.067 | 54.447 | 1.067 | 319.17 | 1.168 | 54.722 | 31.31 | 883 | 43.987 | 0
2020-07-02 17:15:00 | 0.56857 | 224.7714 | 0.63071 | 65.2179 | 0.525 | 219.8257 | 0.65571 | 65.5529 | 31.7429 | 883 | 41.9379 | 0
2020-07-02 17:30:00 | 0.606 | 324.3 | 0.70667 | 62.266 | 0.604 | 317.1667 | 0.80333 | 62.584 | 31.6933 | 883 | 43.2927 | 0
2020-07-02 17:45:00 | 0.444 | 219.5533 | 0.46 | 179.4893 | 0.54733 | 214.7227 | 0.54733 | 180.4067 | 31.5867 | 883 | 43.7567 | 0
2020-07-02 18:00:00 | 0.39533 | 225.24 | 0.416 | 154.5627 | 0.45067 | 220.284 | 0.47667 | 155.3533 | 31.7133 | 883 | 43.144 | 0
2020-07-02 18:15:00 | 0.841 | 105.07 | 0.819 | 158.044 | 0.793 | 102.759 | 0.758 | 158.852 | 30.93 | 883 | 43.676 | 0
2020-07-02 18:30:00 | 1.172 | 148.41 | 1.143 | 167.159 | 1.122 | 145.144 | 1.085 | 168.015 | 30.28 | 883 | 42.886 | 0
2020-07-02 18:45:00 | 0.955 | 161.39 | 0.963 | 151.648 | 1.081 | 157.84 | 1.06 | 152.425 | 30.48 | 883 | 43.954 | 0
2020-07-02 19:00:00 | 1.031 | 198.34 | 1.023 | 202.72 | 0.967 | 192.92 | 0.973 | 203.757 | 29.94 | 883 | 45.948 | 0
2020-07-02 19:15:00 | 0.677 | 239.04 | 0.722 | 207.053 | 0.86 | 233.781 | 0.896 | 208.112 | 30.1 | 883 | 47.157 | 0
2020-07-02 19:30:00 | 0.502 | 230.69 | 0.54 | 212.91 | 0.57 | 225.615 | 0.622 | 213.999 | 30.31 | 882.1 | 48.287 | 0
2020-07-02 19:45:00 | 0.894 | 202.77 | 0.943 | 185.333 | 1.005 | 198.309 | 1.066 | 186.278 | 29.94 | 882 | 47.522 | 0
2020-07-02 20:00:00 | 1.56 | 178.35 | 1.615 | 178.426 | 1.687 | 174.427 | 1.755 | 179.338 | 29.51 | 882 | 48.436 | 0
2020-07-02 20:15:00 | 1.622 | 184.98 | 1.646 | 174.317 | 1.859 | 180.909 | 1.835 | 175.211 | 29.21 | 882 | 50.136 | 0.020667
2020-07-02 20:30:00 | 2.172 | 192.88 | 2.171 | 174.837 | 2.266 | 188.637 | 2.237 | 175.73 | 28.8 | 882 | 52.036 | 1.2947
2020-07-02 20:45:00 | 2.3129 | 159.1143 | 2.3414 | 174.6493 | 2.3714 | 155.6129 | 2.4093 | 175.5421 | 28.3929 | 881 | 53.3829 | 3.106
2020-07-02 21:00:00 | 2.6807 | 139.0067 | 2.814 | 147.4567 | 3.178 | 135.9487 | 3.2873 | 148.2107 | 27.7467 | 881 | 58.9473 | 5.072
2020-07-02 21:15:00 | 2.6207 | 123.1 | 2.722 | 136.8673 | 3.0413 | 120.26 | 3.112 | 137.5673 | 27.1467 | 881 | 63.0733 | 5.2413
2020-07-02 21:30:00 | 2.684 | 135.5867 | 2.824 | 132.2847 | 3.0227 | 132.6033 | 3.1907 | 132.9613 | 26.7133 | 881.9333 | 65.296 | 5.7607
2020-07-02 21:45:00 | 2.5947 | 143.9467 | 2.684 | 134.37 | 2.9227 | 140.7807 | 3.004 | 135.056 | 26.5467 | 882 | 66.272 | 6.284
2020-07-02 22:00:00 | 2.6747 | 140.08 | 2.784 | 136.0867 | 3.0067 | 136.9993 | 3.1193 | 136.7813 | 26.3133 | 882 | 67.4 | 6.9913
2020-07-02 22:15:00 | 2.576 | 138.86 | 2.662 | 136.626 | 2.854 | 135.806 | 2.936 | 137.326 | 26.2 | 882 | 68.064 | 5.18
2020-07-02 22:30:00 | 2.018 | 158 | 2.056 | 146.386 | 2.338 | 154.524 | 2.322 | 147.136 | 26.38 | 882 | 68.564 | 3.334
2020-07-02 22:45:00 | 1.79 | 168.0333 | 1.8411 | 162.1633 | 1.9733 | 164.3378 | 2.0178 | 162.9911 | 26.2667 | 882 | 67.95 | 3.3673
2020-07-02 23:00:00 | 1.974 | 168.64 | 2.044 | 159.951 | 2.254 | 164.831 | 2.294 | 160.77 | 26.23 | 882 | 67.523 | 3.424
2020-07-02 23:15:00 | 2.051 | 152.58 | 2.118 | 149.134 | 2.249 | 149.223 | 2.317 | 149.898 | 26.13 | 882 | 68.22 | 3.0267
2020-07-02 23:30:00 | 2.098 | 158.48 | 2.204 | 140.694 | 2.311 | 154.993 | 2.455 | 141.415 | 26.1 | 882 | 68.17 | 2.264
2020-07-02 23:45:00 | 2.004 | 147.25 | 2.099 | 134.454 | 2.291 | 144.011 | 2.39 | 135.142 | 26.1 | 882.4 | 68.324 | 2.708