## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-03 00:00:00 | 2.42 | 137.49 | 2.558 | 134.103 | 2.754 | 134.465 | 2.919 | 134.788 | 26.09 | 882.1 | 67.864 | 2.6453
2020-07-03 00:15:00 | 2.342 | 138.93 | 2.452 | 138.554 | 2.644 | 135.873 | 2.767 | 139.263 | 25.97 | 882 | 68.025 | 2.5447
2020-07-03 00:30:00 | 2.238 | 126.89 | 2.358 | 130.418 | 2.414 | 124.666 | 2.591 | 131.083 | 25.85 | 882 | 67.935 | 1.6813
2020-07-03 00:45:00 | 2.0873 | 126.8533 | 2.1647 | 127.5047 | 2.2753 | 124.064 | 2.3667 | 128.1553 | 25.8333 | 882 | 70.4067 | 0.94933
2020-07-03 01:00:00 | 2.136 | 125.22 | 2.28 | 121.39 | 2.298 | 122.466 | 2.522 | 122.01 | 25.72 | 882 | 70.934 | 1.046
2020-07-03 01:15:00 | 2.191 | 133.37 | 2.337 | 130.592 | 2.378 | 130.435 | 2.602 | 131.26 | 25.19 | 882 | 70.628 | 1.424
2020-07-03 01:30:00 | 2.061 | 133.78 | 2.177 | 137.985 | 2.374 | 130.838 | 2.501 | 138.692 | 25.11 | 882 | 70.712 | 0.978
2020-07-03 01:45:00 | 2.08 | 125.95 | 2.182 | 135.052 | 2.272 | 123.179 | 2.409 | 135.745 | 24.99 | 882 | 71.381 | 0.806
2020-07-03 02:00:00 | 2.434 | 118.39 | 2.555 | 132.714 | 2.716 | 115.786 | 2.863 | 133.395 | 24.74 | 882 | 72.63 | 0.958
2020-07-03 02:15:00 | 2.405 | 127.01 | 2.499 | 125.818 | 2.627 | 124.216 | 2.744 | 126.462 | 24.81 | 882 | 73.998 | 0.82333
2020-07-03 02:30:00 | 2.622 | 133.9333 | 2.71 | 132.6113 | 2.7893 | 130.986 | 2.9087 | 133.2873 | 24.7933 | 882 | 74.3747 | 1.988
2020-07-03 02:45:00 | 2.634 | 129.58 | 2.753 | 133.438 | 2.706 | 126.729 | 2.908 | 134.119 | 24.7 | 882 | 74.052 | 2.286
2020-07-03 03:00:00 | 2.67 | 124.44 | 2.768 | 133.057 | 2.963 | 121.831 | 3.07 | 133.736 | 24.63 | 882 | 74.63 | 1.8173
2020-07-03 03:15:00 | 2.74 | 123.63 | 2.825 | 124.097 | 2.829 | 120.911 | 2.967 | 124.732 | 24.63 | 882 | 76.569 | 2.052
2020-07-03 03:30:00 | 2.582 | 123.88 | 2.69 | 119.229 | 2.774 | 121.156 | 2.924 | 119.837 | 24.28 | 882 | 76.776 | 2.1367
2020-07-03 03:45:00 | 2.2573 | 135.8067 | 2.3207 | 123.6127 | 2.4107 | 132.8187 | 2.4873 | 124.2447 | 24.0533 | 882 | 76.798 | 1.3967
2020-07-03 04:00:00 | 2.3627 | 142.9 | 2.444 | 128.9047 | 2.436 | 140.7207 | 2.5747 | 129.5653 | 23.66 | 882 | 77.7333 | 2.1907
2020-07-03 04:15:00 | 2.292 | 138.94 | 2.412 | 130.894 | 2.264 | 135.884 | 2.496 | 131.562 | 23.38 | 882 | 78.932 | 1.7487
2020-07-03 04:30:00 | 1.938 | 113.14 | 1.988 | 119.962 | 1.986 | 110.65 | 2.072 | 120.574 | 23.46 | 882 | 80.92 | 0.614
2020-07-03 04:45:00 | 2.134 | 112.31 | 2.354 | 119.089 | 2.381 | 109.839 | 2.729 | 119.699 | 23 | 882 | 84.11 | 1.2513
2020-07-03 05:00:00 | 2.597 | 115.1 | 2.75 | 121.438 | 3.063 | 112.568 | 3.22 | 122.059 | 22.89 | 881.1 | 83.76 | 2.4873
2020-07-03 05:15:00 | 2.618 | 124.73 | 2.727 | 130.143 | 2.833 | 121.985 | 2.98 | 130.808 | 23 | 881 | 83.45 | 2.0093
2020-07-03 05:30:00 | 2.431 | 132.5 | 2.548 | 138.542 | 2.724 | 129.584 | 2.867 | 139.251 | 23.1 | 881 | 83.25 | 1.504
2020-07-03 05:45:00 | 2.583 | 125.08 | 2.724 | 134.974 | 2.957 | 122.33 | 3.119 | 135.663 | 22.92 | 882 | 84.12 | 2.142
2020-07-03 06:00:00 | 2.456 | 121.28 | 2.544 | 132.812 | 2.521 | 118.612 | 2.672 | 133.491 | 22.86 | 882 | 85.09 | 1.5233
2020-07-03 06:15:00 | 2.197 | 136 | 2.25 | 132.039 | 2.537 | 133.007 | 2.541 | 132.714 | 22.66 | 882 | 87.26 | 0.86533
2020-07-03 06:30:00 | 1.906 | 136.74 | 2.004 | 133.074 | 2.128 | 133.73 | 2.2467 | 133.7547 | 22.6533 | 882 | 88.9733 | 0.43933
2020-07-03 06:45:00 | 2.2533 | 148.7533 | 2.4267 | 140.454 | 2.5233 | 145.4807 | 2.778 | 141.1707 | 22.5 | 882 | 86.6867 | 1.4647
2020-07-03 07:00:00 | 2.112 | 135.94 | 2.208 | 138.622 | 2.148 | 132.952 | 2.324 | 139.33 | 22.54 | 882 | 84.8 | 1.3027
2020-07-03 07:15:00 | 1.786 | 119.36 | 1.866 | 137.39 | 1.952 | 116.734 | 2.05 | 138.092 | 22.66 | 882 | 85.78 | 0.622
2020-07-03 07:30:00 | 2.246 | 132.72 | 2.36 | 131.09 | 2.396 | 129.8 | 2.58 | 131.762 | 22.56 | 882 | 86.44 | 0.10267
2020-07-03 07:45:00 | 1.435 | 138.47 | 1.466 | 124.862 | 1.751 | 135.423 | 1.719 | 125.498 | 22.54 | 882 | 85.02 | 0
2020-07-03 08:00:00 | 1.036 | 121.96 | 1.043 | 131.815 | 1.122 | 119.278 | 1.111 | 132.49 | 23.05 | 882.9 | 84.55 | 0
2020-07-03 08:15:00 | 1.092 | 95.02 | 1.151 | 88.392 | 1.335 | 92.929 | 1.37 | 88.844 | 23.14 | 883 | 83.34 | 0
2020-07-03 08:30:00 | 0.977 | 112.43 | 1.043 | 113.888 | 1.082 | 108.949 | 1.204 | 114.47 | 23.29 | 883 | 84.34 | 0
2020-07-03 08:45:00 | 0.705 | 134.16 | 0.763 | 119.208 | 0.688 | 131.208 | 0.803 | 119.819 | 23.72 | 883 | 86.64 | 0
2020-07-03 09:00:00 | 0.71867 | 145.72 | 0.79 | 130.334 | 0.72733 | 142.514 | 0.85933 | 131.0013 | 24.46 | 883.2667 | 82.0207 | 0
2020-07-03 09:15:00 | 1.044 | 190.02 | 1.088 | 171.132 | 1.096 | 185.838 | 1.166 | 172.004 | 24.26 | 884 | 80.028 | 0
2020-07-03 09:30:00 | 0.401 | 70.72 | 0.447 | 238.151 | 0.41 | 69.165 | 0.5 | 239.372 | 24.22 | 884 | 84.5 | 0
2020-07-03 09:45:00 | 0.945 | 104.52 | 1.036 | 116.792 | 1.156 | 102.221 | 1.269 | 117.389 | 24.18 | 884 | 84.62 | 0
2020-07-03 10:00:00 | 1.41 | 165.56 | 1.487 | 153.985 | 1.533 | 161.603 | 1.655 | 154.772 | 23.64 | 884 | 84.02 | 0
2020-07-03 10:15:00 | 1.192 | 116.51 | 1.254 | 128.401 | 1.262 | 113.946 | 1.357 | 129.057 | 23.78 | 884 | 88.79 | 0
2020-07-03 10:30:00 | 0.993 | 169.12 | 1.014 | 169.693 | 1.014 | 165.399 | 1.048 | 170.561 | 23.88 | 884 | 90.27 | 0
2020-07-03 10:45:00 | 1.142 | 197.25 | 1.14 | 184.548 | 1.269 | 192.909 | 1.23 | 185.492 | 23.61 | 884 | 88.88 | 0
2020-07-03 11:00:00 | 1.176 | 148.38 | 1.159 | 164.491 | 1.386 | 145.116 | 1.296 | 165.331 | 23.87 | 884 | 89.36 | 0
2020-07-03 11:15:00 | 1.342 | 150.46 | 1.355 | 159.17 | 1.59 | 147.15 | 1.542 | 159.984 | 23.98 | 884 | 88.82 | 0
2020-07-03 11:30:00 | 1.4013 | 178.5067 | 1.4767 | 160.8753 | 1.7067 | 174.5793 | 1.7627 | 161.6973 | 24.12 | 884 | 85.1333 | 0
2020-07-03 11:45:00 | 1.1427 | 180.0467 | 1.1827 | 163.0453 | 1.26 | 176.0847 | 1.304 | 163.8787 | 24.1133 | 884 | 84.4733 | 0
2020-07-03 12:00:00 | 1.492 | 195.26 | 1.562 | 179.974 | 1.448 | 190.966 | 1.598 | 180.894 | 24.16 | 884 | 84.06 | 0
2020-07-03 12:15:00 | 1.747 | 221.08 | 1.78 | 183.62 | 1.979 | 216.216 | 1.973 | 184.559 | 24.62 | 884 | 84.09 | 0
2020-07-03 12:30:00 | 1.277 | 201.2 | 1.313 | 141.741 | 1.47 | 196.774 | 1.485 | 142.466 | 24.53 | 884.9 | 81.44 | 0
2020-07-03 12:45:00 | 1.661 | 178.04 | 1.661 | 133.106 | 1.729 | 174.123 | 1.713 | 133.786 | 24.45 | 885 | 83.45 | 0
2020-07-03 13:00:00 | 1.532 | 183.57 | 1.554 | 148.313 | 1.704 | 179.531 | 1.699 | 149.071 | 24.23 | 885 | 84.57 | 0
2020-07-03 13:15:00 | 1.243 | 193.53 | 1.321 | 157.536 | 1.419 | 189.271 | 1.516 | 158.342 | 24.27 | 884.6 | 85.82 | 0
2020-07-03 13:30:00 | 1.731 | 204.32 | 1.884 | 177.888 | 2.039 | 199.825 | 2.239 | 178.797 | 24.04 | 884 | 85.79 | 0
2020-07-03 13:45:00 | 1.3857 | 228.0786 | 1.4021 | 175.8236 | 1.575 | 223.06 | 1.5521 | 176.7214 | 24.1286 | 884 | 86.4214 | 0
2020-07-03 14:00:00 | 0.97267 | 179.3533 | 1.0147 | 156.1667 | 1.3193 | 174.664 | 1.298 | 156.966 | 24.32 | 884 | 87.0133 | 0
2020-07-03 14:15:00 | 1.436 | 169.66 | 1.496 | 173.654 | 1.71 | 165.926 | 1.746 | 174.542 | 24.48 | 884 | 86.98 | 0.018
2020-07-03 14:30:00 | 1.222 | 209.86 | 1.274 | 184.392 | 1.377 | 205.243 | 1.435 | 185.335 | 24.66 | 884 | 86.71 | 0
2020-07-03 14:45:00 | 0.946 | 169.9 | 1.045 | 157.721 | 1.127 | 166.162 | 1.263 | 158.528 | 25.09 | 884 | 83.14 | 0
2020-07-03 15:00:00 | 0.801 | 113.78 | 0.861 | 145.096 | 1.092 | 111.276 | 1.122 | 145.836 | 25.87 | 884 | 82.38 | 0
2020-07-03 15:15:00 | 1.245 | 143.49 | 1.293 | 116.48 | 1.454 | 140.333 | 1.485 | 117.075 | 25.47 | 884 | 82.16 | 0
2020-07-03 15:30:00 | 1.035 | 138.42 | 1.055 | 119.228 | 1.051 | 135.374 | 1.084 | 119.838 | 25.76 | 884 | 83 | 0
2020-07-03 15:45:00 | 1.075 | 100.89 | 1.108 | 103.248 | 1.289 | 98.672 | 1.283 | 103.775 | 25.45 | 884 | 81.02 | 0
2020-07-03 16:00:00 | 1.14 | 114.17 | 1.157 | 120.177 | 1.402 | 111.659 | 1.356 | 120.79 | 25.85 | 884 | 80.89 | 0
2020-07-03 16:15:00 | 0.99067 | 174.4867 | 1.0113 | 127.6167 | 1.2233 | 170.648 | 1.1947 | 128.2687 | 25.7467 | 883.4 | 78.408 | 0
2020-07-03 16:30:00 | 0.55867 | 86.7333 | 0.60533 | 103.42 | 0.65667 | 84.8253 | 0.72267 | 103.9493 | 26.1333 | 883 | 76.2853 | 0
2020-07-03 16:45:00 | 0.608 | 54.48 | 0.658 | 116.206 | 0.668 | 51.678 | 0.746 | 116.8 | 26.1 | 883 | 76.716 | 0
2020-07-03 17:00:00 | 0.53 | 298.32 | 0.552 | 88.938 | 0.694 | 291.756 | 0.686 | 89.394 | 25.92 | 883 | 77.282 | 0
2020-07-03 17:15:00 | 0.524 | 13.94 | 0.564 | 141.636 | 0.522 | 13.634 | 0.596 | 142.36 | 26.04 | 883 | 74.334 | 0
2020-07-03 17:30:00 | 0.782 | 250.22 | 0.836 | 270.28 | 0.934 | 244.716 | 0.99 | 271.662 | 26.14 | 883 | 71.96 | 0
2020-07-03 17:45:00 | 1.435 | 283.86 | 1.583 | 277.615 | 1.649 | 277.615 | 1.863 | 279.035 | 25.78 | 883 | 73.902 | 0
2020-07-03 18:00:00 | 1.225 | 281.94 | 1.294 | 289.586 | 1.376 | 275.736 | 1.469 | 291.067 | 25.77 | 883 | 78.084 | 0
2020-07-03 18:15:00 | 1.814 | 294.95 | 1.907 | 307.377 | 2.204 | 288.459 | 2.27 | 308.946 | 25.64 | 882.4 | 80.272 | 0
2020-07-03 18:30:00 | 1.449 | 291.37 | 1.563 | 299.18 | 1.775 | 284.96 | 1.898 | 300.71 | 25.69 | 882.1 | 80.88 | 0
2020-07-03 18:45:00 | 1.987 | 312.61 | 1.997 | 300.198 | 2.211 | 305.732 | 2.164 | 301.731 | 25.55 | 882 | 81.72 | 0
2020-07-03 19:00:00 | 1.753 | 317.89 | 1.863 | 313.399 | 1.919 | 310.896 | 2.077 | 315.002 | 25.4 | 882 | 82.76 | 0
2020-07-03 19:15:00 | 1.811 | 335.46 | 1.954 | 325.381 | 2.079 | 328.01 | 2.278 | 327.046 | 25.39 | 882 | 83.68 | 0
2020-07-03 19:30:00 | 1.782 | 305.98 | 1.867 | 313.773 | 1.915 | 299.249 | 2.034 | 315.376 | 25.29 | 882 | 83.14 | 0
2020-07-03 19:45:00 | 1.774 | 143.37 | 1.878 | 341.303 | 2.053 | 140.216 | 2.169 | 343.048 | 25.29 | 882 | 83.15 | 0
2020-07-03 20:00:00 | 1.938 | 146.93 | 1.982 | 40.607 | 2.012 | 143.696 | 2.075 | 40.814 | 25.16 | 882 | 83.74 | 0
2020-07-03 20:15:00 | 1.919 | 211.12 | 1.952 | 245.008 | 2.092 | 206.475 | 2.107 | 246.262 | 25.1 | 882 | 84.24 | 0
2020-07-03 20:30:00 | 1.8427 | 170.78 | 1.88 | 165.8953 | 1.978 | 167.0227 | 2.01 | 166.7433 | 25.1133 | 882 | 84.48 | 0
2020-07-03 20:45:00 | 1.966 | 191.4133 | 2.0227 | 118.9693 | 2.0147 | 187.2013 | 2.1107 | 119.578 | 25.0467 | 882 | 84.9067 | 0
2020-07-03 21:00:00 | 2.132 | 80.36 | 2.196 | 209.078 | 2.186 | 78.594 | 2.292 | 210.148 | 25 | 882 | 84.72 | 0.196
2020-07-03 21:15:00 | 2.215 | 149.57 | 2.289 | 107.629 | 2.437 | 147.091 | 2.521 | 108.181 | 24.97 | 882 | 85.16 | 0.606
2020-07-03 21:30:00 | 2.29 | 113.72 | 2.36 | 343.786 | 2.698 | 111.218 | 2.715 | 345.544 | 24.87 | 882 | 86.63 | 0.834
2020-07-03 21:45:00 | 2.408 | 270.73 | 2.531 | 314.153 | 2.958 | 264.772 | 3.031 | 315.757 | 24.69 | 882.4 | 87.02 | 1.0693
2020-07-03 22:00:00 | 2.477 | 171.54 | 2.614 | 319.454 | 2.942 | 167.766 | 3.063 | 321.089 | 24.58 | 883 | 89.14 | 0.78067
2020-07-03 22:15:00 | 2.56 | 342.31 | 2.684 | 313.458 | 3.032 | 334.78 | 3.131 | 315.06 | 24.63 | 883 | 90.55 | 1.306
2020-07-03 22:30:00 | 2.741 | 308.25 | 2.903 | 313.303 | 3.246 | 301.469 | 3.408 | 314.905 | 24.64 | 883 | 90.43 | 2.0687
2020-07-03 22:45:00 | 2.647 | 276.85 | 2.804 | 316.735 | 3.164 | 270.76 | 3.309 | 318.354 | 24.55 | 883 | 90.26 | 1.7573
2020-07-03 23:00:00 | 2.392 | 271.97 | 2.441 | 315.921 | 2.964 | 265.986 | 2.895 | 317.538 | 24.53 | 883 | 90.22 | 1.584
2020-07-03 23:15:00 | 2.45 | 250.6733 | 2.5507 | 316.852 | 2.956 | 245.1587 | 3 | 318.472 | 24.5067 | 883 | 90.26 | 0.922
2020-07-03 23:30:00 | 2.4633 | 245.8533 | 2.5533 | 321.2067 | 2.9027 | 240.4447 | 2.948 | 322.8513 | 24.4867 | 883 | 89.9533 | 0.704
2020-07-03 23:45:00 | 2.9993 | 339.5533 | 3.1847 | 318.2993 | 3.4913 | 331.476 | 3.7053 | 319.8593 | 24.4467 | 883 | 90.4267 | 2.442