## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-04 00:00:00 | 3.43 | 334.5 | 3.674 | 315.934 | 4.01 | 327.14 | 4.3 | 317.548 | 24.38 | 883 | 91.1 | 6.3233
2020-07-04 00:15:00 | 3.859 | 342.31 | 4.153 | 325.576 | 4.49 | 334.779 | 4.869 | 327.241 | 24.2 | 883 | 92.32 | 9.5747
2020-07-04 00:30:00 | 3.974 | 340.5 | 4.374 | 321.401 | 4.615 | 332.804 | 5.186 | 323.044 | 24.15 | 883 | 93.39 | 10.422
2020-07-04 00:45:00 | 4.201 | 343.67 | 4.576 | 325.371 | 4.883 | 336.785 | 5.393 | 327.036 | 24.13 | 883 | 94.08 | 10.686
2020-07-04 01:00:00 | 4.002 | 344.43 | 4.369 | 323.913 | 4.659 | 336.852 | 5.167 | 325.57 | 23.94 | 883 | 94.63 | 9.2847
2020-07-04 01:15:00 | 3.9173 | 339.3867 | 4.234 | 323.314 | 4.642 | 331.92 | 5.0347 | 324.9673 | 23.6333 | 882.4 | 94.6933 | 9.4167
2020-07-04 01:30:00 | 3.962 | 344.28 | 4.318 | 329.86 | 4.75 | 336.704 | 5.19 | 331.548 | 23.48 | 882 | 94.72 | 11.912
2020-07-04 01:45:00 | 4.293 | 335.87 | 4.583 | 322.143 | 5.093 | 328.48 | 5.412 | 323.789 | 23.4 | 882 | 94.32 | 12.05
2020-07-04 02:00:00 | 4.118 | 345.26 | 4.459 | 326.181 | 4.832 | 337.665 | 5.273 | 327.851 | 23.32 | 882 | 95.02 | 11.3553
2020-07-04 02:15:00 | 3.887 | 344.97 | 4.232 | 324.745 | 4.545 | 337.127 | 5.006 | 326.406 | 23.14 | 882 | 95.34 | 9.588
2020-07-04 02:30:00 | 4.3273 | 346.4133 | 4.6687 | 324.136 | 5.0607 | 338.7927 | 5.4967 | 325.7927 | 23.06 | 882 | 95.5467 | 12.5727
2020-07-04 02:45:00 | 4.474 | 341.34 | 4.864 | 326.867 | 5.241 | 333.831 | 5.76 | 328.539 | 22.94 | 882 | 95.94 | 15.184
2020-07-04 03:00:00 | 4.441 | 337.89 | 4.837 | 324.373 | 5.138 | 330.456 | 5.684 | 326.031 | 22.91 | 882 | 96.4 | 16.5807
2020-07-04 03:15:00 | 4.4947 | 337.42 | 4.88 | 325.0753 | 5.1967 | 329.998 | 5.7187 | 326.7353 | 22.92 | 882 | 96.5267 | 15.5547
2020-07-04 03:30:00 | 4.702 | 341.1 | 5.088 | 325.754 | 5.446 | 333.592 | 5.968 | 327.418 | 22.9 | 882 | 96.7 | 15.8667
2020-07-04 03:45:00 | 4.656 | 339.67 | 5.059 | 325.859 | 5.419 | 332.12 | 5.964 | 327.526 | 22.82 | 882 | 96.97 | 16.168
2020-07-04 04:00:00 | 4.637 | 339.62 | 5.015 | 325.587 | 5.413 | 332.149 | 5.904 | 327.249 | 22.69 | 882 | 97.39 | 15.2813
2020-07-04 04:15:00 | 4.425 | 335.17 | 4.753 | 320.696 | 5.131 | 327.797 | 5.549 | 322.336 | 22.82 | 882 | 97.26 | 14.048
2020-07-04 04:30:00 | 4.612 | 335.7 | 4.952 | 318.556 | 5.312 | 328.316 | 5.76 | 320.182 | 22.92 | 882 | 97.36 | 14.9307
2020-07-04 04:45:00 | 4.641 | 345.63 | 5.044 | 324.403 | 5.279 | 338.025 | 5.853 | 326.061 | 22.77 | 882 | 97.84 | 17.898
2020-07-04 05:00:00 | 5.093 | 340.94 | 5.527 | 323.443 | 5.917 | 333.44 | 6.503 | 325.098 | 22.65 | 882 | 98.19 | 20.4753
2020-07-04 05:15:00 | 5.064 | 341.86 | 5.493 | 324.676 | 5.904 | 334.338 | 6.473 | 326.337 | 22.56 | 882 | 99.11 | 19.5133
2020-07-04 05:30:00 | 4.916 | 341.57 | 5.331 | 321.373 | 5.699 | 334.056 | 6.257 | 323.013 | 22.38 | 882 | 99.54 | 19.5887
2020-07-04 05:45:00 | 5.308 | 342.1 | 5.718 | 327.237 | 6.122 | 333.615 | 6.656 | 328.911 | 22.23 | 882 | 99.84 | 23.2067
2020-07-04 06:00:00 | 5.228 | 339.19 | 5.635 | 324.775 | 6.059 | 331.728 | 6.59 | 326.435 | 22.29 | 881.1 | 99.9 | 21.37
2020-07-04 06:15:00 | 5.0407 | 344.02 | 5.4407 | 323.582 | 5.78 | 336.1913 | 6.3293 | 325.2353 | 22.3267 | 881.4 | 99.96 | 20.1193
2020-07-04 06:30:00 | 4.69 | 343.5133 | 5.098 | 328.294 | 5.4173 | 335.9567 | 5.978 | 329.9727 | 22.3133 | 881.2667 | 99.8133 | 17.4167
2020-07-04 06:45:00 | 4.9187 | 343.8867 | 5.2773 | 321.35 | 5.6693 | 336.966 | 6.1327 | 322.994 | 22.3267 | 882 | 99.8 | 18.5713
2020-07-04 07:00:00 | 5.106 | 340.72 | 5.454 | 320.628 | 5.99 | 333.222 | 6.396 | 322.268 | 22.3 | 882 | 99.72 | 19.9467
2020-07-04 07:15:00 | 4.715 | 344.65 | 5.003 | 320.823 | 5.483 | 337.575 | 5.8 | 322.463 | 22.3 | 882 | 98.87 | 15.5567
2020-07-04 07:30:00 | 4.258 | 346.66 | 4.479 | 325.585 | 5.064 | 339.033 | 5.25 | 327.249 | 22.4 | 882 | 96.42 | 13.122
2020-07-04 07:45:00 | 4.761 | 345.94 | 5.096 | 324.373 | 5.461 | 338.329 | 5.891 | 326.032 | 22.31 | 883 | 93.28 | 17.726
2020-07-04 08:00:00 | 5.1327 | 343.4667 | 5.4793 | 325.772 | 5.666 | 335.9093 | 6.1707 | 327.438 | 22.88 | 883 | 90.0333 | 18.596
2020-07-04 08:15:00 | 4.9993 | 339.5133 | 5.3533 | 323.608 | 5.4153 | 332.044 | 5.9693 | 325.2627 | 23.0533 | 883.6 | 88.5333 | 17.7933
2020-07-04 08:30:00 | 4.5647 | 338.3133 | 4.9013 | 321.788 | 5.1487 | 330.87 | 5.6173 | 323.4327 | 23.3 | 884 | 85.0333 | 14.3933
2020-07-04 08:45:00 | 4.268 | 348.86 | 4.536 | 326.436 | 4.584 | 341.186 | 5.002 | 328.104 | 23.44 | 884 | 83.72 | 10.49
2020-07-04 09:00:00 | 4.046 | 341.62 | 4.336 | 331.774 | 4.148 | 334.106 | 4.662 | 333.472 | 23.46 | 885 | 83.8 | 9.8333
2020-07-04 09:15:00 | 3.967 | 343.46 | 4.286 | 299.367 | 4.216 | 335.904 | 4.754 | 300.896 | 23.95 | 885 | 83.51 | 9.398
2020-07-04 09:30:00 | 4.04 | 339.93 | 4.324 | 292.705 | 4.521 | 332.451 | 4.916 | 294.203 | 24.15 | 885 | 81.1 | 6.7293
2020-07-04 09:45:00 | 3.236 | 335.21 | 3.358 | 322.466 | 3.85 | 327.834 | 3.904 | 324.114 | 24.63 | 885 | 78.007 | 5.042
2020-07-04 10:00:00 | 3.054 | 231.52 | 3.1 | 330.339 | 3.528 | 226.426 | 3.477 | 332.027 | 24.99 | 885 | 78.377 | 4.6087
2020-07-04 10:15:00 | 2.958 | 339.94 | 3.065 | 334.79 | 3.4 | 332.462 | 3.48 | 336.5 | 25.39 | 885 | 76.789 | 2.9693
2020-07-04 10:30:00 | 2.922 | 310.98 | 3.0407 | 334.136 | 3.5787 | 304.1393 | 3.6127 | 335.8473 | 25.62 | 885 | 74.0327 | 3.5553
2020-07-04 10:45:00 | 2.7953 | 214.14 | 2.9947 | 245.0267 | 3.3633 | 209.4287 | 3.5773 | 246.282 | 26.0933 | 885 | 74.46 | 2.3207
2020-07-04 11:00:00 | 2.6147 | 291.2133 | 2.8033 | 284.546 | 3.19 | 283.1507 | 3.382 | 286.0007 | 26.3467 | 885 | 72.6727 | 2.1553
2020-07-04 11:15:00 | 3.0553 | 312.9267 | 3.226 | 283.2627 | 3.3907 | 305.7767 | 3.6207 | 284.7087 | 26.4133 | 885 | 72.1127 | 2.958
2020-07-04 11:30:00 | 2.832 | 261.5 | 2.944 | 320.196 | 3.098 | 255.746 | 3.238 | 321.836 | 26.5 | 885 | 71.33 | 2.924
2020-07-04 11:45:00 | 3.342 | 276.48 | 3.554 | 202.31 | 3.66 | 270.396 | 3.974 | 203.344 | 27.06 | 885 | 67.056 | 3.4973
2020-07-04 12:00:00 | 2.764 | 335.86 | 3.072 | 314.486 | 3.24 | 328.468 | 3.682 | 316.094 | 27.42 | 885 | 67.096 | 5.7827
2020-07-04 12:15:00 | 3.591 | 242.33 | 3.844 | 300.754 | 4.268 | 236.998 | 4.551 | 302.291 | 27.56 | 885 | 65.377 | 11.0067
2020-07-04 12:30:00 | 3.284 | 272.66 | 3.416 | 332.509 | 3.884 | 266.663 | 3.963 | 334.209 | 27.74 | 885 | 66.353 | 9.8327
2020-07-04 12:45:00 | 3.154 | 242.85 | 3.29 | 330.681 | 3.477 | 237.508 | 3.641 | 332.369 | 28.17 | 885 | 64.529 | 6.8707
2020-07-04 13:00:00 | 3.083 | 306.6 | 3.182 | 330.309 | 3.442 | 299.856 | 3.529 | 332 | 27.91 | 885 | 63.36 | 5.3567
2020-07-04 13:15:00 | 3.023 | 207.83 | 3.079 | 324.755 | 3.301 | 203.257 | 3.331 | 326.415 | 27.76 | 885 | 65.55 | 3.1233
2020-07-04 13:30:00 | 2.642 | 287.75 | 2.697 | 321.781 | 2.757 | 281.419 | 2.829 | 323.427 | 28.1 | 885 | 66.205 | 1.9527
2020-07-04 13:45:00 | 2.71 | 338.87 | 2.851 | 259.15 | 3.156 | 331.415 | 3.289 | 260.475 | 28.23 | 884 | 65.282 | 3.7307
2020-07-04 14:00:00 | 2.44 | 308.08 | 2.591 | 190.219 | 2.699 | 301.301 | 2.912 | 191.194 | 28.76 | 884 | 66.402 | 3.4947
2020-07-04 14:15:00 | 2.8407 | 153.02 | 3.0113 | 150.6907 | 3.118 | 149.6533 | 3.3647 | 151.4613 | 29.0467 | 884 | 61.1773 | 5.7347
2020-07-04 14:30:00 | 3.0527 | 237.54 | 3.1653 | 188.962 | 3.362 | 232.3147 | 3.4853 | 189.9273 | 29.3133 | 884 | 59.8313 | 6.008
2020-07-04 14:45:00 | 3.2878 | 259.7778 | 3.4644 | 325.6089 | 3.7544 | 254.0622 | 3.9533 | 327.2744 | 29.0222 | 884 | 57.0422 | 5.3767
2020-07-04 15:00:00 | 2.486 | 240.06 | 2.656 | 265.987 | 2.963 | 234.78 | 3.15 | 267.346 | 29.01 | 884 | 61.154 | 3.28
2020-07-04 15:15:00 | 2.898 | 308.53 | 3.054 | 143.032 | 3.229 | 301.741 | 3.427 | 143.765 | 29.07 | 883.6 | 63.11 | 3.3753
2020-07-04 15:30:00 | 2.445 | 79.5 | 2.568 | 142.887 | 2.697 | 78.053 | 2.859 | 143.618 | 29.07 | 883 | 61.388 | 1.8393
2020-07-04 15:45:00 | 2.503 | 81.31 | 2.629 | 27.54 | 2.829 | 79.521 | 2.974 | 27.68 | 29.11 | 883 | 63.169 | 1.1027
2020-07-04 16:00:00 | 1.719 | 82.64 | 1.873 | 114.777 | 1.763 | 80.82 | 2.043 | 115.365 | 29.7 | 883 | 58.576 | 0
2020-07-04 16:15:00 | 0.739 | 115.6 | 0.822 | 297.223 | 0.995 | 113.058 | 1.073 | 298.744 | 30.36 | 883 | 57.549 | 0
2020-07-04 16:30:00 | 0.77 | 154.0533 | 0.91 | 189.342 | 0.894 | 150.6633 | 1.1193 | 190.308 | 31.24 | 883 | 57.0787 | 0
2020-07-04 16:45:00 | 1.0207 | 43.0933 | 1.194 | 43.9373 | 1.194 | 42.144 | 1.47 | 44.1633 | 30.72 | 882.4 | 58.7693 | 0
2020-07-04 17:00:00 | 1.292 | 43.94 | 1.436 | 68.656 | 1.562 | 42.974 | 1.756 | 69.004 | 30.28 | 882 | 59.144 | 0
2020-07-04 17:15:00 | 1.438 | 111.66 | 1.548 | 97.486 | 1.832 | 109.206 | 1.928 | 97.984 | 30.2 | 882 | 62.04 | 0.72867
2020-07-04 17:30:00 | 3.476 | 182.9 | 3.601 | 148.42 | 3.492 | 178.924 | 3.79 | 149.18 | 27.93 | 882 | 68.742 | 7.0647
2020-07-04 17:45:00 | 2.846 | 173.4 | 2.962 | 152.745 | 3.207 | 169.585 | 3.326 | 153.524 | 27.43 | 882 | 72.426 | 7.87
2020-07-04 18:00:00 | 2.955 | 153.72 | 3.129 | 167.481 | 3.376 | 150.338 | 3.585 | 168.339 | 27.36 | 882 | 74.81 | 9.754
2020-07-04 18:15:00 | 3.069 | 185.35 | 3.236 | 150.906 | 3.384 | 181.272 | 3.61 | 151.679 | 26.88 | 881.6 | 77.471 | 12.0287
2020-07-04 18:30:00 | 2.948 | 176.01 | 3.072 | 155.433 | 3.103 | 172.138 | 3.295 | 156.228 | 26.53 | 881 | 80.174 | 11.0153
2020-07-04 18:45:00 | 3.221 | 181.62 | 3.357 | 161.517 | 3.274 | 177.624 | 3.518 | 162.343 | 26.26 | 881 | 80.58 | 13.772
2020-07-04 19:00:00 | 3.065 | 177.32 | 3.224 | 155.865 | 3.086 | 173.42 | 3.382 | 156.661 | 26.2 | 881 | 79.603 | 12.1247
2020-07-04 19:15:00 | 2.946 | 181.36 | 3.115 | 152.332 | 3.06 | 177.37 | 3.348 | 153.113 | 26.08 | 881 | 80.4 | 9.3927
2020-07-04 19:30:00 | 2.654 | 172.61 | 2.755 | 160.168 | 2.759 | 168.567 | 2.922 | 160.985 | 26.03 | 881 | 81.3 | 7.7607
2020-07-04 19:45:00 | 2.604 | 178.13 | 2.723 | 162.533 | 2.553 | 174.212 | 2.795 | 163.365 | 25.85 | 881 | 82.1 | 6.1793
2020-07-04 20:00:00 | 2.475 | 179.2 | 2.572 | 171.952 | 2.695 | 175.258 | 2.814 | 172.831 | 25.77 | 881 | 82.43 | 4.3067
2020-07-04 20:15:00 | 2.194 | 197.82 | 2.255 | 169.742 | 2.483 | 193.467 | 2.518 | 170.609 | 25.73 | 881 | 82.59 | 4.2827
2020-07-04 20:30:00 | 2.647 | 185.03 | 2.66 | 156.343 | 2.901 | 180.96 | 2.854 | 157.142 | 25.66 | 881 | 84.16 | 3.922
2020-07-04 20:45:00 | 2.43 | 151.22 | 2.4333 | 148.4413 | 2.6253 | 147.8913 | 2.5773 | 149.2 | 25.66 | 881 | 84.7333 | 3.922
2020-07-04 21:00:00 | 2.69 | 135.4 | 2.752 | 146.974 | 3.002 | 132.418 | 3.032 | 147.726 | 25.64 | 881 | 85.48 | 4.2567
2020-07-04 21:15:00 | 2.554 | 135.14 | 2.692 | 140.4 | 2.944 | 132.166 | 3.09 | 141.12 | 25.4 | 881 | 86.8 | 3.784
2020-07-04 21:30:00 | 2.4467 | 138.1444 | 2.5422 | 137.9411 | 2.8267 | 135.1067 | 2.8967 | 138.6467 | 25.3 | 881 | 86.8667 | 2.6927
2020-07-04 21:45:00 | 2.347 | 140.61 | 2.42 | 139.385 | 2.733 | 137.517 | 2.757 | 140.097 | 25.21 | 881 | 87.28 | 2.1307
2020-07-04 22:00:00 | 2.195 | 143.88 | 2.296 | 133.254 | 2.475 | 140.714 | 2.594 | 133.933 | 25.14 | 881 | 87.37 | 1.046
2020-07-04 22:15:00 | 2.371 | 121.6 | 2.54 | 125.751 | 2.54 | 118.925 | 2.811 | 126.393 | 24.92 | 881 | 88.08 | 1.2893
2020-07-04 22:30:00 | 2.56 | 124.1 | 2.694 | 122.964 | 2.847 | 121.37 | 3.022 | 123.592 | 24.98 | 881 | 88.76 | 4.0913
2020-07-04 22:45:00 | 3.039 | 116.82 | 3.196 | 124.949 | 3.324 | 114.249 | 3.54 | 125.587 | 24.92 | 881 | 89.28 | 5.1033
2020-07-04 23:00:00 | 2.735 | 126.91 | 2.824 | 126.239 | 3.256 | 124.118 | 3.278 | 126.885 | 24.67 | 881 | 89.55 | 4.0473
2020-07-04 23:15:00 | 2.697 | 132.57 | 2.823 | 133.118 | 3.021 | 129.654 | 3.169 | 133.796 | 24.57 | 881.4 | 90.83 | 4.9907
2020-07-04 23:30:00 | 3.302 | 123.69 | 3.478 | 127.033 | 3.705 | 120.969 | 3.925 | 127.682 | 24.22 | 881.1 | 91.72 | 7.768
2020-07-04 23:45:00 | 2.892 | 128.73 | 3.006 | 125.977 | 3.373 | 125.896 | 3.447 | 126.621 | 24.33 | 881 | 93.02 | 5.588