## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-05 00:00:00 | 3.04 | 133.64 | 3.122 | 127.59 | 3.5 | 130.7 | 3.527 | 128.244 | 24.06 | 881 | 93.31 | 5.8467
2020-07-05 00:15:00 | 2.6547 | 133.38 | 2.7153 | 128.112 | 3.0653 | 130.6747 | 3.0653 | 129.0487 | 23.9933 | 881 | 94.48 | 4.0473
2020-07-05 00:30:00 | 2.4853 | 144.2733 | 2.566 | 127.5567 | 2.896 | 141.0987 | 2.9293 | 128.21 | 23.8467 | 881 | 95.2667 | 2.3947
2020-07-05 00:45:00 | 2.388 | 151.16 | 2.5 | 130.172 | 2.706 | 147.836 | 2.834 | 130.84 | 23.7 | 881 | 95.8 | 1.144
2020-07-05 01:00:00 | 2.064 | 144.86 | 2.176 | 133.81 | 2.324 | 141.672 | 2.468 | 134.494 | 23.72 | 881 | 96.78 | 1.836
2020-07-05 01:15:00 | 2.336 | 141.96 | 2.414 | 134.278 | 2.638 | 138.837 | 2.7 | 134.967 | 23.61 | 881 | 97.1 | 2.314
2020-07-05 01:30:00 | 2.1493 | 134.34 | 2.2613 | 129.63 | 2.4293 | 131.384 | 2.56 | 130.2927 | 23.5667 | 880.7333 | 97.5333 | 1.3507
2020-07-05 01:45:00 | 2.332 | 127.33 | 2.461 | 128.617 | 2.619 | 124.629 | 2.773 | 129.275 | 23.44 | 880.4 | 97.75 | 0.94933
2020-07-05 02:00:00 | 2.217 | 123.83 | 2.29 | 124.529 | 2.501 | 121.106 | 2.555 | 125.165 | 23.47 | 880.1 | 98.09 | 0.52533
2020-07-05 02:15:00 | 2.345 | 131.18 | 2.467 | 130.262 | 2.666 | 128.294 | 2.804 | 130.926 | 23.51 | 880 | 98.34 | 0.404
2020-07-05 02:30:00 | 2.0267 | 133.8333 | 2.1193 | 126.5527 | 2.302 | 130.8893 | 2.396 | 127.2007 | 23.34 | 880 | 98.6933 | 0
2020-07-05 02:45:00 | 2.072 | 139.07 | 2.19 | 134.484 | 2.359 | 136.01 | 2.503 | 135.172 | 23.33 | 880 | 98.66 | 0
2020-07-05 03:00:00 | 1.801 | 141.34 | 1.891 | 130.965 | 1.985 | 138.231 | 2.106 | 131.634 | 23.37 | 880 | 98.86 | 0
2020-07-05 03:15:00 | 2.138 | 133.45 | 2.237 | 137.711 | 2.365 | 130.514 | 2.486 | 138.416 | 23.33 | 880 | 99.24 | 0.564
2020-07-05 03:30:00 | 2.2 | 129.33 | 2.365 | 126.386 | 2.494 | 126.484 | 2.724 | 127.034 | 23.39 | 880 | 99.66 | 0.070667
2020-07-05 03:45:00 | 2.3353 | 132.72 | 2.41 | 136.0133 | 2.6867 | 129.8 | 2.7293 | 136.708 | 23.24 | 880 | 99.96 | 0.428
2020-07-05 04:00:00 | 1.726 | 160.22 | 1.8233 | 124.1993 | 2.0027 | 156.6947 | 2.106 | 124.834 | 23.18 | 880 | 100 | 0
2020-07-05 04:15:00 | 1.7773 | 165.16 | 1.8713 | 156.4987 | 1.9767 | 161.5267 | 2.0987 | 157.2993 | 23.22 | 880 | 100 | 0
2020-07-05 04:30:00 | 1.84 | 142.5 | 1.892 | 139.482 | 2.03 | 139.366 | 2.07 | 140.196 | 23.1 | 880 | 100 | 0
2020-07-05 04:45:00 | 1.407 | 138.79 | 1.458 | 127.286 | 1.72 | 135.737 | 1.725 | 127.936 | 23.12 | 880 | 100 | 0
2020-07-05 05:00:00 | 0.858 | 115.81 | 0.911 | 97.43 | 1.112 | 113.263 | 1.137 | 97.926 | 23.13 | 880 | 100 | 0
2020-07-05 05:15:00 | 0.692 | 96.48 | 0.777 | 116.891 | 0.945 | 94.357 | 1.033 | 117.489 | 23.1 | 880 | 100 | 0
2020-07-05 05:30:00 | 0.52067 | 65.48 | 0.536 | 80.848 | 0.56133 | 64.0393 | 0.57867 | 81.2613 | 23.3933 | 880 | 100 | 0
2020-07-05 05:45:00 | 0.80933 | 37.7133 | 0.866 | 80.176 | 0.886 | 36.8827 | 0.972 | 80.586 | 23.4733 | 880 | 100 | 0
2020-07-05 06:00:00 | 1.092 | 24.58 | 1.172 | 144.786 | 1.136 | 24.036 | 1.278 | 145.524 | 23.32 | 880 | 100 | 0
2020-07-05 06:15:00 | 0.98 | 84.66 | 1.094 | 89.408 | 1.068 | 82.798 | 1.252 | 89.87 | 23.7 | 879 | 100 | 0
2020-07-05 06:30:00 | 1.006 | 93.4 | 1.037 | 84.342 | 0.984 | 91.345 | 1.047 | 84.775 | 23.47 | 879 | 100 | 0
2020-07-05 06:45:00 | 0.399 | 152.73 | 0.458 | 99.189 | 0.381 | 149.369 | 0.496 | 99.697 | 23.51 | 879 | 100 | 0
2020-07-05 07:00:00 | 0.503 | 194.94 | 0.579 | 91.208 | 0.537 | 190.652 | 0.667 | 91.674 | 23.76 | 879.9 | 100 | 0
2020-07-05 07:15:00 | 0.545 | 202.4 | 0.605 | 207.248 | 0.752 | 197.947 | 0.806 | 208.307 | 23.57 | 880 | 100 | 0
2020-07-05 07:30:00 | 0.652 | 309.98 | 0.65533 | 254.4553 | 0.654 | 303.1613 | 0.662 | 249.275 | 23.66 | 880 | 99.1467 | 0
2020-07-05 07:45:00 | 1.3733 | 55.8133 | 1.4213 | 322.6747 | 1.4527 | 54.586 | 1.5253 | 324.3247 | 23.4867 | 880 | 98.14 | 0
2020-07-05 08:00:00 | 1.528 | 144.78 | 1.62 | 347.17 | 1.628 | 141.596 | 1.774 | 348.944 | 23.38 | 880 | 98.1 | 0
2020-07-05 08:15:00 | 1.288 | 338.96 | 1.345 | 324.158 | 1.398 | 330.712 | 1.475 | 325.817 | 23.53 | 880 | 98.24 | 0
2020-07-05 08:30:00 | 1.14 | 273.17 | 1.194 | 332.647 | 1.141 | 267.159 | 1.245 | 334.348 | 23.59 | 880 | 98.39 | 0
2020-07-05 08:45:00 | 1.229 | 340.93 | 1.249 | 336.912 | 1.33 | 333.43 | 1.334 | 338.635 | 23.69 | 880 | 98.36 | 0
2020-07-05 09:00:00 | 0.585 | 264.51 | 0.616 | 206.308 | 0.651 | 258.847 | 0.69 | 207.364 | 24.09 | 880 | 97.49 | 0
2020-07-05 09:15:00 | 0.878 | 325.3 | 0.941 | 285.673 | 1.078 | 318.145 | 1.14 | 287.133 | 24.43 | 880.4 | 95.38 | 0
2020-07-05 09:30:00 | 0.385 | 163.2 | 0.421 | 141.536 | 0.496 | 159.61 | 0.533 | 142.259 | 24.89 | 881 | 92.57 | 0
2020-07-05 09:45:00 | 0.414 | 100.56 | 0.40333 | 117.3207 | 0.38867 | 98.348 | 0.37533 | 117.9213 | 24.5667 | 881 | 90.96 | 0
2020-07-05 10:00:00 | 0.36 | 147.86 | 0.376 | 126.398 | 0.32 | 144.608 | 0.358 | 127.044 | 24.56 | 881 | 90.96 | 0
2020-07-05 10:15:00 | 0.407 | 78.09 | 0.427 | 166.426 | 0.463 | 76.372 | 0.483 | 167.278 | 24.71 | 881 | 91.99 | 0
2020-07-05 10:30:00 | 0.778 | 117.4 | 0.749 | 77.477 | 0.884 | 114.818 | 0.797 | 77.872 | 24.54 | 881 | 88.51 | 0
2020-07-05 10:45:00 | 0.971 | 253.83 | 0.976 | 20.382 | 1.175 | 248.246 | 1.125 | 20.488 | 24.88 | 881 | 88.32 | 0
2020-07-05 11:00:00 | 0.891 | 129.28 | 0.849 | 213.332 | 0.908 | 126.434 | 0.829 | 214.422 | 25.32 | 881 | 87.58 | 0
2020-07-05 11:15:00 | 1.286 | 81.18 | 1.32 | 48.302 | 1.45 | 79.392 | 1.469 | 48.551 | 25.12 | 881 | 84.77 | 0
2020-07-05 11:30:00 | 1.499 | 317.29 | 1.626 | 213.643 | 1.765 | 310.663 | 1.929 | 214.737 | 25.27 | 881 | 85.35 | 0
2020-07-05 11:45:00 | 1.275 | 215.5 | 1.247 | 268.216 | 1.385 | 210.758 | 1.302 | 269.587 | 25.05 | 881 | 86.94 | 0
2020-07-05 12:00:00 | 2.2907 | 328.6933 | 2.4227 | 289.448 | 2.6353 | 321.4027 | 2.786 | 290.9273 | 24.7533 | 881 | 87.7133 | 0
2020-07-05 12:15:00 | 2.1167 | 308.6867 | 2.2133 | 327.3233 | 2.5067 | 301.896 | 2.576 | 328.9973 | 24.8267 | 881 | 88.74 | 0
2020-07-05 12:30:00 | 1.536 | 280.24 | 1.69 | 149.262 | 1.868 | 274.074 | 2.062 | 150.026 | 25.1 | 881 | 88.9 | 0
2020-07-05 12:45:00 | 1.304 | 295.57 | 1.353 | 307.014 | 1.678 | 289.069 | 1.666 | 308.584 | 25.57 | 881 | 89.33 | 0
2020-07-05 13:00:00 | 1.358 | 292.22 | 1.409 | 296.138 | 1.744 | 285.791 | 1.73 | 297.654 | 25.42 | 880.1 | 88.46 | 0
2020-07-05 13:15:00 | 1.455 | 322.62 | 1.528 | 297.909 | 1.675 | 315.523 | 1.753 | 299.43 | 25.65 | 880 | 87.11 | 0
2020-07-05 13:30:00 | 0.954 | 67.8 | 0.953 | 270.808 | 1.01 | 66.308 | 0.987 | 272.194 | 25.93 | 880 | 87.44 | 0
2020-07-05 13:45:00 | 0.676 | 205.81 | 0.77 | 231.817 | 0.834 | 199.375 | 0.963 | 233 | 26.74 | 880 | 83.36 | 0
2020-07-05 14:00:00 | 0.7 | 234.78 | 0.675 | 233.312 | 0.805 | 229.615 | 0.73 | 234.504 | 26.18 | 880 | 84.7 | 0
2020-07-05 14:15:00 | 0.56 | 179.09 | 0.623 | 126.679 | 0.503 | 175.15 | 0.639 | 127.327 | 26.03 | 880 | 85.08 | 0
2020-07-05 14:30:00 | 1.113 | 187.95 | 1.35 | 151.679 | 1.208 | 183.816 | 1.627 | 152.454 | 26.22 | 880 | 90.63 | 0
2020-07-05 14:45:00 | 1.338 | 170.48 | 1.428 | 155.658 | 1.616 | 166.728 | 1.704 | 156.454 | 25.04 | 880 | 94.68 | 0
2020-07-05 15:00:00 | 2.208 | 176.38 | 2.318 | 159.1 | 2.56 | 172.498 | 2.66 | 159.914 | 24.7 | 880 | 95.56 | 0
2020-07-05 15:15:00 | 1.365 | 196.92 | 1.444 | 143.022 | 1.653 | 192.585 | 1.72 | 143.755 | 25 | 879 | 91.33 | 0
2020-07-05 15:30:00 | 1.89 | 182.98 | 1.961 | 148.353 | 2.067 | 178.953 | 2.159 | 149.109 | 24.98 | 879 | 90.34 | 0
2020-07-05 15:45:00 | 2.271 | 163.95 | 2.319 | 141.449 | 2.437 | 160.342 | 2.481 | 142.171 | 24.66 | 879 | 91.58 | 0.50933
2020-07-05 16:00:00 | 2.514 | 158.35 | 2.647 | 144.264 | 2.632 | 154.868 | 2.852 | 145.001 | 24.54 | 879 | 93 | 2.596
2020-07-05 16:15:00 | 3.408 | 137.89 | 3.494 | 130.643 | 3.891 | 134.857 | 3.919 | 131.309 | 23.62 | 879 | 93.68 | 6.5453
2020-07-05 16:30:00 | 2.095 | 174.22 | 2.153 | 145.556 | 2.316 | 170.388 | 2.365 | 146.301 | 23.99 | 879 | 90.67 | 2.4533
2020-07-05 16:45:00 | 2.032 | 198.37 | 2.181 | 161.223 | 2.118 | 194.006 | 2.374 | 162.047 | 24.29 | 878 | 86.49 | 0.124
2020-07-05 17:00:00 | 2.5053 | 191.04 | 2.666 | 182.9653 | 2.588 | 186.902 | 2.8773 | 183.8993 | 22.9 | 878 | 87.5933 | 0.104
2020-07-05 17:15:00 | 2.8267 | 176.96 | 2.9847 | 163.6387 | 3.352 | 173.0667 | 3.4993 | 164.4747 | 22.2067 | 878 | 86.7333 | 1.8207
2020-07-05 17:30:00 | 2.958 | 162.14 | 3.12 | 157.28 | 3.356 | 158.574 | 3.55 | 158.086 | 22.42 | 878 | 86.8 | 4.2493
2020-07-05 17:45:00 | 2.962 | 156.76 | 3.124 | 146.816 | 3.128 | 153.31 | 3.394 | 147.566 | 22.24 | 878 | 84.32 | 3.4213
2020-07-05 18:00:00 | 2.506 | 158.14 | 2.598 | 145.682 | 2.582 | 154.66 | 2.73 | 146.428 | 22 | 877.2 | 82.1 | 3.566
2020-07-05 18:15:00 | 2.446 | 178.69 | 2.627 | 167.708 | 2.923 | 174.758 | 3.127 | 168.565 | 22.33 | 877 | 82.1 | 3.3127
2020-07-05 18:30:00 | 1.886 | 191.63 | 2.018 | 146.289 | 2.088 | 187.413 | 2.285 | 147.038 | 23.53 | 877 | 82.02 | 1.3007
2020-07-05 18:45:00 | 2.859 | 178.42 | 2.918 | 164.174 | 3.166 | 174.494 | 3.19 | 165.017 | 23.16 | 877.4 | 81.78 | 5.5727
2020-07-05 19:00:00 | 2.675 | 177.49 | 2.773 | 162.064 | 2.996 | 172.53 | 3.086 | 162.894 | 22.2 | 878 | 83.98 | 9.0307
2020-07-05 19:15:00 | 3.461 | 187.54 | 3.587 | 168.833 | 3.992 | 183.413 | 4.08 | 169.695 | 22.55 | 878 | 85.7 | 11.3987
2020-07-05 19:30:00 | 3.115 | 178.95 | 3.229 | 173.097 | 3.634 | 175.013 | 3.699 | 173.982 | 22.62 | 878 | 85.62 | 9.4387
2020-07-05 19:45:00 | 2.757 | 170.69 | 2.784 | 164.796 | 2.89 | 166.935 | 2.906 | 165.635 | 22.48 | 877.4 | 84.02 | 8.1187
2020-07-05 20:00:00 | 2.202 | 164.56 | 2.226 | 161.213 | 2.37 | 160.94 | 2.373 | 162.037 | 21.92 | 878 | 87.59 | 3.258
2020-07-05 20:15:00 | 2.464 | 185.96 | 2.555 | 161.293 | 2.655 | 181.868 | 2.773 | 162.115 | 21.65 | 878 | 88.44 | 3.6287
2020-07-05 20:30:00 | 2.338 | 173.92 | 2.394 | 168.725 | 2.522 | 170.094 | 2.578 | 169.587 | 21.55 | 878 | 89.74 | 3.4433
2020-07-05 20:45:00 | 1.634 | 197.23 | 1.713 | 181.429 | 1.698 | 192.89 | 1.831 | 182.357 | 21.58 | 878 | 91.06 | 1.408
2020-07-05 21:00:00 | 1.6613 | 194.38 | 1.698 | 184.7707 | 1.7327 | 190.1033 | 1.7827 | 185.714 | 21.7133 | 878 | 91.0067 | 1.3553
2020-07-05 21:15:00 | 1.7907 | 204.8067 | 1.876 | 199.7847 | 1.76 | 200.3013 | 1.9347 | 200.8073 | 21.7933 | 878 | 91.08 | 0.80667
2020-07-05 21:30:00 | 2.3993 | 195.22 | 2.4633 | 180.6893 | 2.5553 | 190.9253 | 2.636 | 181.6133 | 21.6867 | 878 | 91.5333 | 3.3947
2020-07-05 21:45:00 | 2.07 | 178.8 | 2.066 | 162.25 | 2.128 | 174.868 | 2.102 | 163.078 | 21.64 | 878 | 92.3 | 1.516
2020-07-05 22:00:00 | 1.462 | 170.96 | 1.502 | 169.194 | 1.568 | 167.198 | 1.618 | 170.058 | 21.46 | 878 | 92.88 | 1.4373
2020-07-05 22:15:00 | 1.782 | 173.12 | 1.792 | 159.492 | 1.884 | 169.31 | 1.88 | 160.31 | 21.22 | 878 | 92.78 | 2.908
2020-07-05 22:30:00 | 1.87 | 173.48 | 1.922 | 165.828 | 2.024 | 169.664 | 2.076 | 166.678 | 21.22 | 878 | 93.6 | 1.9787
2020-07-05 22:45:00 | 1.651 | 208.92 | 1.667 | 209.908 | 1.461 | 204.326 | 1.546 | 210.98 | 21.98 | 878 | 95.07 | 1.348
2020-07-05 23:00:00 | 1.427 | 220.91 | 1.549 | 195.571 | 1.355 | 216.049 | 1.61 | 196.57 | 22.59 | 878 | 94.08 | 0.87333
2020-07-05 23:15:00 | 0.843 | 217.81 | 0.897 | 210.533 | 0.912 | 213.019 | 0.994 | 211.61 | 22.56 | 878 | 92.98 | 0
2020-07-05 23:30:00 | 1.53 | 245.36 | 1.583 | 217.517 | 1.347 | 239.962 | 1.503 | 218.63 | 22.92 | 878 | 90.22 | 0
2020-07-05 23:45:00 | 0.967 | 190.63 | 1.002 | 292.657 | 0.929 | 186.436 | 1.008 | 294.154 | 23.2 | 878 | 88.79 | 0