## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-06 00:00:00 | 0.736 | 269.69 | 0.768 | 315.219 | 0.739 | 263.757 | 0.798 | 316.832 | 23.44 | 878 | 87.26 | 0
2020-07-06 00:15:00 | 1.3286 | 22.1643 | 1.3329 | 310.5221 | 1.5429 | 21.6764 | 1.4864 | 312.1086 | 23.0214 | 877.8333 | 89.6833 | 0
2020-07-06 00:30:00 | 1.5567 | 34.4933 | 1.5467 | 309.8373 | 1.6947 | 33.8127 | 1.64 | 311.4213 | 22.7933 | 877 | 91.46 | 0
2020-07-06 00:45:00 | 2.122 | 33.7267 | 2.1373 | 326.3273 | 2.278 | 32.9973 | 2.2613 | 327.9953 | 22.4867 | 877 | 91.5333 | 0
2020-07-06 01:00:00 | 2.56 | 12.42 | 2.622 | 324.91 | 2.93 | 12.146 | 2.944 | 326.57 | 22.3 | 877 | 93.28 | 0.035333
2020-07-06 01:15:00 | 2.186 | 158.9 | 2.214 | 317.604 | 2.416 | 155.405 | 2.404 | 319.228 | 22.58 | 877 | 94.09 | 0.28733
2020-07-06 01:30:00 | 1.957 | 179.53 | 2.021 | 336.775 | 2.179 | 175.581 | 2.236 | 338.496 | 22.59 | 876.1 | 93.79 | 0
2020-07-06 01:45:00 | 1.855 | 81.94 | 1.95 | 308.5 | 2.119 | 80.138 | 2.226 | 310.078 | 22.53 | 876 | 92.76 | 0
2020-07-06 02:00:00 | 2.504 | 75.65 | 2.614 | 342.417 | 2.772 | 73.984 | 2.906 | 344.169 | 22.66 | 876 | 92.77 | 0.044667
2020-07-06 02:15:00 | 2.7147 | 192.7667 | 2.7813 | 329.038 | 3.1733 | 188.5267 | 3.1693 | 330.72 | 21.96 | 876 | 93.2467 | 1.802
2020-07-06 02:30:00 | 2.744 | 202.86 | 2.824 | 332.814 | 3.238 | 198.394 | 3.248 | 334.514 | 21.86 | 876 | 94.32 | 3.082
2020-07-06 02:45:00 | 3.165 | 148.6 | 3.229 | 332.335 | 3.8 | 145.33 | 3.735 | 334.034 | 22.15 | 876 | 94.26 | 4.3733
2020-07-06 03:00:00 | 3.0047 | 119.7867 | 3.054 | 329.2527 | 3.6593 | 117.1513 | 3.5707 | 330.936 | 22.2267 | 876 | 95.3933 | 3.82
2020-07-06 03:15:00 | 2.5147 | 149.94 | 2.5073 | 330.5507 | 2.952 | 146.6413 | 2.814 | 332.24 | 22.1867 | 876 | 96.5267 | 1.4113
2020-07-06 03:30:00 | 2.058 | 213.98 | 1.996 | 337.7 | 2.446 | 209.272 | 2.214 | 339.43 | 22.1 | 876 | 96.88 | 0.86667
2020-07-06 03:45:00 | 2.692 | 273.84 | 2.686 | 330.856 | 3.178 | 267.816 | 3.026 | 332.548 | 21.54 | 876 | 97.16 | 2.3567
2020-07-06 04:00:00 | 2.81 | 270.55 | 2.794 | 323.161 | 3.181 | 264.596 | 3.047 | 324.813 | 21.09 | 876 | 97.93 | 2.6927
2020-07-06 04:15:00 | 2.801 | 346.7 | 2.826 | 318.943 | 3.183 | 339.072 | 3.122 | 320.576 | 21.4 | 876 | 97.96 | 2.368
2020-07-06 04:30:00 | 2.97 | 205.79 | 3.01 | 328.05 | 3.613 | 201.261 | 3.506 | 329.727 | 21.5 | 876 | 98.1 | 3.5793
2020-07-06 04:45:00 | 3.15 | 275.47 | 3.257 | 327.151 | 3.72 | 269.41 | 3.763 | 328.823 | 21.53 | 876 | 97.98 | 3.7633
2020-07-06 05:00:00 | 2.899 | 272.91 | 2.97 | 326.417 | 3.265 | 266.907 | 3.299 | 328.085 | 21.43 | 876 | 96.82 | 3.1567
2020-07-06 05:15:00 | 2.9807 | 336.6 | 3.1571 | 329.4671 | 3.3464 | 329.1943 | 3.5793 | 331.1521 | 21.1857 | 876 | 96.7615 | 2.654
2020-07-06 05:30:00 | 3.1567 | 340.88 | 3.356 | 322.16 | 3.6 | 333.3813 | 3.8533 | 323.8073 | 21.1533 | 876 | 98.2333 | 3.3153
2020-07-06 05:45:00 | 3.0973 | 339.3067 | 3.2353 | 318.7433 | 3.582 | 331.8427 | 3.7027 | 320.372 | 21.1733 | 876 | 99.1067 | 4.206
2020-07-06 06:00:00 | 2.9653 | 339.2133 | 3.1253 | 323.0133 | 3.4567 | 331.752 | 3.6187 | 324.6653 | 21.2667 | 876 | 99.6867 | 3.3473
2020-07-06 06:15:00 | 2.734 | 339.32 | 2.922 | 321.664 | 3.066 | 331.854 | 3.326 | 323.306 | 21.14 | 876 | 99.8 | 2.4187
2020-07-06 06:30:00 | 3.012 | 280.18 | 3.186 | 315.894 | 3.272 | 274.016 | 3.53 | 317.51 | 21.18 | 876 | 99.98 | 4.3787
2020-07-06 06:45:00 | 3.282 | 352.64 | 3.412 | 321.174 | 3.788 | 344.882 | 3.898 | 322.816 | 21.88 | 876 | 100 | 3.53
2020-07-06 07:00:00 | 2.868 | 349.64 | 3.002 | 319.18 | 3.434 | 341.948 | 3.53 | 320.812 | 21.78 | 876 | 99.34 | 3.3373
2020-07-06 07:15:00 | 3.193 | 349.7 | 3.35 | 320.412 | 3.736 | 342.006 | 3.88 | 322.05 | 21.52 | 877 | 94.18 | 4.618
2020-07-06 07:30:00 | 3.109 | 300.72 | 3.195 | 319.837 | 3.683 | 294.102 | 3.682 | 321.472 | 21.6 | 877.9 | 91.32 | 4.3873
2020-07-06 07:45:00 | 3.515 | 277.64 | 3.739 | 327.474 | 4.05 | 271.533 | 4.32 | 329.147 | 21.66 | 878 | 89.1 | 6.2673
2020-07-06 08:00:00 | 3.677 | 211.6 | 3.862 | 330.046 | 4.278 | 206.945 | 4.453 | 331.733 | 21.93 | 878.9 | 86.33 | 6.546
2020-07-06 08:15:00 | 3.666 | 302.98 | 3.843 | 328.607 | 4.051 | 296.315 | 4.276 | 330.288 | 21.97 | 879 | 85.24 | 7.2647
2020-07-06 08:30:00 | 3.682 | 338.48 | 3.92 | 329.977 | 4.211 | 331.033 | 4.512 | 331.665 | 21.93 | 879.9 | 83.45 | 10.146
2020-07-06 08:45:00 | 4.644 | 347.12 | 4.956 | 329.498 | 5.261 | 339.484 | 5.672 | 331.182 | 22.11 | 880 | 82.64 | 15.0313
2020-07-06 09:00:00 | 4.804 | 341.17 | 5.056 | 331.777 | 5.284 | 333.664 | 5.627 | 333.474 | 22.27 | 880 | 82.24 | 14.476
2020-07-06 09:15:00 | 4.3613 | 342.5933 | 4.6227 | 329.9173 | 4.9973 | 335.0567 | 5.3133 | 331.604 | 22.5533 | 880 | 82.2667 | 12.158
2020-07-06 09:30:00 | 4.3353 | 342.18 | 4.622 | 335.0493 | 4.9233 | 334.652 | 5.2993 | 336.7633 | 22.8133 | 880 | 81.276 | 10.484
2020-07-06 09:45:00 | 4.248 | 344.4 | 4.472 | 331.072 | 5.09 | 336.824 | 5.278 | 332.764 | 23.06 | 880 | 78.818 | 10.3567
2020-07-06 10:00:00 | 3.928 | 340.6 | 4.226 | 300.334 | 4.719 | 333.105 | 5.054 | 301.871 | 23.57 | 880.9 | 74.832 | 9.0093
2020-07-06 10:15:00 | 3.895 | 343.37 | 4.184 | 239.572 | 4.72 | 335.815 | 5.032 | 240.797 | 24.07 | 881 | 73.208 | 9.3987
2020-07-06 10:30:00 | 3.976 | 311.23 | 4.236 | 238.524 | 4.796 | 304.384 | 5.054 | 239.744 | 24.41 | 881 | 70.689 | 9.35
2020-07-06 10:45:00 | 3.6621 | 297.4857 | 3.9429 | 239.2329 | 4.2407 | 290.9414 | 4.6043 | 240.455 | 24.75 | 881 | 69.3043 | 5.816
2020-07-06 11:00:00 | 3.0313 | 291.9333 | 3.2273 | 334.6447 | 3.6293 | 285.5113 | 3.826 | 336.3567 | 25.1067 | 881 | 69.1513 | 2.9647
2020-07-06 11:15:00 | 2.1913 | 249.9 | 2.2287 | 291.1313 | 2.7333 | 244.4013 | 2.6467 | 292.6207 | 25.6333 | 881 | 69.5307 | 0.55333
2020-07-06 11:30:00 | 1.89 | 153.9667 | 1.9587 | 247.082 | 2.304 | 150.5807 | 2.3153 | 248.3453 | 26.2533 | 881 | 69.7413 | 0
2020-07-06 11:45:00 | 1.3407 | 146.66 | 1.3233 | 317.2047 | 1.7413 | 143.434 | 1.594 | 318.8267 | 26.54 | 881 | 69.956 | 0
2020-07-06 12:00:00 | 0.914 | 176.8 | 0.95 | 264.206 | 1.316 | 172.91 | 1.263 | 265.556 | 27.3 | 881 | 69.483 | 0
2020-07-06 12:15:00 | 0.952 | 37.89 | 1.049 | 303.414 | 1.095 | 37.056 | 1.234 | 304.967 | 28.17 | 880.6 | 65.428 | 0
2020-07-06 12:30:00 | 1.167 | 185.75 | 1.306 | 162.748 | 1.366 | 181.664 | 1.574 | 163.58 | 28.6 | 880 | 64.388 | 0
2020-07-06 12:45:00 | 2.122 | 182.33 | 2.176 | 139.032 | 2.424 | 178.319 | 2.445 | 139.744 | 27.98 | 880 | 66.446 | 0
2020-07-06 13:00:00 | 1.926 | 195.35 | 1.954 | 135.179 | 1.951 | 191.051 | 2.002 | 135.87 | 27.94 | 880 | 68.062 | 0
2020-07-06 13:15:00 | 1.932 | 198.66 | 1.978 | 138.759 | 1.965 | 194.29 | 2.046 | 139.467 | 28.1 | 880 | 70.02 | 0
2020-07-06 13:30:00 | 2.321 | 189.43 | 2.396 | 141.283 | 2.42 | 185.263 | 2.535 | 142.004 | 28.14 | 880 | 68.386 | 0.060667
2020-07-06 13:45:00 | 2.234 | 217.25 | 2.25 | 142.094 | 2.48 | 212.47 | 2.442 | 142.82 | 28.74 | 880 | 65.498 | 0.041333
2020-07-06 14:00:00 | 2.5233 | 191.1267 | 2.6793 | 146.5747 | 2.9393 | 186.9227 | 3.116 | 147.3267 | 28.8933 | 880 | 61.828 | 0.64733
2020-07-06 14:15:00 | 2.862 | 185.1 | 2.964 | 129.312 | 3.138 | 181.028 | 3.258 | 129.972 | 28.68 | 880 | 60.14 | 1.8813
2020-07-06 14:30:00 | 2.427 | 181.67 | 2.606 | 141.936 | 2.882 | 177.672 | 3.09 | 142.662 | 28.74 | 880 | 63.922 | 2.346
2020-07-06 14:45:00 | 2.745 | 197.8 | 2.791 | 145.526 | 2.839 | 193.449 | 2.902 | 146.272 | 28.81 | 880 | 61.06 | 2.0307
2020-07-06 15:00:00 | 2.461 | 183.33 | 2.451 | 131.14 | 2.768 | 179.296 | 2.661 | 131.809 | 28.67 | 880 | 57.788 | 2.166
2020-07-06 15:15:00 | 2.451 | 183.38 | 2.553 | 159.404 | 2.625 | 179.345 | 2.771 | 160.218 | 28.59 | 880 | 58.142 | 2.336
2020-07-06 15:30:00 | 2.3967 | 181.5 | 2.518 | 155.4567 | 2.6767 | 177.5073 | 2.83 | 156.2507 | 28.5867 | 880 | 59.978 | 3.1113
2020-07-06 15:45:00 | 2.3273 | 198.76 | 2.396 | 164.454 | 2.65 | 194.388 | 2.6853 | 165.2933 | 28.4667 | 880 | 60.1067 | 2.9813
2020-07-06 16:00:00 | 2.1593 | 174.1933 | 2.274 | 153.1673 | 2.6087 | 169.99 | 2.682 | 152.838 | 29.1267 | 880 | 60.556 | 2.1373
2020-07-06 16:15:00 | 2.5767 | 184.5533 | 2.71 | 159.5127 | 2.886 | 179.352 | 3.042 | 160.328 | 29.2667 | 880 | 59.38 | 1.8333
2020-07-06 16:30:00 | 2.762 | 189.52 | 2.928 | 166.614 | 3.238 | 182.36 | 3.388 | 167.464 | 29 | 880 | 58.99 | 2.8333
2020-07-06 16:45:00 | 2.219 | 192.92 | 2.313 | 171.669 | 2.486 | 188.676 | 2.59 | 172.548 | 28.48 | 880 | 61.487 | 1.8427
2020-07-06 17:00:00 | 2.048 | 200.29 | 2.142 | 170.748 | 2.209 | 195.883 | 2.337 | 171.623 | 28.92 | 880 | 61.734 | 1.218
2020-07-06 17:15:00 | 1.929 | 181.73 | 2.134 | 132.773 | 2.385 | 177.732 | 2.641 | 133.453 | 29.59 | 880 | 61.23 | 1.2313
2020-07-06 17:30:00 | 2.311 | 172.25 | 2.437 | 146.602 | 2.676 | 168.069 | 2.773 | 147.352 | 29.04 | 880 | 59.632 | 2.394
2020-07-06 17:45:00 | 2.157 | 177 | 2.253 | 164.597 | 2.435 | 173.107 | 2.539 | 165.439 | 29.04 | 880 | 62.491 | 2.536
2020-07-06 18:00:00 | 2.561 | 161.33 | 2.684 | 165.136 | 2.789 | 157.781 | 2.959 | 165.979 | 28.41 | 880 | 61.645 | 2.538
2020-07-06 18:15:00 | 2.407 | 142.8 | 2.52 | 150.681 | 2.861 | 139.658 | 2.939 | 151.449 | 28.7 | 880 | 64.536 | 2.0253
2020-07-06 18:30:00 | 2.247 | 166.77 | 2.344 | 167.258 | 2.536 | 163.1 | 2.637 | 168.111 | 28.4 | 880 | 65.01 | 2.478
2020-07-06 18:45:00 | 3.02 | 181.13 | 3.257 | 168.127 | 3.245 | 177.145 | 3.628 | 168.987 | 28.32 | 880 | 66.532 | 5.0633
2020-07-06 19:00:00 | 2.73 | 181.48 | 2.897 | 169.927 | 2.826 | 177.488 | 3.117 | 170.795 | 27.9 | 880 | 64.703 | 5.0553
2020-07-06 19:15:00 | 2.446 | 181.42 | 2.535 | 169.164 | 2.447 | 177.428 | 2.614 | 170.03 | 27.55 | 880 | 64.164 | 3.396
2020-07-06 19:30:00 | 2.472 | 144.97 | 2.575 | 159.032 | 2.654 | 141.781 | 2.803 | 159.844 | 27.47 | 880 | 65.478 | 3.0153
2020-07-06 19:45:00 | 2.714 | 139.79 | 2.862 | 149.821 | 3.047 | 136.714 | 3.232 | 150.586 | 27.04 | 880 | 70.167 | 3.652
2020-07-06 20:00:00 | 2.383 | 149.27 | 2.489 | 149.438 | 2.731 | 146.641 | 2.831 | 150.201 | 26.84 | 880 | 72.171 | 3.2767
2020-07-06 20:15:00 | 1.9886 | 161.5571 | 2.0729 | 165.2479 | 2.2457 | 158.0021 | 2.3271 | 166.0921 | 26.7571 | 879.4286 | 72.3921 | 3.0147
2020-07-06 20:30:00 | 1.9327 | 169.8533 | 1.9827 | 167.102 | 2.1113 | 165.8353 | 2.1527 | 167.956 | 26.7533 | 879 | 72.86 | 2.3913
2020-07-06 20:45:00 | 2.0613 | 138.6667 | 2.166 | 148.728 | 2.38 | 135.616 | 2.4893 | 149.488 | 26.6933 | 879 | 73.51 | 1.784
2020-07-06 21:00:00 | 2.518 | 125.3 | 2.61 | 129.704 | 2.896 | 122.542 | 2.96 | 130.364 | 26.16 | 879 | 74.67 | 3.844
2020-07-06 21:15:00 | 2.614 | 125.84 | 2.724 | 130.328 | 2.878 | 123.072 | 3.012 | 130.994 | 25.72 | 879 | 76.73 | 3.7727
2020-07-06 21:30:00 | 2.372 | 130.96 | 2.43 | 127.238 | 2.864 | 128.08 | 2.834 | 127.89 | 25.54 | 879 | 77.78 | 2.9953
2020-07-06 21:45:00 | 2.64 | 119.4889 | 2.8456 | 124.12 | 2.9522 | 116.6644 | 3.2444 | 124.7556 | 25.3 | 879.3333 | 79.7522 | 3.344
2020-07-06 22:00:00 | 2.4311 | 119.8222 | 2.5956 | 120 | 2.7567 | 117.5756 | 2.9733 | 118.7356 | 25.0889 | 880 | 81.5857 | 2.4953
2020-07-06 22:15:00 | 1.938 | 124.66 | 2.036 | 125.436 | 2.116 | 121.918 | 2.252 | 126.078 | 25.1 | 880 | 83.4 | 1.666
2020-07-06 22:30:00 | 2.3622 | 123.9111 | 2.5111 | 126.6622 | 2.66 | 121.1856 | 2.8567 | 127.31 | 24.9444 | 880 | 84.4333 | 2.784
2020-07-06 22:45:00 | 2.628 | 128.86 | 2.762 | 127.102 | 2.951 | 126.025 | 3.109 | 127.75 | 24.73 | 880 | 84.88 | 3.828
2020-07-06 23:00:00 | 2.606 | 120.28 | 2.753 | 129.829 | 2.966 | 117.634 | 3.142 | 130.493 | 24.59 | 880 | 85.05 | 3.742
2020-07-06 23:15:00 | 2.683 | 124.63 | 2.846 | 131.902 | 3.046 | 121.889 | 3.246 | 132.577 | 24.62 | 880 | 85.26 | 3.8433
2020-07-06 23:30:00 | 2.494 | 134.64 | 2.626 | 130.73 | 2.911 | 131.678 | 3.047 | 131.398 | 24.24 | 880 | 85.93 | 2.136
2020-07-06 23:45:00 | 1.968 | 152.68 | 2.042 | 133.606 | 2.407 | 149.321 | 2.421 | 134.288 | 24.17 | 880 | 86.6 | 1.0233