## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-07 00:00:00 | 1.834 | 156.45 | 1.926 | 134.113 | 2.124 | 153.008 | 2.216 | 134.799 | 24.02 | 880 | 86.36 | 0.79067
2020-07-07 00:15:00 | 1.679 | 177.67 | 1.76 | 158.906 | 1.848 | 173.76 | 1.953 | 159.719 | 24.01 | 880 | 88.22 | 1.962
2020-07-07 00:30:00 | 2.127 | 198.58 | 2.234 | 178.152 | 2.218 | 194.21 | 2.398 | 179.064 | 24.14 | 880 | 89.48 | 2.6893
2020-07-07 00:45:00 | 2.243 | 189.68 | 2.285 | 164.391 | 2.323 | 185.508 | 2.38 | 165.232 | 23.92 | 880 | 90.68 | 3.0707
2020-07-07 01:00:00 | 2.2093 | 189.8667 | 2.228 | 169.9047 | 2.2893 | 185.69 | 2.3073 | 170.7713 | 23.7933 | 880 | 90.28 | 2.22
2020-07-07 01:15:00 | 1.822 | 168.58 | 1.8413 | 164.6507 | 1.9473 | 164.872 | 1.9507 | 165.4907 | 23.7933 | 880 | 89.7267 | 1.1313
2020-07-07 01:30:00 | 1.604 | 160.28 | 1.65 | 166.336 | 1.86 | 156.752 | 1.872 | 167.188 | 23.72 | 880 | 89.42 | 0.882
2020-07-07 01:45:00 | 1.542 | 140.9 | 1.596 | 138.994 | 1.777 | 137.799 | 1.814 | 139.705 | 23.51 | 880 | 88.96 | 0.27667
2020-07-07 02:00:00 | 1.811 | 140.2 | 1.893 | 133.399 | 2.029 | 137.116 | 2.127 | 134.081 | 23.3 | 880 | 88.66 | 0.294
2020-07-07 02:15:00 | 1.764 | 146.49 | 1.861 | 135.11 | 2.046 | 143.267 | 2.151 | 135.802 | 23.29 | 880 | 88.76 | 0.274
2020-07-07 02:30:00 | 1.6064 | 119.2571 | 1.6886 | 123.7457 | 1.8014 | 116.0964 | 1.9086 | 124.3764 | 23.4857 | 880 | 89.4286 | 0
2020-07-07 02:45:00 | 1.486 | 130.96 | 1.528 | 117.79 | 1.665 | 128.079 | 1.696 | 118.392 | 23.61 | 879.6 | 90.11 | 0
2020-07-07 03:00:00 | 1.761 | 144.2 | 1.86 | 134.476 | 1.97 | 141.028 | 2.094 | 135.163 | 23.46 | 879 | 90.28 | 0
2020-07-07 03:15:00 | 2.056 | 152.84 | 2.138 | 149.478 | 2.184 | 150.278 | 2.31 | 150.242 | 23.34 | 879 | 88.92 | 0.468
2020-07-07 03:30:00 | 1.924 | 142.92 | 2.044 | 143.276 | 2.242 | 139.774 | 2.372 | 144.01 | 23.2 | 879 | 87.3 | 0.24933
2020-07-07 03:45:00 | 1.78 | 130.61 | 1.906 | 144.578 | 2.087 | 127.738 | 2.238 | 145.317 | 23.27 | 879 | 90.81 | 0
2020-07-07 04:00:00 | 1.649 | 137.69 | 1.768 | 132.471 | 1.964 | 134.661 | 2.103 | 133.146 | 23.49 | 879 | 90.1 | 0
2020-07-07 04:15:00 | 1.3914 | 106.6786 | 1.43 | 107.9721 | 1.5293 | 104.3321 | 1.5607 | 108.5236 | 23.6357 | 879 | 88.7214 | 0
2020-07-07 04:30:00 | 0.986 | 162.72 | 1.068 | 144.156 | 1.106 | 159.14 | 1.222 | 144.896 | 23.62 | 879 | 88.2 | 0
2020-07-07 04:45:00 | 1.388 | 163.02 | 1.47 | 150.63 | 1.62 | 159.434 | 1.712 | 151.402 | 23.52 | 879 | 88.56 | 0
2020-07-07 05:00:00 | 1.009 | 176.18 | 1.053 | 153.987 | 1.195 | 172.302 | 1.221 | 154.775 | 23.43 | 879 | 89.2 | 0
2020-07-07 05:15:00 | 0.436 | 185.16 | 0.477 | 170.602 | 0.574 | 181.292 | 0.609 | 171.476 | 23.63 | 879 | 88.9 | 0
2020-07-07 05:30:00 | 0.602 | 206.3 | 0.71 | 220.744 | 0.745 | 201.761 | 0.901 | 221.873 | 23.72 | 879 | 86.93 | 0
2020-07-07 05:45:00 | 0.301 | 187.32 | 0.333 | 187.923 | 0.355 | 183.2 | 0.401 | 188.884 | 23.98 | 880 | 86.9 | 0
2020-07-07 06:00:00 | 0.252 | 173.76 | 0.281 | 138.278 | 0.278 | 169.937 | 0.323 | 138.986 | 24.01 | 880 | 86.55 | 0
2020-07-07 06:15:00 | 0.469 | 199.19 | 0.425 | 19.257 | 0.474 | 194.808 | 0.391 | 19.355 | 23.79 | 880 | 87.53 | 0
2020-07-07 06:30:00 | 0.353 | 281.01 | 0.407 | 307.971 | 0.386 | 274.829 | 0.473 | 309.546 | 23.99 | 880 | 89.73 | 0
2020-07-07 06:45:00 | 0.665 | 350.23 | 0.696 | 328.177 | 0.87 | 342.527 | 0.868 | 329.857 | 24.01 | 880 | 89.66 | 0
2020-07-07 07:00:00 | 1.354 | 347.68 | 1.382 | 326.69 | 1.22 | 340.032 | 1.312 | 328.362 | 23.84 | 880 | 90.52 | 0
2020-07-07 07:15:00 | 1.214 | 139.74 | 1.2 | 321.566 | 1.44 | 136.666 | 1.342 | 323.212 | 23.8 | 880 | 92.4 | 0
2020-07-07 07:30:00 | 1.116 | 312.76 | 1.138 | 315.132 | 1.235 | 305.879 | 1.242 | 316.742 | 23.62 | 880 | 93.31 | 0
2020-07-07 07:45:00 | 1.552 | 334.67 | 1.578 | 315.014 | 1.675 | 327.308 | 1.695 | 316.625 | 23.52 | 880.4 | 92.59 | 0
2020-07-07 08:00:00 | 1.836 | 328.28 | 1.944 | 331.514 | 2.324 | 321.058 | 2.391 | 333.209 | 23.7 | 881 | 92.09 | 0
2020-07-07 08:15:00 | 1.153 | 200.86 | 1.188 | 300.02 | 1.516 | 196.44 | 1.475 | 301.555 | 23.66 | 881 | 91.16 | 0
2020-07-07 08:30:00 | 0.752 | 210.87 | 0.772 | 205.086 | 0.935 | 206.232 | 0.919 | 206.135 | 24.04 | 881 | 87.48 | 0
2020-07-07 08:45:00 | 1.219 | 245.19 | 1.299 | 107.51 | 1.559 | 239.797 | 1.61 | 108.063 | 24.1 | 882 | 85.42 | 0
2020-07-07 09:00:00 | 1.603 | 340.04 | 1.703 | 278.749 | 1.646 | 332.559 | 1.824 | 280.174 | 24.13 | 882 | 87.2 | 0
2020-07-07 09:15:00 | 1.3227 | 314.62 | 1.4833 | 227.894 | 1.5893 | 307.6987 | 1.8153 | 229.058 | 24.1867 | 882 | 86.3867 | 0
2020-07-07 09:30:00 | 1.1 | 338.22 | 1.234 | 210.308 | 1.498 | 330.776 | 1.64 | 211.382 | 24.22 | 882 | 85.32 | 0
2020-07-07 09:45:00 | 1.398 | 307.16 | 1.556 | 339.992 | 1.814 | 300.405 | 1.992 | 341.73 | 24.42 | 882 | 85.3 | 0
2020-07-07 10:00:00 | 1.118 | 236.66 | 1.248 | 275.404 | 1.461 | 231.453 | 1.606 | 276.814 | 24.19 | 882 | 85.96 | 0
2020-07-07 10:15:00 | 1.116 | 185.1 | 1.157 | 239.726 | 1.366 | 181.028 | 1.376 | 240.952 | 24.2 | 882 | 86.07 | 0
2020-07-07 10:30:00 | 1.055 | 110.88 | 1.109 | 322.006 | 1.315 | 134.768 | 1.362 | 323.654 | 24.65 | 882 | 85.62 | 0
2020-07-07 10:45:00 | 1.144 | 303.35 | 1.24 | 180.744 | 1.363 | 296.673 | 1.481 | 181.667 | 24.64 | 882 | 85.38 | 0
2020-07-07 11:00:00 | 1.27 | 336.82 | 1.381 | 331.396 | 1.426 | 329.41 | 1.592 | 333.089 | 25.13 | 882 | 82.4 | 0
2020-07-07 11:15:00 | 1.165 | 230.98 | 1.243 | 295.16 | 1.325 | 225.898 | 1.427 | 296.669 | 25.76 | 882 | 79.993 | 0
2020-07-07 11:30:00 | 1.115 | 228.79 | 1.162 | 213.389 | 1.361 | 223.756 | 1.376 | 214.481 | 25.85 | 882.9 | 79.656 | 0
2020-07-07 11:45:00 | 0.968 | 260.11 | 0.984 | 210.603 | 1.055 | 254.386 | 1.059 | 211.678 | 25.86 | 883 | 79.458 | 0
2020-07-07 12:00:00 | 0.81 | 165.32 | 0.788 | 239.914 | 1.017 | 161.682 | 0.914 | 241.141 | 26.24 | 883 | 78.233 | 0
2020-07-07 12:15:00 | 0.916 | 208.65 | 0.88 | 200.695 | 0.95 | 204.06 | 0.874 | 201.721 | 25.98 | 883 | 77.965 | 0
2020-07-07 12:30:00 | 0.985 | 211.69 | 0.891 | 340.199 | 0.866 | 207.032 | 0.726 | 341.936 | 25.75 | 883 | 79.675 | 0
2020-07-07 12:45:00 | 0.613 | 234.33 | 0.613 | 299.444 | 0.641 | 233.86 | 0.609 | 300.976 | 25.99 | 883 | 79.127 | 0
2020-07-07 13:00:00 | 0.806 | 85.34 | 0.831 | 262.024 | 0.726 | 83.462 | 0.798 | 263.364 | 26 | 883 | 80.29 | 0
2020-07-07 13:15:00 | 0.585 | 96.63 | 0.557 | 282.115 | 0.536 | 94.506 | 0.5 | 283.555 | 25.96 | 882 | 87.09 | 0
2020-07-07 13:30:00 | 0.453 | 126.64 | 0.466 | 185.839 | 0.563 | 123.856 | 0.552 | 186.791 | 26.62 | 882 | 86.41 | 0
2020-07-07 13:45:00 | 0.648 | 191.81 | 0.717 | 207.941 | 0.858 | 187.59 | 0.926 | 209.006 | 26.88 | 882 | 83.03 | 0
2020-07-07 14:00:00 | 0.797 | 149.89 | 0.864 | 158.709 | 1.109 | 146.593 | 1.147 | 159.521 | 27.36 | 882 | 80.902 | 0
2020-07-07 14:15:00 | 1.141 | 148.75 | 1.207 | 149.565 | 1.345 | 145.477 | 1.408 | 150.331 | 27.3 | 882.4 | 81.153 | 0
2020-07-07 14:30:00 | 0.855 | 184.42 | 0.908 | 154.867 | 1.13 | 184.02 | 1.145 | 155.659 | 28.08 | 883 | 76.468 | 0
2020-07-07 14:45:00 | 0.862 | 203.93 | 0.88 | 114.817 | 0.8 | 199.443 | 0.851 | 115.404 | 27.67 | 883 | 73.522 | 0
2020-07-07 15:00:00 | 0.969 | 224.83 | 1.083 | 183.169 | 0.974 | 219.883 | 1.189 | 184.105 | 27.78 | 883 | 71.895 | 0
2020-07-07 15:15:00 | 1.299 | 224.44 | 1.388 | 168.656 | 1.525 | 219.503 | 1.629 | 169.519 | 27.64 | 883 | 69.636 | 0
2020-07-07 15:30:00 | 1.635 | 188.23 | 1.749 | 144.519 | 1.949 | 184.089 | 2.077 | 145.257 | 27.51 | 883 | 76.072 | 0
2020-07-07 15:45:00 | 1.559 | 210.9 | 1.667 | 144.449 | 1.568 | 206.258 | 1.767 | 145.188 | 27.43 | 882.6 | 80.53 | 0
2020-07-07 16:00:00 | 1.498 | 200.6267 | 1.554 | 151.498 | 1.5887 | 196.214 | 1.6693 | 152.2727 | 27.5933 | 882 | 78.1267 | 0
2020-07-07 16:15:00 | 1.6713 | 190.7 | 1.7087 | 145.436 | 1.6193 | 186.3927 | 1.7073 | 146.1773 | 27.3933 | 882 | 78.2993 | 0
2020-07-07 16:30:00 | 1.538 | 190.1 | 1.616 | 136.744 | 1.612 | 185.92 | 1.732 | 137.442 | 27.54 | 882 | 78.814 | 0
2020-07-07 16:45:00 | 1.159 | 190.36 | 1.209 | 149.371 | 1.203 | 186.174 | 1.285 | 150.134 | 28.08 | 882 | 77.318 | 0
2020-07-07 17:00:00 | 1.0236 | 45.45 | 1.1257 | 123.9471 | 1.2057 | 45.0093 | 1.3421 | 124.5807 | 29.2571 | 882 | 75.0225 | 0
2020-07-07 17:15:00 | 1.7813 | 64.38 | 1.836 | 62.116 | 1.9513 | 62.9647 | 2.0087 | 62.4347 | 27.2867 | 882 | 77.9987 | 0
2020-07-07 17:30:00 | 0.876 | 223.7133 | 0.93867 | 270.032 | 1.052 | 218.7913 | 1.1187 | 271.412 | 27.3467 | 882 | 83.4267 | 0.098667
2020-07-07 17:45:00 | 1.9187 | 195.7733 | 2.0233 | 217.6567 | 2.2433 | 191.466 | 2.348 | 218.77 | 27.0533 | 881.4 | 80.7367 | 0
2020-07-07 18:00:00 | 2.398 | 179.56 | 2.436 | 183.708 | 2.62 | 175.61 | 2.634 | 184.648 | 26.46 | 881 | 81.26 | 0.77467
2020-07-07 18:15:00 | 1.917 | 162.47 | 1.959 | 155.404 | 1.966 | 158.895 | 2.031 | 156.198 | 26.8 | 880 | 89.42 | 1.01
2020-07-07 18:30:00 | 2.031 | 133.81 | 2.116 | 156.979 | 2.144 | 130.868 | 2.279 | 157.782 | 26.93 | 880.9 | 88.34 | 1.3813
2020-07-07 18:45:00 | 3.343 | 142.06 | 3.641 | 135.982 | 3.667 | 138.935 | 4.141 | 136.677 | 26.49 | 881 | 84.98 | 8.0153
2020-07-07 19:00:00 | 3.431 | 140.34 | 3.456 | 129.263 | 3.762 | 137.253 | 3.721 | 129.923 | 24.96 | 881 | 86.29 | 9.4907
2020-07-07 19:15:00 | 2.12 | 118.54 | 2.131 | 133.439 | 2.381 | 115.932 | 2.329 | 134.121 | 24.12 | 881 | 86.01 | 4.2313
2020-07-07 19:30:00 | 1.816 | 132.18 | 1.938 | 126.307 | 2.139 | 129.273 | 2.277 | 126.955 | 25.96 | 881 | 86.49 | 1.574
2020-07-07 19:45:00 | 2.91 | 182.65 | 3.108 | 184.695 | 2.949 | 178.631 | 3.314 | 185.639 | 24.6 | 880.4 | 89.42 | 1.7133
2020-07-07 20:00:00 | 2.192 | 144.06 | 2.2553 | 149.8627 | 2.3987 | 140.89 | 2.458 | 150.628 | 25.4333 | 880.0667 | 87.1733 | 2.8313
2020-07-07 20:15:00 | 1.5907 | 176.3867 | 1.6473 | 163.9393 | 1.7467 | 172.5067 | 1.8093 | 164.7773 | 25.5333 | 880 | 76.4833 | 0.61467
2020-07-07 20:30:00 | 1.432 | 163.9467 | 1.4553 | 166.1353 | 1.5647 | 160.3387 | 1.568 | 166.9853 | 26.1067 | 880.2667 | 70.7053 | 0.03
2020-07-07 20:45:00 | 1.3933 | 180.4533 | 1.4333 | 169.4353 | 1.4567 | 176.4833 | 1.5147 | 170.3007 | 26.2 | 881 | 66.248 | 0
2020-07-07 21:00:00 | 1.072 | 177.82 | 1.124 | 153.368 | 1.09 | 173.264 | 1.19 | 154.154 | 26.2 | 881 | 65.658 | 0
2020-07-07 21:15:00 | 0.396 | 262.22 | 0.348 | 178.72 | 0.316 | 256.452 | 0.25 | 179.632 | 26.28 | 881 | 63.316 | 0
2020-07-07 21:30:00 | 0.85 | 187.1 | 0.852 | 163.316 | 0.683 | 182.983 | 0.734 | 164.152 | 26.45 | 881 | 64.268 | 0
2020-07-07 21:45:00 | 0.912 | 149.06 | 0.931 | 158.613 | 1.061 | 145.781 | 1.055 | 159.424 | 26.14 | 881 | 69.816 | 0
2020-07-07 22:00:00 | 1.745 | 167.53 | 1.839 | 148.244 | 1.934 | 163.844 | 2.063 | 149.003 | 25.13 | 881 | 77.053 | 0
2020-07-07 22:15:00 | 1.772 | 173.43 | 1.803 | 161.254 | 2.021 | 169.613 | 1.997 | 162.078 | 24.66 | 881 | 78.091 | 0
2020-07-07 22:30:00 | 1.882 | 168.31 | 1.938 | 170.22 | 2.128 | 164.607 | 2.165 | 171.091 | 24.4 | 881 | 87.3 | 0
2020-07-07 22:45:00 | 2.03 | 167.41 | 2.114 | 161.722 | 2.238 | 163.728 | 2.342 | 162.548 | 24.18 | 882 | 86.78 | 0.14133
2020-07-07 23:00:00 | 1.837 | 165.55 | 1.888 | 169.175 | 2.073 | 161.908 | 2.104 | 170.039 | 24.37 | 882 | 84.67 | 0.57467
2020-07-07 23:15:00 | 1.921 | 182.79 | 1.982 | 167.806 | 2.255 | 178.768 | 2.277 | 168.662 | 24.54 | 881.6 | 84.8 | 0.186
2020-07-07 23:30:00 | 1.6479 | 173.8857 | 1.6836 | 168.6279 | 1.8193 | 169.9207 | 1.835 | 169.4893 | 24.8 | 881.9231 | 81.8308 | 0
2020-07-07 23:45:00 | 1.552 | 194.1467 | 1.608 | 172.7273 | 1.666 | 189.8753 | 1.7433 | 173.6107 | 25.0533 | 882 | 79.104 | 0