## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-08 00:00:00 | 1.496 | 192.98 | 1.542 | 165.244 | 1.51 | 188.734 | 1.598 | 166.088 | 25.04 | 881.2 | 77.696 | 0
2020-07-08 00:15:00 | 1.718 | 204.65 | 1.781 | 186.887 | 1.652 | 200.294 | 1.799 | 187.843 | 24.82 | 881 | 78.216 | 0
2020-07-08 00:30:00 | 1.75 | 221.66 | 1.79 | 201.849 | 1.844 | 216.783 | 1.894 | 202.882 | 25.18 | 881.9 | 80.422 | 0
2020-07-08 00:45:00 | 0.955 | 169.94 | 0.888 | 192.382 | 0.862 | 166.201 | 0.768 | 193.366 | 25.1 | 881.4 | 78.505 | 0
2020-07-08 01:00:00 | 1.072 | 208.55 | 0.997 | 216.666 | 1.02 | 203.963 | 0.896 | 217.775 | 25.39 | 882 | 78.112 | 0
2020-07-08 01:15:00 | 0.6 | 145.9 | 0.576 | 175.433 | 0.777 | 142.69 | 0.68 | 176.33 | 24.76 | 881 | 78.17 | 0
2020-07-08 01:30:00 | 0.81533 | 118.04 | 0.82467 | 181.2507 | 0.93133 | 115.4433 | 0.91533 | 182.1753 | 24.78 | 881 | 80.2147 | 0
2020-07-08 01:45:00 | 0.82 | 125.1 | 0.948 | 204.44 | 1.03 | 122.348 | 1.208 | 205.488 | 24.88 | 881 | 83.56 | 0
2020-07-08 02:00:00 | 0.532 | 83.68 | 0.562 | 50.72 | 0.586 | 81.838 | 0.63 | 50.98 | 24.22 | 881 | 84.34 | 0
2020-07-08 02:15:00 | 0.555 | 83.61 | 0.572 | 171.072 | 0.62 | 81.771 | 0.634 | 171.946 | 24.39 | 881 | 84.05 | 0
2020-07-08 02:30:00 | 0.473 | 142.2 | 0.451 | 135.924 | 0.461 | 139.07 | 0.423 | 136.617 | 24.56 | 881 | 87.82 | 0
2020-07-08 02:45:00 | 0.234 | 121.28 | 0.244 | 54.024 | 0.348 | 118.612 | 0.33 | 54.302 | 24.64 | 881 | 88.24 | 0
2020-07-08 03:00:00 | 0.318 | 113.98 | 0.336 | 107.53 | 0.413 | 111.473 | 0.416 | 108.083 | 24.55 | 880 | 86.84 | 0
2020-07-08 03:15:00 | 0.105 | 172.03 | 0.117 | 143.298 | 0.213 | 168.245 | 0.205 | 144.029 | 24.78 | 880 | 91.66 | 0
2020-07-08 03:30:00 | 0.324 | 125 | 0.35 | 84.284 | 0.406 | 122.252 | 0.43 | 84.714 | 24.68 | 880 | 93.62 | 0
2020-07-08 03:45:00 | 0.499 | 234.53 | 0.493 | 319.778 | 0.832 | 229.369 | 0.726 | 321.413 | 24.03 | 880 | 95 | 0
2020-07-08 04:00:00 | 0.667 | 243.9 | 0.732 | 279.905 | 1.097 | 238.534 | 1.093 | 281.334 | 23.92 | 880 | 94.42 | 0
2020-07-08 04:15:00 | 0.977 | 190.84 | 0.998 | 330.505 | 1.313 | 186.641 | 1.256 | 332.195 | 23.71 | 880 | 94.73 | 0
2020-07-08 04:30:00 | 1.406 | 149.47 | 1.416 | 331.405 | 1.968 | 146.182 | 1.82 | 333.1 | 23.55 | 880 | 96.13 | 0
2020-07-08 04:45:00 | 1.519 | 279.76 | 1.551 | 336.471 | 2.057 | 273.605 | 1.961 | 338.19 | 23.35 | 880 | 97.08 | 0
2020-07-08 05:00:00 | 1.894 | 200.16 | 1.882 | 330.064 | 2.385 | 195.755 | 2.222 | 331.753 | 22.93 | 880 | 97.71 | 0
2020-07-08 05:15:00 | 1.2573 | 107.66 | 1.2513 | 334.0007 | 1.5967 | 105.2913 | 1.4893 | 335.7067 | 23.3867 | 880 | 98.52 | 0
2020-07-08 05:30:00 | 1.099 | 215.54 | 1.113 | 322.151 | 1.398 | 210.798 | 1.337 | 323.8 | 23.45 | 880 | 98.6 | 0
2020-07-08 05:45:00 | 2.1 | 212.12 | 2.204 | 329.38 | 2.637 | 207.454 | 2.679 | 331.065 | 23.14 | 880 | 98.26 | 0.39267
2020-07-08 06:00:00 | 3.027 | 310.62 | 3.192 | 326.564 | 3.528 | 303.786 | 3.696 | 328.235 | 22.62 | 880 | 98.15 | 1.8987
2020-07-08 06:15:00 | 2.9027 | 307.82 | 2.9853 | 329.136 | 3.6687 | 301.0487 | 3.6027 | 330.8187 | 22.2733 | 880 | 98.64 | 3.962
2020-07-08 06:30:00 | 3.15 | 337.32 | 3.316 | 327.864 | 3.98 | 329.898 | 4.06 | 329.54 | 22 | 880 | 99 | 4.3587
2020-07-08 06:45:00 | 3.286 | 275.38 | 3.474 | 333.872 | 3.952 | 269.322 | 4.108 | 335.578 | 22.28 | 880 | 99.42 | 3.7307
2020-07-08 07:00:00 | 3.078 | 351.8 | 3.21 | 330.172 | 3.544 | 344.062 | 3.662 | 331.862 | 22.86 | 880 | 99.8 | 2.7233
2020-07-08 07:15:00 | 2.861 | 282.71 | 2.93 | 326.095 | 3.376 | 276.492 | 3.358 | 327.761 | 22.69 | 880 | 99.94 | 2.666
2020-07-08 07:30:00 | 2.693 | 347.24 | 2.77 | 330.545 | 3.202 | 339.601 | 3.202 | 332.234 | 22.87 | 880 | 99.88 | 2.4413
2020-07-08 07:45:00 | 3.14 | 282.43 | 3.313 | 324.901 | 3.793 | 276.216 | 3.929 | 326.563 | 22.75 | 880 | 98.96 | 4.0273
2020-07-08 08:00:00 | 3.279 | 339.03 | 3.487 | 316.305 | 4.116 | 331.571 | 4.267 | 317.923 | 22.84 | 880 | 98.81 | 5.7093
2020-07-08 08:15:00 | 3.58 | 340.98 | 3.808 | 316.716 | 4.484 | 333.48 | 4.654 | 318.334 | 23 | 880 | 99.12 | 6.6607
2020-07-08 08:30:00 | 3.18 | 243.93 | 3.355 | 323.033 | 3.849 | 238.564 | 3.986 | 324.686 | 23.46 | 881 | 94.73 | 5.482
2020-07-08 08:45:00 | 3.665 | 306.39 | 3.931 | 316.872 | 4.304 | 299.648 | 4.628 | 318.492 | 23.16 | 881 | 93.11 | 8.5087
2020-07-08 09:00:00 | 4.0547 | 334.48 | 4.3847 | 329.0387 | 4.7427 | 327.1207 | 5.1687 | 330.72 | 23.42 | 881.2667 | 91.4867 | 10.5767
2020-07-08 09:15:00 | 3.917 | 335.24 | 4.179 | 322.916 | 4.525 | 327.865 | 4.846 | 324.566 | 23.83 | 882 | 90.28 | 10.492
2020-07-08 09:30:00 | 4.355 | 339.82 | 4.684 | 330.603 | 4.85 | 332.344 | 5.333 | 332.293 | 24.19 | 882 | 90.34 | 11.5887
2020-07-08 09:45:00 | 4.692 | 340.3 | 5.059 | 331.855 | 5.218 | 332.813 | 5.758 | 333.551 | 23.93 | 882 | 82.06 | 14.6453
2020-07-08 10:00:00 | 4.914 | 345.64 | 5.288 | 328.492 | 5.526 | 338.036 | 6.057 | 330.17 | 24.37 | 882 | 82.6 | 13.6307
2020-07-08 10:15:00 | 4.357 | 305.17 | 4.668 | 330.907 | 5.123 | 298.455 | 5.493 | 332.6 | 24.51 | 882 | 79.778 | 13.7887
2020-07-08 10:30:00 | 4.4413 | 336.5733 | 4.756 | 330.6173 | 4.9947 | 329.1687 | 5.43 | 332.306 | 24.7467 | 882.9333 | 75.4513 | 11.996
2020-07-08 10:45:00 | 4.116 | 336.6 | 4.382 | 320.472 | 4.572 | 329.196 | 4.938 | 322.108 | 25 | 883 | 73.704 | 7.1287
2020-07-08 11:00:00 | 3.353 | 338 | 3.596 | 298.211 | 3.919 | 330.562 | 4.218 | 299.735 | 25.58 | 883 | 70.65 | 4.87
2020-07-08 11:15:00 | 2.821 | 270.04 | 2.996 | 265.78 | 3.362 | 264.098 | 3.54 | 267.138 | 25.99 | 883 | 70.726 | 2.2233
2020-07-08 11:30:00 | 2.645 | 329 | 2.794 | 336.159 | 3.19 | 321.763 | 3.314 | 337.878 | 26.24 | 883 | 68.455 | 1.712
2020-07-08 11:45:00 | 2.248 | 271.56 | 2.378 | 313.292 | 2.748 | 265.584 | 2.848 | 314.894 | 26.72 | 883 | 67.506 | 0.78467
2020-07-08 12:00:00 | 2.208 | 267.36 | 2.299 | 247.582 | 2.592 | 261.478 | 2.652 | 248.847 | 27.02 | 883 | 65.457 | 0.063333
2020-07-08 12:15:00 | 1.576 | 184.34 | 1.718 | 234.3 | 1.903 | 180.282 | 2.08 | 235.497 | 28.25 | 883 | 65.515 | 0
2020-07-08 12:30:00 | 1.318 | 61.03 | 1.509 | 174.64 | 1.684 | 59.688 | 1.936 | 175.536 | 28.24 | 883 | 64.467 | 0
2020-07-08 12:45:00 | 1.508 | 95.24 | 1.561 | 274.535 | 1.814 | 93.145 | 1.823 | 275.938 | 28.57 | 882 | 63.139 | 0
2020-07-08 13:00:00 | 1.6773 | 100.4667 | 1.8287 | 215.7727 | 2.0833 | 98.2567 | 2.2487 | 216.8773 | 29.0067 | 882 | 62.464 | 0
2020-07-08 13:15:00 | 1.322 | 72.2467 | 1.4587 | 155.4953 | 1.56 | 70.6573 | 1.7533 | 156.2907 | 29.3933 | 882 | 60.9453 | 0
2020-07-08 13:30:00 | 1.1087 | 71.6133 | 1.308 | 159.0807 | 1.24 | 70.0393 | 1.576 | 159.8947 | 29.8533 | 882 | 57.6973 | 0
2020-07-08 13:45:00 | 1.016 | 67.76 | 1.184 | 162.152 | 1.344 | 66.268 | 1.562 | 162.982 | 28.92 | 882 | 58.26 | 0
2020-07-08 14:00:00 | 0.93333 | 106.3111 | 0.97333 | 144.4078 | 0.86556 | 103.9722 | 0.95889 | 145.1444 | 28.5889 | 882 | 63.5933 | 0
2020-07-08 14:15:00 | 0.541 | 92.73 | 0.583 | 130.182 | 0.671 | 90.689 | 0.709 | 130.846 | 28.96 | 882 | 63.01 | 0
2020-07-08 14:30:00 | 0.661 | 248.92 | 0.649 | 158.643 | 0.815 | 243.442 | 0.747 | 159.451 | 28.85 | 882 | 62.595 | 0
2020-07-08 14:45:00 | 0.569 | 271.59 | 0.616 | 135.943 | 0.51 | 265.614 | 0.614 | 136.635 | 29.35 | 882 | 66.374 | 0
2020-07-08 15:00:00 | 0.391 | 196.38 | 0.391 | 154.259 | 0.436 | 192.061 | 0.42 | 155.048 | 28.86 | 882 | 62.213 | 0
2020-07-08 15:15:00 | 0.597 | 178.97 | 0.625 | 166.857 | 0.689 | 175.032 | 0.708 | 167.708 | 29.64 | 882 | 59.521 | 0
2020-07-08 15:30:00 | 0.66067 | 209.6133 | 0.712 | 201.5 | 0.77 | 205.0007 | 0.83333 | 202.5313 | 30.1667 | 882 | 58.8927 | 0
2020-07-08 15:45:00 | 1.0373 | 206.6133 | 1.0747 | 199.0153 | 1.0313 | 202.0687 | 1.104 | 200.0333 | 29.5467 | 882 | 56.8193 | 0
2020-07-08 16:00:00 | 1.104 | 125.52 | 1.188 | 175.002 | 1.078 | 122.758 | 1.246 | 175.9 | 29.96 | 882 | 57.98 | 0
2020-07-08 16:15:00 | 0.684 | 202.84 | 0.794 | 184.664 | 0.728 | 198.378 | 0.924 | 185.612 | 30.12 | 882 | 58.974 | 0
2020-07-08 16:30:00 | 0.793 | 125.88 | 0.756 | 270.426 | 0.85 | 123.11 | 0.769 | 271.809 | 30.3 | 882 | 54.348 | 0
2020-07-08 16:45:00 | 0.63 | 167.41 | 0.701 | 232.1 | 0.786 | 163.727 | 0.873 | 233.286 | 30.63 | 882 | 53.326 | 0
2020-07-08 17:00:00 | 0.708 | 70.43 | 0.751 | 209.379 | 0.825 | 68.881 | 0.876 | 210.451 | 30.76 | 882 | 54.452 | 0
2020-07-08 17:15:00 | 0.872 | 263.35 | 0.912 | 267.893 | 1.032 | 257.556 | 1.063 | 269.263 | 30.63 | 882 | 54.382 | 0
2020-07-08 17:30:00 | 0.994 | 167.9667 | 1.108 | 211.216 | 0.98333 | 164.272 | 1.2047 | 212.2953 | 30.76 | 882 | 56.5593 | 0
2020-07-08 17:45:00 | 0.464 | 200.92 | 0.53 | 212.168 | 0.49 | 196.5 | 0.606 | 213.25 | 30.76 | 882 | 55.956 | 0
2020-07-08 18:00:00 | 0.79 | 191.21 | 0.836 | 275.131 | 0.692 | 187.004 | 0.806 | 276.537 | 30.47 | 882 | 56.109 | 0
2020-07-08 18:15:00 | 0.677 | 200.69 | 0.7 | 216.647 | 0.924 | 196.275 | 0.894 | 217.753 | 30.5 | 881 | 55.202 | 0
2020-07-08 18:30:00 | 0.727 | 162.21 | 0.794 | 298.486 | 0.881 | 158.643 | 0.967 | 300.011 | 30.3 | 881 | 54.423 | 0
2020-07-08 18:45:00 | 0.694 | 197.32 | 0.825 | 299.337 | 0.847 | 192.981 | 1.048 | 300.868 | 30.83 | 881 | 55.682 | 0
2020-07-08 19:00:00 | 0.701 | 197.44 | 0.782 | 216.882 | 0.832 | 193.094 | 0.948 | 217.99 | 30.19 | 881 | 56.799 | 0
2020-07-08 19:15:00 | 1.562 | 197.55 | 1.617 | 190.906 | 1.739 | 193.204 | 1.791 | 191.881 | 29.22 | 881 | 60.906 | 0
2020-07-08 19:30:00 | 1.622 | 196.53 | 1.65 | 194.143 | 1.869 | 192.207 | 1.858 | 195.136 | 29.12 | 881 | 62.748 | 0
2020-07-08 19:45:00 | 1.644 | 162.06 | 1.71 | 190.736 | 2.0487 | 158.496 | 2.056 | 191.712 | 28.8867 | 880 | 62.8587 | 0
2020-07-08 20:00:00 | 1.688 | 127.36 | 1.82 | 181.458 | 2.024 | 124.558 | 2.182 | 182.386 | 28.82 | 880 | 64.188 | 0
2020-07-08 20:15:00 | 1.724 | 119.57 | 1.829 | 133.175 | 1.799 | 116.939 | 1.978 | 133.854 | 28.19 | 880 | 68.606 | 0
2020-07-08 20:30:00 | 1.9133 | 122.7444 | 1.9967 | 131.28 | 2.0811 | 120.0444 | 2.1956 | 131.9522 | 28.0667 | 880 | 70.1889 | 0.35067
2020-07-08 20:45:00 | 2.267 | 122 | 2.368 | 130.66 | 2.485 | 119.316 | 2.618 | 131.328 | 27.97 | 880 | 70.014 | 1.4767
2020-07-08 21:00:00 | 2.352 | 128.25 | 2.465 | 127.374 | 2.485 | 125.427 | 2.662 | 128.025 | 27.7 | 880 | 70.395 | 2.762
2020-07-08 21:15:00 | 2.663 | 119.39 | 2.794 | 123.452 | 2.838 | 116.765 | 3.036 | 124.083 | 27.4 | 880 | 70.478 | 3.692
2020-07-08 21:30:00 | 2.525 | 139.28 | 2.581 | 124.979 | 2.701 | 136.217 | 2.759 | 125.618 | 27.09 | 880 | 70.692 | 3.746
2020-07-08 21:45:00 | 2.631 | 131.47 | 2.679 | 130.983 | 2.951 | 128.579 | 2.949 | 131.652 | 26.58 | 880 | 72.11 | 3.9927
2020-07-08 22:00:00 | 2.5947 | 137.44 | 2.664 | 133.074 | 2.866 | 134.416 | 2.9213 | 133.7533 | 26.3733 | 880 | 74.6153 | 4.4627
2020-07-08 22:15:00 | 2.428 | 137.12 | 2.492 | 141.596 | 2.748 | 134.104 | 2.776 | 142.318 | 26.22 | 880 | 75.744 | 4.874
2020-07-08 22:30:00 | 2.234 | 135.69 | 2.297 | 147.286 | 2.424 | 131.894 | 2.495 | 148.039 | 26.1 | 880 | 79.227 | 3.898
2020-07-08 22:45:00 | 2.013 | 153.71 | 2.079 | 147.444 | 2.206 | 150.329 | 2.278 | 148.198 | 26.04 | 880 | 80.85 | 2.528
2020-07-08 23:00:00 | 1.806 | 182.37 | 1.871 | 167.737 | 2.022 | 178.356 | 2.093 | 168.595 | 25.91 | 880 | 81.7 | 1.8833
2020-07-08 23:15:00 | 1.625 | 185.14 | 1.659 | 164.431 | 1.774 | 181.066 | 1.797 | 165.271 | 25.93 | 880 | 82.44 | 1.0047
2020-07-08 23:30:00 | 1.909 | 154.51 | 1.97 | 156.48 | 2.135 | 151.404 | 2.201 | 157.28 | 25.98 | 880 | 83.32 | 1.42
2020-07-08 23:45:00 | 1.969 | 158.84 | 2.076 | 144.353 | 2.198 | 155.348 | 2.336 | 145.09 | 25.83 | 880 | 83.9 | 0.876