## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-09 00:00:00 | 2.072 | 182.76 | 2.157 | 167.521 | 2.248 | 178.739 | 2.364 | 168.379 | 25.77 | 880 | 84.19 | 0.47467
2020-07-09 00:15:00 | 1.89 | 183.8067 | 1.9447 | 171.092 | 2.142 | 179.764 | 2.174 | 171.966 | 25.8267 | 880 | 83.2 | 0.07
2020-07-09 00:30:00 | 1.732 | 186.92 | 1.788 | 175.024 | 1.934 | 182.806 | 1.994 | 175.92 | 25.9 | 880 | 83.18 | 0
2020-07-09 00:45:00 | 1.515 | 176.13 | 1.557 | 181.919 | 1.489 | 172.256 | 1.578 | 182.847 | 25.83 | 880 | 83.58 | 0
2020-07-09 01:00:00 | 1.522 | 197.99 | 1.584 | 202.935 | 1.715 | 193.634 | 1.782 | 203.974 | 25.8 | 880 | 83.84 | 0
2020-07-09 01:15:00 | 1.671 | 154.49 | 1.694 | 189.331 | 1.67 | 151.091 | 1.715 | 190.299 | 25.83 | 879 | 83.54 | 0.092
2020-07-09 01:30:00 | 1.29 | 144.04 | 1.334 | 139.25 | 1.434 | 140.87 | 1.476 | 139.958 | 25.6 | 879 | 84.1 | 0
2020-07-09 01:45:00 | 1.225 | 152.75 | 1.246 | 161.838 | 1.313 | 149.388 | 1.329 | 162.668 | 25.6 | 879 | 84.34 | 0
2020-07-09 02:00:00 | 1.048 | 142.22 | 1.062 | 130.65 | 1.268 | 139.592 | 1.227 | 131.321 | 25.45 | 879 | 84.52 | 0
2020-07-09 02:15:00 | 0.683 | 120.64 | 0.676 | 140.098 | 0.807 | 117.986 | 0.759 | 140.815 | 25.49 | 879 | 85.48 | 0
2020-07-09 02:30:00 | 0.93071 | 123.5429 | 1.0314 | 145.1636 | 1.1314 | 120.825 | 1.2614 | 145.9057 | 25.3643 | 879 | 86.425 | 0
2020-07-09 02:45:00 | 1.446 | 115.77 | 1.557 | 103.159 | 1.566 | 113.223 | 1.743 | 103.686 | 25.07 | 879 | 86.27 | 0
2020-07-09 03:00:00 | 1.518 | 111.11 | 1.584 | 103.003 | 1.552 | 108.666 | 1.668 | 103.528 | 24.92 | 879 | 86.81 | 0
2020-07-09 03:15:00 | 1.1873 | 115.5867 | 1.3047 | 113.298 | 1.076 | 112.972 | 1.3327 | 113.8767 | 24.78 | 878.4 | 88.14 | 0
2020-07-09 03:30:00 | 0.51 | 107.08 | 0.576 | 117.81 | 0.426 | 104.724 | 0.578 | 118.412 | 24.82 | 878 | 88.82 | 0
2020-07-09 03:45:00 | 0.62 | 126.09 | 0.647 | 141.909 | 0.539 | 123.316 | 0.616 | 142.633 | 24.99 | 878 | 89.66 | 0
2020-07-09 04:00:00 | 0.494 | 171.64 | 0.507 | 149.126 | 0.428 | 167.865 | 0.471 | 149.889 | 24.89 | 878 | 89.56 | 0
2020-07-09 04:15:00 | 0.61667 | 142.8867 | 0.61667 | 172.812 | 0.56133 | 139.7427 | 0.57933 | 173.6967 | 24.9 | 878 | 89.48 | 0
2020-07-09 04:30:00 | 0.484 | 153.6 | 0.448 | 163.462 | 0.526 | 155.834 | 0.47 | 164.298 | 24.82 | 878 | 89.76 | 0
2020-07-09 04:45:00 | 0.768 | 147.84 | 0.77 | 151.452 | 0.772 | 144.588 | 0.77 | 152.228 | 24.6 | 878 | 90.2 | 0
2020-07-09 05:00:00 | 0.34 | 189.51 | 0.366 | 163.768 | 0.59 | 185.341 | 0.562 | 164.603 | 24.77 | 878 | 89.64 | 0
2020-07-09 05:15:00 | 1.53 | 332.94 | 1.523 | 329.312 | 2.09 | 325.614 | 1.914 | 330.996 | 24.16 | 878 | 91.81 | 0
2020-07-09 05:30:00 | 1.9 | 285.96 | 1.86 | 323.63 | 2.444 | 279.668 | 2.212 | 325.283 | 23.65 | 878 | 93.82 | 0
2020-07-09 05:45:00 | 1.463 | 238.25 | 1.42 | 334.486 | 1.7 | 233.008 | 1.55 | 336.198 | 23.68 | 877 | 92.98 | 0
2020-07-09 06:00:00 | 1.911 | 243.49 | 1.943 | 334.163 | 2.251 | 238.135 | 2.212 | 335.872 | 23.75 | 877.9 | 91.99 | 0
2020-07-09 06:15:00 | 3.299 | 339.88 | 3.485 | 326.575 | 4.038 | 332.404 | 4.178 | 328.243 | 23.35 | 877.4 | 92.63 | 3.26
2020-07-09 06:30:00 | 2.546 | 307.04 | 2.62 | 328.147 | 3.196 | 300.286 | 3.151 | 329.825 | 23.25 | 878 | 94.67 | 2.0313
2020-07-09 06:45:00 | 2.5747 | 204.36 | 2.654 | 331.482 | 3.192 | 199.8633 | 3.162 | 333.1787 | 23.3733 | 877 | 94.1867 | 1.9547
2020-07-09 07:00:00 | 2.206 | 206.4 | 2.202 | 342.4 | 2.78 | 201.858 | 2.614 | 344.148 | 23.44 | 877.8 | 92.86 | 0.94867
2020-07-09 07:15:00 | 2.156 | 149.81 | 2.197 | 329.262 | 2.667 | 146.515 | 2.599 | 330.945 | 23.46 | 877 | 91.58 | 0.188
2020-07-09 07:30:00 | 1.792 | 276.52 | 1.748 | 332.295 | 2.236 | 270.436 | 2.025 | 333.994 | 23.65 | 877 | 90.35 | 0
2020-07-09 07:45:00 | 1.198 | 258.58 | 1.171 | 293.282 | 1.382 | 252.891 | 1.278 | 294.783 | 23.94 | 878 | 89.41 | 0
2020-07-09 08:00:00 | 1.187 | 214.66 | 1.221 | 327.393 | 1.212 | 209.937 | 1.269 | 329.069 | 24.73 | 878 | 88.51 | 0
2020-07-09 08:15:00 | 1.041 | 75.27 | 1.137 | 75.747 | 1.335 | 73.614 | 1.43 | 76.133 | 24.76 | 878.4 | 81.328 | 0
2020-07-09 08:30:00 | 1.29 | 298.93 | 1.407 | 322.867 | 1.577 | 292.353 | 1.713 | 324.518 | 24.93 | 879 | 83.1 | 0
2020-07-09 08:45:00 | 1.434 | 148.8 | 1.508 | 269.195 | 1.73 | 145.527 | 1.785 | 270.572 | 25.61 | 879.4 | 82.54 | 0
2020-07-09 09:00:00 | 0.892 | 144.65 | 0.881 | 206.562 | 1.097 | 141.469 | 1.014 | 207.619 | 25.5 | 880 | 80.031 | 0
2020-07-09 09:15:00 | 1.072 | 122.1067 | 1.0833 | 318.5273 | 1.5353 | 119.4187 | 1.422 | 320.1567 | 25.7267 | 880 | 81.16 | 0
2020-07-09 09:30:00 | 1.02 | 72.3222 | 1.1189 | 289.4344 | 1.33 | 73.4056 | 1.44 | 290.9144 | 25.8889 | 880 | 81.8522 | 0
2020-07-09 09:45:00 | 0.676 | 186.44 | 0.736 | 134.564 | 0.896 | 182.338 | 0.94 | 135.251 | 27.14 | 880 | 80.396 | 0
2020-07-09 10:00:00 | 1.141 | 122.48 | 1.174 | 132.714 | 1.455 | 119.785 | 1.425 | 133.392 | 26.94 | 880 | 76.924 | 0
2020-07-09 10:15:00 | 0.796 | 141.13 | 0.862 | 154.418 | 0.954 | 138.025 | 1.036 | 155.208 | 27.37 | 881 | 72.487 | 0
2020-07-09 10:30:00 | 1.078 | 117.46 | 1.114 | 129.546 | 1.258 | 114.876 | 1.271 | 130.207 | 27.78 | 881 | 71.706 | 0
2020-07-09 10:45:00 | 1.187 | 152.33 | 1.285 | 118.495 | 1.659 | 148.978 | 1.705 | 119.1 | 27.67 | 881 | 70.701 | 0
2020-07-09 11:00:00 | 1.288 | 199.95 | 1.308 | 126.718 | 1.382 | 195.549 | 1.397 | 127.366 | 27.19 | 881 | 73.153 | 0
2020-07-09 11:15:00 | 1.675 | 202.71 | 1.758 | 154.152 | 1.924 | 198.25 | 2.01 | 154.94 | 26.53 | 881 | 76.523 | 0
2020-07-09 11:30:00 | 1.012 | 171.2 | 1.055 | 141.799 | 1.125 | 167.436 | 1.173 | 142.526 | 26.82 | 881 | 80.56 | 0
2020-07-09 11:45:00 | 0.72333 | 157.1267 | 0.734 | 141.1773 | 0.732 | 153.6693 | 0.74867 | 141.8993 | 27.2067 | 880 | 81.78 | 0
2020-07-09 12:00:00 | 1.2973 | 191.7 | 1.3913 | 131.7173 | 1.446 | 187.4827 | 1.5787 | 132.3893 | 27.58 | 880 | 78.2893 | 0
2020-07-09 12:15:00 | 1.028 | 215.4 | 1.062 | 116.148 | 1.318 | 210.66 | 1.3 | 116.742 | 27.48 | 880 | 78.06 | 0
2020-07-09 12:30:00 | 1.31 | 169.96 | 1.32 | 133.164 | 1.554 | 166.222 | 1.504 | 133.844 | 27.9 | 880 | 79.2 | 0
2020-07-09 12:45:00 | 0.674 | 213.28 | 0.692 | 155.346 | 0.832 | 208.588 | 0.816 | 156.138 | 28.2 | 880 | 78.048 | 0
2020-07-09 13:00:00 | 1.0567 | 187.1222 | 1.1156 | 119.2389 | 1.2778 | 183.0044 | 1.3233 | 119.85 | 28.4889 | 880 | 75.61 | 0
2020-07-09 13:15:00 | 1.1122 | 207.8556 | 1.13 | 150.4367 | 1.2578 | 203.2822 | 1.2511 | 151.2067 | 28.1444 | 880 | 74.5933 | 0
2020-07-09 13:30:00 | 1.961 | 186.33 | 2.055 | 141.986 | 2.077 | 182.232 | 2.223 | 142.712 | 27.84 | 880 | 76.105 | 0
2020-07-09 13:45:00 | 1.726 | 190 | 1.753 | 151.306 | 1.778 | 185.82 | 1.817 | 152.078 | 27.71 | 880 | 77.59 | 0
2020-07-09 14:00:00 | 1.725 | 205.07 | 1.884 | 160.509 | 2.03 | 200.558 | 2.245 | 161.33 | 27.55 | 879.1 | 78.68 | 0
2020-07-09 14:15:00 | 1.465 | 182.48 | 1.597 | 163.862 | 1.804 | 177.849 | 1.945 | 164.701 | 27.51 | 879 | 79.575 | 0
2020-07-09 14:30:00 | 1.64 | 196.12 | 1.727 | 182.65 | 1.913 | 192.49 | 2.014 | 183.585 | 27.45 | 879 | 80.55 | 0
2020-07-09 14:45:00 | 1.2567 | 216.2067 | 1.2787 | 167.102 | 1.4313 | 211.452 | 1.422 | 167.9553 | 27.48 | 879 | 79.4653 | 0
2020-07-09 15:00:00 | 1.418 | 187.9533 | 1.4933 | 179.4893 | 1.5767 | 183.818 | 1.6673 | 180.4053 | 27.3333 | 879 | 79.4413 | 0
2020-07-09 15:15:00 | 1.468 | 189.18 | 1.516 | 174.24 | 1.782 | 185.016 | 1.778 | 175.132 | 27.2 | 879 | 80.232 | 0
2020-07-09 15:30:00 | 1.452 | 193.52 | 1.536 | 170.346 | 1.6 | 189.264 | 1.714 | 171.218 | 27.12 | 879 | 81.72 | 0
2020-07-09 15:45:00 | 1.794 | 194.1 | 1.912 | 182.416 | 2.034 | 189.83 | 2.196 | 183.35 | 26.96 | 879 | 81.7 | 0
2020-07-09 16:00:00 | 1.966 | 205.12 | 2.102 | 183.688 | 2.322 | 200.608 | 2.482 | 184.626 | 26.7 | 878 | 82.9 | 0
2020-07-09 16:15:00 | 1.8 | 204.4556 | 1.9267 | 187.1356 | 2.1833 | 199.9589 | 2.3156 | 188.0922 | 26.5222 | 878 | 84.25 | 0
2020-07-09 16:30:00 | 1.107 | 202.88 | 1.225 | 194.926 | 1.216 | 198.418 | 1.409 | 195.921 | 26.6 | 878 | 83.7 | 0
2020-07-09 16:45:00 | 0.533 | 210.38 | 0.605 | 195.756 | 0.618 | 205.752 | 0.731 | 196.756 | 27.16 | 878 | 83.17 | 0
2020-07-09 17:00:00 | 0.343 | 177.06 | 0.348 | 256.461 | 0.359 | 173.165 | 0.365 | 257.772 | 27.38 | 878 | 83.93 | 0
2020-07-09 17:15:00 | 0.468 | 167.9 | 0.488 | 212.07 | 0.592 | 164.207 | 0.596 | 213.153 | 27.25 | 878 | 88.28 | 0
2020-07-09 17:30:00 | 0.295 | 102.63 | 0.318 | 232.764 | 0.604 | 100.372 | 0.553 | 233.956 | 27.71 | 877.1 | 90.2 | 0
2020-07-09 17:45:00 | 0.526 | 69.21 | 0.62 | 151.933 | 0.753 | 67.687 | 0.863 | 152.708 | 27.55 | 877 | 90.15 | 0
2020-07-09 18:00:00 | 0.71 | 118.42 | 0.789 | 100.803 | 1.067 | 115.816 | 1.111 | 101.318 | 26.78 | 877 | 89.48 | 0
2020-07-09 18:15:00 | 1.208 | 169.51 | 1.252 | 141.388 | 1.41 | 165.781 | 1.431 | 142.113 | 26.22 | 877 | 89.44 | 0
2020-07-09 18:30:00 | 1.445 | 175.64 | 1.544 | 168.02 | 1.635 | 171.776 | 1.764 | 168.88 | 25.94 | 877 | 90.24 | 0
2020-07-09 18:45:00 | 1.086 | 157.72 | 1.1127 | 147.3273 | 1.264 | 154.2487 | 1.266 | 148.0787 | 26.12 | 877 | 92.1 | 0
2020-07-09 19:00:00 | 1.2033 | 141.6467 | 1.2407 | 121.0313 | 1.4453 | 138.532 | 1.4493 | 121.6493 | 26.3 | 877 | 90.5533 | 0
2020-07-09 19:15:00 | 1.564 | 169.74 | 1.6267 | 163.0453 | 1.7187 | 166.0053 | 1.7927 | 163.8793 | 26.1067 | 877 | 89.5733 | 0
2020-07-09 19:30:00 | 1.1713 | 173.24 | 1.224 | 162.0987 | 1.354 | 169.4287 | 1.3993 | 162.93 | 26.0067 | 877 | 89.0933 | 0
2020-07-09 19:45:00 | 1.2167 | 172.2933 | 1.266 | 138.8113 | 1.4773 | 168.5033 | 1.4953 | 139.5207 | 26.1533 | 877 | 88.92 | 0
2020-07-09 20:00:00 | 1.1153 | 178.6133 | 1.1653 | 155.4753 | 1.3553 | 175.0613 | 1.3807 | 156.2707 | 26.02 | 877 | 89.62 | 0
2020-07-09 20:15:00 | 1.0187 | 175.3067 | 1.06 | 160.3673 | 1.2113 | 171.234 | 1.236 | 161.1867 | 25.9267 | 877 | 88.82 | 0
2020-07-09 20:30:00 | 1.216 | 176.62 | 1.29 | 149.516 | 1.366 | 172.248 | 1.464 | 150.282 | 26.08 | 877 | 88.56 | 0
2020-07-09 20:45:00 | 0.637 | 175.47 | 0.649 | 147.57 | 0.879 | 171.611 | 0.834 | 148.324 | 25.89 | 877 | 90.18 | 0
2020-07-09 21:00:00 | 0.477 | 75.39 | 0.465 | 53.604 | 0.392 | 73.73 | 0.396 | 53.877 | 26.18 | 877 | 90.72 | 0
2020-07-09 21:15:00 | 0.429 | 93.12 | 0.406 | 73.017 | 0.409 | 91.07 | 0.374 | 73.391 | 26.22 | 877 | 91.54 | 0
2020-07-09 21:30:00 | 0.611 | 71.31 | 0.637 | 35.353 | 0.58 | 69.741 | 0.644 | 35.536 | 26.05 | 877 | 92.62 | 0
2020-07-09 21:45:00 | 1.24 | 34.24 | 1.326 | 14.552 | 1.327 | 33.486 | 1.466 | 14.626 | 26 | 877 | 92.71 | 0
2020-07-09 22:00:00 | 1.656 | 144.6 | 1.704 | 312.86 | 1.908 | 141.419 | 1.929 | 314.462 | 26.13 | 877 | 91.85 | 0
2020-07-09 22:15:00 | 2.125 | 183.18 | 2.192 | 305.371 | 2.438 | 179.151 | 2.479 | 306.932 | 25.96 | 877 | 92.73 | 0
2020-07-09 22:30:00 | 2.105 | 151.73 | 2.195 | 334.514 | 2.658 | 148.392 | 2.672 | 336.226 | 25.83 | 877 | 93.99 | 0
2020-07-09 22:45:00 | 1.567 | 309.36 | 1.581 | 331.289 | 1.993 | 303.142 | 1.884 | 332.983 | 25.73 | 877 | 95.28 | 0
2020-07-09 23:00:00 | 1.842 | 243.29 | 1.881 | 342.34 | 2.022 | 237.938 | 2.047 | 344.09 | 25.59 | 877 | 95.75 | 0
2020-07-09 23:15:00 | 1.5567 | 268.7133 | 1.5513 | 253.2707 | 1.7407 | 262.802 | 1.68 | 254.5653 | 25.5933 | 877 | 96.3533 | 0
2020-07-09 23:30:00 | 1.4413 | 340.9933 | 1.432 | 165.4373 | 1.612 | 333.492 | 1.55 | 166.284 | 25.5867 | 877 | 96.6467 | 0
2020-07-09 23:45:00 | 1.566 | 303.4333 | 1.6127 | 80.9653 | 1.7927 | 296.7567 | 1.8187 | 81.38 | 25.56 | 877 | 96.78 | 0