## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-10 00:00:00 | 1.1593 | 278.5067 | 1.184 | 251.5233 | 1.364 | 272.38 | 1.3487 | 252.8087 | 25.5333 | 877 | 96.5 | 0
2020-07-10 00:15:00 | 0.848 | 336.24 | 0.894 | 21.438 | 0.886 | 328.842 | 0.962 | 21.548 | 25.5 | 877 | 96.5 | 0
2020-07-10 00:30:00 | 0.78 | 343.06 | 0.812 | 82.806 | 0.861 | 335.512 | 0.893 | 83.231 | 25.29 | 877 | 96.41 | 0
2020-07-10 00:45:00 | 0.451 | 171.73 | 0.449 | 76.119 | 0.405 | 167.414 | 0.422 | 76.508 | 25.13 | 877 | 96.56 | 0
2020-07-10 01:00:00 | 0.38 | 124.07 | 0.38 | 36.705 | 0.345 | 121.34 | 0.354 | 36.891 | 25.1 | 877 | 96.8 | 0
2020-07-10 01:15:00 | 0.436 | 70.86 | 0.419 | 50.954 | 0.462 | 69.301 | 0.423 | 51.214 | 25.03 | 877 | 96.69 | 0
2020-07-10 01:30:00 | 0.432 | 112.5067 | 0.40267 | 14.82 | 0.38067 | 110.0313 | 0.346 | 14.896 | 25.08 | 877 | 96.7667 | 0
2020-07-10 01:45:00 | 0.681 | 159.62 | 0.748 | 104.412 | 0.765 | 156.109 | 0.866 | 104.946 | 24.85 | 877 | 97.16 | 0
2020-07-10 02:00:00 | 1.234 | 169.37 | 1.3 | 165.615 | 1.439 | 165.646 | 1.506 | 166.461 | 24.42 | 877 | 97.85 | 0
2020-07-10 02:15:00 | 0.474 | 183.8 | 0.504 | 184.725 | 0.569 | 179.756 | 0.598 | 185.669 | 24.69 | 877 | 98.14 | 0
2020-07-10 02:30:00 | 0.801 | 250.82 | 0.772 | 172.989 | 0.701 | 245.301 | 0.676 | 173.874 | 24.82 | 877 | 98.34 | 0
2020-07-10 02:45:00 | 1.0047 | 146.8867 | 1.0127 | 105.1527 | 1.1727 | 143.87 | 1.144 | 105.692 | 25.1 | 876 | 98.5667 | 0
2020-07-10 03:00:00 | 0.82 | 35.42 | 0.784 | 16.214 | 0.942 | 31.178 | 0.84 | 16.298 | 25.16 | 876 | 98.9 | 0
2020-07-10 03:15:00 | 0.42 | 184.37 | 0.472 | 108.098 | 0.534 | 180.315 | 0.599 | 108.65 | 25 | 876 | 99.14 | 0
2020-07-10 03:30:00 | 0.415 | 212.58 | 0.476 | 97.516 | 0.623 | 207.904 | 0.677 | 98.015 | 24.87 | 876 | 99.4 | 0
2020-07-10 03:45:00 | 0.197 | 233.15 | 0.193 | 21.357 | 0.21 | 228.023 | 0.205 | 21.469 | 24.82 | 876 | 99.5 | 0
2020-07-10 04:00:00 | 0.473 | 170.93 | 0.52 | 87.386 | 0.526 | 167.17 | 0.596 | 87.832 | 24.87 | 876 | 99.41 | 0
2020-07-10 04:15:00 | 0.49 | 259.54 | 0.46533 | 259.3133 | 0.50133 | 253.8313 | 0.45 | 260.638 | 24.6333 | 876 | 99.4 | 0
2020-07-10 04:30:00 | 1.4953 | 351.9067 | 1.5293 | 321.8593 | 1.656 | 344.1647 | 1.6733 | 323.504 | 24.7067 | 876 | 99.52 | 0
2020-07-10 04:45:00 | 1.96 | 7.22 | 1.99 | 323.622 | 2.11 | 7.06 | 2.118 | 325.274 | 24.44 | 876 | 99.6 | 0
2020-07-10 05:00:00 | 1.774 | 265.82 | 1.75 | 328.316 | 2.132 | 259.97 | 1.99 | 329.992 | 24.54 | 876 | 99.9 | 0
2020-07-10 05:15:00 | 2.722 | 345.22 | 2.882 | 325.656 | 3.132 | 337.624 | 3.318 | 327.32 | 24.14 | 876 | 100 | 1.0133
2020-07-10 05:30:00 | 2.396 | 331.1 | 2.418 | 324.482 | 2.932 | 323.816 | 2.822 | 326.138 | 23.94 | 876 | 100 | 1.0613
2020-07-10 05:45:00 | 2.4811 | 263.3667 | 2.4767 | 331.1744 | 2.98 | 257.5722 | 2.8267 | 332.8656 | 23.8 | 876 | 100 | 2.1847
2020-07-10 06:00:00 | 3.0867 | 266.8889 | 3.2389 | 329.4556 | 3.5756 | 261.0167 | 3.7233 | 331.1389 | 23.6556 | 876 | 100 | 2.8913
2020-07-10 06:15:00 | 2.892 | 314.93 | 3.019 | 332.079 | 3.406 | 308 | 3.501 | 333.779 | 23.88 | 876 | 100 | 2.69
2020-07-10 06:30:00 | 2.34 | 314.66 | 2.3 | 330.975 | 2.879 | 307.737 | 2.648 | 332.668 | 23.97 | 876 | 100 | 1.9293
2020-07-10 06:45:00 | 2.376 | 250.8133 | 2.3093 | 319.088 | 2.9627 | 245.294 | 2.67 | 320.72 | 23.8 | 876 | 100 | 2.4187
2020-07-10 07:00:00 | 2.548 | 267.96 | 2.504 | 317.83 | 3.208 | 262.064 | 2.93 | 319.452 | 23.7 | 876 | 100 | 3.1433
2020-07-10 07:15:00 | 2.809 | 214.86 | 2.839 | 321.076 | 3.55 | 210.133 | 3.397 | 322.718 | 23.82 | 876 | 100 | 3.5493
2020-07-10 07:30:00 | 2.582 | 287.76 | 2.568 | 313.87 | 3.324 | 281.428 | 3.087 | 315.475 | 23.89 | 876 | 100 | 2.1367
2020-07-10 07:45:00 | 2.689 | 297.64 | 2.749 | 321.047 | 3.251 | 291.091 | 3.201 | 322.689 | 23.83 | 876 | 100 | 1.6513
2020-07-10 08:00:00 | 2.101 | 217.6 | 2.044 | 322.259 | 2.63 | 212.813 | 2.371 | 323.908 | 23.79 | 876 | 100 | 0.892
2020-07-10 08:15:00 | 2.067 | 300.56 | 2.078 | 329.734 | 2.487 | 293.949 | 2.389 | 331.418 | 23.74 | 876.4 | 99.66 | 0.46533
2020-07-10 08:30:00 | 2.322 | 309.14 | 2.426 | 324.746 | 2.695 | 302.34 | 2.783 | 326.406 | 23.74 | 876.1 | 99.56 | 0.60933
2020-07-10 08:45:00 | 2.435 | 237.61 | 2.515 | 325.829 | 2.905 | 232.383 | 2.922 | 327.496 | 23.69 | 877 | 99.12 | 0.888
2020-07-10 09:00:00 | 2.008 | 316.4933 | 2.02 | 323.718 | 2.4233 | 310.2807 | 2.3333 | 325.288 | 23.6667 | 877 | 98.14 | 0.43667
2020-07-10 09:15:00 | 2.218 | 209.25 | 2.278 | 323.445 | 2.538 | 204.646 | 2.564 | 325.098 | 23.58 | 877 | 97.86 | 0.88533
2020-07-10 09:30:00 | 2.448 | 266.71 | 2.428 | 325.019 | 3.022 | 260.843 | 2.819 | 326.679 | 23.67 | 877 | 97.93 | 1.7287
2020-07-10 09:45:00 | 2.172 | 255.35 | 2.104 | 318.731 | 2.612 | 249.734 | 2.36 | 320.361 | 23.68 | 877 | 97.8 | 0.94733
2020-07-10 10:00:00 | 1.8 | 276.16 | 1.711 | 322.398 | 2.025 | 270.084 | 1.792 | 324.048 | 23.66 | 877 | 97.7 | 0.000667
2020-07-10 10:15:00 | 2.054 | 244.3 | 2.101 | 325.448 | 2.256 | 238.925 | 2.287 | 327.114 | 23.52 | 877 | 97.66 | 0.384
2020-07-10 10:30:00 | 2.308 | 239.75 | 2.31 | 329.479 | 2.706 | 234.476 | 2.597 | 331.162 | 23.34 | 877 | 98.15 | 0.22067
2020-07-10 10:45:00 | 1.754 | 312.82 | 1.708 | 328.803 | 2.214 | 305.939 | 1.996 | 330.483 | 23.37 | 877 | 98.33 | 0.37933
2020-07-10 11:00:00 | 1.903 | 335.84 | 1.848 | 318.738 | 2.438 | 328.452 | 2.177 | 320.369 | 23.41 | 877 | 98.9 | 0.33333
2020-07-10 11:15:00 | 1.3873 | 210.1733 | 1.3387 | 311.512 | 1.672 | 205.5493 | 1.4993 | 313.1053 | 23.8467 | 877 | 99.5333 | 0
2020-07-10 11:30:00 | 1.178 | 54.78 | 1.114 | 332.834 | 1.282 | 53.574 | 1.136 | 334.534 | 23.96 | 877 | 99.7 | 0
2020-07-10 11:45:00 | 1.056 | 182.5 | 1.232 | 160.998 | 1.09 | 178.486 | 1.416 | 161.822 | 24.28 | 877 | 99.9 | 0
2020-07-10 12:00:00 | 2.389 | 139.9 | 2.417 | 144.188 | 2.7 | 136.822 | 2.663 | 144.922 | 23.46 | 877 | 100 | 0.30933
2020-07-10 12:15:00 | 3.657 | 137.62 | 3.758 | 141.733 | 4.133 | 134.592 | 4.186 | 142.458 | 22.83 | 877 | 100 | 3.5407
2020-07-10 12:30:00 | 2.14 | 152.06 | 2.169 | 134.007 | 2.37 | 148.714 | 2.359 | 134.691 | 22.29 | 876.1 | 100 | 1.6313
2020-07-10 12:45:00 | 1.671 | 148.95 | 1.737 | 136.997 | 1.831 | 145.673 | 1.913 | 137.699 | 22.24 | 876 | 100 | 0.13267
2020-07-10 13:00:00 | 1.824 | 157.63 | 1.895 | 153.928 | 1.975 | 154.162 | 2.065 | 154.716 | 22.29 | 876 | 100 | 0
2020-07-10 13:15:00 | 1.065 | 150.72 | 1.063 | 201.273 | 1.188 | 147.403 | 1.15 | 202.301 | 22.4 | 876 | 100 | 0
2020-07-10 13:30:00 | 0.808 | 275.86 | 0.823 | 35.237 | 0.911 | 269.79 | 0.911 | 35.417 | 22.74 | 876 | 100 | 0
2020-07-10 13:45:00 | 1.103 | 278.05 | 1.164 | 97.614 | 1.458 | 271.931 | 1.471 | 98.115 | 22.78 | 876 | 100 | 0
2020-07-10 14:00:00 | 1.021 | 56.82 | 1.068 | 40.46 | 1.209 | 55.569 | 1.244 | 40.669 | 22.89 | 876 | 100 | 0
2020-07-10 14:15:00 | 1.5833 | 338.6267 | 1.646 | 307.2687 | 2.176 | 331.1767 | 2.1213 | 308.8387 | 22.62 | 876 | 100 | 0
2020-07-10 14:30:00 | 2 | 338.28 | 2.156 | 312.628 | 2.43 | 330.84 | 2.596 | 314.228 | 22.58 | 876 | 100 | 0.50867
2020-07-10 14:45:00 | 3.346 | 335.68 | 3.632 | 317.538 | 3.856 | 328.298 | 4.252 | 319.16 | 22.44 | 876 | 100 | 3.8207
2020-07-10 15:00:00 | 3.722 | 336.9 | 3.998 | 320.978 | 4.326 | 329.488 | 4.682 | 322.622 | 22.44 | 876 | 100 | 5.662
2020-07-10 15:15:00 | 3.246 | 347.34 | 3.422 | 323.638 | 3.924 | 339.698 | 4.064 | 325.294 | 22.42 | 876 | 100 | 5.4173
2020-07-10 15:30:00 | 3.552 | 333.74 | 3.732 | 323.454 | 4.18 | 326.397 | 4.345 | 325.107 | 22.43 | 876 | 100 | 7.2847
2020-07-10 15:45:00 | 4.331 | 346.46 | 4.541 | 340.374 | 4.88 | 338.835 | 5.119 | 342.112 | 22.16 | 875 | 100 | 15.284
2020-07-10 16:00:00 | 4.355 | 351.94 | 4.71 | 336.941 | 5.114 | 344.197 | 5.571 | 338.663 | 22 | 875 | 100 | 15.874
2020-07-10 16:15:00 | 4.023 | 343.51 | 4.263 | 320.599 | 4.562 | 335.953 | 4.859 | 322.238 | 22.07 | 875 | 100 | 8.6367
2020-07-10 16:30:00 | 4.041 | 333.68 | 4.308 | 319.59 | 4.522 | 326.339 | 4.883 | 321.226 | 22.11 | 875 | 100 | 11.0447
2020-07-10 16:45:00 | 4.336 | 341.9 | 4.579 | 324.158 | 4.888 | 334.378 | 5.183 | 325.815 | 22.07 | 875 | 100 | 11.4893
2020-07-10 17:00:00 | 4.16 | 303.1533 | 4.422 | 329.006 | 4.7507 | 296.4827 | 5.0753 | 330.686 | 22.0467 | 875 | 100 | 12.0747
2020-07-10 17:15:00 | 3.9967 | 188.6133 | 4.3067 | 331.6073 | 4.7827 | 184.4627 | 5.142 | 333.302 | 21.9933 | 875 | 100 | 12.776
2020-07-10 17:30:00 | 4.322 | 346.72 | 4.6113 | 326.594 | 4.8993 | 339.092 | 5.2827 | 328.2633 | 21.9867 | 875 | 100 | 13.0467
2020-07-10 17:45:00 | 4.088 | 212.7533 | 4.4213 | 206.1227 | 4.7447 | 208.0733 | 5.1893 | 207.178 | 21.9533 | 875 | 100 | 15.2413
2020-07-10 18:00:00 | 4.5867 | 123.56 | 4.8247 | 312.008 | 5.216 | 121.1407 | 5.488 | 313.6027 | 21.74 | 875 | 100 | 18.8393
2020-07-10 18:15:00 | 4.164 | 145.82 | 4.402 | 331.524 | 4.606 | 142.61 | 4.93 | 333.216 | 21.58 | 875 | 100 | 14.21
2020-07-10 18:30:00 | 3.2489 | 124.1889 | 3.2722 | 192.0244 | 3.5178 | 121.4578 | 3.4889 | 193.0067 | 21.6667 | 875 | 100 | 8.966
2020-07-10 18:45:00 | 1.823 | 183.7 | 1.805 | 48.87 | 2.269 | 179.66 | 2.108 | 49.12 | 21.71 | 875 | 100 | 4.534
2020-07-10 19:00:00 | 1.43 | 100.64 | 1.452 | 164.177 | 1.943 | 98.425 | 1.836 | 165.018 | 21.65 | 875 | 100 | 5.0287
2020-07-10 19:15:00 | 2.247 | 148.74 | 2.406 | 73.341 | 2.611 | 145.789 | 2.811 | 73.714 | 21.45 | 875 | 100 | 3.3853
2020-07-10 19:30:00 | 1.651 | 132.79 | 1.778 | 132.225 | 1.97 | 129.868 | 2.116 | 132.904 | 20.63 | 875 | 100 | 1.2447
2020-07-10 19:45:00 | 1.405 | 132.27 | 1.478 | 157.292 | 1.542 | 129.869 | 1.638 | 158.094 | 20.58 | 876 | 100 | 0.644
2020-07-10 20:00:00 | 1.186 | 122.39 | 1.297 | 143.756 | 1.152 | 117.986 | 1.372 | 144.492 | 20.67 | 876 | 100 | 1.1687
2020-07-10 20:15:00 | 1.204 | 56.76 | 1.364 | 96.109 | 1.384 | 55.511 | 1.642 | 96.599 | 20.88 | 876 | 100 | 3.8673
2020-07-10 20:30:00 | 3.52 | 55.08 | 3.71 | 27.729 | 3.724 | 53.868 | 4.026 | 27.869 | 20.19 | 876 | 100 | 11.2687
2020-07-10 20:45:00 | 4.119 | 24.89 | 4.399 | 77.065 | 4.468 | 24.342 | 4.904 | 77.463 | 19.21 | 876 | 100 | 17.7273
2020-07-10 21:00:00 | 3.611 | 30.82 | 4.018 | 143.014 | 3.71 | 30.143 | 4.447 | 143.743 | 19.54 | 876 | 100 | 12.626
2020-07-10 21:15:00 | 4.225 | 177.39 | 4.61 | 295.728 | 4.761 | 173.487 | 5.338 | 297.239 | 19.66 | 876 | 100 | 17.1553
2020-07-10 21:30:00 | 5.397 | 280.76 | 5.841 | 316.432 | 6.126 | 274.584 | 6.757 | 318.05 | 19.79 | 876 | 100 | 29.6753
2020-07-10 21:45:00 | 5.502 | 181.55 | 5.992 | 325.33 | 6.109 | 177.556 | 6.866 | 326.994 | 19.44 | 876 | 100 | 30.412
2020-07-10 22:00:00 | 5.8567 | 344.98 | 6.284 | 330.9207 | 6.484 | 337.39 | 7.1133 | 332.6147 | 19.7 | 876 | 100 | 33.506
2020-07-10 22:15:00 | 6.0047 | 338.2667 | 6.6027 | 325.074 | 6.494 | 330.8253 | 7.4847 | 326.7353 | 19.86 | 876 | 100 | 29.21
2020-07-10 22:30:00 | 5.902 | 332.92 | 6.366 | 316.032 | 6.576 | 325.596 | 7.26 | 317.648 | 19.82 | 876 | 100 | 32.1033
2020-07-10 22:45:00 | 6.294 | 335.34 | 6.814 | 312.628 | 6.776 | 327.962 | 7.618 | 314.224 | 19.78 | 876 | 100 | 35.692
2020-07-10 23:00:00 | 6.851 | 327.73 | 7.459 | 316.529 | 7.61 | 321.078 | 8.551 | 318.148 | 19.85 | 876 | 100 | 41.1093
2020-07-10 23:15:00 | 6.11 | 335.52 | 6.53 | 280.724 | 6.697 | 328.137 | 7.326 | 282.161 | 19.76 | 876 | 100 | 36.5807
2020-07-10 23:30:00 | 4.419 | 307.85 | 4.651 | 320.726 | 4.785 | 301.077 | 5.12 | 322.364 | 19.79 | 876 | 100 | 24.62
2020-07-10 23:45:00 | 4.765 | 307.93 | 4.847 | 326.025 | 4.648 | 301.155 | 4.846 | 327.692 | 19.66 | 876 | 100 | 23.2573