## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-11 00:00:00 | 4.786 | 346.71 | 5.154 | 327.121 | 4.612 | 339.081 | 5.362 | 328.794 | 19.63 | 876 | 100 | 27.428
2020-07-11 00:15:00 | 5.716 | 341.29 | 6.181 | 297.009 | 6.277 | 333.78 | 6.994 | 298.526 | 19.69 | 876 | 100 | 32.8453
2020-07-11 00:30:00 | 5.84 | 340.48 | 6.274 | 319.259 | 6.438 | 332.989 | 7.091 | 320.891 | 19.65 | 876 | 100 | 36.082
2020-07-11 00:45:00 | 6.7373 | 340.0067 | 7.1913 | 323.92 | 7.588 | 332.5253 | 8.2007 | 325.576 | 19.6267 | 875.4 | 100 | 40.9493
2020-07-11 01:00:00 | 6.7673 | 338.2 | 7.2967 | 324.9827 | 7.6093 | 330.76 | 8.3687 | 326.6447 | 19.62 | 875 | 100 | 42.592
2020-07-11 01:15:00 | 7.178 | 338.9 | 7.746 | 320.432 | 7.966 | 331.444 | 8.814 | 322.068 | 19.68 | 875 | 100 | 41.3507
2020-07-11 01:30:00 | 6.927 | 339.45 | 7.512 | 324.46 | 7.677 | 331.983 | 8.565 | 326.121 | 19.74 | 875 | 100 | 41.024
2020-07-11 01:45:00 | 7.04 | 343.2 | 7.596 | 319.159 | 7.836 | 335.65 | 8.675 | 320.793 | 19.72 | 875 | 100 | 38.9467
2020-07-11 02:00:00 | 6.489 | 341.93 | 7.055 | 326.72 | 7.168 | 334.406 | 8.046 | 328.391 | 19.7 | 875 | 100 | 35.7873
2020-07-11 02:15:00 | 6.8093 | 342.2 | 7.4433 | 321.488 | 7.516 | 334.6713 | 8.5113 | 323.1327 | 19.6733 | 875 | 100 | 37.1573
2020-07-11 02:30:00 | 6.824 | 343.44 | 7.39 | 322.154 | 7.546 | 335.886 | 8.406 | 323.802 | 19.6 | 874.2 | 100 | 34.84
2020-07-11 02:45:00 | 6.283 | 336.68 | 6.757 | 318.876 | 7.096 | 328.071 | 7.772 | 320.508 | 19.59 | 874.6 | 100 | 34.358
2020-07-11 03:00:00 | 6.546 | 335.87 | 7.063 | 321.967 | 7.365 | 328.481 | 8.105 | 323.615 | 19.6 | 874 | 100 | 35.2287
2020-07-11 03:15:00 | 6.132 | 333.04 | 6.8 | 315.638 | 7.06 | 325.714 | 8.058 | 317.252 | 19.56 | 874 | 100 | 36.5127
2020-07-11 03:30:00 | 6.673 | 329.77 | 7.187 | 309.626 | 7.404 | 322.514 | 8.166 | 311.21 | 19.44 | 874 | 100 | 36.6893
2020-07-11 03:45:00 | 6.399 | 331.07 | 6.893 | 310.281 | 7.061 | 323.786 | 7.808 | 311.867 | 19.37 | 874 | 100 | 32.7387
2020-07-11 04:00:00 | 5.946 | 329.74 | 6.374 | 317.997 | 6.703 | 322.487 | 7.299 | 319.622 | 19.27 | 874 | 100 | 29.412
2020-07-11 04:15:00 | 6.8693 | 336.62 | 7.4087 | 298.7533 | 7.6227 | 327.9493 | 8.4227 | 300.2807 | 19.2333 | 874 | 100 | 37.5873
2020-07-11 04:30:00 | 7.184 | 332.24 | 7.79 | 319.494 | 8.046 | 324.928 | 8.952 | 321.124 | 19.24 | 874 | 100 | 41.498
2020-07-11 04:45:00 | 6.839 | 334.59 | 7.51 | 316.88 | 7.744 | 327.23 | 8.752 | 318.501 | 19.2 | 873 | 100 | 41.054
2020-07-11 05:00:00 | 6.456 | 333.29 | 7.081 | 313.009 | 7.421 | 325.957 | 8.331 | 314.609 | 19.19 | 873 | 100 | 39.186
2020-07-11 05:15:00 | 6.459 | 338.85 | 7.026 | 316.345 | 7.237 | 331.396 | 8.087 | 317.961 | 19.15 | 873 | 100 | 40.328
2020-07-11 05:30:00 | 6.715 | 333.37 | 7.293 | 317.42 | 7.477 | 326.035 | 8.353 | 319.042 | 19.11 | 873 | 100 | 41.5533
2020-07-11 05:45:00 | 6.816 | 330.92 | 7.41 | 318.866 | 7.604 | 323.639 | 8.502 | 320.498 | 19.17 | 873 | 100 | 43.5767
2020-07-11 06:00:00 | 7.124 | 332.77 | 7.678 | 318.964 | 7.814 | 324.666 | 8.668 | 320.595 | 19.17 | 873 | 100 | 44.018
2020-07-11 06:15:00 | 7.3079 | 336.3071 | 7.8921 | 320.4357 | 8.2443 | 328.9086 | 9.0843 | 322.0729 | 19.2071 | 873 | 100 | 44.1613
2020-07-11 06:30:00 | 7.3347 | 333.6533 | 7.9753 | 314.6747 | 8.4127 | 326.3133 | 9.316 | 316.2827 | 19.2 | 873 | 100 | 45.006
2020-07-11 06:45:00 | 7.224 | 334.16 | 7.87 | 318.864 | 8.234 | 326.806 | 9.164 | 320.498 | 19.2 | 873 | 100 | 46.4647
2020-07-11 07:00:00 | 7.554 | 336.01 | 8.216 | 320.52 | 8.49 | 328.619 | 9.476 | 322.159 | 19.2 | 873 | 100 | 47.6167
2020-07-11 07:15:00 | 7.549 | 341.88 | 8.141 | 326.203 | 8.138 | 334.358 | 9.095 | 327.871 | 19.2 | 873 | 100 | 46.7087
2020-07-11 07:30:00 | 7.701 | 338.27 | 8.26 | 322.809 | 8.474 | 330.829 | 9.305 | 324.46 | 19.2 | 873 | 100 | 47.0673
2020-07-11 07:45:00 | 7.372 | 334.69 | 7.984 | 319.493 | 8.058 | 327.326 | 9.015 | 321.126 | 19.11 | 873 | 100 | 50.29
2020-07-11 08:00:00 | 7.308 | 331.82 | 7.883 | 322.005 | 7.919 | 324.52 | 8.837 | 323.653 | 19.06 | 873 | 100 | 50.024
2020-07-11 08:15:00 | 7.3229 | 333.5286 | 7.9536 | 318.1079 | 7.9143 | 327.0143 | 8.9429 | 319.735 | 19.0071 | 873.5714 | 100 | 48.998
2020-07-11 08:30:00 | 7.508 | 336.1133 | 8.0887 | 320.8953 | 8.0973 | 328.7193 | 9.0273 | 322.536 | 18.86 | 874 | 100 | 49.7427
2020-07-11 08:45:00 | 7.6893 | 337.18 | 8.2667 | 321.7287 | 8.236 | 329.762 | 9.172 | 323.3753 | 18.7933 | 874 | 100 | 49.5707
2020-07-11 09:00:00 | 7.458 | 343.96 | 8.124 | 323.368 | 8.104 | 336.394 | 9.182 | 325.018 | 18.8 | 874 | 100 | 49.2667
2020-07-11 09:15:00 | 7.465 | 338.17 | 8.071 | 318.574 | 7.998 | 330.731 | 8.996 | 320.202 | 18.95 | 874 | 100 | 48.9553
2020-07-11 09:30:00 | 7.516 | 342.24 | 8.123 | 320.364 | 8.203 | 334.711 | 9.155 | 322.002 | 18.82 | 874 | 100 | 48.6773
2020-07-11 09:45:00 | 6.994 | 336.59 | 7.634 | 315.669 | 7.622 | 329.184 | 8.658 | 317.282 | 18.88 | 874 | 100 | 48.506
2020-07-11 10:00:00 | 7.36 | 338.82 | 7.93 | 322.388 | 7.76 | 331.368 | 8.724 | 324.036 | 18.94 | 874 | 100 | 49.824
2020-07-11 10:15:00 | 7.7 | 333.74 | 8.268 | 323.794 | 8.166 | 326.396 | 9.11 | 325.454 | 18.9 | 874 | 100 | 48.5493
2020-07-11 10:30:00 | 7.4144 | 334.2111 | 7.9689 | 320.6422 | 8.2689 | 326.8578 | 9.0711 | 322.2833 | 19.0333 | 874 | 100 | 48.1853
2020-07-11 10:45:00 | 7.397 | 335.34 | 8.042 | 319.866 | 8.224 | 327.963 | 9.21 | 321.5 | 19.04 | 874 | 100 | 47.1953
2020-07-11 11:00:00 | 7.41 | 337.21 | 7.964 | 323.424 | 8.23 | 330.155 | 9.047 | 325.078 | 19.11 | 874 | 100 | 46.5813
2020-07-11 11:15:00 | 7.447 | 333.91 | 7.985 | 323.61 | 8.222 | 326.564 | 9.01 | 325.265 | 19.06 | 874 | 100 | 45.5453
2020-07-11 11:30:00 | 7.306 | 336.76 | 7.775 | 322.426 | 8.133 | 329.353 | 8.785 | 324.076 | 18.95 | 874 | 100 | 44.7427
2020-07-11 11:45:00 | 7.179 | 335.16 | 7.599 | 322.505 | 7.946 | 327.787 | 8.519 | 324.154 | 18.98 | 874 | 100 | 48.046
2020-07-11 12:00:00 | 7.486 | 335.19 | 7.952 | 324.324 | 8.267 | 327.815 | 8.926 | 325.984 | 18.89 | 874 | 100 | 49.7073
2020-07-11 12:15:00 | 7.808 | 295.6533 | 8.31 | 326.1107 | 8.7687 | 289.1487 | 9.442 | 327.778 | 18.8467 | 874 | 100 | 50.8453
2020-07-11 12:30:00 | 7.8 | 346.08 | 8.364 | 328.158 | 8.594 | 338.468 | 9.434 | 329.836 | 18.84 | 874 | 100 | 51.608
2020-07-11 12:45:00 | 8.0533 | 339.9222 | 8.59 | 328.1078 | 8.9244 | 332.4433 | 9.6911 | 329.7844 | 18.6222 | 874 | 100 | 53.764
2020-07-11 13:00:00 | 8.082 | 340.93 | 8.623 | 324.775 | 8.901 | 333.839 | 9.668 | 326.436 | 18.57 | 874 | 100 | 53.8007
2020-07-11 13:15:00 | 8.06 | 341.41 | 8.64 | 328.324 | 8.816 | 333.899 | 9.699 | 330.003 | 18.55 | 874 | 100 | 53.5847
2020-07-11 13:30:00 | 8.109 | 342.44 | 8.72 | 327.649 | 8.848 | 334.906 | 9.795 | 329.324 | 18.44 | 874 | 100 | 53.5947
2020-07-11 13:45:00 | 7.817 | 279.9 | 8.343 | 328.92 | 8.578 | 273.742 | 9.36 | 330.602 | 18.44 | 874 | 100 | 53.684
2020-07-11 14:00:00 | 7.881 | 340.87 | 8.487 | 324.275 | 8.554 | 333.371 | 9.516 | 325.931 | 18.51 | 874 | 100 | 53.8447
2020-07-11 14:15:00 | 8.255 | 341.85 | 8.84 | 324.256 | 9.061 | 334.329 | 9.937 | 325.913 | 18.4 | 874 | 100 | 53.898
2020-07-11 14:30:00 | 8.554 | 339.7133 | 9.1653 | 325.1193 | 9.2807 | 332.24 | 10.2313 | 326.7813 | 18.5867 | 874 | 100 | 53.752
2020-07-11 14:45:00 | 8.4027 | 343.7467 | 8.9713 | 327.1407 | 9.2347 | 336.1833 | 10.0727 | 328.812 | 18.9267 | 874 | 100 | 54.242
2020-07-11 15:00:00 | 8.636 | 339.8 | 9.226 | 324.834 | 9.592 | 332.324 | 10.438 | 326.494 | 19.04 | 874 | 100 | 55.7147
2020-07-11 15:15:00 | 8.644 | 346.33 | 9.325 | 333.038 | 9.599 | 338.711 | 10.61 | 334.74 | 18.99 | 874 | 100 | 56.222
2020-07-11 15:30:00 | 8.435 | 308.81 | 9.068 | 328.304 | 9.551 | 302.016 | 10.437 | 329.982 | 19.03 | 874 | 100 | 56.0333
2020-07-11 15:45:00 | 8.099 | 308.99 | 8.798 | 331.387 | 8.954 | 302.191 | 10.031 | 333.079 | 19.02 | 874 | 100 | 57.444
2020-07-11 16:00:00 | 8.678 | 341.39 | 9.269 | 325.899 | 9.517 | 334.564 | 10.411 | 327.565 | 19.15 | 874 | 100 | 56.3473
2020-07-11 16:15:00 | 7.864 | 343.28 | 8.356 | 324.441 | 8.74 | 335.727 | 9.423 | 326.1 | 19.33 | 874 | 100 | 56.8087
2020-07-11 16:30:00 | 8.101 | 313.39 | 8.587 | 326.446 | 8.967 | 306.495 | 9.636 | 328.116 | 19.71 | 874 | 100 | 57.32
2020-07-11 16:45:00 | 8.521 | 244.35 | 8.965 | 328.952 | 9.147 | 238.976 | 9.811 | 330.634 | 19.93 | 874 | 100 | 58.028
2020-07-11 17:00:00 | 8.6353 | 318.7067 | 9.0007 | 325.262 | 9.3993 | 311.6953 | 9.8753 | 326.9247 | 20.14 | 874.9333 | 97.1267 | 58.3033
2020-07-11 17:15:00 | 8.6013 | 254.46 | 9.0487 | 330.238 | 9.5327 | 248.8613 | 10.114 | 331.926 | 20.2333 | 875 | 95.5333 | 57.7447
2020-07-11 17:30:00 | 8.1573 | 255.36 | 8.6567 | 331.6973 | 9.2593 | 250.414 | 9.8673 | 333.396 | 20.2667 | 875 | 94.6267 | 55.79
2020-07-11 17:45:00 | 7.7473 | 323.0067 | 8.104 | 329.736 | 8.6293 | 316.676 | 9.0213 | 331.4213 | 20.2133 | 875 | 94.14 | 55.0853
2020-07-11 18:00:00 | 7.446 | 274.26 | 7.66 | 332.15 | 8.14 | 268.07 | 8.328 | 333.846 | 20.28 | 875 | 92.84 | 54.5913
2020-07-11 18:15:00 | 7.396 | 344.68 | 7.772 | 329.174 | 8.422 | 337.098 | 8.83 | 330.858 | 20.16 | 875 | 93.5 | 52.7887
2020-07-11 18:30:00 | 7.108 | 281.66 | 7.344 | 324.48 | 7.388 | 275.464 | 7.754 | 326.138 | 20.14 | 875 | 94.68 | 55.4367
2020-07-11 18:45:00 | 7.618 | 282.28 | 7.908 | 328.178 | 8.29 | 276.072 | 8.646 | 329.856 | 20.02 | 875 | 95.62 | 53.2853
2020-07-11 19:00:00 | 7.038 | 247.33 | 7.341 | 339.17 | 7.94 | 241.889 | 8.258 | 340.904 | 20.03 | 875 | 96.17 | 49.8473
2020-07-11 19:15:00 | 7.24 | 303.8 | 7.566 | 327.825 | 7.934 | 297.115 | 8.353 | 329.501 | 19.99 | 875 | 95 | 53.7633
2020-07-11 19:30:00 | 8.314 | 313.16 | 8.727 | 329.988 | 9.155 | 306.27 | 9.703 | 331.673 | 20.15 | 875 | 94.08 | 58.4193
2020-07-11 19:45:00 | 7.862 | 311.77 | 8.179 | 323.592 | 8.537 | 304.911 | 8.944 | 325.246 | 20.15 | 875 | 95.12 | 56.9847
2020-07-11 20:00:00 | 6.942 | 312.68 | 7.198 | 325.342 | 7.587 | 305.801 | 7.885 | 327.005 | 20.05 | 875.9 | 96.29 | 55.3293
2020-07-11 20:15:00 | 6.281 | 303.99 | 6.5 | 330.399 | 6.568 | 297.303 | 6.905 | 332.087 | 19.94 | 876 | 95.47 | 52.8393
2020-07-11 20:30:00 | 7.169 | 336 | 7.43 | 326.084 | 7.571 | 328.609 | 7.951 | 327.752 | 19.92 | 876 | 95.35 | 53.6353
2020-07-11 20:45:00 | 6.875 | 336.45 | 7.187 | 329.331 | 7.527 | 329.047 | 7.935 | 331.016 | 19.88 | 876 | 94.64 | 53.0213
2020-07-11 21:00:00 | 7.339 | 277.67 | 7.635 | 330.583 | 8.262 | 271.561 | 8.557 | 332.272 | 19.97 | 876 | 94.3 | 54.4073
2020-07-11 21:15:00 | 7.222 | 273.98 | 7.69 | 268.656 | 8.204 | 267.95 | 8.794 | 270.03 | 19.96 | 876 | 94.4 | 54.4427
2020-07-11 21:30:00 | 6.846 | 281.3 | 7.308 | 331.796 | 7.76 | 275.112 | 8.366 | 333.492 | 19.78 | 876 | 94.92 | 55.046
2020-07-11 21:45:00 | 7.552 | 340.56 | 8.135 | 326.506 | 8.357 | 333.068 | 9.23 | 328.176 | 19.91 | 876 | 94.18 | 55.626
2020-07-11 22:00:00 | 7.814 | 308.06 | 8.336 | 328.393 | 8.708 | 301.282 | 9.443 | 330.073 | 19.99 | 876 | 94.65 | 54.5247
2020-07-11 22:15:00 | 7.84 | 337.6 | 8.26 | 331.171 | 8.541 | 330.173 | 9.136 | 332.865 | 20.18 | 877 | 95.6 | 56.3667
2020-07-11 22:30:00 | 7.669 | 345.09 | 8.235 | 332.119 | 8.716 | 337.499 | 9.489 | 333.817 | 19.86 | 877 | 95.59 | 53.7387
2020-07-11 22:45:00 | 6.923 | 308.48 | 7.373 | 327.885 | 7.864 | 301.694 | 8.448 | 329.562 | 19.75 | 877 | 95.56 | 52.162
2020-07-11 23:00:00 | 7.168 | 279.9 | 7.66 | 330.231 | 8.169 | 273.743 | 8.813 | 331.921 | 19.88 | 877 | 95.82 | 54.528
2020-07-11 23:15:00 | 6.462 | 276.53 | 6.949 | 297.957 | 7.5 | 270.446 | 8.128 | 299.481 | 19.82 | 877 | 95.95 | 54.014
2020-07-11 23:30:00 | 6.473 | 277.72 | 6.999 | 333.518 | 7.769 | 271.611 | 8.387 | 335.223 | 19.75 | 877 | 95.2 | 54.5407
2020-07-11 23:45:00 | 7.1629 | 300.6286 | 7.6707 | 286.3843 | 8.4171 | 294.015 | 9.015 | 287.85 | 19.8214 | 877 | 95.5 | 56.038