## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-12 00:00:00 | 7.0133 | 258.82 | 7.388 | 313.8793 | 7.9207 | 253.126 | 8.368 | 315.4833 | 19.8467 | 877 | 95.84 | 54.166
2020-07-12 00:15:00 | 6.401 | 211.86 | 6.719 | 337.244 | 7.211 | 207.199 | 7.58 | 338.967 | 19.68 | 877 | 96.42 | 53.184
2020-07-12 00:30:00 | 6.182 | 242.83 | 6.547 | 330.858 | 6.922 | 238.183 | 7.413 | 332.55 | 19.57 | 877 | 96.85 | 53.2453
2020-07-12 00:45:00 | 6.353 | 314.42 | 6.709 | 331.914 | 7.173 | 307.502 | 7.614 | 333.611 | 19.6 | 877 | 97.3 | 53.5853
2020-07-12 01:00:00 | 6.683 | 279.94 | 6.945 | 304.89 | 7.509 | 273.779 | 7.769 | 306.451 | 19.73 | 877 | 97.49 | 55.5253
2020-07-12 01:15:00 | 7.562 | 212.5 | 7.877 | 275.327 | 8.23 | 207.824 | 8.639 | 276.733 | 20 | 877 | 98.08 | 57.614
2020-07-12 01:30:00 | 6.5647 | 323.6733 | 6.8813 | 290.1527 | 7.3867 | 294.3907 | 7.75 | 291.6353 | 19.8133 | 877 | 98.3667 | 54.292
2020-07-12 01:45:00 | 6.274 | 273.4 | 6.444 | 338.25 | 6.79 | 267.384 | 6.958 | 339.98 | 19.82 | 877 | 97.42 | 53.4213
2020-07-12 02:00:00 | 6.862 | 305.09 | 7.189 | 302.906 | 7.545 | 298.377 | 7.969 | 304.454 | 20.03 | 877 | 96.03 | 56.9007
2020-07-12 02:15:00 | 6.955 | 341.51 | 7.259 | 302.446 | 7.736 | 333.998 | 8.09 | 303.993 | 19.96 | 877 | 95.82 | 57.0073
2020-07-12 02:30:00 | 6.8647 | 321.3467 | 7.1587 | 293.068 | 7.636 | 314.2767 | 7.9773 | 294.5653 | 20.1133 | 877 | 95.2267 | 56.4173
2020-07-12 02:45:00 | 7.092 | 277.84 | 7.368 | 339.278 | 7.823 | 271.726 | 8.131 | 341.013 | 20.06 | 877 | 94.91 | 56.226
2020-07-12 03:00:00 | 7.032 | 244.13 | 7.319 | 304.931 | 7.601 | 238.759 | 7.984 | 306.491 | 19.98 | 877 | 95.83 | 56.1793
2020-07-12 03:15:00 | 6.948 | 347.88 | 7.294 | 268.676 | 7.498 | 340.226 | 7.998 | 270.052 | 19.96 | 877 | 96.58 | 55.9787
2020-07-12 03:30:00 | 6.705 | 239.32 | 7.013 | 296.501 | 7.424 | 234.055 | 7.805 | 298.016 | 19.83 | 877 | 97.1 | 55.766
2020-07-12 03:45:00 | 6.644 | 277.06 | 6.995 | 331.541 | 7.594 | 270.965 | 7.985 | 333.238 | 19.89 | 877 | 95.42 | 56.0253
2020-07-12 04:00:00 | 7.483 | 317.8 | 7.852 | 239.776 | 8.319 | 310.807 | 8.78 | 241.003 | 20.24 | 877 | 94.5 | 57.18
2020-07-12 04:15:00 | 6.964 | 348.45 | 7.44 | 303.365 | 7.934 | 340.783 | 8.555 | 304.916 | 20.03 | 877 | 95.23 | 57.122
2020-07-12 04:30:00 | 7.782 | 278.26 | 8.094 | 333.42 | 8.44 | 272.138 | 8.834 | 335.122 | 20.34 | 877 | 94.46 | 56.5287
2020-07-12 04:45:00 | 6.7833 | 301.1133 | 7.0793 | 335.8973 | 7.608 | 294.4887 | 7.9347 | 337.614 | 19.9467 | 877 | 93.3333 | 55.0613
2020-07-12 05:00:00 | 6.718 | 307.6267 | 6.9347 | 336.8033 | 7.5027 | 300.8593 | 7.6873 | 338.5253 | 19.9933 | 877.6667 | 92.9867 | 52.542
2020-07-12 05:15:00 | 6.46 | 212.4133 | 6.7827 | 309.7467 | 7.3927 | 207.7387 | 7.718 | 311.3293 | 19.8733 | 877 | 93.3733 | 49.7487
2020-07-12 05:30:00 | 6.724 | 277.1 | 6.98 | 328.626 | 7.314 | 272.608 | 7.636 | 330.306 | 20.04 | 877.8 | 92.9 | 51.142
2020-07-12 05:45:00 | 6.723 | 311.42 | 7.041 | 331.444 | 7.587 | 304.568 | 7.944 | 333.139 | 20.11 | 878 | 91.91 | 53.7247
2020-07-12 06:00:00 | 7.359 | 276.74 | 7.752 | 330.221 | 8.17 | 270.652 | 8.679 | 331.91 | 20.19 | 878 | 90.29 | 54.6073
2020-07-12 06:15:00 | 6.8867 | 301.04 | 7.2287 | 328.6793 | 7.8753 | 294.4173 | 8.2433 | 330.3593 | 20.1467 | 878 | 90.8067 | 52.7167
2020-07-12 06:30:00 | 6.708 | 212.34 | 7.05 | 338.31 | 7.9 | 207.668 | 8.21 | 340.04 | 20.06 | 878 | 90.98 | 52.566
2020-07-12 06:45:00 | 6.356 | 142.72 | 6.512 | 336.902 | 7.36 | 139.578 | 7.368 | 338.624 | 20.08 | 878 | 90.82 | 52.2813
2020-07-12 07:00:00 | 6.6567 | 238.1889 | 6.94 | 297.4978 | 7.5689 | 232.9478 | 7.8467 | 299.0167 | 20.3111 | 878 | 89.4444 | 52.0447
2020-07-12 07:15:00 | 6.645 | 311.77 | 6.935 | 305.076 | 7.615 | 304.912 | 7.885 | 306.636 | 20.54 | 878 | 87.9 | 53.2953
2020-07-12 07:30:00 | 6.908 | 247.55 | 7.178 | 339.141 | 7.658 | 242.104 | 7.956 | 340.875 | 20.63 | 878.9 | 84.96 | 53.1807
2020-07-12 07:45:00 | 6.639 | 279.91 | 6.896 | 302.702 | 7.549 | 273.754 | 7.769 | 304.248 | 20.93 | 879.4 | 83.02 | 52.3447
2020-07-12 08:00:00 | 6.488 | 174.38 | 6.807 | 272.557 | 7.493 | 170.544 | 7.809 | 273.954 | 21.09 | 880 | 82.87 | 51.7547
2020-07-12 08:15:00 | 6.648 | 246.73 | 7.01 | 272.462 | 7.535 | 241.301 | 7.968 | 273.853 | 21.23 | 880 | 81.68 | 53.076
2020-07-12 08:30:00 | 6.6127 | 188.94 | 6.9827 | 293.6407 | 7.7033 | 185.5653 | 8.0947 | 295.142 | 21.1533 | 880.6667 | 80.346 | 54.578
2020-07-12 08:45:00 | 6.838 | 210.5 | 7.362 | 340.598 | 7.858 | 206.768 | 8.634 | 342.34 | 21.18 | 880 | 82.88 | 51.146
2020-07-12 09:00:00 | 6.7789 | 275.8222 | 7.2667 | 329.4233 | 7.8 | 269.7556 | 8.4256 | 331.1078 | 21.6333 | 881 | 80.4778 | 50.3927
2020-07-12 09:15:00 | 6.936 | 248.76 | 7.512 | 334.016 | 8.146 | 243.287 | 8.887 | 335.725 | 21.89 | 881 | 77.888 | 52.0733
2020-07-12 09:30:00 | 6.845 | 181.08 | 7.256 | 302.241 | 7.909 | 177.095 | 8.384 | 303.787 | 22.11 | 881 | 76.913 | 52.2667
2020-07-12 09:45:00 | 6.849 | 285.11 | 7.366 | 305.83 | 8.149 | 278.837 | 8.755 | 307.392 | 22.75 | 881 | 75.185 | 53.476
2020-07-12 10:00:00 | 7.16 | 185.55 | 7.614 | 306.896 | 8.334 | 181.469 | 8.857 | 308.465 | 23.13 | 881 | 71.942 | 50.6447
2020-07-12 10:15:00 | 6.731 | 246.3 | 7.09 | 207.295 | 7.744 | 240.207 | 8.136 | 208.358 | 23.26 | 881.6 | 71.226 | 49.828
2020-07-12 10:30:00 | 6.666 | 147.3133 | 7.0833 | 251.1833 | 7.71 | 144.0727 | 8.1973 | 252.468 | 23.6067 | 881.9333 | 69.5633 | 46.4133
2020-07-12 10:45:00 | 6.1613 | 147.62 | 6.638 | 276.8567 | 7.286 | 144.372 | 7.8607 | 278.2733 | 24.0333 | 882 | 68.4447 | 43.358
2020-07-12 11:00:00 | 6.052 | 210.16 | 6.476 | 273.412 | 7.072 | 205.536 | 7.582 | 274.808 | 24.28 | 882 | 66.972 | 40.314
2020-07-12 11:15:00 | 5.172 | 179.64 | 5.618 | 171.229 | 6.44 | 175.687 | 6.916 | 172.103 | 24.85 | 882 | 66.112 | 36.1973
2020-07-12 11:30:00 | 4.838 | 126.27 | 5.14 | 208.647 | 5.555 | 123.492 | 5.925 | 209.713 | 25 | 882 | 64.737 | 29.912
2020-07-12 11:45:00 | 5.053 | 210.65 | 5.471 | 212.696 | 5.98 | 207.041 | 6.518 | 213.783 | 25.33 | 881.6 | 64.132 | 27.9127
2020-07-12 12:00:00 | 4.525 | 113.04 | 4.85 | 147.111 | 5.365 | 110.554 | 5.74 | 147.863 | 25.66 | 881 | 62.178 | 23.3273
2020-07-12 12:15:00 | 4.721 | 145.87 | 5.045 | 145.723 | 5.724 | 142.662 | 6.05 | 146.468 | 25.96 | 881 | 62.119 | 21.5167
2020-07-12 12:30:00 | 4.978 | 144.6 | 5.28 | 140.676 | 5.591 | 174.289 | 5.977 | 141.394 | 26.13 | 881 | 61.29 | 23.0167
2020-07-12 12:45:00 | 4.5943 | 156.9929 | 4.9129 | 196.8086 | 5.295 | 153.5393 | 5.6986 | 197.815 | 26.5429 | 881 | 61.065 | 23.598
2020-07-12 13:00:00 | 4.1479 | 181.8571 | 4.3436 | 250.6686 | 4.7057 | 176.8229 | 4.9164 | 251.9507 | 26.8429 | 881 | 60.2786 | 21.188
2020-07-12 13:15:00 | 4.852 | 322.6 | 5.0893 | 271.9627 | 5.466 | 315.5033 | 5.7393 | 273.352 | 26.96 | 881 | 60.5147 | 21.0447
2020-07-12 13:30:00 | 4.5 | 285.72 | 4.91 | 276.968 | 5.242 | 279.434 | 5.806 | 278.386 | 27.28 | 881 | 59.808 | 22.7727
2020-07-12 13:45:00 | 4.481 | 280.56 | 4.817 | 210.554 | 5.193 | 274.387 | 5.625 | 211.632 | 27.4 | 881 | 58.421 | 22.104
2020-07-12 14:00:00 | 4.641 | 154.18 | 4.839 | 175.179 | 5.093 | 150.788 | 5.339 | 176.076 | 27.58 | 881 | 58.692 | 23.336
2020-07-12 14:15:00 | 4.266 | 277.8 | 4.48 | 79.083 | 4.999 | 271.19 | 5.197 | 79.485 | 27.69 | 881 | 56.696 | 20.4793
2020-07-12 14:30:00 | 4.354 | 272.02 | 4.606 | 110.904 | 5.11 | 266.035 | 5.37 | 111.473 | 27.9 | 881 | 58.079 | 22.674
2020-07-12 14:45:00 | 4.2293 | 249 | 4.3864 | 176.4936 | 4.8614 | 243.5221 | 4.9814 | 177.3964 | 27.9643 | 881 | 57.06 | 20.6293
2020-07-12 15:00:00 | 3.9933 | 212.1 | 4.0493 | 269.294 | 4.4067 | 207.434 | 4.396 | 270.6713 | 28.1467 | 881 | 56.5133 | 19.7753
2020-07-12 15:15:00 | 3.9927 | 150.5533 | 4.024 | 211.3967 | 4.5267 | 150.248 | 4.4293 | 212.4773 | 28.2267 | 881 | 56.6633 | 22.63
2020-07-12 15:30:00 | 4.146 | 149.9733 | 4.288 | 249.9047 | 4.692 | 146.674 | 4.804 | 251.184 | 28.4067 | 881 | 55.86 | 22.584
2020-07-12 15:45:00 | 4.366 | 218.52 | 4.566 | 234.956 | 4.912 | 213.714 | 5.132 | 236.156 | 28.46 | 881 | 55.496 | 22.4213
2020-07-12 16:00:00 | 4.682 | 180.77 | 4.901 | 179.669 | 5.095 | 176.793 | 5.396 | 180.586 | 28.47 | 881 | 56.194 | 20.6947
2020-07-12 16:15:00 | 4.628 | 119.83 | 4.876 | 42.171 | 5.137 | 117.192 | 5.461 | 42.386 | 28.42 | 881 | 56.983 | 23.0987
2020-07-12 16:30:00 | 4.144 | 155.89 | 4.398 | 42.153 | 4.765 | 152.461 | 5.069 | 42.368 | 28.57 | 881 | 56.494 | 18.1033
2020-07-12 16:45:00 | 4.733 | 253.15 | 4.966 | 46.63 | 5.382 | 247.582 | 5.637 | 46.868 | 28.52 | 881 | 56.856 | 17.1707
2020-07-12 17:00:00 | 3.527 | 276.29 | 3.611 | 210.848 | 3.822 | 270.212 | 3.896 | 211.924 | 28.62 | 881 | 57.826 | 8.336
2020-07-12 17:15:00 | 2.738 | 111.29 | 2.923 | 238.631 | 2.93 | 108.842 | 3.225 | 239.852 | 28.89 | 881.6 | 57.382 | 6.9427
2020-07-12 17:30:00 | 2.736 | 49.42 | 2.839 | 133.899 | 3.25 | 48.334 | 3.296 | 134.584 | 28.78 | 881 | 58.248 | 8.2733
2020-07-12 17:45:00 | 3.104 | 178.38 | 3.199 | 76.284 | 3.34 | 174.457 | 3.453 | 76.674 | 28.75 | 881 | 59.141 | 4.966
2020-07-12 18:00:00 | 2.687 | 201.4 | 2.783 | 110.856 | 3.121 | 196.97 | 3.184 | 111.423 | 28.72 | 881.9 | 60.559 | 4.2547
2020-07-12 18:15:00 | 2.6627 | 113.3067 | 2.736 | 123.072 | 2.9547 | 110.8147 | 3.0133 | 123.7007 | 28.7333 | 882 | 61.0093 | 4.516
2020-07-12 18:30:00 | 2.8867 | 49.0067 | 3.064 | 78.24 | 2.9993 | 47.9293 | 3.3013 | 78.6387 | 28.5 | 882 | 61.828 | 4.586
2020-07-12 18:45:00 | 2.498 | 76.18 | 2.59 | 81.584 | 2.576 | 74.504 | 2.73 | 82.002 | 28.42 | 882 | 62.854 | 4.2313
2020-07-12 19:00:00 | 3.221 | 49.54 | 3.385 | 12.86 | 3.464 | 48.451 | 3.705 | 12.927 | 28.43 | 882 | 62.188 | 4.6367
2020-07-12 19:15:00 | 3.048 | 88.7 | 3.202 | 44.186 | 3.181 | 85.888 | 3.44 | 44.412 | 28.38 | 882 | 62.524 | 5.0413
2020-07-12 19:30:00 | 3.311 | 176.68 | 3.464 | 208.216 | 3.537 | 172.794 | 3.762 | 209.282 | 28.29 | 882 | 62.185 | 5.382
2020-07-12 19:45:00 | 3.33 | 246.66 | 3.568 | 323.395 | 3.625 | 241.233 | 3.994 | 325.05 | 27.96 | 881 | 64.673 | 5.6733
2020-07-12 20:00:00 | 3.419 | 343.8 | 3.711 | 324.002 | 3.799 | 336.236 | 4.243 | 325.659 | 27.72 | 881 | 66.375 | 7.256
2020-07-12 20:15:00 | 3.78 | 341.02 | 4.048 | 328.53 | 4.3 | 333.517 | 4.662 | 330.208 | 27.58 | 881 | 68.68 | 9.1247
2020-07-12 20:30:00 | 3.634 | 344.93 | 3.934 | 327.396 | 4.015 | 337.586 | 4.484 | 329.069 | 27.48 | 881 | 70.58 | 8.878
2020-07-12 20:45:00 | 3.876 | 341.0133 | 4.1673 | 323.9193 | 4.2773 | 333.512 | 4.7147 | 325.576 | 27.38 | 880.4 | 71.0793 | 9.4747
2020-07-12 21:00:00 | 3.776 | 348.06 | 4.022 | 327.534 | 4.184 | 340.402 | 4.532 | 329.206 | 27.18 | 880 | 70.088 | 8.3107
2020-07-12 21:15:00 | 3.458 | 352.68 | 3.738 | 337.45 | 3.862 | 345.9 | 4.272 | 339.176 | 27.06 | 880 | 71.24 | 7.3567
2020-07-12 21:30:00 | 3.425 | 320.63 | 3.678 | 340.932 | 3.876 | 313.577 | 4.228 | 342.674 | 26.96 | 880 | 69.786 | 6.8587
2020-07-12 21:45:00 | 3.315 | 214.86 | 3.565 | 337.185 | 3.838 | 210.132 | 4.16 | 338.908 | 26.72 | 880.4 | 71.826 | 6.308
2020-07-12 22:00:00 | 3.103 | 40.72 | 3.298 | 334.76 | 3.672 | 39.824 | 3.881 | 336.471 | 26.7 | 881 | 74.023 | 5.0287
2020-07-12 22:15:00 | 3.065 | 40.32 | 3.195 | 344.755 | 3.595 | 39.432 | 3.69 | 346.517 | 26.65 | 881 | 74.561 | 4.5513
2020-07-12 22:30:00 | 2.869 | 42.89 | 3.015 | 308.52 | 3.282 | 41.946 | 3.44 | 310.097 | 26.53 | 881 | 74.928 | 2.9613
2020-07-12 22:45:00 | 2.223 | 54.2 | 2.287 | 243.756 | 2.584 | 53.008 | 2.605 | 245.004 | 26.24 | 881 | 76.077 | 0.416
2020-07-12 23:00:00 | 0.989 | 123.28 | 0.933 | 35.168 | 1.008 | 120.568 | 0.902 | 35.348 | 26.76 | 881 | 75.816 | 0
2020-07-12 23:15:00 | 1.0127 | 121.0333 | 1.0473 | 102.6827 | 0.92333 | 118.3693 | 1.014 | 103.2093 | 26.8867 | 881 | 76.25 | 0
2020-07-12 23:30:00 | 1.17 | 119.8 | 1.238 | 118.142 | 1.208 | 117.166 | 1.324 | 118.746 | 26.72 | 881 | 76.318 | 0.21467
2020-07-12 23:45:00 | 1.546 | 134.4 | 1.74 | 125.77 | 1.455 | 131.443 | 1.853 | 126.413 | 26.54 | 881 | 75.538 | 0.41933