## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-13 00:00:00 | 1.337 | 140.4 | 1.505 | 136.303 | 1.405 | 137.312 | 1.702 | 137.002 | 26.25 | 881 | 76.126 | 0.42333
2020-07-13 00:15:00 | 1.406 | 150.19 | 1.398 | 154.427 | 1.389 | 146.887 | 1.384 | 155.216 | 26.15 | 881 | 78.149 | 0.28333
2020-07-13 00:30:00 | 0.98 | 141.21 | 1.098 | 127.619 | 0.896 | 138.103 | 1.148 | 128.272 | 26.12 | 881 | 80.98 | 0
2020-07-13 00:45:00 | 1.339 | 132.65 | 1.476 | 122.504 | 1.352 | 129.731 | 1.611 | 123.131 | 25.97 | 881 | 81.62 | 0.10533
2020-07-13 01:00:00 | 1.1807 | 140.98 | 1.3407 | 133.706 | 1.3313 | 137.8773 | 1.5893 | 134.3887 | 25.72 | 881 | 81.4933 | 0.24133
2020-07-13 01:15:00 | 1.012 | 133.66 | 1.168 | 166.944 | 1.234 | 130.718 | 1.468 | 167.798 | 25.62 | 881 | 81.52 | 0.22133
2020-07-13 01:30:00 | 1.188 | 162.54 | 1.346 | 129.094 | 1.2 | 158.964 | 1.492 | 129.756 | 25.44 | 881 | 81.72 | 0.12133
2020-07-13 01:45:00 | 0.706 | 141.01 | 0.783 | 94.915 | 0.804 | 137.908 | 0.919 | 95.4 | 25.26 | 881 | 82.64 | 0
2020-07-13 02:00:00 | 0.85 | 147.65 | 0.933 | 135.629 | 0.916 | 144.402 | 1.051 | 136.323 | 25.21 | 881 | 83.17 | 0
2020-07-13 02:15:00 | 0.908 | 136.2 | 1.042 | 145.39 | 0.886 | 133.204 | 1.15 | 146.132 | 25.14 | 881 | 84.06 | 0
2020-07-13 02:30:00 | 1.4667 | 263.7111 | 1.4356 | 228.7867 | 1.5222 | 257.9089 | 1.4478 | 229.9567 | 24.2889 | 881 | 86.2111 | 0
2020-07-13 02:45:00 | 1.226 | 88.63 | 1.316 | 88.011 | 1.206 | 86.681 | 1.384 | 88.459 | 24.06 | 881 | 85.74 | 0
2020-07-13 03:00:00 | 1.566 | 134.2067 | 1.5873 | 311.474 | 1.8807 | 131.254 | 1.828 | 313.066 | 23.6933 | 881 | 86.5067 | 0.19867
2020-07-13 03:15:00 | 1.904 | 278.18 | 1.84 | 336.04 | 2.098 | 272.06 | 1.924 | 337.76 | 23.56 | 881 | 87.26 | 0.60667
2020-07-13 03:30:00 | 2.384 | 302.22 | 2.376 | 326.809 | 2.899 | 295.571 | 2.74 | 328.478 | 22.92 | 881 | 88.05 | 1.2153
2020-07-13 03:45:00 | 2.348 | 272.5 | 2.355 | 325.566 | 2.912 | 266.505 | 2.764 | 327.23 | 22.82 | 881 | 89.05 | 1.8467
2020-07-13 04:00:00 | 2.496 | 205.92 | 2.425 | 318.993 | 3.112 | 201.39 | 2.801 | 320.623 | 22.68 | 881 | 90.26 | 1.6113
2020-07-13 04:15:00 | 1.697 | 156.49 | 1.615 | 316.381 | 2.074 | 153.047 | 1.813 | 318 | 22.65 | 880.6 | 90.6 | 1.096
2020-07-13 04:30:00 | 2.8307 | 331.5733 | 2.8253 | 318.8473 | 3.5107 | 324.2787 | 3.302 | 320.478 | 22.3733 | 880.9333 | 91.3667 | 3.306
2020-07-13 04:45:00 | 2.906 | 337.38 | 2.918 | 319.1267 | 3.606 | 329.958 | 3.4307 | 320.76 | 21.9867 | 880.4 | 91.78 | 4.2813
2020-07-13 05:00:00 | 3.384 | 321.64 | 3.49 | 309.81 | 4.288 | 314.564 | 4.228 | 311.396 | 21.8 | 880 | 92.12 | 7.498
2020-07-13 05:15:00 | 3.314 | 330.76 | 3.434 | 326.418 | 4.274 | 323.482 | 4.232 | 328.086 | 21.72 | 880 | 93.14 | 10.194
2020-07-13 05:30:00 | 3.797 | 330.56 | 3.974 | 320.676 | 4.821 | 323.287 | 4.861 | 322.316 | 21.62 | 880 | 94.4 | 13.5707
2020-07-13 05:45:00 | 4.364 | 341.15 | 4.568 | 325.558 | 5.377 | 333.644 | 5.469 | 327.221 | 21.49 | 880 | 95.19 | 17.8347
2020-07-13 06:00:00 | 5.048 | 336.62 | 5.316 | 318.442 | 6.0607 | 329.2147 | 6.274 | 320.072 | 21.44 | 880 | 95.68 | 22.8593
2020-07-13 06:15:00 | 5.54 | 332.32 | 5.886 | 321.45 | 6.476 | 325.01 | 6.862 | 323.092 | 21.44 | 880 | 96.02 | 25.7307
2020-07-13 06:30:00 | 5.181 | 347.57 | 5.514 | 324.803 | 6.031 | 339.925 | 6.412 | 326.464 | 21.32 | 881 | 95.81 | 23.096
2020-07-13 06:45:00 | 4.889 | 343.85 | 5.252 | 323.178 | 5.776 | 336.283 | 6.205 | 324.833 | 21.24 | 881 | 95.74 | 20.9493
2020-07-13 07:00:00 | 4.484 | 348.57 | 4.796 | 319.749 | 5.315 | 340.9 | 5.671 | 321.383 | 21.45 | 881 | 93.97 | 19.338
2020-07-13 07:15:00 | 4.67 | 307.52 | 4.949 | 320.726 | 5.616 | 300.754 | 5.87 | 322.364 | 21.49 | 881 | 90.18 | 19.1987
2020-07-13 07:30:00 | 4.679 | 313.34 | 4.984 | 327.894 | 5.727 | 306.446 | 6.001 | 329.571 | 21.61 | 881.9 | 89.05 | 20.346
2020-07-13 07:45:00 | 5.009 | 347.67 | 5.39 | 323.816 | 6.051 | 340.02 | 6.472 | 325.471 | 21.57 | 882 | 89.28 | 23.282
2020-07-13 08:00:00 | 5.482 | 338.1 | 5.891 | 321.204 | 6.453 | 330.662 | 6.946 | 322.845 | 21.74 | 882 | 89.84 | 27.2787
2020-07-13 08:15:00 | 5.214 | 341.12 | 5.567 | 324.392 | 6.073 | 333.615 | 6.495 | 326.052 | 21.87 | 882.4 | 87.76 | 24.4707
2020-07-13 08:30:00 | 5.388 | 333.32 | 5.706 | 326.086 | 6.028 | 325.988 | 6.444 | 327.752 | 21.98 | 883 | 87.42 | 26.7967
2020-07-13 08:45:00 | 5.322 | 337.65 | 5.719 | 325.362 | 6.183 | 329.978 | 6.677 | 327.024 | 22.31 | 883 | 86.43 | 24.1487
2020-07-13 09:00:00 | 5.194 | 333.88 | 5.543 | 322.769 | 5.855 | 326.535 | 6.323 | 324.418 | 22.53 | 883 | 84.4 | 20.1587
2020-07-13 09:15:00 | 4.875 | 310.7429 | 5.1314 | 320.6507 | 5.4321 | 303.9764 | 5.7586 | 322.29 | 22.8143 | 884 | 82.9214 | 16.858
2020-07-13 09:30:00 | 4.7293 | 334.8733 | 4.928 | 326.5213 | 5.304 | 327.5053 | 5.5167 | 328.19 | 23.0067 | 884 | 80.5187 | 14.5967
2020-07-13 09:45:00 | 4.4053 | 307.6333 | 4.576 | 325.1773 | 4.8313 | 300.8633 | 5.0373 | 326.8413 | 23.2533 | 884 | 79.626 | 12.418
2020-07-13 10:00:00 | 4.116 | 340.96 | 4.314 | 321.27 | 4.758 | 333.46 | 4.942 | 322.916 | 23.54 | 884.8 | 79.116 | 9.9447
2020-07-13 10:15:00 | 4 | 338.3 | 4.188 | 318.672 | 4.31 | 330.858 | 4.572 | 320.302 | 23.8 | 885 | 76.67 | 7.4287
2020-07-13 10:30:00 | 3.3378 | 301.8778 | 3.4044 | 327.9011 | 3.8222 | 295.2356 | 3.8133 | 329.5778 | 24.5333 | 885 | 73.9967 | 5.0147
2020-07-13 10:45:00 | 3.079 | 261.06 | 3.201 | 330.456 | 3.465 | 255.317 | 3.587 | 332.147 | 24.93 | 885 | 73.119 | 4.0653
2020-07-13 11:00:00 | 2.936 | 325.48 | 3.14 | 302.066 | 3.379 | 318.32 | 3.637 | 303.609 | 25.43 | 885 | 71.698 | 3.536
2020-07-13 11:15:00 | 2.609 | 306.34 | 2.787 | 142.934 | 2.854 | 264.882 | 3.158 | 143.663 | 25.85 | 885 | 70.999 | 1.72
2020-07-13 11:30:00 | 2.317 | 328.08 | 2.487 | 174.28 | 2.832 | 320.863 | 3.006 | 175.171 | 26.37 | 885 | 69.258 | 0.31867
2020-07-13 11:45:00 | 2.0253 | 273.0467 | 2.1613 | 242.9167 | 2.498 | 267.0393 | 2.62 | 244.158 | 26.9467 | 885 | 69.0473 | 0
2020-07-13 12:00:00 | 2.048 | 271.56 | 2.176 | 272.586 | 2.584 | 265.584 | 2.674 | 273.982 | 27.44 | 885 | 68.04 | 0
2020-07-13 12:15:00 | 1.366 | 315.26 | 1.46 | 177.252 | 1.742 | 308.326 | 1.804 | 178.158 | 27.72 | 885 | 69.006 | 0
2020-07-13 12:30:00 | 1.48 | 190.81 | 1.467 | 236.137 | 1.776 | 186.613 | 1.667 | 237.345 | 28.16 | 884 | 67.341 | 0
2020-07-13 12:45:00 | 1.478 | 200.66 | 1.645 | 66.113 | 1.956 | 196.245 | 2.132 | 66.452 | 28.04 | 884 | 65.049 | 0
2020-07-13 13:00:00 | 1.463 | 78.79 | 1.654 | 161.067 | 2.044 | 77.056 | 2.232 | 161.891 | 28.9 | 884 | 64.07 | 0
2020-07-13 13:15:00 | 1.56 | 162.18 | 1.489 | 27.236 | 1.78 | 158.612 | 1.586 | 27.377 | 28.33 | 884 | 62.193 | 0
2020-07-13 13:30:00 | 1.309 | 230.86 | 1.272 | 64.568 | 1.486 | 225.782 | 1.367 | 64.898 | 28.74 | 884 | 62.077 | 0
2020-07-13 13:45:00 | 1.141 | 64.88 | 1.287 | 81.037 | 1.388 | 31.16 | 1.584 | 81.452 | 29.37 | 884 | 60.624 | 0
2020-07-13 14:00:00 | 1.1907 | 58.3733 | 1.2753 | 57.6107 | 1.538 | 57.088 | 1.5987 | 57.9067 | 29.1 | 884 | 56.8427 | 0
2020-07-13 14:15:00 | 1.156 | 65.44 | 1.178 | 47.884 | 1.384 | 63.998 | 1.356 | 48.13 | 28.98 | 884 | 56.97 | 0
2020-07-13 14:30:00 | 0.713 | 57.33 | 0.759 | 145.253 | 0.877 | 56.069 | 0.911 | 145.995 | 29.39 | 884 | 56.115 | 0
2020-07-13 14:45:00 | 0.559 | 303.95 | 0.56 | 102.163 | 0.502 | 297.263 | 0.522 | 102.685 | 29.43 | 883 | 57.818 | 0
2020-07-13 15:00:00 | 0.809 | 177.21 | 0.827 | 153.135 | 0.924 | 173.312 | 0.927 | 153.919 | 29.35 | 883 | 59.662 | 0
2020-07-13 15:15:00 | 0.619 | 186.34 | 0.702 | 120.265 | 0.73 | 182.241 | 0.854 | 120.88 | 30.36 | 883.4 | 55.117 | 0
2020-07-13 15:30:00 | 0.898 | 221.41 | 0.999 | 158.856 | 0.9 | 216.94 | 1.088 | 159.668 | 30.18 | 884 | 53.994 | 0
2020-07-13 15:45:00 | 1.02 | 162.72 | 1.015 | 150.652 | 1.01 | 159.139 | 1.003 | 151.421 | 30.53 | 884 | 53.631 | 0
2020-07-13 16:00:00 | 1.567 | 177.75 | 1.596 | 162.916 | 1.51 | 174.436 | 1.611 | 163.748 | 30 | 883.1 | 57.246 | 0
2020-07-13 16:15:00 | 1.216 | 176 | 1.376 | 171.502 | 1.668 | 172.126 | 1.836 | 172.38 | 29.66 | 883 | 55.234 | 0
2020-07-13 16:30:00 | 2.134 | 188.96 | 2.268 | 172.85 | 2.416 | 184.804 | 2.586 | 173.734 | 29.14 | 883 | 56.848 | 0
2020-07-13 16:45:00 | 2.292 | 179.23 | 2.446 | 174.611 | 2.585 | 175.288 | 2.791 | 175.504 | 28.52 | 882.6 | 63.524 | 0.006667
2020-07-13 17:00:00 | 2.037 | 182.21 | 2.153 | 168.255 | 2.259 | 178.202 | 2.415 | 169.116 | 28.38 | 882 | 65.541 | 0
2020-07-13 17:15:00 | 2.303 | 190.19 | 2.425 | 180.607 | 2.578 | 186.007 | 2.732 | 181.531 | 28.07 | 881.6 | 68.594 | 0.43667
2020-07-13 17:30:00 | 2.205 | 193.63 | 2.33 | 177.899 | 2.529 | 189.37 | 2.671 | 178.808 | 28.31 | 881 | 71.058 | 1.46
2020-07-13 17:45:00 | 2.544 | 174.14 | 2.756 | 169.243 | 2.925 | 170.309 | 3.218 | 170.109 | 27.65 | 881 | 69.92 | 3.8907
2020-07-13 18:00:00 | 3.31 | 148.36 | 3.468 | 158.301 | 3.683 | 145.095 | 3.873 | 159.107 | 26.42 | 881 | 76.405 | 9.57
2020-07-13 18:15:00 | 2.66 | 136.01 | 2.822 | 129.125 | 3.416 | 133.017 | 3.501 | 129.785 | 25.88 | 881 | 86.81 | 7.9213
2020-07-13 18:30:00 | 2.1453 | 131.1467 | 2.3313 | 129.09 | 2.284 | 128.2613 | 2.5947 | 129.7493 | 25.84 | 880.0667 | 90.7733 | 2.7267
2020-07-13 18:45:00 | 1.812 | 127.54 | 1.914 | 118.944 | 2.232 | 124.734 | 2.308 | 119.552 | 25.92 | 880 | 91.3 | 2.596
2020-07-13 19:00:00 | 2.298 | 131.72 | 2.4 | 139.504 | 2.402 | 128.824 | 2.572 | 140.216 | 26.1 | 880 | 86.04 | 2.742
2020-07-13 19:15:00 | 2.4311 | 129.2222 | 2.5711 | 122.2056 | 2.5278 | 126.3778 | 2.7633 | 122.8311 | 26.2 | 880 | 82.4889 | 2.8807
2020-07-13 19:30:00 | 2.228 | 155.06 | 2.376 | 138.798 | 2.3 | 151.65 | 2.564 | 139.506 | 26.2 | 880 | 81.1 | 1.992
2020-07-13 19:45:00 | 1.826 | 135.12 | 1.902 | 135.315 | 1.94 | 132.149 | 2.052 | 136.008 | 26.22 | 880 | 80.6 | 0.99533
2020-07-13 20:00:00 | 1.97 | 145.67 | 2.084 | 117.135 | 2.087 | 141.781 | 2.287 | 117.734 | 26.23 | 880 | 83.69 | 0.87133
2020-07-13 20:15:00 | 2.878 | 137.6 | 3.08 | 144.372 | 3.042 | 134.574 | 3.383 | 145.112 | 26.22 | 881 | 89.78 | 4.0427
2020-07-13 20:30:00 | 3.786 | 145.54 | 3.988 | 131.012 | 3.868 | 142.337 | 4.226 | 131.682 | 25.93 | 881 | 89.88 | 5.628
2020-07-13 20:45:00 | 3.193 | 149.51 | 3.499 | 127.638 | 2.986 | 146.485 | 3.619 | 128.29 | 25.54 | 881 | 89.74 | 4.9687
2020-07-13 21:00:00 | 3.57 | 156.07 | 3.834 | 135.19 | 3.679 | 152.637 | 4.149 | 135.881 | 25.26 | 881 | 88.18 | 6.676
2020-07-13 21:15:00 | 3.585 | 156.76 | 3.81 | 138.747 | 3.806 | 153.312 | 4.168 | 139.455 | 24.96 | 881 | 87.75 | 9.956
2020-07-13 21:30:00 | 3.691 | 162.82 | 3.898 | 145.527 | 3.741 | 159.238 | 4.122 | 146.271 | 24.78 | 881 | 87.56 | 10.3
2020-07-13 21:45:00 | 3.809 | 159.13 | 4.014 | 137.752 | 4.054 | 155.63 | 4.376 | 138.455 | 24.74 | 881 | 87.68 | 11.0627
2020-07-13 22:00:00 | 3.888 | 156.05 | 4.032 | 144.999 | 4.077 | 152.617 | 4.301 | 145.741 | 24.54 | 881.9 | 88.74 | 11.988
2020-07-13 22:15:00 | 4.0307 | 156.64 | 4.1567 | 137.9967 | 4.1133 | 153.1933 | 4.3333 | 138.7013 | 24.4667 | 882 | 89.14 | 11.6027
2020-07-13 22:30:00 | 3.8653 | 156.0933 | 4.0133 | 140.4287 | 4.0093 | 152.6587 | 4.2493 | 141.146 | 24.3267 | 882 | 89.78 | 10.6887
2020-07-13 22:45:00 | 4.1393 | 155.5267 | 4.3207 | 140.1007 | 4.4367 | 152.1047 | 4.698 | 140.8187 | 24.12 | 882 | 90.2133 | 12.1073
2020-07-13 23:00:00 | 3.826 | 150.4 | 4.022 | 150.592 | 4.176 | 147.092 | 4.45 | 151.362 | 24.06 | 882 | 90.84 | 13.2873
2020-07-13 23:15:00 | 4.25 | 154.12 | 4.454 | 145.976 | 4.704 | 150.73 | 4.964 | 146.722 | 23.78 | 882 | 92.04 | 17.908
2020-07-13 23:30:00 | 4.146 | 160.9 | 4.302 | 144.97 | 4.25 | 157.36 | 4.517 | 145.711 | 23.74 | 882 | 93.4 | 16.4347
2020-07-13 23:45:00 | 3.891 | 173.88 | 4.05 | 157.066 | 3.656 | 170.054 | 4.033 | 157.87 | 23.53 | 881.6 | 93.35 | 15.7433