## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-14 00:00:00 | 3.416 | 185.17 | 3.607 | 158.191 | 3.456 | 181.096 | 3.809 | 159.001 | 23.44 | 881 | 95.38 | 14.058
2020-07-14 00:15:00 | 3.459 | 178.39 | 3.682 | 171.443 | 3.671 | 174.465 | 4.043 | 172.32 | 23.2 | 881 | 95.86 | 14.9453
2020-07-14 00:30:00 | 3.465 | 179.92 | 3.671 | 168.617 | 3.692 | 175.963 | 4.018 | 169.478 | 23.09 | 881 | 96.5 | 14.4327
2020-07-14 00:45:00 | 3.776 | 179.38 | 3.999 | 159.873 | 4.209 | 173.986 | 4.508 | 160.69 | 23.01 | 881 | 97.14 | 14.8347
2020-07-14 01:00:00 | 3.5273 | 184.6867 | 3.7373 | 175.1273 | 3.926 | 180.624 | 4.2087 | 176.022 | 22.8933 | 881 | 97.1067 | 15.5633
2020-07-14 01:15:00 | 3.444 | 183.1533 | 3.6953 | 167.916 | 4.0507 | 179.04 | 4.3507 | 168.7747 | 22.84 | 881 | 97.3533 | 14.628
2020-07-14 01:30:00 | 3.643 | 184.69 | 3.863 | 167.277 | 4.274 | 180.627 | 4.509 | 168.131 | 22.8 | 881 | 97.27 | 14.3993
2020-07-14 01:45:00 | 3.24 | 187.52 | 3.536 | 165.928 | 3.708 | 183.394 | 4.132 | 166.774 | 22.7 | 881 | 96.94 | 13.654
2020-07-14 02:00:00 | 3.277 | 188.83 | 3.482 | 175.111 | 3.661 | 184.674 | 3.939 | 176.006 | 22.7 | 881 | 96.44 | 10.906
2020-07-14 02:15:00 | 2.74 | 181.21 | 2.936 | 179.639 | 3.348 | 177.223 | 3.547 | 180.556 | 22.62 | 880 | 96.81 | 7.928
2020-07-14 02:30:00 | 2.176 | 181.96 | 2.396 | 138.034 | 2.784 | 177.96 | 3.026 | 138.74 | 22.68 | 880 | 97.1 | 4.5907
2020-07-14 02:45:00 | 2.15 | 182.68 | 2.288 | 171.99 | 2.605 | 178.662 | 2.734 | 172.87 | 22.75 | 880 | 96.88 | 2.1307
2020-07-14 03:00:00 | 1.728 | 213.76 | 1.812 | 204.42 | 2.052 | 209.056 | 2.116 | 205.466 | 22.86 | 880 | 96.7 | 0.59467
2020-07-14 03:15:00 | 1.691 | 203.53 | 1.768 | 184.022 | 1.745 | 199.054 | 1.874 | 184.962 | 23.01 | 880 | 97.05 | 0.57067
2020-07-14 03:30:00 | 1.27 | 179.83 | 1.271 | 206.768 | 1.096 | 175.873 | 1.15 | 207.826 | 23.15 | 880 | 97.2 | 0
2020-07-14 03:45:00 | 0.92067 | 179.6067 | 0.83733 | 161.4867 | 0.976 | 176.1893 | 0.79067 | 162.312 | 22.8133 | 880 | 97.96 | 0
2020-07-14 04:00:00 | 1.152 | 74.3 | 1.142 | 138.7 | 1.266 | 72.664 | 1.214 | 139.412 | 22.64 | 880 | 98.38 | 0
2020-07-14 04:15:00 | 1.274 | 81.12 | 1.38 | 77.42 | 1.51 | 79.336 | 1.642 | 77.812 | 22.56 | 880 | 98.98 | 0
2020-07-14 04:30:00 | 1.601 | 99.01 | 1.706 | 89.986 | 1.716 | 96.831 | 1.884 | 90.446 | 22.32 | 880 | 99.68 | 0
2020-07-14 04:45:00 | 0.937 | 131.6 | 0.948 | 121.312 | 0.869 | 128.705 | 0.91 | 121.931 | 22.3 | 880 | 99.94 | 0
2020-07-14 05:00:00 | 0.92 | 143.2 | 0.948 | 113.194 | 0.905 | 140.05 | 0.963 | 113.774 | 22.33 | 880 | 100 | 0
2020-07-14 05:15:00 | 0.86 | 173.19 | 0.81 | 155.141 | 0.783 | 169.38 | 0.714 | 155.933 | 22.19 | 880 | 100 | 0
2020-07-14 05:30:00 | 0.56067 | 233.96 | 0.54267 | 166.1887 | 0.60733 | 228.474 | 0.56133 | 167.0373 | 22.2267 | 880 | 100 | 0
2020-07-14 05:45:00 | 0.54667 | 210.9067 | 0.61333 | 169.5267 | 0.63267 | 206.266 | 0.732 | 170.3927 | 22.4133 | 880 | 100 | 0
2020-07-14 06:00:00 | 0.588 | 181 | 0.656 | 192 | 0.636 | 177.018 | 0.754 | 192.982 | 22.5 | 880 | 100 | 0
2020-07-14 06:15:00 | 0.965 | 216.45 | 1.019 | 203.522 | 1.175 | 211.689 | 1.219 | 204.562 | 22.2 | 880 | 100 | 0
2020-07-14 06:30:00 | 0.77 | 183.41 | 0.815 | 156.656 | 0.873 | 179.374 | 0.925 | 157.457 | 22.1 | 880 | 100 | 0
2020-07-14 06:45:00 | 0.679 | 233.81 | 0.716 | 234.387 | 0.639 | 228.667 | 0.72 | 235.587 | 22 | 880 | 100 | 0
2020-07-14 07:00:00 | 1.145 | 250.94 | 1.257 | 278.799 | 1.282 | 245.215 | 1.468 | 280.223 | 21.92 | 880 | 100 | 0
2020-07-14 07:15:00 | 1.369 | 283.56 | 1.357 | 332.011 | 1.837 | 277.323 | 1.678 | 333.709 | 21.14 | 880 | 100 | 0
2020-07-14 07:30:00 | 1.971 | 317.54 | 1.945 | 331.279 | 2.313 | 310.554 | 2.164 | 332.972 | 20.65 | 880 | 100 | 0.37733
2020-07-14 07:45:00 | 2.58 | 289.11 | 2.62 | 320.528 | 3.168 | 282.747 | 3.077 | 322.169 | 20.29 | 880 | 100 | 2.57
2020-07-14 08:00:00 | 2.788 | 342.16 | 2.882 | 318.73 | 3.288 | 334.634 | 3.322 | 320.36 | 20.2 | 880 | 100 | 4.318
2020-07-14 08:15:00 | 3.262 | 331.98 | 3.373 | 325.557 | 4.113 | 324.578 | 4.086 | 327.221 | 20.06 | 880 | 100 | 7.5573
2020-07-14 08:30:00 | 3.841 | 322.36 | 4.019 | 326.348 | 4.665 | 315.267 | 4.764 | 328.018 | 19.97 | 880 | 100 | 11.2607
2020-07-14 08:45:00 | 4.324 | 338.93 | 4.609 | 329.166 | 5.233 | 331.473 | 5.509 | 330.849 | 19.87 | 880 | 100 | 15.944
2020-07-14 09:00:00 | 4.714 | 342.39 | 5.031 | 323.982 | 5.608 | 334.858 | 5.95 | 325.639 | 19.91 | 880 | 100 | 16.516
2020-07-14 09:15:00 | 4.579 | 342.71 | 4.916 | 327.149 | 5.474 | 335.17 | 5.852 | 328.823 | 19.99 | 880 | 100 | 16.9053
2020-07-14 09:30:00 | 4.492 | 345.54 | 4.8613 | 326.8927 | 5.4073 | 337.9373 | 5.8433 | 328.5633 | 19.9 | 880 | 100 | 16.7327
2020-07-14 09:45:00 | 4.6493 | 346.3733 | 5.03 | 324.4673 | 5.516 | 338.7527 | 5.9853 | 326.126 | 19.88 | 880.6 | 100 | 16.8233
2020-07-14 10:00:00 | 4.5093 | 340.7933 | 4.8167 | 326.984 | 5.332 | 333.2967 | 5.6813 | 328.656 | 19.8733 | 880.7333 | 100 | 15.9287
2020-07-14 10:15:00 | 4.62 | 341.2 | 5.026 | 327.668 | 5.522 | 333.692 | 6.03 | 329.342 | 19.88 | 880 | 100 | 18.6973
2020-07-14 10:30:00 | 4.822 | 338.9 | 5.122 | 328.686 | 5.508 | 331.442 | 5.878 | 330.364 | 19.92 | 880.8 | 100 | 16.892
2020-07-14 10:45:00 | 4.562 | 338.82 | 4.818 | 325.957 | 5.252 | 331.366 | 5.537 | 327.624 | 19.84 | 881 | 100 | 16.83
2020-07-14 11:00:00 | 4.834 | 342.84 | 5.18 | 296.119 | 5.68 | 335.297 | 6.093 | 297.631 | 19.9 | 881 | 100 | 19.2927
2020-07-14 11:15:00 | 4.893 | 339.19 | 5.191 | 324.87 | 5.567 | 331.727 | 5.938 | 326.532 | 19.82 | 881 | 100 | 20.588
2020-07-14 11:30:00 | 5.0727 | 340.5267 | 5.4007 | 327.4153 | 5.928 | 333.0347 | 6.304 | 329.088 | 19.7867 | 881 | 100 | 23.0107
2020-07-14 11:45:00 | 5.198 | 339.9467 | 5.582 | 329.1627 | 6.1067 | 332.286 | 6.584 | 330.8467 | 19.84 | 881 | 100 | 24.3453
2020-07-14 12:00:00 | 5.402 | 339.0933 | 5.82 | 328.1447 | 6.2647 | 331.9073 | 6.8 | 329.8213 | 19.8133 | 880.7333 | 100 | 25.85
2020-07-14 12:15:00 | 5.242 | 340.1 | 5.6987 | 332.1747 | 6.1527 | 332.618 | 6.7547 | 333.8727 | 19.8733 | 880 | 100 | 26.4353
2020-07-14 12:30:00 | 5.266 | 342.74 | 5.718 | 326.986 | 6.218 | 335.2 | 6.806 | 328.656 | 19.9 | 880.8 | 100 | 28.5113
2020-07-14 12:45:00 | 5.854 | 340.08 | 6.27 | 322.488 | 6.752 | 332.598 | 7.282 | 324.134 | 19.8 | 880 | 100 | 31.5213
2020-07-14 13:00:00 | 6.188 | 342.2 | 6.636 | 327.14 | 6.982 | 334.672 | 7.608 | 328.812 | 19.84 | 880.8 | 100 | 31.9
2020-07-14 13:15:00 | 5.777 | 343.82 | 6.27 | 326.807 | 6.567 | 336.255 | 7.274 | 328.48 | 19.91 | 880 | 100 | 32.6573
2020-07-14 13:30:00 | 6.099 | 341.87 | 6.561 | 326.34 | 6.92 | 334.349 | 7.563 | 328.007 | 19.89 | 880 | 100 | 34.5013
2020-07-14 13:45:00 | 6.352 | 338.34 | 6.864 | 326.623 | 7.159 | 330.895 | 7.896 | 328.293 | 20.07 | 880 | 100 | 33.1967
2020-07-14 14:00:00 | 6.348 | 339.25 | 6.868 | 324.617 | 7.153 | 331.786 | 7.907 | 326.277 | 20.1 | 880 | 100 | 34.1953
2020-07-14 14:15:00 | 6.316 | 344.13 | 6.811 | 324.227 | 7.063 | 336.56 | 7.787 | 325.884 | 20.11 | 880 | 100 | 35.2967
2020-07-14 14:30:00 | 6.241 | 341.41 | 6.709 | 326.633 | 6.933 | 333.899 | 7.619 | 328.304 | 20.21 | 880 | 100 | 35.6553
2020-07-14 14:45:00 | 6.541 | 344.96 | 7.061 | 329.342 | 7.339 | 337.372 | 8.095 | 331.025 | 20.33 | 880 | 100 | 36.6853
2020-07-14 15:00:00 | 6.546 | 343.93 | 7.04 | 324.128 | 7.336 | 336.364 | 8.046 | 325.785 | 20.38 | 880 | 100 | 38.1693
2020-07-14 15:15:00 | 6.6329 | 345.2714 | 7.1707 | 327.0993 | 7.22 | 337.6757 | 8.0686 | 328.7721 | 20.5 | 880.5714 | 100 | 37.9507
2020-07-14 15:30:00 | 6.7647 | 340.04 | 7.29 | 326.9327 | 7.4607 | 332.5593 | 8.2553 | 328.6047 | 20.7 | 880.7333 | 100 | 39.3133
2020-07-14 15:45:00 | 6.674 | 346.54 | 7.21 | 334.536 | 7.636 | 338.916 | 8.372 | 336.244 | 20.58 | 880 | 100 | 41.6273
2020-07-14 16:00:00 | 7.034 | 344.46 | 7.538 | 328.492 | 7.968 | 336.88 | 8.654 | 330.17 | 20.76 | 880 | 100 | 40.5793
2020-07-14 16:15:00 | 6.996 | 346.46 | 7.571 | 326.809 | 7.987 | 338.837 | 8.793 | 328.479 | 20.78 | 880 | 100 | 40.6013
2020-07-14 16:30:00 | 6.716 | 346.58 | 7.385 | 334.593 | 7.642 | 338.955 | 8.639 | 336.303 | 20.6 | 880 | 100 | 43.1227
2020-07-14 16:45:00 | 7.282 | 344.15 | 7.886 | 328.285 | 8.269 | 336.578 | 9.129 | 329.965 | 20.77 | 880 | 100 | 44.432
2020-07-14 17:00:00 | 6.916 | 341.79 | 7.508 | 295.336 | 7.794 | 334.272 | 8.666 | 296.848 | 20.85 | 880 | 100 | 44.772
2020-07-14 17:15:00 | 6.936 | 342.12 | 7.43 | 336.296 | 7.822 | 334.592 | 8.502 | 338.014 | 20.9 | 880 | 100 | 44.684
2020-07-14 17:30:00 | 7.382 | 340.22 | 7.872 | 325.955 | 7.961 | 332.734 | 8.723 | 327.623 | 20.95 | 880 | 100 | 45.2913
2020-07-14 17:45:00 | 7.558 | 335.72 | 8.038 | 323.092 | 8.112 | 328.332 | 8.856 | 324.744 | 21.02 | 880 | 99.88 | 46.5233
2020-07-14 18:00:00 | 7.083 | 343.51 | 7.572 | 328.245 | 7.706 | 335.953 | 8.455 | 329.925 | 21.12 | 880 | 98.81 | 45.7847
2020-07-14 18:15:00 | 7.166 | 338.65 | 7.713 | 325.439 | 7.895 | 331.2 | 8.723 | 327.104 | 21.06 | 880 | 97.8 | 47.9287
2020-07-14 18:30:00 | 7.166 | 338.65 | 7.713 | 325.439 | 7.895 | 331.2 | 8.723 | 327.104 | 21.06 | 880 | 97.8 | 47.9287
2020-07-14 18:45:00 | 7.41 | 341.34 | 7.896 | 326.688 | 7.97 | 333.828 | 8.732 | 328.36 | 21.12 | 880 | 97.4 | 51.464
2020-07-14 19:00:00 | 7.41 | 341.34 | 7.896 | 326.688 | 7.97 | 333.828 | 8.732 | 328.36 | 21.12 | 880 | 97.4 | 51.464
2020-07-14 19:15:00 | 7.542 | 343.5 | 8.116 | 321.372 | 8.172 | 335.942 | 9.074 | 323.014 | 21.26 | 880 | 97 | 51.248
2020-07-14 19:30:00 | 7.993 | 344.65 | 8.569 | 329.92 | 8.548 | 337.068 | 9.476 | 331.606 | 21.34 | 880 | 96.87 | 51.318
2020-07-14 19:45:00 | 7.898 | 344.34 | 8.53 | 328.178 | 8.308 | 336.762 | 9.382 | 329.854 | 21.4 | 880 | 96.28 | 50.726
2020-07-14 20:00:00 | 7.571 | 345.43 | 8.155 | 325.45 | 8.103 | 337.832 | 9.058 | 327.115 | 21.06 | 880 | 96.34 | 51.3053
2020-07-14 20:15:00 | 8.024 | 311.3 | 8.613 | 328.803 | 8.883 | 305.349 | 9.765 | 330.485 | 21.15 | 880 | 96.24 | 51.9453
2020-07-14 20:30:00 | 8.084 | 341.93 | 8.678 | 330.085 | 8.741 | 334.407 | 9.686 | 331.773 | 21.06 | 880 | 96.84 | 51.442
2020-07-14 20:45:00 | 7.9127 | 344.28 | 8.4907 | 329.5467 | 8.422 | 336.7053 | 9.3727 | 331.232 | 21.0267 | 880 | 96.4467 | 50.2753
2020-07-14 21:00:00 | 8.098 | 346.13 | 8.745 | 327.953 | 8.854 | 338.516 | 9.861 | 329.627 | 21.02 | 880 | 96.74 | 51.7927
2020-07-14 21:15:00 | 7.883 | 342.76 | 8.505 | 330.172 | 8.584 | 335.217 | 9.564 | 331.861 | 20.94 | 880 | 96.9 | 49.9527
2020-07-14 21:30:00 | 8.063 | 342.34 | 8.763 | 328.561 | 8.784 | 334.808 | 9.896 | 330.239 | 20.89 | 880.9 | 97.15 | 50.344
2020-07-14 21:45:00 | 8.152 | 346.22 | 8.7687 | 331.7047 | 8.6327 | 338.6027 | 9.6613 | 333.4007 | 20.96 | 881 | 96.68 | 50.7753
2020-07-14 22:00:00 | 8.228 | 345.6 | 8.814 | 326.144 | 8.656 | 337.998 | 9.658 | 327.81 | 20.92 | 881 | 96.38 | 48.4493
2020-07-14 22:15:00 | 7.665 | 343.2 | 8.139 | 333.86 | 8.408 | 335.65 | 9.092 | 335.568 | 20.73 | 881 | 96.54 | 47.5413
2020-07-14 22:30:00 | 7.459 | 344.62 | 7.996 | 332.462 | 8.077 | 337.037 | 8.914 | 334.161 | 20.74 | 881 | 96.63 | 48.0993
2020-07-14 22:45:00 | 7.538 | 342.85 | 8.113 | 331.141 | 8.22 | 335.307 | 9.12 | 332.834 | 20.72 | 881 | 96.14 | 47.0613
2020-07-14 23:00:00 | 7.679 | 343 | 8.308 | 331.355 | 8.474 | 335.454 | 9.428 | 333.05 | 20.65 | 881 | 96 | 46.952
2020-07-14 23:15:00 | 7.774 | 341.66 | 8.441 | 325.888 | 8.607 | 334.143 | 9.628 | 327.555 | 20.57 | 881 | 96.04 | 46.4733
2020-07-14 23:30:00 | 7.919 | 344.33 | 8.486 | 327.572 | 8.662 | 336.756 | 9.522 | 329.246 | 20.72 | 881 | 95.64 | 45.5147
2020-07-14 23:45:00 | 7.524 | 310.89 | 8.045 | 329.624 | 8.227 | 304.051 | 9.014 | 331.309 | 20.63 | 881 | 96.1 | 47.4327