## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-15 00:00:00 | 7.422 | 341 | 7.94 | 323.188 | 8.26 | 333.498 | 9.002 | 324.84 | 20.7 | 881 | 96.1 | 49.0407
2020-07-15 00:15:00 | 7.284 | 343.4 | 7.856 | 332.442 | 8.116 | 335.844 | 8.956 | 334.14 | 20.62 | 881 | 96.2 | 48.1787
2020-07-15 00:30:00 | 7.413 | 342.66 | 7.946 | 325.929 | 8.237 | 335.121 | 9.02 | 327.594 | 20.61 | 881 | 96.5 | 49.148
2020-07-15 00:45:00 | 7.462 | 347.87 | 7.991 | 329.674 | 8.265 | 340.216 | 9.04 | 331.358 | 20.51 | 880 | 96.64 | 48.7173
2020-07-15 01:00:00 | 7.558 | 345.2667 | 8.14 | 330.0953 | 8.1573 | 337.67 | 9.0853 | 331.782 | 20.54 | 880 | 96.14 | 48.5753
2020-07-15 01:15:00 | 7.488 | 344.78 | 8.11 | 327.062 | 8.068 | 337.196 | 9.072 | 328.736 | 20.52 | 880 | 96.2 | 47.7513
2020-07-15 01:30:00 | 7.772 | 344.68 | 8.366 | 332.012 | 8.608 | 336.432 | 9.502 | 333.708 | 20.6 | 880 | 95.12 | 47.95
2020-07-15 01:45:00 | 7.368 | 344.94 | 7.896 | 328.197 | 8.183 | 337.352 | 8.957 | 329.875 | 20.6 | 880 | 95.24 | 47.5747
2020-07-15 02:00:00 | 7.496 | 342.73 | 8.085 | 297.918 | 8.264 | 335.19 | 9.155 | 299.442 | 20.56 | 880 | 95.42 | 48.364
2020-07-15 02:15:00 | 7.645 | 347.71 | 8.306 | 332.1 | 8.447 | 340.061 | 9.47 | 333.798 | 20.56 | 880 | 95.24 | 50.3727
2020-07-15 02:30:00 | 7.609 | 307.91 | 8.271 | 299.112 | 8.37 | 301.135 | 9.403 | 300.64 | 20.52 | 880 | 95.66 | 50.0253
2020-07-15 02:45:00 | 7.5667 | 344.4733 | 8.2347 | 333.8613 | 8.1813 | 336.894 | 9.2707 | 335.5707 | 20.4733 | 880 | 95 | 50.44
2020-07-15 03:00:00 | 7.646 | 345.8 | 8.223 | 332.842 | 8.349 | 338.192 | 9.241 | 334.543 | 20.5 | 879.1 | 95.06 | 51.214
2020-07-15 03:15:00 | 8.092 | 347.68 | 8.638 | 329.272 | 8.592 | 340.03 | 9.496 | 330.956 | 20.48 | 879 | 95.04 | 53.1053
2020-07-15 03:30:00 | 8.054 | 344.99 | 8.615 | 330.633 | 8.855 | 337.4 | 9.682 | 332.323 | 20.49 | 879 | 94.74 | 53.884
2020-07-15 03:45:00 | 8.1113 | 340.34 | 8.6513 | 328.4513 | 8.9087 | 332.852 | 9.704 | 330.1307 | 20.4933 | 879 | 94.5933 | 53.3093
2020-07-15 04:00:00 | 8.156 | 269.7 | 8.688 | 329.78 | 9.002 | 263.768 | 9.77 | 331.468 | 20.56 | 879 | 94.16 | 54.6347
2020-07-15 04:15:00 | 7.701 | 339.13 | 8.232 | 332.636 | 8.619 | 331.668 | 9.365 | 334.338 | 20.46 | 879 | 93.3 | 53.2327
2020-07-15 04:30:00 | 7.389 | 340.17 | 7.922 | 325.753 | 8.305 | 332.686 | 9.045 | 327.419 | 20.41 | 879 | 93.26 | 53.5493
2020-07-15 04:45:00 | 7.515 | 345.31 | 8.044 | 326.829 | 8.196 | 337.712 | 9.001 | 328.499 | 20.41 | 879 | 92.94 | 53.0913
2020-07-15 05:00:00 | 8.058 | 339.91 | 8.548 | 328.735 | 8.781 | 332.432 | 9.508 | 330.417 | 20.55 | 879 | 93.14 | 53.7613
2020-07-15 05:15:00 | 7.721 | 300.49 | 8.306 | 330.515 | 8.565 | 293.878 | 9.432 | 332.205 | 20.45 | 879 | 92.72 | 55.188
2020-07-15 05:30:00 | 7.9233 | 341.62 | 8.4993 | 302.098 | 8.6767 | 334.1047 | 9.5587 | 303.642 | 20.4533 | 879 | 92.78 | 54.38
2020-07-15 05:45:00 | 7.9547 | 339.98 | 8.486 | 324.8727 | 8.8647 | 332.8327 | 9.608 | 326.5333 | 20.52 | 879 | 92.3133 | 54.7073
2020-07-15 06:00:00 | 7.894 | 335.16 | 8.474 | 323.776 | 8.844 | 327.786 | 9.668 | 325.432 | 20.52 | 879 | 92.44 | 55.0053
2020-07-15 06:15:00 | 7.969 | 337.48 | 8.548 | 327.269 | 8.914 | 330.632 | 9.735 | 328.941 | 20.49 | 879 | 92.5 | 55.966
2020-07-15 06:30:00 | 8.6313 | 337.5133 | 9.2667 | 328.21 | 9.5267 | 329.6633 | 10.4813 | 329.888 | 20.52 | 879 | 91.9867 | 56.298
2020-07-15 06:45:00 | 9.124 | 339.64 | 9.778 | 328.726 | 10.256 | 332.166 | 11.17 | 330.408 | 20.52 | 879 | 91.68 | 56.1707
2020-07-15 07:00:00 | 8.172 | 336.13 | 8.804 | 325.654 | 9.042 | 328.736 | 9.993 | 327.32 | 20.5 | 879 | 91.42 | 55.94
2020-07-15 07:15:00 | 8.102 | 338.59 | 8.624 | 327.982 | 8.735 | 331.14 | 9.538 | 329.659 | 20.51 | 879 | 92.23 | 54.9207
2020-07-15 07:30:00 | 8.019 | 338.3 | 8.579 | 321.88 | 8.917 | 330.859 | 9.721 | 323.524 | 20.48 | 879 | 92.15 | 55.008
2020-07-15 07:45:00 | 7.902 | 339.28 | 8.514 | 321.343 | 8.763 | 331.816 | 9.678 | 322.986 | 20.62 | 879.4 | 92.02 | 52.132
2020-07-15 08:00:00 | 7.8833 | 339.6933 | 8.494 | 321.9507 | 8.6173 | 332.2207 | 9.5613 | 323.596 | 20.6 | 880 | 91.7133 | 53.436
2020-07-15 08:15:00 | 8.4087 | 338.9667 | 9.0513 | 324.918 | 9.0973 | 331.5093 | 10.12 | 326.5793 | 20.72 | 880 | 91.8867 | 53.7367
2020-07-15 08:30:00 | 8.506 | 339.58 | 9.068 | 323.58 | 9.376 | 332.11 | 10.188 | 325.236 | 20.76 | 880 | 92.18 | 53.158
2020-07-15 08:45:00 | 7.8444 | 344.2889 | 8.4411 | 320.5667 | 8.7378 | 336.7144 | 9.6133 | 322.2056 | 20.6556 | 880 | 91.9667 | 52.53
2020-07-15 09:00:00 | 8.085 | 338 | 8.691 | 325.311 | 9.149 | 330.563 | 9.984 | 326.974 | 20.7 | 880 | 91.87 | 53.528
2020-07-15 09:15:00 | 8.339 | 343.41 | 8.93 | 328.852 | 8.996 | 335.854 | 9.934 | 330.534 | 20.85 | 880 | 91.44 | 54.0153
2020-07-15 09:30:00 | 8.0213 | 341.4333 | 8.5953 | 326.444 | 9.0753 | 334.9513 | 9.8487 | 328.1127 | 20.8867 | 880 | 91.2467 | 53.63
2020-07-15 09:45:00 | 7.954 | 343.08 | 8.504 | 330.838 | 8.386 | 334.32 | 9.316 | 332.528 | 20.84 | 880 | 91.08 | 53.6427
2020-07-15 10:00:00 | 7.386 | 340.07 | 7.857 | 329.135 | 8.126 | 330.897 | 8.824 | 330.819 | 21.01 | 880 | 91.36 | 49.9233
2020-07-15 10:15:00 | 7.16 | 342.36 | 7.621 | 327.484 | 7.776 | 334.827 | 8.47 | 329.156 | 20.98 | 880 | 91.06 | 50.2373
2020-07-15 10:30:00 | 7.345 | 274.62 | 7.755 | 328.941 | 8.122 | 268.578 | 8.68 | 330.621 | 21.22 | 880 | 90.25 | 36.6893
2020-07-15 10:45:00 | 7.353 | 342.54 | 7.822 | 327.786 | 7.891 | 335.004 | 8.634 | 329.461 | 21.39 | 880 | 89.43 | 44.67
2020-07-15 11:00:00 | 7.493 | 341.8 | 7.927 | 321.666 | 8.17 | 334.838 | 8.796 | 323.31 | 21.6 | 880 | 87.94 | 51.3013
2020-07-15 11:15:00 | 7.647 | 341.3 | 8.17 | 322.798 | 8.693 | 333.79 | 9.383 | 324.45 | 21.78 | 880 | 87.16 | 53.2893
2020-07-15 11:30:00 | 8.147 | 338.78 | 8.751 | 323.688 | 8.926 | 331.329 | 9.844 | 325.343 | 22.08 | 880 | 87.03 | 55.2733
2020-07-15 11:45:00 | 8.27 | 340.19 | 8.872 | 319.132 | 8.95 | 332.705 | 9.894 | 320.763 | 22.45 | 880 | 84.97 | 53.8653
2020-07-15 12:00:00 | 8.7493 | 338.52 | 9.434 | 321.7353 | 9.6373 | 331.0727 | 10.68 | 323.3807 | 22.5867 | 880.9333 | 81.4267 | 54.472
2020-07-15 12:15:00 | 8.93 | 338.96 | 9.598 | 333.302 | 9.966 | 331.504 | 10.934 | 335.006 | 22.68 | 881 | 82.38 | 57.0253
2020-07-15 12:30:00 | 8.113 | 306.07 | 8.771 | 332.93 | 8.928 | 299.337 | 9.945 | 334.634 | 22.74 | 880 | 83.51 | 58.426
2020-07-15 12:45:00 | 7.75 | 339.4 | 8.39 | 297.612 | 8.692 | 331.934 | 9.64 | 299.137 | 23.04 | 880 | 83.76 | 53.5353
2020-07-15 13:00:00 | 6.797 | 312.15 | 7.136 | 298.201 | 7.568 | 305.282 | 7.988 | 299.725 | 23.57 | 880 | 82.69 | 46.3113
2020-07-15 13:15:00 | 5.683 | 275.85 | 6.059 | 328.471 | 6.405 | 271.052 | 6.902 | 330.15 | 23.65 | 880.4 | 78.614 | 39.1467
2020-07-15 13:30:00 | 5.315 | 312.45 | 5.698 | 332.324 | 5.878 | 304.882 | 6.438 | 333.384 | 23.92 | 881 | 77.277 | 37.04
2020-07-15 13:45:00 | 5.345 | 242.95 | 5.678 | 270.104 | 5.979 | 236.204 | 6.422 | 271.485 | 24.16 | 881 | 78.459 | 32.534
2020-07-15 14:00:00 | 5.028 | 344.87 | 5.248 | 295.943 | 5.662 | 337.204 | 5.901 | 297.456 | 24.34 | 881.9 | 77.569 | 31.4213
2020-07-15 14:15:00 | 4.534 | 283.0667 | 4.8007 | 287.0247 | 5.072 | 276.8387 | 5.4227 | 288.4913 | 24.46 | 882 | 76.0013 | 26.4747
2020-07-15 14:30:00 | 4.404 | 83.42 | 4.608 | 270.456 | 4.95 | 81.586 | 5.184 | 271.84 | 24.64 | 882 | 76.956 | 25.9267
2020-07-15 14:45:00 | 4.366 | 320.6333 | 4.7387 | 329.522 | 5.018 | 313.578 | 5.534 | 331.2053 | 24.7733 | 881.4 | 76.8113 | 22.9547
2020-07-15 15:00:00 | 4.6373 | 274.1733 | 4.924 | 311.658 | 5.4293 | 268.142 | 5.74 | 313.25 | 24.6933 | 881 | 77.89 | 22.6813
2020-07-15 15:15:00 | 4.732 | 341.22 | 5.12 | 339.504 | 5.36 | 333.712 | 5.914 | 341.238 | 24.64 | 881 | 78.81 | 24.908
2020-07-15 15:30:00 | 5.072 | 308.82 | 5.324 | 323.944 | 5.721 | 302.027 | 6.019 | 325.6 | 24.52 | 881 | 78.941 | 28.852
2020-07-15 15:45:00 | 5.125 | 341.54 | 5.477 | 265.87 | 5.738 | 334.026 | 6.229 | 267.23 | 24.21 | 881 | 79.852 | 30.0747
2020-07-15 16:00:00 | 5.298 | 337.34 | 5.7 | 326.946 | 5.852 | 329.918 | 6.461 | 328.618 | 24 | 880.1 | 79.852 | 27.132
2020-07-15 16:15:00 | 5.108 | 340.58 | 5.504 | 327.806 | 5.641 | 332.745 | 6.24 | 329.482 | 23.95 | 880 | 81.13 | 25.9753
2020-07-15 16:30:00 | 5.282 | 341.62 | 5.67 | 326.76 | 5.721 | 334.104 | 6.327 | 328.43 | 23.81 | 880 | 81.76 | 26.6447
2020-07-15 16:45:00 | 5.4933 | 342.42 | 5.8707 | 326.8613 | 6.0167 | 334.8867 | 6.582 | 328.5313 | 23.7267 | 880 | 82.1 | 28.814
2020-07-15 17:00:00 | 4.9827 | 342.7133 | 5.378 | 329.006 | 5.556 | 335.1727 | 6.1367 | 330.6887 | 23.8067 | 879.0667 | 82.1467 | 26.4853
2020-07-15 17:15:00 | 5.334 | 343.72 | 5.734 | 331.992 | 5.746 | 336.158 | 6.386 | 333.688 | 23.88 | 879 | 81.3 | 25.1367
2020-07-15 17:30:00 | 5.073 | 339.59 | 5.483 | 330.389 | 5.439 | 332.12 | 6.112 | 332.078 | 23.7 | 879 | 82.26 | 22.3667
2020-07-15 17:45:00 | 4.917 | 339.3 | 5.348 | 328.939 | 5.369 | 331.836 | 6.052 | 330.622 | 23.7 | 879 | 83.08 | 20.3807
2020-07-15 18:00:00 | 4.5 | 341.88 | 4.871 | 321.958 | 4.935 | 334.359 | 5.514 | 323.603 | 23.69 | 879 | 82.85 | 18.2247
2020-07-15 18:15:00 | 4.88 | 319.9067 | 5.3073 | 308.2653 | 5.4213 | 312.868 | 6.0773 | 309.8413 | 23.6867 | 879 | 82.88 | 22.142
2020-07-15 18:30:00 | 4.966 | 344.8267 | 5.3687 | 331.496 | 5.4167 | 337.2413 | 6.0533 | 333.1913 | 23.6733 | 879 | 83.8733 | 22.6293
2020-07-15 18:45:00 | 5.2967 | 324.1333 | 5.7413 | 307.822 | 5.9427 | 317.0033 | 6.6007 | 309.3973 | 23.7 | 879 | 83.9133 | 26.696
2020-07-15 19:00:00 | 5.212 | 341.52 | 5.672 | 330.542 | 5.88 | 334.006 | 6.554 | 332.234 | 23.68 | 879 | 84.22 | 26.7767
2020-07-15 19:15:00 | 5.492 | 345.86 | 5.87 | 327.552 | 5.866 | 338.251 | 6.473 | 329.227 | 23.67 | 879 | 82.96 | 28.6333
2020-07-15 19:30:00 | 5.528 | 340.61 | 5.872 | 325.734 | 6.02 | 333.117 | 6.534 | 327.398 | 23.54 | 879 | 81.48 | 29.0993
2020-07-15 19:45:00 | 5.746 | 341.62 | 6.177 | 329.518 | 6.229 | 334.103 | 6.903 | 331.203 | 23.41 | 879 | 83.63 | 31.918
2020-07-15 20:00:00 | 5.375 | 339.59 | 5.849 | 266.965 | 6.083 | 332.12 | 6.777 | 268.33 | 23.17 | 879 | 84.21 | 30.8173
2020-07-15 20:15:00 | 5.648 | 341.7 | 6.1447 | 309.5173 | 6.2873 | 334.1827 | 7.0433 | 311.1007 | 23.1333 | 879 | 85.66 | 33.0293
2020-07-15 20:30:00 | 5.872 | 343.4 | 6.356 | 326.708 | 6.586 | 335.844 | 7.3 | 328.382 | 23.12 | 879 | 85.24 | 36.0107
2020-07-15 20:45:00 | 6.177 | 345.87 | 6.583 | 326.749 | 6.929 | 338.26 | 7.489 | 328.42 | 22.99 | 879 | 84.07 | 36.686
2020-07-15 21:00:00 | 5.82 | 345.57 | 6.291 | 331.404 | 6.529 | 337.969 | 7.217 | 333.1 | 22.89 | 879 | 84.54 | 35.3893
2020-07-15 21:15:00 | 5.988 | 346.92 | 6.479 | 326.221 | 6.746 | 339.286 | 7.463 | 327.89 | 22.88 | 879 | 85.75 | 35.0733
2020-07-15 21:30:00 | 5.956 | 339.77 | 6.472 | 321.01 | 6.651 | 332.295 | 7.426 | 322.651 | 22.84 | 879 | 84.61 | 33.6267
2020-07-15 21:45:00 | 5.683 | 336 | 6.165 | 324.773 | 6.387 | 328.607 | 7.1 | 326.433 | 22.86 | 879 | 84.2 | 33.6953
2020-07-15 22:00:00 | 6.282 | 339.2267 | 6.7767 | 328.1113 | 7.1247 | 331.764 | 7.8193 | 329.7913 | 22.8267 | 879 | 84.38 | 37.108
2020-07-15 22:15:00 | 6.2593 | 340.8067 | 6.7827 | 325.152 | 7.0927 | 333.3087 | 7.8407 | 326.8167 | 22.8133 | 879 | 84.36 | 35.5487
2020-07-15 22:30:00 | 6.09 | 340.6 | 6.602 | 323.58 | 6.96 | 333.106 | 7.672 | 325.236 | 22.68 | 879.8 | 84.44 | 36.4207
2020-07-15 22:45:00 | 6.153 | 339.39 | 6.665 | 320.794 | 7.036 | 330.221 | 7.733 | 322.435 | 22.74 | 880 | 84.48 | 35.7307
2020-07-15 23:00:00 | 5.882 | 341.42 | 6.336 | 324.268 | 6.662 | 333.908 | 7.304 | 325.924 | 22.72 | 880 | 84.78 | 34.194
2020-07-15 23:15:00 | 5.922 | 341.48 | 6.4753 | 318.4307 | 6.7753 | 333.968 | 7.576 | 320.0567 | 22.4867 | 880 | 85.16 | 35.758
2020-07-15 23:30:00 | 6.144 | 340.68 | 6.66 | 316.304 | 6.87 | 333.186 | 7.632 | 317.922 | 22.5 | 880 | 85 | 34.88
2020-07-15 23:45:00 | 5.769 | 337.63 | 6.317 | 322.957 | 6.51 | 330.202 | 7.335 | 324.606 | 22.43 | 880 | 84.74 | 32.828