## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-16 00:00:00 | 6.03 | 339.66 | 6.565 | 314.105 | 6.725 | 332.187 | 7.538 | 315.709 | 22.38 | 880 | 86.36 | 32.6893
2020-07-16 00:15:00 | 6.1547 | 335.8867 | 6.6967 | 319.5773 | 6.9513 | 328.4973 | 7.7487 | 321.2127 | 22.3267 | 879.4 | 86.4667 | 35.6147
2020-07-16 00:30:00 | 6.1393 | 339.62 | 6.6407 | 319.1027 | 6.7987 | 332.1473 | 7.5593 | 320.732 | 22.22 | 879 | 86.76 | 35.3507
2020-07-16 00:45:00 | 6.1627 | 337.92 | 6.6007 | 322.1467 | 6.7527 | 330.4847 | 7.4133 | 323.7927 | 22.24 | 879 | 87.14 | 34.586
2020-07-16 01:00:00 | 6.1027 | 335.7867 | 6.5013 | 322.748 | 6.852 | 328.3993 | 7.3933 | 324.3967 | 22.1467 | 879 | 88.02 | 36.5227
2020-07-16 01:15:00 | 5.854 | 330.52 | 6.214 | 319.182 | 6.48 | 323.248 | 6.98 | 320.814 | 22.02 | 879 | 88.8 | 36.0227
2020-07-16 01:30:00 | 6.094 | 341.61 | 6.615 | 323.434 | 6.796 | 334.095 | 7.578 | 325.087 | 21.87 | 879 | 88.71 | 34.9347
2020-07-16 01:45:00 | 6.252 | 341.68 | 6.74 | 319.952 | 6.892 | 334.163 | 7.635 | 321.587 | 21.87 | 879 | 89.11 | 34.7993
2020-07-16 02:00:00 | 6.025 | 304.95 | 6.518 | 326.662 | 6.706 | 298.241 | 7.444 | 328.331 | 21.72 | 879 | 89.61 | 34.4287
2020-07-16 02:15:00 | 6.112 | 341.3 | 6.654 | 320.978 | 6.934 | 333.79 | 7.718 | 322.622 | 21.54 | 879 | 90.4 | 35.428
2020-07-16 02:30:00 | 6.152 | 344.74 | 6.657 | 324.352 | 6.903 | 337.155 | 7.643 | 326.011 | 21.56 | 879 | 90.4 | 36.3673
2020-07-16 02:45:00 | 6.1413 | 342.44 | 6.6093 | 328.432 | 7.006 | 334.9053 | 7.6433 | 330.1113 | 21.4733 | 878 | 90.1867 | 37.174
2020-07-16 03:00:00 | 6.514 | 340.72 | 6.972 | 324.051 | 7.197 | 333.224 | 7.871 | 325.708 | 21.4 | 878 | 90.44 | 38.9627
2020-07-16 03:15:00 | 6.596 | 342.2267 | 7.112 | 323.672 | 7.3647 | 334.6973 | 8.1253 | 325.3267 | 21.3267 | 878 | 90.26 | 39.968
2020-07-16 03:30:00 | 6.566 | 340.54 | 7.14 | 333.206 | 7.164 | 333.048 | 8.086 | 334.906 | 21.26 | 878 | 90.7 | 38.6493
2020-07-16 03:45:00 | 6.645 | 341.11 | 7.172 | 327.649 | 7.343 | 333.605 | 8.139 | 329.323 | 21.17 | 878 | 92.04 | 39.8493
2020-07-16 04:00:00 | 6.8027 | 340.34 | 7.236 | 324.2793 | 7.4767 | 332.8533 | 8.1047 | 325.936 | 21.1933 | 878 | 93.1267 | 40.674
2020-07-16 04:15:00 | 6.68 | 344.98 | 7.106 | 323.972 | 7.296 | 337.392 | 7.93 | 325.628 | 21.08 | 878 | 93.68 | 42.6987
2020-07-16 04:30:00 | 7.2011 | 339.7222 | 7.5744 | 323.5656 | 7.8833 | 332.2489 | 8.3978 | 325.2189 | 21 | 877.8889 | 94.1556 | 46.0847
2020-07-16 04:45:00 | 7.209 | 276.43 | 7.637 | 330.847 | 7.811 | 271.277 | 8.451 | 332.539 | 21.1 | 877 | 93.94 | 46.62
2020-07-16 05:00:00 | 7.296 | 342.2 | 7.859 | 326.417 | 7.97 | 335.513 | 8.848 | 328.086 | 20.99 | 877 | 94.04 | 49.032
2020-07-16 05:15:00 | 7.403 | 341.66 | 7.871 | 327.71 | 8.133 | 335.375 | 8.798 | 329.385 | 20.94 | 877 | 94.44 | 49.0307
2020-07-16 05:30:00 | 7.016 | 344.65 | 7.422 | 334.242 | 7.616 | 337.065 | 8.212 | 335.95 | 20.81 | 877 | 93.96 | 48.6073
2020-07-16 05:45:00 | 7.427 | 349.26 | 7.881 | 328.265 | 8.132 | 341.576 | 8.79 | 329.945 | 20.89 | 877 | 92.96 | 50.1207
2020-07-16 06:00:00 | 7.4873 | 347 | 7.9273 | 330.9627 | 8.242 | 339.3667 | 8.8553 | 332.6533 | 20.88 | 877 | 93.2 | 52.3253
2020-07-16 06:15:00 | 7.17 | 342.16 | 7.656 | 324.676 | 7.966 | 334.632 | 8.65 | 326.338 | 20.88 | 877 | 93.2 | 49.9427
2020-07-16 06:30:00 | 7.299 | 309.32 | 7.76 | 327.239 | 8.009 | 302.172 | 8.655 | 328.913 | 20.93 | 877 | 92.64 | 50.1313
2020-07-16 06:45:00 | 7.566 | 313.05 | 8.065 | 324.149 | 8.174 | 306.66 | 8.943 | 325.805 | 20.99 | 877 | 92.6 | 50.2533
2020-07-16 07:00:00 | 7.545 | 346.07 | 8.046 | 327.169 | 8.18 | 338.455 | 8.948 | 328.842 | 20.94 | 877 | 92 | 50.7333
2020-07-16 07:15:00 | 7.4947 | 324.9467 | 8.0447 | 326.0067 | 8.328 | 317.374 | 9.1287 | 327.6733 | 20.9867 | 877 | 90.1133 | 48.552
2020-07-16 07:30:00 | 7.5913 | 344.7467 | 8.182 | 330.498 | 8.338 | 337.1613 | 9.238 | 332.1887 | 21.1867 | 877.2667 | 86.6267 | 48.1973
2020-07-16 07:45:00 | 7.8073 | 341.9267 | 8.3947 | 327.2133 | 8.546 | 334.4033 | 9.45 | 328.8847 | 21.3467 | 878 | 84.62 | 49.338
2020-07-16 08:00:00 | 7.598 | 343.5 | 8.182 | 327.844 | 8.668 | 335.944 | 9.46 | 329.522 | 21.48 | 878.8 | 84 | 50.4507
2020-07-16 08:15:00 | 7.612 | 339.06 | 8.118 | 324.09 | 8.424 | 331.602 | 9.15 | 325.746 | 21.54 | 879 | 82.84 | 49.826
2020-07-16 08:30:00 | 7.727 | 339.53 | 8.212 | 323.737 | 8.371 | 331.904 | 9.096 | 325.393 | 21.53 | 879 | 82.07 | 48.0713
2020-07-16 08:45:00 | 7.766 | 341.11 | 8.153 | 327.003 | 8.296 | 333.606 | 8.876 | 328.674 | 21.55 | 879.4 | 80.84 | 46.8487
2020-07-16 09:00:00 | 7.5567 | 295.7933 | 7.932 | 324.1807 | 8.0433 | 289.2867 | 8.6187 | 325.8367 | 21.76 | 879.7333 | 82.5733 | 49.79
2020-07-16 09:15:00 | 7.398 | 344.22 | 7.932 | 319.866 | 7.982 | 336.646 | 8.83 | 321.5 | 21.8 | 879 | 83.86 | 48.5447
2020-07-16 09:30:00 | 7.46 | 309.8 | 7.919 | 326.613 | 8.103 | 302.984 | 8.788 | 328.283 | 21.85 | 879 | 84.94 | 49.0613
2020-07-16 09:45:00 | 7.527 | 342.74 | 7.902 | 330.417 | 8.226 | 335.199 | 8.738 | 332.106 | 21.86 | 879 | 85.51 | 50.2327
2020-07-16 10:00:00 | 7.671 | 340.96 | 8.127 | 326.436 | 8.557 | 333.46 | 9.169 | 328.105 | 21.89 | 879 | 85.32 | 51.082
2020-07-16 10:15:00 | 7.572 | 340.71 | 7.995 | 318.457 | 8.215 | 333.215 | 8.836 | 320.085 | 21.73 | 879 | 86.28 | 47.0927
2020-07-16 10:30:00 | 6.622 | 342.11 | 7.133 | 330.887 | 7.333 | 334.585 | 8.099 | 332.577 | 21.8 | 879 | 86.77 | 45.618
2020-07-16 10:45:00 | 6.819 | 308.57 | 7.296 | 328.335 | 7.633 | 301.781 | 8.302 | 330.014 | 21.95 | 879 | 87.58 | 45.0873
2020-07-16 11:00:00 | 6.824 | 343.43 | 7.283 | 324.922 | 7.565 | 335.874 | 8.221 | 326.583 | 22.12 | 878.1 | 86.33 | 44.7293
2020-07-16 11:15:00 | 7.353 | 341.78 | 7.863 | 332.206 | 7.933 | 334.262 | 8.733 | 333.905 | 22.32 | 879 | 84.27 | 44.5053
2020-07-16 11:30:00 | 7.545 | 344.56 | 8.05 | 328.303 | 8.166 | 336.979 | 8.944 | 329.984 | 22.35 | 879 | 84.34 | 46.248
2020-07-16 11:45:00 | 7.073 | 344.72 | 7.627 | 325.39 | 7.753 | 337.135 | 8.604 | 327.054 | 22.55 | 879 | 83.68 | 46.9227
2020-07-16 12:00:00 | 6.792 | 274.3 | 7.412 | 332.658 | 7.424 | 270.162 | 8.426 | 334.358 | 22.62 | 879 | 82.8 | 47.6267
2020-07-16 12:15:00 | 6.523 | 316.41 | 7.087 | 300.245 | 7.325 | 309.45 | 8.16 | 301.78 | 22.72 | 879 | 82.95 | 46.03
2020-07-16 12:30:00 | 5.855 | 279.26 | 6.239 | 298.711 | 6.472 | 271.992 | 7.03 | 300.238 | 22.77 | 879 | 82.73 | 46.8247
2020-07-16 12:45:00 | 6.095 | 311.05 | 6.67 | 332.344 | 6.741 | 304.206 | 7.638 | 334.043 | 23.07 | 879 | 82.79 | 46.1667
2020-07-16 13:00:00 | 5.935 | 314.75 | 6.411 | 333.106 | 6.568 | 307.826 | 7.289 | 334.809 | 23.2 | 879 | 82.08 | 46.7893
2020-07-16 13:15:00 | 6.444 | 314.85 | 6.957 | 295.289 | 7.098 | 307.923 | 7.877 | 296.797 | 23.24 | 879 | 81.73 | 48.6887
2020-07-16 13:30:00 | 6.294 | 312.62 | 6.822 | 297.321 | 6.991 | 305.742 | 7.791 | 298.843 | 23.42 | 879 | 81.63 | 49.2
2020-07-16 13:45:00 | 6.634 | 347.77 | 7.319 | 308.979 | 7.6 | 340.118 | 8.621 | 310.559 | 23.61 | 879 | 80.18 | 46.0287
2020-07-16 14:00:00 | 6.093 | 310.86 | 6.599 | 296.558 | 6.644 | 304.021 | 7.448 | 298.076 | 23.59 | 879 | 79.67 | 45.438
2020-07-16 14:15:00 | 5.755 | 243.07 | 6.232 | 301.214 | 6.16 | 236.821 | 6.953 | 302.753 | 23.77 | 879 | 79.678 | 43.8733
2020-07-16 14:30:00 | 6.134 | 214.38 | 6.6647 | 296.646 | 6.9167 | 209.664 | 7.698 | 298.1633 | 23.94 | 879 | 78.212 | 44.91
2020-07-16 14:45:00 | 5.952 | 145.94 | 6.523 | 274.781 | 7.057 | 142.728 | 7.818 | 276.183 | 24.13 | 879 | 78.041 | 42.5067
2020-07-16 15:00:00 | 6.049 | 177.34 | 6.675 | 211.875 | 7.364 | 173.439 | 8.167 | 212.958 | 24.19 | 879 | 76.433 | 44.164
2020-07-16 15:15:00 | 5.7207 | 183.4643 | 6.1993 | 242.5721 | 6.9871 | 179.4293 | 7.5286 | 243.8121 | 24.0571 | 879 | 75.7686 | 43.964
2020-07-16 15:30:00 | 5.8773 | 123.4933 | 6.3953 | 205.0673 | 6.9867 | 120.7773 | 7.642 | 206.1153 | 24.2333 | 879 | 77.224 | 41.9047
2020-07-16 15:45:00 | 5.9547 | 79.7467 | 6.3567 | 142.71 | 6.802 | 77.992 | 7.3187 | 143.44 | 24.0667 | 879 | 77.6507 | 44.7147
2020-07-16 16:00:00 | 6.192 | 124.36 | 6.5973 | 228.7807 | 7.0667 | 121.6227 | 7.582 | 229.9493 | 24.02 | 878.0667 | 78.1187 | 46.3847
2020-07-16 16:15:00 | 6.2167 | 195.9533 | 6.6793 | 296.0727 | 7.098 | 191.01 | 7.7173 | 297.5867 | 23.8933 | 878 | 78.05 | 48.07
2020-07-16 16:30:00 | 6.508 | 123.46 | 6.942 | 340.7287 | 7.59 | 120.7433 | 8.096 | 342.4707 | 23.82 | 878 | 79.7353 | 47.628
2020-07-16 16:45:00 | 6.56 | 76.5 | 7.01 | 336.528 | 7.562 | 74.816 | 8.13 | 338.25 | 23.78 | 878 | 80.32 | 47.476
2020-07-16 17:00:00 | 6.763 | 182.82 | 7.252 | 330.965 | 7.972 | 178.797 | 8.548 | 332.657 | 23.57 | 877 | 81.01 | 51.18
2020-07-16 17:15:00 | 6.784 | 211.89 | 7.232 | 334.652 | 7.551 | 207.228 | 8.173 | 336.364 | 23.51 | 877 | 81.83 | 51.05
2020-07-16 17:30:00 | 6.889 | 344.84 | 7.249 | 332.443 | 7.582 | 337.253 | 8.071 | 334.142 | 23.39 | 877 | 84.32 | 51.688
2020-07-16 17:45:00 | 6.591 | 282.33 | 6.945 | 335.052 | 7.327 | 276.118 | 7.789 | 336.766 | 23.33 | 877 | 83.56 | 51.3107
2020-07-16 18:00:00 | 6.548 | 246.21 | 6.894 | 303.453 | 7.428 | 240.792 | 7.832 | 305.005 | 23.37 | 877 | 82.42 | 50.154
2020-07-16 18:15:00 | 7.116 | 279.61 | 7.456 | 238.251 | 7.932 | 273.459 | 8.345 | 239.469 | 23.37 | 877 | 82.44 | 52.2467
2020-07-16 18:30:00 | 7.034 | 346.04 | 7.5 | 306.513 | 8.178 | 338.426 | 8.735 | 308.081 | 23.14 | 877 | 82.11 | 50.172
2020-07-16 18:45:00 | 7.167 | 278.21 | 7.6 | 333.724 | 8.158 | 272.09 | 8.692 | 335.429 | 23.13 | 877 | 82.66 | 47.168
2020-07-16 19:00:00 | 6.722 | 277.68 | 7.322 | 329.527 | 7.767 | 271.571 | 8.605 | 331.21 | 22.78 | 877 | 83.85 | 46.0273
2020-07-16 19:15:00 | 6.4633 | 191.38 | 6.9287 | 330.25 | 7.4273 | 187.17 | 8.0313 | 331.9387 | 22.5533 | 877 | 85.2667 | 47.6767
2020-07-16 19:30:00 | 6.844 | 352.18 | 7.248 | 328.548 | 7.576 | 344.434 | 8.128 | 330.23 | 22.4 | 877 | 87.9 | 46.082
2020-07-16 19:45:00 | 6.888 | 270.4 | 7.138 | 334.162 | 7.34 | 264.45 | 7.69 | 335.874 | 22.3 | 877 | 92.7 | 47.5473
2020-07-16 20:00:00 | 7.0722 | 266.6556 | 7.3556 | 335.1944 | 7.6022 | 260.7889 | 7.9856 | 336.9078 | 22.3111 | 877 | 92.5 | 45.3213
2020-07-16 20:15:00 | 7.193 | 311.62 | 7.538 | 338.222 | 7.808 | 303.121 | 8.271 | 339.952 | 22.15 | 877 | 93.05 | 49.514
2020-07-16 20:30:00 | 7.078 | 209.26 | 7.317 | 332.685 | 7.417 | 204.657 | 7.778 | 334.387 | 21.88 | 877 | 93.39 | 48.7493
2020-07-16 20:45:00 | 6.761 | 309.5 | 7.071 | 301.637 | 7.091 | 302.691 | 7.586 | 303.177 | 21.87 | 877 | 94.57 | 48.8987
2020-07-16 21:00:00 | 6.837 | 339.3 | 7.216 | 293.939 | 7.709 | 331.835 | 8.176 | 295.44 | 21.7 | 877 | 95.41 | 47.68
2020-07-16 21:15:00 | 7.124 | 343.04 | 7.431 | 332.891 | 7.726 | 335.492 | 8.134 | 334.594 | 21.82 | 877 | 93.98 | 46.548
2020-07-16 21:30:00 | 7.038 | 345.33 | 7.367 | 331.738 | 7.515 | 337.733 | 8.005 | 333.433 | 21.73 | 877 | 92.24 | 43.6873
2020-07-16 21:45:00 | 6.967 | 340.67 | 7.29 | 329.01 | 7.62 | 333.176 | 8.046 | 330.691 | 21.56 | 877.4 | 92.8 | 44.8273
2020-07-16 22:00:00 | 6.723 | 346.68 | 7.041 | 304.882 | 7.273 | 339.053 | 7.718 | 306.442 | 21.65 | 878 | 92.83 | 46.4447
2020-07-16 22:15:00 | 6.941 | 314.1 | 7.312 | 329.985 | 7.627 | 307.189 | 8.129 | 331.672 | 21.55 | 878 | 92.92 | 45.7893
2020-07-16 22:30:00 | 6.503 | 246.84 | 6.742 | 326.994 | 6.923 | 241.409 | 7.258 | 328.666 | 21.42 | 878 | 93 | 42.53
2020-07-16 22:45:00 | 6.332 | 310.39 | 6.562 | 293.331 | 6.775 | 303.563 | 7.091 | 294.831 | 21.4 | 878 | 91.98 | 42.894
2020-07-16 23:00:00 | 6.517 | 240 | 6.778 | 328.747 | 6.987 | 234.718 | 7.349 | 330.426 | 21.4 | 878 | 91.91 | 44.0273
2020-07-16 23:15:00 | 6.678 | 241.56 | 6.952 | 322.623 | 7.387 | 236.247 | 7.709 | 324.273 | 21.25 | 878 | 92.83 | 41.9233
2020-07-16 23:30:00 | 6.2787 | 274.9467 | 6.4793 | 329.984 | 6.6667 | 269.042 | 6.9713 | 331.6707 | 21.28 | 878 | 92.88 | 40.6453
2020-07-16 23:45:00 | 6.154 | 277.38 | 6.35 | 329.234 | 6.92 | 271.276 | 7.068 | 330.918 | 21.26 | 878 | 92.6 | 44.0067