## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-17 00:00:00 | 6.094 | 274.1 | 6.294 | 334.38 | 6.808 | 268.07 | 6.98 | 336.086 | 21.24 | 878 | 92.52 | 46.728
2020-07-17 00:15:00 | 6.972 | 279.73 | 7.302 | 325.401 | 7.631 | 273.577 | 8.069 | 327.063 | 21.22 | 878 | 93.05 | 49.1687
2020-07-17 00:30:00 | 6.565 | 309.59 | 6.854 | 330.954 | 7.137 | 302.778 | 7.523 | 332.647 | 21.08 | 878 | 92.94 | 47.4367
2020-07-17 00:45:00 | 6.778 | 340.07 | 7.016 | 328.833 | 7.172 | 332.588 | 7.516 | 330.513 | 21.12 | 878 | 92.54 | 48.974
2020-07-17 01:00:00 | 6.877 | 238.65 | 7.199 | 328.882 | 7.733 | 233.4 | 8.097 | 330.564 | 20.93 | 878 | 92.32 | 51.7047
2020-07-17 01:15:00 | 7.068 | 281.4667 | 7.4227 | 330.2193 | 7.9507 | 275.0013 | 8.364 | 331.9067 | 20.8933 | 878 | 92.84 | 51.8033
2020-07-17 01:30:00 | 6.85 | 207.78 | 7.12 | 329.958 | 7.544 | 203.054 | 7.916 | 331.644 | 20.9 | 878 | 93.02 | 50.586
2020-07-17 01:45:00 | 6.782 | 343.2 | 7.194 | 327.472 | 7.93 | 335.65 | 8.38 | 329.148 | 20.76 | 878 | 92.88 | 52.1547
2020-07-17 02:00:00 | 7.377 | 344.29 | 7.761 | 326.886 | 8.278 | 336.715 | 8.746 | 328.557 | 20.86 | 877 | 92.25 | 54.2653
2020-07-17 02:15:00 | 8.233 | 336.53 | 8.594 | 332.861 | 9.295 | 329.125 | 9.664 | 334.565 | 21.01 | 877 | 92.56 | 52.772
2020-07-17 02:30:00 | 7.613 | 335.95 | 8.108 | 327.257 | 8.515 | 328.558 | 9.195 | 328.931 | 20.93 | 877 | 92.58 | 53.7993
2020-07-17 02:45:00 | 7.599 | 313.2 | 7.93 | 330.387 | 8.515 | 305.488 | 8.872 | 332.077 | 20.88 | 877 | 92.5 | 54.0687
2020-07-17 03:00:00 | 7.151 | 246.48 | 7.485 | 333.185 | 8.073 | 241.059 | 8.439 | 334.89 | 20.81 | 877 | 92.55 | 53.8793
2020-07-17 03:15:00 | 7.081 | 308.32 | 7.5 | 234.798 | 7.937 | 301.537 | 8.486 | 235.999 | 20.87 | 877 | 92.82 | 53.538
2020-07-17 03:30:00 | 7.932 | 279.74 | 8.384 | 332.698 | 8.772 | 273.584 | 9.396 | 334.396 | 20.92 | 877 | 92.98 | 53.704
2020-07-17 03:45:00 | 7.119 | 279.06 | 7.425 | 333.292 | 7.927 | 272.922 | 8.275 | 334.997 | 20.84 | 877 | 92.76 | 52.99
2020-07-17 04:00:00 | 7.328 | 313.79 | 7.594 | 332.069 | 8.365 | 306.887 | 8.566 | 333.768 | 20.83 | 877 | 92.25 | 51.5147
2020-07-17 04:15:00 | 7.188 | 245.74 | 7.507 | 297.098 | 8.366 | 208.255 | 8.635 | 298.616 | 20.92 | 877 | 92.57 | 53.4687
2020-07-17 04:30:00 | 6.848 | 207.96 | 7.215 | 325.751 | 8.001 | 203.385 | 8.365 | 327.418 | 20.9 | 877 | 93.26 | 51.976
2020-07-17 04:45:00 | 6.82 | 209.14 | 7.195 | 332.745 | 8.081 | 204.54 | 8.424 | 334.446 | 20.88 | 877 | 92.44 | 51.6093
2020-07-17 05:00:00 | 7.084 | 341.08 | 7.433 | 334.7 | 7.937 | 333.575 | 8.352 | 336.411 | 21.03 | 876.1 | 92.6 | 51.8947
2020-07-17 05:15:00 | 6.646 | 275.07 | 6.896 | 300.521 | 7.584 | 269.018 | 7.79 | 302.056 | 21.12 | 877 | 92.19 | 51.5793
2020-07-17 05:30:00 | 6.986 | 269.96 | 7.296 | 339.19 | 7.866 | 264.02 | 8.204 | 340.924 | 21.04 | 876.2 | 92.98 | 50.664
2020-07-17 05:45:00 | 6.897 | 309.32 | 7.27 | 330.944 | 7.806 | 302.513 | 8.248 | 332.637 | 20.95 | 876 | 92.19 | 49.7073
2020-07-17 06:00:00 | 7.3 | 243.59 | 7.72 | 305.262 | 8.109 | 238.23 | 8.667 | 306.822 | 20.97 | 876.9 | 91.62 | 51.766
2020-07-17 06:15:00 | 7.4853 | 257.6667 | 7.8667 | 321.5807 | 8.2093 | 251.6913 | 8.712 | 323.2233 | 21.0467 | 876.4 | 91.54 | 51.634
2020-07-17 06:30:00 | 7.432 | 347.3 | 7.806 | 346.428 | 8.01 | 339.658 | 8.548 | 348.2 | 21.04 | 876.8 | 91.76 | 53.45
2020-07-17 06:45:00 | 7.506 | 242.25 | 7.853 | 336.324 | 8.197 | 236.922 | 8.659 | 338.044 | 21.16 | 876.4 | 92.26 | 54.4533
2020-07-17 07:00:00 | 7.268 | 313.01 | 7.625 | 301.526 | 8.161 | 306.125 | 8.588 | 303.069 | 21.17 | 877 | 91.64 | 50.8407
2020-07-17 07:15:00 | 7.296 | 344.23 | 7.688 | 329.107 | 8.187 | 336.656 | 8.677 | 330.79 | 21.16 | 877 | 90.92 | 48.2467
2020-07-17 07:30:00 | 7.686 | 345.03 | 8.152 | 332.765 | 8.849 | 337.439 | 9.397 | 334.466 | 21.23 | 877 | 89.92 | 51.8987
2020-07-17 07:45:00 | 7.935 | 348.06 | 8.532 | 296.833 | 9.22 | 340.403 | 9.981 | 298.35 | 21.22 | 877 | 89.55 | 52.2173
2020-07-17 08:00:00 | 7.99 | 348.23 | 8.729 | 327.797 | 9.254 | 340.569 | 10.29 | 329.471 | 21.27 | 877 | 89.72 | 52.7187
2020-07-17 08:15:00 | 7.7387 | 322.84 | 8.352 | 284.396 | 8.8133 | 315.7373 | 9.6627 | 285.85 | 21.48 | 877 | 87.9133 | 55.6533
2020-07-17 08:30:00 | 7.012 | 341.06 | 7.618 | 256.06 | 8.168 | 333.558 | 8.984 | 257.372 | 21.76 | 877.8 | 87.56 | 51.6
2020-07-17 08:45:00 | 6.248 | 278.5 | 6.688 | 260.138 | 7.438 | 272.373 | 7.926 | 261.468 | 21.79 | 878 | 86.72 | 50.5713
2020-07-17 09:00:00 | 6.005 | 313.05 | 6.474 | 265.067 | 6.984 | 306.164 | 7.591 | 266.422 | 22.05 | 878 | 85.66 | 48.4793
2020-07-17 09:15:00 | 5.032 | 231.8467 | 5.3893 | 307.3087 | 5.8107 | 226.746 | 6.2647 | 308.8787 | 22.5733 | 879 | 83.8867 | 40.9053
2020-07-17 09:30:00 | 5.428 | 351.22 | 5.816 | 337.212 | 6.168 | 343.494 | 6.688 | 338.94 | 22.74 | 879 | 82.2 | 34.1227
2020-07-17 09:45:00 | 4.758 | 311.55 | 5.077 | 267.961 | 5.573 | 304.696 | 5.947 | 269.334 | 23.17 | 879.4 | 80.72 | 29.5007
2020-07-17 10:00:00 | 4.712 | 212.27 | 5.039 | 297.478 | 5.454 | 207.601 | 5.86 | 298.999 | 23.29 | 880 | 78.66 | 29.948
2020-07-17 10:15:00 | 4.738 | 217.19 | 4.982 | 305.215 | 5.279 | 212.413 | 5.589 | 306.774 | 23.72 | 880 | 78.978 | 29.5087
2020-07-17 10:30:00 | 5.077 | 279.79 | 5.308 | 237.564 | 5.684 | 273.634 | 5.948 | 238.78 | 24.43 | 880 | 77.15 | 28.844
2020-07-17 10:45:00 | 5.269 | 245.11 | 5.481 | 271.543 | 5.684 | 239.973 | 5.972 | 272.929 | 24.47 | 880 | 73.789 | 28.4667
2020-07-17 11:00:00 | 4.4893 | 191.3867 | 4.7427 | 288.3327 | 4.9427 | 187.176 | 5.292 | 289.8093 | 25.34 | 880.2667 | 72.7053 | 28.1787
2020-07-17 11:15:00 | 5.024 | 141.1 | 5.068 | 73.666 | 5.44 | 137.996 | 5.408 | 74.04 | 25.22 | 881 | 69.104 | 31.122
2020-07-17 11:30:00 | 5.3089 | 158.7667 | 5.4344 | 228.9611 | 5.8189 | 155.2756 | 5.9122 | 230.13 | 25.6222 | 881 | 71.4678 | 36.1627
2020-07-17 11:45:00 | 6.103 | 253.68 | 6.492 | 273.577 | 6.944 | 248.099 | 7.446 | 274.975 | 25.96 | 880 | 69.721 | 38.6873
2020-07-17 12:00:00 | 6.056 | 315.44 | 6.276 | 272.246 | 6.588 | 308.499 | 6.861 | 273.638 | 26.22 | 880 | 68.704 | 37.684
2020-07-17 12:15:00 | 5.781 | 213.89 | 5.997 | 307.954 | 6.491 | 209.186 | 6.698 | 309.528 | 26.43 | 880 | 67.988 | 39.1647
2020-07-17 12:30:00 | 5.437 | 184.74 | 5.724 | 240.636 | 6.171 | 180.675 | 6.509 | 241.868 | 26.68 | 880 | 68.15 | 36.0767
2020-07-17 12:45:00 | 5.364 | 145.07 | 5.876 | 135.415 | 6.604 | 141.879 | 7.212 | 136.106 | 27.04 | 880 | 67.242 | 35.9053
2020-07-17 13:00:00 | 5.223 | 177.33 | 5.45 | 237.466 | 5.983 | 173.43 | 6.194 | 238.682 | 27.22 | 880 | 66.699 | 30.8213
2020-07-17 13:15:00 | 4.521 | 208.8 | 4.696 | 239.071 | 5.122 | 204.206 | 5.28 | 240.294 | 27.49 | 880 | 66.486 | 23.772
2020-07-17 13:30:00 | 4.487 | 124.03 | 4.646 | 207.815 | 5.031 | 121.301 | 5.178 | 208.878 | 27.71 | 880 | 65.571 | 25.7807
2020-07-17 13:45:00 | 5.27 | 182.05 | 5.659 | 173.125 | 6.17 | 178.044 | 6.649 | 174.01 | 27.85 | 880 | 64.399 | 29.1867
2020-07-17 14:00:00 | 5.221 | 114.39 | 5.6 | 142.572 | 6.065 | 111.873 | 6.537 | 143.301 | 28 | 880 | 64.402 | 30.8887
2020-07-17 14:15:00 | 5.029 | 216.86 | 5.392 | 113.848 | 5.511 | 212.088 | 6.057 | 114.432 | 27.99 | 880 | 63.558 | 28.8253
2020-07-17 14:30:00 | 4.748 | 180.57 | 4.958 | 107.922 | 5.45 | 176.598 | 5.651 | 108.473 | 28.1 | 880 | 64.09 | 27.568
2020-07-17 14:45:00 | 4.8153 | 129.04 | 5.1147 | 105.514 | 5.392 | 126.202 | 5.7933 | 106.0527 | 28.2133 | 880 | 63.622 | 27.8373
2020-07-17 15:00:00 | 4.9507 | 103.54 | 5.244 | 97.838 | 5.6147 | 101.2627 | 5.9787 | 98.3393 | 28.4733 | 880 | 62.7207 | 25.9947
2020-07-17 15:15:00 | 4.164 | 214.74 | 4.382 | 15.314 | 4.78 | 210.016 | 5.012 | 15.394 | 28.62 | 880 | 62.38 | 21.0673
2020-07-17 15:30:00 | 4.38 | 215.83 | 4.706 | 43.678 | 4.942 | 211.082 | 5.402 | 43.9 | 28.79 | 880 | 61.84 | 17.062
2020-07-17 15:45:00 | 4.155 | 150.7 | 4.449 | 112.489 | 4.873 | 147.383 | 5.224 | 113.064 | 29.12 | 880 | 61.548 | 16.1253
2020-07-17 16:00:00 | 3.74 | 78.93 | 3.929 | 49.467 | 4.236 | 77.194 | 4.451 | 49.718 | 29.2 | 880 | 60.781 | 11.5373
2020-07-17 16:15:00 | 3.359 | 123.53 | 3.444 | 116.489 | 3.762 | 120.812 | 3.806 | 117.085 | 29.36 | 880 | 60.427 | 10.6347
2020-07-17 16:30:00 | 3.244 | 218.1 | 3.429 | 14.358 | 3.481 | 213.302 | 3.762 | 14.43 | 29.63 | 880 | 59.716 | 9.4533
2020-07-17 16:45:00 | 3.264 | 79.72 | 3.321 | 7.149 | 3.428 | 77.966 | 3.488 | 7.185 | 29.7 | 880 | 60.307 | 7.1347
2020-07-17 17:00:00 | 3.181 | 92.4 | 3.194 | 172.941 | 3.431 | 90.367 | 3.387 | 173.824 | 29.72 | 879.1 | 59.685 | 7.364
2020-07-17 17:15:00 | 3.371 | 83.92 | 3.53 | 140.949 | 3.496 | 82.074 | 3.766 | 141.67 | 29.78 | 879 | 59.902 | 5.5087
2020-07-17 17:30:00 | 3.0521 | 110.3571 | 3.26 | 60.7621 | 3.2193 | 107.9293 | 3.565 | 61.0729 | 30.0714 | 879 | 60.205 | 4.412
2020-07-17 17:45:00 | 3.192 | 85.9467 | 3.3547 | 101.602 | 3.2153 | 84.4607 | 3.5227 | 102.12 | 30.0733 | 879 | 58.9127 | 4.0593
2020-07-17 18:00:00 | 2.8107 | 58.6867 | 2.8927 | 33.7227 | 2.7927 | 57.3947 | 2.9607 | 33.894 | 30.1067 | 879 | 59.4433 | 3.0613
2020-07-17 18:15:00 | 2.5047 | 213.6933 | 2.5313 | 208.874 | 2.6753 | 208.9907 | 2.6773 | 209.9433 | 30.0867 | 879 | 59.7007 | 1.2573
2020-07-17 18:30:00 | 2.0467 | 190.7267 | 2.1473 | 205.4973 | 2.2613 | 186.5307 | 2.392 | 206.5467 | 30.12 | 879 | 60.82 | 0.04
2020-07-17 18:45:00 | 1.878 | 294.8 | 1.9733 | 305.99 | 2.2207 | 288.3133 | 2.302 | 307.5533 | 30.3667 | 879 | 61.114 | 0
2020-07-17 19:00:00 | 1.97 | 281.68 | 2.05 | 327.866 | 2.176 | 275.484 | 2.276 | 329.542 | 30.28 | 879 | 61.488 | 0
2020-07-17 19:15:00 | 1.86 | 280.28 | 1.882 | 322.034 | 2.154 | 274.114 | 2.114 | 323.682 | 29.96 | 879 | 65.52 | 0
2020-07-17 19:30:00 | 1.4833 | 256.3667 | 1.5244 | 329.77 | 1.8 | 250.7267 | 1.7844 | 331.4578 | 29.8556 | 879 | 67.4144 | 0
2020-07-17 19:45:00 | 1.58 | 50.71 | 1.652 | 46.894 | 1.635 | 49.594 | 1.756 | 47.135 | 29.37 | 879 | 68.018 | 0
2020-07-17 20:00:00 | 2.022 | 133.06 | 2.128 | 91.687 | 2.314 | 130.133 | 2.431 | 92.157 | 29.07 | 878.1 | 67.598 | 0
2020-07-17 20:15:00 | 2.581 | 145.87 | 2.741 | 130.691 | 2.914 | 142.661 | 3.123 | 131.357 | 28.53 | 878.4 | 70.146 | 1.052
2020-07-17 20:30:00 | 3.491 | 145.66 | 3.78 | 142.601 | 4.121 | 142.456 | 4.482 | 143.332 | 27.73 | 878.1 | 73.695 | 6.8587
2020-07-17 20:45:00 | 3.204 | 144.81 | 3.392 | 140.078 | 3.53 | 142.103 | 3.792 | 140.795 | 27.26 | 878 | 76.465 | 7.4753
2020-07-17 21:00:00 | 3.057 | 142.77 | 3.222 | 146.564 | 3.605 | 139.943 | 3.757 | 147.312 | 27.1 | 878.9 | 78.433 | 8.214
2020-07-17 21:15:00 | 3.325 | 146.35 | 3.52 | 144.783 | 3.922 | 143.129 | 4.118 | 145.524 | 26.65 | 879 | 79.677 | 8.3733
2020-07-17 21:30:00 | 3.106 | 153.3 | 3.2107 | 139.5347 | 3.4707 | 149.928 | 3.566 | 140.2473 | 26.38 | 879 | 80.72 | 7.7187
2020-07-17 21:45:00 | 2.936 | 154.3667 | 3.046 | 152.8287 | 3.2507 | 150.7687 | 3.3687 | 153.61 | 26.2467 | 879 | 81.76 | 7.304
2020-07-17 22:00:00 | 2.66 | 149.72 | 2.74 | 165.048 | 2.964 | 146.428 | 3.022 | 165.89 | 26.08 | 879 | 83.22 | 5.57
2020-07-17 22:15:00 | 2.088 | 146.98 | 2.179 | 154.494 | 2.804 | 143.747 | 2.769 | 155.285 | 25.84 | 879 | 85.13 | 5.2353
2020-07-17 22:30:00 | 2.497 | 159.94 | 2.574 | 155.796 | 2.852 | 156.422 | 2.895 | 156.59 | 25.69 | 879 | 85.86 | 4.4293
2020-07-17 22:45:00 | 2.033 | 145.49 | 2.126 | 148.901 | 2.29 | 142.29 | 2.39 | 149.662 | 25.58 | 879 | 86.7 | 2.9027
2020-07-17 23:00:00 | 1.843 | 161.48 | 1.889 | 160.294 | 1.926 | 157.928 | 1.988 | 161.114 | 25.57 | 879 | 87.8 | 2.4073
2020-07-17 23:15:00 | 1.492 | 166.25 | 1.476 | 165.154 | 1.533 | 162.591 | 1.497 | 165.999 | 25.5 | 879 | 88.48 | 1.4547
2020-07-17 23:30:00 | 1.652 | 154.06 | 1.675 | 167.072 | 1.811 | 150.67 | 1.806 | 167.925 | 25.47 | 879 | 88.46 | 1.5253
2020-07-17 23:45:00 | 1.537 | 163.35 | 1.611 | 137.604 | 1.722 | 159.756 | 1.813 | 138.309 | 25.28 | 879 | 89.24 | 0.89333