## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-18 00:00:00 | 1.103 | 157.26 | 1.176 | 142.71 | 1.362 | 153.801 | 1.426 | 143.441 | 25.27 | 879 | 89.8 | 0.15467
2020-07-18 00:15:00 | 0.54 | 169.1 | 0.586 | 193.976 | 0.704 | 165.38 | 0.748 | 194.968 | 25.34 | 879 | 89.8 | 0.043333
2020-07-18 00:30:00 | 0.548 | 219.14 | 0.564 | 218.769 | 0.626 | 214.318 | 0.633 | 219.888 | 25.47 | 879 | 90.16 | 0
2020-07-18 00:45:00 | 1.107 | 320.49 | 1.116 | 207.492 | 1.215 | 313.441 | 1.203 | 208.553 | 25.15 | 879 | 89.62 | 0
2020-07-18 01:00:00 | 1.373 | 236.41 | 1.453 | 309.048 | 2.187 | 231.209 | 2.1 | 310.627 | 25.18 | 879 | 89.86 | 0
2020-07-18 01:15:00 | 2.358 | 320.2067 | 2.5253 | 160.4247 | 2.6373 | 313.16 | 2.876 | 161.2447 | 24.7467 | 879 | 91.0133 | 0.074
2020-07-18 01:30:00 | 2.328 | 304 | 2.448 | 310.124 | 2.974 | 297.31 | 3.02 | 311.71 | 24.52 | 879 | 90.32 | 2.4453
2020-07-18 01:45:00 | 3.101 | 331.35 | 3.248 | 326.329 | 3.602 | 324.06 | 3.738 | 327.997 | 24.07 | 878 | 92.23 | 4.0287
2020-07-18 02:00:00 | 3.296 | 335.06 | 3.403 | 322.917 | 3.845 | 327.689 | 3.889 | 324.568 | 23.96 | 878 | 91.2 | 5.93
2020-07-18 02:15:00 | 3.778 | 328.21 | 4.052 | 319.728 | 4.459 | 320.989 | 4.784 | 321.363 | 23.71 | 878 | 91.16 | 10.13
2020-07-18 02:30:00 | 4.433 | 333.12 | 4.76 | 330.836 | 5.09 | 325.791 | 5.523 | 332.528 | 23.62 | 878 | 91.2 | 14.8007
2020-07-18 02:45:00 | 4.386 | 338.16 | 4.745 | 323.24 | 5.073 | 330.721 | 5.561 | 324.89 | 23.34 | 878 | 90.96 | 16.4833
2020-07-18 03:00:00 | 4.687 | 331.53 | 5.021 | 318.612 | 5.364 | 325.819 | 5.801 | 320.243 | 23.26 | 877.1 | 90.95 | 17.678
2020-07-18 03:15:00 | 5.8213 | 334.3133 | 6.222 | 328.2893 | 6.32 | 326.9593 | 6.9367 | 329.9667 | 23.2533 | 877 | 91.4 | 29.9193
2020-07-18 03:30:00 | 5.87 | 346.86 | 6.292 | 335.688 | 6.688 | 339.228 | 7.26 | 337.406 | 23.18 | 877 | 91.2 | 32.112
2020-07-18 03:45:00 | 6.536 | 342.99 | 6.939 | 320.254 | 7.248 | 335.443 | 7.809 | 321.892 | 23.04 | 877 | 91.87 | 36.5547
2020-07-18 04:00:00 | 6.812 | 343.38 | 7.24 | 331.6533 | 7.5187 | 335.826 | 8.128 | 333.3487 | 22.84 | 877 | 91.92 | 36.4367
2020-07-18 04:15:00 | 6.816 | 340.8 | 7.362 | 326.356 | 7.334 | 333.304 | 8.218 | 328.026 | 22.78 | 877 | 91.88 | 37.6147
2020-07-18 04:30:00 | 6.804 | 341.08 | 7.268 | 324.999 | 7.415 | 334.31 | 8.124 | 326.661 | 22.9 | 877 | 91.72 | 36.4987
2020-07-18 04:45:00 | 6.621 | 346.71 | 7.125 | 327.063 | 7.568 | 339.082 | 8.248 | 328.735 | 22.71 | 877 | 91.81 | 39.2107
2020-07-18 05:00:00 | 6.761 | 343.78 | 7.276 | 331.394 | 7.3 | 336.216 | 8.12 | 333.09 | 22.69 | 877 | 91.36 | 36.4127
2020-07-18 05:15:00 | 5.954 | 353.25 | 6.402 | 323.904 | 6.684 | 345.476 | 7.32 | 325.56 | 22.54 | 877 | 91.68 | 30.7387
2020-07-18 05:30:00 | 6.3987 | 345.7267 | 6.9513 | 327.558 | 7.0933 | 338.1207 | 7.936 | 329.2333 | 22.34 | 877 | 92.68 | 34.5973
2020-07-18 05:45:00 | 6.4167 | 343.7267 | 6.964 | 323.372 | 7.1767 | 336.386 | 7.9907 | 325.0253 | 22.3533 | 877 | 92.8 | 35.9933
2020-07-18 06:00:00 | 6.3013 | 347.2267 | 6.8233 | 330.342 | 7.01 | 339.5873 | 7.7953 | 332.0307 | 22.22 | 877 | 92.84 | 34.5527
2020-07-18 06:15:00 | 6.336 | 338.36 | 6.994 | 331.15 | 7.266 | 330.916 | 8.234 | 332.842 | 22.16 | 877 | 93.52 | 35.0953
2020-07-18 06:30:00 | 5.837 | 308.81 | 6.321 | 329.048 | 6.478 | 302.015 | 7.208 | 330.732 | 21.99 | 877 | 93.97 | 35.256
2020-07-18 06:45:00 | 5.38 | 344.41 | 5.844 | 263.18 | 6.077 | 336.832 | 6.756 | 264.525 | 21.83 | 877 | 93.56 | 36.9813
2020-07-18 07:00:00 | 6.144 | 326.44 | 6.666 | 268.5 | 6.9887 | 319.2573 | 7.734 | 269.8727 | 21.8867 | 877 | 93.62 | 44.19
2020-07-18 07:15:00 | 6.274 | 277.78 | 6.754 | 268.012 | 7.084 | 271.668 | 7.758 | 269.382 | 21.94 | 877 | 93.02 | 44.5687
2020-07-18 07:30:00 | 6.571 | 243.63 | 7.006 | 331.563 | 7.523 | 238.27 | 8.069 | 333.256 | 22.16 | 877.9 | 90.38 | 47.9553
2020-07-18 07:45:00 | 6.795 | 214.04 | 7.177 | 327.493 | 7.911 | 209.331 | 8.313 | 329.168 | 22.18 | 878 | 88.1 | 49.7293
2020-07-18 08:00:00 | 6.813 | 277.8 | 7.264 | 328.98 | 7.755 | 271.69 | 8.344 | 330.66 | 22.25 | 878.9 | 88.23 | 50.9873
2020-07-18 08:15:00 | 7.109 | 210.76 | 7.61 | 298.974 | 8.246 | 206.124 | 8.864 | 300.503 | 22.46 | 879 | 85.86 | 53.5993
2020-07-18 08:30:00 | 7.584 | 315 | 7.927 | 342.387 | 8.576 | 308.07 | 8.944 | 344.138 | 22.89 | 879 | 84.01 | 54.7753
2020-07-18 08:45:00 | 6.93 | 323.6533 | 7.3093 | 294.6 | 8.0547 | 316.534 | 8.452 | 296.106 | 23.1667 | 880 | 80.9093 | 51.7007
2020-07-18 09:00:00 | 6.9293 | 256.4467 | 7.3387 | 292.2847 | 7.9473 | 250.804 | 8.434 | 293.7787 | 23.3867 | 880 | 80.4507 | 50.97
2020-07-18 09:15:00 | 7.0933 | 187.8867 | 7.4947 | 312.9267 | 8.3227 | 183.7533 | 8.7293 | 314.5273 | 23.6333 | 880.6 | 79.034 | 52.196
2020-07-18 09:30:00 | 7.05 | 240.81 | 7.44 | 303.385 | 8.152 | 235.513 | 8.574 | 304.937 | 23.94 | 881 | 77.587 | 50.412
2020-07-18 09:45:00 | 6.652 | 246.44 | 7.093 | 336.099 | 8.047 | 241.019 | 8.477 | 337.819 | 24.45 | 881 | 75.476 | 49.5887
2020-07-18 10:00:00 | 6.245 | 213.76 | 6.68 | 306.456 | 7.643 | 209.057 | 8.068 | 308.023 | 24.66 | 881 | 74.24 | 47.4353
2020-07-18 10:15:00 | 6.6027 | 195.74 | 6.9513 | 309.9213 | 7.8193 | 191.172 | 8.1273 | 311.5047 | 24.6133 | 881 | 74.1047 | 48.6167
2020-07-18 10:30:00 | 6.536 | 284.64 | 6.84 | 329.136 | 7.722 | 278.378 | 7.962 | 330.82 | 24.6 | 881 | 74.616 | 47.76
2020-07-18 10:45:00 | 6.314 | 149.24 | 6.782 | 328.606 | 7.376 | 145.958 | 7.962 | 330.288 | 24.66 | 881 | 73.742 | 48.6353
2020-07-18 11:00:00 | 6.758 | 213.28 | 7.244 | 331.736 | 7.934 | 208.588 | 8.514 | 333.434 | 24.82 | 881 | 73.55 | 49.2713
2020-07-18 11:15:00 | 7.2922 | 198.0556 | 7.5622 | 321.7311 | 8.2178 | 193.6989 | 8.4656 | 323.3756 | 24.7444 | 881 | 72.2611 | 51.468
2020-07-18 11:30:00 | 7.158 | 309.85 | 7.359 | 299.932 | 7.999 | 303.033 | 8.14 | 301.467 | 24.67 | 881 | 72.45 | 52.4507
2020-07-18 11:45:00 | 7.662 | 337.3 | 7.861 | 317.244 | 8.489 | 329.88 | 8.632 | 318.865 | 24.5 | 881 | 72.408 | 52.9387
2020-07-18 12:00:00 | 8.55 | 340.2 | 9.049 | 298.778 | 9.272 | 332.715 | 10.004 | 300.307 | 24.28 | 881 | 69.671 | 56.0453
2020-07-18 12:15:00 | 9.3127 | 336.4467 | 9.834 | 306.6287 | 10.0507 | 329.044 | 10.83 | 308.196 | 24.04 | 881 | 70.4327 | 57.372
2020-07-18 12:30:00 | 9.898 | 268.02 | 10.404 | 329.8 | 10.61 | 262.124 | 11.37 | 331.486 | 23.98 | 881 | 70.122 | 59.0013
2020-07-18 12:45:00 | 9.725 | 339.35 | 10.332 | 326.377 | 10.494 | 331.883 | 11.425 | 328.047 | 23.67 | 881 | 69.586 | 58.1573
2020-07-18 13:00:00 | 11.096 | 339.98 | 11.81 | 323.28 | 12.066 | 332.226 | 13.065 | 324.93 | 23.36 | 881 | 70.761 | 59.4293
2020-07-18 13:15:00 | 10.538 | 333.71 | 11.201 | 323.356 | 11.354 | 326.369 | 12.376 | 325.009 | 23.27 | 881 | 71.81 | 60.752
2020-07-18 13:30:00 | 10.528 | 339.87 | 11.188 | 326.877 | 11.341 | 332.394 | 12.361 | 328.549 | 22.99 | 881 | 72.029 | 59.344
2020-07-18 13:45:00 | 9.748 | 336.81 | 10.533 | 293.684 | 10.94 | 329.401 | 12.077 | 295.185 | 22.87 | 880.6 | 73.06 | 59.4527
2020-07-18 14:00:00 | 9.302 | 307.29 | 9.905 | 333.812 | 10.526 | 300.531 | 11.317 | 335.519 | 22.88 | 880 | 73.359 | 59.592
2020-07-18 14:15:00 | 9.876 | 309.58 | 10.486 | 326.359 | 10.906 | 302.769 | 11.764 | 328.028 | 22.84 | 880 | 72.33 | 58.7333
2020-07-18 14:30:00 | 9.6513 | 295.3933 | 10.2 | 327.1227 | 10.5367 | 289.1027 | 11.3313 | 328.7947 | 22.7067 | 880.9333 | 73.1 | 57.6987
2020-07-18 14:45:00 | 9.935 | 312.44 | 10.413 | 333.156 | 10.939 | 305.566 | 11.56 | 334.859 | 22.48 | 881 | 73.634 | 57.5447
2020-07-18 15:00:00 | 9.0143 | 225.7714 | 9.4757 | 284.6829 | 10.1271 | 220.805 | 10.6793 | 286.1357 | 22.3071 | 881 | 76.4657 | 55.2733
2020-07-18 15:15:00 | 8.66 | 322.8933 | 9.0087 | 329.1953 | 9.664 | 315.79 | 10.0407 | 330.8767 | 22.18 | 881 | 76.6967 | 58.086
2020-07-18 15:30:00 | 8.976 | 282.32 | 9.298 | 335.278 | 10.226 | 276.11 | 10.474 | 336.994 | 22 | 881 | 78.168 | 59.3727
2020-07-18 15:45:00 | 9.089 | 284.99 | 9.603 | 338.907 | 10.444 | 278.719 | 11.026 | 340.64 | 21.5 | 881 | 81.342 | 60.4173
2020-07-18 16:00:00 | 8.725 | 281.32 | 9.301 | 300.588 | 10.012 | 275.132 | 10.736 | 302.123 | 21.35 | 881 | 86.18 | 60.0433
2020-07-18 16:15:00 | 8.576 | 312.38 | 9.178 | 300.871 | 9.95 | 305.507 | 10.693 | 302.41 | 21.15 | 880 | 86.49 | 59.758
2020-07-18 16:30:00 | 8.688 | 277.89 | 9.275 | 326.681 | 10.092 | 271.776 | 10.797 | 328.352 | 21.17 | 880 | 88.62 | 59.1913
2020-07-18 16:45:00 | 8.35 | 275 | 9.052 | 292.871 | 9.589 | 268.949 | 10.555 | 294.368 | 21.3 | 880 | 86.48 | 58.502
2020-07-18 17:00:00 | 9.029 | 347.57 | 9.708 | 330.476 | 10.141 | 339.923 | 11.111 | 332.166 | 21.55 | 880 | 83.89 | 59.0753
2020-07-18 17:15:00 | 8.628 | 346.66 | 9.385 | 330.672 | 9.873 | 339.033 | 10.943 | 332.362 | 21.74 | 880 | 82.16 | 59.1567
2020-07-18 17:30:00 | 8.373 | 308.76 | 9.004 | 296.755 | 9.716 | 301.967 | 10.521 | 298.272 | 21.76 | 880 | 82.03 | 58.2333
2020-07-18 17:45:00 | 8.2443 | 325.0929 | 8.7614 | 304.745 | 9.4179 | 317.9429 | 10.0579 | 306.3029 | 21.7786 | 880 | 82.1857 | 58.2147
2020-07-18 18:00:00 | 8.3613 | 323.04 | 8.866 | 330.1713 | 9.4507 | 315.9327 | 10.0913 | 331.8613 | 21.7933 | 880 | 82.16 | 59.0593
2020-07-18 18:15:00 | 7.9007 | 232.4333 | 8.3153 | 311.48 | 9.078 | 227.3193 | 9.5247 | 313.0727 | 21.8133 | 880 | 82.04 | 59.5593
2020-07-18 18:30:00 | 7.672 | 189.1867 | 8.1573 | 329.7487 | 8.91 | 185.024 | 9.4747 | 331.4347 | 21.7933 | 880 | 81.1667 | 59.4687
2020-07-18 18:45:00 | 7.5327 | 298.5 | 8.0247 | 293.2227 | 8.758 | 291.9327 | 9.3353 | 294.724 | 21.6667 | 880 | 80.9467 | 58.3287
2020-07-18 19:00:00 | 7.2573 | 232.5533 | 7.78 | 314.642 | 8.5487 | 227.436 | 9.1673 | 316.25 | 21.6733 | 880 | 81.14 | 57.7613
2020-07-18 19:15:00 | 7.1447 | 276.22 | 7.5827 | 328.5353 | 8.4773 | 270.1433 | 8.924 | 330.216 | 21.64 | 880 | 81.28 | 57.042
2020-07-18 19:30:00 | 6.808 | 346.58 | 7.344 | 321.646 | 7.812 | 338.956 | 8.54 | 323.288 | 21.6 | 880 | 81.32 | 57.0153
2020-07-18 19:45:00 | 6.76 | 174.76 | 7.08 | 299.835 | 8.046 | 170.916 | 8.282 | 301.368 | 21.65 | 880 | 80.98 | 55.986
2020-07-18 20:00:00 | 6.637 | 337.15 | 6.997 | 324.49 | 7.47 | 329.734 | 7.915 | 326.149 | 21.54 | 880 | 81.68 | 53.8487
2020-07-18 20:15:00 | 6.487 | 313.12 | 6.957 | 298.085 | 7.648 | 306.232 | 8.205 | 299.608 | 21.5 | 880 | 80.84 | 50.928
2020-07-18 20:30:00 | 6.197 | 310.77 | 6.567 | 333.498 | 7.457 | 303.933 | 7.792 | 335.203 | 21.51 | 880 | 81.35 | 48.81
2020-07-18 20:45:00 | 6.076 | 312.26 | 6.424 | 304.363 | 6.927 | 305.388 | 7.344 | 305.921 | 21.64 | 880 | 80.222 | 47.444
2020-07-18 21:00:00 | 6.672 | 182.45 | 7.006 | 276.872 | 7.616 | 178.436 | 7.981 | 278.288 | 21.69 | 880 | 80.86 | 49.55
2020-07-18 21:15:00 | 5.703 | 111.78 | 5.981 | 269.654 | 6.465 | 109.321 | 6.772 | 271.033 | 21.61 | 880.6 | 80.446 | 43.9727
2020-07-18 21:30:00 | 5.837 | 245.3 | 6.046 | 326.613 | 6.605 | 239.903 | 6.784 | 328.283 | 21.72 | 880.9 | 79.612 | 46.5733
2020-07-18 21:45:00 | 6.2607 | 249.1533 | 6.6393 | 329.1947 | 7.008 | 243.6707 | 7.5093 | 330.878 | 21.9 | 881 | 76.65 | 51.6347
2020-07-18 22:00:00 | 6.5907 | 301.2667 | 6.988 | 289.2267 | 7.5113 | 294.6387 | 7.998 | 290.7067 | 21.9933 | 881 | 76.7273 | 54.6753
2020-07-18 22:15:00 | 6.82 | 279.82 | 7.288 | 343.376 | 7.732 | 273.664 | 8.35 | 345.13 | 22.02 | 881 | 77.498 | 53.4087
2020-07-18 22:30:00 | 6.756 | 316.85 | 7.188 | 304.577 | 7.577 | 309.879 | 8.157 | 306.137 | 22.27 | 881 | 75.952 | 53.0047
2020-07-18 22:45:00 | 6.512 | 314.04 | 6.918 | 239.521 | 7.38 | 307.131 | 7.894 | 240.747 | 22.13 | 881 | 77.002 | 55.2287
2020-07-18 23:00:00 | 7.472 | 315.16 | 7.845 | 309.87 | 8.289 | 308.226 | 8.76 | 311.454 | 22.19 | 881 | 76.824 | 54.5587
2020-07-18 23:15:00 | 7.058 | 208.9 | 7.388 | 312.128 | 7.851 | 204.304 | 8.253 | 313.724 | 22.08 | 881 | 73.843 | 52.9967
2020-07-18 23:30:00 | 6.563 | 183.97 | 6.828 | 306.369 | 7.224 | 179.924 | 7.541 | 307.934 | 21.98 | 881 | 75.854 | 51.134
2020-07-18 23:45:00 | 6.503 | 179.76 | 6.946 | 307.767 | 7.265 | 175.806 | 7.884 | 309.34 | 21.89 | 881 | 76.506 | 49.1047