## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-19 00:00:00 | 6.191 | 281.27 | 6.558 | 337.478 | 6.84 | 275.083 | 7.349 | 339.205 | 22 | 881 | 78.573 | 46.936
2020-07-19 00:15:00 | 5.866 | 300.8467 | 6.1567 | 293.4393 | 6.6113 | 294.2273 | 6.9493 | 294.938 | 22 | 881 | 78.3927 | 44.2887
2020-07-19 00:30:00 | 6.602 | 341.8 | 6.812 | 210.154 | 7.046 | 334.28 | 7.324 | 211.226 | 22.16 | 881 | 76.678 | 42.2907
2020-07-19 00:45:00 | 5.992 | 147.16 | 6.317 | 207.503 | 6.961 | 143.922 | 7.297 | 208.565 | 21.82 | 881 | 78.529 | 41.842
2020-07-19 01:00:00 | 6.146 | 245.21 | 6.387 | 272.52 | 6.688 | 239.815 | 6.995 | 273.914 | 21.79 | 881 | 79.745 | 39.9467
2020-07-19 01:15:00 | 5.582 | 283.76 | 5.938 | 345.302 | 6.3 | 277.976 | 6.769 | 347.068 | 21.6 | 881 | 82.19 | 39.1507
2020-07-19 01:30:00 | 5.612 | 257.3867 | 5.93 | 340.4227 | 6.196 | 251.7247 | 6.636 | 342.1627 | 21.7067 | 881 | 82.1267 | 35.8873
2020-07-19 01:45:00 | 5.472 | 351.4 | 5.76 | 278.026 | 5.918 | 343.67 | 6.338 | 279.448 | 21.74 | 881 | 81.26 | 35.3613
2020-07-19 02:00:00 | 5.022 | 279.71 | 5.271 | 267.952 | 5.419 | 273.557 | 5.778 | 269.322 | 21.48 | 881 | 82.97 | 32.6167
2020-07-19 02:15:00 | 4.822 | 209.73 | 5.171 | 300.216 | 5.501 | 205.115 | 5.97 | 301.752 | 21.34 | 881 | 82.16 | 34.2727
2020-07-19 02:30:00 | 4.929 | 208.43 | 5.361 | 292.47 | 5.767 | 203.844 | 6.344 | 293.965 | 21.2 | 881 | 82.13 | 35.5987
2020-07-19 02:45:00 | 4.882 | 273.9533 | 5.1753 | 327.818 | 5.7033 | 267.9253 | 6.0207 | 329.4953 | 21.3267 | 881 | 82.2867 | 31.606
2020-07-19 03:00:00 | 4.876 | 346.86 | 5.096 | 328.374 | 5.646 | 339.23 | 5.834 | 330.054 | 21.44 | 881 | 83.1 | 26.2
2020-07-19 03:15:00 | 4.8053 | 304.66 | 5.0227 | 332.4613 | 5.4067 | 297.9587 | 5.646 | 334.162 | 21.6867 | 881 | 82.6933 | 24.69
2020-07-19 03:30:00 | 4.948 | 275.96 | 5.288 | 333.117 | 5.54 | 269.889 | 6.012 | 334.821 | 21.52 | 881 | 84.21 | 23.1627
2020-07-19 03:45:00 | 4.726 | 350.71 | 5.146 | 329.253 | 5.387 | 342.993 | 5.991 | 330.938 | 20.88 | 881 | 85.49 | 24.0733
2020-07-19 04:00:00 | 5.0667 | 282.5467 | 5.4627 | 330.962 | 5.6613 | 276.33 | 6.2393 | 332.6527 | 20.98 | 881 | 84.58 | 25.6207
2020-07-19 04:15:00 | 4.992 | 349.56 | 5.366 | 324.46 | 5.594 | 341.87 | 6.132 | 326.122 | 20.72 | 881 | 85.34 | 28.658
2020-07-19 04:30:00 | 5.33 | 286.58 | 5.746 | 326.946 | 5.916 | 280.276 | 6.534 | 328.616 | 20.48 | 881 | 86.68 | 35.9173
2020-07-19 04:45:00 | 6.092 | 348.31 | 6.48 | 327.797 | 6.973 | 340.647 | 7.453 | 329.472 | 20.47 | 880 | 89.56 | 41.3147
2020-07-19 05:00:00 | 6.544 | 349.65 | 7.051 | 323.375 | 7.433 | 340.373 | 8.154 | 325.029 | 20.47 | 880 | 91.03 | 43.8507
2020-07-19 05:15:00 | 6.425 | 348.26 | 6.954 | 319.738 | 7.308 | 340.598 | 8.057 | 321.373 | 20.49 | 880 | 91.44 | 42.576
2020-07-19 05:30:00 | 6.362 | 316 | 6.86 | 321.957 | 7.29 | 309.048 | 7.965 | 323.603 | 20.51 | 880 | 91.02 | 40.052
2020-07-19 05:45:00 | 6.424 | 350.56 | 6.962 | 318.485 | 7.304 | 342.847 | 8.071 | 320.113 | 20.4 | 880 | 89.95 | 41.0273
2020-07-19 06:00:00 | 6.592 | 342.36 | 7.1073 | 324.1747 | 7.442 | 334.8287 | 8.1733 | 325.8313 | 20.5533 | 880 | 90.7933 | 41.0633
2020-07-19 06:15:00 | 6.979 | 343.3 | 7.509 | 316.472 | 7.857 | 335.747 | 8.612 | 318.09 | 20.74 | 880 | 92.62 | 41.068
2020-07-19 06:30:00 | 5.947 | 325.51 | 6.383 | 307.024 | 6.744 | 318.349 | 7.342 | 308.594 | 20.99 | 880 | 93.8 | 31.5293
2020-07-19 06:45:00 | 5.727 | 326.09 | 6.037 | 310.633 | 6.631 | 319.748 | 6.959 | 312.222 | 21.46 | 880.4 | 92.88 | 32.0627
2020-07-19 07:00:00 | 5.9427 | 336.9 | 6.356 | 318.0007 | 6.4947 | 329.4887 | 7.1153 | 319.6253 | 21.7933 | 881 | 88.16 | 31.748
2020-07-19 07:15:00 | 6.014 | 340.36 | 6.428 | 319.844 | 6.716 | 332.872 | 7.3 | 321.48 | 21.64 | 881 | 84.38 | 34.4153
2020-07-19 07:30:00 | 6.006 | 341.54 | 6.5 | 315.854 | 6.746 | 334.026 | 7.47 | 317.47 | 20.88 | 881 | 84.2 | 38.3327
2020-07-19 07:45:00 | 6.194 | 335.52 | 6.706 | 319.942 | 7.365 | 328.137 | 7.991 | 321.578 | 20.59 | 882 | 83.25 | 39.0933
2020-07-19 08:00:00 | 6.016 | 344.1 | 6.437 | 325.35 | 6.948 | 336.53 | 7.478 | 327.014 | 20.98 | 882 | 82.07 | 37.316
2020-07-19 08:15:00 | 6.033 | 341.98 | 6.565 | 333.753 | 6.766 | 334.457 | 7.561 | 335.459 | 20.88 | 883 | 81.98 | 35.99
2020-07-19 08:30:00 | 5.836 | 342.32 | 6.336 | 333.939 | 6.566 | 334.789 | 7.306 | 335.644 | 20.91 | 883 | 81 | 31.652
2020-07-19 08:45:00 | 5.519 | 344.83 | 6.021 | 326.28 | 6.285 | 337.242 | 7.013 | 327.948 | 21.09 | 883 | 79.847 | 29.6347
2020-07-19 09:00:00 | 5.2887 | 348.1067 | 5.8067 | 328.3787 | 5.9967 | 340.3767 | 6.7827 | 330.0587 | 21.44 | 883.9333 | 77.5293 | 29.3213
2020-07-19 09:15:00 | 4.8 | 340.54 | 5.301 | 331.012 | 5.583 | 333.047 | 6.305 | 332.706 | 21.81 | 884 | 75.909 | 25.866
2020-07-19 09:30:00 | 4.423 | 338.41 | 4.869 | 325.058 | 5.31 | 330.964 | 5.893 | 326.72 | 22.13 | 884 | 73.77 | 20.5633
2020-07-19 09:45:00 | 3.959 | 272.14 | 4.228 | 296.334 | 4.57 | 266.154 | 4.905 | 297.849 | 22.79 | 884 | 71.805 | 17.846
2020-07-19 10:00:00 | 4.725 | 308.72 | 5.096 | 298.036 | 5.296 | 301.928 | 5.832 | 299.559 | 23.26 | 884.9 | 69.293 | 22.4267
2020-07-19 10:15:00 | 4.252 | 343.11 | 4.66 | 232.08 | 4.958 | 334.25 | 5.516 | 233.265 | 23.92 | 884.4 | 68.206 | 16.936
2020-07-19 10:30:00 | 3.802 | 327.32 | 4.029 | 236.352 | 4.185 | 320.117 | 4.508 | 237.561 | 24.25 | 885 | 67.107 | 13.1893
2020-07-19 10:45:00 | 3.5393 | 312.3429 | 3.7179 | 290.6114 | 3.7829 | 304.9614 | 4.0579 | 292.0979 | 24.7071 | 885 | 63.8136 | 11.9247
2020-07-19 11:00:00 | 3.846 | 314.2333 | 4.132 | 283.718 | 4.622 | 307.3193 | 4.94 | 285.1693 | 25.1467 | 885 | 62.2333 | 14.0553
2020-07-19 11:15:00 | 3.8273 | 186.04 | 4.1027 | 118.13 | 4.6233 | 181.9473 | 4.914 | 118.7327 | 25.8533 | 885 | 58.736 | 18.5833
2020-07-19 11:30:00 | 4.036 | 243.94 | 4.31 | 302.515 | 4.767 | 238.575 | 5.075 | 304.062 | 26.15 | 885 | 56.516 | 20.146
2020-07-19 11:45:00 | 4.195 | 239.07 | 4.477 | 210.494 | 5.127 | 233.809 | 5.394 | 211.571 | 26.61 | 884.6 | 55.386 | 21.2413
2020-07-19 12:00:00 | 3.905 | 152.65 | 4.173 | 209.712 | 4.65 | 149.291 | 4.943 | 210.784 | 27.01 | 884 | 52.912 | 20.0347
2020-07-19 12:15:00 | 4.1007 | 298.0467 | 4.5253 | 161.618 | 5.0073 | 291.49 | 5.5467 | 162.444 | 27.36 | 884 | 51.972 | 19.2
2020-07-19 12:30:00 | 4.042 | 296.9533 | 4.4307 | 148.884 | 4.914 | 289.8993 | 5.394 | 147.98 | 27.6333 | 884 | 50.9853 | 19.9213
2020-07-19 12:45:00 | 4.66 | 274.2067 | 4.9973 | 186.466 | 5.4033 | 268.1747 | 5.8287 | 187.4187 | 27.72 | 884 | 50.4387 | 23.0727
2020-07-19 13:00:00 | 4.3407 | 303.1133 | 4.624 | 210.094 | 4.8247 | 296.444 | 5.2253 | 211.168 | 27.8933 | 884 | 49.4073 | 18.724
2020-07-19 13:15:00 | 4.3427 | 233.1 | 4.66 | 170.498 | 5.0773 | 227.8747 | 5.4607 | 171.3693 | 28.18 | 884 | 48.902 | 19.0933
2020-07-19 13:30:00 | 4.4767 | 316.1933 | 4.8793 | 164.4207 | 5.2173 | 309.2373 | 5.764 | 165.2613 | 28.2933 | 884 | 48.8747 | 18.8333
2020-07-19 13:45:00 | 3.904 | 333.32 | 4.112 | 205.282 | 4.176 | 325.988 | 4.496 | 206.33 | 28.42 | 884 | 51.062 | 11.1427
2020-07-19 14:00:00 | 3.533 | 302.25 | 3.694 | 288.042 | 3.547 | 295.6 | 3.854 | 289.514 | 28.69 | 884 | 48.888 | 8.7973
2020-07-19 14:15:00 | 2.937 | 173.43 | 3.089 | 285.871 | 3.267 | 169.615 | 3.462 | 287.331 | 28.98 | 884 | 46.888 | 7.142
2020-07-19 14:30:00 | 3.18 | 309.52 | 3.316 | 330.516 | 3.574 | 302.711 | 3.713 | 332.204 | 29.17 | 884 | 46.936 | 6.922
2020-07-19 14:45:00 | 3.046 | 310.45 | 3.237 | 208.645 | 3.585 | 303.619 | 3.793 | 209.713 | 29.61 | 884 | 45.413 | 6.6347
2020-07-19 15:00:00 | 3.094 | 238.07 | 3.276 | 325.712 | 3.592 | 232.832 | 3.791 | 327.378 | 29.56 | 884 | 44.691 | 6.1427
2020-07-19 15:15:00 | 2.932 | 340.28 | 3.121 | 171.414 | 3.429 | 332.795 | 3.644 | 172.291 | 29.88 | 884 | 43.988 | 6.462
2020-07-19 15:30:00 | 3.184 | 337.87 | 3.316 | 324.637 | 3.577 | 330.437 | 3.716 | 326.296 | 30.07 | 884 | 43.526 | 6.5113
2020-07-19 15:45:00 | 2.55 | 243.46 | 2.715 | 179.199 | 2.98 | 238.105 | 3.168 | 180.116 | 30.15 | 884 | 42.16 | 6.784
2020-07-19 16:00:00 | 2.526 | 149.04 | 2.622 | 326.066 | 2.981 | 145.76 | 3.035 | 327.732 | 30.33 | 884 | 43.104 | 6.212
2020-07-19 16:15:00 | 2.9153 | 235.62 | 3.0433 | 187.1053 | 3.364 | 230.436 | 3.4793 | 188.0613 | 30.5067 | 884 | 40.1633 | 8.2107
2020-07-19 16:30:00 | 2.5547 | 232.44 | 2.5867 | 288.36 | 2.7387 | 227.3273 | 2.752 | 289.834 | 30.4067 | 884 | 39.5427 | 7.1253
2020-07-19 16:45:00 | 2.864 | 211.08 | 2.92 | 200.022 | 3.446 | 206.438 | 3.382 | 201.042 | 30.32 | 884 | 40.498 | 8.7793
2020-07-19 17:00:00 | 3.232 | 349.18 | 3.4 | 140.99 | 3.54 | 341.498 | 3.778 | 141.71 | 30.36 | 884 | 39.354 | 5.96
2020-07-19 17:15:00 | 2.874 | 45.22 | 2.91 | 276.326 | 3.616 | 44.226 | 3.468 | 277.736 | 30.16 | 884 | 39.04 | 3.3447
2020-07-19 17:30:00 | 2 | 41.48 | 2.088 | 266.624 | 2.442 | 40.566 | 2.484 | 267.984 | 30.5 | 883.2 | 40.998 | 0.848
2020-07-19 17:45:00 | 1.898 | 91.22 | 1.872 | 195.346 | 2.046 | 89.214 | 1.958 | 196.344 | 30.44 | 883 | 39.102 | 0.91467
2020-07-19 18:00:00 | 2.194 | 111.81 | 2.342 | 138.23 | 2.328 | 109.35 | 2.568 | 138.938 | 30.43 | 883 | 40.541 | 0.99133
2020-07-19 18:15:00 | 2.244 | 178.58 | 2.352 | 271.355 | 2.39 | 174.651 | 2.555 | 272.743 | 29.94 | 883 | 40.246 | 1.2287
2020-07-19 18:30:00 | 2.062 | 318.09 | 2.22 | 239.718 | 2.364 | 311.093 | 2.579 | 240.944 | 30.03 | 883 | 39.945 | 0.43133
2020-07-19 18:45:00 | 2.407 | 247.22 | 2.591 | 270.771 | 2.676 | 241.781 | 2.953 | 272.153 | 30.19 | 883 | 38.968 | 1.0333
2020-07-19 19:00:00 | 2.464 | 314.85 | 2.604 | 335.396 | 2.703 | 307.922 | 2.899 | 337.111 | 29.63 | 883 | 40.682 | 0.80467
2020-07-19 19:15:00 | 2.085 | 244.47 | 2.188 | 329.987 | 2.308 | 239.09 | 2.443 | 331.674 | 29.43 | 883 | 42.563 | 0
2020-07-19 19:30:00 | 1.934 | 247.19 | 2.083 | 339.62 | 2.165 | 241.751 | 2.382 | 341.357 | 29.39 | 883 | 42.577 | 0
2020-07-19 19:45:00 | 1.983 | 79.2 | 2.115 | 308.265 | 2.302 | 77.457 | 2.465 | 309.841 | 29.26 | 883 | 40.972 | 0
2020-07-19 20:00:00 | 1.682 | 180.02 | 1.75 | 242.75 | 2.026 | 142.455 | 2.069 | 243.992 | 29.22 | 882.1 | 39.008 | 0
2020-07-19 20:15:00 | 1.269 | 178.82 | 1.224 | 141.566 | 1.406 | 160.021 | 1.281 | 142.287 | 29.2 | 882 | 39.013 | 0
2020-07-19 20:30:00 | 0.69929 | 260.3357 | 0.66143 | 29.3821 | 0.80714 | 254.6064 | 0.70286 | 29.5321 | 29.1571 | 882 | 38.7536 | 0
2020-07-19 20:45:00 | 0.55333 | 187.8067 | 0.66733 | 118.9127 | 0.572 | 183.674 | 0.78 | 119.5187 | 29.1 | 882 | 38.5213 | 0
2020-07-19 21:00:00 | 1.7053 | 165.18 | 1.838 | 161.558 | 2.0127 | 161.5467 | 2.1733 | 162.3853 | 28.72 | 882 | 37.4827 | 0
2020-07-19 21:15:00 | 2.8813 | 125.02 | 3.0093 | 128.086 | 3.282 | 122.27 | 3.41 | 128.7407 | 27.38 | 882.6 | 42.0927 | 0.71267
2020-07-19 21:30:00 | 2.472 | 90.1267 | 2.5093 | 99.4233 | 2.94 | 88.144 | 2.8773 | 99.932 | 27.14 | 883 | 49.194 | 3.0813
2020-07-19 21:45:00 | 2.266 | 78.7 | 2.322 | 99.736 | 2.766 | 76.968 | 2.724 | 100.246 | 26.74 | 883 | 50.832 | 2.4513
2020-07-19 22:00:00 | 2.75 | 107.76 | 2.884 | 111.14 | 3.074 | 105.388 | 3.232 | 111.708 | 26.42 | 883 | 55.43 | 3.6587
2020-07-19 22:15:00 | 2.754 | 122.06 | 2.894 | 117.066 | 3.112 | 119.378 | 3.28 | 117.662 | 26.2 | 883 | 59.61 | 4.958
2020-07-19 22:30:00 | 3.2344 | 133.8333 | 3.3667 | 124.9878 | 3.6044 | 130.89 | 3.7522 | 125.6267 | 26 | 883 | 62.88 | 5.9067
2020-07-19 22:45:00 | 2.76 | 129.17 | 2.793 | 126.152 | 3.17 | 126.327 | 3.119 | 126.797 | 25.87 | 883 | 64.326 | 4.978
2020-07-19 23:00:00 | 2.792 | 130.69 | 2.817 | 129.595 | 3.204 | 127.815 | 3.137 | 130.257 | 25.84 | 883 | 65.585 | 5.2333
2020-07-19 23:15:00 | 3.005 | 127.74 | 3.112 | 116.265 | 3.438 | 124.93 | 3.517 | 116.859 | 25.8 | 884 | 64.984 | 6.4387
2020-07-19 23:30:00 | 3.168 | 127.75 | 3.261 | 124.461 | 3.586 | 124.941 | 3.643 | 125.096 | 25.64 | 884 | 66.056 | 8.1587
2020-07-19 23:45:00 | 3.206 | 127.1 | 3.279 | 121.644 | 3.72 | 124.303 | 3.713 | 122.266 | 25.53 | 884 | 66.53 | 7.918