## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-20 00:00:00 | 2.906 | 123.81 | 3.016 | 120.255 | 3.439 | 121.086 | 3.496 | 120.869 | 25.52 | 884 | 66.841 | 6.2753
2020-07-20 00:15:00 | 3.1887 | 119.5067 | 3.3133 | 121.3773 | 3.6953 | 116.8767 | 3.786 | 121.996 | 25.4133 | 883.4 | 67.5447 | 7.8333
2020-07-20 00:30:00 | 3.44 | 122.6 | 3.572 | 116.908 | 3.934 | 119.902 | 4.046 | 117.508 | 25.32 | 883 | 67.552 | 8.79
2020-07-20 00:45:00 | 3.1 | 119.8222 | 3.1944 | 119.0667 | 3.4689 | 117.1856 | 3.5389 | 119.6756 | 25.4111 | 883 | 68.3811 | 6.6287
2020-07-20 01:00:00 | 3.066 | 128.34 | 3.182 | 126.075 | 3.412 | 125.517 | 3.539 | 126.717 | 25.34 | 883 | 67.421 | 5.9973
2020-07-20 01:15:00 | 2.81 | 130.07 | 2.942 | 123.481 | 3.091 | 127.208 | 3.266 | 124.114 | 25.43 | 883 | 67.014 | 3.8427
2020-07-20 01:30:00 | 3.12 | 134.1 | 3.27 | 123.62 | 3.444 | 131.15 | 3.638 | 124.252 | 25.32 | 883 | 66.638 | 4.3513
2020-07-20 01:45:00 | 3.001 | 125.33 | 3.135 | 132.5 | 3.225 | 122.573 | 3.414 | 133.178 | 25.31 | 883 | 67.217 | 3.5253
2020-07-20 02:00:00 | 2.95 | 126.07 | 3.061 | 127.061 | 3.102 | 123.298 | 3.272 | 127.712 | 25.21 | 883 | 67.868 | 3.954
2020-07-20 02:15:00 | 3.097 | 123.38 | 3.242 | 122.563 | 3.332 | 120.666 | 3.541 | 123.19 | 25.1 | 883 | 68.752 | 4.7587
2020-07-20 02:30:00 | 3.197 | 125.48 | 3.372 | 121.008 | 3.533 | 122.72 | 3.771 | 121.626 | 24.75 | 883 | 69.82 | 5.236
2020-07-20 02:45:00 | 2.8773 | 120.4533 | 3.0207 | 118.0967 | 3.1633 | 117.8027 | 3.352 | 118.7 | 24.7533 | 883 | 69.9147 | 3.4807
2020-07-20 03:00:00 | 2.798 | 119.56 | 2.936 | 114.934 | 3.18 | 116.928 | 3.336 | 115.52 | 24.76 | 883 | 70.954 | 3.1827
2020-07-20 03:15:00 | 2.683 | 119.44 | 2.801 | 115.658 | 3.053 | 116.814 | 3.172 | 116.251 | 24.67 | 883 | 71.741 | 2.0973
2020-07-20 03:30:00 | 2.606 | 122.97 | 2.75 | 115.112 | 2.948 | 120.265 | 3.122 | 115.699 | 24.68 | 883 | 69.632 | 1.7273
2020-07-20 03:45:00 | 2.534 | 122.97 | 2.67 | 122.054 | 2.735 | 120.263 | 2.936 | 122.679 | 24.58 | 883 | 73.071 | 0.94467
2020-07-20 04:00:00 | 2.092 | 135.07 | 2.186 | 115.863 | 2.165 | 132.099 | 2.326 | 116.457 | 24.63 | 882.1 | 73.497 | 0.17333
2020-07-20 04:15:00 | 1.624 | 109.04 | 1.734 | 112.236 | 1.86 | 106.642 | 1.998 | 112.81 | 24.7 | 882 | 74.934 | 0
2020-07-20 04:30:00 | 1.352 | 114.61 | 1.476 | 120.158 | 1.501 | 112.089 | 1.692 | 120.77 | 24.63 | 882 | 76.042 | 0
2020-07-20 04:45:00 | 0.692 | 86.4 | 0.747 | 120.059 | 0.707 | 84.501 | 0.805 | 120.672 | 24.53 | 882 | 76.556 | 0
2020-07-20 05:00:00 | 0.605 | 81.41 | 0.657 | 120.441 | 0.529 | 79.011 | 0.653 | 121.057 | 24.31 | 882 | 78.314 | 0
2020-07-20 05:15:00 | 1.118 | 90.1667 | 1.16 | 60.018 | 1.2813 | 88.1833 | 1.312 | 60.3227 | 24.2867 | 882 | 79.4167 | 0.004
2020-07-20 05:30:00 | 1.4547 | 64.64 | 1.5393 | 45.8753 | 1.6527 | 63.218 | 1.754 | 46.1093 | 23.8733 | 882 | 81.6267 | 0
2020-07-20 05:45:00 | 1.678 | 78.02 | 1.796 | 41.938 | 1.728 | 76.304 | 1.938 | 42.152 | 23.8 | 882 | 82.1 | 0
2020-07-20 06:00:00 | 2.008 | 37.82 | 2.048 | 83.442 | 2.824 | 36.988 | 2.668 | 83.868 | 23.12 | 882 | 81.9 | 0.378
2020-07-20 06:15:00 | 1.326 | 243.1 | 1.286 | 244.999 | 1.786 | 237.752 | 1.577 | 246.251 | 22.77 | 882 | 83.56 | 0.37467
2020-07-20 06:30:00 | 0.807 | 191.91 | 0.801 | 209.899 | 1.32 | 187.687 | 1.157 | 210.972 | 23.29 | 882 | 84.66 | 0.474
2020-07-20 06:45:00 | 0.992 | 184.64 | 1.036 | 178.553 | 1.469 | 180.578 | 1.414 | 179.466 | 23.48 | 882 | 82.22 | 0.30467
2020-07-20 07:00:00 | 1.021 | 212.56 | 1.109 | 305.058 | 1.589 | 207.882 | 1.585 | 306.617 | 23.47 | 882 | 79.004 | 0.10867
2020-07-20 07:15:00 | 0.95733 | 248.7267 | 0.968 | 281.2593 | 1.414 | 243.2547 | 1.3013 | 282.698 | 23.1933 | 883 | 78.7573 | 0.23333
2020-07-20 07:30:00 | 0.846 | 320.04 | 0.89 | 267.62 | 1.212 | 313 | 1.186 | 268.986 | 23.36 | 883 | 80.2 | 0.52
2020-07-20 07:45:00 | 1.567 | 338.61 | 1.675 | 314.271 | 2.198 | 331.158 | 2.22 | 315.877 | 23.12 | 883 | 80.28 | 0.48933
2020-07-20 08:00:00 | 1.749 | 55.99 | 1.76 | 330.281 | 2.189 | 54.757 | 2.084 | 331.969 | 23 | 883 | 80.9 | 0.744
2020-07-20 08:15:00 | 0.866 | 271.25 | 0.873 | 288.832 | 1.421 | 265.283 | 1.275 | 290.31 | 23.7 | 883 | 80.056 | 0.58933
2020-07-20 08:30:00 | 0.929 | 238.24 | 0.91 | 297.214 | 1.391 | 232.999 | 1.222 | 298.733 | 23.83 | 883.9 | 78.936 | 0.28333
2020-07-20 08:45:00 | 1.042 | 190.21 | 1.014 | 270.025 | 1.357 | 187.404 | 1.241 | 271.408 | 23.82 | 884 | 77.488 | 0.25533
2020-07-20 09:00:00 | 0.829 | 236.73 | 0.837 | 266.593 | 1.05 | 231.523 | 0.999 | 267.956 | 24.12 | 884 | 77.44 | 0.14867
2020-07-20 09:15:00 | 0.56533 | 246.74 | 0.58 | 175.726 | 0.65267 | 241.3113 | 0.65667 | 176.6253 | 24.74 | 885 | 75.764 | 0.524
2020-07-20 09:30:00 | 0.846 | 204.88 | 0.918 | 150.416 | 0.87 | 200.37 | 0.998 | 151.186 | 24.18 | 885 | 75.428 | 1.6467
2020-07-20 09:45:00 | 1.299 | 217.49 | 1.381 | 180.51 | 1.486 | 212.705 | 1.585 | 181.431 | 23.56 | 885 | 74.825 | 1.552
2020-07-20 10:00:00 | 2.031 | 200.78 | 2.107 | 184.422 | 2.382 | 196.363 | 2.428 | 185.364 | 23.99 | 885 | 79.49 | 1.7787
2020-07-20 10:15:00 | 1.8643 | 191.2429 | 1.8893 | 172.9314 | 2.1407 | 187.0357 | 2.1107 | 173.8136 | 24.2786 | 885.5714 | 78.36 | 1.236
2020-07-20 10:30:00 | 1.332 | 178.3133 | 1.364 | 151.9613 | 1.392 | 174.39 | 1.4373 | 152.7373 | 24.7067 | 886 | 75.35 | 1.078
2020-07-20 10:45:00 | 1.8013 | 161.8267 | 1.8447 | 149.086 | 2.1693 | 158.266 | 2.146 | 149.8687 | 25.0067 | 886 | 74.2727 | 0.43267
2020-07-20 11:00:00 | 1.7307 | 160.5933 | 1.7373 | 144.9787 | 1.8967 | 157.0593 | 1.8633 | 145.72 | 25.16 | 886 | 73.4593 | 0.296
2020-07-20 11:15:00 | 1.674 | 160.9 | 1.646 | 146.602 | 1.786 | 157.36 | 1.702 | 147.354 | 24.82 | 886 | 72.684 | 0.55733
2020-07-20 11:30:00 | 1.622 | 168.58 | 1.79 | 165.788 | 1.996 | 164.872 | 2.21 | 166.636 | 24.92 | 886 | 76.664 | 0.50467
2020-07-20 11:45:00 | 1.9667 | 162.9778 | 1.9956 | 160.2833 | 2.4367 | 159.3933 | 2.36 | 161.1022 | 25.7222 | 885.6667 | 76.5211 | 1.2167
2020-07-20 12:00:00 | 1.854 | 151.43 | 1.841 | 151.904 | 2.024 | 148.098 | 1.946 | 152.68 | 25.46 | 885.9 | 74.497 | 0.76667
2020-07-20 12:15:00 | 2.113 | 112.37 | 2.066 | 142.369 | 2.375 | 109.897 | 2.214 | 143.096 | 25.66 | 886 | 75.031 | 0.99333
2020-07-20 12:30:00 | 2.2421 | 130.8571 | 2.2671 | 131.4007 | 2.565 | 127.9786 | 2.5207 | 132.0729 | 26.0929 | 885.0714 | 74.4986 | 1.022
2020-07-20 12:45:00 | 2.556 | 154.6667 | 2.5813 | 134.6507 | 3.0313 | 151.2647 | 2.9413 | 135.3393 | 26.1733 | 885 | 72.6207 | 1.9213
2020-07-20 13:00:00 | 2.46 | 178.4533 | 2.4187 | 137.7487 | 2.9693 | 174.5273 | 2.7447 | 138.452 | 26.2533 | 885 | 72.138 | 2.7927
2020-07-20 13:15:00 | 2.484 | 200.5 | 2.464 | 128.452 | 2.916 | 196.09 | 2.752 | 129.108 | 26.42 | 885 | 71.528 | 1.916
2020-07-20 13:30:00 | 2.516 | 202.86 | 2.486 | 133.378 | 2.7 | 198.396 | 2.588 | 134.064 | 26.36 | 885 | 72.304 | 1.6347
2020-07-20 13:45:00 | 1.916 | 181.82 | 2.038 | 156.106 | 2.06 | 177.82 | 2.252 | 156.906 | 26.56 | 885 | 72.868 | 1.774
2020-07-20 14:00:00 | 1.968 | 166.7 | 2.044 | 161.428 | 1.954 | 164.382 | 2.12 | 162.254 | 26.74 | 884.2 | 73.01 | 1.6487
2020-07-20 14:15:00 | 1.887 | 185.83 | 2.08 | 168.518 | 2.16 | 181.741 | 2.446 | 169.379 | 27.33 | 884 | 71.861 | 2.3167
2020-07-20 14:30:00 | 2.491 | 182.65 | 2.581 | 156.137 | 2.863 | 178.895 | 2.929 | 156.935 | 27.68 | 884 | 68.227 | 5.6007
2020-07-20 14:45:00 | 3.764 | 174.06 | 4.092 | 143.444 | 3.763 | 170.231 | 4.387 | 144.176 | 27.05 | 884 | 72.178 | 14.3527
2020-07-20 15:00:00 | 3.8414 | 172.7786 | 4.1157 | 157.0029 | 3.8807 | 168.9771 | 4.39 | 157.8064 | 26.4571 | 883.7857 | 75.6314 | 14.8333
2020-07-20 15:15:00 | 3.5553 | 188.3067 | 3.732 | 167.994 | 3.458 | 184.1633 | 3.8227 | 168.8527 | 26.5 | 883 | 71.678 | 11.82
2020-07-20 15:30:00 | 4.068 | 191.0333 | 4.3287 | 179.352 | 4.438 | 186.8307 | 4.828 | 180.2687 | 26.2733 | 883 | 72.652 | 11.046
2020-07-20 15:45:00 | 3.568 | 192.24 | 3.7887 | 168.8353 | 4.114 | 187.7033 | 4.3773 | 169.7 | 26.2333 | 883 | 72.5367 | 8.738
2020-07-20 16:00:00 | 3.606 | 185.94 | 3.836 | 170.874 | 4.096 | 181.85 | 4.394 | 171.748 | 26.2 | 883 | 73.358 | 8.642
2020-07-20 16:15:00 | 3.386 | 190.94 | 3.588 | 179.52 | 3.748 | 186.74 | 4.036 | 180.44 | 26.1 | 883 | 74.444 | 9.7653
2020-07-20 16:30:00 | 3.4 | 190.46 | 3.66 | 177.938 | 3.928 | 186.268 | 4.272 | 178.846 | 25.88 | 883 | 74.552 | 9.2573
2020-07-20 16:45:00 | 3.346 | 203.55 | 3.64 | 179.941 | 3.794 | 199.072 | 4.223 | 180.862 | 25.66 | 883 | 74.839 | 12.2913
2020-07-20 17:00:00 | 3.441 | 203.21 | 3.702 | 172.314 | 3.869 | 198.739 | 4.24 | 173.195 | 25.46 | 883 | 75.449 | 11.0727
2020-07-20 17:15:00 | 2.864 | 201.4 | 3.082 | 185.682 | 3.406 | 196.972 | 3.664 | 186.634 | 25.3 | 882 | 75.358 | 4.9933
2020-07-20 17:30:00 | 2.013 | 204.22 | 2.243 | 198.485 | 2.25 | 199.727 | 2.616 | 199.5 | 25.34 | 882 | 76.625 | 2.3027
2020-07-20 17:45:00 | 1.701 | 205.01 | 1.913 | 177.506 | 1.762 | 200.5 | 2.146 | 178.413 | 24.97 | 882 | 79.697 | 2.542
2020-07-20 18:00:00 | 2.686 | 204.25 | 3.015 | 168.734 | 3.047 | 199.757 | 3.564 | 169.595 | 23.73 | 882 | 86.94 | 8.6353
2020-07-20 18:15:00 | 7.439 | 132.14 | 7.752 | 131.317 | 8.732 | 129.233 | 8.953 | 131.987 | 20.95 | 882 | 91.71 | 27.266
2020-07-20 18:30:00 | 5.094 | 124.17 | 5.164 | 123.012 | 5.643 | 121.438 | 5.618 | 123.642 | 19.39 | 882.9 | 97.98 | 27.546
2020-07-20 18:45:00 | 2.274 | 111.79 | 2.214 | 129.223 | 2.39 | 109.33 | 2.249 | 129.884 | 19.43 | 882 | 98.9 | 9.7233
2020-07-20 19:00:00 | 1.423 | 163.76 | 1.402 | 155.298 | 1.537 | 160.158 | 1.467 | 156.09 | 20.36 | 882 | 98.93 | 4.5727
2020-07-20 19:15:00 | 1.9227 | 180.84 | 1.9153 | 154.1187 | 1.7333 | 176.8607 | 1.7767 | 154.908 | 20.7333 | 881.4 | 99.3 | 3.176
2020-07-20 19:30:00 | 2.132 | 189.18 | 2.122 | 170.818 | 2.428 | 185.02 | 2.328 | 171.69 | 20.8 | 881.8 | 99.38 | 5.866
2020-07-20 19:45:00 | 2.1407 | 195.8467 | 2.132 | 173.0787 | 2.0567 | 191.5373 | 2.0673 | 173.966 | 20.3667 | 882 | 99.56 | 5.8833
2020-07-20 20:00:00 | 2.276 | 200.72 | 2.334 | 172.451 | 2.34 | 196.305 | 2.434 | 173.333 | 20.21 | 882 | 99.51 | 3.7613
2020-07-20 20:15:00 | 1.695 | 194.69 | 1.798 | 164.92 | 1.83 | 190.406 | 1.985 | 165.763 | 20.88 | 882 | 99.54 | 1.4427
2020-07-20 20:30:00 | 1.04 | 114.56 | 1.0327 | 113.188 | 0.936 | 112.038 | 0.956 | 113.7667 | 21.0533 | 882 | 99.5733 | 0
2020-07-20 20:45:00 | 0.92267 | 144.48 | 0.91333 | 132.5193 | 0.82067 | 141.3013 | 0.83467 | 133.1947 | 21.02 | 882 | 99.6867 | 0
2020-07-20 21:00:00 | 0.754 | 201.08 | 0.808 | 159.456 | 0.67 | 196.656 | 0.796 | 160.268 | 21.1 | 882 | 99.9 | 0
2020-07-20 21:15:00 | 1.176 | 181.46 | 1.21 | 166.536 | 1.146 | 177.468 | 1.214 | 167.388 | 21.1 | 882 | 100 | 0
2020-07-20 21:30:00 | 1.326 | 151.26 | 1.394 | 130.836 | 1.262 | 147.932 | 1.404 | 131.506 | 21.14 | 882 | 100 | 0
2020-07-20 21:45:00 | 1.3 | 122.78 | 1.348 | 126.77 | 1.138 | 120.078 | 1.274 | 127.416 | 21.22 | 882 | 100 | 0
2020-07-20 22:00:00 | 1.742 | 98.36 | 1.83 | 91.816 | 1.686 | 96.196 | 1.872 | 92.284 | 21.1 | 882 | 100 | 0
2020-07-20 22:15:00 | 1.56 | 83.08 | 1.738 | 94.122 | 1.85 | 81.254 | 2.104 | 94.604 | 21.26 | 882 | 100 | 0
2020-07-20 22:30:00 | 1.454 | 69.08 | 1.544 | 48.038 | 1.632 | 67.56 | 1.752 | 48.288 | 21.08 | 882 | 100 | 0
2020-07-20 22:45:00 | 1.347 | 101.73 | 1.403 | 109.799 | 1.232 | 99.493 | 1.376 | 110.363 | 21.22 | 882 | 100 | 0
2020-07-20 23:00:00 | 0.719 | 62.08 | 0.796 | 107.129 | 0.778 | 60.714 | 0.91 | 107.677 | 21.17 | 882 | 100 | 0
2020-07-20 23:15:00 | 0.668 | 63.05 | 0.755 | 126.689 | 0.944 | 61.661 | 1.027 | 127.339 | 21.27 | 882 | 100 | 0
2020-07-20 23:30:00 | 0.496 | 135.23 | 0.525 | 149.927 | 0.692 | 132.255 | 0.689 | 150.693 | 21.52 | 882 | 100 | 0
2020-07-20 23:45:00 | 0.347 | 97.53 | 0.378 | 106.309 | 0.415 | 95.385 | 0.454 | 106.853 | 21.4 | 882 | 100 | 0