## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-21 00:00:00 | 0.534 | 177.91 | 0.529 | 139.249 | 0.52 | 173.995 | 0.511 | 139.958 | 21.14 | 882 | 100 | 0.20333
2020-07-21 00:15:00 | 0.508 | 129.17 | 0.518 | 143.072 | 0.532 | 126.328 | 0.54 | 143.802 | 21 | 882 | 100 | 0.11333
2020-07-21 00:30:00 | 0.26 | 221.97 | 0.293 | 153.283 | 0.31 | 217.087 | 0.359 | 154.064 | 21.05 | 882 | 100 | 0
2020-07-21 00:45:00 | 0.82667 | 249.66 | 0.89267 | 261.5107 | 0.96067 | 244.1873 | 1.0447 | 262.8493 | 20.8733 | 882 | 100 | 0
2020-07-21 01:00:00 | 0.542 | 305.08 | 0.578 | 284.716 | 0.626 | 298.368 | 0.672 | 286.172 | 21.06 | 882 | 100 | 0
2020-07-21 01:15:00 | 0.467 | 229.13 | 0.497 | 201.029 | 0.593 | 224.09 | 0.614 | 202.056 | 21.09 | 882 | 100 | 0.03
2020-07-21 01:30:00 | 0.359 | 137.55 | 0.398 | 265.369 | 0.626 | 134.526 | 0.619 | 266.727 | 20.95 | 882 | 100 | 0
2020-07-21 01:45:00 | 0.91267 | 171.6267 | 1.0567 | 181.06 | 0.996 | 167.85 | 1.2447 | 181.9853 | 20.56 | 881.4 | 100 | 0.37933
2020-07-21 02:00:00 | 1.352 | 134.98 | 1.474 | 120.43 | 1.328 | 132.01 | 1.568 | 121.046 | 20.2 | 881.8 | 100 | 1.1507
2020-07-21 02:15:00 | 2.531 | 176.59 | 2.585 | 148.47 | 2.696 | 172.704 | 2.753 | 149.229 | 20.69 | 881 | 100 | 4.954
2020-07-21 02:30:00 | 2.467 | 180.42 | 2.508 | 156.87 | 2.602 | 176.451 | 2.645 | 157.673 | 20.56 | 881 | 100 | 7.0713
2020-07-21 02:45:00 | 2.3407 | 155.86 | 2.3953 | 156.61 | 2.5687 | 152.4307 | 2.6073 | 157.4107 | 19.92 | 881 | 100 | 6.4287
2020-07-21 03:00:00 | 2.148 | 169.66 | 2.186 | 146.624 | 2.402 | 165.928 | 2.404 | 147.37 | 19.82 | 881 | 100 | 4.5107
2020-07-21 03:15:00 | 2.033 | 138.45 | 2.132 | 145.154 | 2.236 | 135.404 | 2.363 | 145.897 | 19.87 | 881 | 100 | 5.206
2020-07-21 03:30:00 | 2.347 | 129.36 | 2.401 | 128.841 | 2.532 | 126.514 | 2.586 | 129.5 | 19.72 | 881 | 100 | 4.7287
2020-07-21 03:45:00 | 2.0807 | 112.0133 | 2.1127 | 116.5373 | 2.1747 | 109.548 | 2.2107 | 117.136 | 19.7267 | 881 | 100 | 4.974
2020-07-21 04:00:00 | 2.148 | 101.82 | 2.244 | 122.21 | 2.332 | 99.582 | 2.462 | 122.836 | 19.7 | 880.2 | 100 | 4.14
2020-07-21 04:15:00 | 2.204 | 103.06 | 2.37 | 117.652 | 2.554 | 100.794 | 2.768 | 118.256 | 19.76 | 880 | 100 | 5.6167
2020-07-21 04:30:00 | 2.531 | 113.09 | 2.684 | 118.065 | 2.857 | 110.603 | 3.057 | 118.669 | 19.68 | 880 | 100 | 5.2367
2020-07-21 04:45:00 | 2.371 | 119.89 | 2.534 | 128.216 | 2.692 | 117.252 | 2.904 | 128.871 | 19.99 | 880 | 100 | 3.346
2020-07-21 05:00:00 | 2.27 | 120.54 | 2.402 | 119.9027 | 2.4087 | 117.888 | 2.6213 | 120.5153 | 20.0867 | 880 | 100 | 3.3693
2020-07-21 05:15:00 | 2.116 | 138.26 | 2.156 | 121.878 | 2.238 | 135.218 | 2.28 | 122.502 | 20.1 | 880 | 100 | 2.2073
2020-07-21 05:30:00 | 1.882 | 160.48 | 1.922 | 132.588 | 2.135 | 156.949 | 2.138 | 133.266 | 19.73 | 880 | 100 | 2.4153
2020-07-21 05:45:00 | 1.798 | 130.39 | 1.816 | 122.434 | 1.718 | 127.523 | 1.779 | 123.061 | 19.97 | 880 | 100 | 1.5433
2020-07-21 06:00:00 | 1.583 | 105.77 | 1.665 | 117.067 | 1.49 | 103.444 | 1.676 | 117.665 | 19.86 | 880 | 100 | 0.62
2020-07-21 06:15:00 | 1.452 | 97.18 | 1.562 | 101.586 | 1.662 | 95.042 | 1.811 | 102.103 | 19.77 | 880 | 100 | 0.067333
2020-07-21 06:30:00 | 1.621 | 101.97 | 1.694 | 98.445 | 1.843 | 99.729 | 1.922 | 98.948 | 19.75 | 880 | 100 | 0
2020-07-21 06:45:00 | 0.798 | 93.25 | 0.837 | 101.848 | 0.769 | 91.2 | 0.856 | 102.368 | 19.84 | 880 | 100 | 0
2020-07-21 07:00:00 | 1.155 | 105.51 | 1.259 | 74.515 | 1.084 | 103.189 | 1.303 | 74.894 | 19.97 | 880 | 100 | 0
2020-07-21 07:15:00 | 0.44467 | 116.3733 | 0.48733 | 109.072 | 0.43133 | 113.8133 | 0.51333 | 109.6307 | 19.98 | 880 | 100 | 0
2020-07-21 07:30:00 | 0.46 | 133.7 | 0.432 | 339.426 | 0.614 | 130.756 | 0.51 | 341.158 | 19.98 | 880 | 100 | 0
2020-07-21 07:45:00 | 0.476 | 80.61 | 0.462 | 230.758 | 0.55 | 78.837 | 0.503 | 231.94 | 19.93 | 880 | 100 | 0
2020-07-21 08:00:00 | 0.708 | 197.4 | 0.703 | 321.301 | 0.761 | 193.056 | 0.733 | 322.946 | 19.74 | 880 | 100 | 0
2020-07-21 08:15:00 | 0.426 | 295.81 | 0.441 | 295.072 | 0.389 | 289.303 | 0.43 | 296.581 | 19.77 | 880 | 100 | 0
2020-07-21 08:30:00 | 1.201 | 116.76 | 1.296 | 173.759 | 1.197 | 114.191 | 1.379 | 174.648 | 19.65 | 880 | 100 | 0
2020-07-21 08:45:00 | 1.678 | 117.26 | 1.746 | 273.097 | 1.862 | 114.681 | 1.937 | 274.493 | 19.55 | 880 | 100 | 0
2020-07-21 09:00:00 | 2.194 | 320 | 2.2747 | 314.9933 | 2.51 | 312.96 | 2.5707 | 316.6047 | 19.6733 | 880 | 100 | 0
2020-07-21 09:15:00 | 2.108 | 321.08 | 2.13 | 298.428 | 2.658 | 314.016 | 2.542 | 299.952 | 19.42 | 880 | 100 | 0.58267
2020-07-21 09:30:00 | 2.39 | 332.6 | 2.428 | 306.808 | 2.934 | 325.282 | 2.853 | 308.376 | 19.43 | 880 | 100 | 1.1533
2020-07-21 09:45:00 | 2.95 | 305.13 | 3.048 | 307.119 | 3.591 | 298.417 | 3.594 | 308.69 | 19.52 | 880 | 100 | 3.55
2020-07-21 10:00:00 | 3.078 | 293.43 | 3.221 | 312.353 | 3.784 | 286.975 | 3.854 | 313.95 | 19.5 | 880 | 100 | 4.3893
2020-07-21 10:15:00 | 2.939 | 344.1 | 3.179 | 323.983 | 3.265 | 336.529 | 3.628 | 325.639 | 19.54 | 880 | 100 | 2.75
2020-07-21 10:30:00 | 2.8533 | 294.3 | 3.004 | 292.996 | 3.2287 | 287.8253 | 3.4087 | 294.4947 | 19.4067 | 880 | 100 | 2.222
2020-07-21 10:45:00 | 3.004 | 348.3867 | 3.154 | 335.584 | 3.484 | 339.3147 | 3.6313 | 337.3007 | 19.4467 | 880 | 100 | 3.436
2020-07-21 11:00:00 | 3.21 | 346.48 | 3.372 | 337.39 | 3.816 | 338.856 | 3.95 | 339.116 | 19.4 | 880 | 100 | 5.5567
2020-07-21 11:15:00 | 3.128 | 340.26 | 3.352 | 332.15 | 3.678 | 332.776 | 3.94 | 333.848 | 19.52 | 880 | 100 | 5.44
2020-07-21 11:30:00 | 3.34 | 342.14 | 3.596 | 331.326 | 4.07 | 334.612 | 4.342 | 333.02 | 19.42 | 880 | 100 | 5.7033
2020-07-21 11:45:00 | 3.226 | 340.24 | 3.423 | 329.088 | 3.887 | 332.753 | 4.07 | 330.769 | 19.64 | 880 | 100 | 5.4453
2020-07-21 12:00:00 | 3.791 | 336.81 | 4.039 | 329.107 | 4.447 | 329.4 | 4.728 | 330.79 | 19.66 | 880 | 100 | 6.468
2020-07-21 12:15:00 | 3.503 | 334.83 | 3.75 | 313.752 | 4.295 | 327.465 | 4.536 | 315.358 | 19.71 | 880 | 100 | 7.5687
2020-07-21 12:30:00 | 3.4 | 324.19 | 3.678 | 310.808 | 3.972 | 317.055 | 4.333 | 312.398 | 19.57 | 880 | 100 | 6.8587
2020-07-21 12:45:00 | 3.562 | 339.46 | 3.848 | 318.73 | 3.979 | 331.992 | 4.406 | 320.358 | 19.76 | 880 | 100 | 5.0733
2020-07-21 13:00:00 | 3.3613 | 340.7267 | 3.66 | 320.0333 | 3.886 | 332.024 | 4.302 | 321.6693 | 19.92 | 880 | 100 | 4.6987
2020-07-21 13:15:00 | 3.3 | 347.58 | 3.566 | 313.41 | 3.758 | 339.934 | 4.132 | 315.012 | 20.12 | 880 | 100 | 4.7713
2020-07-21 13:30:00 | 3.244 | 334.18 | 3.534 | 315.758 | 3.716 | 326.826 | 4.128 | 317.372 | 20.2 | 880 | 100 | 4.1673
2020-07-21 13:45:00 | 3.186 | 333.66 | 3.45 | 320.51 | 3.788 | 326.318 | 4.116 | 322.15 | 20.24 | 880 | 100 | 4.2587
2020-07-21 14:00:00 | 2.985 | 309.26 | 3.219 | 319.992 | 3.477 | 302.455 | 3.779 | 321.628 | 20.35 | 880 | 100 | 4.2947
2020-07-21 14:15:00 | 2.953 | 336.48 | 3.153 | 323.944 | 3.314 | 329.077 | 3.589 | 325.598 | 20.44 | 880 | 100 | 4.0927
2020-07-21 14:30:00 | 3.446 | 336.51 | 3.72 | 322.028 | 3.909 | 329.107 | 4.293 | 323.674 | 20.47 | 880 | 100 | 5.0133
2020-07-21 14:45:00 | 3.176 | 333.9 | 3.446 | 321.136 | 3.674 | 326.554 | 4.038 | 322.776 | 20.28 | 880 | 100 | 4.728
2020-07-21 15:00:00 | 3.03 | 342.88 | 3.314 | 320.668 | 3.444 | 335.338 | 3.864 | 322.306 | 20.22 | 880 | 100 | 4.7747
2020-07-21 15:15:00 | 3.434 | 334.36 | 3.719 | 319.024 | 4.02 | 327.004 | 4.388 | 320.655 | 20.25 | 880 | 100 | 5.506
2020-07-21 15:30:00 | 3.379 | 332.63 | 3.66 | 313.439 | 3.87 | 325.312 | 4.261 | 315.041 | 20.41 | 880 | 100 | 5.362
2020-07-21 15:45:00 | 3.3747 | 328.2467 | 3.6013 | 311.546 | 3.8493 | 321.0247 | 4.1453 | 313.1387 | 20.4933 | 880 | 100 | 5.6133
2020-07-21 16:00:00 | 3.297 | 335.29 | 3.564 | 313.507 | 3.741 | 327.914 | 4.12 | 315.11 | 20.71 | 880 | 100 | 4.962
2020-07-21 16:15:00 | 3.554 | 336.05 | 3.847 | 319.013 | 4.21 | 328.657 | 4.573 | 320.644 | 20.83 | 879 | 100 | 5.2653
2020-07-21 16:30:00 | 3.341 | 335.37 | 3.591 | 319.384 | 3.965 | 327.992 | 4.262 | 321.019 | 20.74 | 879 | 100 | 4.314
2020-07-21 16:45:00 | 3.356 | 329.22 | 3.571 | 322.71 | 3.945 | 321.978 | 4.186 | 324.362 | 20.63 | 879 | 100 | 4.4427
2020-07-21 17:00:00 | 3.282 | 329.22 | 3.507 | 316.335 | 3.81 | 321.977 | 4.086 | 317.95 | 20.6 | 879 | 100 | 4.8587
2020-07-21 17:15:00 | 3.266 | 332.23 | 3.536 | 309.4 | 3.701 | 324.921 | 4.084 | 310.983 | 20.61 | 879 | 100 | 4.152
2020-07-21 17:30:00 | 3.2373 | 334.62 | 3.4927 | 320.06 | 3.5973 | 327.2587 | 3.9827 | 321.6973 | 20.7867 | 879 | 100 | 4.5567
2020-07-21 17:45:00 | 3.352 | 343.32 | 3.67 | 320.53 | 3.862 | 335.768 | 4.316 | 322.168 | 20.74 | 879 | 100 | 5.5813
2020-07-21 18:00:00 | 3.627 | 342.77 | 3.938 | 324.001 | 4.311 | 335.229 | 4.705 | 325.658 | 20.67 | 879 | 100 | 6.8647
2020-07-21 18:15:00 | 3.993 | 343.31 | 4.3 | 323.376 | 4.632 | 335.757 | 5.031 | 325.03 | 20.59 | 879 | 100 | 8.342
2020-07-21 18:30:00 | 3.84 | 336.84 | 4.11 | 329.596 | 4.259 | 329.429 | 4.649 | 331.281 | 20.67 | 879 | 100 | 7.47
2020-07-21 18:45:00 | 3.6593 | 338.5 | 3.936 | 320.2167 | 4.294 | 331.0527 | 4.632 | 321.854 | 20.5933 | 879 | 100 | 6.8733
2020-07-21 19:00:00 | 3.9007 | 334.12 | 4.1773 | 323 | 4.5067 | 326.7687 | 4.858 | 324.652 | 20.6 | 879 | 100 | 8.502
2020-07-21 19:15:00 | 3.794 | 336.48 | 4.088 | 320.1 | 4.458 | 329.078 | 4.826 | 321.738 | 20.64 | 879 | 100 | 7.6767
2020-07-21 19:30:00 | 3.431 | 331.73 | 3.571 | 316.048 | 4.011 | 324.433 | 4.113 | 317.666 | 20.57 | 879 | 100 | 7.0127
2020-07-21 19:45:00 | 3.72 | 309.32 | 3.895 | 328.422 | 4.41 | 302.514 | 4.541 | 330.101 | 20.63 | 879 | 100 | 9.472
2020-07-21 20:00:00 | 4.276 | 352.92 | 4.561 | 326.105 | 4.959 | 345.156 | 5.305 | 327.77 | 20.51 | 879 | 100 | 13.668
2020-07-21 20:15:00 | 4.519 | 350.27 | 4.825 | 329.479 | 5.061 | 342.564 | 5.487 | 331.162 | 20.49 | 879 | 100 | 14.214
2020-07-21 20:30:00 | 4.542 | 355.22 | 4.862 | 332.796 | 5.028 | 347.406 | 5.5 | 334.494 | 20.4 | 879 | 100 | 14.8007
2020-07-21 20:45:00 | 5.112 | 346.43 | 5.428 | 325.107 | 5.694 | 338.806 | 6.126 | 326.769 | 20.52 | 879 | 100 | 19.4067
2020-07-21 21:00:00 | 5.164 | 348.78 | 5.54 | 328.342 | 5.748 | 341.108 | 6.295 | 330.022 | 20.54 | 879 | 100 | 18.3987
2020-07-21 21:15:00 | 5.167 | 345.1 | 5.554 | 319.571 | 5.771 | 337.509 | 6.328 | 321.204 | 20.45 | 879 | 100 | 21.168
2020-07-21 21:30:00 | 5.685 | 313.42 | 6.087 | 329.8 | 6.372 | 306.526 | 6.934 | 331.489 | 20.45 | 879 | 100 | 27.2833
2020-07-21 21:45:00 | 5.9667 | 342.0467 | 6.424 | 326.626 | 6.7167 | 334.5213 | 7.366 | 328.2953 | 20.6067 | 879 | 100 | 29.2147
2020-07-21 22:00:00 | 5.98 | 341.42 | 6.458 | 323.286 | 6.778 | 333.91 | 7.45 | 324.942 | 20.66 | 879 | 100 | 28.984
2020-07-21 22:15:00 | 5.766 | 339.72 | 6.288 | 321.216 | 6.5 | 332.246 | 7.272 | 322.858 | 20.72 | 879 | 100 | 32.798
2020-07-21 22:30:00 | 6.403 | 343.19 | 6.968 | 326.172 | 7.201 | 335.64 | 8.038 | 327.841 | 20.6 | 879 | 100 | 36.5207
2020-07-21 22:45:00 | 6.48 | 341.44 | 7.011 | 326.808 | 7.058 | 333.93 | 7.897 | 328.479 | 20.4 | 879 | 100 | 37.8307
2020-07-21 23:00:00 | 6.239 | 342.82 | 6.77 | 330.671 | 6.722 | 334.915 | 7.598 | 330.878 | 20.34 | 879 | 100 | 39.4293
2020-07-21 23:15:00 | 5.916 | 340.26 | 6.388 | 329.604 | 6.552 | 332.774 | 7.26 | 331.288 | 20.28 | 879 | 100 | 33.866
2020-07-21 23:30:00 | 5.357 | 343.12 | 5.818 | 333.183 | 5.736 | 335.502 | 6.508 | 334.888 | 20.35 | 879 | 100 | 29.388
2020-07-21 23:45:00 | 5.517 | 343.89 | 5.935 | 328.101 | 5.862 | 336.326 | 6.556 | 329.776 | 20.33 | 879 | 100 | 26.24