## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-22 00:00:00 | 5.091 | 344.62 | 5.384 | 326.143 | 5.652 | 337.04 | 6.041 | 327.812 | 20.38 | 879 | 100 | 20.83
2020-07-22 00:15:00 | 4.632 | 335.78 | 4.866 | 324.91 | 5.236 | 328.394 | 5.502 | 326.574 | 20.36 | 879 | 100 | 20.702
2020-07-22 00:30:00 | 5.246 | 338.69 | 5.504 | 323.082 | 5.856 | 331.238 | 6.171 | 324.735 | 20.35 | 879 | 100 | 23.808
2020-07-22 00:45:00 | 4.994 | 343.64 | 5.254 | 324.248 | 5.494 | 336.081 | 5.846 | 325.904 | 20.34 | 879 | 100 | 22.5727
2020-07-22 01:00:00 | 5.273 | 344.69 | 5.439 | 324.883 | 5.862 | 337.105 | 6.01 | 326.544 | 20.31 | 879 | 100 | 26.8913
2020-07-22 01:15:00 | 5.5967 | 343.1533 | 5.9153 | 323.5407 | 6.0133 | 335.604 | 6.498 | 325.196 | 20.1933 | 879 | 100 | 29.004
2020-07-22 01:30:00 | 5.733 | 342.98 | 6.118 | 324.303 | 6.178 | 335.435 | 6.777 | 325.962 | 20.19 | 878.1 | 100 | 31.4333
2020-07-22 01:45:00 | 5.802 | 346.65 | 6.213 | 327.933 | 6.28 | 339.024 | 6.919 | 329.61 | 20.19 | 878 | 100 | 32.672
2020-07-22 02:00:00 | 5.316 | 348.76 | 5.818 | 330.096 | 5.732 | 341.084 | 6.568 | 331.784 | 20.14 | 878 | 100 | 29.9607
2020-07-22 02:15:00 | 5.383 | 347.54 | 5.908 | 332.031 | 6.073 | 339.895 | 6.866 | 333.73 | 20.15 | 878 | 100 | 29.656
2020-07-22 02:30:00 | 5.962 | 346.7533 | 6.3893 | 327.736 | 6.6927 | 339.124 | 7.294 | 329.4093 | 20.2533 | 878 | 100 | 31.5273
2020-07-22 02:45:00 | 5.609 | 348.1 | 5.995 | 325.714 | 6.097 | 340.442 | 6.695 | 327.378 | 20.29 | 878 | 100 | 29.2607
2020-07-22 03:00:00 | 5.7853 | 347.9533 | 6.1833 | 326.4827 | 6.15 | 340.298 | 6.7993 | 328.152 | 20.2667 | 878 | 100 | 31.316
2020-07-22 03:15:00 | 5.977 | 344.38 | 6.382 | 323.766 | 6.149 | 336.802 | 6.871 | 325.422 | 20.33 | 878 | 100 | 32.1053
2020-07-22 03:30:00 | 5.894 | 347.1733 | 6.3393 | 324.9893 | 6.426 | 339.7247 | 7.1153 | 326.65 | 20.2867 | 878 | 100 | 30.712
2020-07-22 03:45:00 | 5.718 | 345.54 | 6.166 | 330.622 | 6.18 | 337.938 | 6.888 | 332.314 | 20.34 | 878 | 100 | 28.8247
2020-07-22 04:00:00 | 5.581 | 345.58 | 6.018 | 325.84 | 6.329 | 337.978 | 6.937 | 327.506 | 20.24 | 878 | 100 | 29.9447
2020-07-22 04:15:00 | 5.99 | 341.55 | 6.389 | 324.208 | 6.438 | 334.037 | 7.065 | 325.864 | 20.33 | 878 | 100 | 31.7293
2020-07-22 04:30:00 | 5.58 | 340.25 | 6.0029 | 320.8479 | 6.1664 | 332.7636 | 6.795 | 322.4871 | 20.3643 | 878 | 100 | 27.8933
2020-07-22 04:45:00 | 5.558 | 341.16 | 6.006 | 316.814 | 6.198 | 333.652 | 6.868 | 318.432 | 20.26 | 878 | 100 | 26.076
2020-07-22 05:00:00 | 5.3875 | 330.025 | 5.82 | 323.4975 | 6.14 | 322.765 | 6.7325 | 325.1525 | 20.275 | 878 | 100 | 26.5593
2020-07-22 05:15:00 | 5.193 | 341.52 | 5.61 | 324.07 | 5.892 | 334.007 | 6.478 | 325.727 | 20.2 | 878 | 100 | 22.612
2020-07-22 05:30:00 | 5.182 | 336.2533 | 5.5627 | 322.1013 | 5.7713 | 329.0453 | 6.32 | 323.7473 | 20.2867 | 878 | 100 | 22.748
2020-07-22 05:45:00 | 5.339 | 337.92 | 5.711 | 325.653 | 5.922 | 330.486 | 6.454 | 327.318 | 20.34 | 878 | 100 | 24.442
2020-07-22 06:00:00 | 5.135 | 337.8 | 5.526 | 326.261 | 5.772 | 330.369 | 6.331 | 327.928 | 20.25 | 878 | 100 | 22.3853
2020-07-22 06:15:00 | 5.4047 | 338.8467 | 5.812 | 329.36 | 6.1207 | 331.3933 | 6.6833 | 331.042 | 20.28 | 878 | 100 | 26.4607
2020-07-22 06:30:00 | 5.658 | 340.36 | 6.054 | 327.336 | 6.254 | 334.066 | 6.858 | 329.01 | 20.34 | 878 | 100 | 30.6487
2020-07-22 06:45:00 | 5.388 | 338.93 | 5.769 | 331.571 | 5.968 | 331.474 | 6.519 | 333.267 | 20.36 | 878 | 100 | 29.702
2020-07-22 07:00:00 | 5.772 | 334.72 | 6.199 | 324.324 | 6.357 | 327.355 | 7 | 325.983 | 20.31 | 878 | 100 | 30.1953
2020-07-22 07:15:00 | 5.8273 | 338.68 | 6.2773 | 328.0487 | 6.536 | 331.2273 | 7.184 | 329.7247 | 20.16 | 878 | 100 | 32.1187
2020-07-22 07:30:00 | 5.496 | 340 | 5.952 | 326.32 | 6.03 | 330.86 | 6.756 | 327.986 | 20.04 | 878 | 100 | 29.1273
2020-07-22 07:45:00 | 5.514 | 335.85 | 5.948 | 327.327 | 6.184 | 328.462 | 6.81 | 328.999 | 20.02 | 878 | 100 | 27.872
2020-07-22 08:00:00 | 5.697 | 340.08 | 6.093 | 324.011 | 6.371 | 332.6 | 6.93 | 325.668 | 20.18 | 878 | 100 | 28.1053
2020-07-22 08:15:00 | 5.702 | 316.0733 | 6.1453 | 330.12 | 6.3967 | 309.12 | 7.036 | 331.8087 | 20.1533 | 879 | 100 | 32.2193
2020-07-22 08:30:00 | 5.656 | 336.33 | 6.126 | 321.996 | 6.32 | 328.932 | 7.015 | 323.643 | 20.2 | 879 | 100 | 30.538
2020-07-22 08:45:00 | 5.936 | 340.05 | 6.386 | 328.099 | 6.625 | 333.361 | 7.29 | 328.942 | 20.32 | 879 | 100 | 35.13
2020-07-22 09:00:00 | 5.818 | 337.1 | 6.25 | 330.27 | 6.402 | 329.684 | 7.054 | 331.96 | 20.14 | 879 | 100 | 35.272
2020-07-22 09:15:00 | 5.93 | 336.12 | 6.377 | 327.923 | 6.63 | 328.726 | 7.278 | 329.6 | 20.15 | 879 | 100 | 32.32
2020-07-22 09:30:00 | 5.6029 | 315.6357 | 5.9936 | 330.5979 | 6.2486 | 335.2036 | 6.8021 | 332.2893 | 20.2929 | 879.2143 | 99.4071 | 29.4787
2020-07-22 09:45:00 | 5.83 | 342.44 | 6.224 | 329.022 | 6.364 | 334.904 | 6.956 | 330.7 | 20.4 | 880 | 99.1 | 28.9593
2020-07-22 10:00:00 | 5.382 | 306.01 | 5.697 | 332.05 | 5.918 | 299.277 | 6.362 | 333.748 | 20.79 | 880 | 97.23 | 25.2027
2020-07-22 10:15:00 | 5.586 | 340.29 | 5.928 | 326.633 | 6.156 | 331.874 | 6.644 | 328.302 | 20.95 | 880 | 96.52 | 26.91
2020-07-22 10:30:00 | 5.351 | 304.84 | 5.631 | 325.214 | 5.957 | 298.133 | 6.317 | 326.877 | 21.15 | 880 | 94.76 | 25.954
2020-07-22 10:45:00 | 5.582 | 342.54 | 5.962 | 326.652 | 6.08 | 335.006 | 6.658 | 328.322 | 21.38 | 880 | 92.86 | 26.7447
2020-07-22 11:00:00 | 5.365 | 331.97 | 5.636 | 324.306 | 6.019 | 324.665 | 6.343 | 325.964 | 21.63 | 880 | 91.14 | 22.438
2020-07-22 11:15:00 | 4.897 | 336.64 | 5.116 | 320.841 | 5.442 | 328.519 | 5.696 | 322.482 | 21.92 | 880 | 90.17 | 19.116
2020-07-22 11:30:00 | 5.02 | 331.02 | 5.084 | 327.242 | 5.512 | 323.738 | 5.5 | 328.912 | 21.94 | 880 | 88.44 | 15.7147
2020-07-22 11:45:00 | 3.909 | 336.8 | 4.129 | 329.917 | 4.366 | 329.391 | 4.65 | 331.605 | 22.2 | 880 | 87.89 | 12.932
2020-07-22 12:00:00 | 3.6571 | 322.0714 | 3.905 | 286.2043 | 4.1314 | 315.2307 | 4.4643 | 287.6671 | 22.7 | 880 | 87.5714 | 12.0847
2020-07-22 12:15:00 | 3.656 | 264.4 | 3.802 | 329.196 | 4.19 | 259.464 | 4.292 | 330.878 | 22.92 | 880 | 87.72 | 10.5067
2020-07-22 12:30:00 | 3.595 | 275.55 | 3.681 | 323.854 | 3.961 | 269.488 | 4.02 | 325.509 | 23.29 | 880 | 85.15 | 8.7527
2020-07-22 12:45:00 | 2.874 | 300.59 | 3.057 | 328.343 | 3.065 | 293.978 | 3.358 | 330.023 | 23.59 | 880 | 81.45 | 5.4187
2020-07-22 13:00:00 | 3.3793 | 334.5867 | 3.636 | 327.3867 | 3.9353 | 327.224 | 4.262 | 329.062 | 23.8267 | 880 | 81.42 | 6.5907
2020-07-22 13:15:00 | 3.192 | 336.5 | 3.4 | 331.912 | 3.744 | 329.096 | 3.978 | 333.61 | 24.1 | 880 | 79.956 | 5.0633
2020-07-22 13:30:00 | 2.724 | 333.25 | 2.896 | 303.141 | 3.117 | 325.918 | 3.332 | 304.692 | 24.81 | 880 | 77.519 | 3.1947
2020-07-22 13:45:00 | 2.764 | 343.53 | 2.922 | 238.348 | 3.255 | 335.973 | 3.415 | 239.567 | 24.9 | 880.4 | 75.814 | 3.1187
2020-07-22 14:00:00 | 2.648 | 319.8467 | 2.8213 | 55.0153 | 3.05 | 312.8093 | 3.26 | 55.2967 | 25.3467 | 881 | 75.6053 | 1.8573
2020-07-22 14:15:00 | 2.446 | 208.58 | 2.526 | 79.432 | 2.836 | 203.99 | 2.878 | 79.842 | 25.44 | 881 | 75.61 | 0.39643
2020-07-22 14:30:00 | 1.596 | 162.39 | 1.573 | 49.398 | 1.437 | 158.817 | 1.438 | 49.653 | 25.53 | 881 | 77.403 | 0
2020-07-22 14:45:00 | 1.152 | 121.02 | 1.158 | 88.256 | 1.04 | 118.356 | 1.082 | 88.708 | 25.62 | 880 | 76.99 | 0
2020-07-22 15:00:00 | 1.686 | 145.88 | 1.775 | 140.49 | 1.88 | 142.67 | 1.991 | 141.207 | 25.05 | 880 | 76.549 | 0
2020-07-22 15:15:00 | 1.7527 | 133.32 | 1.8547 | 135.7073 | 2.1093 | 129.898 | 2.212 | 136.402 | 24.7933 | 880 | 84.7133 | 0
2020-07-22 15:30:00 | 1.402 | 141.12 | 1.446 | 146.896 | 1.624 | 138.016 | 1.648 | 147.646 | 24.86 | 880 | 85.78 | 0
2020-07-22 15:45:00 | 1.336 | 157.53 | 1.402 | 143.893 | 1.688 | 154.066 | 1.715 | 144.629 | 24.9 | 880 | 88.62 | 0
2020-07-22 16:00:00 | 1.798 | 156.3 | 1.906 | 142.965 | 2.037 | 152.863 | 2.173 | 143.694 | 24.58 | 880 | 87.9 | 0
2020-07-22 16:15:00 | 1.72 | 142.52 | 1.77 | 158.376 | 1.946 | 139.386 | 1.976 | 159.186 | 24.26 | 880 | 89.3 | 0
2020-07-22 16:30:00 | 1.935 | 143.38 | 1.978 | 147.962 | 2.297 | 140.225 | 2.272 | 148.719 | 23.77 | 879.1 | 90.3 | 0.25667
2020-07-22 16:45:00 | 1.874 | 129.75 | 1.972 | 141.741 | 2.153 | 126.895 | 2.256 | 142.466 | 23.7 | 879 | 90.62 | 0.44733
2020-07-22 17:00:00 | 2.1273 | 135.1333 | 2.2013 | 125.926 | 2.556 | 132.1613 | 2.5713 | 126.5693 | 23.44 | 879 | 91.5867 | 0.75933
2020-07-22 17:15:00 | 1.777 | 141.71 | 1.848 | 134.837 | 2.085 | 138.593 | 2.133 | 135.527 | 23.34 | 879 | 94.19 | 0.514
2020-07-22 17:30:00 | 1.622 | 147.8267 | 1.6913 | 139.528 | 1.734 | 144.574 | 1.834 | 140.2407 | 23.54 | 879 | 94.7133 | 0
2020-07-22 17:45:00 | 1.548 | 157.2 | 1.568 | 160.256 | 1.718 | 153.744 | 1.704 | 161.076 | 23.64 | 879 | 93.18 | 0
2020-07-22 18:00:00 | 1.709 | 156.73 | 1.765 | 148.451 | 1.876 | 153.281 | 1.934 | 149.209 | 23.45 | 879 | 93.99 | 0
2020-07-22 18:15:00 | 1.754 | 159.56 | 1.856 | 141.106 | 2.116 | 156.05 | 2.21 | 141.828 | 23.22 | 879 | 95.34 | 0
2020-07-22 18:30:00 | 2.031 | 165.85 | 2.128 | 149.222 | 2.199 | 162.201 | 2.339 | 149.987 | 22.65 | 879 | 96.66 | 0
2020-07-22 18:45:00 | 1.821 | 164.73 | 1.904 | 143.981 | 1.956 | 161.105 | 2.076 | 144.717 | 22.56 | 879 | 97.47 | 0
2020-07-22 19:00:00 | 1.506 | 173.5 | 1.5493 | 160.1107 | 1.8133 | 169.6833 | 1.8073 | 160.93 | 22.66 | 878.3333 | 98.74 | 0
2020-07-22 19:15:00 | 1.134 | 153.84 | 1.115 | 160.95 | 1.367 | 150.456 | 1.261 | 161.773 | 22.69 | 879 | 99.24 | 0
2020-07-22 19:30:00 | 0.872 | 143.67 | 0.844 | 152.002 | 1.135 | 140.509 | 1.006 | 152.777 | 22.94 | 879 | 99.5 | 0
2020-07-22 19:45:00 | 0.62467 | 72.4867 | 0.67667 | 75.9567 | 0.76733 | 70.8913 | 0.82467 | 76.3467 | 22.8 | 879 | 99.6867 | 0
2020-07-22 20:00:00 | 1.199 | 283.44 | 1.318 | 206.534 | 1.248 | 277.203 | 1.46 | 207.591 | 22.4 | 879 | 99.9 | 0
2020-07-22 20:15:00 | 1.5627 | 237.4867 | 1.638 | 334.9713 | 1.7587 | 232.2613 | 1.8427 | 336.6847 | 22.3 | 879 | 99.96 | 0
2020-07-22 20:30:00 | 1.62 | 346.96 | 1.66 | 339.698 | 1.862 | 339.328 | 1.868 | 341.434 | 22.24 | 879 | 100 | 0
2020-07-22 20:45:00 | 2.099 | 351.17 | 2.178 | 334.866 | 2.23 | 343.444 | 2.341 | 336.579 | 22.02 | 879 | 100 | 0
2020-07-22 21:00:00 | 1.68 | 210.34 | 1.73 | 331.834 | 1.85 | 205.714 | 1.896 | 333.532 | 22.08 | 879 | 100 | 0
2020-07-22 21:15:00 | 1.199 | 287.62 | 1.241 | 278.377 | 1.127 | 281.294 | 1.225 | 279.801 | 21.87 | 879 | 100 | 0
2020-07-22 21:30:00 | 1.3387 | 272.28 | 1.4147 | 124.354 | 1.4967 | 266.2907 | 1.5933 | 124.9907 | 21.9067 | 879 | 100 | 0
2020-07-22 21:45:00 | 2.003 | 317.91 | 2.1 | 336.94 | 2.341 | 310.915 | 2.423 | 338.664 | 21.91 | 879 | 100 | 0
2020-07-22 22:00:00 | 2.1 | 73.14 | 2.15 | 334.938 | 2.379 | 71.53 | 2.395 | 336.65 | 21.9 | 879 | 100 | 0
2020-07-22 22:15:00 | 1.634 | 323.14 | 1.618 | 325.242 | 1.936 | 316.03 | 1.822 | 326.908 | 21.78 | 879 | 100 | 0
2020-07-22 22:30:00 | 1.68 | 224.21 | 1.701 | 326.72 | 1.99 | 219.277 | 1.939 | 328.392 | 21.76 | 880 | 100 | 0
2020-07-22 22:45:00 | 1.671 | 287.92 | 1.62 | 333.038 | 1.981 | 281.585 | 1.8 | 334.74 | 21.88 | 880 | 100 | 0
2020-07-22 23:00:00 | 1.856 | 333.4 | 1.794 | 334.926 | 2.232 | 326.064 | 2.006 | 336.636 | 21.9 | 880 | 100 | 0
2020-07-22 23:15:00 | 1.655 | 254.07 | 1.67 | 302.122 | 1.955 | 248.48 | 1.897 | 303.668 | 21.75 | 880 | 100 | 0
2020-07-22 23:30:00 | 1.448 | 194.14 | 1.5 | 202.094 | 1.874 | 189.868 | 1.844 | 203.126 | 21.88 | 880 | 100 | 0
2020-07-22 23:45:00 | 1.462 | 202.42 | 1.465 | 147.237 | 1.758 | 196.755 | 1.671 | 147.991 | 21.86 | 879.6 | 100 | 0