## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-23 00:00:00 | 1.368 | 145.42 | 1.394 | 340.208 | 1.642 | 142.22 | 1.616 | 341.946 | 21.82 | 879 | 100 | 0
2020-07-23 00:15:00 | 1.368 | 145.42 | 1.394 | 340.208 | 1.642 | 142.22 | 1.616 | 341.946 | 21.82 | 879 | 100 | 0
2020-07-23 00:30:00 | 1.368 | 145.42 | 1.394 | 340.208 | 1.642 | 142.22 | 1.616 | 341.946 | 21.82 | 879 | 100 | 0
2020-07-23 00:45:00 | 1.368 | 145.42 | 1.394 | 340.208 | 1.642 | 142.22 | 1.616 | 341.946 | 21.82 | 879 | 100 | 0
2020-07-23 01:00:00 | 0.386 | 178.5 | 0.372 | 199.198 | 0.63 | 174.572 | 0.532 | 200.218 | 22.34 | 879 | 100 | 0.296
2020-07-23 01:15:00 | 0.386 | 178.5 | 0.372 | 199.198 | 0.63 | 174.572 | 0.532 | 200.218 | 22.34 | 879 | 100 | 0.296
2020-07-23 01:30:00 | 0.386 | 178.5 | 0.372 | 199.198 | 0.63 | 174.572 | 0.532 | 200.218 | 22.34 | 879 | 100 | 0.296
2020-07-23 01:45:00 | 0.386 | 178.5 | 0.372 | 199.198 | 0.63 | 174.572 | 0.532 | 200.218 | 22.34 | 879 | 100 | 0.296
2020-07-23 02:00:00 | 0.386 | 178.5 | 0.372 | 199.198 | 0.63 | 174.572 | 0.532 | 200.218 | 22.34 | 879 | 100 | 0.296
2020-07-23 02:15:00 | 0.742 | 210.66 | 0.744 | 226.19 | 0.992 | 206.026 | 0.918 | 227.35 | 22.3 | 879 | 100 | 0
2020-07-23 02:30:00 | 0.742 | 210.66 | 0.744 | 226.19 | 0.992 | 206.026 | 0.918 | 227.35 | 22.3 | 879 | 100 | 0
2020-07-23 02:45:00 | 0.742 | 210.66 | 0.744 | 226.19 | 0.992 | 206.026 | 0.918 | 227.35 | 22.3 | 879 | 100 | 0
2020-07-23 03:00:00 | 0.742 | 210.66 | 0.744 | 226.19 | 0.992 | 206.026 | 0.918 | 227.35 | 22.3 | 879 | 100 | 0
2020-07-23 03:15:00 | 1.255 | 294.18 | 1.249 | 326.133 | 1.597 | 287.709 | 1.488 | 327.801 | 21.79 | 879 | 100 | 0
2020-07-23 03:30:00 | 1.255 | 294.18 | 1.249 | 326.133 | 1.597 | 287.709 | 1.488 | 327.801 | 21.79 | 879 | 100 | 0
2020-07-23 03:45:00 | 1.255 | 294.18 | 1.249 | 326.133 | 1.597 | 287.709 | 1.488 | 327.801 | 21.79 | 879 | 100 | 0
2020-07-23 04:00:00 | 1.429 | 199.18 | 1.383 | 324.139 | 1.71 | 193.644 | 1.552 | 325.795 | 21.66 | 879 | 100 | 0
2020-07-23 04:15:00 | 1.282 | 295.19 | 1.241 | 332.149 | 1.566 | 288.697 | 1.408 | 333.846 | 21.65 | 878.6 | 100 | 0
2020-07-23 04:30:00 | 1.378 | 136.42 | 1.334 | 324.353 | 1.692 | 133.419 | 1.519 | 326.011 | 21.82 | 878 | 100 | 0
2020-07-23 04:45:00 | 1.4356 | 38.9333 | 1.4 | 329.7389 | 1.7444 | 38.0778 | 1.5911 | 331.4244 | 21.7667 | 878 | 100 | 0
2020-07-23 05:00:00 | 1.7213 | 148.1667 | 1.7107 | 329.0187 | 2.1473 | 144.9067 | 2.0047 | 330.702 | 21.8267 | 878 | 100 | 0
2020-07-23 05:15:00 | 1.9847 | 221.9467 | 1.994 | 325.028 | 2.442 | 217.064 | 2.3253 | 326.69 | 21.7067 | 878 | 100 | 0
2020-07-23 05:30:00 | 1.662 | 80.82 | 1.676 | 316.108 | 2.06 | 78.004 | 1.986 | 317.726 | 21.62 | 878 | 100 | 0
2020-07-23 05:45:00 | 1.241 | 268.98 | 1.165 | 318.349 | 1.671 | 263.062 | 1.405 | 319.976 | 21.81 | 878 | 100 | 0
2020-07-23 06:00:00 | 1.158 | 264.72 | 1.078 | 307.248 | 1.604 | 258.894 | 1.326 | 308.82 | 21.88 | 878.8 | 100 | 0
2020-07-23 06:15:00 | 1.442 | 322.8 | 1.426 | 302.63 | 1.686 | 315.696 | 1.586 | 304.18 | 21.94 | 879 | 100 | 0
2020-07-23 06:30:00 | 1.442 | 322.8 | 1.426 | 302.63 | 1.686 | 315.696 | 1.586 | 304.18 | 21.94 | 879 | 100 | 0
2020-07-23 06:45:00 | 1.849 | 240.05 | 1.853 | 327.719 | 2.163 | 233.81 | 2.058 | 329.393 | 21.87 | 879 | 100 | 0
2020-07-23 07:00:00 | 1.906 | 267.8 | 1.92 | 321.88 | 2.194 | 261.908 | 2.136 | 323.526 | 21.74 | 879 | 100 | 0
2020-07-23 07:15:00 | 1.984 | 338.24 | 1.974 | 323.54 | 2.308 | 330.798 | 2.194 | 325.194 | 21.7 | 879 | 100 | 0
2020-07-23 07:30:00 | 1.91 | 325.22 | 1.916 | 329.682 | 2.144 | 318.064 | 2.088 | 331.37 | 21.68 | 879 | 100 | 0.14133
2020-07-23 07:45:00 | 2.1507 | 229.18 | 2.156 | 331.4767 | 2.498 | 224.5947 | 2.4073 | 333.1713 | 21.6333 | 879 | 100 | 0.42733
2020-07-23 08:00:00 | 2.522 | 281.05 | 2.566 | 333.068 | 2.97 | 274.867 | 2.925 | 334.772 | 21.65 | 879 | 100 | 1.7427
2020-07-23 08:15:00 | 2.524 | 345.8 | 2.59 | 329.078 | 2.98 | 338.192 | 2.978 | 330.76 | 21.62 | 879 | 100 | 1.1293
2020-07-23 08:30:00 | 2.2113 | 167.5267 | 2.2467 | 327.4733 | 2.5127 | 163.8413 | 2.4953 | 329.1493 | 21.6067 | 879.9333 | 100 | 0.35733
2020-07-23 08:45:00 | 1.84 | 150.52 | 1.862 | 323.836 | 2.182 | 147.208 | 2.12 | 325.492 | 21.56 | 880 | 100 | 0
2020-07-23 09:00:00 | 1.728 | 14.56 | 1.688 | 328.88 | 2.138 | 14.238 | 1.944 | 330.562 | 21.7 | 880 | 100 | 0
2020-07-23 09:15:00 | 1.914 | 208.75 | 1.956 | 333.577 | 2.148 | 204.159 | 2.163 | 335.281 | 21.89 | 880 | 100 | 0
2020-07-23 09:30:00 | 1.762 | 114.69 | 1.78 | 315.444 | 2.042 | 112.166 | 1.994 | 317.057 | 21.72 | 880 | 100 | 0
2020-07-23 09:45:00 | 1.682 | 275.9 | 1.692 | 317.93 | 2.016 | 269.832 | 1.944 | 319.556 | 21.74 | 880 | 100 | 0
2020-07-23 10:00:00 | 1.662 | 207.5 | 1.64 | 321.196 | 2.092 | 202.932 | 1.928 | 322.836 | 21.88 | 880 | 100 | 0
2020-07-23 10:15:00 | 1.715 | 232.66 | 1.664 | 327.905 | 2.015 | 229.469 | 1.829 | 329.581 | 21.94 | 880 | 100 | 0
2020-07-23 10:30:00 | 2.135 | 330.53 | 2.149 | 322.701 | 2.541 | 323.258 | 2.451 | 324.352 | 21.84 | 880 | 100 | 0
2020-07-23 10:45:00 | 2.174 | 299.53 | 2.205 | 323.093 | 2.604 | 292.94 | 2.538 | 324.745 | 21.73 | 880 | 100 | 0.534
2020-07-23 11:00:00 | 1.913 | 307.92 | 1.877 | 323.073 | 2.282 | 301.145 | 2.111 | 324.726 | 21.67 | 880 | 100 | 0.25867
2020-07-23 11:15:00 | 1.853 | 201.81 | 1.812 | 320.491 | 2.277 | 197.37 | 2.079 | 322.129 | 21.67 | 880 | 100 | 0.046
2020-07-23 11:30:00 | 1.842 | 274.73 | 1.812 | 320.422 | 2.231 | 268.687 | 2.063 | 322.062 | 21.72 | 880 | 100 | 0
2020-07-23 11:45:00 | 1.655 | 257.62 | 1.677 | 323.709 | 1.986 | 286.319 | 1.929 | 325.363 | 21.83 | 880 | 100 | 0
2020-07-23 12:00:00 | 0.82133 | 147.4267 | 0.80333 | 294.0393 | 1.184 | 144.3007 | 1.0427 | 295.5413 | 21.9667 | 880 | 100 | 0
2020-07-23 12:15:00 | 0.704 | 166.8267 | 0.73067 | 254.2093 | 1.0993 | 162.7927 | 1.028 | 255.508 | 22.1533 | 880 | 100 | 0
2020-07-23 12:30:00 | 0.474 | 141.32 | 0.516 | 77.594 | 0.84 | 138.21 | 0.808 | 77.99 | 22.42 | 880 | 100 | 0
2020-07-23 12:45:00 | 0.438 | 164.64 | 0.478 | 127.276 | 0.496 | 161.018 | 0.56 | 127.926 | 22.42 | 880 | 100 | 0
2020-07-23 13:00:00 | 0.524 | 144.21 | 0.614 | 126.271 | 0.589 | 141.035 | 0.743 | 126.916 | 22.54 | 880 | 100 | 0
2020-07-23 13:15:00 | 0.497 | 146.93 | 0.586 | 157.673 | 0.599 | 143.697 | 0.737 | 158.479 | 22.61 | 880 | 100 | 0
2020-07-23 13:30:00 | 0.585 | 128.34 | 0.639 | 143.794 | 0.6 | 125.515 | 0.7 | 144.531 | 22.67 | 880 | 100 | 0
2020-07-23 13:45:00 | 0.524 | 157.35 | 0.556 | 161.721 | 0.5 | 153.888 | 0.564 | 162.549 | 22.67 | 880 | 100 | 0
2020-07-23 14:00:00 | 0.653 | 159.13 | 0.694 | 161.867 | 0.576 | 155.63 | 0.681 | 162.697 | 22.67 | 880 | 100 | 0
2020-07-23 14:15:00 | 1.097 | 169.91 | 1.185 | 170.31 | 1.024 | 166.171 | 1.213 | 171.178 | 22.68 | 880 | 100 | 0
2020-07-23 14:30:00 | 1.071 | 162.44 | 1.1 | 162.903 | 1.03 | 158.865 | 1.097 | 163.738 | 22.7 | 880 | 100 | 0
2020-07-23 14:45:00 | 1.3 | 160.3 | 1.384 | 142.456 | 1.432 | 156.772 | 1.554 | 143.182 | 22.8 | 880 | 100 | 0
2020-07-23 15:00:00 | 1.3867 | 138.0333 | 1.5167 | 130.5189 | 1.5956 | 134.9956 | 1.7833 | 131.1856 | 22.6778 | 880 | 100 | 0
2020-07-23 15:15:00 | 1.55 | 124.61 | 1.68 | 136.236 | 1.603 | 121.867 | 1.836 | 136.933 | 22.54 | 880 | 100 | 0
2020-07-23 15:30:00 | 2.278 | 122.74 | 2.372 | 117.4 | 2.296 | 120.039 | 2.47 | 117.999 | 22.53 | 880 | 100 | 0
2020-07-23 15:45:00 | 1.565 | 127.25 | 1.711 | 129.126 | 1.699 | 124.449 | 1.939 | 129.785 | 22.63 | 880 | 100 | 0
2020-07-23 16:00:00 | 1.539 | 124.91 | 1.702 | 123.737 | 1.953 | 122.163 | 2.138 | 124.37 | 22.71 | 880 | 100 | 0.40133
2020-07-23 16:15:00 | 2.043 | 109.93 | 2.145 | 118.318 | 2.314 | 105.437 | 2.413 | 118.923 | 22.76 | 880 | 100 | 0.74
2020-07-23 16:30:00 | 1.861 | 117.28 | 1.931 | 128.801 | 2.146 | 114.7 | 2.199 | 129.46 | 22.82 | 880 | 100 | 0.562
2020-07-23 16:45:00 | 1.6907 | 144.7867 | 1.7753 | 124.304 | 1.7653 | 141.6007 | 1.9033 | 124.9393 | 22.7733 | 880 | 100 | 0.43933
2020-07-23 17:00:00 | 1.59 | 141.56 | 1.652 | 140.402 | 1.642 | 138.446 | 1.744 | 141.12 | 22.8 | 880 | 100 | 0.542
2020-07-23 17:15:00 | 1.435 | 147.76 | 1.473 | 132.752 | 1.365 | 144.509 | 1.458 | 133.431 | 22.71 | 880 | 100 | 0.626
2020-07-23 17:30:00 | 1.124 | 132.12 | 1.193 | 115.355 | 1.09 | 129.782 | 1.212 | 115.944 | 22.85 | 880 | 100 | 0.70267
2020-07-23 17:45:00 | 1.472 | 119.39 | 1.515 | 107.053 | 1.381 | 116.763 | 1.492 | 107.599 | 22.86 | 880 | 100 | 1.302
2020-07-23 18:00:00 | 1.052 | 117.5733 | 1.1073 | 103.5833 | 1.082 | 114.9873 | 1.1807 | 104.112 | 22.9 | 880 | 100 | 1.3087
2020-07-23 18:15:00 | 0.62 | 129.44 | 0.64933 | 129.93 | 0.69067 | 126.5927 | 0.72467 | 130.596 | 23.0067 | 880 | 100 | 0.77667
2020-07-23 18:30:00 | 0.43889 | 141.3667 | 0.48111 | 129.9444 | 0.68889 | 138.2556 | 0.69444 | 130.6078 | 23.1333 | 880 | 100 | 0.68133
2020-07-23 18:45:00 | 0.411 | 116.6 | 0.434 | 159.269 | 0.771 | 114.036 | 0.712 | 160.08 | 23.17 | 880 | 100 | 0.99933
2020-07-23 19:00:00 | 0.526 | 76.46 | 0.525 | 239.688 | 0.978 | 74.777 | 0.841 | 240.913 | 23.11 | 880 | 100 | 0.618
2020-07-23 19:15:00 | 1.05 | 56.33 | 1.007 | 337.039 | 1.465 | 56.275 | 1.274 | 338.762 | 22.72 | 880 | 100 | 1.022
2020-07-23 19:30:00 | 1.328 | 161.55 | 1.279 | 339.934 | 1.804 | 157.998 | 1.578 | 341.67 | 22.59 | 880 | 100 | 0.994
2020-07-23 19:45:00 | 2.1027 | 272.0267 | 2.016 | 330.4273 | 2.624 | 266.0433 | 2.3127 | 332.1167 | 22.4267 | 880 | 100 | 1.532
2020-07-23 20:00:00 | 1.92 | 263.9 | 1.866 | 322.37 | 2.616 | 258.096 | 2.314 | 324.018 | 22.3 | 880 | 100 | 1.644
2020-07-23 20:15:00 | 1.5311 | 129.0444 | 1.4733 | 323.5122 | 2.1211 | 126.2056 | 1.8444 | 325.1667 | 22.3778 | 881 | 100 | 1.2807
2020-07-23 20:30:00 | 1.893 | 288.26 | 1.864 | 311.992 | 2.559 | 281.918 | 2.311 | 313.587 | 22.38 | 881 | 100 | 1.664
2020-07-23 20:45:00 | 2.154 | 260.73 | 2.11 | 323.52 | 2.933 | 254.996 | 2.624 | 325.176 | 22.3 | 881 | 100 | 2.276
2020-07-23 21:00:00 | 2.579 | 310.61 | 2.55 | 318.448 | 3.377 | 303.777 | 3.093 | 320.075 | 22.23 | 881 | 100 | 3.8393
2020-07-23 21:15:00 | 2.729 | 265.97 | 2.682 | 329.066 | 3.397 | 260.12 | 3.111 | 330.75 | 22.16 | 881 | 100 | 3.0373
2020-07-23 21:30:00 | 2.256 | 143.62 | 2.297 | 336.705 | 2.69 | 140.46 | 2.644 | 338.427 | 22.14 | 881 | 100 | 0.746
2020-07-23 21:45:00 | 2.452 | 256.32 | 2.5453 | 327.2587 | 2.8547 | 250.6793 | 2.9147 | 328.9313 | 22.1467 | 881.6 | 100 | 1.132
2020-07-23 22:00:00 | 2.024 | 53.5933 | 2.0593 | 325.2367 | 2.478 | 52.4133 | 2.4153 | 326.8993 | 22.26 | 882 | 100 | 0.26667
2020-07-23 22:15:00 | 2.248 | 215.44 | 2.278 | 337.878 | 2.656 | 210.7 | 2.592 | 339.606 | 22.36 | 882 | 100 | 0.71
2020-07-23 22:30:00 | 2.126 | 88.13 | 2.205 | 328.256 | 2.54 | 86.191 | 2.568 | 329.935 | 22.36 | 882 | 100 | 0.81333
2020-07-23 22:45:00 | 1.888 | 333.21 | 1.869 | 333.929 | 2.45 | 325.88 | 2.253 | 335.637 | 22.29 | 882 | 100 | 0.85867
2020-07-23 23:00:00 | 2.838 | 298.92 | 2.933 | 332.911 | 3.29 | 292.343 | 3.341 | 334.615 | 22.28 | 882 | 100 | 1.994
2020-07-23 23:15:00 | 3.22 | 240.34 | 3.359 | 319.62 | 3.933 | 235.054 | 3.989 | 321.254 | 22.27 | 882 | 100 | 4.7053
2020-07-23 23:30:00 | 2.989 | 248.81 | 3.054 | 319.502 | 3.756 | 243.335 | 3.658 | 321.135 | 22.16 | 882 | 100 | 4.6593
2020-07-23 23:45:00 | 3.4673 | 317.84 | 3.608 | 323.1167 | 4.2347 | 310.846 | 4.2787 | 324.7693 | 22.16 | 882 | 100 | 6.548