## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-24 00:00:00 | 3.776 | 347.9 | 3.958 | 324.598 | 4.57 | 340.246 | 4.69 | 326.258 | 22.08 | 882 | 100 | 9.698
2020-07-24 00:15:00 | 3.972 | 335.39 | 4.163 | 329.098 | 4.941 | 328.012 | 5.026 | 330.779 | 21.97 | 882 | 100 | 12.3353
2020-07-24 00:30:00 | 4.354 | 336.56 | 4.522 | 316.588 | 5.333 | 329.154 | 5.37 | 318.208 | 21.97 | 881.1 | 100 | 14.376
2020-07-24 00:45:00 | 4.234 | 337.59 | 4.42 | 319.122 | 5.25 | 330.161 | 5.31 | 320.753 | 21.91 | 881 | 100 | 16.364
2020-07-24 01:00:00 | 3.811 | 241.46 | 3.846 | 322.455 | 4.65 | 236.147 | 4.472 | 324.105 | 21.9 | 881 | 100 | 10.1633
2020-07-24 01:15:00 | 4.437 | 329.84 | 4.654 | 325.518 | 5.32 | 322.583 | 5.474 | 327.183 | 21.88 | 881 | 100 | 15.018
2020-07-24 01:30:00 | 4.7547 | 320.1133 | 5.004 | 322.0353 | 5.614 | 313.0713 | 5.84 | 323.6813 | 21.7667 | 881 | 100 | 18.3607
2020-07-24 01:45:00 | 4.93 | 341.46 | 5.262 | 327.16 | 5.582 | 333.95 | 6.026 | 328.834 | 21.84 | 881 | 100 | 21.5733
2020-07-24 02:00:00 | 5.057 | 336.98 | 5.472 | 329.693 | 6.045 | 329.566 | 6.546 | 331.378 | 21.76 | 881 | 100 | 21.9067
2020-07-24 02:15:00 | 5.354 | 334.15 | 5.769 | 328.227 | 6.276 | 326.799 | 6.8 | 329.904 | 21.72 | 881 | 100 | 26.2833
2020-07-24 02:30:00 | 5.166 | 325.08 | 5.5393 | 318.09 | 6.114 | 317.928 | 6.548 | 319.718 | 21.7133 | 880.7333 | 100 | 22.4187
2020-07-24 02:45:00 | 5.981 | 338.31 | 6.417 | 330.092 | 7.02 | 330.867 | 7.548 | 331.782 | 21.68 | 880 | 100 | 29.672
2020-07-24 03:00:00 | 4.837 | 328.01 | 5.194 | 305.519 | 5.859 | 320.793 | 6.24 | 307.08 | 21.52 | 880 | 100 | 18.568
2020-07-24 03:15:00 | 5.126 | 343.38 | 5.544 | 327.562 | 5.885 | 335.825 | 6.462 | 329.236 | 21.63 | 880.4 | 100 | 21.4633
2020-07-24 03:30:00 | 5.59 | 315 | 5.954 | 301.752 | 6.526 | 308.07 | 6.943 | 303.294 | 21.72 | 881 | 100 | 25.718
2020-07-24 03:45:00 | 5.3647 | 340.72 | 5.6187 | 331.6207 | 6.132 | 333.224 | 6.3927 | 333.3147 | 21.4933 | 880 | 100 | 25.9467
2020-07-24 04:00:00 | 4.6487 | 333.62 | 4.894 | 325.1393 | 5.5333 | 327.004 | 5.7447 | 326.8013 | 21.4733 | 880 | 100 | 19.3373
2020-07-24 04:15:00 | 4.61 | 327.36 | 4.814 | 320.218 | 5.718 | 320.158 | 5.788 | 321.852 | 21.42 | 880 | 100 | 22.3747
2020-07-24 04:30:00 | 5.037 | 339.65 | 5.363 | 316.754 | 6.006 | 332.177 | 6.341 | 318.375 | 21.3 | 880 | 100 | 23.5353
2020-07-24 04:45:00 | 5.058 | 306.83 | 5.417 | 320.442 | 5.942 | 300.082 | 6.36 | 322.081 | 21.05 | 880 | 100 | 23.3487
2020-07-24 05:00:00 | 5.15 | 341.04 | 5.505 | 320.343 | 6.251 | 333.537 | 6.605 | 321.981 | 20.95 | 880 | 100 | 26.3833
2020-07-24 05:15:00 | 4.732 | 331.5933 | 5.006 | 321.5073 | 5.8073 | 324.298 | 6.018 | 323.152 | 21 | 880 | 100 | 20.7613
2020-07-24 05:30:00 | 4.352 | 331.92 | 4.516 | 316.522 | 5.394 | 324.618 | 5.406 | 318.138 | 21 | 880 | 100 | 20.83
2020-07-24 05:45:00 | 4.868 | 338.79 | 5.103 | 325.07 | 5.957 | 331.337 | 6.085 | 326.73 | 20.91 | 880 | 100 | 22.622
2020-07-24 06:00:00 | 4.573 | 332.15 | 4.754 | 323.12 | 5.768 | 326.134 | 5.765 | 324.773 | 20.82 | 880 | 100 | 20.2367
2020-07-24 06:15:00 | 5.0707 | 338.0714 | 5.2864 | 331.4586 | 6.1364 | 330.6336 | 6.2364 | 333.1521 | 20.8286 | 881 | 100 | 23.7427
2020-07-24 06:30:00 | 5.258 | 329.32 | 5.568 | 326.438 | 6.342 | 322.076 | 6.612 | 328.104 | 20.84 | 881 | 100 | 27.902
2020-07-24 06:45:00 | 5.715 | 338.36 | 6.068 | 331.892 | 6.701 | 330.917 | 7.087 | 333.589 | 20.72 | 881 | 100 | 32.0873
2020-07-24 07:00:00 | 5.898 | 340.16 | 6.295 | 325.439 | 6.871 | 332.675 | 7.34 | 327.104 | 20.65 | 881 | 100 | 34.6173
2020-07-24 07:15:00 | 6.045 | 340.48 | 6.443 | 325.333 | 7.311 | 332.99 | 7.701 | 326.995 | 20.57 | 881 | 100 | 36.3647
2020-07-24 07:30:00 | 5.84 | 342.16 | 6.2633 | 329.6253 | 6.9187 | 334.6327 | 7.408 | 331.3093 | 20.5467 | 881 | 100 | 35.426
2020-07-24 07:45:00 | 5.578 | 342.24 | 5.956 | 328.41 | 6.598 | 334.71 | 7.018 | 330.09 | 20.56 | 881 | 100 | 29.5447
2020-07-24 08:00:00 | 5.134 | 338.08 | 5.469 | 321.801 | 6.105 | 330.642 | 6.456 | 323.445 | 20.56 | 881 | 100 | 24.938
2020-07-24 08:15:00 | 4.748 | 337.22 | 4.983 | 324.911 | 5.698 | 329.8 | 5.867 | 326.572 | 20.6 | 881 | 100 | 18.112
2020-07-24 08:30:00 | 3.818 | 328.1067 | 3.9033 | 319.8587 | 4.6347 | 320.888 | 4.5593 | 321.4927 | 20.5067 | 881 | 100 | 12.322
2020-07-24 08:45:00 | 4.15 | 326.66 | 4.24 | 326.946 | 5.182 | 319.474 | 5.056 | 328.618 | 20.5 | 881 | 100 | 15.0553
2020-07-24 09:00:00 | 4.382 | 293.85 | 4.519 | 327.22 | 5.568 | 287.385 | 5.482 | 328.893 | 20.51 | 881 | 100 | 20.358
2020-07-24 09:15:00 | 4.582 | 336.41 | 4.724 | 328.971 | 5.79 | 329.01 | 5.712 | 330.651 | 20.49 | 881 | 100 | 23.0533
2020-07-24 09:30:00 | 4.548 | 268.26 | 4.652 | 323.562 | 5.56 | 262.358 | 5.464 | 325.216 | 20.4 | 881 | 100 | 19.4413
2020-07-24 09:45:00 | 4.658 | 330.81 | 4.743 | 326.124 | 5.779 | 323.533 | 5.617 | 327.791 | 20.4 | 881.4 | 100 | 21.8853
2020-07-24 10:00:00 | 4.708 | 330.12 | 4.828 | 327.709 | 5.817 | 322.857 | 5.728 | 329.384 | 20.41 | 881.1 | 100 | 18.9653
2020-07-24 10:15:00 | 4.3967 | 335.9267 | 4.4287 | 323.032 | 5.306 | 328.5347 | 5.1067 | 324.6853 | 20.4133 | 882 | 100 | 16.936
2020-07-24 10:30:00 | 5.024 | 340.84 | 5.3 | 328.784 | 6.004 | 333.344 | 6.242 | 330.466 | 20.4 | 882 | 100 | 21.8013
2020-07-24 10:45:00 | 4.575 | 330.99 | 4.71 | 324.412 | 5.798 | 323.708 | 5.706 | 326.071 | 20.39 | 881 | 100 | 21.3547
2020-07-24 11:00:00 | 4.498 | 297.3 | 4.55 | 326.906 | 5.501 | 290.759 | 5.314 | 328.578 | 20.33 | 881.9 | 100 | 19.27
2020-07-24 11:15:00 | 4.662 | 333.6533 | 4.8853 | 317.7007 | 5.584 | 326.314 | 5.7367 | 319.3247 | 20.2533 | 882 | 100 | 19.4107
2020-07-24 11:30:00 | 5.186 | 335.06 | 5.446 | 320.118 | 6.284 | 327.688 | 6.46 | 321.754 | 20.36 | 882 | 100 | 25.8093
2020-07-24 11:45:00 | 5.026 | 272.42 | 5.273 | 328.51 | 6.199 | 266.427 | 6.329 | 330.189 | 20.36 | 882 | 100 | 28.1387
2020-07-24 12:00:00 | 5.408 | 334.87 | 5.716 | 334.32 | 6.551 | 327.502 | 6.801 | 336.028 | 20.29 | 882 | 100 | 29.78
2020-07-24 12:15:00 | 5.1607 | 339.7733 | 5.4193 | 327.6027 | 6.2647 | 332.2987 | 6.4327 | 329.28 | 20.3933 | 882 | 100 | 27.276
2020-07-24 12:30:00 | 5.196 | 337.98 | 5.456 | 327.024 | 6.444 | 330.544 | 6.576 | 328.696 | 20.48 | 882 | 100 | 28.5027
2020-07-24 12:45:00 | 5.426 | 337.43 | 5.771 | 331.445 | 6.484 | 329.872 | 6.828 | 333.139 | 20.5 | 881.6 | 100 | 28.8393
2020-07-24 13:00:00 | 5.349 | 335.87 | 5.679 | 326.173 | 6.472 | 328.482 | 6.77 | 327.839 | 20.48 | 881 | 100 | 30.9473
2020-07-24 13:15:00 | 5.618 | 339.69 | 6.026 | 327.895 | 6.696 | 332.217 | 7.156 | 329.571 | 20.41 | 881 | 100 | 32.8907
2020-07-24 13:30:00 | 5.292 | 336.36 | 5.57 | 323.014 | 6.406 | 328.96 | 6.612 | 324.664 | 20.34 | 881 | 100 | 26.4327
2020-07-24 13:45:00 | 5.141 | 331.78 | 5.503 | 326.132 | 6.104 | 324.481 | 6.514 | 327.801 | 20.33 | 881 | 100 | 29.0313
2020-07-24 14:00:00 | 5.495 | 337.14 | 5.848 | 328.08 | 6.401 | 329.725 | 6.808 | 329.757 | 20.32 | 881 | 100 | 28.468
2020-07-24 14:15:00 | 5.2627 | 335.5867 | 5.6327 | 323.7513 | 6.3267 | 328.2033 | 6.7193 | 325.4047 | 20.2267 | 881 | 100 | 26.6793
2020-07-24 14:30:00 | 5.15 | 327.94 | 5.46 | 317.752 | 6.674 | 320.726 | 6.822 | 319.376 | 20.3 | 881 | 100 | 28.7347
2020-07-24 14:45:00 | 5.21 | 338.54 | 5.546 | 295.053 | 6.409 | 331.092 | 6.697 | 296.561 | 20.3 | 881 | 100 | 31.3413
2020-07-24 15:00:00 | 5.6414 | 340.45 | 6.1271 | 332.1636 | 6.8571 | 332.9586 | 7.425 | 333.8621 | 20.2714 | 881 | 100 | 34.5193
2020-07-24 15:15:00 | 5.914 | 340.02 | 6.374 | 334.672 | 6.988 | 332.538 | 7.552 | 336.384 | 20.2 | 881 | 100 | 36.7547
2020-07-24 15:30:00 | 6.095 | 338.92 | 6.596 | 329.419 | 7.046 | 331.463 | 7.717 | 331.104 | 20.1 | 881 | 100 | 38.9893
2020-07-24 15:45:00 | 5.804 | 342.39 | 6.385 | 324.247 | 7.026 | 334.985 | 7.771 | 327.074 | 20.1 | 881 | 100 | 36.3293
2020-07-24 16:00:00 | 5.866 | 340.4 | 6.196 | 324.237 | 7.049 | 332.91 | 7.332 | 325.894 | 20.09 | 881 | 100 | 33.4
2020-07-24 16:15:00 | 5.743 | 340.26 | 6.155 | 325.782 | 6.86 | 332.775 | 7.318 | 327.448 | 20.1 | 881 | 100 | 34.6587
2020-07-24 16:30:00 | 5.872 | 341.28 | 6.374 | 329.136 | 7.122 | 333.77 | 7.716 | 330.82 | 20.1 | 880.2 | 100 | 37.2773
2020-07-24 16:45:00 | 5.983 | 336.06 | 6.421 | 325.459 | 7.277 | 328.667 | 7.731 | 327.123 | 20.01 | 880 | 100 | 35.1273
2020-07-24 17:00:00 | 6.211 | 338.87 | 6.665 | 325.332 | 7.459 | 331.416 | 7.954 | 326.994 | 19.97 | 880 | 100 | 37.1507
2020-07-24 17:15:00 | 6.207 | 337.53 | 6.74 | 332.031 | 7.409 | 330.103 | 8.072 | 333.728 | 19.89 | 880.4 | 100 | 39.2373
2020-07-24 17:30:00 | 6.496 | 337.6533 | 6.9967 | 328.588 | 7.586 | 330.2247 | 8.2167 | 330.2687 | 19.9133 | 880.0667 | 100 | 40.5093
2020-07-24 17:45:00 | 6.327 | 337.6 | 6.881 | 325.842 | 7.386 | 330.173 | 8.125 | 327.507 | 19.91 | 880 | 100 | 41.25
2020-07-24 18:00:00 | 6.588 | 339.67 | 7.075 | 330.037 | 7.748 | 332.197 | 8.332 | 331.723 | 19.88 | 880 | 100 | 41.524
2020-07-24 18:15:00 | 6.424 | 336.51 | 6.948 | 324.139 | 7.583 | 329.107 | 8.238 | 325.794 | 19.87 | 880 | 100 | 42.458
2020-07-24 18:30:00 | 6.422 | 337.9133 | 6.9407 | 321.4033 | 7.646 | 330.48 | 8.272 | 323.046 | 19.9067 | 880 | 100 | 41.43
2020-07-24 18:45:00 | 6.58 | 337.38 | 7.096 | 320.08 | 7.78 | 329.958 | 8.412 | 321.714 | 19.9 | 880 | 100 | 39.8247
2020-07-24 19:00:00 | 6.793 | 342.33 | 7.306 | 326.741 | 7.909 | 334.798 | 8.559 | 328.41 | 19.83 | 880 | 100 | 41.4993
2020-07-24 19:15:00 | 6.394 | 339.09 | 6.912 | 322.271 | 7.639 | 331.63 | 8.261 | 323.919 | 19.87 | 880 | 100 | 39.662
2020-07-24 19:30:00 | 6.406 | 335.6933 | 6.916 | 321.462 | 7.5907 | 328.3093 | 8.2133 | 323.106 | 19.9 | 880.2667 | 100 | 39.2973
2020-07-24 19:45:00 | 6.354 | 337.88 | 6.888 | 322.604 | 7.472 | 330.446 | 8.162 | 324.252 | 19.9 | 881 | 100 | 40.1447
2020-07-24 20:00:00 | 6.499 | 336.42 | 7.008 | 322.692 | 7.638 | 329.02 | 8.273 | 324.341 | 20.07 | 881 | 100 | 41.8333
2020-07-24 20:15:00 | 6.924 | 341.93 | 7.466 | 323.17 | 8.039 | 334.407 | 8.748 | 324.823 | 20.02 | 881 | 100 | 45.0733
2020-07-24 20:30:00 | 7.009 | 341.06 | 7.609 | 326.946 | 8.184 | 333.557 | 8.989 | 328.617 | 20.06 | 881 | 100 | 45.1293
2020-07-24 20:45:00 | 6.861 | 340.41 | 7.43 | 327.678 | 8.024 | 333.322 | 8.797 | 329.355 | 19.98 | 881 | 100 | 45.5153
2020-07-24 21:00:00 | 7.358 | 336.2 | 7.9667 | 324.3747 | 8.4727 | 328.8047 | 9.3033 | 326.036 | 20.04 | 881 | 100 | 46.4647
2020-07-24 21:15:00 | 7.179 | 338.46 | 7.786 | 327.64 | 8.119 | 331.013 | 8.998 | 329.314 | 19.99 | 881 | 100 | 47.088
2020-07-24 21:30:00 | 7.55 | 343 | 8.215 | 323.169 | 8.592 | 335.457 | 9.553 | 324.821 | 19.95 | 881 | 100 | 46.764
2020-07-24 21:45:00 | 7.812 | 342.3 | 8.46 | 328.0987 | 8.842 | 334.7693 | 9.7713 | 329.7773 | 19.9 | 881.6 | 100 | 46.5167
2020-07-24 22:00:00 | 7.6707 | 340.06 | 8.272 | 326.9647 | 8.576 | 332.58 | 9.4547 | 328.6367 | 19.8667 | 882 | 100 | 47.2233
2020-07-24 22:15:00 | 7.696 | 343.18 | 8.306 | 321.822 | 8.592 | 335.628 | 9.494 | 323.468 | 19.92 | 882 | 100 | 48.516
2020-07-24 22:30:00 | 7.662 | 343.48 | 8.251 | 322.827 | 8.703 | 335.924 | 9.515 | 324.479 | 19.9 | 882 | 100 | 48.8407
2020-07-24 22:45:00 | 7.658 | 346.17 | 8.237 | 326.642 | 8.761 | 338.555 | 9.536 | 328.311 | 20.07 | 882 | 100 | 48.6787
2020-07-24 23:00:00 | 7.232 | 341.21 | 7.861 | 321.839 | 8.257 | 333.704 | 9.153 | 323.486 | 20.09 | 882 | 100 | 47.5253
2020-07-24 23:15:00 | 7.7973 | 338.44 | 8.404 | 323.1193 | 8.944 | 330.9947 | 9.766 | 324.7707 | 20.0133 | 882 | 100 | 48.782
2020-07-24 23:30:00 | 7.608 | 342.42 | 8.234 | 315.228 | 8.62 | 334.886 | 9.51 | 316.84 | 20 | 882 | 100 | 49.3753
2020-07-24 23:45:00 | 7.978 | 343.91 | 8.64 | 326.536 | 8.953 | 336.345 | 9.924 | 328.204 | 20.09 | 882 | 100 | 50.0067