## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-25 00:00:00 | 8.238 | 340.48 | 8.864 | 325.204 | 9.09 | 332.99 | 10.036 | 326.866 | 20.08 | 882 | 100 | 49.5313
2020-07-25 00:15:00 | 8.088 | 339.79 | 8.749 | 323.854 | 8.962 | 332.313 | 9.959 | 325.511 | 20.23 | 882 | 100 | 48.15
2020-07-25 00:30:00 | 8.01 | 335.12 | 8.68 | 323.446 | 8.958 | 327.746 | 9.954 | 325.1 | 20.32 | 882 | 100 | 48.7333
2020-07-25 00:45:00 | 8.001 | 344.34 | 8.68 | 320.235 | 9.141 | 336.764 | 10.099 | 321.875 | 20.3 | 882 | 100 | 48.598
2020-07-25 01:00:00 | 7.953 | 304.69 | 8.603 | 321.586 | 8.983 | 297.985 | 9.924 | 323.23 | 20.28 | 882 | 100 | 48.4627
2020-07-25 01:15:00 | 7.839 | 342.45 | 8.461 | 320.94 | 8.647 | 334.916 | 9.595 | 322.582 | 20.27 | 882 | 100 | 48.7433
2020-07-25 01:30:00 | 8.1293 | 341.28 | 8.8007 | 323.6653 | 9.0313 | 333.7727 | 10.0507 | 325.3187 | 20.1867 | 881.0667 | 100 | 49.9407
2020-07-25 01:45:00 | 8.566 | 343.96 | 9.264 | 321.88 | 9.45 | 336.392 | 10.514 | 323.524 | 20.14 | 881 | 100 | 50.3913
2020-07-25 02:00:00 | 8.135 | 336.84 | 8.777 | 320.539 | 8.865 | 329.429 | 9.869 | 322.178 | 20.17 | 881 | 100 | 48.9147
2020-07-25 02:15:00 | 7.834 | 337.02 | 8.402 | 326.338 | 8.755 | 329.606 | 9.566 | 328.007 | 20.22 | 881 | 100 | 46.5887
2020-07-25 02:30:00 | 7.0227 | 338.7067 | 7.6393 | 322.7987 | 7.9407 | 331.2547 | 8.8453 | 324.4507 | 20.0467 | 881 | 100 | 41.5307
2020-07-25 02:45:00 | 8.194 | 342.59 | 8.818 | 330.398 | 9.089 | 335.054 | 10.008 | 332.086 | 19.94 | 881 | 100 | 49.894
2020-07-25 03:00:00 | 7.7 | 344.88 | 8.264 | 329.839 | 8.802 | 337.293 | 9.55 | 331.526 | 19.85 | 881 | 100 | 48.024
2020-07-25 03:15:00 | 8.052 | 345.62 | 8.748 | 333.34 | 9.232 | 338.016 | 10.21 | 335.046 | 19.86 | 881 | 100 | 48.3913
2020-07-25 03:30:00 | 7.978 | 340.12 | 8.556 | 325.713 | 9.096 | 332.637 | 9.874 | 327.379 | 19.79 | 881 | 100 | 49.8033
2020-07-25 03:45:00 | 8.041 | 346.64 | 8.677 | 323.601 | 8.954 | 339.014 | 9.897 | 325.256 | 19.85 | 881 | 100 | 48.66
2020-07-25 04:00:00 | 8.182 | 340.7067 | 8.8587 | 326.2667 | 9.05 | 333.2107 | 10.0773 | 327.9347 | 19.8267 | 881 | 100 | 51.1887
2020-07-25 04:15:00 | 8.78 | 338.7 | 9.436 | 326.888 | 9.618 | 331.248 | 10.628 | 328.556 | 19.82 | 881 | 100 | 51.6013
2020-07-25 04:30:00 | 8.539 | 342.8 | 9.24 | 326.437 | 9.539 | 335.258 | 10.585 | 328.105 | 19.77 | 881 | 100 | 51.1327
2020-07-25 04:45:00 | 7.958 | 337.33 | 8.586 | 332.1 | 8.948 | 329.908 | 9.849 | 333.797 | 19.78 | 881 | 100 | 48.638
2020-07-25 05:00:00 | 8.354 | 347.62 | 9.026 | 328.686 | 9.25 | 339.972 | 10.268 | 330.366 | 19.8 | 881 | 100 | 48.4233
2020-07-25 05:15:00 | 8.058 | 341.08 | 8.698 | 328.785 | 9.081 | 333.577 | 9.993 | 330.464 | 19.88 | 881 | 100 | 48.44
2020-07-25 05:30:00 | 7.45 | 342.3 | 8.047 | 322.067 | 8.453 | 334.77 | 9.294 | 323.712 | 19.85 | 881 | 100 | 47.1353
2020-07-25 05:45:00 | 7.4093 | 340.1267 | 8.0007 | 321.2987 | 8.1753 | 332.644 | 9.0773 | 322.9427 | 19.9067 | 881 | 100 | 45.61
2020-07-25 06:00:00 | 7.66 | 339.54 | 8.264 | 328.53 | 8.55 | 332.07 | 9.44 | 330.21 | 19.9 | 881 | 100 | 46.0267
2020-07-25 06:15:00 | 7.545 | 343 | 8.211 | 325.311 | 8.581 | 335.455 | 9.542 | 326.975 | 19.9 | 881 | 100 | 46.3047
2020-07-25 06:30:00 | 7.528 | 347.27 | 8.115 | 325.664 | 8.305 | 339.629 | 9.193 | 327.331 | 19.9 | 881 | 100 | 47.418
2020-07-25 06:45:00 | 7.358 | 347.8133 | 7.9313 | 330.2307 | 8.16 | 340.1607 | 9.0147 | 331.9193 | 19.8333 | 881 | 100 | 47.7327
2020-07-25 07:00:00 | 8.175 | 345.41 | 8.776 | 329.782 | 8.809 | 337.81 | 9.768 | 331.47 | 19.87 | 881 | 100 | 49.9393
2020-07-25 07:15:00 | 7.974 | 348.29 | 8.544 | 331.278 | 8.948 | 340.626 | 9.758 | 332.973 | 19.85 | 881 | 100 | 50.0527
2020-07-25 07:30:00 | 7.886 | 345.68 | 8.504 | 332.833 | 8.757 | 338.076 | 9.679 | 334.535 | 19.8 | 881 | 100 | 49.5247
2020-07-25 07:45:00 | 8.0307 | 343.72 | 8.6153 | 329.93 | 8.9753 | 336.1587 | 9.8073 | 331.6173 | 19.7867 | 882 | 100 | 49.1333
2020-07-25 08:00:00 | 8.289 | 344.52 | 8.93 | 330.254 | 9.325 | 336.942 | 10.25 | 331.94 | 19.76 | 882 | 100 | 51.55
2020-07-25 08:15:00 | 8.144 | 343.33 | 8.727 | 325.194 | 9.159 | 335.776 | 9.974 | 326.857 | 19.79 | 881.4 | 100 | 49.256
2020-07-25 08:30:00 | 8.0233 | 343 | 8.6647 | 324.9967 | 9.0347 | 335.8573 | 9.954 | 326.658 | 19.82 | 882 | 100 | 48.9973
2020-07-25 08:45:00 | 7.888 | 339.24 | 8.564 | 327.334 | 8.782 | 331.774 | 9.802 | 329.008 | 19.9 | 882 | 100 | 47.8407
2020-07-25 09:00:00 | 8.207 | 338.2 | 8.893 | 327.884 | 8.762 | 330.76 | 9.908 | 329.562 | 19.84 | 882 | 100 | 48.386
2020-07-25 09:15:00 | 8.113 | 340.93 | 8.721 | 325.3 | 9.008 | 333.43 | 9.901 | 326.966 | 20.13 | 882 | 100 | 48.2753
2020-07-25 09:30:00 | 8.34 | 343.31 | 8.928 | 328.081 | 9.055 | 335.758 | 9.961 | 329.757 | 20.34 | 882 | 100 | 50.5913
2020-07-25 09:45:00 | 8.132 | 349 | 8.758 | 331.954 | 8.798 | 341.324 | 9.794 | 333.65 | 20.24 | 882 | 100 | 51.022
2020-07-25 10:00:00 | 8.203 | 347.09 | 8.819 | 331.229 | 8.7 | 339.454 | 9.729 | 332.924 | 20.11 | 882 | 100 | 52.7927
2020-07-25 10:15:00 | 8.202 | 340.57 | 8.769 | 325.752 | 9.012 | 333.077 | 9.856 | 327.418 | 19.93 | 882 | 100 | 52.9227
2020-07-25 10:30:00 | 8.2013 | 343.48 | 8.7787 | 323.5867 | 8.936 | 335.9227 | 9.826 | 325.242 | 19.9933 | 882.2667 | 100 | 52.426
2020-07-25 10:45:00 | 7.891 | 345.73 | 8.487 | 321.302 | 8.483 | 338.123 | 9.441 | 322.945 | 19.98 | 883 | 100 | 51.6267
2020-07-25 11:00:00 | 8.004 | 349.53 | 8.645 | 320.45 | 8.851 | 341.84 | 9.817 | 322.09 | 20.03 | 883 | 100 | 51.736
2020-07-25 11:15:00 | 7.4993 | 351.7067 | 8.126 | 321.442 | 8.1727 | 343.9687 | 9.1687 | 323.086 | 20.0867 | 883 | 100 | 51.8427
2020-07-25 11:30:00 | 7.808 | 345.56 | 8.364 | 321.869 | 8.449 | 337.957 | 9.317 | 323.515 | 20.16 | 883 | 100 | 56.7833
2020-07-25 11:45:00 | 7.583 | 352.11 | 8.113 | 331.21 | 8.158 | 344.365 | 9.002 | 332.903 | 20.23 | 883 | 100 | 51.352
2020-07-25 12:00:00 | 6.281 | 348.35 | 6.681 | 330.554 | 7.035 | 340.686 | 7.581 | 332.245 | 20.28 | 883 | 100 | 36.806
2020-07-25 12:15:00 | 4.7887 | 300.62 | 4.9373 | 314.838 | 5.4607 | 294.006 | 5.5467 | 316.4467 | 20.4 | 883 | 100 | 22.988
2020-07-25 12:30:00 | 3.62 | 87 | 3.556 | 137.586 | 4.112 | 85.084 | 3.856 | 138.288 | 20.4 | 883.8 | 100 | 14.8567
2020-07-25 12:45:00 | 5.694 | 78.06 | 5.989 | 174.465 | 5.947 | 76.342 | 6.436 | 175.358 | 20.41 | 884 | 100 | 36.1413
2020-07-25 13:00:00 | 8.161 | 313.41 | 8.805 | 335.884 | 9.135 | 306.515 | 10.073 | 337.601 | 20.34 | 884 | 100 | 51.9113
2020-07-25 13:15:00 | 9.53 | 346.84 | 10.334 | 336.41 | 10.764 | 339.208 | 11.946 | 338.13 | 20.22 | 883 | 100 | 60.1513
2020-07-25 13:30:00 | 8.944 | 350.67 | 9.648 | 298.623 | 10.023 | 342.956 | 11.045 | 300.15 | 20.35 | 883 | 100 | 60.8573
2020-07-25 13:45:00 | 9.314 | 346.73 | 10.088 | 336.842 | 10.852 | 339.104 | 11.872 | 338.564 | 20.46 | 883 | 100 | 63.3533
2020-07-25 14:00:00 | 9.0113 | 298.78 | 9.6233 | 311.024 | 10.3933 | 292.2067 | 11.1533 | 312.6147 | 20.34 | 882 | 100 | 62.4727
2020-07-25 14:15:00 | 8.908 | 278.2 | 9.412 | 328.042 | 10.364 | 272.08 | 10.91 | 329.72 | 20.34 | 882.6 | 100 | 60.8833
2020-07-25 14:30:00 | 9.058 | 308.07 | 9.708 | 303.542 | 10.433 | 301.292 | 11.268 | 305.094 | 20.17 | 883 | 100 | 62.0067
2020-07-25 14:45:00 | 9.228 | 351.72 | 10.014 | 335.476 | 10.656 | 343.982 | 11.736 | 337.186 | 20.16 | 883 | 100 | 60.8847
2020-07-25 15:00:00 | 8.94 | 341.84 | 9.497 | 329.879 | 10.118 | 334.319 | 10.832 | 331.566 | 20.7 | 883 | 100 | 61.4707
2020-07-25 15:15:00 | 9.198 | 311.54 | 9.69 | 328.119 | 10.346 | 304.687 | 10.956 | 329.796 | 20.91 | 883 | 100 | 61.704
2020-07-25 15:30:00 | 9.245 | 309.8 | 9.86 | 327.375 | 10.654 | 302.984 | 11.415 | 329.05 | 20.91 | 883 | 100 | 60.4747
2020-07-25 15:45:00 | 9.692 | 349.62 | 10.394 | 329.212 | 10.888 | 341.93 | 11.874 | 330.9 | 20.96 | 883 | 100 | 62.4473
2020-07-25 16:00:00 | 9.741 | 280.07 | 10.372 | 327.972 | 10.906 | 273.908 | 11.762 | 329.649 | 21.03 | 883 | 100 | 63.0393
2020-07-25 16:15:00 | 8.709 | 248.61 | 9.302 | 300.783 | 10.194 | 243.141 | 10.887 | 302.321 | 20.94 | 883 | 100 | 62
2020-07-25 16:30:00 | 8.6307 | 299.5533 | 9.1547 | 290.1733 | 9.96 | 292.9613 | 10.5713 | 291.6567 | 21.1 | 883 | 100 | 62.794
2020-07-25 16:45:00 | 8.74 | 278.25 | 9.348 | 303.755 | 10.123 | 272.128 | 10.876 | 305.31 | 21.31 | 883 | 100 | 62.9867
2020-07-25 17:00:00 | 8.623 | 280.48 | 9.244 | 337.478 | 9.668 | 274.31 | 10.547 | 339.203 | 21.54 | 883 | 100 | 62.2953
2020-07-25 17:15:00 | 8.63 | 240.98 | 9.205 | 272.675 | 9.551 | 235.678 | 10.378 | 274.071 | 21.69 | 883 | 100 | 60.75
2020-07-25 17:30:00 | 8.822 | 346.44 | 9.456 | 330.976 | 9.874 | 338.82 | 10.776 | 332.668 | 21.84 | 883 | 99.8 | 59.676
2020-07-25 17:45:00 | 7.869 | 284.64 | 8.543 | 302.387 | 9.137 | 278.378 | 10.047 | 303.932 | 21.77 | 882 | 97.12 | 57.882
2020-07-25 18:00:00 | 7.865 | 314.92 | 8.408 | 304.98 | 9.012 | 307.992 | 9.72 | 306.54 | 21.7 | 882.7 | 94.62 | 58.5613
2020-07-25 18:15:00 | 8.584 | 353.58 | 9.096 | 271.004 | 9.666 | 345.8 | 10.32 | 272.39 | 21.92 | 882 | 94.18 | 60.0993
2020-07-25 18:30:00 | 8.829 | 345.53 | 9.303 | 306.729 | 9.8 | 337.928 | 10.412 | 308.298 | 22.42 | 882 | 94.43 | 61.542
2020-07-25 18:45:00 | 8.544 | 206.52 | 9.012 | 345.156 | 9.57 | 201.978 | 10.158 | 346.922 | 22.56 | 882 | 94.32 | 59.9453
2020-07-25 19:00:00 | 7.854 | 315.23 | 8.199 | 310.017 | 8.649 | 308.297 | 9.075 | 311.601 | 22.5 | 882 | 95.31 | 58.0293
2020-07-25 19:15:00 | 7.389 | 312.81 | 7.649 | 308.08 | 7.934 | 305.928 | 8.276 | 309.656 | 22.45 | 882.8 | 94.27 | 57.2813
2020-07-25 19:30:00 | 7.0653 | 255.8133 | 7.4873 | 338.374 | 7.822 | 250.1847 | 8.406 | 340.1033 | 22.5 | 883 | 92.16 | 55.5
2020-07-25 19:45:00 | 7.114 | 275.4 | 7.534 | 342.456 | 7.86 | 269.34 | 8.444 | 344.208 | 22.24 | 883 | 92.38 | 53.5947
2020-07-25 20:00:00 | 6.635 | 249.04 | 7.018 | 302.017 | 7.538 | 243.561 | 8.004 | 303.56 | 22.22 | 883 | 91.21 | 53.974
2020-07-25 20:15:00 | 7.002 | 320.8133 | 7.4407 | 310.562 | 7.924 | 313.7567 | 8.488 | 312.148 | 22.18 | 882.8 | 90.0267 | 58.172
2020-07-25 20:30:00 | 7.01 | 346.6 | 7.578 | 333.304 | 7.932 | 338.974 | 8.734 | 335.008 | 22.22 | 882 | 90.8 | 60.5667
2020-07-25 20:45:00 | 7.771 | 312.03 | 8.326 | 330.957 | 8.916 | 305.165 | 9.63 | 332.648 | 22.31 | 882 | 88.29 | 60.452
2020-07-25 21:00:00 | 7.932 | 307.1 | 8.498 | 329.188 | 9.3407 | 300.3433 | 10.0073 | 330.872 | 21.9867 | 882 | 88.4 | 60.124
2020-07-25 21:15:00 | 7.144 | 239.61 | 7.466 | 325.03 | 8.154 | 234.337 | 8.477 | 326.692 | 21.97 | 882 | 88.32 | 58.7887
2020-07-25 21:30:00 | 6.627 | 241.6 | 6.893 | 323.367 | 7.515 | 236.284 | 7.764 | 325.021 | 22.27 | 882 | 85.76 | 54.3007
2020-07-25 21:45:00 | 6.242 | 310.39 | 6.566 | 334.416 | 6.8 | 303.562 | 7.257 | 336.128 | 22.66 | 882.8 | 86.38 | 48.534
2020-07-25 22:00:00 | 6.262 | 347.4 | 6.382 | 271.472 | 6.688 | 339.758 | 6.794 | 272.86 | 22.9 | 883 | 87.44 | 43.606
2020-07-25 22:15:00 | 6.104 | 244.61 | 6.3 | 246.964 | 6.727 | 239.227 | 6.922 | 248.228 | 23 | 883 | 88.4 | 42.3847
2020-07-25 22:30:00 | 5.996 | 277.78 | 6.286 | 209.369 | 6.628 | 271.669 | 7.001 | 210.44 | 22.97 | 883 | 88.79 | 40.5107
2020-07-25 22:45:00 | 5.692 | 179.37 | 5.921 | 310.799 | 6.135 | 175.423 | 6.45 | 312.387 | 23.3 | 883 | 87.34 | 35.7807
2020-07-25 23:00:00 | 5.5233 | 238.1533 | 5.684 | 318.932 | 6.1927 | 232.914 | 6.3067 | 320.5627 | 23.2867 | 883 | 86.72 | 36.5027
2020-07-25 23:15:00 | 5.658 | 247.57 | 5.787 | 207.591 | 6.195 | 242.124 | 6.282 | 208.653 | 23.53 | 883 | 86.54 | 39.1667
2020-07-25 23:30:00 | 5.791 | 279.12 | 6.068 | 344.208 | 6.33 | 272.98 | 6.699 | 345.966 | 23.31 | 883 | 87.82 | 40.1573
2020-07-25 23:45:00 | 6.3353 | 278.9733 | 6.6873 | 342.62 | 6.994 | 272.836 | 7.4713 | 344.3707 | 23.0867 | 883 | 89.2533 | 46.4213