## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-26 00:00:00 | 6.641 | 249.44 | 7.168 | 342.202 | 7.563 | 243.953 | 8.299 | 343.952 | 22.86 | 883 | 90.69 | 47.3987
2020-07-26 00:15:00 | 6.276 | 73.92 | 6.713 | 343.564 | 7.207 | 72.294 | 7.766 | 345.319 | 22.84 | 883 | 91.05 | 44.74
2020-07-26 00:30:00 | 5.7593 | 256.9733 | 6.0533 | 336.6547 | 6.638 | 251.3207 | 6.9387 | 338.3747 | 22.8 | 883 | 90.4267 | 38.2367
2020-07-26 00:45:00 | 6.1633 | 238.6222 | 6.4844 | 335.8889 | 7.0267 | 233.3711 | 7.3878 | 337.6056 | 23.0444 | 883 | 89.1778 | 39.59
2020-07-26 01:00:00 | 6.105 | 279.68 | 6.439 | 333.302 | 7.08 | 273.528 | 7.426 | 335.005 | 23.09 | 883 | 90.44 | 39.622
2020-07-26 01:15:00 | 6.5227 | 348.1133 | 6.9067 | 338.1413 | 7.1307 | 340.4547 | 7.6827 | 339.87 | 22.8933 | 882.8 | 90.12 | 44.8033
2020-07-26 01:30:00 | 6.64 | 284.14 | 7.098 | 207.786 | 7.494 | 277.888 | 8.116 | 208.846 | 23.02 | 882 | 91.24 | 48.74
2020-07-26 01:45:00 | 6.837 | 178.55 | 7.198 | 308.656 | 7.602 | 174.622 | 8.061 | 310.234 | 22.97 | 882 | 94.35 | 48.641
2020-07-26 02:00:00 | 5.8227 | 233.98 | 6.0533 | 337.6373 | 6.5127 | 228.832 | 6.7493 | 339.3653 | 22.6 | 882 | 93.78 | 35.7133
2020-07-26 02:15:00 | 5.43 | 314.29 | 5.69 | 334.085 | 6.216 | 307.376 | 6.482 | 335.793 | 22.4 | 882 | 93.58 | 31.092
2020-07-26 02:30:00 | 5.742 | 343.5667 | 6.1193 | 319.546 | 6.7347 | 336.01 | 7.16 | 321.1793 | 21.7667 | 882 | 92.8733 | 34.64
2020-07-26 02:45:00 | 6.034 | 356.16 | 6.434 | 328.666 | 7.046 | 348.326 | 7.516 | 330.348 | 21.66 | 882 | 93.12 | 39.568
2020-07-26 03:00:00 | 6.947 | 344.49 | 7.425 | 318.789 | 7.928 | 336.912 | 8.551 | 320.418 | 21.61 | 882 | 94.59 | 47.506
2020-07-26 03:15:00 | 7.501 | 349.52 | 8.05 | 323.533 | 8.646 | 341.83 | 9.358 | 325.185 | 21.44 | 882 | 92.85 | 47.915
2020-07-26 03:30:00 | 7.1353 | 352.48 | 7.78 | 320.0333 | 8.3773 | 344.7253 | 9.242 | 321.6687 | 21.36 | 881.5333 | 94.1533 | 44.5293
2020-07-26 03:45:00 | 6.7067 | 345.3667 | 7.27 | 314.8511 | 7.6078 | 337.7689 | 8.4089 | 316.4611 | 21.4444 | 882 | 93.9889 | 41.149
2020-07-26 04:00:00 | 7.179 | 342.2 | 7.688 | 320.462 | 7.899 | 334.67 | 8.658 | 322.099 | 21.66 | 881.3 | 93.89 | 44.01
2020-07-26 04:15:00 | 7.32 | 340.61 | 7.835 | 325.488 | 8.101 | 333.116 | 8.856 | 327.153 | 21.99 | 882 | 94.57 | 44.716
2020-07-26 04:30:00 | 7.1307 | 338.2733 | 7.6547 | 322.6807 | 8.0687 | 330.8307 | 8.788 | 324.3313 | 21.8267 | 882 | 96.7667 | 44.3333
2020-07-26 04:45:00 | 7.344 | 338.56 | 7.888 | 326.634 | 8.378 | 331.112 | 9.12 | 328.302 | 21.84 | 882 | 97.2 | 43.544
2020-07-26 05:00:00 | 6.899 | 341.5 | 7.498 | 325.166 | 8.092 | 333.987 | 8.881 | 326.827 | 21.74 | 881.3 | 96.9 | 43.38
2020-07-26 05:15:00 | 6.869 | 339.73 | 7.419 | 325.801 | 7.766 | 332.255 | 8.547 | 327.466 | 21.61 | 882 | 97.67 | 41.157
2020-07-26 05:30:00 | 6.8893 | 345.84 | 7.422 | 325.446 | 7.7647 | 338.2327 | 8.5213 | 327.11 | 21.6667 | 882 | 98.8 | 40.8127
2020-07-26 05:45:00 | 6.81 | 345.34 | 7.35 | 323.876 | 7.678 | 337.74 | 8.448 | 325.53 | 21.5 | 881.4 | 99.3 | 40.578
2020-07-26 06:00:00 | 6.696 | 345.8 | 7.284 | 324.098 | 7.642 | 338.19 | 8.483 | 325.756 | 21.43 | 881 | 99.73 | 39.505
2020-07-26 06:15:00 | 6.876 | 342.45 | 7.465 | 319.229 | 7.676 | 334.916 | 8.557 | 320.861 | 21.5 | 881 | 100 | 41.161
2020-07-26 06:30:00 | 6.716 | 345.5733 | 7.23 | 324.6567 | 7.4607 | 337.972 | 8.2167 | 326.3173 | 21.34 | 881 | 100 | 40.9507
2020-07-26 06:45:00 | 6.695 | 351.9 | 7.217 | 324.041 | 7.647 | 344.157 | 8.36 | 325.699 | 21.31 | 881 | 99.48 | 40.331
2020-07-26 07:00:00 | 6.737 | 345.93 | 7.228 | 324.43 | 7.701 | 338.32 | 8.356 | 326.092 | 21.65 | 881.3 | 98.47 | 40.84
2020-07-26 07:15:00 | 6.5787 | 345.46 | 7.0853 | 325.8633 | 7.2953 | 337.8607 | 8.048 | 327.5287 | 21.4067 | 882 | 97.2067 | 41.0293
2020-07-26 07:30:00 | 6.468 | 345.02 | 6.934 | 323.874 | 7.28 | 337.43 | 7.93 | 325.53 | 21.5 | 882 | 95.28 | 40.794
2020-07-26 07:45:00 | 6.753 | 347.22 | 7.277 | 326.026 | 7.464 | 339.582 | 8.251 | 327.694 | 21.91 | 882 | 93.38 | 41.524
2020-07-26 08:00:00 | 6.779 | 343.49 | 7.33 | 321.723 | 7.509 | 335.932 | 8.348 | 323.366 | 22.03 | 883 | 93.85 | 43.059
2020-07-26 08:15:00 | 7.036 | 348.84 | 7.578 | 317.79 | 7.928 | 341.164 | 8.7 | 319.416 | 22.12 | 883 | 91.5 | 42.39
2020-07-26 08:30:00 | 6.713 | 343.22 | 7.254 | 319.757 | 7.576 | 335.669 | 8.349 | 321.392 | 22.76 | 883.3 | 88.96 | 40.136
2020-07-26 08:45:00 | 6.594 | 341.74 | 7.067 | 326.994 | 7.272 | 334.465 | 7.969 | 328.666 | 22.97 | 884 | 87.7 | 37.955
2020-07-26 09:00:00 | 6.3493 | 345.4467 | 6.8107 | 329.0193 | 7.1967 | 337.8467 | 7.826 | 330.7013 | 23.04 | 884 | 86.18 | 35.552
2020-07-26 09:15:00 | 6.448 | 345.3 | 6.87 | 330.486 | 7.346 | 337.704 | 7.892 | 332.174 | 23.16 | 884.6 | 85.4 | 35.058
2020-07-26 09:30:00 | 5.929 | 342.5 | 6.309 | 330.291 | 6.803 | 334.964 | 7.275 | 331.98 | 23.33 | 885 | 81.75 | 33.661
2020-07-26 09:45:00 | 5.655 | 341.46 | 6.011 | 325.965 | 6.129 | 333.947 | 6.674 | 327.636 | 23.56 | 885 | 79.898 | 29.036
2020-07-26 10:00:00 | 5.392 | 341.64 | 5.719 | 319.658 | 5.837 | 334.124 | 6.328 | 321.295 | 23.93 | 885 | 77.939 | 25.13
2020-07-26 10:15:00 | 5.248 | 340.08 | 5.596 | 321.978 | 5.65 | 332.596 | 6.196 | 323.624 | 24.06 | 885 | 76.568 | 22.002
2020-07-26 10:30:00 | 5.6811 | 339.8333 | 6.0467 | 326.8567 | 6.3633 | 332.3567 | 6.8622 | 328.5289 | 24.5333 | 885 | 72.93 | 24.2089
2020-07-26 10:45:00 | 5.637 | 341.78 | 6.06 | 324.46 | 6.392 | 334.262 | 6.973 | 326.12 | 24.81 | 885 | 71.514 | 24.077
2020-07-26 11:00:00 | 5.343 | 341.66 | 5.738 | 329.448 | 5.948 | 334.142 | 6.525 | 331.134 | 24.94 | 885 | 71.313 | 22.341
2020-07-26 11:15:00 | 5.032 | 345.5067 | 5.4873 | 307.8347 | 5.718 | 337.9047 | 6.3793 | 309.41 | 25.5533 | 885 | 68.2413 | 20.7293
2020-07-26 11:30:00 | 4.908 | 348.6 | 5.362 | 326.926 | 5.588 | 340.932 | 6.26 | 328.596 | 25.86 | 885 | 65.446 | 18.558
2020-07-26 11:45:00 | 4.525 | 343.61 | 4.921 | 299.404 | 5.048 | 336.049 | 5.65 | 300.936 | 26.33 | 885 | 65.248 | 14.093
2020-07-26 12:00:00 | 4.2007 | 335.6067 | 4.5507 | 326.5733 | 4.6807 | 328.222 | 5.2027 | 328.2453 | 26.8867 | 885 | 63.7393 | 11.112
2020-07-26 12:15:00 | 3.69 | 336.88 | 4.012 | 329.566 | 4.166 | 329.47 | 4.644 | 331.25 | 27.06 | 885 | 63.21 | 9.716
2020-07-26 12:30:00 | 4.016 | 335.86 | 4.375 | 300.167 | 4.492 | 328.471 | 5.036 | 301.703 | 27.45 | 885 | 61.379 | 9.27
2020-07-26 12:45:00 | 3.5913 | 304.8533 | 3.852 | 333.8707 | 4.1273 | 298.1467 | 4.4667 | 335.5767 | 27.7933 | 885 | 59.43 | 7.6353
2020-07-26 13:00:00 | 3.024 | 326.72 | 3.19 | 261.556 | 3.492 | 319.53 | 3.672 | 262.894 | 27.86 | 885 | 60.48 | 5.436
2020-07-26 13:15:00 | 3.114 | 323.78 | 3.399 | 296.958 | 3.396 | 316.657 | 3.854 | 298.479 | 28.48 | 885 | 57.534 | 4.882
2020-07-26 13:30:00 | 2.766 | 338.48 | 3.092 | 205.614 | 3.322 | 331.034 | 3.778 | 206.666 | 28.94 | 885 | 57.942 | 5.48
2020-07-26 13:45:00 | 2.865 | 271.03 | 3.113 | 264.441 | 3.212 | 265.068 | 3.58 | 265.794 | 29.13 | 884 | 57.895 | 4.433
2020-07-26 14:00:00 | 2.713 | 304.39 | 2.995 | 183.042 | 3.226 | 297.694 | 3.61 | 183.979 | 29.54 | 884 | 55.792 | 4.405
2020-07-26 14:15:00 | 2.865 | 311.9286 | 3.1357 | 177.8764 | 3.4479 | 305.0664 | 3.795 | 178.7871 | 30.0571 | 884 | 54.2175 | 4.9921
2020-07-26 14:30:00 | 2.944 | 329.08 | 3.008 | 327.514 | 3.62 | 321.84 | 3.542 | 329.186 | 30.06 | 884 | 50.364 | 5.226
2020-07-26 14:45:00 | 2.502 | 240.51 | 2.698 | 324.441 | 3.209 | 235.218 | 3.378 | 326.1 | 30.76 | 884 | 51.935 | 4.599
2020-07-26 15:00:00 | 2.9136 | 319.7286 | 3.0893 | 304.5207 | 3.3786 | 312.6943 | 3.58 | 306.0779 | 30.9357 | 884 | 50.615 | 4.8187
2020-07-26 15:15:00 | 2.814 | 329.3 | 3.102 | 324.616 | 3.166 | 322.056 | 3.618 | 326.278 | 31.18 | 884 | 51.27 | 5.702
2020-07-26 15:30:00 | 2.759 | 336.77 | 2.99 | 237.634 | 3.167 | 329.362 | 3.49 | 238.848 | 31.4 | 884 | 50.423 | 4.678
2020-07-26 15:45:00 | 3.299 | 308.88 | 3.565 | 235.846 | 3.839 | 302.085 | 4.189 | 237.051 | 31.64 | 884 | 48.666 | 6.487
2020-07-26 16:00:00 | 2.8853 | 338.8667 | 3.1673 | 271.6227 | 3.266 | 331.412 | 3.6913 | 273.0113 | 31.7933 | 884 | 48.6753 | 6.1827
2020-07-26 16:15:00 | 2.804 | 211.08 | 2.944 | 264.746 | 3.098 | 206.436 | 3.284 | 266.1 | 31.84 | 884 | 47.88 | 5.592
2020-07-26 16:30:00 | 2.844 | 304.23 | 3.075 | 303.758 | 3.174 | 297.537 | 3.518 | 305.309 | 31.97 | 884 | 46.721 | 3.638
2020-07-26 16:45:00 | 2.923 | 222.76 | 3.041 | 241.264 | 3.348 | 217.861 | 3.449 | 242.498 | 31.94 | 884 | 44.814 | 3.558
2020-07-26 17:00:00 | 2.649 | 280.49 | 2.888 | 328.176 | 3.11 | 274.319 | 3.427 | 329.854 | 32.05 | 884 | 46.685 | 3.626
2020-07-26 17:15:00 | 2.8713 | 276.6467 | 3.06 | 309.87 | 3.2073 | 270.5593 | 3.4667 | 311.454 | 32.04 | 884 | 46.296 | 4.1173
2020-07-26 17:30:00 | 2.856 | 208.98 | 2.98 | 319.608 | 3.404 | 204.382 | 3.472 | 321.244 | 32.18 | 884 | 45.656 | 5.166
2020-07-26 17:45:00 | 2.68 | 142.2 | 2.827 | 204.776 | 2.979 | 139.073 | 3.173 | 205.82 | 32.26 | 884 | 46.648 | 3.675
2020-07-26 18:00:00 | 2.703 | 142.41 | 2.789 | 309.595 | 2.87 | 139.278 | 2.984 | 311.178 | 32.42 | 884 | 46.173 | 2.823
2020-07-26 18:15:00 | 2.2507 | 172.2533 | 2.3673 | 266.8187 | 2.3827 | 168.464 | 2.5687 | 268.1827 | 32.4333 | 884 | 44.6433 | 1.4533
2020-07-26 18:30:00 | 1.794 | 23.3 | 1.912 | 273.858 | 1.902 | 22.786 | 2.096 | 275.258 | 32.46 | 884 | 45.84 | 0.664
2020-07-26 18:45:00 | 1.794 | 93.67 | 1.899 | 172.293 | 2.08 | 91.611 | 2.193 | 173.175 | 32.73 | 883.2 | 43.638 | 0.193
2020-07-26 19:00:00 | 1.371 | 57.28 | 1.455 | 33.272 | 1.545 | 56.02 | 1.654 | 33.441 | 32.77 | 883 | 43.789 | 0
2020-07-26 19:15:00 | 0.75467 | 96.18 | 0.862 | 80.9533 | 0.93267 | 94.0647 | 1.0813 | 81.3673 | 32.68 | 883 | 43.418 | 0
2020-07-26 19:30:00 | 1.004 | 129.52 | 1.044 | 118.006 | 1.196 | 126.67 | 1.212 | 118.61 | 32.22 | 883 | 44.104 | 0
2020-07-26 19:45:00 | 0.935 | 145.7 | 1.001 | 134.172 | 1.098 | 142.495 | 1.178 | 134.858 | 31.93 | 883 | 45.272 | 0
2020-07-26 20:00:00 | 1.136 | 146.91 | 1.22 | 142.113 | 1.33 | 143.678 | 1.432 | 142.839 | 31.71 | 882 | 44.288 | 0
2020-07-26 20:15:00 | 1.223 | 168.11 | 1.273 | 161.907 | 1.376 | 164.412 | 1.423 | 162.736 | 31.61 | 882 | 42.141 | 0
2020-07-26 20:30:00 | 1.44 | 161.68 | 1.4913 | 151.8713 | 1.6907 | 158.122 | 1.716 | 152.6467 | 31.1667 | 882 | 43.5573 | 0
2020-07-26 20:45:00 | 1.312 | 176.98 | 1.404 | 157.83 | 1.482 | 173.084 | 1.614 | 158.636 | 31.18 | 882 | 45.79 | 0
2020-07-26 21:00:00 | 1.717 | 191.93 | 1.819 | 170.857 | 1.694 | 187.707 | 1.9 | 171.73 | 31.02 | 882 | 44.794 | 0
2020-07-26 21:15:00 | 1.533 | 175.63 | 1.529 | 174.906 | 1.413 | 171.764 | 1.444 | 175.8 | 30.97 | 882 | 47.11 | 0
2020-07-26 21:30:00 | 1.605 | 171.29 | 1.691 | 174.349 | 1.678 | 167.522 | 1.822 | 175.24 | 30.46 | 882 | 48.413 | 0
2020-07-26 21:45:00 | 2.5673 | 131.2933 | 2.7093 | 125.85 | 2.928 | 128.4047 | 3.094 | 126.492 | 28.7733 | 882 | 51.5693 | 0.24
2020-07-26 22:00:00 | 2.9789 | 119.6889 | 3.1478 | 119.6111 | 3.4122 | 117.0567 | 3.6089 | 120.2211 | 28.4667 | 882 | 57.0337 | 5.0967
2020-07-26 22:15:00 | 2.52 | 111.41 | 2.737 | 113.154 | 3.015 | 108.959 | 3.282 | 113.735 | 27.74 | 882 | 59.34 | 4.533
2020-07-26 22:30:00 | 2.73 | 120.93 | 2.922 | 121.625 | 3.343 | 118.268 | 3.532 | 122.245 | 27.38 | 882.3 | 63.173 | 5.272
2020-07-26 22:45:00 | 3.192 | 112.86 | 3.3953 | 119.0027 | 3.562 | 110.3767 | 3.84 | 119.6107 | 27.2133 | 882.8 | 66.2467 | 6.9953
2020-07-26 23:00:00 | 3.312 | 120.6 | 3.468 | 118.22 | 3.722 | 117.948 | 3.9 | 118.826 | 27.22 | 882 | 66.154 | 7.596
2020-07-26 23:15:00 | 3.087 | 126.97 | 3.183 | 128.089 | 3.45 | 124.176 | 3.53 | 128.744 | 26.96 | 882 | 67.28 | 5.638
2020-07-26 23:30:00 | 2.961 | 121.06 | 3.054 | 129.438 | 3.235 | 118.396 | 3.335 | 130.099 | 26.83 | 882 | 67.817 | 4.606
2020-07-26 23:45:00 | 2.781 | 121.76 | 2.868 | 120.44 | 3.092 | 119.081 | 3.171 | 121.056 | 26.75 | 882 | 68.635 | 3.112