## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-27 00:00:00 | 2.5313 | 131.1533 | 2.604 | 127.5907 | 2.8427 | 128.2667 | 2.8953 | 128.2427 | 26.7133 | 882 | 69.408 | 1.666
2020-07-27 00:15:00 | 2.606 | 127.14 | 2.727 | 126.182 | 2.851 | 124.343 | 3.01 | 126.827 | 26.66 | 882 | 70.339 | 1.759
2020-07-27 00:30:00 | 2.557 | 125.53 | 2.684 | 124.03 | 2.71 | 122.769 | 2.908 | 124.664 | 26.45 | 882 | 70.795 | 1.519
2020-07-27 00:45:00 | 2.642 | 125.68 | 2.748 | 125.822 | 2.844 | 122.916 | 2.99 | 126.463 | 26.18 | 882 | 71.544 | 1.68
2020-07-27 01:00:00 | 2.6713 | 123.7067 | 2.76 | 125.516 | 2.7947 | 120.9867 | 2.926 | 126.1587 | 26.08 | 882 | 72.768 | 2.1047
2020-07-27 01:15:00 | 2.82 | 124.14 | 2.92 | 128.04 | 2.976 | 121.408 | 3.128 | 128.694 | 25.94 | 882 | 74.206 | 2.168
2020-07-27 01:30:00 | 2.173 | 133.4 | 2.248 | 136.538 | 2.313 | 130.465 | 2.419 | 137.236 | 25.69 | 881.7 | 72.411 | 0.672
2020-07-27 01:45:00 | 2.186 | 143.19 | 2.316 | 140.373 | 2.423 | 140.04 | 2.599 | 141.09 | 25.42 | 881 | 72.978 | 0.493
2020-07-27 02:00:00 | 2.04 | 144.69 | 2.153 | 150.396 | 2.331 | 141.506 | 2.462 | 151.166 | 25.41 | 881 | 76.474 | 0
2020-07-27 02:15:00 | 2.131 | 141.74 | 2.222 | 146.7 | 2.253 | 138.62 | 2.395 | 147.451 | 25.31 | 881 | 78.96 | 0.388
2020-07-27 02:30:00 | 2.023 | 140.1 | 2.186 | 139.161 | 2.069 | 137.018 | 2.37 | 139.871 | 24.83 | 881 | 80.96 | 0.106
2020-07-27 02:45:00 | 1.914 | 123.27 | 2.014 | 131.043 | 2.082 | 120.559 | 2.226 | 131.712 | 24.81 | 881 | 83.47 | 0
2020-07-27 03:00:00 | 1.51 | 135.22 | 1.5993 | 149.118 | 1.8133 | 132.2453 | 1.898 | 149.8813 | 24.8933 | 881 | 84.6267 | 0
2020-07-27 03:15:00 | 1.332 | 160 | 1.38 | 161.8 | 1.724 | 156.482 | 1.698 | 162.628 | 24.88 | 881 | 84.28 | 0
2020-07-27 03:30:00 | 0.933 | 135.93 | 1.013 | 175.346 | 1.32 | 132.94 | 1.355 | 176.242 | 24.91 | 881 | 84.45 | 0
2020-07-27 03:45:00 | 0.52 | 123.76 | 0.578 | 221.576 | 0.807 | 121.038 | 0.834 | 222.71 | 25.03 | 881 | 85.6 | 0
2020-07-27 04:00:00 | 0.648 | 143.62 | 0.689 | 133.418 | 0.969 | 140.461 | 0.953 | 134.101 | 24.8 | 881 | 86.48 | 0
2020-07-27 04:15:00 | 1.05 | 104.44 | 1.1667 | 128.6313 | 1.3093 | 102.1433 | 1.452 | 129.2907 | 24.72 | 881 | 87.0867 | 0
2020-07-27 04:30:00 | 0.83 | 103.34 | 0.946 | 131.266 | 0.958 | 101.066 | 1.144 | 131.938 | 24.72 | 881 | 86.7 | 0
2020-07-27 04:45:00 | 0.659 | 95.2 | 0.788 | 114.229 | 0.743 | 93.107 | 0.96 | 114.814 | 24.63 | 881 | 87.4 | 0
2020-07-27 05:00:00 | 0.64 | 91.33 | 0.673 | 82.982 | 0.741 | 89.321 | 0.779 | 83.408 | 24.48 | 881 | 85.8 | 0
2020-07-27 05:15:00 | 0.594 | 96.94 | 0.69 | 70.044 | 0.604 | 94.808 | 0.78 | 70.404 | 24.38 | 881 | 85.9 | 0
2020-07-27 05:30:00 | 0.588 | 79.76 | 0.687 | 117.937 | 1.082 | 78.005 | 1.122 | 118.539 | 24.51 | 881 | 87.33 | 0
2020-07-27 05:45:00 | 0.652 | 87.6 | 0.658 | 240.822 | 1.156 | 85.672 | 1.015 | 242.055 | 24.12 | 881 | 89.22 | 0
2020-07-27 06:00:00 | 0.591 | 191.92 | 0.588 | 317.254 | 0.906 | 187.696 | 0.81 | 318.876 | 23.88 | 881 | 92.74 | 0
2020-07-27 06:15:00 | 1.436 | 246.6667 | 1.4973 | 274.89 | 1.8887 | 241.24 | 1.8773 | 276.2953 | 23.5867 | 881 | 96.1133 | 0
2020-07-27 06:30:00 | 2.472 | 204.16 | 2.55 | 139.032 | 3.378 | 199.668 | 3.264 | 139.742 | 22.96 | 881 | 96.82 | 0.648
2020-07-27 06:45:00 | 2.922 | 312.33 | 2.984 | 332.636 | 3.574 | 305.459 | 3.506 | 334.338 | 22.69 | 881 | 94.1 | 2.364
2020-07-27 07:00:00 | 2.719 | 273.85 | 2.766 | 332.726 | 3.483 | 267.825 | 3.355 | 334.425 | 22.46 | 881.3 | 91.6 | 2.958
2020-07-27 07:15:00 | 3.072 | 187.7533 | 3.196 | 333.418 | 3.7387 | 183.624 | 3.7813 | 335.1233 | 22.3467 | 882 | 89.84 | 4.1073
2020-07-27 07:30:00 | 3.386 | 141.92 | 3.514 | 331.324 | 4.05 | 138.796 | 4.104 | 333.022 | 22.32 | 882 | 88.78 | 5.544
2020-07-27 07:45:00 | 2.355 | 313.78 | 2.425 | 308.902 | 2.736 | 306.877 | 2.76 | 310.482 | 22.53 | 882.8 | 88.45 | 0.906
2020-07-27 08:00:00 | 2.436 | 311.37 | 2.585 | 328.032 | 2.87 | 304.519 | 3.023 | 329.707 | 22.83 | 883 | 84.98 | 0.713
2020-07-27 08:15:00 | 2.6573 | 281.0333 | 2.7087 | 320.0467 | 3.19 | 274.8507 | 3.136 | 321.6833 | 22.9867 | 883 | 84.5133 | 2.4453
2020-07-27 08:30:00 | 2.852 | 325.38 | 2.844 | 316.15 | 3.54 | 318.22 | 3.33 | 317.766 | 22.82 | 883 | 84.72 | 4.004
2020-07-27 08:45:00 | 2.359 | 260.21 | 2.346 | 326.614 | 3.029 | 254.486 | 2.815 | 328.282 | 23.43 | 884 | 83.59 | 2.545
2020-07-27 09:00:00 | 2.451 | 228.08 | 2.424 | 327.885 | 3.038 | 223.062 | 2.82 | 329.561 | 23.22 | 884 | 83.92 | 2.394
2020-07-27 09:15:00 | 2.376 | 200.31 | 2.289 | 329.312 | 3.063 | 195.902 | 2.703 | 330.996 | 23.61 | 884 | 82.38 | 2.444
2020-07-27 09:30:00 | 2.02 | 254.24 | 1.94 | 334.434 | 2.21 | 248.646 | 2.004 | 336.146 | 24.4 | 884 | 80.92 | 0.792
2020-07-27 09:45:00 | 1.455 | 207.76 | 1.401 | 297.998 | 1.481 | 203.19 | 1.372 | 299.52 | 24.89 | 884.8 | 77.169 | 0
2020-07-27 10:00:00 | 0.941 | 235.21 | 0.886 | 298.085 | 0.968 | 230.035 | 0.857 | 299.61 | 25.52 | 885 | 74.79 | 0
2020-07-27 10:15:00 | 0.6 | 176.9133 | 0.61067 | 138.126 | 0.716 | 173.0207 | 0.70467 | 138.8327 | 26.48 | 885 | 74.4727 | 0
2020-07-27 10:30:00 | 0.56 | 112.94 | 0.604 | 245.146 | 0.762 | 110.454 | 0.782 | 246.396 | 27.52 | 885 | 74.22 | 0
2020-07-27 10:45:00 | 0.823 | 96.24 | 0.831 | 211.982 | 1.094 | 94.122 | 1.031 | 213.066 | 27.79 | 885 | 73.816 | 0
2020-07-27 11:00:00 | 0.631 | 129.25 | 0.698 | 145.019 | 0.881 | 126.406 | 0.936 | 145.759 | 27.64 | 885 | 69.583 | 0
2020-07-27 11:15:00 | 0.925 | 133.29 | 1.017 | 159.307 | 1.03 | 130.358 | 1.173 | 160.122 | 27.58 | 885 | 67.967 | 0
2020-07-27 11:30:00 | 1.51 | 155.2 | 1.496 | 162.7 | 1.4 | 151.782 | 1.408 | 163.532 | 27.2 | 885 | 61.824 | 0
2020-07-27 11:45:00 | 0.989 | 135.54 | 1.025 | 147.943 | 1.305 | 132.559 | 1.283 | 148.697 | 27.92 | 885 | 62.306 | 0
2020-07-27 12:00:00 | 0.911 | 167.86 | 0.935 | 169.437 | 1.22 | 164.167 | 1.18 | 170.305 | 27.89 | 885 | 64.672 | 0
2020-07-27 12:15:00 | 1.255 | 130.68 | 1.327 | 155.287 | 1.392 | 127.807 | 1.489 | 156.081 | 28.22 | 885 | 66.206 | 0
2020-07-27 12:30:00 | 0.774 | 151.44 | 0.836 | 194.546 | 0.998 | 148.108 | 1.042 | 195.54 | 29.02 | 884 | 67.956 | 0
2020-07-27 12:45:00 | 1.194 | 148.64 | 1.319 | 134.377 | 1.344 | 145.371 | 1.538 | 135.063 | 29.2 | 884 | 66.818 | 0
2020-07-27 13:00:00 | 1.319 | 182.18 | 1.377 | 134.437 | 1.561 | 178.172 | 1.598 | 135.124 | 29.35 | 884 | 67.676 | 0
2020-07-27 13:15:00 | 1.835 | 208.72 | 1.853 | 140.168 | 1.946 | 204.128 | 1.949 | 140.883 | 29.12 | 884 | 69.197 | 0
2020-07-27 13:30:00 | 2.024 | 177.13 | 2.083 | 140.996 | 2.381 | 173.232 | 2.391 | 141.719 | 29.29 | 884 | 66.451 | 0
2020-07-27 13:45:00 | 1.8627 | 196.2867 | 1.9407 | 135.6733 | 2.0467 | 191.968 | 2.144 | 136.368 | 29.2467 | 884 | 66.5573 | 0
2020-07-27 14:00:00 | 1.63 | 207.86 | 1.676 | 134.768 | 1.854 | 203.286 | 1.87 | 135.458 | 29.36 | 884 | 66.406 | 0
2020-07-27 14:15:00 | 1.689 | 221.54 | 1.753 | 157.488 | 2.009 | 216.665 | 2.04 | 158.293 | 29.75 | 884 | 66.173 | 0
2020-07-27 14:30:00 | 1.623 | 207.64 | 1.686 | 126.63 | 1.827 | 203.072 | 1.89 | 127.279 | 29.89 | 883.7 | 65.636 | 0
2020-07-27 14:45:00 | 2.1313 | 211.04 | 2.178 | 143.6813 | 2.2047 | 206.3973 | 2.2733 | 144.416 | 29.9 | 883.6667 | 65.4953 | 0
2020-07-27 15:00:00 | 1.854 | 208.02 | 1.946 | 138.74 | 1.754 | 203.444 | 1.956 | 139.448 | 29.78 | 883 | 65.07 | 0
2020-07-27 15:15:00 | 2.046 | 204.83 | 2.101 | 144.119 | 2.003 | 200.323 | 2.118 | 144.854 | 30 | 884 | 62.693 | 0.239
2020-07-27 15:30:00 | 2.052 | 202.53 | 2.124 | 145.31 | 2.207 | 198.075 | 2.304 | 146.054 | 30.2 | 884 | 61.746 | 0.634
2020-07-27 15:45:00 | 2.058 | 197.33 | 2.14 | 146.759 | 2.103 | 192.989 | 2.25 | 147.509 | 30.2 | 884 | 61.897 | 1.251
2020-07-27 16:00:00 | 2.076 | 201.14 | 2.154 | 135.688 | 2.128 | 196.716 | 2.266 | 136.38 | 30.06 | 884 | 63.95 | 2.388
2020-07-27 16:15:00 | 1.715 | 196.48 | 1.796 | 152.539 | 1.745 | 192.158 | 1.891 | 153.318 | 30.35 | 883 | 65.398 | 1.63
2020-07-27 16:30:00 | 1.753 | 189.18 | 1.833 | 149.527 | 1.983 | 185.018 | 2.07 | 150.292 | 30.48 | 883 | 66.118 | 1.766
2020-07-27 16:45:00 | 1.828 | 188.5733 | 1.934 | 163 | 1.998 | 184.4247 | 2.15 | 163.8313 | 30.82 | 883 | 64.4933 | 1.5147
2020-07-27 17:00:00 | 1.982 | 195.26 | 2.048 | 176.686 | 2.156 | 190.964 | 2.232 | 177.588 | 30.82 | 883 | 65.6 | 1.516
2020-07-27 17:15:00 | 2.088 | 191.99 | 2.131 | 175.618 | 2.22 | 187.766 | 2.264 | 176.518 | 30.93 | 883 | 65.657 | 1.651
2020-07-27 17:30:00 | 2.048 | 180.51 | 2.139 | 163.521 | 2.192 | 176.541 | 2.327 | 164.356 | 30.78 | 883 | 65.198 | 1.931
2020-07-27 17:45:00 | 1.839 | 192.49 | 1.949 | 163.824 | 1.909 | 188.256 | 2.096 | 164.662 | 30.69 | 883 | 64.322 | 1.616
2020-07-27 18:00:00 | 2.1453 | 182.6867 | 2.2307 | 163.6533 | 2.2813 | 179.438 | 2.4013 | 164.488 | 30.58 | 883 | 64.6007 | 2.0247
2020-07-27 18:15:00 | 1.99 | 156.12 | 2.036 | 151.94 | 2.224 | 152.684 | 2.238 | 152.718 | 30.6 | 883 | 65.314 | 2.18
2020-07-27 18:30:00 | 2.174 | 157.46 | 2.215 | 161.155 | 2.443 | 153.995 | 2.445 | 161.979 | 30.5 | 883 | 66.249 | 2.301
2020-07-27 18:45:00 | 2.389 | 190.6 | 2.499 | 172.538 | 2.602 | 186.407 | 2.749 | 173.42 | 30.15 | 883 | 67.633 | 2.312
2020-07-27 19:00:00 | 2.8207 | 173.96 | 2.96 | 166.7233 | 3.1173 | 169.6647 | 3.2947 | 167.5753 | 29.9733 | 883 | 70.046 | 4.0387
2020-07-27 19:15:00 | 2.8111 | 168.9778 | 2.9611 | 168.2822 | 2.9578 | 165.2611 | 3.2022 | 169.14 | 29.8333 | 882.2222 | 70.5589 | 4.625
2020-07-27 19:30:00 | 3.102 | 175.6 | 3.25 | 168.109 | 3.246 | 171.735 | 3.487 | 168.968 | 29.62 | 882 | 71.581 | 6.267
2020-07-27 19:45:00 | 3.152 | 174.49 | 3.288 | 170.288 | 3.386 | 170.652 | 3.576 | 171.16 | 29.2 | 882 | 72.838 | 8.086
2020-07-27 20:00:00 | 2.814 | 161.5 | 2.8827 | 165.6073 | 2.8993 | 157.9467 | 3.0067 | 166.454 | 28.9067 | 882 | 75.3393 | 6.052
2020-07-27 20:15:00 | 2.694 | 156.14 | 2.72 | 153.056 | 2.996 | 152.706 | 2.956 | 153.838 | 28.58 | 882 | 76.74 | 6.358
2020-07-27 20:30:00 | 3.194 | 138.3 | 3.458 | 143.934 | 3.623 | 135.257 | 3.998 | 144.667 | 28.35 | 882 | 79.304 | 7.064
2020-07-27 20:45:00 | 3.312 | 139.8 | 3.507 | 138.024 | 3.691 | 136.997 | 3.953 | 138.73 | 27.94 | 882 | 80.122 | 8.418
2020-07-27 21:00:00 | 3.556 | 143.44 | 3.672 | 132.353 | 3.882 | 140.285 | 4.012 | 133.03 | 27.66 | 882 | 81.88 | 8.814
2020-07-27 21:15:00 | 3.676 | 144.58 | 3.846 | 132.812 | 4.102 | 141.398 | 4.308 | 133.49 | 27.52 | 882 | 82.78 | 8.544
2020-07-27 21:30:00 | 3.488 | 146.52 | 3.632 | 135.981 | 3.765 | 143.297 | 3.96 | 136.676 | 27.29 | 882 | 83.32 | 7.462
2020-07-27 21:45:00 | 3.518 | 146.87 | 3.644 | 131.873 | 3.803 | 143.639 | 3.963 | 132.548 | 27.2 | 882 | 84.28 | 7.035
2020-07-27 22:00:00 | 3.23 | 140.78 | 3.392 | 130.602 | 3.647 | 137.683 | 3.834 | 131.27 | 26.99 | 882 | 85.47 | 5.25
2020-07-27 22:15:00 | 3.4127 | 148.34 | 3.5653 | 136.7307 | 3.7847 | 145.076 | 3.968 | 137.4293 | 26.7933 | 882 | 86.1733 | 7.1067
2020-07-27 22:30:00 | 3.41 | 151.12 | 3.542 | 137.82 | 3.74 | 147.794 | 3.89 | 138.524 | 26.72 | 882 | 86.52 | 7.222
2020-07-27 22:45:00 | 3.262 | 153.19 | 3.362 | 146.016 | 3.535 | 149.821 | 3.647 | 146.762 | 26.72 | 882 | 85.6 | 7.039
2020-07-27 23:00:00 | 3.075 | 147.87 | 3.176 | 137.527 | 3.364 | 144.615 | 3.476 | 138.229 | 26.45 | 882 | 86.7 | 6.059
2020-07-27 23:15:00 | 2.9473 | 147.2333 | 3.0447 | 137.5773 | 3.2267 | 143.9927 | 3.3313 | 138.282 | 26.3133 | 882 | 87.8533 | 5.3927
2020-07-27 23:30:00 | 2.778 | 143.48 | 2.85 | 142.984 | 3 | 140.322 | 3.076 | 143.716 | 26.3 | 882 | 88.42 | 4.282
2020-07-27 23:45:00 | 2.735 | 146.34 | 2.747 | 142.972 | 2.941 | 143.121 | 2.907 | 143.705 | 26.3 | 882 | 87.68 | 3.426