## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-28 00:00:00 | 2.876 | 156.3 | 2.908 | 146.524 | 3.095 | 152.86 | 3.095 | 147.274 | 26.28 | 882 | 88.16 | 4.119
2020-07-28 00:15:00 | 3.027 | 152.93 | 3.11 | 139.464 | 3.334 | 149.565 | 3.402 | 140.176 | 26.12 | 882 | 89.35 | 5.571
2020-07-28 00:30:00 | 2.668 | 149.7333 | 2.746 | 142.2607 | 2.9327 | 146.4387 | 3.006 | 142.988 | 25.84 | 882 | 90.6 | 5.0713
2020-07-28 00:45:00 | 2.694 | 151 | 2.834 | 147.07 | 2.874 | 147.678 | 3.094 | 147.824 | 25.82 | 882 | 90.76 | 5.3
2020-07-28 01:00:00 | 2.871 | 149.29 | 3.032 | 147.394 | 3.062 | 146.006 | 3.317 | 148.147 | 25.76 | 882 | 91.37 | 6.399
2020-07-28 01:15:00 | 2.877 | 148.56 | 3.033 | 152.56 | 3.185 | 145.292 | 3.391 | 153.339 | 25.82 | 882 | 91.96 | 6.229
2020-07-28 01:30:00 | 2.519 | 151.37 | 2.604 | 157.303 | 2.819 | 148.039 | 2.894 | 158.106 | 25.61 | 882 | 92.04 | 5.958
2020-07-28 01:45:00 | 2.404 | 159.3 | 2.44 | 161.4087 | 2.5967 | 155.7947 | 2.612 | 162.2333 | 25.26 | 882 | 92.1 | 5.986
2020-07-28 02:00:00 | 2.406 | 156.76 | 2.436 | 165.322 | 2.596 | 153.312 | 2.598 | 166.166 | 25.3 | 882 | 92.64 | 5.698
2020-07-28 02:15:00 | 2.825 | 174.26 | 2.864 | 159.444 | 3.034 | 170.426 | 3.05 | 160.258 | 25.2 | 882 | 93.04 | 7.911
2020-07-28 02:30:00 | 2.608 | 167.97 | 2.638 | 164.314 | 2.888 | 164.276 | 2.862 | 165.152 | 25.19 | 882 | 93.53 | 6.971
2020-07-28 02:45:00 | 2.318 | 153.72 | 2.346 | 157.106 | 2.624 | 150.338 | 2.592 | 157.91 | 25.06 | 882 | 93.66 | 5.564
2020-07-28 03:00:00 | 2.215 | 173.48 | 2.215 | 162.426 | 2.487 | 169.665 | 2.418 | 163.256 | 25.03 | 882 | 94.08 | 6.515
2020-07-28 03:15:00 | 1.695 | 164.66 | 1.72 | 159.541 | 1.908 | 161.037 | 1.896 | 160.358 | 24.83 | 882 | 94.13 | 4.974
2020-07-28 03:30:00 | 1.623 | 158.67 | 1.665 | 162.18 | 1.919 | 155.181 | 1.909 | 163.011 | 24.81 | 882 | 94.6 | 4.02
2020-07-28 03:45:00 | 1.6727 | 155.4667 | 1.6993 | 161.1353 | 1.9467 | 152.0467 | 1.92 | 161.958 | 24.9 | 882 | 94.66 | 3.3953
2020-07-28 04:00:00 | 1.914 | 146.58 | 1.934 | 160.372 | 2.076 | 143.358 | 2.07 | 161.192 | 24.8 | 882 | 94.62 | 2.546
2020-07-28 04:15:00 | 1.424 | 163.05 | 1.463 | 155.317 | 1.64 | 159.462 | 1.657 | 156.108 | 24.93 | 882 | 94.1 | 1.298
2020-07-28 04:30:00 | 1.578 | 166.55 | 1.613 | 135.151 | 1.771 | 162.885 | 1.785 | 135.841 | 24.9 | 882 | 93.4 | 1.098
2020-07-28 04:45:00 | 1.5107 | 150.8133 | 1.6047 | 135.7987 | 1.676 | 147.4947 | 1.808 | 136.4907 | 24.88 | 882 | 93.84 | 0.88333
2020-07-28 05:00:00 | 1.636 | 146.48 | 1.762 | 130.602 | 1.764 | 143.258 | 1.968 | 131.272 | 24.74 | 882 | 93.88 | 0.67
2020-07-28 05:15:00 | 1.608 | 155.45 | 1.692 | 144.45 | 1.896 | 152.031 | 1.968 | 145.189 | 24.81 | 882 | 94.5 | 0.586
2020-07-28 05:30:00 | 1.657 | 166.33 | 1.756 | 155.384 | 1.941 | 162.671 | 2.043 | 156.179 | 24.87 | 882 | 94.4 | 0.435
2020-07-28 05:45:00 | 1.763 | 168.24 | 1.85 | 164.696 | 2.022 | 164.538 | 2.114 | 165.538 | 24.8 | 882 | 93.44 | 0.582
2020-07-28 06:00:00 | 1.584 | 169.2 | 1.644 | 152.7573 | 1.7613 | 165.478 | 1.8247 | 153.5373 | 24.82 | 882 | 94.2467 | 0.87333
2020-07-28 06:15:00 | 1.694 | 158.88 | 1.778 | 148.01 | 1.85 | 155.384 | 1.966 | 148.766 | 24.94 | 882 | 94.34 | 1.108
2020-07-28 06:30:00 | 1.578 | 159.8 | 1.649 | 155.784 | 1.81 | 156.285 | 1.876 | 156.582 | 25.07 | 882.7 | 94.33 | 1.574
2020-07-28 06:45:00 | 1.686 | 162.2 | 1.778 | 164.303 | 1.902 | 158.631 | 2.019 | 165.143 | 25.03 | 882.8 | 95.2 | 1.073
2020-07-28 07:00:00 | 2.0233 | 166.6333 | 2.0733 | 152.2547 | 2.156 | 162.9667 | 2.214 | 153.0327 | 25.0933 | 883 | 95.12 | 0.76533
2020-07-28 07:15:00 | 1.766 | 166.87 | 1.823 | 156.019 | 1.934 | 163.198 | 1.991 | 156.818 | 25.27 | 883 | 94.62 | 0.304
2020-07-28 07:30:00 | 1.517 | 164.81 | 1.557 | 164.421 | 1.668 | 161.184 | 1.7 | 165.262 | 25.54 | 883 | 94.22 | 0.293
2020-07-28 07:45:00 | 1.7913 | 151.36 | 1.862 | 156.3947 | 2.01 | 148.0293 | 2.0807 | 157.1947 | 25.32 | 883.2 | 94.14 | 0.27133
2020-07-28 08:00:00 | 1.768 | 139.96 | 1.822 | 157.282 | 1.924 | 136.88 | 1.982 | 158.086 | 25.18 | 884 | 94.26 | 0.096
2020-07-28 08:15:00 | 1.76 | 141.87 | 1.797 | 153.966 | 1.987 | 136.715 | 2.008 | 154.753 | 25.29 | 884 | 94.21 | 0.328
2020-07-28 08:30:00 | 1.7 | 130.76 | 1.81 | 136.392 | 1.974 | 127.884 | 2.112 | 137.088 | 24.98 | 884 | 93.3 | 0.476
2020-07-28 08:45:00 | 1.536 | 140.43 | 1.633 | 146.691 | 1.828 | 137.341 | 1.926 | 147.439 | 25.04 | 884 | 93.04 | 0.518
2020-07-28 09:00:00 | 1.571 | 146.18 | 1.644 | 151.96 | 1.772 | 142.964 | 1.852 | 152.738 | 24.9 | 884 | 92.24 | 0.931
2020-07-28 09:15:00 | 1.8747 | 156.9067 | 1.9893 | 167.434 | 2.0233 | 153.4553 | 2.202 | 168.2893 | 25.1667 | 884.2 | 93.6867 | 0.73667
2020-07-28 09:30:00 | 1.287 | 172.91 | 1.395 | 185.215 | 1.522 | 169.105 | 1.655 | 186.16 | 25.37 | 885 | 93.71 | 0
2020-07-28 09:45:00 | 1.251 | 193.59 | 1.278 | 193.957 | 1.358 | 189.334 | 1.38 | 194.949 | 25.61 | 885 | 91.46 | 0
2020-07-28 10:00:00 | 1.1033 | 171.5467 | 1.132 | 169.8793 | 1.246 | 167.774 | 1.2593 | 170.746 | 26.04 | 885 | 90.6667 | 0
2020-07-28 10:15:00 | 1.304 | 160.68 | 1.32 | 136.686 | 1.572 | 157.146 | 1.532 | 137.386 | 25.9 | 885 | 90.86 | 0
2020-07-28 10:30:00 | 1.227 | 143 | 1.241 | 135.404 | 1.433 | 139.854 | 1.4 | 136.097 | 26.06 | 885 | 91.79 | 0
2020-07-28 10:45:00 | 1.057 | 162.72 | 1.079 | 125.976 | 1.199 | 159.14 | 1.205 | 126.62 | 27.3 | 885 | 87.95 | 0
2020-07-28 11:00:00 | 0.64867 | 202.26 | 0.65467 | 166.3253 | 0.94333 | 197.8107 | 0.87 | 167.176 | 26.96 | 885.5333 | 84.4333 | 0
2020-07-28 11:15:00 | 0.91 | 142.84 | 0.916 | 131.112 | 1.252 | 139.696 | 1.16 | 131.782 | 27.6 | 886 | 84.78 | 0
2020-07-28 11:30:00 | 0.962 | 178.51 | 0.989 | 120.851 | 1.19 | 174.582 | 1.172 | 121.469 | 27.62 | 886 | 83.16 | 0
2020-07-28 11:45:00 | 1.36 | 191.29 | 1.393 | 121.233 | 1.539 | 187.081 | 1.551 | 121.852 | 27.23 | 886 | 83.55 | 0
2020-07-28 12:00:00 | 1.02 | 206.96 | 1.16 | 153.254 | 1.216 | 202.406 | 1.426 | 154.036 | 27.78 | 886 | 84.3 | 0
2020-07-28 12:15:00 | 0.904 | 209.59 | 0.959 | 175.384 | 1.064 | 204.98 | 1.125 | 176.282 | 28.12 | 886 | 81.37 | 0
2020-07-28 12:30:00 | 1.211 | 214.94 | 1.321 | 200.578 | 1.303 | 210.212 | 1.478 | 201.605 | 27.65 | 886 | 80.512 | 0
2020-07-28 12:45:00 | 0.366 | 201.92 | 0.388 | 208.234 | 0.482 | 197.476 | 0.488 | 209.298 | 27.82 | 886 | 80.176 | 0
2020-07-28 13:00:00 | 0.713 | 235.86 | 0.724 | 245.741 | 0.658 | 230.672 | 0.699 | 247 | 27.51 | 886 | 77.98 | 0
2020-07-28 13:15:00 | 1.053 | 274.23 | 1.09 | 309.431 | 1.173 | 268.198 | 1.207 | 311.013 | 27.13 | 886 | 80.08 | 0
2020-07-28 13:30:00 | 0.64133 | 145.44 | 0.65667 | 240.4313 | 0.72 | 142.2413 | 0.72667 | 241.6613 | 27.2067 | 885.4667 | 84.7467 | 0
2020-07-28 13:45:00 | 0.694 | 75.78 | 0.728 | 272.062 | 0.708 | 74.116 | 0.772 | 273.452 | 26.94 | 885 | 85.16 | 0
2020-07-28 14:00:00 | 0.664 | 144.33 | 0.669 | 329.058 | 0.757 | 141.154 | 0.738 | 330.74 | 27.13 | 885 | 86.39 | 0
2020-07-28 14:15:00 | 1.03 | 293.78 | 1.009 | 307.111 | 1.388 | 287.319 | 1.247 | 308.681 | 26.98 | 885 | 87.19 | 0
2020-07-28 14:30:00 | 1.062 | 323.6933 | 1.0467 | 323.574 | 1.2853 | 316.572 | 1.1887 | 325.2287 | 26.9267 | 885 | 87.8267 | 0
2020-07-28 14:45:00 | 1.365 | 323.52 | 1.321 | 314.848 | 1.664 | 316.403 | 1.495 | 316.457 | 27.25 | 885 | 88.34 | 0
2020-07-28 15:00:00 | 1.818 | 311.82 | 1.897 | 321.47 | 2.214 | 304.959 | 2.245 | 323.113 | 27.51 | 885 | 84.77 | 0
2020-07-28 15:15:00 | 1.6929 | 323.7286 | 1.8207 | 317.1514 | 2.0336 | 316.6079 | 2.1779 | 318.7736 | 27.4571 | 885 | 81.9625 | 0
2020-07-28 15:30:00 | 1.494 | 322.64 | 1.672 | 303.004 | 1.702 | 315.54 | 1.986 | 304.554 | 27.46 | 885 | 84.88 | 0
2020-07-28 15:45:00 | 1.358 | 325.86 | 1.448 | 331.905 | 1.512 | 318.69 | 1.641 | 333.602 | 27.4 | 885 | 83.62 | 0
2020-07-28 16:00:00 | 1.529 | 331.99 | 1.575 | 308.93 | 1.83 | 324.684 | 1.828 | 310.51 | 27.21 | 884 | 84.33 | 0
2020-07-28 16:15:00 | 2.122 | 297.3067 | 2.236 | 329.2013 | 2.5947 | 290.766 | 2.676 | 330.886 | 26.86 | 884 | 86.6533 | 0
2020-07-28 16:30:00 | 2.174 | 330.5 | 2.33 | 323.698 | 2.648 | 323.228 | 2.806 | 325.354 | 26.88 | 884 | 86.08 | 0.328
2020-07-28 16:45:00 | 2.429 | 304.07 | 2.613 | 317.029 | 2.962 | 297.38 | 3.157 | 318.649 | 26.68 | 884 | 86.64 | 1.062
2020-07-28 17:00:00 | 1.953 | 325.96 | 2.067 | 308.53 | 2.467 | 318.789 | 2.535 | 310.106 | 26.62 | 884 | 85.36 | 0.257
2020-07-28 17:15:00 | 1.68 | 344.04 | 1.706 | 332.794 | 1.98 | 336.47 | 1.944 | 334.496 | 27.26 | 884 | 85.44 | 0
2020-07-28 17:30:00 | 1.786 | 251.03 | 1.88 | 305.763 | 1.989 | 245.507 | 2.105 | 307.326 | 27.17 | 883.7 | 84.6 | 0
2020-07-28 17:45:00 | 0.995 | 314.81 | 0.996 | 322.271 | 1.272 | 307.884 | 1.194 | 323.92 | 27.98 | 883 | 81.33 | 0
2020-07-28 18:00:00 | 1.216 | 205.14 | 1.21 | 318.084 | 1.574 | 200.626 | 1.464 | 319.712 | 27.86 | 883 | 80.62 | 0
2020-07-28 18:15:00 | 0.839 | 189.14 | 0.818 | 258.398 | 1.176 | 184.978 | 1.042 | 259.718 | 28.05 | 883.8 | 77.302 | 0
2020-07-28 18:30:00 | 0.377 | 182.24 | 0.425 | 140.323 | 0.547 | 178.231 | 0.586 | 141.042 | 28.57 | 884 | 77.582 | 0
2020-07-28 18:45:00 | 0.472 | 259 | 0.452 | 279.004 | 0.64 | 253.298 | 0.55 | 280.432 | 28.42 | 884 | 78.094 | 0
2020-07-28 19:00:00 | 0.248 | 180.1 | 0.258 | 154.71 | 0.396 | 176.136 | 0.371 | 155.501 | 28.56 | 884 | 76.188 | 0
2020-07-28 19:15:00 | 0.35 | 14.23 | 0.373 | 131.198 | 0.486 | 13.917 | 0.492 | 131.868 | 28.68 | 884 | 75.797 | 0
2020-07-28 19:30:00 | 0.39 | 13.04 | 0.416 | 47.316 | 0.442 | 12.756 | 0.476 | 47.558 | 28.46 | 883 | 78.312 | 0
2020-07-28 19:45:00 | 0.413 | 27.88 | 0.447 | 143.971 | 0.626 | 27.267 | 0.63 | 144.707 | 28.16 | 883 | 82.86 | 0
2020-07-28 20:00:00 | 0.465 | 149.54 | 0.47 | 148.725 | 0.421 | 146.251 | 0.443 | 149.484 | 27.92 | 883 | 86.34 | 0
2020-07-28 20:15:00 | 2.8493 | 186.72 | 3.062 | 169.4213 | 3.1647 | 182.6127 | 3.48 | 170.2887 | 27.1867 | 883 | 86.1867 | 0.64867
2020-07-28 20:30:00 | 4.576 | 194.03 | 4.982 | 169.988 | 5.328 | 189.761 | 5.876 | 170.856 | 25.71 | 883.3 | 86.02 | 14.037
2020-07-28 20:45:00 | 5.855 | 208.06 | 6.406 | 181.83 | 6.852 | 203.484 | 7.605 | 182.76 | 24.93 | 884 | 85.63 | 39.696
2020-07-28 21:00:00 | 4.703 | 198.75 | 5.016 | 183.698 | 4.898 | 194.377 | 5.433 | 184.636 | 24.9 | 884 | 76.857 | 32.419
2020-07-28 21:15:00 | 3.182 | 195.78 | 3.498 | 153.488 | 3.458 | 191.474 | 3.978 | 154.272 | 24.5 | 884 | 76.97 | 19.34
2020-07-28 21:30:00 | 2.37 | 204.35 | 2.74 | 202.24 | 2.827 | 199.855 | 3.395 | 203.275 | 24.79 | 884 | 73.186 | 14.288
2020-07-28 21:45:00 | 1.438 | 239.91 | 1.583 | 210.71 | 1.555 | 234.633 | 1.797 | 211.786 | 25.99 | 884 | 71.036 | 3.224
2020-07-28 22:00:00 | 1.804 | 243.81 | 1.879 | 261.596 | 2.027 | 238.447 | 2.103 | 262.934 | 26.67 | 884 | 68.214 | 0.752
2020-07-28 22:15:00 | 1.888 | 176.7533 | 1.936 | 306.8573 | 2.2087 | 172.864 | 2.208 | 308.428 | 26.4 | 884 | 70.3913 | 0.59333
2020-07-28 22:30:00 | 2.754 | 213.12 | 2.692 | 338.248 | 3.224 | 208.43 | 2.976 | 339.978 | 25.46 | 884 | 73.136 | 0.884
2020-07-28 22:45:00 | 2.037 | 42.8 | 2.037 | 336.755 | 2.193 | 41.857 | 2.152 | 338.478 | 25.45 | 884 | 73.988 | 0.777
2020-07-28 23:00:00 | 1.752 | 52.46 | 1.743 | 323.081 | 2.116 | 51.305 | 1.996 | 324.734 | 25.23 | 884 | 75.683 | 0.05
2020-07-28 23:15:00 | 1.348 | 180.7 | 1.321 | 313.176 | 1.709 | 176.725 | 1.555 | 314.775 | 25.29 | 884 | 77.062 | 0
2020-07-28 23:30:00 | 1.538 | 283.3 | 1.482 | 320.931 | 1.759 | 277.068 | 1.589 | 322.572 | 26.48 | 883 | 75.338 | 0
2020-07-28 23:45:00 | 1.558 | 321.5333 | 1.474 | 333.9347 | 1.7487 | 314.4593 | 1.5353 | 335.6413 | 26.8067 | 883 | 76.0053 | 0