## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-29 00:00:00 | 2.244 | 313.24 | 2.178 | 329.158 | 2.926 | 306.348 | 2.6 | 330.838 | 26.16 | 883 | 76.116 | 0.65
2020-07-29 00:15:00 | 2.827 | 308.77 | 2.88 | 341.401 | 3.307 | 301.977 | 3.271 | 343.149 | 24.95 | 883 | 77.594 | 2.334
2020-07-29 00:30:00 | 2.8933 | 190.3867 | 3.0313 | 336.81 | 3.308 | 186.198 | 3.4553 | 338.5313 | 25.24 | 883 | 77.798 | 2.4193
2020-07-29 00:45:00 | 2.754 | 337.87 | 2.845 | 332.745 | 3.021 | 330.437 | 3.122 | 334.446 | 25.3 | 883 | 78.012 | 1.905
2020-07-29 01:00:00 | 2.855 | 314.83 | 2.933 | 317.958 | 3.389 | 307.903 | 3.386 | 319.584 | 25.24 | 883 | 80.65 | 2.7
2020-07-29 01:15:00 | 2.324 | 240.2 | 2.384 | 315.865 | 2.623 | 234.915 | 2.65 | 317.479 | 25.29 | 883 | 80.822 | 0.78
2020-07-29 01:30:00 | 1.304 | 207.86 | 1.218 | 272.04 | 1.63 | 203.288 | 1.376 | 273.434 | 26.02 | 883 | 80.38 | 0
2020-07-29 01:45:00 | 2.113 | 337.21 | 2.259 | 327.131 | 2.499 | 329.793 | 2.665 | 328.805 | 25.57 | 883 | 80.208 | 0
2020-07-29 02:00:00 | 2.424 | 336.39 | 2.556 | 314.406 | 2.706 | 328.99 | 2.875 | 316.014 | 25.19 | 882 | 81.26 | 0
2020-07-29 02:15:00 | 2.03 | 212.27 | 2.056 | 319.055 | 2.433 | 207.6 | 2.37 | 320.683 | 24.92 | 882 | 82.16 | 0
2020-07-29 02:30:00 | 2.6547 | 293.3867 | 2.7247 | 323.0733 | 3.24 | 286.9327 | 3.204 | 324.724 | 24.7533 | 882 | 83.64 | 1.5813
2020-07-29 02:45:00 | 2.979 | 265.77 | 3.043 | 323.257 | 3.627 | 259.923 | 3.561 | 324.911 | 24.57 | 882 | 84.78 | 3.5
2020-07-29 03:00:00 | 3.189 | 349.52 | 3.309 | 322.3 | 3.794 | 341.831 | 3.849 | 323.947 | 24.65 | 882 | 84.6 | 3.93
2020-07-29 03:15:00 | 2.27 | 274.4 | 2.29 | 323.776 | 2.752 | 268.364 | 2.652 | 325.432 | 24.96 | 882 | 86.26 | 0.628
2020-07-29 03:30:00 | 2.516 | 275.52 | 2.602 | 317.399 | 2.98 | 269.459 | 3.008 | 319.021 | 24.83 | 882 | 85.94 | 0.953
2020-07-29 03:45:00 | 2.844 | 309.62 | 2.981 | 314.867 | 3.222 | 302.808 | 3.372 | 316.478 | 24.9 | 882 | 85.15 | 1.542
2020-07-29 04:00:00 | 3.222 | 340.73 | 3.411 | 316.999 | 3.634 | 333.233 | 3.874 | 318.62 | 24.82 | 882 | 85.58 | 3.409
2020-07-29 04:15:00 | 3.548 | 339.15 | 3.767 | 314.653 | 4.052 | 331.688 | 4.322 | 316.26 | 24.73 | 882 | 87.43 | 5.123
2020-07-29 04:30:00 | 3.136 | 321.14 | 3.234 | 312.628 | 3.774 | 314.076 | 3.776 | 314.228 | 24.7 | 882 | 87.62 | 4.08
2020-07-29 04:45:00 | 3.192 | 310.82 | 3.318 | 305.616 | 3.745 | 303.982 | 3.825 | 307.179 | 24.6 | 882 | 88.62 | 3.966
2020-07-29 05:00:00 | 2.583 | 268.05 | 2.463 | 299.982 | 3.204 | 262.152 | 2.797 | 301.518 | 24.39 | 882 | 90.32 | 3.652
2020-07-29 05:15:00 | 2.6487 | 312.7067 | 2.688 | 312.8233 | 3.0827 | 305.8273 | 3.0347 | 314.4227 | 24.14 | 882 | 91.5133 | 2.0347
2020-07-29 05:30:00 | 3.108 | 344.06 | 3.24 | 300.676 | 3.526 | 336.49 | 3.658 | 302.214 | 23.86 | 882 | 91.78 | 2.996
2020-07-29 05:45:00 | 3.18 | 330.04 | 3.285 | 301.517 | 3.586 | 322.778 | 3.674 | 303.058 | 23.86 | 882 | 92.53 | 4.057
2020-07-29 06:00:00 | 3.263 | 341.14 | 3.454 | 312.432 | 3.648 | 333.636 | 3.894 | 314.029 | 23.73 | 882.7 | 92.06 | 4.774
2020-07-29 06:15:00 | 4.18 | 348.8067 | 4.4893 | 323.308 | 4.9673 | 341.1327 | 5.3247 | 324.9613 | 23.78 | 882 | 92.8467 | 12.6027
2020-07-29 06:30:00 | 4.392 | 283.4 | 4.748 | 323.482 | 5.29 | 277.164 | 5.704 | 325.138 | 23.4 | 882 | 93.22 | 14.448
2020-07-29 06:45:00 | 3.87 | 337.06 | 4.176 | 316.989 | 4.645 | 329.644 | 4.997 | 318.611 | 23.15 | 882.8 | 93.08 | 8.628
2020-07-29 07:00:00 | 2.809 | 261.04 | 2.798 | 313.107 | 3.702 | 255.296 | 3.425 | 314.708 | 23.33 | 883 | 92.3 | 4.958
2020-07-29 07:15:00 | 2.716 | 313.22 | 2.7747 | 305.9847 | 3.1653 | 306.3293 | 3.1493 | 307.5493 | 23.5067 | 883 | 91.7933 | 3.008
2020-07-29 07:30:00 | 3.108 | 343.54 | 3.222 | 309.008 | 3.592 | 335.982 | 3.67 | 310.588 | 23.56 | 883 | 91.68 | 3.964
2020-07-29 07:45:00 | 3.468 | 326.64 | 3.542 | 305.742 | 4.037 | 319.453 | 4.019 | 307.304 | 23.61 | 883 | 93.31 | 7.692
2020-07-29 08:00:00 | 3.368 | 303.83 | 3.607 | 318.095 | 3.793 | 297.144 | 4.127 | 319.721 | 23.51 | 883.3 | 93.91 | 5.506
2020-07-29 08:15:00 | 4.266 | 334.32 | 4.546 | 317.498 | 5.048 | 326.966 | 5.356 | 319.122 | 23.98 | 884 | 94.62 | 10.74
2020-07-29 08:30:00 | 4.078 | 345.77 | 4.431 | 317.829 | 4.881 | 338.163 | 5.317 | 319.456 | 23.26 | 884 | 96.52 | 10.3
2020-07-29 08:45:00 | 4.342 | 346.86 | 4.728 | 317.019 | 5.035 | 339.23 | 5.569 | 318.641 | 23.41 | 884 | 96.8 | 12.397
2020-07-29 09:00:00 | 4.399 | 284.55 | 4.802 | 323.492 | 5.187 | 278.291 | 5.728 | 325.147 | 23.63 | 884 | 96.1 | 13.526
2020-07-29 09:15:00 | 3.794 | 324.48 | 4.024 | 310.084 | 4.648 | 317.34 | 4.842 | 311.668 | 23.16 | 884 | 95.74 | 9.54
2020-07-29 09:30:00 | 3.7622 | 331.3222 | 3.9411 | 310.6467 | 4.4367 | 324.0333 | 4.5844 | 312.2333 | 23.4778 | 884 | 95.2 | 8.2856
2020-07-29 09:45:00 | 1.799 | 326.08 | 1.822 | 309.762 | 2.309 | 318.905 | 2.205 | 311.346 | 23.27 | 884 | 92.88 | 0.869
2020-07-29 10:00:00 | 3.3893 | 338.0067 | 3.496 | 308.2973 | 3.752 | 330.57 | 3.856 | 309.8753 | 23.3133 | 885 | 92.1333 | 4.4167
2020-07-29 10:15:00 | 3.568 | 333.84 | 3.738 | 308.992 | 4.028 | 326.496 | 4.22 | 310.57 | 23.1 | 885 | 92.2 | 6.212
2020-07-29 10:30:00 | 3.548 | 336.99 | 3.757 | 313.31 | 4.107 | 329.576 | 4.344 | 314.916 | 23.24 | 885 | 88.58 | 6.875
2020-07-29 10:45:00 | 3.038 | 326.67 | 3.108 | 315.218 | 3.651 | 319.482 | 3.61 | 316.831 | 23.03 | 885.8 | 89.66 | 5.06
2020-07-29 11:00:00 | 2.895 | 315.71 | 2.97 | 315.58 | 3.412 | 308.764 | 3.405 | 317.195 | 22.99 | 886 | 90.98 | 4.042
2020-07-29 11:15:00 | 3.302 | 325.2867 | 3.4133 | 306.0227 | 3.7927 | 318.1293 | 3.86 | 307.5887 | 22.88 | 886 | 92.06 | 6.2767
2020-07-29 11:30:00 | 3.15 | 320.7 | 3.296 | 310.71 | 3.522 | 313.646 | 3.694 | 312.3 | 23.12 | 886 | 91.6 | 5.952
2020-07-29 11:45:00 | 2.983 | 309.09 | 2.927 | 303.61 | 3.506 | 302.29 | 3.254 | 305.163 | 23.02 | 886 | 90.24 | 4.551
2020-07-29 12:00:00 | 3.068 | 307.3 | 3.076 | 309.458 | 3.252 | 300.54 | 3.22 | 311.04 | 23.36 | 886 | 90.22 | 2.192
2020-07-29 12:15:00 | 2.551 | 329.26 | 2.552 | 306.907 | 2.911 | 322.016 | 2.809 | 308.477 | 22.98 | 886 | 90.82 | 1.715
2020-07-29 12:30:00 | 2.276 | 278.82 | 2.278 | 309.79 | 2.586 | 272.686 | 2.5 | 311.376 | 22.78 | 886 | 91.26 | 1.686
2020-07-29 12:45:00 | 2.371 | 283.28 | 2.375 | 307.355 | 2.622 | 277.048 | 2.558 | 308.929 | 22.91 | 886 | 90.7 | 1.981
2020-07-29 13:00:00 | 3.144 | 326.08 | 3.12 | 300.01 | 3.24 | 318.906 | 3.174 | 301.548 | 22.96 | 886 | 89.64 | 3.248
2020-07-29 13:15:00 | 3.077 | 328.65 | 3.255 | 323.337 | 3.583 | 321.419 | 3.774 | 324.99 | 22.73 | 886 | 89.62 | 4.408
2020-07-29 13:30:00 | 3.8127 | 339.0533 | 4.1613 | 335.35 | 4.4713 | 331.5953 | 4.942 | 337.0647 | 22.5 | 886 | 89.2667 | 9.27
2020-07-29 13:45:00 | 4.145 | 340.38 | 4.508 | 330.731 | 4.823 | 332.892 | 5.315 | 332.423 | 22.42 | 886 | 89.98 | 12.261
2020-07-29 14:00:00 | 5.024 | 335.6067 | 5.3853 | 328.0927 | 5.7553 | 328.222 | 6.23 | 329.7707 | 22.3133 | 885 | 91.56 | 20.5433
2020-07-29 14:15:00 | 4.416 | 330.06 | 4.739 | 317.624 | 5.185 | 322.799 | 5.572 | 319.248 | 22.4 | 885 | 92.18 | 15.686
2020-07-29 14:30:00 | 4.918 | 334.7 | 5.37 | 330.366 | 5.542 | 327.334 | 6.212 | 332.056 | 22.54 | 885 | 91.46 | 20.844
2020-07-29 14:45:00 | 4.047 | 324.4 | 4.29 | 319.716 | 4.759 | 317.264 | 5.012 | 321.351 | 22.67 | 885 | 93.86 | 11.144
2020-07-29 15:00:00 | 3.364 | 347.04 | 3.486 | 322.838 | 4.18 | 339.406 | 4.174 | 324.486 | 22.64 | 885 | 93.82 | 6.374
2020-07-29 15:15:00 | 3.88 | 302.56 | 4.101 | 279.816 | 4.504 | 295.906 | 4.743 | 281.247 | 22.57 | 885 | 94.3 | 9.849
2020-07-29 15:30:00 | 4.236 | 333 | 4.514 | 317.362 | 4.8 | 325.674 | 5.168 | 318.984 | 22.42 | 885 | 94.3 | 11.988
2020-07-29 15:45:00 | 3.703 | 332.71 | 3.91 | 323.611 | 4.198 | 325.389 | 4.45 | 325.265 | 22.33 | 885 | 95.22 | 9.202
2020-07-29 16:00:00 | 4.15 | 340.9 | 4.408 | 328.88 | 4.904 | 333.4 | 5.172 | 330.564 | 22.32 | 885 | 95.52 | 12.11
2020-07-29 16:15:00 | 3.866 | 330.69 | 4.055 | 318.749 | 4.541 | 323.415 | 4.704 | 320.38 | 22.24 | 885 | 95.7 | 9.723
2020-07-29 16:30:00 | 4.658 | 332.04 | 4.922 | 312.314 | 5.32 | 324.734 | 5.636 | 313.91 | 22.38 | 885 | 95.78 | 15.56
2020-07-29 16:45:00 | 4.641 | 332.95 | 4.923 | 322.838 | 5.281 | 325.625 | 5.633 | 324.488 | 22.4 | 884.2 | 95.4 | 16.06
2020-07-29 17:00:00 | 4.444 | 326.68 | 4.702 | 323.892 | 5.174 | 319.494 | 5.452 | 325.548 | 22.64 | 884 | 95.7 | 12.214
2020-07-29 17:15:00 | 4.428 | 333.58 | 4.723 | 325.244 | 4.988 | 326.243 | 5.388 | 326.906 | 22.52 | 884 | 94.21 | 11.68
2020-07-29 17:30:00 | 4.21 | 336.2 | 4.478 | 327.748 | 4.756 | 328.804 | 5.108 | 329.424 | 22.62 | 884 | 92.7 | 9.9
2020-07-29 17:45:00 | 3.742 | 335.71 | 3.929 | 319.063 | 4.24 | 328.325 | 4.446 | 320.694 | 22.59 | 884 | 93.78 | 7.124
2020-07-29 18:00:00 | 3.616 | 339.42 | 3.868 | 324.91 | 3.982 | 331.952 | 4.354 | 326.572 | 22.46 | 884 | 94.22 | 6.97
2020-07-29 18:15:00 | 3.606 | 314.42 | 3.868 | 327.748 | 4.167 | 307.502 | 4.509 | 329.423 | 22.71 | 884 | 94.77 | 6.498
2020-07-29 18:30:00 | 3.754 | 341.46 | 4.02 | 320.844 | 4.384 | 333.948 | 4.704 | 322.482 | 22.6 | 884 | 95.62 | 7.004
2020-07-29 18:45:00 | 3.754 | 338.74 | 3.976 | 318.82 | 4.309 | 331.288 | 4.569 | 320.448 | 22.71 | 884 | 95.2 | 6.611
2020-07-29 19:00:00 | 3.1373 | 329.2533 | 3.258 | 316.1887 | 3.6073 | 322.0087 | 3.7007 | 317.804 | 22.6133 | 884 | 95.2 | 4.2173
2020-07-29 19:15:00 | 2.8644 | 333.1111 | 3.0156 | 316.4589 | 3.1711 | 325.7833 | 3.3678 | 318.0778 | 22.5778 | 884 | 95.0778 | 2.077
2020-07-29 19:30:00 | 2.9 | 341.61 | 3.062 | 314.788 | 3.289 | 334.093 | 3.487 | 316.398 | 22.55 | 884 | 96 | 2.191
2020-07-29 19:45:00 | 2.256 | 332.5 | 2.392 | 311.278 | 2.868 | 325.184 | 2.952 | 312.868 | 22.4 | 884 | 97.26 | 1.104
2020-07-29 20:00:00 | 1.253 | 318.09 | 1.249 | 294.135 | 1.693 | 311.092 | 1.558 | 295.638 | 22.39 | 884 | 98.28 | 0
2020-07-29 20:15:00 | 1.744 | 263.76 | 1.814 | 285.206 | 2.08 | 257.956 | 2.118 | 286.664 | 22.46 | 884 | 98.56 | 0
2020-07-29 20:30:00 | 2.467 | 177.7 | 2.491 | 314.671 | 2.57 | 173.791 | 2.587 | 316.281 | 22.6 | 884 | 98.63 | 0.015
2020-07-29 20:45:00 | 2.0893 | 222.8533 | 2.186 | 321.5013 | 2.546 | 217.95 | 2.5993 | 323.144 | 22.0133 | 884 | 98.9267 | 0.85867
2020-07-29 21:00:00 | 2.619 | 303.98 | 2.75 | 308.462 | 3.147 | 297.292 | 3.24 | 310.037 | 21.95 | 884 | 99.31 | 1.96
2020-07-29 21:15:00 | 3.228 | 331.4 | 3.3673 | 313.8853 | 3.7607 | 324.108 | 3.8753 | 315.4913 | 22.0267 | 884 | 99.62 | 4.8427
2020-07-29 21:30:00 | 2.934 | 332.35 | 3.005 | 313.418 | 3.422 | 325.037 | 3.418 | 315.023 | 22.02 | 884 | 99.73 | 3.544
2020-07-29 21:45:00 | 2.4807 | 315.64 | 2.61 | 313.5067 | 3.004 | 308.696 | 3.1027 | 315.11 | 21.8733 | 884 | 99.8867 | 2.3953
2020-07-29 22:00:00 | 3.353 | 331.4 | 3.578 | 326.956 | 3.769 | 324.11 | 4.081 | 328.627 | 21.88 | 884 | 99.9 | 5.772
2020-07-29 22:15:00 | 3.324 | 341.18 | 3.525 | 269.85 | 3.821 | 333.675 | 4.057 | 271.229 | 21.77 | 884 | 99.9 | 6.395
2020-07-29 22:30:00 | 3.208 | 274.7 | 3.414 | 208.04 | 3.704 | 268.656 | 3.958 | 209.102 | 21.58 | 884 | 100 | 6.192
2020-07-29 22:45:00 | 3.411 | 343.39 | 3.626 | 323.141 | 3.972 | 335.836 | 4.218 | 324.792 | 21.56 | 884 | 100 | 7.286
2020-07-29 23:00:00 | 3.638 | 329.44 | 3.812 | 318.318 | 4.056 | 322.192 | 4.258 | 319.946 | 21.7 | 884 | 100 | 8.126
2020-07-29 23:15:00 | 3.328 | 338.32 | 3.532 | 322.407 | 3.724 | 330.876 | 3.996 | 324.056 | 21.7 | 884.8 | 100 | 5.392
2020-07-29 23:30:00 | 3.236 | 284.4 | 3.424 | 335.122 | 3.828 | 278.144 | 4.018 | 336.836 | 21.52 | 885 | 100 | 6.172
2020-07-29 23:45:00 | 2.983 | 339.69 | 3.063 | 338.28 | 3.302 | 332.216 | 3.363 | 340.011 | 21.52 | 884 | 100 | 3.957