## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-30 00:00:00 | 3.664 | 348.76 | 3.836 | 337.646 | 3.988 | 341.088 | 4.216 | 339.37 | 21.76 | 884 | 100 | 7.19
2020-07-30 00:15:00 | 3.84 | 324.3667 | 4.0487 | 340.3973 | 4.5913 | 317.2313 | 4.7713 | 342.1367 | 21.8867 | 884.1333 | 100 | 8.662
2020-07-30 00:30:00 | 3.409 | 300.63 | 3.517 | 330.839 | 4.288 | 294.014 | 4.241 | 332.53 | 21.71 | 884 | 100 | 7.861
2020-07-30 00:45:00 | 3.72 | 276.14 | 3.966 | 321.45 | 4.664 | 270.066 | 4.852 | 323.092 | 21.76 | 884 | 100 | 9.914
2020-07-30 01:00:00 | 3.994 | 341.65 | 4.291 | 327.914 | 4.829 | 334.135 | 5.149 | 329.589 | 21.22 | 884 | 100 | 11.374
2020-07-30 01:15:00 | 4.614 | 349.77 | 4.942 | 336.189 | 5.486 | 342.075 | 5.85 | 337.907 | 21.97 | 884 | 100 | 15.388
2020-07-30 01:30:00 | 4.364 | 283.39 | 4.668 | 329.323 | 5.222 | 277.155 | 5.551 | 331.004 | 21.94 | 883.3 | 100 | 12.966
2020-07-30 01:45:00 | 4.455 | 313.73 | 4.756 | 328.91 | 5.347 | 306.827 | 5.662 | 330.592 | 22.01 | 884 | 100 | 13.809
2020-07-30 02:00:00 | 4.312 | 210.64 | 4.578 | 340.52 | 5.182 | 206.008 | 5.44 | 342.26 | 21.64 | 883 | 100 | 12.56
2020-07-30 02:15:00 | 2.927 | 307.33 | 3.084 | 317.849 | 3.49 | 300.568 | 3.626 | 319.476 | 21.49 | 883.8 | 100 | 2.378
2020-07-30 02:30:00 | 4.516 | 355.28 | 4.804 | 334.926 | 5.258 | 347.464 | 5.586 | 336.638 | 21.42 | 884 | 100 | 13.452
2020-07-30 02:45:00 | 4.311 | 340.57 | 4.464 | 324.157 | 5.052 | 333.078 | 5.129 | 325.816 | 21.3 | 883.2 | 100 | 13.765
2020-07-30 03:00:00 | 5.012 | 340.06 | 5.266 | 319.394 | 5.876 | 333.83 | 6.122 | 321.026 | 21.08 | 883 | 100 | 20.808
2020-07-30 03:15:00 | 3.063 | 265.33 | 3.02 | 307.151 | 3.775 | 259.493 | 3.493 | 308.721 | 20.78 | 883 | 100 | 5.084
2020-07-30 03:30:00 | 4.448 | 331.28 | 4.822 | 312.726 | 5.21 | 323.992 | 5.698 | 314.324 | 21.58 | 884 | 100 | 12.58
2020-07-30 03:45:00 | 4.537 | 344.18 | 4.865 | 328.235 | 5.283 | 336.608 | 5.69 | 329.915 | 21.74 | 884 | 100 | 14.978
2020-07-30 04:00:00 | 4.758 | 351.3 | 5.108 | 333.038 | 5.468 | 343.57 | 5.924 | 334.741 | 21.52 | 883 | 100 | 17.729
2020-07-30 04:15:00 | 4.008 | 330.88 | 4.248 | 326.77 | 5.136 | 323.602 | 5.262 | 328.44 | 20.84 | 883 | 100 | 15.304
2020-07-30 04:30:00 | 4.178 | 343.02 | 4.431 | 324.345 | 4.927 | 335.473 | 5.195 | 326.002 | 20.59 | 883 | 100 | 12.772
2020-07-30 04:45:00 | 3.486 | 231.02 | 3.6147 | 324.8647 | 4.2367 | 225.9367 | 4.262 | 326.5253 | 20.5333 | 883 | 100 | 6.8893
2020-07-30 05:00:00 | 3.616 | 353.38 | 3.83 | 328.724 | 4.186 | 345.604 | 4.428 | 330.406 | 20.5 | 883 | 100 | 6.9
2020-07-30 05:15:00 | 3.689 | 211.54 | 3.814 | 320.872 | 4.293 | 206.887 | 4.359 | 322.512 | 20.49 | 883 | 100 | 7.352
2020-07-30 05:30:00 | 3.328 | 208.54 | 3.428 | 329.88 | 3.902 | 203.952 | 3.924 | 331.566 | 20.42 | 883 | 100 | 5.864
2020-07-30 05:45:00 | 3.625 | 335.62 | 3.732 | 323.121 | 4.485 | 328.236 | 4.439 | 324.772 | 20.37 | 883 | 100 | 9.596
2020-07-30 06:00:00 | 3.9973 | 297.5067 | 4.1867 | 315.5493 | 4.83 | 290.96 | 4.9467 | 317.1607 | 20.2867 | 883 | 100 | 11.19
2020-07-30 06:15:00 | 4.272 | 344.28 | 4.522 | 320.57 | 5.132 | 336.706 | 5.358 | 322.208 | 20.14 | 883 | 100 | 13.166
2020-07-30 06:30:00 | 4.019 | 332.15 | 4.199 | 321.419 | 4.926 | 324.842 | 5.009 | 323.063 | 20.35 | 883 | 100 | 12.223
2020-07-30 06:45:00 | 3.7913 | 316.8 | 3.9507 | 322.0347 | 4.4967 | 309.8313 | 4.5973 | 323.682 | 20.6133 | 883 | 100 | 8.1827
2020-07-30 07:00:00 | 3.4422 | 270.6889 | 3.5522 | 313.5133 | 4.2489 | 264.7333 | 4.2222 | 315.1167 | 20.7333 | 883 | 100 | 6.0267
2020-07-30 07:15:00 | 2.327 | 195.76 | 2.297 | 323.894 | 3.133 | 191.454 | 2.841 | 325.55 | 21.05 | 883 | 100 | 1.818
2020-07-30 07:30:00 | 2.056 | 169.68 | 2.07 | 322.74 | 2.798 | 165.944 | 2.61 | 324.39 | 21.06 | 884 | 100 | 0.488
2020-07-30 07:45:00 | 3.331 | 310.43 | 3.554 | 315.493 | 3.954 | 303.598 | 4.194 | 317.107 | 20.9 | 884 | 100 | 4.145
2020-07-30 08:00:00 | 3.968 | 337.36 | 4.2667 | 318.4367 | 4.652 | 329.9387 | 5.0247 | 320.064 | 20.68 | 884 | 100 | 8.272
2020-07-30 08:15:00 | 3.992 | 348.76 | 4.342 | 321.432 | 4.708 | 341.086 | 5.164 | 323.072 | 20.64 | 884 | 100 | 9.416
2020-07-30 08:30:00 | 3.516 | 347.01 | 3.764 | 321.107 | 4.161 | 339.377 | 4.445 | 322.748 | 20.78 | 884 | 100 | 6.859
2020-07-30 08:45:00 | 3.286 | 348.98 | 3.45 | 319.61 | 3.894 | 341.304 | 4.032 | 321.242 | 20.8 | 884.6 | 100 | 4.844
2020-07-30 09:00:00 | 2.321 | 296.3 | 2.492 | 232.391 | 3.074 | 289.782 | 3.177 | 233.58 | 21.2 | 885 | 100 | 1.808
2020-07-30 09:15:00 | 1.94 | 23.32 | 2.16 | 92.09 | 2.242 | 22.806 | 2.568 | 92.558 | 21.28 | 885 | 100 | 0
2020-07-30 09:30:00 | 2.906 | 182.63 | 3.078 | 304.275 | 3.36 | 178.612 | 3.557 | 305.832 | 20.48 | 885 | 100 | 3.181
2020-07-30 09:45:00 | 3.7107 | 351.9867 | 4.046 | 335.4347 | 4.2247 | 344.2433 | 4.7087 | 337.1487 | 20.2267 | 885 | 100 | 9.602
2020-07-30 10:00:00 | 3.668 | 346.36 | 4.01 | 327.962 | 4.23 | 338.74 | 4.716 | 329.64 | 20.18 | 885 | 100 | 10.178
2020-07-30 10:15:00 | 5.6 | 341.14 | 5.898 | 318.965 | 6.302 | 333.634 | 6.662 | 320.594 | 19.96 | 885 | 100 | 27.439
2020-07-30 10:30:00 | 4.656 | 344.02 | 5.044 | 331.014 | 5.374 | 336.454 | 5.9 | 332.706 | 20.04 | 885 | 100 | 20.59
2020-07-30 10:45:00 | 4.92 | 342.06 | 5.321 | 334.584 | 5.579 | 334.533 | 6.147 | 336.293 | 19.53 | 885 | 100 | 21.678
2020-07-30 11:00:00 | 5.7867 | 337.86 | 6.1833 | 317.7267 | 6.4313 | 330.4267 | 6.9947 | 319.3507 | 19.7733 | 885 | 100 | 29.794
2020-07-30 11:15:00 | 5.486 | 337.49 | 5.884 | 324.364 | 6.076 | 330.065 | 6.659 | 326.023 | 20.07 | 885 | 100 | 26.362
2020-07-30 11:30:00 | 4.855 | 344.99 | 5.303 | 326.045 | 5.686 | 337.4 | 6.29 | 327.712 | 20.15 | 885 | 100 | 19.322
2020-07-30 11:45:00 | 4.294 | 336.66 | 4.708 | 322.682 | 4.664 | 329.252 | 5.346 | 324.33 | 20 | 885 | 100 | 13.4
2020-07-30 12:00:00 | 4.354 | 344.94 | 4.646 | 319.347 | 4.848 | 337.353 | 5.259 | 320.979 | 20.2 | 885 | 100 | 11.407
2020-07-30 12:15:00 | 5.9013 | 335.5333 | 6.4187 | 317.3933 | 6.7227 | 328.152 | 7.462 | 319.016 | 20.0533 | 885 | 100 | 31.1887
2020-07-30 12:30:00 | 5.45 | 332.34 | 5.98 | 316.752 | 6.322 | 325.03 | 7.074 | 318.372 | 20.02 | 885 | 100 | 27.878
2020-07-30 12:45:00 | 4.745 | 337.38 | 5.155 | 323.279 | 5.296 | 329.956 | 5.913 | 324.93 | 20.06 | 885 | 100 | 16.364
2020-07-30 13:00:00 | 4.9273 | 338.5533 | 5.3533 | 316.8007 | 5.7953 | 331.1067 | 6.3527 | 318.4207 | 20.2733 | 885 | 100 | 20.818
2020-07-30 13:15:00 | 5.083 | 340.27 | 5.506 | 324.021 | 5.853 | 332.579 | 6.432 | 325.678 | 20.07 | 885 | 100 | 22.451
2020-07-30 13:30:00 | 5.465 | 345.49 | 5.929 | 326.868 | 6.361 | 337.889 | 6.983 | 328.538 | 19.96 | 885 | 100 | 28.191
2020-07-30 13:45:00 | 5.43 | 344.6 | 5.862 | 322.134 | 6.214 | 337.02 | 6.794 | 323.78 | 20.06 | 884.4 | 100 | 23.094
2020-07-30 14:00:00 | 5.055 | 335.41 | 5.503 | 317.576 | 5.906 | 328.03 | 6.506 | 319.199 | 20.18 | 884.3 | 100 | 21.287
2020-07-30 14:15:00 | 5.537 | 330.56 | 6.012 | 320.238 | 6.363 | 323.288 | 7.023 | 321.874 | 20.2 | 885 | 100 | 27.968
2020-07-30 14:30:00 | 5.632 | 331.02 | 6.07 | 308.736 | 6.418 | 324.56 | 7.01 | 310.314 | 20.38 | 885 | 100 | 26.75
2020-07-30 14:45:00 | 5.5727 | 331.02 | 6.042 | 320.6933 | 6.402 | 323.7353 | 7.0493 | 322.3313 | 20.3867 | 885 | 100 | 29.1787
2020-07-30 15:00:00 | 5.618 | 338.92 | 6.098 | 314.154 | 6.478 | 331.462 | 7.136 | 315.758 | 20.56 | 885 | 100 | 29.782
2020-07-30 15:15:00 | 5.186 | 336.97 | 5.677 | 313.901 | 6.024 | 328.246 | 6.718 | 315.505 | 20.61 | 885 | 100 | 25.272
2020-07-30 15:30:00 | 5.342 | 342.96 | 5.858 | 324.736 | 6.06 | 335.416 | 6.836 | 326.396 | 20.62 | 885 | 100 | 27.658
2020-07-30 15:45:00 | 5.804 | 335.27 | 6.373 | 318.7 | 6.568 | 327.893 | 7.426 | 320.331 | 20.5 | 885 | 100 | 29.892
2020-07-30 16:00:00 | 5.7093 | 333.3533 | 6.2593 | 321.776 | 6.6207 | 326.02 | 7.3987 | 323.4207 | 20.5467 | 885 | 100 | 30.0887
2020-07-30 16:15:00 | 5.604 | 335.3 | 6.132 | 318.222 | 6.538 | 327.922 | 7.266 | 319.848 | 20.52 | 885 | 100 | 29.082
2020-07-30 16:30:00 | 5.612 | 333.51 | 6.131 | 315.629 | 6.534 | 326.174 | 7.251 | 317.242 | 20.45 | 884.7 | 100 | 28.903
2020-07-30 16:45:00 | 5.68 | 340.4 | 6.198 | 320.04 | 6.42 | 332.912 | 7.188 | 321.676 | 20.42 | 884 | 100 | 30.25
2020-07-30 17:00:00 | 5.421 | 338.77 | 5.93 | 314.193 | 6.246 | 331.318 | 6.967 | 315.798 | 20.32 | 884 | 100 | 28.306
2020-07-30 17:15:00 | 5.625 | 343.9 | 6.1336 | 328.6779 | 6.4086 | 336.3336 | 7.1443 | 330.3593 | 20.3714 | 884 | 100 | 29.7273
2020-07-30 17:30:00 | 5.748 | 339.62 | 6.246 | 323.6 | 6.464 | 332.148 | 7.206 | 325.256 | 20.3 | 884 | 100 | 31.966
2020-07-30 17:45:00 | 5.755 | 340.3 | 6.234 | 322.094 | 6.579 | 332.813 | 7.244 | 323.742 | 20.5 | 884 | 100 | 30.468
2020-07-30 18:00:00 | 5.6713 | 342.0533 | 6.1467 | 320.02 | 6.4853 | 334.528 | 7.1453 | 321.6567 | 20.4133 | 884 | 100 | 30.5887
2020-07-30 18:15:00 | 5.608 | 341.03 | 6.061 | 321.125 | 6.376 | 333.527 | 7.013 | 322.768 | 20.42 | 884 | 100 | 29.911
2020-07-30 18:30:00 | 5.6079 | 341.0714 | 6.0464 | 317.8079 | 6.3964 | 333.5686 | 7.0014 | 319.4321 | 20.5214 | 884 | 100 | 28.9079
2020-07-30 18:45:00 | 5.59 | 338.36 | 6.068 | 319.12 | 6.372 | 330.916 | 7.048 | 320.754 | 20.5 | 883.4 | 100 | 30.318
2020-07-30 19:00:00 | 5.214 | 345.39 | 5.696 | 320.178 | 5.993 | 337.791 | 6.676 | 321.814 | 20.67 | 883 | 100 | 27.292
2020-07-30 19:15:00 | 5.028 | 342.32 | 5.484 | 314.838 | 5.976 | 334.788 | 6.566 | 316.448 | 20.66 | 883 | 100 | 24.062
2020-07-30 19:30:00 | 4.957 | 315.45 | 5.373 | 321.45 | 5.797 | 308.508 | 6.345 | 323.093 | 20.75 | 883 | 100 | 22.127
2020-07-30 19:45:00 | 5.008 | 347.12 | 5.452 | 324.362 | 5.81 | 339.484 | 6.416 | 326.024 | 20.76 | 883 | 100 | 22.598
2020-07-30 20:00:00 | 5.046 | 347.87 | 5.479 | 323.564 | 5.905 | 340.218 | 6.478 | 325.217 | 20.66 | 883 | 100 | 20.87
2020-07-30 20:15:00 | 4.9347 | 345.3 | 5.386 | 322.4093 | 5.7467 | 337.7027 | 6.3653 | 324.056 | 20.7667 | 883.8667 | 100 | 20.8347
2020-07-30 20:30:00 | 5.193 | 344.43 | 5.663 | 322.516 | 6.037 | 336.855 | 6.682 | 324.163 | 20.85 | 884 | 100 | 24.019
2020-07-30 20:45:00 | 5.135 | 347.78 | 5.587 | 321.956 | 5.831 | 340.128 | 6.482 | 323.604 | 20.85 | 884 | 100 | 23.056
2020-07-30 21:00:00 | 4.994 | 346.54 | 5.42 | 319.746 | 5.766 | 338.916 | 6.346 | 321.382 | 20.74 | 884 | 100 | 21.14
2020-07-30 21:15:00 | 5.037 | 342.19 | 5.405 | 323.649 | 5.943 | 334.66 | 6.379 | 325.305 | 20.64 | 884 | 100 | 21.845
2020-07-30 21:30:00 | 5.242 | 341.6 | 5.688 | 323.76 | 6.074 | 334.086 | 6.674 | 325.412 | 20.54 | 884 | 100 | 23.866
2020-07-30 21:45:00 | 5.322 | 340.44 | 5.777 | 324.93 | 6.191 | 332.95 | 6.803 | 326.592 | 20.59 | 884 | 100 | 24.913
2020-07-30 22:00:00 | 5.6473 | 341.2933 | 6.1687 | 320.8873 | 6.5987 | 333.7847 | 7.31 | 322.5287 | 20.7 | 884.5333 | 100 | 29.5253
2020-07-30 22:15:00 | 5.667 | 336.64 | 6.232 | 322.016 | 6.598 | 329.235 | 7.395 | 323.663 | 20.66 | 885 | 100 | 30.429
2020-07-30 22:30:00 | 5.696 | 338.54 | 6.22 | 321.948 | 6.632 | 331.089 | 7.357 | 323.595 | 20.64 | 885 | 100 | 31.245
2020-07-30 22:45:00 | 6.144 | 338.28 | 6.666 | 323.562 | 6.998 | 330.838 | 7.746 | 325.214 | 20.56 | 885 | 100 | 35.148
2020-07-30 23:00:00 | 6.115 | 346.51 | 6.618 | 324.951 | 6.875 | 338.887 | 7.611 | 326.613 | 20.5 | 885 | 100 | 33.959
2020-07-30 23:15:00 | 5.924 | 345.94 | 6.4 | 327.65 | 6.692 | 338.33 | 7.376 | 329.324 | 20.4 | 885 | 100 | 34.442
2020-07-30 23:30:00 | 6.051 | 341.85 | 6.54 | 326.916 | 6.894 | 334.329 | 7.575 | 328.588 | 20.34 | 885 | 100 | 33.869
2020-07-30 23:45:00 | 5.79 | 338.32 | 6.26 | 325.38 | 6.502 | 330.878 | 7.192 | 327.046 | 20.42 | 885 | 100 | 31.824