## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-31 00:00:00 | 5.786 | 340.17 | 6.27 | 324.725 | 6.627 | 332.686 | 7.303 | 326.386 | 20.3 | 885 | 100 | 31.978
2020-07-31 00:15:00 | 5.444 | 340.32 | 5.86 | 323.208 | 6.214 | 332.834 | 6.784 | 324.862 | 20.48 | 884.4 | 100 | 27.292
2020-07-31 00:30:00 | 5.792 | 338.15 | 6.24 | 322.788 | 6.651 | 330.711 | 7.252 | 324.438 | 20.42 | 884.7 | 100 | 30.902
2020-07-31 00:45:00 | 5.436 | 333.22 | 5.868 | 324.638 | 6.44 | 325.888 | 6.968 | 326.296 | 20.4 | 884 | 100 | 29.058
2020-07-31 01:00:00 | 5.882 | 337.68 | 6.373 | 320.647 | 6.738 | 330.252 | 7.422 | 322.286 | 20.52 | 884 | 100 | 30.096
2020-07-31 01:15:00 | 5.672 | 340.06 | 6.164 | 323.13 | 6.57 | 332.576 | 7.242 | 324.786 | 20.74 | 884 | 100 | 29.686
2020-07-31 01:30:00 | 5.457 | 338.41 | 5.952 | 318.476 | 6.302 | 330.966 | 6.994 | 320.104 | 20.68 | 884 | 100 | 27.294
2020-07-31 01:45:00 | 5.142 | 335.66 | 5.592 | 319.474 | 6.058 | 328.276 | 6.646 | 321.106 | 20.82 | 884 | 100 | 23.412
2020-07-31 02:00:00 | 4.769 | 303.73 | 5.127 | 318.975 | 5.595 | 297.048 | 6.034 | 320.606 | 20.64 | 883.7 | 100 | 20.776
2020-07-31 02:15:00 | 5.004 | 344.6 | 5.4253 | 321.4293 | 5.9107 | 337.018 | 6.4453 | 323.0733 | 20.6067 | 883 | 100 | 21.5293
2020-07-31 02:30:00 | 5.32 | 338.4222 | 5.7356 | 325.1411 | 6.16 | 330.9778 | 6.7067 | 326.8033 | 20.6 | 883 | 100 | 23.541
2020-07-31 02:45:00 | 5.324 | 339.84 | 5.732 | 320.08 | 6.334 | 332.362 | 6.82 | 321.718 | 20.4 | 883 | 100 | 25.216
2020-07-31 03:00:00 | 5.432 | 334.85 | 5.892 | 320.138 | 6.333 | 327.483 | 6.941 | 321.774 | 20.43 | 883 | 100 | 26.645
2020-07-31 03:15:00 | 5.276 | 336.7733 | 5.6993 | 318.1747 | 6.1593 | 329.3633 | 6.7047 | 319.8033 | 20.5267 | 883 | 100 | 23.7767
2020-07-31 03:30:00 | 5.4256 | 342.1111 | 5.8578 | 319.47 | 6.3889 | 334.5856 | 6.9322 | 321.1033 | 20.4111 | 883 | 100 | 24.854
2020-07-31 03:45:00 | 5.2333 | 336.6733 | 5.6287 | 327.936 | 6.1733 | 329.2673 | 6.648 | 329.6133 | 20.2267 | 883 | 100 | 21.9167
2020-07-31 04:00:00 | 4.991 | 337.72 | 5.388 | 325.978 | 5.79 | 330.291 | 6.313 | 327.643 | 20.51 | 883 | 100 | 19.122
2020-07-31 04:15:00 | 4.7436 | 341.8286 | 5.0879 | 324.8571 | 5.5193 | 334.3071 | 5.9486 | 326.5186 | 20.3714 | 883 | 100 | 16.928
2020-07-31 04:30:00 | 4.4278 | 342.3556 | 4.7089 | 329.6411 | 5.1967 | 334.8233 | 5.5044 | 331.3278 | 20.2 | 883 | 100 | 15.0967
2020-07-31 04:45:00 | 5.1 | 341.84 | 5.498 | 326.397 | 5.798 | 334.32 | 6.348 | 328.067 | 20.32 | 883 | 100 | 20.827
2020-07-31 05:00:00 | 5.346 | 343.24 | 5.754 | 325.46 | 6.02 | 335.69 | 6.596 | 327.124 | 20.28 | 883 | 100 | 24.224
2020-07-31 05:15:00 | 4.956 | 337.99 | 5.254 | 324.902 | 5.576 | 330.554 | 5.965 | 326.562 | 20.3 | 884 | 100 | 17.277
2020-07-31 05:30:00 | 4.32 | 334.56 | 4.562 | 327.394 | 4.998 | 327.2 | 5.268 | 329.068 | 20.2 | 884 | 100 | 12.856
2020-07-31 05:45:00 | 3.888 | 334.04 | 4.133 | 324.472 | 4.45 | 326.486 | 4.749 | 326.13 | 20.41 | 884 | 100 | 9.4
2020-07-31 06:00:00 | 4.11 | 342.2533 | 4.386 | 328.7527 | 4.712 | 334.7227 | 5.0593 | 330.432 | 20.4467 | 884 | 100 | 10.6187
2020-07-31 06:15:00 | 3.619 | 344.18 | 3.86 | 330.369 | 4.157 | 336.609 | 4.46 | 332.058 | 20.37 | 884 | 100 | 7.094
2020-07-31 06:30:00 | 3.798 | 347.02 | 4.04 | 322.33 | 4.416 | 339.386 | 4.702 | 323.978 | 20.36 | 884 | 100 | 8.712
2020-07-31 06:45:00 | 4.09 | 347.8 | 4.353 | 334.026 | 4.544 | 340.147 | 4.913 | 335.734 | 20.27 | 884.8 | 100 | 11.928
2020-07-31 07:00:00 | 4.5307 | 346.1333 | 4.8593 | 326.998 | 5.1393 | 338.5187 | 5.586 | 328.668 | 20.1333 | 885 | 100 | 16.6833
2020-07-31 07:15:00 | 4.7633 | 344.1889 | 5.0956 | 328.2833 | 5.4089 | 336.6156 | 5.85 | 329.96 | 20.2 | 885 | 100 | 18.6356
2020-07-31 07:30:00 | 4.675 | 346.6 | 5.067 | 329.487 | 5.33 | 338.975 | 5.884 | 331.173 | 20.22 | 885 | 100 | 18.881
2020-07-31 07:45:00 | 4.718 | 347.66 | 5.08 | 325.712 | 5.546 | 340.012 | 5.994 | 327.38 | 20.18 | 885 | 100 | 17.996
2020-07-31 08:00:00 | 4.523 | 347.03 | 4.836 | 325.41 | 5.258 | 339.396 | 5.64 | 327.074 | 20.1 | 885 | 100 | 15.425
2020-07-31 08:15:00 | 3.994 | 215.32 | 4.234 | 332.012 | 4.63 | 210.582 | 4.902 | 333.708 | 20.1 | 885 | 100 | 12.27
2020-07-31 08:30:00 | 3.5853 | 259.72 | 3.7607 | 330.7793 | 3.92 | 254.0053 | 4.1607 | 332.4707 | 20.2067 | 885 | 100 | 8.642
2020-07-31 08:45:00 | 3.33 | 285 | 3.436 | 335.474 | 3.68 | 278.73 | 3.782 | 337.19 | 20.28 | 885 | 100 | 6.818
2020-07-31 09:00:00 | 3.186 | 180.63 | 3.261 | 334.154 | 3.688 | 176.656 | 3.69 | 335.861 | 20.29 | 885 | 100 | 6.544
2020-07-31 09:15:00 | 3.372 | 145.22 | 3.44 | 330.934 | 3.91 | 142.024 | 3.878 | 332.626 | 20.32 | 885 | 100 | 7.148
2020-07-31 09:30:00 | 3.87 | 314.33 | 3.994 | 330.69 | 4.377 | 306.837 | 4.472 | 332.383 | 20.23 | 885.3 | 100 | 9.514
2020-07-31 09:45:00 | 3.838 | 237.62 | 4.0113 | 326.7427 | 4.4053 | 232.3927 | 4.5733 | 328.414 | 20.28 | 886 | 100 | 9.944
2020-07-31 10:00:00 | 3.616 | 345.75 | 3.756 | 331.415 | 4.171 | 338.144 | 4.28 | 333.108 | 20.4 | 886 | 100 | 7.936
2020-07-31 10:15:00 | 3.836 | 280.68 | 4.03 | 334.573 | 4.333 | 274.506 | 4.556 | 336.284 | 20.4 | 886 | 100 | 8.587
2020-07-31 10:30:00 | 3.69 | 351.58 | 3.928 | 333.262 | 4.264 | 343.846 | 4.548 | 334.966 | 20.32 | 886 | 100 | 8.672
2020-07-31 10:45:00 | 3.765 | 347.16 | 4.077 | 320.413 | 4.444 | 339.523 | 4.843 | 322.051 | 20.39 | 886 | 100 | 8.579
2020-07-31 11:00:00 | 3.4973 | 343.04 | 3.7747 | 321.3913 | 4.16 | 335.4927 | 4.4927 | 323.0327 | 20.3933 | 886 | 100 | 6.8667
2020-07-31 11:15:00 | 3.694 | 341.5 | 3.978 | 323.464 | 4.39 | 333.988 | 4.73 | 325.118 | 20.48 | 886 | 100 | 7.77
2020-07-31 11:30:00 | 2.291 | 236.36 | 2.346 | 326.005 | 2.597 | 231.159 | 2.617 | 327.675 | 20.71 | 886 | 100 | 1.072
2020-07-31 11:45:00 | 3.086 | 353.34 | 3.23 | 325.87 | 3.51 | 345.564 | 3.666 | 327.536 | 20.88 | 886 | 100 | 3.666
2020-07-31 12:00:00 | 3.72 | 311.86 | 3.916 | 328.99 | 4.212 | 304.999 | 4.44 | 330.671 | 20.9 | 886 | 100 | 7.538
2020-07-31 12:15:00 | 3.865 | 294.8429 | 4.0721 | 312.2264 | 4.5814 | 288.355 | 4.7679 | 313.8229 | 21.0357 | 886 | 100 | 8.7413
2020-07-31 12:30:00 | 3.734 | 298.05 | 3.962 | 321.194 | 4.567 | 291.493 | 4.763 | 322.837 | 21.06 | 886 | 100 | 9.121
2020-07-31 12:45:00 | 3.7953 | 331.1667 | 4.0087 | 318.7827 | 4.5327 | 323.8793 | 4.7233 | 320.4127 | 21.3 | 886 | 100 | 9.402
2020-07-31 13:00:00 | 3.8078 | 337.2333 | 4.0333 | 317.2289 | 4.4122 | 329.8133 | 4.6678 | 318.8522 | 21.5111 | 886 | 100 | 9.56
2020-07-31 13:15:00 | 4.367 | 333.03 | 4.7 | 324.031 | 4.966 | 325.703 | 5.425 | 325.688 | 21.36 | 886 | 100 | 12.405
2020-07-31 13:30:00 | 4.46 | 270.92 | 4.826 | 332.89 | 5.186 | 264.958 | 5.67 | 334.592 | 21.5 | 886 | 100 | 12.304
2020-07-31 13:45:00 | 3.668 | 337.4 | 3.941 | 320.089 | 4.172 | 329.978 | 4.545 | 321.726 | 21.9 | 886 | 100 | 6.064
2020-07-31 14:00:00 | 2.8413 | 312.38 | 3.02 | 319.6227 | 3.2007 | 305.5067 | 3.4373 | 321.2593 | 22.1067 | 886 | 100 | 2.0053
2020-07-31 14:15:00 | 2.139 | 217.21 | 2.196 | 323.121 | 2.502 | 212.432 | 2.507 | 324.773 | 22.42 | 886 | 100 | 0
2020-07-31 14:30:00 | 1.522 | 207.22 | 1.58 | 201.232 | 1.664 | 202.658 | 1.73 | 202.26 | 22.62 | 886 | 100 | 0
2020-07-31 14:45:00 | 0.659 | 320.91 | 0.649 | 110.162 | 0.67 | 313.849 | 0.646 | 110.725 | 23.13 | 886 | 99.92 | 0
2020-07-31 15:00:00 | 0.466 | 205.63 | 0.492 | 267.786 | 0.512 | 201.107 | 0.549 | 269.155 | 23.87 | 886 | 95.92 | 0
2020-07-31 15:15:00 | 0.598 | 136.26 | 0.614 | 148.206 | 0.89 | 133.264 | 0.84 | 148.962 | 24.2 | 886 | 95.3 | 0
2020-07-31 15:30:00 | 0.899 | 180.61 | 0.919 | 146.837 | 1.061 | 176.637 | 1.049 | 147.589 | 24.54 | 886 | 97.24 | 0
2020-07-31 15:45:00 | 0.86467 | 207.78 | 0.92733 | 174.4293 | 1.0913 | 203.2093 | 1.142 | 175.3213 | 24.1667 | 886 | 97.9867 | 0
2020-07-31 16:00:00 | 0.779 | 185.63 | 0.801 | 177.809 | 1.014 | 181.546 | 0.991 | 178.72 | 24.57 | 886 | 98.41 | 0
2020-07-31 16:15:00 | 0.623 | 222.1 | 0.624 | 206.124 | 0.623 | 217.214 | 0.63 | 207.175 | 24.59 | 885.2 | 98.41 | 0
2020-07-31 16:30:00 | 0.697 | 145.01 | 0.719 | 221.772 | 0.798 | 141.821 | 0.807 | 222.906 | 24.17 | 885 | 97.24 | 0
2020-07-31 16:45:00 | 0.36 | 208.33 | 0.369 | 187.894 | 0.529 | 203.745 | 0.499 | 188.854 | 24.42 | 885 | 96.5 | 0
2020-07-31 17:00:00 | 0.271 | 222.93 | 0.287 | 157.947 | 0.467 | 218.025 | 0.442 | 158.753 | 24.8 | 885 | 97.48 | 0
2020-07-31 17:15:00 | 0.45571 | 216.4929 | 0.47286 | 149.5079 | 0.52643 | 211.7293 | 0.53929 | 150.2729 | 24.7071 | 884.8571 | 97.4429 | 0
2020-07-31 17:30:00 | 1.2833 | 178.0867 | 1.3313 | 157.928 | 1.532 | 174.1693 | 1.5493 | 158.7353 | 24.0933 | 884 | 96.58 | 0
2020-07-31 17:45:00 | 1.9167 | 184.6 | 2.0013 | 156.5713 | 2.0607 | 180.5393 | 2.18 | 157.372 | 23.2533 | 884 | 98.64 | 0
2020-07-31 18:00:00 | 1.896 | 175.0733 | 1.9827 | 153.6447 | 2.0427 | 171.222 | 2.1673 | 154.4287 | 23.04 | 884 | 99.56 | 0.97867
2020-07-31 18:15:00 | 1.662 | 172.92 | 1.73 | 162.17 | 1.808 | 169.114 | 1.89 | 163.002 | 22.96 | 884 | 99.72 | 0.88
2020-07-31 18:30:00 | 1.8489 | 192.4111 | 1.9167 | 167.7822 | 1.8533 | 188.1789 | 1.9878 | 168.6378 | 22.8444 | 884 | 99.9857 | 1.5322
2020-07-31 18:45:00 | 2.036 | 202.35 | 2.11 | 174.562 | 2.398 | 197.899 | 2.436 | 175.454 | 22.44 | 884 | 98.59 | 1.963
2020-07-31 19:00:00 | 2.045 | 204.41 | 2.12 | 174.856 | 2.296 | 199.913 | 2.371 | 175.749 | 22.49 | 884 | 98.94 | 2.714
2020-07-31 19:15:00 | 1.963 | 204.58 | 2.035 | 172.12 | 2.259 | 200.079 | 2.314 | 172.998 | 22.31 | 884 | 99.3 | 2.769
2020-07-31 19:30:00 | 1.965 | 197.7 | 2.036 | 183.366 | 2.28 | 193.351 | 2.322 | 184.303 | 22.67 | 883.7 | 99.37 | 2.3
2020-07-31 19:45:00 | 1.982 | 196.03 | 2.067 | 176.998 | 2.313 | 191.716 | 2.383 | 177.903 | 22.6 | 883 | 99.9 | 1.644
2020-07-31 20:00:00 | 1.898 | 199.03 | 1.945 | 173.723 | 2.081 | 194.652 | 2.116 | 174.609 | 22.87 | 883 | 100 | 2.071
2020-07-31 20:15:00 | 2.029 | 202.52 | 2.088 | 181.811 | 2.32 | 198.064 | 2.346 | 182.739 | 22.92 | 883 | 100 | 2.235
2020-07-31 20:30:00 | 1.7173 | 202.6067 | 1.834 | 188.0567 | 2.0287 | 198.1507 | 2.1607 | 189.018 | 23.04 | 883 | 100 | 0.932
2020-07-31 20:45:00 | 1.788 | 196.9733 | 1.894 | 176.7067 | 2.0993 | 192.64 | 2.2093 | 177.6087 | 23.0133 | 883.2 | 100 | 1.0493
2020-07-31 21:00:00 | 1.798 | 197.26 | 1.926 | 202.738 | 2.07 | 192.922 | 2.238 | 203.776 | 22.82 | 884 | 100 | 1.012
2020-07-31 21:15:00 | 1.642 | 189.84 | 1.674 | 184.49 | 1.662 | 185.662 | 1.722 | 185.434 | 22.9 | 884 | 100 | 0.446
2020-07-31 21:30:00 | 1.516 | 164.34 | 1.542 | 182.777 | 1.581 | 160.724 | 1.612 | 183.712 | 22.75 | 884 | 100 | 0.06
2020-07-31 21:45:00 | 1.514 | 170.59 | 1.544 | 165.243 | 1.646 | 166.837 | 1.669 | 166.087 | 22.41 | 884 | 100 | 0
2020-07-31 22:00:00 | 1.405 | 154.49 | 1.46 | 157.096 | 1.602 | 151.09 | 1.651 | 157.899 | 22.23 | 884 | 100 | 0.108
2020-07-31 22:15:00 | 1.483 | 160.2 | 1.579 | 158.161 | 1.708 | 156.675 | 1.828 | 158.972 | 22.1 | 884.8 | 100 | 0.171
2020-07-31 22:30:00 | 1.571 | 155.85 | 1.608 | 157.78 | 1.679 | 152.422 | 1.722 | 158.587 | 22.58 | 885 | 100 | 0.121
2020-07-31 22:45:00 | 1.549 | 158.73 | 1.568 | 153.205 | 1.707 | 155.238 | 1.7 | 153.987 | 22.5 | 885 | 100 | 0.013333
2020-07-31 23:00:00 | 1.678 | 160.32 | 1.717 | 152.557 | 1.816 | 156.792 | 1.852 | 153.339 | 22.57 | 885 | 100 | 0.51
2020-07-31 23:15:00 | 1.313 | 140.67 | 1.35 | 177.242 | 1.52 | 137.575 | 1.53 | 178.149 | 22.66 | 885 | 100 | 0.155
2020-07-31 23:30:00 | 1.3414 | 139.8286 | 1.4243 | 141.6279 | 1.6357 | 136.7521 | 1.7086 | 142.3529 | 22.5071 | 885 | 100 | 0
2020-07-31 23:45:00 | 0.998 | 146.6667 | 1.024 | 156.4273 | 1.1647 | 143.4393 | 1.164 | 157.226 | 22.5267 | 885 | 100 | 0