## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-01 00:00:00 | 0.77 | 140.18 | 0.796 | 176.822 | 0.976 | 137.096 | 0.97 | 177.724 | 22.6 | 885 | 100 | 0
2020-08-01 00:15:00 | 1.066 | 160.17 | 1.072 | 174.542 | 1.223 | 156.646 | 1.192 | 175.436 | 22.51 | 885 | 100 | 0
2020-08-01 00:30:00 | 1.226 | 167.36 | 1.232 | 177.811 | 1.331 | 163.677 | 1.314 | 178.719 | 22.47 | 885 | 99.87 | 0
2020-08-01 00:45:00 | 0.874 | 165.5 | 0.857 | 189.409 | 0.893 | 161.861 | 0.854 | 190.377 | 22.59 | 885 | 99.88 | 0
2020-08-01 01:00:00 | 1.052 | 163.8 | 1.069 | 171.783 | 1.151 | 160.195 | 1.156 | 172.664 | 22.55 | 885 | 99.8 | 0
2020-08-01 01:15:00 | 1.0336 | 159.3143 | 1.0393 | 178.7571 | 1.1114 | 155.8093 | 1.1029 | 179.6707 | 22.5786 | 885 | 99.8714 | 0.002
2020-08-01 01:30:00 | 1.2287 | 140.7733 | 1.2793 | 144.614 | 1.4073 | 137.6753 | 1.448 | 145.3533 | 22.36 | 885 | 100 | 0.000667
2020-08-01 01:45:00 | 1.108 | 130.46 | 1.16 | 136.04 | 1.328 | 127.59 | 1.36 | 136.738 | 22.28 | 885 | 100 | 0
2020-08-01 02:00:00 | 0.613 | 129.55 | 0.698 | 138.455 | 0.88 | 126.701 | 0.962 | 139.164 | 22.48 | 884 | 100 | 0
2020-08-01 02:15:00 | 0.657 | 110.59 | 0.729 | 116.989 | 0.888 | 108.157 | 0.957 | 117.587 | 22.49 | 884 | 100 | 0
2020-08-01 02:30:00 | 0.385 | 150.26 | 0.387 | 215.199 | 0.462 | 146.954 | 0.444 | 216.3 | 22.76 | 884 | 100 | 0
2020-08-01 02:45:00 | 0.386 | 110.84 | 0.41 | 169.604 | 0.528 | 108.4 | 0.526 | 170.472 | 22.8 | 884 | 100 | 0
2020-08-01 03:00:00 | 0.357 | 71.05 | 0.378 | 80.225 | 0.484 | 69.488 | 0.491 | 80.636 | 22.76 | 884 | 100 | 0
2020-08-01 03:15:00 | 0.656 | 57.94 | 0.672 | 48.685 | 0.673 | 56.665 | 0.698 | 48.936 | 22.63 | 884 | 100 | 0
2020-08-01 03:30:00 | 0.609 | 94.9 | 0.678 | 101.643 | 0.656 | 92.813 | 0.774 | 102.164 | 22.53 | 884 | 100 | 0
2020-08-01 03:45:00 | 0.60733 | 100.92 | 0.58867 | 98.908 | 0.58933 | 98.7007 | 0.56 | 99.4147 | 22.4733 | 884 | 100 | 0
2020-08-01 04:00:00 | 0.28333 | 45.4067 | 0.29933 | 76.1867 | 0.26933 | 44.4067 | 0.30333 | 76.5747 | 22.52 | 883.4667 | 100 | 0
2020-08-01 04:15:00 | 0.53 | 24.84 | 0.584 | 59.716 | 0.548 | 24.292 | 0.644 | 60.022 | 22.52 | 883 | 100 | 0
2020-08-01 04:30:00 | 0.753 | 60.05 | 0.779 | 65.975 | 0.855 | 58.731 | 0.875 | 66.314 | 22.65 | 883 | 100 | 0
2020-08-01 04:45:00 | 0.946 | 37.1 | 0.975 | 18.202 | 1.151 | 36.283 | 1.145 | 18.294 | 22.61 | 883 | 100 | 0
2020-08-01 05:00:00 | 1.241 | 214.99 | 1.219 | 335.15 | 1.702 | 210.261 | 1.525 | 336.865 | 22.38 | 883 | 100 | 0
2020-08-01 05:15:00 | 1.755 | 60.54 | 1.725 | 336.882 | 2.173 | 59.209 | 1.998 | 338.604 | 22.33 | 883 | 100 | 0
2020-08-01 05:30:00 | 1.712 | 228.2933 | 1.738 | 340.0893 | 2.142 | 223.2713 | 2.0647 | 341.83 | 22.52 | 883 | 100 | 0
2020-08-01 05:45:00 | 1.7253 | 102 | 1.7 | 336.4187 | 2.1527 | 99.7547 | 1.9793 | 338.138 | 22.68 | 883 | 100 | 0
2020-08-01 06:00:00 | 1.5 | 87.92 | 1.482 | 278.398 | 1.812 | 85.986 | 1.688 | 279.822 | 22.96 | 883 | 100 | 0
2020-08-01 06:15:00 | 1.5 | 87.92 | 1.482 | 278.398 | 1.812 | 85.986 | 1.688 | 279.822 | 22.96 | 883 | 100 | 0
2020-08-01 06:30:00 | 1.803 | 336.11 | 1.812 | 343.277 | 1.879 | 328.716 | 1.877 | 345.031 | 22.17 | 883 | 100 | 0
2020-08-01 06:45:00 | 1.65 | 335.52 | 1.64 | 276.92 | 1.884 | 328.138 | 1.799 | 278.336 | 21.99 | 883 | 100 | 0
2020-08-01 07:00:00 | 2.0353 | 214.6133 | 2.134 | 142.1213 | 2.3107 | 209.892 | 2.4167 | 142.8487 | 22.28 | 883 | 100 | 0.22067
2020-08-01 07:15:00 | 1.9387 | 154.3933 | 2.0153 | 228.1333 | 2.2053 | 150.9973 | 2.2767 | 229.3007 | 22.3733 | 883 | 100 | 0.48267
2020-08-01 07:30:00 | 1.1693 | 58.76 | 1.1947 | 101.2227 | 1.2553 | 57.4673 | 1.2813 | 101.7407 | 23.1733 | 883 | 100 | 1.0613
2020-08-01 07:45:00 | 1.768 | 80.84 | 1.83 | 82.346 | 1.628 | 79.062 | 1.788 | 82.768 | 23.3 | 883 | 100 | 1.54
2020-08-01 08:00:00 | 0.929 | 88.63 | 0.972 | 100.587 | 0.93 | 86.681 | 1.008 | 101.104 | 23.22 | 883 | 100 | 2.594
2020-08-01 08:15:00 | 1.006 | 106.7 | 1.019 | 112.872 | 1.003 | 104.353 | 1.029 | 113.448 | 23.31 | 883 | 100 | 3.167
2020-08-01 08:30:00 | 0.969 | 101.8 | 0.973 | 111.61 | 0.867 | 99.56 | 0.908 | 112.179 | 23.17 | 883 | 100 | 3.3
2020-08-01 08:45:00 | 1.003 | 123.68 | 1.019 | 109.066 | 0.831 | 120.959 | 0.915 | 109.625 | 23.01 | 883 | 100 | 3.492
2020-08-01 09:00:00 | 1.446 | 168.15 | 1.384 | 123.424 | 1.269 | 164.451 | 1.205 | 124.054 | 22.87 | 883 | 100 | 6.169
2020-08-01 09:15:00 | 2.3647 | 112.1733 | 2.4353 | 107.7613 | 2.434 | 109.7047 | 2.5507 | 108.3127 | 22.8133 | 883 | 100 | 3.3293
2020-08-01 09:30:00 | 2.3127 | 175.84 | 2.4547 | 169.5387 | 2.6193 | 171.972 | 2.8047 | 170.406 | 22.1533 | 882.4667 | 100 | 1.0107
2020-08-01 09:45:00 | 3.372 | 204 | 3.658 | 205.89 | 3.638 | 199.512 | 4.094 | 206.94 | 21.68 | 882.6 | 100 | 3.608
2020-08-01 10:00:00 | 1.598 | 172.12 | 1.638 | 187.54 | 1.768 | 168.332 | 1.796 | 188.498 | 21.74 | 883 | 100 | 1.418
2020-08-01 10:15:00 | 1.686 | 214.65 | 1.718 | 222.64 | 1.585 | 209.928 | 1.674 | 223.78 | 21.92 | 883 | 100 | 1.279
2020-08-01 10:30:00 | 2.359 | 221.96 | 2.632 | 221.213 | 2.676 | 217.076 | 3.1 | 222.345 | 21.9 | 883 | 100 | 2.495
2020-08-01 10:45:00 | 2.829 | 215.16 | 2.933 | 204.423 | 2.782 | 210.427 | 2.994 | 205.467 | 21.83 | 883 | 100 | 4.757
2020-08-01 11:00:00 | 2.425 | 216.2 | 2.684 | 232.569 | 2.539 | 211.443 | 2.997 | 233.758 | 22.18 | 883 | 100 | 2.753
2020-08-01 11:15:00 | 1.547 | 204.8 | 1.674 | 171.355 | 1.555 | 200.295 | 1.796 | 172.233 | 22.05 | 883 | 100 | 0.791
2020-08-01 11:30:00 | 1.619 | 216.35 | 1.832 | 186.495 | 1.917 | 211.591 | 2.232 | 187.449 | 21.88 | 883 | 100 | 1.011
2020-08-01 11:45:00 | 1.924 | 222.32 | 2.014 | 186.4007 | 1.8553 | 217.428 | 2.0473 | 187.354 | 21.9067 | 883 | 100 | 0.51867
2020-08-01 12:00:00 | 1.5347 | 209.4 | 1.7453 | 174.156 | 1.4813 | 204.794 | 1.8947 | 175.046 | 21.9933 | 883 | 100 | 1.1607
2020-08-01 12:15:00 | 1.932 | 212.3067 | 2.1227 | 184.2287 | 1.95 | 207.6353 | 2.3053 | 185.1713 | 22.1667 | 883 | 100 | 1.218
2020-08-01 12:30:00 | 2.422 | 211.58 | 2.598 | 205.79 | 2.088 | 211.328 | 2.546 | 206.842 | 22.2 | 883 | 100 | 2.348
2020-08-01 12:45:00 | 1.524 | 204.95 | 1.82 | 233.506 | 1.442 | 200.442 | 2.027 | 234.703 | 22.59 | 883 | 100 | 2.33
2020-08-01 13:00:00 | 1.523 | 205.96 | 1.741 | 207.746 | 1.757 | 201.43 | 2.103 | 208.81 | 22.65 | 883 | 100 | 0.922
2020-08-01 13:15:00 | 1.24 | 206.28 | 1.44 | 225.653 | 1.188 | 201.742 | 1.582 | 226.808 | 22.66 | 883 | 100 | 0.34
2020-08-01 13:30:00 | 1.268 | 208.64 | 1.448 | 216.949 | 1.196 | 204.05 | 1.555 | 218.059 | 22.7 | 883 | 100 | 0.211
2020-08-01 13:45:00 | 0.792 | 202.7 | 0.926 | 152.225 | 0.769 | 198.241 | 1.026 | 153.003 | 22.88 | 883 | 100 | 0.003
2020-08-01 14:00:00 | 0.35 | 211.95 | 0.399 | 184.704 | 0.347 | 207.286 | 0.44 | 185.649 | 23.09 | 883 | 100 | 0
2020-08-01 14:15:00 | 0.346 | 218.6 | 0.326 | 35.774 | 0.328 | 213.79 | 0.296 | 35.96 | 22.84 | 883 | 100 | 0
2020-08-01 14:30:00 | 0.5 | 164.42 | 0.506 | 28.852 | 0.42 | 160.802 | 0.456 | 29 | 22.8 | 883 | 100 | 0.076
2020-08-01 14:45:00 | 0.427 | 104.59 | 0.407 | 72.381 | 0.466 | 102.289 | 0.419 | 72.751 | 22.88 | 883 | 100 | 0
2020-08-01 15:00:00 | 0.364 | 198.89 | 0.342 | 89.544 | 0.385 | 194.515 | 0.333 | 90.002 | 23.02 | 883 | 100 | 0
2020-08-01 15:15:00 | 0.669 | 271.96 | 0.632 | 277.938 | 0.723 | 265.978 | 0.636 | 279.359 | 22.85 | 883 | 100 | 0
2020-08-01 15:30:00 | 0.841 | 341.69 | 0.804 | 271.493 | 0.94 | 334.173 | 0.838 | 272.879 | 22.96 | 883 | 100 | 0
2020-08-01 15:45:00 | 1.267 | 348.85 | 1.226 | 305.879 | 1.422 | 341.175 | 1.3 | 307.444 | 23.5 | 883 | 100 | 0
2020-08-01 16:00:00 | 1.631 | 148.76 | 1.589 | 326.683 | 1.894 | 145.486 | 1.744 | 328.35 | 23.24 | 883 | 100 | 0
2020-08-01 16:15:00 | 1.84 | 339.62 | 1.905 | 327.98 | 2.092 | 332.148 | 2.137 | 329.658 | 23.36 | 883 | 100 | 0
2020-08-01 16:30:00 | 2.1093 | 304.7714 | 2.2221 | 328.6364 | 2.3443 | 298.0679 | 2.4907 | 330.3157 | 23.35 | 883 | 100 | 0
2020-08-01 16:45:00 | 2.2627 | 330.6933 | 2.4227 | 311.3293 | 2.512 | 323.418 | 2.7427 | 312.9207 | 23.1933 | 883 | 100 | 0
2020-08-01 17:00:00 | 2.5013 | 298.46 | 2.6047 | 322.226 | 2.88 | 291.8947 | 2.9687 | 323.8713 | 22.8467 | 883 | 100 | 0.352
2020-08-01 17:15:00 | 2.986 | 337.28 | 3.294 | 326.77 | 3.254 | 329.86 | 3.762 | 328.44 | 22.88 | 883 | 100 | 0.842
2020-08-01 17:30:00 | 2.512 | 335.62 | 2.612 | 330.486 | 2.968 | 328.236 | 3.026 | 332.178 | 22.9 | 883 | 100 | 1.402
2020-08-01 17:45:00 | 2.877 | 340.92 | 3.034 | 327.854 | 3.391 | 333.42 | 3.541 | 329.533 | 22.71 | 883 | 100 | 2.84
2020-08-01 18:00:00 | 3.18 | 346.37 | 3.39 | 328.002 | 3.766 | 338.749 | 3.994 | 329.679 | 22.49 | 883 | 100 | 4.419
2020-08-01 18:15:00 | 3.058 | 345.05 | 3.271 | 328.08 | 3.688 | 337.458 | 3.91 | 329.757 | 22.47 | 883 | 100 | 4.002
2020-08-01 18:30:00 | 2.685 | 313.68 | 2.836 | 336.119 | 3.298 | 306.78 | 3.41 | 337.837 | 22.7 | 883 | 100 | 2.667
2020-08-01 18:45:00 | 2.774 | 308.28 | 2.941 | 333.751 | 3.302 | 301.498 | 3.469 | 335.459 | 22.42 | 883 | 100 | 2.517
2020-08-01 19:00:00 | 2.969 | 312.63 | 3.178 | 326.797 | 3.469 | 305.753 | 3.724 | 328.468 | 22.35 | 883 | 100 | 3.81
2020-08-01 19:15:00 | 3.4053 | 350.7133 | 3.622 | 327.7727 | 3.9793 | 342.998 | 4.2207 | 329.4487 | 22.3 | 883 | 100 | 5.8153
2020-08-01 19:30:00 | 3.722 | 328.8267 | 3.9553 | 328.7967 | 4.318 | 321.592 | 4.5907 | 330.478 | 22.18 | 883 | 100 | 7.7773
2020-08-01 19:45:00 | 3.816 | 257.5667 | 4.0547 | 331.2933 | 4.458 | 251.9 | 4.7247 | 332.988 | 22.0333 | 883 | 100 | 9.2127
2020-08-01 20:00:00 | 4.012 | 350.48 | 4.294 | 338.214 | 4.75 | 342.77 | 5.068 | 339.94 | 21.96 | 883 | 100 | 11.434
2020-08-01 20:15:00 | 4.2644 | 351.5556 | 4.5978 | 329.6078 | 4.9878 | 343.8211 | 5.4089 | 331.2911 | 21.9333 | 883 | 100 | 14.216
2020-08-01 20:30:00 | 4.172 | 282.19 | 4.476 | 330.144 | 4.811 | 275.983 | 5.199 | 331.831 | 21.82 | 883 | 100 | 11.819
2020-08-01 20:45:00 | 3.221 | 181.14 | 3.388 | 297.792 | 3.748 | 177.154 | 3.914 | 299.313 | 21.87 | 883 | 100 | 5.972
2020-08-01 21:00:00 | 2.58 | 45.36 | 2.63 | 332.97 | 2.939 | 44.362 | 2.929 | 334.672 | 22 | 883 | 100 | 2.167
2020-08-01 21:15:00 | 2.222 | 22.38 | 2.25 | 337.567 | 2.499 | 21.887 | 2.48 | 339.292 | 22.08 | 883 | 100 | 0.534
2020-08-01 21:30:00 | 2.101 | 230.67 | 2.059 | 324.499 | 2.503 | 225.593 | 2.313 | 326.159 | 22.07 | 883 | 100 | 0.347
2020-08-01 21:45:00 | 2.233 | 142.89 | 2.218 | 325.489 | 2.576 | 139.746 | 2.451 | 327.151 | 22.05 | 883 | 100 | 0.524
2020-08-01 22:00:00 | 2.466 | 231.33 | 2.483 | 319.817 | 3.069 | 226.238 | 2.93 | 321.45 | 22.3 | 883 | 100 | 1.434
2020-08-01 22:15:00 | 2.0593 | 189.3533 | 2.0553 | 322.9413 | 2.598 | 185.1873 | 2.4367 | 324.594 | 22.5733 | 883 | 100 | 0.27333
2020-08-01 22:30:00 | 2.444 | 263.5 | 2.47 | 312.08 | 3.1367 | 257.7033 | 2.9853 | 313.6747 | 22.5467 | 883 | 100 | 1.7527
2020-08-01 22:45:00 | 3.5393 | 336.9267 | 3.704 | 320.574 | 4.3493 | 329.514 | 4.428 | 322.2133 | 22.26 | 883 | 100 | 6.516
2020-08-01 23:00:00 | 3.428 | 331.62 | 3.614 | 327.004 | 4.14 | 324.326 | 4.294 | 328.674 | 22 | 883 | 100 | 6.756
2020-08-01 23:15:00 | 3.768 | 347.72 | 4.016 | 318.064 | 4.424 | 340.07 | 4.704 | 319.692 | 22.3 | 883 | 100 | 7.344
2020-08-01 23:30:00 | 3.695 | 347.08 | 3.931 | 323.562 | 4.405 | 339.446 | 4.65 | 325.217 | 22.29 | 883 | 100 | 7.751
2020-08-01 23:45:00 | 3.795 | 285.12 | 4.026 | 324.626 | 4.559 | 278.845 | 4.776 | 326.287 | 22.11 | 883 | 100 | 8.562