## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-02 00:00:00 | 3.895 | 278.84 | 4.11 | 325.087 | 4.677 | 272.707 | 4.861 | 326.751 | 22.27 | 883 | 100 | 8.944
2020-08-02 00:15:00 | 3.701 | 215.09 | 3.902 | 324.148 | 4.515 | 210.358 | 4.659 | 325.806 | 22.27 | 883 | 100 | 7.185
2020-08-02 00:30:00 | 3.766 | 328.0267 | 3.9907 | 331.7967 | 4.682 | 320.8093 | 4.8447 | 333.4933 | 22.3 | 883 | 100 | 8.5547
2020-08-02 00:45:00 | 3.5927 | 345.36 | 3.792 | 323.632 | 4.3493 | 337.7613 | 4.5073 | 325.2887 | 22.1667 | 883 | 100 | 7.1927
2020-08-02 01:00:00 | 3.668 | 336.88 | 3.846 | 320.666 | 4.44 | 329.468 | 4.558 | 322.306 | 22.04 | 883 | 100 | 7.76
2020-08-02 01:15:00 | 3.241 | 333.91 | 3.395 | 322.535 | 4.061 | 326.565 | 4.117 | 324.183 | 21.62 | 883 | 100 | 5.319
2020-08-02 01:30:00 | 2.915 | 301.96 | 2.99 | 327.729 | 3.531 | 295.317 | 3.495 | 329.403 | 22.37 | 883 | 100 | 3.096
2020-08-02 01:45:00 | 2.786 | 303.91 | 2.832 | 316.521 | 3.444 | 297.224 | 3.338 | 318.138 | 22.31 | 883 | 100 | 2.887
2020-08-02 02:00:00 | 2.094 | 269.83 | 2.061 | 313.195 | 2.6 | 263.893 | 2.394 | 314.797 | 22.45 | 883 | 100 | 0.902
2020-08-02 02:15:00 | 1.708 | 229.4467 | 1.664 | 335.2973 | 2.0787 | 224.398 | 1.8933 | 337.012 | 22.2667 | 883 | 100 | 0
2020-08-02 02:30:00 | 1.7793 | 247.32 | 1.746 | 335.9687 | 2.1587 | 241.8787 | 1.988 | 337.6873 | 22.0067 | 883 | 100 | 0
2020-08-02 02:45:00 | 1.916 | 272.16 | 1.944 | 337.546 | 2.256 | 266.174 | 2.206 | 339.272 | 22.02 | 883 | 100 | 0
2020-08-02 03:00:00 | 1.872 | 75.9 | 1.926 | 315.914 | 2.28 | 74.228 | 2.268 | 317.53 | 22.22 | 883 | 100 | 0
2020-08-02 03:15:00 | 2.615 | 140.61 | 2.754 | 322.046 | 3.057 | 137.517 | 3.198 | 323.692 | 21.87 | 883 | 100 | 0.966
2020-08-02 03:30:00 | 2.856 | 314.83 | 3.064 | 334.514 | 3.257 | 307.902 | 3.534 | 336.227 | 21.72 | 882 | 100 | 2.003
2020-08-02 03:45:00 | 2.026 | 311.48 | 2.17 | 337.391 | 2.463 | 304.628 | 2.607 | 339.116 | 21.99 | 882 | 100 | 0.459
2020-08-02 04:00:00 | 1.774 | 343.58 | 1.853 | 327.358 | 2.037 | 336.022 | 2.111 | 329.027 | 22.17 | 882 | 100 | 0
2020-08-02 04:15:00 | 2.345 | 238.24 | 2.445 | 332.216 | 2.668 | 232.998 | 2.769 | 333.915 | 22.04 | 882 | 100 | 0
2020-08-02 04:30:00 | 2.2787 | 303.5267 | 2.356 | 322.6933 | 2.88 | 296.8487 | 2.852 | 324.3447 | 21.9 | 882 | 100 | 0.87
2020-08-02 04:45:00 | 2.4833 | 312.2267 | 2.5567 | 329.3453 | 3.0593 | 305.358 | 3.032 | 331.028 | 21.5867 | 882 | 100 | 1.3167
2020-08-02 05:00:00 | 2.6467 | 340.42 | 2.7607 | 331.2887 | 3.1787 | 332.9307 | 3.2413 | 332.982 | 21.6467 | 882 | 100 | 1.5093
2020-08-02 05:15:00 | 2.726 | 339.1 | 2.808 | 333.124 | 3.192 | 331.642 | 3.204 | 334.83 | 21.36 | 882 | 100 | 1.718
2020-08-02 05:30:00 | 2.996 | 346.23 | 3.122 | 333.029 | 3.521 | 338.613 | 3.605 | 334.733 | 21.35 | 882 | 100 | 3.048
2020-08-02 05:45:00 | 3.069 | 297.22 | 3.139 | 325.538 | 3.765 | 290.681 | 3.695 | 327.202 | 21.47 | 882 | 100 | 4.409
2020-08-02 06:00:00 | 3.425 | 342.38 | 3.623 | 325.919 | 4.029 | 334.848 | 4.227 | 327.585 | 21.31 | 882 | 100 | 6.218
2020-08-02 06:15:00 | 3.628 | 340.67 | 3.82 | 319.14 | 4.308 | 333.175 | 4.479 | 320.773 | 21.29 | 882 | 100 | 7.785
2020-08-02 06:30:00 | 3.209 | 331.15 | 3.338 | 324.421 | 3.878 | 323.864 | 3.931 | 326.079 | 21.31 | 882 | 100 | 5.366
2020-08-02 06:45:00 | 3.1736 | 336.5286 | 3.2664 | 322.1171 | 3.79 | 329.1243 | 3.7907 | 323.7643 | 21.3786 | 882 | 100 | 4.9093
2020-08-02 07:00:00 | 2.9413 | 312.7133 | 3.0247 | 320.3467 | 3.564 | 305.8327 | 3.5473 | 321.9847 | 21.4133 | 882 | 100 | 3.712
2020-08-02 07:15:00 | 3.1587 | 337.8 | 3.226 | 320.36 | 3.848 | 330.3673 | 3.7787 | 321.998 | 21.42 | 882.2 | 100 | 5.1987
2020-08-02 07:30:00 | 3.506 | 342.08 | 3.62 | 317.126 | 4.254 | 334.556 | 4.25 | 318.746 | 21.38 | 883 | 100 | 6.514
2020-08-02 07:45:00 | 3.598 | 337.12 | 3.766 | 322.152 | 4.378 | 329.704 | 4.472 | 323.8 | 21.38 | 883 | 100 | 7.244
2020-08-02 08:00:00 | 3.5278 | 327.9667 | 3.6278 | 320.6756 | 4.3167 | 320.75 | 4.2789 | 322.3156 | 21.3667 | 883 | 100 | 7.082
2020-08-02 08:15:00 | 4.025 | 337.87 | 4.212 | 326.135 | 4.71 | 330.437 | 4.864 | 327.801 | 21.25 | 883 | 100 | 10.708
2020-08-02 08:30:00 | 4.204 | 342.7 | 4.44 | 328.6 | 4.96 | 335.159 | 5.186 | 330.278 | 21.21 | 883 | 100 | 11.123
2020-08-02 08:45:00 | 4.474 | 338.21 | 4.757 | 322.564 | 5.333 | 330.768 | 5.615 | 324.214 | 21.21 | 883 | 100 | 15.5
2020-08-02 09:00:00 | 4.6 | 340.37 | 4.934 | 327.787 | 5.452 | 332.882 | 5.838 | 329.462 | 21.28 | 883 | 100 | 16.506
2020-08-02 09:15:00 | 4.662 | 343.44 | 4.995 | 320.597 | 5.586 | 335.883 | 5.949 | 322.236 | 21.23 | 883 | 100 | 15.902
2020-08-02 09:30:00 | 4.699 | 339.8 | 5.055 | 322.377 | 5.512 | 332.324 | 5.949 | 324.025 | 21.16 | 883 | 100 | 17.069
2020-08-02 09:45:00 | 4.5647 | 339.76 | 4.892 | 323.718 | 5.4087 | 332.284 | 5.784 | 325.3727 | 21.2867 | 883 | 100 | 16.7913
2020-08-02 10:00:00 | 4.26 | 335.4467 | 4.542 | 324.5133 | 5.124 | 328.066 | 5.408 | 326.1727 | 21.38 | 883 | 100 | 14.26
2020-08-02 10:15:00 | 3.5987 | 334.7067 | 3.7533 | 325.36 | 4.212 | 327.3427 | 4.3307 | 327.0233 | 21.4867 | 883 | 100 | 7.7153
2020-08-02 10:30:00 | 3.2413 | 323.7467 | 3.3067 | 323.9407 | 3.83 | 316.6233 | 3.7847 | 325.5947 | 21.8133 | 883.5333 | 100 | 4.9493
2020-08-02 10:45:00 | 3.352 | 347.26 | 3.468 | 313.802 | 4.018 | 339.622 | 4.05 | 315.406 | 22.3 | 884 | 100 | 4.996
2020-08-02 11:00:00 | 2.95 | 265.14 | 3 | 316.032 | 3.542 | 259.308 | 3.46 | 317.648 | 22.82 | 884 | 100 | 3.632
2020-08-02 11:15:00 | 1.9267 | 241.1667 | 1.8756 | 323.5111 | 2.3711 | 235.8633 | 2.1478 | 325.1656 | 23.2889 | 884 | 100 | 0.46889
2020-08-02 11:30:00 | 1.754 | 236.6 | 1.737 | 328.558 | 1.919 | 231.395 | 1.845 | 330.24 | 24.15 | 885 | 98.43 | 0
2020-08-02 11:45:00 | 1.6 | 235.67 | 1.69 | 290.689 | 1.927 | 230.486 | 2.002 | 292.178 | 25.3 | 885 | 91.37 | 0
2020-08-02 12:00:00 | 1.105 | 270.4 | 1.135 | 263.17 | 1.34 | 264.451 | 1.324 | 264.515 | 25.95 | 885 | 89.25 | 0
2020-08-02 12:15:00 | 0.982 | 170.15 | 1.127 | 208.245 | 1.21 | 166.405 | 1.415 | 209.311 | 26.32 | 885 | 89.1 | 0
2020-08-02 12:30:00 | 1.339 | 160.9 | 1.334 | 129.126 | 1.313 | 157.361 | 1.316 | 129.786 | 26.8 | 885 | 88.46 | 0
2020-08-02 12:45:00 | 0.921 | 161.27 | 0.937 | 208.88 | 0.989 | 157.722 | 0.999 | 209.949 | 26.4 | 885 | 88.3 | 0
2020-08-02 13:00:00 | 1.317 | 165.03 | 1.402 | 133.663 | 1.298 | 161.399 | 1.466 | 134.346 | 27.07 | 885 | 87.78 | 0
2020-08-02 13:15:00 | 1.659 | 145.82 | 1.655 | 128.978 | 1.646 | 142.612 | 1.642 | 129.637 | 27 | 885 | 87 | 0
2020-08-02 13:30:00 | 1.429 | 160.81 | 1.475 | 134.642 | 1.538 | 157.273 | 1.598 | 135.33 | 27 | 884 | 86.32 | 0
2020-08-02 13:45:00 | 1.3736 | 189.1143 | 1.4093 | 124.0457 | 1.57 | 184.9529 | 1.5793 | 124.68 | 27.4643 | 884 | 84.71 | 0
2020-08-02 14:00:00 | 1.2127 | 192.4067 | 1.206 | 129.0693 | 1.4153 | 188.174 | 1.3493 | 129.7307 | 27.62 | 884 | 80.118 | 0
2020-08-02 14:15:00 | 1.478 | 171.6933 | 1.568 | 147.9067 | 1.812 | 167.9167 | 1.8873 | 148.6627 | 27.9733 | 884 | 79.1727 | 0
2020-08-02 14:30:00 | 1.704 | 200.22 | 1.804 | 167.0687 | 2.0213 | 195.8147 | 2.1187 | 167.9233 | 27.6133 | 884 | 78.6587 | 0
2020-08-02 14:45:00 | 1.994 | 167.65 | 2.122 | 145.009 | 2.292 | 163.961 | 2.451 | 145.751 | 27.6 | 884 | 79.396 | 0
2020-08-02 15:00:00 | 1.593 | 183.77 | 1.632 | 164.264 | 1.688 | 179.727 | 1.733 | 165.103 | 27.12 | 884 | 81.037 | 0
2020-08-02 15:15:00 | 1.385 | 199.95 | 1.459 | 163.981 | 1.623 | 195.551 | 1.695 | 164.818 | 26.91 | 884 | 82.35 | 0
2020-08-02 15:30:00 | 0.968 | 181.26 | 1.032 | 142.613 | 1.016 | 177.272 | 1.123 | 143.341 | 27.15 | 884 | 84.69 | 0
2020-08-02 15:45:00 | 1.11 | 145.17 | 1.106 | 152.461 | 1.166 | 141.974 | 1.148 | 153.241 | 27.12 | 883.2 | 82.13 | 0.371
2020-08-02 16:00:00 | 0.799 | 143.35 | 0.805 | 159.385 | 0.839 | 140.197 | 0.839 | 160.2 | 27.7 | 883 | 83.91 | 0
2020-08-02 16:15:00 | 0.868 | 149.66 | 0.861 | 153.125 | 1.008 | 146.368 | 0.954 | 153.91 | 28.45 | 883 | 80.349 | 0
2020-08-02 16:30:00 | 1.453 | 187.54 | 1.52 | 119.697 | 1.548 | 183.416 | 1.649 | 120.31 | 28.19 | 883 | 79.011 | 0
2020-08-02 16:45:00 | 1.673 | 203.83 | 1.654 | 142.573 | 1.638 | 199.346 | 1.62 | 143.302 | 28.07 | 883 | 79.99 | 0.0025
2020-08-02 17:00:00 | 1.674 | 202.93 | 1.731 | 147.471 | 1.704 | 198.466 | 1.806 | 148.228 | 27.84 | 883 | 79.156 | 0
2020-08-02 17:15:00 | 1.694 | 200.28 | 1.748 | 169.908 | 1.739 | 195.873 | 1.825 | 170.774 | 27.68 | 883 | 78.921 | 0
2020-08-02 17:30:00 | 1.548 | 171.97 | 1.555 | 175.17 | 1.702 | 168.186 | 1.67 | 176.065 | 27.89 | 883 | 79.24 | 0.015556
2020-08-02 17:45:00 | 1.328 | 208.9067 | 1.384 | 166.2393 | 1.4033 | 204.3113 | 1.4853 | 167.09 | 28.1333 | 883 | 78.954 | 0
2020-08-02 18:00:00 | 1.0167 | 191.84 | 1.0173 | 173.3273 | 1.1693 | 187.62 | 1.1287 | 174.2147 | 27.9333 | 883 | 79.5567 | 0
2020-08-02 18:15:00 | 0.894 | 177.34 | 0.898 | 141.6013 | 1.0327 | 173.438 | 1.0007 | 142.3253 | 27.7533 | 883 | 80.43 | 0
2020-08-02 18:30:00 | 0.974 | 157.78 | 0.986 | 173.556 | 1.128 | 154.308 | 1.11 | 174.442 | 27.7 | 883 | 81.5 | 0
2020-08-02 18:45:00 | 1.602 | 136.54 | 1.648 | 131.932 | 1.68 | 133.536 | 1.746 | 132.606 | 27.56 | 882 | 82.52 | 0
2020-08-02 19:00:00 | 1.476 | 133.32 | 1.52 | 131.902 | 1.725 | 130.386 | 1.737 | 132.577 | 27.32 | 882 | 83.6 | 0
2020-08-02 19:15:00 | 1.371 | 132.69 | 1.433 | 120.274 | 1.613 | 129.772 | 1.658 | 120.888 | 27.18 | 882 | 84.1 | 0
2020-08-02 19:30:00 | 1.139 | 137.94 | 1.194 | 121.075 | 1.27 | 134.906 | 1.336 | 121.696 | 27.04 | 882 | 84.88 | 0
2020-08-02 19:45:00 | 1.793 | 136.28 | 1.861 | 118.456 | 1.859 | 133.281 | 1.972 | 119.061 | 27.05 | 881.2 | 86.31 | 0
2020-08-02 20:00:00 | 2.055 | 135.42 | 2.163 | 139.267 | 2.255 | 132.442 | 2.402 | 139.98 | 26.81 | 881 | 86.81 | 0
2020-08-02 20:15:00 | 1.882 | 138.07 | 1.955 | 142.826 | 2.049 | 135.032 | 2.145 | 143.558 | 26.7 | 881 | 88.28 | 0.017
2020-08-02 20:30:00 | 1.99 | 143.07 | 2.071 | 136.167 | 2.202 | 139.923 | 2.297 | 136.864 | 26.48 | 881 | 89.22 | 0.346
2020-08-02 20:45:00 | 2.1 | 154.43 | 2.193 | 139.033 | 2.26 | 151.033 | 2.393 | 139.744 | 26.15 | 881 | 89.62 | 1.001
2020-08-02 21:00:00 | 2.283 | 127.65 | 2.445 | 132.499 | 2.606 | 124.841 | 2.82 | 133.177 | 25.92 | 881 | 89.33 | 0.435
2020-08-02 21:15:00 | 2.381 | 127.7 | 2.482 | 122.405 | 2.7 | 124.89 | 2.801 | 123.033 | 25.77 | 881 | 90.8 | 1.815
2020-08-02 21:30:00 | 2.0464 | 134.6571 | 2.1629 | 121.3057 | 2.3343 | 131.6943 | 2.4707 | 121.9271 | 25.6357 | 881.5 | 91.7429 | 1.0593
2020-08-02 21:45:00 | 2.7547 | 141.6933 | 2.8727 | 129.8267 | 3.234 | 138.576 | 3.3207 | 130.4893 | 25.0533 | 882 | 92.64 | 2.8847
2020-08-02 22:00:00 | 2.3613 | 154.2733 | 2.4207 | 134.592 | 2.5773 | 150.8587 | 2.63 | 135.2807 | 24.8933 | 882 | 95.2667 | 2.5047
2020-08-02 22:15:00 | 2.272 | 156.86 | 2.324 | 139.54 | 2.354 | 153.408 | 2.43 | 140.256 | 24.8 | 882 | 96.1 | 2.868
2020-08-02 22:30:00 | 2.246 | 158.62 | 2.364 | 146.796 | 2.546 | 155.13 | 2.676 | 147.55 | 24.74 | 882 | 96.78 | 2.076
2020-08-02 22:45:00 | 2.046 | 166.45 | 2.173 | 139.755 | 2.302 | 162.788 | 2.474 | 140.471 | 24.7 | 882 | 97.64 | 1.232
2020-08-02 23:00:00 | 2.091 | 162.05 | 2.224 | 144.743 | 2.406 | 158.485 | 2.566 | 145.484 | 24.73 | 882 | 97.09 | 0.767
2020-08-02 23:15:00 | 1.599 | 145.25 | 1.64 | 140.841 | 1.605 | 142.054 | 1.685 | 141.561 | 25.07 | 882 | 97.8 | 0.474
2020-08-02 23:30:00 | 1.771 | 164.05 | 1.817 | 146.122 | 1.973 | 160.439 | 2.013 | 146.87 | 25 | 882 | 96.51 | 0.582
2020-08-02 23:45:00 | 1.529 | 179.82 | 1.597 | 158.298 | 1.697 | 175.863 | 1.777 | 159.109 | 25.1 | 882 | 97.67 | 0.445