## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-03 00:00:00 | 1.955 | 170.67 | 2.043 | 153.937 | 2.041 | 166.915 | 2.197 | 154.723 | 24.72 | 882 | 98.3 | 0.898
2020-08-03 00:15:00 | 1.929 | 157.41 | 2.059 | 156.627 | 1.806 | 153.948 | 2.09 | 157.428 | 24.66 | 882 | 98.78 | 1.18
2020-08-03 00:30:00 | 2.157 | 155.9 | 2.198 | 147.832 | 2.108 | 152.469 | 2.202 | 148.591 | 25.03 | 882 | 98.94 | 1.943
2020-08-03 00:45:00 | 2.1607 | 160.98 | 2.2313 | 150.416 | 2.1547 | 157.438 | 2.2907 | 151.184 | 24.96 | 882 | 98.7933 | 2.8373
2020-08-03 01:00:00 | 2.2233 | 145.66 | 2.3227 | 149.934 | 2.212 | 142.4553 | 2.406 | 150.7007 | 24.8333 | 882 | 99.4533 | 4.0727
2020-08-03 01:15:00 | 2.2253 | 157.2867 | 2.2873 | 148.4733 | 2.3453 | 153.8267 | 2.4353 | 149.2333 | 24.6533 | 882 | 99.8667 | 4.642
2020-08-03 01:30:00 | 2.2113 | 178.44 | 2.31 | 158.886 | 2.2687 | 174.514 | 2.4427 | 159.6987 | 24.7333 | 882 | 100 | 3.854
2020-08-03 01:45:00 | 2.296 | 182.12 | 2.414 | 173.694 | 2.498 | 178.114 | 2.668 | 174.58 | 24.72 | 882 | 99.94 | 3.354
2020-08-03 02:00:00 | 2.026 | 185.02 | 2.142 | 170.642 | 2.172 | 180.95 | 2.352 | 171.514 | 24.8 | 882 | 99.9 | 2.772
2020-08-03 02:15:00 | 1.821 | 189.56 | 1.924 | 186.397 | 2.079 | 185.39 | 2.198 | 187.349 | 24.79 | 882 | 99.04 | 3.252
2020-08-03 02:30:00 | 1.808 | 179.05 | 1.841 | 164.519 | 1.811 | 175.112 | 1.878 | 165.361 | 25.02 | 881.7 | 97.99 | 3.136
2020-08-03 02:45:00 | 2.038 | 179.42 | 2.061 | 163.522 | 2.181 | 176.275 | 2.185 | 164.356 | 24.9 | 881 | 98.34 | 3.223
2020-08-03 03:00:00 | 1.692 | 181.82 | 1.711 | 166.984 | 1.747 | 177.82 | 1.768 | 167.838 | 24.78 | 881 | 97.79 | 2.408
2020-08-03 03:15:00 | 1.527 | 159.98 | 1.512 | 164.538 | 1.645 | 156.459 | 1.587 | 165.38 | 24.63 | 881 | 97.62 | 2.201
2020-08-03 03:30:00 | 1.362 | 147.73 | 1.377 | 162.886 | 1.565 | 144.481 | 1.534 | 163.72 | 24.61 | 881 | 97.2 | 1.667
2020-08-03 03:45:00 | 1.398 | 158.02 | 1.456 | 163.952 | 1.594 | 154.545 | 1.647 | 164.791 | 24.64 | 881 | 98.3 | 1.868
2020-08-03 04:00:00 | 1.37 | 170.3143 | 1.4243 | 159.8036 | 1.6936 | 166.5671 | 1.7029 | 160.6229 | 24.4857 | 881 | 99.5571 | 1.5293
2020-08-03 04:15:00 | 1.3387 | 167.04 | 1.3553 | 188.61 | 1.578 | 163.3647 | 1.542 | 189.5747 | 24.5067 | 881 | 100 | 1.362
2020-08-03 04:30:00 | 1.3427 | 149.3667 | 1.3247 | 186.778 | 1.5267 | 146.0807 | 1.444 | 187.7333 | 24.5067 | 881 | 100 | 1.4547
2020-08-03 04:45:00 | 1.518 | 149.4467 | 1.5493 | 142.032 | 1.8173 | 146.16 | 1.7893 | 142.758 | 24.16 | 880.8 | 100 | 1.8367
2020-08-03 05:00:00 | 1.702 | 145.52 | 1.746 | 140.48 | 2.084 | 142.318 | 2.062 | 141.2 | 24.04 | 880 | 100 | 1.526
2020-08-03 05:15:00 | 1.812 | 142.92 | 1.892 | 135.122 | 1.918 | 139.874 | 2.046 | 135.81 | 23.54 | 880 | 100 | 2.304
2020-08-03 05:30:00 | 1.7267 | 137.6333 | 1.8289 | 139.2333 | 1.8989 | 134.6056 | 2.0444 | 139.9467 | 23.3778 | 880 | 100 | 2.97
2020-08-03 05:45:00 | 2.1078 | 149.8667 | 2.1878 | 149.5033 | 2.3244 | 146.5689 | 2.4122 | 150.2678 | 23.2 | 880 | 100 | 3.733
2020-08-03 06:00:00 | 1.9067 | 164.6778 | 1.9856 | 153.2522 | 2.18 | 161.0556 | 2.25 | 154.0356 | 23.2333 | 880.2222 | 100 | 4.157
2020-08-03 06:15:00 | 2.161 | 155.88 | 2.239 | 154.826 | 2.363 | 152.449 | 2.452 | 155.62 | 23.22 | 880.2 | 100 | 3.303
2020-08-03 06:30:00 | 2.32 | 160.91 | 2.47 | 149.369 | 2.773 | 157.369 | 2.928 | 150.134 | 23.21 | 881 | 100 | 3.377
2020-08-03 06:45:00 | 1.963 | 160.22 | 2.05 | 144.792 | 2.305 | 156.696 | 2.37 | 145.534 | 23.11 | 881 | 100 | 2.714
2020-08-03 07:00:00 | 2.238 | 129.86 | 2.329 | 137.605 | 2.608 | 127.004 | 2.675 | 138.307 | 22.92 | 881 | 100 | 3.044
2020-08-03 07:15:00 | 2.318 | 122.14 | 2.431 | 127.894 | 2.599 | 119.453 | 2.733 | 128.546 | 23.06 | 881 | 100 | 3.407
2020-08-03 07:30:00 | 2.389 | 133.79 | 2.453 | 136.938 | 2.727 | 130.848 | 2.756 | 137.64 | 23.2 | 881 | 100 | 3.828
2020-08-03 07:45:00 | 2.074 | 150.7 | 2.145 | 137.673 | 2.181 | 147.384 | 2.289 | 138.378 | 23.27 | 881 | 100 | 3.522
2020-08-03 08:00:00 | 2.089 | 164.77 | 2.145 | 143.286 | 2.266 | 161.146 | 2.322 | 144.019 | 23.62 | 881 | 100 | 2.774
2020-08-03 08:15:00 | 1.323 | 168.06 | 1.49 | 180.001 | 1.605 | 164.363 | 1.838 | 180.919 | 23.85 | 881 | 100 | 1.629
2020-08-03 08:30:00 | 1.88 | 177.24 | 2.006 | 177.362 | 2.322 | 173.341 | 2.433 | 178.267 | 23.84 | 882 | 100 | 2.766
2020-08-03 08:45:00 | 1.965 | 157.43 | 2.015 | 161.028 | 2.167 | 153.968 | 2.202 | 161.851 | 23.97 | 882 | 98.83 | 2.295
2020-08-03 09:00:00 | 1.637 | 157.78 | 1.681 | 170.27 | 1.984 | 154.046 | 1.955 | 171.139 | 23.88 | 882 | 96.46 | 1.422
2020-08-03 09:15:00 | 1.746 | 171.2533 | 1.7153 | 157.08 | 1.994 | 167.4847 | 1.868 | 157.882 | 23.9 | 882.2 | 96.2 | 1.2227
2020-08-03 09:30:00 | 2.008 | 169.84 | 1.946 | 145.822 | 2.07 | 166.102 | 1.936 | 146.564 | 23.72 | 883 | 95.84 | 1.432
2020-08-03 09:45:00 | 1.772 | 198.28 | 1.833 | 162.709 | 1.882 | 193.917 | 1.97 | 163.542 | 23.87 | 883 | 94.37 | 2.051
2020-08-03 10:00:00 | 1.869 | 170.38 | 1.86 | 150.454 | 1.905 | 166.632 | 1.884 | 151.224 | 24.12 | 883 | 94.56 | 1.443
2020-08-03 10:15:00 | 2.894 | 194.56 | 2.975 | 181.449 | 3.345 | 190.28 | 3.371 | 182.376 | 24.06 | 883 | 93.44 | 3.029
2020-08-03 10:30:00 | 2.213 | 196.78 | 2.227 | 160.148 | 2.371 | 192.451 | 2.353 | 160.966 | 23.94 | 883 | 95.13 | 4.929
2020-08-03 10:45:00 | 2.9393 | 176.78 | 3.0613 | 161.9173 | 3.3353 | 172.8907 | 3.454 | 162.7467 | 23.9333 | 883 | 99.16 | 6.3473
2020-08-03 11:00:00 | 2.284 | 162.3667 | 2.3387 | 162.2693 | 2.4013 | 158.794 | 2.47 | 163.1 | 24.1533 | 882.4667 | 99.9533 | 4.112
2020-08-03 11:15:00 | 2.85 | 162.96 | 2.948 | 157.226 | 3.078 | 159.376 | 3.206 | 158.028 | 24.54 | 882 | 100 | 4.722
2020-08-03 11:30:00 | 2.0811 | 151.8444 | 2.1144 | 154.7844 | 2.3011 | 148.5033 | 2.3033 | 155.5767 | 25.8556 | 882 | 100 | 2.686
2020-08-03 11:45:00 | 1.949 | 185.09 | 1.941 | 151.129 | 2.226 | 181.017 | 2.133 | 151.903 | 25.15 | 882 | 100 | 4.163
2020-08-03 12:00:00 | 1.931 | 180.65 | 1.926 | 149.537 | 2.147 | 176.674 | 2.08 | 150.299 | 25.29 | 882 | 100 | 4.058
2020-08-03 12:15:00 | 2.563 | 146.6 | 2.52 | 129.751 | 3 | 143.374 | 2.796 | 130.414 | 25.15 | 882 | 100 | 3.208
2020-08-03 12:30:00 | 2.182 | 129.92 | 2.226 | 121.958 | 2.376 | 127.062 | 2.404 | 122.582 | 25.7 | 882 | 99.86 | 0.78
2020-08-03 12:45:00 | 1.209 | 131.66 | 1.235 | 135.14 | 1.381 | 128.763 | 1.385 | 135.83 | 26.83 | 882 | 91.62 | 0
2020-08-03 13:00:00 | 2.02 | 188.75 | 2.044 | 139.55 | 2.192 | 184.598 | 2.191 | 140.264 | 26.92 | 882 | 89.44 | 1.293
2020-08-03 13:15:00 | 2.423 | 170.07 | 2.511 | 143.267 | 2.653 | 166.328 | 2.754 | 144 | 26.56 | 882 | 90.36 | 4.856
2020-08-03 13:30:00 | 2.379 | 141.23 | 2.465 | 125.01 | 2.538 | 138.122 | 2.658 | 125.646 | 26.89 | 882 | 88.78 | 2.472
2020-08-03 13:45:00 | 2.178 | 158.79 | 2.199 | 135.796 | 2.517 | 155.297 | 2.463 | 136.489 | 27.37 | 882 | 86.96 | 1.019
2020-08-03 14:00:00 | 2.454 | 134.67 | 2.454 | 141.448 | 2.761 | 131.707 | 2.675 | 142.17 | 27.6 | 882 | 84.24 | 1.377
2020-08-03 14:15:00 | 2.982 | 126.06 | 2.974 | 130.974 | 3.07 | 123.286 | 3.03 | 131.644 | 27.62 | 882 | 83.4 | 2.698
2020-08-03 14:30:00 | 3.151 | 140.56 | 3.208 | 135.54 | 3.728 | 137.467 | 3.668 | 136.234 | 27.52 | 882 | 83.43 | 6.243
2020-08-03 14:45:00 | 3.139 | 125.71 | 3.175 | 136.881 | 3.691 | 122.945 | 3.606 | 137.581 | 26.93 | 882 | 82.62 | 6.772
2020-08-03 15:00:00 | 3.202 | 120.75 | 3.274 | 124.079 | 3.846 | 118.093 | 3.802 | 124.712 | 26.38 | 882 | 86.22 | 6.878
2020-08-03 15:15:00 | 2.469 | 127.77 | 2.625 | 145.095 | 2.999 | 124.96 | 3.142 | 145.836 | 26 | 882 | 91.04 | 3.69
2020-08-03 15:30:00 | 2.578 | 155.4467 | 2.66 | 178.4913 | 3.142 | 152.028 | 3.138 | 179.4033 | 25.36 | 881 | 94.08 | 4.1947
2020-08-03 15:45:00 | 2.748 | 206.26 | 2.77 | 135.374 | 2.904 | 201.722 | 2.906 | 136.068 | 26.46 | 881 | 94 | 1.852
2020-08-03 16:00:00 | 2.9311 | 121.2556 | 3.1922 | 128.51 | 3.3833 | 118.5889 | 3.7467 | 129.1656 | 26.1 | 880 | 96.68 | 3.7522
2020-08-03 16:15:00 | 2.795 | 130.04 | 2.913 | 145.704 | 3.195 | 127.179 | 3.302 | 146.448 | 25.66 | 880 | 95.88 | 4.323
2020-08-03 16:30:00 | 2.818 | 175.88 | 2.879 | 169.995 | 3.311 | 172.012 | 3.287 | 170.865 | 24.68 | 880 | 96.26 | 8.59
2020-08-03 16:45:00 | 2.566 | 150.27 | 2.774 | 145.958 | 3.052 | 146.964 | 3.304 | 146.702 | 24.98 | 880 | 98.99 | 5.819
2020-08-03 17:00:00 | 2.825 | 133.22 | 2.931 | 140.265 | 3.176 | 130.29 | 3.277 | 140.983 | 25.06 | 880 | 99.2 | 6.53
2020-08-03 17:15:00 | 3.951 | 156.85 | 4.236 | 131.219 | 4.298 | 153.399 | 4.739 | 131.888 | 24.29 | 880 | 99.94 | 17.186
2020-08-03 17:30:00 | 2.114 | 117.78 | 2.162 | 129.242 | 2.297 | 115.188 | 2.336 | 129.903 | 24.66 | 879.7 | 100 | 1.282
2020-08-03 17:45:00 | 1.78 | 157.36 | 1.955 | 144.521 | 2.216 | 153.899 | 2.421 | 145.259 | 25.29 | 879 | 100 | 0.161
2020-08-03 18:00:00 | 1.826 | 144.05 | 1.894 | 137.292 | 2.034 | 140.881 | 2.101 | 137.994 | 25.58 | 879 | 100 | 0.071
2020-08-03 18:15:00 | 1.309 | 105.59 | 1.449 | 121.018 | 1.631 | 103.267 | 1.803 | 121.635 | 25.89 | 879 | 100 | 0
2020-08-03 18:30:00 | 1.174 | 155.15 | 1.148 | 146.261 | 1.309 | 151.736 | 1.221 | 147.008 | 25.61 | 879 | 99.83 | 0
2020-08-03 18:45:00 | 1.751 | 144.85 | 1.814 | 139.774 | 2.05 | 141.663 | 2.081 | 140.49 | 25.39 | 879.8 | 99.04 | 0
2020-08-03 19:00:00 | 1.573 | 117.56 | 1.652 | 138.796 | 1.777 | 114.975 | 1.868 | 139.506 | 25.68 | 879 | 98.68 | 0
2020-08-03 19:15:00 | 1.082 | 118.8 | 1.18 | 135.024 | 1.242 | 116.186 | 1.378 | 135.714 | 25.92 | 879 | 97.8714 | 0
2020-08-03 19:30:00 | 1.1513 | 108.3733 | 1.2693 | 111.4927 | 1.2767 | 105.988 | 1.466 | 112.0613 | 26.0533 | 879 | 97.9533 | 0
2020-08-03 19:45:00 | 1.1413 | 114.7667 | 1.166 | 106.948 | 1.1467 | 112.2427 | 1.196 | 107.4933 | 26.08 | 879 | 97.78 | 0
2020-08-03 20:00:00 | 1.236 | 126.37 | 1.245 | 133.115 | 1.21 | 123.589 | 1.238 | 133.796 | 26.1 | 879 | 97.99 | 0
2020-08-03 20:15:00 | 1.421 | 115.99 | 1.508 | 134.132 | 1.345 | 113.439 | 1.536 | 134.818 | 26.07 | 879 | 98.84 | 0
2020-08-03 20:30:00 | 1.297 | 120.17 | 1.295 | 123.57 | 1.126 | 117.527 | 1.176 | 124.203 | 26.06 | 879 | 99.04 | 0
2020-08-03 20:45:00 | 1.103 | 121.08 | 1.137 | 129.116 | 1.028 | 118.417 | 1.115 | 129.776 | 26.03 | 879 | 99.28 | 0
2020-08-03 21:00:00 | 0.432 | 73.76 | 0.455 | 109.486 | 0.572 | 72.137 | 0.571 | 110.047 | 26.05 | 879 | 98.82 | 0
2020-08-03 21:15:00 | 0.643 | 285.79 | 0.645 | 148.549 | 0.825 | 279.503 | 0.778 | 149.308 | 25.85 | 879 | 99.94 | 0
2020-08-03 21:30:00 | 0.643 | 285.79 | 0.645 | 148.549 | 0.825 | 279.503 | 0.778 | 149.308 | 25.85 | 879 | 99.94 | 0
2020-08-03 21:45:00 | 0.89667 | 293.14 | 0.942 | 268.2467 | 1.1607 | 286.6907 | 1.1653 | 269.6167 | 26.0067 | 880 | 100 | 0
2020-08-03 22:00:00 | 1.1727 | 311.8667 | 1.2313 | 308.6107 | 1.6933 | 305.006 | 1.652 | 310.188 | 26.0467 | 880 | 100 | 0
2020-08-03 22:15:00 | 0.624 | 152.25 | 0.647 | 182.858 | 1.14 | 148.9 | 1.029 | 183.79 | 26.15 | 880 | 100 | 0
2020-08-03 22:30:00 | 0.442 | 172.33 | 0.408 | 67.003 | 0.461 | 168.539 | 0.39 | 67.346 | 26.16 | 880 | 100 | 0
2020-08-03 22:45:00 | 0.458 | 104.91 | 0.48 | 90.847 | 0.601 | 102.601 | 0.605 | 91.31 | 25.85 | 880 | 100 | 0
2020-08-03 23:00:00 | 0.611 | 169.12 | 0.631 | 201.564 | 1.174 | 165.4 | 1.046 | 202.596 | 25.68 | 880 | 100 | 0
2020-08-03 23:15:00 | 0.326 | 161.1 | 0.336 | 242.983 | 0.584 | 157.555 | 0.529 | 244.224 | 25.92 | 880 | 100 | 0
2020-08-03 23:30:00 | 0.587 | 229.57 | 0.667 | 200.949 | 1 | 224.52 | 1.031 | 201.978 | 25.8 | 880 | 100 | 0
2020-08-03 23:45:00 | 0.483 | 170.09 | 0.512 | 308.187 | 0.723 | 166.349 | 0.704 | 309.762 | 25.66 | 880 | 100 | 0