## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-04 00:00:00 | 0.572 | 278.38 | 0.662 | 330.682 | 0.748 | 272.256 | 0.858 | 332.372 | 25.4 | 880 | 100 | 0
2020-08-04 00:15:00 | 0.398 | 43.93 | 0.454 | 96.686 | 0.514 | 42.965 | 0.587 | 97.18 | 25.65 | 880 | 100 | 0
2020-08-04 00:30:00 | 0.48111 | 317.6444 | 0.53889 | 188.5033 | 0.62778 | 310.6578 | 0.69556 | 189.4689 | 25.3667 | 880 | 100 | 0
2020-08-04 00:45:00 | 0.39533 | 236.62 | 0.43067 | 244.4473 | 0.626 | 231.414 | 0.62533 | 245.6967 | 25.4867 | 880 | 100 | 0.188
2020-08-04 01:00:00 | 0.294 | 284.3933 | 0.27267 | 178.9393 | 0.34 | 278.136 | 0.28667 | 179.8547 | 25.3067 | 880 | 100 | 0.57667
2020-08-04 01:15:00 | 0.351 | 236.4 | 0.315 | 164.93 | 0.275 | 231.2 | 0.227 | 165.774 | 25.12 | 880 | 100 | 0.861
2020-08-04 01:30:00 | 0.378 | 193.93 | 0.348 | 180.528 | 0.324 | 189.663 | 0.283 | 181.451 | 25.24 | 880 | 100 | 0.485
2020-08-04 01:45:00 | 0.342 | 168.7 | 0.334 | 199.912 | 0.39 | 164.988 | 0.362 | 200.936 | 25.25 | 880 | 100 | 0.674
2020-08-04 02:00:00 | 0.236 | 197.49 | 0.253 | 209.711 | 0.262 | 193.146 | 0.289 | 210.785 | 25.09 | 880 | 100 | 1.095
2020-08-04 02:15:00 | 0.923 | 185.22 | 0.95 | 163.737 | 1.044 | 181.144 | 1.062 | 164.575 | 24.57 | 880 | 100 | 0.276
2020-08-04 02:30:00 | 0.587 | 241.83 | 0.556 | 226.75 | 0.448 | 236.509 | 0.431 | 227.909 | 24.8 | 880 | 100 | 0.694
2020-08-04 02:45:00 | 1.18 | 234.88 | 1.115 | 170.202 | 1.079 | 229.713 | 0.991 | 171.072 | 25.34 | 880 | 100 | 1.147
2020-08-04 03:00:00 | 0.91 | 240.62 | 0.878 | 202.816 | 1.024 | 235.326 | 0.932 | 203.856 | 24.94 | 879 | 100 | 1.444
2020-08-04 03:15:00 | 0.83 | 273.94 | 0.85533 | 224.3333 | 1.0373 | 267.9127 | 1.028 | 225.48 | 24.94 | 879 | 100 | 0.466
2020-08-04 03:30:00 | 1.0493 | 225.5933 | 1.1173 | 223.5233 | 1.274 | 220.6287 | 1.336 | 224.6667 | 24.9867 | 879 | 100 | 0.662
2020-08-04 03:45:00 | 0.53714 | 282.7 | 0.57429 | 235.725 | 0.81286 | 276.4807 | 0.80071 | 236.9307 | 25.0786 | 879 | 100 | 0.37867
2020-08-04 04:00:00 | 0.768 | 312.54 | 0.809 | 211.013 | 0.983 | 305.664 | 0.999 | 212.092 | 24.97 | 879 | 100 | 0.499
2020-08-04 04:15:00 | 0.809 | 213.92 | 0.837 | 189.387 | 1.102 | 209.215 | 1.066 | 190.358 | 24.73 | 879 | 100 | 0
2020-08-04 04:30:00 | 1.184 | 296.92 | 1.212 | 297.811 | 1.73 | 290.388 | 1.622 | 299.335 | 24.4 | 879 | 100 | 0
2020-08-04 04:45:00 | 1.475 | 203.47 | 1.429 | 317.067 | 2.174 | 198.993 | 1.885 | 318.69 | 23.68 | 879 | 100 | 0
2020-08-04 05:00:00 | 1.552 | 230.27 | 1.652 | 175.16 | 1.669 | 225.203 | 1.824 | 176.055 | 23.42 | 879 | 100 | 0.654
2020-08-04 05:15:00 | 2.029 | 175.4 | 2.188 | 160.666 | 2.196 | 171.541 | 2.447 | 161.487 | 23.59 | 879 | 100 | 0.774
2020-08-04 05:30:00 | 2.0833 | 198.1933 | 2.1173 | 179.0327 | 2.2473 | 193.8333 | 2.2687 | 179.9473 | 24.2 | 879 | 100 | 1.556
2020-08-04 05:45:00 | 1.8353 | 188.7733 | 1.9233 | 158.9453 | 1.9547 | 184.6193 | 2.0853 | 159.7567 | 23.64 | 879 | 100 | 1.73
2020-08-04 06:00:00 | 2.031 | 129.91 | 1.965 | 164.481 | 1.983 | 127.052 | 1.871 | 165.322 | 23.8 | 879 | 100 | 3.473
2020-08-04 06:15:00 | 2.313 | 145.23 | 2.347 | 158.964 | 2.609 | 142.037 | 2.592 | 159.775 | 23.37 | 879 | 100 | 5.002
2020-08-04 06:30:00 | 1.5 | 212.2 | 1.668 | 191.278 | 1.684 | 207.532 | 1.945 | 192.256 | 23.29 | 879 | 100 | 0.679
2020-08-04 06:45:00 | 0.768 | 144.54 | 0.798 | 156.245 | 0.908 | 141.36 | 0.925 | 157.045 | 23.83 | 879 | 100 | 0
2020-08-04 07:00:00 | 1.675 | 234.56 | 1.76 | 207.836 | 1.6 | 229.399 | 1.788 | 208.898 | 23.89 | 879 | 100 | 0
2020-08-04 07:15:00 | 2.968 | 234.2 | 3.125 | 226.593 | 3.385 | 229.048 | 3.566 | 227.752 | 23.44 | 879 | 100 | 7.336
2020-08-04 07:30:00 | 3.052 | 209.69 | 3.432 | 184.832 | 3.625 | 205.078 | 4.18 | 185.775 | 22.98 | 879.3 | 100 | 17.561
2020-08-04 07:45:00 | 4.6373 | 198.2333 | 4.9373 | 183.2513 | 5.2493 | 193.8727 | 5.64 | 184.188 | 22.6667 | 880 | 100 | 31.3767
2020-08-04 08:00:00 | 4.3827 | 188.4733 | 4.6753 | 173.3207 | 5.006 | 184.3267 | 5.38 | 174.2067 | 22.6 | 880 | 100 | 27.9973
2020-08-04 08:15:00 | 3.4943 | 177.8214 | 3.7429 | 161.65 | 3.8871 | 173.2671 | 4.2357 | 162.475 | 22.6 | 880 | 100 | 18.3036
2020-08-04 08:30:00 | 2.513 | 194 | 2.653 | 155.61 | 2.865 | 189.734 | 3.027 | 156.405 | 22.63 | 880 | 100 | 8.272
2020-08-04 08:45:00 | 0.631 | 17.61 | 0.682 | 14.533 | 1.387 | 17.223 | 1.26 | 14.607 | 2.28 | 880 | 100 | 2.485
2020-08-04 09:00:00 | 0.718 | 57.8 | 0.771 | 64.891 | 1.177 | 56.529 | 1.144 | 65.222 | 9.22 | 880 | 100 | 1.116
2020-08-04 09:15:00 | 1.178 | 139.07 | 1.257 | 148.372 | 1.456 | 136.009 | 1.523 | 149.132 | 22.95 | 880 | 100 | 0.617
2020-08-04 09:30:00 | 0.844 | 109.07 | 0.882 | 136.656 | 1.115 | 106.67 | 1.105 | 137.354 | 22.85 | 880 | 100 | 0.633
2020-08-04 09:45:00 | 0.847 | 165.85 | 0.824 | 185.535 | 1.009 | 162.201 | 0.916 | 186.486 | 23.06 | 880 | 100 | 1.097
2020-08-04 10:00:00 | 1.186 | 130.09 | 1.178 | 156.06 | 1.486 | 127.226 | 1.382 | 156.856 | 23.41 | 880 | 100 | 1.743
2020-08-04 10:15:00 | 1.265 | 183.72 | 1.373 | 175.609 | 1.508 | 179.678 | 1.645 | 176.506 | 25.04 | 880 | 100 | 1.252
2020-08-04 10:30:00 | 1.4022 | 195.1889 | 1.4244 | 175.3111 | 1.5656 | 190.8944 | 1.5644 | 176.2089 | 24.3222 | 881 | 100 | 1.1211
2020-08-04 10:45:00 | 1.392 | 186.8267 | 1.4247 | 158.356 | 1.484 | 182.7173 | 1.52 | 159.1667 | 24.4933 | 881 | 100 | 2.4147
2020-08-04 11:00:00 | 1.6027 | 162.4467 | 1.586 | 143.3493 | 1.888 | 158.8733 | 1.7767 | 144.0807 | 24.6467 | 881 | 100 | 2.2587
2020-08-04 11:15:00 | 1.727 | 126.76 | 1.696 | 144.324 | 1.976 | 123.972 | 1.846 | 145.06 | 24.52 | 881 | 98.93 | 1.995
2020-08-04 11:30:00 | 0.293 | 0 | 0.309 | 0 | 0.822 | 0 | 0.699 | 0 | 0 | 882 | 96.25 | 2.32
2020-08-04 11:45:00 | 0.504 | 0 | 0.533 | 0 | 1.418 | 0 | 1.204 | 0 | 0 | 881.2 | 95.32 | 3.559
2020-08-04 12:00:00 | 0.633 | 0 | 0.665 | 0 | 1.776 | 0 | 1.511 | 0 | 0 | 881 | 93.8 | 5.029
2020-08-04 12:15:00 | 0.519 | 0 | 0.546 | 0 | 1.459 | 0 | 1.239 | 0 | 0 | 881.8 | 93.73 | 3.961
2020-08-04 12:30:00 | 0.576 | 0 | 0.608 | 0 | 1.623 | 0 | 1.378 | 0 | 0 | 881 | 93.83 | 3.464
2020-08-04 12:45:00 | 0.564 | 0 | 0.596 | 0 | 1.588 | 0 | 1.348 | 0 | 0 | 881 | 90.4 | 3.911
2020-08-04 13:00:00 | 0.584 | 0 | 0.61467 | 0 | 1.6413 | 0 | 1.3947 | 0 | 0 | 881 | 88.7 | 4.366
2020-08-04 13:15:00 | 0.53133 | 0 | 0.562 | 0 | 1.4953 | 0 | 1.27 | 0 | 0 | 881 | 88.4067 | 3.1013
2020-08-04 13:30:00 | 0.437 | 0 | 0.462 | 0 | 1.228 | 0 | 1.043 | 0 | 0 | 881 | 87.07 | 2.379
2020-08-04 13:45:00 | 0.519 | 0 | 0.547 | 0 | 1.463 | 0 | 1.241 | 0 | 0 | 881 | 86.82 | 1.953
2020-08-04 14:00:00 | 0.537 | 0 | 0.567 | 0 | 1.511 | 0 | 1.283 | 0 | 0 | 881 | 87.41 | 3.384
2020-08-04 14:15:00 | 0.434 | 0 | 0.459 | 0 | 1.22 | 0 | 1.036 | 0 | 0 | 881 | 86.9 | 3.938
2020-08-04 14:30:00 | 0.46 | 0 | 0.487 | 0 | 1.295 | 0 | 1.1 | 0 | 0 | 881 | 85.87 | 4.507
2020-08-04 14:45:00 | 0.425 | 0 | 0.45 | 0 | 1.196 | 0 | 1.015 | 0 | 0 | 881 | 85.58 | 2.309
2020-08-04 15:00:00 | 2.792 | 159.12 | 2.895 | 139.472 | 3.1 | 155.619 | 3.209 | 140.184 | 27.67 | 881 | 83.71 | 3.791
2020-08-04 15:15:00 | 2.6827 | 151.14 | 2.7607 | 137.3833 | 3.0487 | 147.8147 | 3.0913 | 138.0853 | 28.2333 | 881 | 84.34 | 2.588
2020-08-04 15:30:00 | 1.5573 | 177.9933 | 1.596 | 150.4613 | 1.7553 | 171.2527 | 1.7727 | 151.2307 | 28.0333 | 881 | 83.7067 | 1.424
2020-08-04 15:45:00 | 1.284 | 214.5267 | 1.3247 | 157.2053 | 1.592 | 209.8073 | 1.5787 | 158.0073 | 28.0467 | 880.8 | 85.1267 | 0
2020-08-04 16:00:00 | 2.052 | 156.94 | 2.126 | 140.245 | 2.333 | 153.486 | 2.396 | 140.961 | 28.35 | 880 | 88.14 | 0.056
2020-08-04 16:15:00 | 1.627 | 177.24 | 1.675 | 177.752 | 1.883 | 173.34 | 1.898 | 178.659 | 28.42 | 880 | 86.2 | 0.394
2020-08-04 16:30:00 | 1.697 | 152.48 | 1.822 | 171.316 | 2.183 | 149.125 | 2.274 | 172.191 | 28.92 | 880 | 84.86 | 0.128
2020-08-04 16:45:00 | 2.555 | 176.21 | 2.585 | 147.816 | 2.638 | 172.333 | 2.675 | 148.572 | 28.24 | 880 | 85 | 1.428
2020-08-04 17:00:00 | 2.079 | 157.61 | 2.222 | 148.96 | 2.222 | 154.143 | 2.451 | 149.721 | 27.81 | 879.7 | 86.17 | 0.523
2020-08-04 17:15:00 | 3.569 | 204.8 | 3.961 | 199.012 | 4.244 | 200.295 | 4.792 | 200.032 | 26.7 | 879 | 91.73 | 8.122
2020-08-04 17:30:00 | 2.873 | 194.7 | 2.994 | 186.074 | 3.182 | 190.416 | 3.325 | 187.025 | 27.12 | 879 | 97.1 | 4.314
2020-08-04 17:45:00 | 2.2911 | 185.3444 | 2.5767 | 161.9356 | 2.8956 | 181.2678 | 3.2622 | 162.7633 | 27.2556 | 879 | 99.0111 | 5.094
2020-08-04 18:00:00 | 2.894 | 169.1933 | 3.0147 | 154.53 | 3.1553 | 165.472 | 3.3107 | 155.3213 | 27.4933 | 878.5333 | 98.0133 | 5.38
2020-08-04 18:15:00 | 2.4753 | 159.2133 | 2.5733 | 154.9413 | 2.5533 | 155.7113 | 2.72 | 155.7327 | 27.5867 | 879 | 94.0267 | 3.366
2020-08-04 18:30:00 | 1.986 | 157.37 | 2.04 | 141.038 | 2.13 | 153.908 | 2.191 | 141.759 | 27.63 | 879 | 92.84 | 1.074
2020-08-04 18:45:00 | 1.937 | 155.29 | 2.033 | 132.803 | 2.095 | 151.873 | 2.235 | 133.482 | 27.48 | 879 | 92.54 | 0.36
2020-08-04 19:00:00 | 2.351 | 174.27 | 2.473 | 158.936 | 2.576 | 170.437 | 2.746 | 159.746 | 27.16 | 879 | 92.73 | 2.484
2020-08-04 19:15:00 | 2.955 | 152.31 | 3.05 | 142.376 | 2.933 | 148.96 | 3.126 | 143.104 | 27.56 | 879 | 95.54 | 6.108
2020-08-04 19:30:00 | 2.859 | 154.37 | 2.905 | 148.06 | 2.896 | 150.974 | 2.978 | 148.816 | 27.45 | 879 | 93.96 | 7.338
2020-08-04 19:45:00 | 3.023 | 144.7 | 3.131 | 131.336 | 3.254 | 141.517 | 3.396 | 132.007 | 27.38 | 879 | 94.92 | 6.48
2020-08-04 20:00:00 | 2.797 | 141.76 | 2.94 | 136.275 | 2.808 | 138.641 | 3.08 | 136.97 | 27.39 | 879 | 93.55 | 4.623
2020-08-04 20:15:00 | 3.1656 | 145.5889 | 3.3356 | 146.82 | 3.48 | 142.3856 | 3.7089 | 147.57 | 27.3556 | 879 | 95.2778 | 6.311
2020-08-04 20:30:00 | 3.4953 | 149.36 | 3.666 | 137.944 | 3.6753 | 146.0747 | 3.9507 | 138.6493 | 27.5467 | 879 | 92.5467 | 9.1907
2020-08-04 20:45:00 | 3.228 | 153.2467 | 3.3567 | 147.7033 | 3.2433 | 149.8753 | 3.4853 | 148.4587 | 27.5133 | 879 | 92.0867 | 7.2727
2020-08-04 21:00:00 | 2.939 | 161.09 | 3 | 149.369 | 2.787 | 157.547 | 2.952 | 150.134 | 27.44 | 879 | 93.4 | 6.874
2020-08-04 21:15:00 | 2.555 | 152.52 | 2.615 | 148.647 | 2.4 | 149.165 | 2.558 | 149.406 | 27.31 | 879 | 94.64 | 7.398
2020-08-04 21:30:00 | 2.521 | 147.79 | 2.572 | 149.243 | 2.532 | 144.539 | 2.63 | 150.005 | 27.14 | 879 | 95.93 | 4.931
2020-08-04 21:45:00 | 2.256 | 144.65 | 2.293 | 144.628 | 2.232 | 141.468 | 2.318 | 145.367 | 27.23 | 879 | 96.14 | 4.571
2020-08-04 22:00:00 | 1.982 | 154.72 | 2.042 | 147.834 | 1.896 | 151.317 | 2.041 | 148.591 | 27.1 | 879 | 96.84 | 4.575
2020-08-04 22:15:00 | 1.535 | 147.77 | 1.562 | 144.352 | 1.606 | 144.518 | 1.642 | 145.092 | 26.98 | 879 | 98.24 | 3.343
2020-08-04 22:30:00 | 1.325 | 134.15 | 1.415 | 150.387 | 1.423 | 131.198 | 1.564 | 151.156 | 26.89 | 879.7 | 98.89 | 2.731
2020-08-04 22:45:00 | 1.502 | 136.82 | 1.586 | 143.59 | 1.65 | 133.808 | 1.77 | 144.326 | 26.8 | 879.6 | 98.86 | 3.986
2020-08-04 23:00:00 | 1.7387 | 132.8133 | 1.8173 | 144.3853 | 1.8787 | 129.8913 | 1.992 | 145.124 | 26.6067 | 880 | 99.1067 | 3.8153
2020-08-04 23:15:00 | 1.586 | 126.1267 | 1.7167 | 138.8293 | 1.784 | 123.352 | 1.9747 | 139.5393 | 26.4467 | 880 | 98.3733 | 4.4293
2020-08-04 23:30:00 | 1.694 | 128.95 | 1.827 | 126.963 | 1.863 | 126.113 | 2.068 | 127.612 | 26.26 | 880 | 98.69 | 3.826
2020-08-04 23:45:00 | 1.861 | 136.58 | 1.922 | 130.63 | 2.027 | 133.576 | 2.094 | 131.298 | 26.21 | 880 | 99.52 | 4.072