## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-05 00:00:00 | 2.051 | 139.04 | 2.12 | 138.827 | 2.264 | 135.983 | 2.338 | 139.537 | 26.13 | 880 | 99.84 | 4.584
2020-08-05 00:15:00 | 1.783 | 131.5 | 1.87 | 142.916 | 1.978 | 128.608 | 2.091 | 143.646 | 25.94 | 880 | 99.61 | 3.866
2020-08-05 00:30:00 | 1.2 | 128.45 | 1.242 | 168.578 | 1.253 | 125.624 | 1.315 | 169.439 | 25.96 | 880 | 98.66 | 4.437
2020-08-05 00:45:00 | 1.456 | 165.78 | 1.477 | 165.146 | 1.608 | 162.132 | 1.61 | 165.989 | 25.92 | 880 | 98.47 | 4.28
2020-08-05 01:00:00 | 1.863 | 172.5 | 1.892 | 159.336 | 1.964 | 168.705 | 1.995 | 160.149 | 25.96 | 880 | 98.88 | 4.318
2020-08-05 01:15:00 | 1.625 | 182.23 | 1.688 | 178.035 | 1.707 | 178.221 | 1.806 | 178.945 | 25.96 | 880 | 98.86 | 4.295
2020-08-05 01:30:00 | 1.712 | 187.34 | 1.733 | 186.172 | 1.766 | 183.219 | 1.791 | 187.123 | 25.9 | 880 | 98.84 | 3.354
2020-08-05 01:45:00 | 1.212 | 193.57 | 1.191 | 186.779 | 1.196 | 189.312 | 1.161 | 187.735 | 25.83 | 880 | 99.23 | 2.933
2020-08-05 02:00:00 | 1.1978 | 187.1222 | 1.2311 | 170.0956 | 1.2089 | 183.0067 | 1.2667 | 170.9644 | 25.7111 | 880 | 99.7 | 3.404
2020-08-05 02:15:00 | 1.3 | 174.9267 | 1.344 | 166.456 | 1.4593 | 171.078 | 1.498 | 167.306 | 25.7333 | 880 | 99.7867 | 3.276
2020-08-05 02:30:00 | 1.7627 | 191.16 | 1.8307 | 169.91 | 1.9313 | 186.9553 | 2.0113 | 170.7793 | 25.8067 | 880 | 99.7467 | 3.484
2020-08-05 02:45:00 | 1.523 | 184.28 | 1.568 | 183.101 | 1.602 | 180.226 | 1.664 | 184.037 | 25.78 | 880 | 99.64 | 2.77
2020-08-05 03:00:00 | 1.417 | 191.87 | 1.442 | 178.016 | 1.416 | 187.649 | 1.462 | 178.926 | 25.61 | 880 | 99.83 | 3.076
2020-08-05 03:15:00 | 1.436 | 188.37 | 1.433 | 168.363 | 1.305 | 184.226 | 1.341 | 169.224 | 25.54 | 879.2 | 99.98 | 3.837
2020-08-05 03:30:00 | 1.787 | 171.94 | 1.787 | 178.378 | 1.854 | 168.157 | 1.843 | 179.289 | 25.37 | 879 | 100 | 4.986
2020-08-05 03:45:00 | 1.534 | 119.92 | 1.488 | 160.509 | 1.543 | 117.283 | 1.458 | 161.331 | 25.47 | 879 | 100 | 6.114
2020-08-05 04:00:00 | 0.832 | 142.19 | 0.833 | 171.59 | 0.791 | 139.063 | 0.807 | 172.466 | 25.25 | 879 | 100 | 3.413
2020-08-05 04:15:00 | 0.719 | 85.31 | 0.693 | 162.612 | 0.761 | 83.434 | 0.697 | 163.444 | 25.34 | 879 | 100 | 2.123
2020-08-05 04:30:00 | 0.56133 | 271.3733 | 0.53533 | 199.004 | 0.468 | 265.4033 | 0.448 | 200.0193 | 25.2667 | 879 | 100 | 2.988
2020-08-05 04:45:00 | 1.0587 | 220.6667 | 1.0167 | 189.0667 | 0.95867 | 215.812 | 0.90867 | 190.034 | 25.2067 | 879 | 100 | 3.116
2020-08-05 05:00:00 | 1.581 | 197.97 | 1.582 | 187.728 | 1.543 | 193.614 | 1.554 | 188.687 | 25.23 | 879 | 100 | 3.457
2020-08-05 05:15:00 | 1.148 | 184.95 | 1.152 | 150.104 | 0.966 | 180.881 | 1.028 | 150.87 | 25.75 | 879 | 99.92 | 2.999
2020-08-05 05:30:00 | 1.273 | 192.48 | 1.252 | 196.92 | 1.275 | 188.245 | 1.233 | 197.926 | 24.98 | 879 | 99.81 | 1.985
2020-08-05 05:45:00 | 0.915 | 207.32 | 0.881 | 186.231 | 0.854 | 202.757 | 0.806 | 187.183 | 25.15 | 879 | 99.98 | 3.599
2020-08-05 06:00:00 | 1.354 | 200.49 | 1.296 | 164.461 | 1.251 | 196.079 | 1.175 | 165.302 | 25.38 | 879 | 100 | 2.91
2020-08-05 06:15:00 | 1.534 | 184.28 | 1.514 | 153.39 | 1.551 | 180.225 | 1.509 | 154.173 | 25.52 | 879 | 100 | 5.704
2020-08-05 06:30:00 | 1.751 | 160.46 | 1.733 | 148.274 | 1.711 | 156.931 | 1.692 | 149.033 | 25.66 | 879 | 100 | 6.517
2020-08-05 06:45:00 | 1.854 | 152.32 | 1.866 | 155.288 | 1.838 | 148.968 | 1.868 | 156.08 | 25.66 | 879 | 100 | 6.024
2020-08-05 07:00:00 | 2.006 | 132.6667 | 2.1393 | 150.8593 | 2.1 | 129.748 | 2.3273 | 151.6307 | 25.6333 | 879 | 99.7267 | 7.154
2020-08-05 07:15:00 | 2.2164 | 129.1357 | 2.3364 | 130.7443 | 2.4386 | 126.295 | 2.6036 | 131.4129 | 26 | 879.8571 | 98.3714 | 8.684
2020-08-05 07:30:00 | 2.578 | 139.95 | 2.665 | 135.659 | 2.823 | 136.87 | 2.919 | 136.352 | 25.82 | 880 | 96.08 | 10.106
2020-08-05 07:45:00 | 3.091 | 126.91 | 3.27 | 130.779 | 3.32 | 124.118 | 3.594 | 131.448 | 25.8 | 880 | 94.06 | 10.168
2020-08-05 08:00:00 | 3.177 | 136.72 | 3.326 | 140.627 | 3.226 | 133.712 | 3.497 | 141.346 | 25.9 | 881 | 93.73 | 10.658
2020-08-05 08:15:00 | 3.084 | 141.69 | 3.155 | 136.695 | 3.214 | 138.573 | 3.316 | 137.396 | 25.55 | 881 | 97.54 | 11.286
2020-08-05 08:30:00 | 3.367 | 133.21 | 3.491 | 130.153 | 3.743 | 130.28 | 3.872 | 130.818 | 25.47 | 881 | 98.79 | 13.416
2020-08-05 08:45:00 | 3.279 | 138.29 | 3.461 | 145.4 | 3.678 | 135.248 | 3.906 | 146.142 | 25.28 | 881 | 94.31 | 14.011
2020-08-05 09:00:00 | 3.777 | 133.84 | 4.088 | 143.932 | 4.528 | 130.895 | 4.895 | 144.668 | 25.34 | 881 | 92.09 | 13.28
2020-08-05 09:15:00 | 3.436 | 138.02 | 3.702 | 125.578 | 4.054 | 134.984 | 4.384 | 126.218 | 25.3 | 881 | 89.68 | 9.488
2020-08-05 09:30:00 | 2.182 | 154.7067 | 2.2873 | 154.146 | 2.6847 | 151.3027 | 2.7393 | 154.9347 | 25.4733 | 881.5333 | 89.7333 | 6.388
2020-08-05 09:45:00 | 2.6673 | 141.1467 | 2.7693 | 143.7587 | 2.9407 | 138.042 | 3.0527 | 144.4953 | 25.9667 | 882 | 90.2467 | 6.4247
2020-08-05 10:00:00 | 2.52 | 145.7 | 2.614 | 138.602 | 2.775 | 142.495 | 2.882 | 139.308 | 26.01 | 882 | 90.33 | 4.272
2020-08-05 10:15:00 | 2.226 | 152.64 | 2.294 | 141.887 | 2.484 | 149.282 | 2.541 | 142.614 | 25.9 | 882 | 89.74 | 1.993
2020-08-05 10:30:00 | 1.593 | 176.85 | 1.63 | 165.567 | 1.73 | 172.96 | 1.764 | 166.413 | 26.06 | 882 | 89.32 | 2.186
2020-08-05 10:45:00 | 1.727 | 177.79 | 1.784 | 169.889 | 1.909 | 173.879 | 1.966 | 170.756 | 26.22 | 882 | 90.78 | 1.969
2020-08-05 11:00:00 | 1.795 | 176.04 | 1.89 | 168.48 | 2.092 | 172.165 | 2.185 | 169.34 | 26.35 | 882 | 91.36 | 2.788
2020-08-05 11:15:00 | 1.749 | 143.13 | 1.865 | 155.198 | 2.123 | 139.983 | 2.232 | 155.992 | 26.36 | 882 | 91.48 | 1.8
2020-08-05 11:30:00 | 1.7889 | 158.4 | 1.8878 | 164.9022 | 1.9178 | 154.9144 | 2.0722 | 165.7456 | 26.4667 | 882 | 89.1222 | 1.285
2020-08-05 11:45:00 | 2.2133 | 183.2267 | 2.3213 | 167.6747 | 2.3413 | 179.196 | 2.508 | 168.5313 | 26.6467 | 882 | 88.8 | 1.3313
2020-08-05 12:00:00 | 2.222 | 189.16 | 2.3393 | 168.2173 | 2.612 | 184.9993 | 2.722 | 169.0747 | 26.4267 | 882 | 89.4533 | 1.7433
2020-08-05 12:15:00 | 1.685 | 178.75 | 1.7764 | 167.3857 | 1.9457 | 174.815 | 2.0436 | 168.2407 | 26.4929 | 882 | 89.16 | 1.0771
2020-08-05 12:30:00 | 1.523 | 166.09 | 1.571 | 171.16 | 1.729 | 162.436 | 1.759 | 172.034 | 26.72 | 882 | 91.27 | 0.418
2020-08-05 12:45:00 | 1.296 | 163.86 | 1.31 | 167.453 | 1.444 | 160.256 | 1.428 | 168.309 | 26.77 | 882 | 90.85 | 0
2020-08-05 13:00:00 | 1.945 | 214.04 | 2.081 | 192.832 | 2.165 | 209.332 | 2.359 | 193.818 | 26.78 | 882 | 90.16 | 0.027
2020-08-05 13:15:00 | 1.201 | 187.19 | 1.297 | 187.17 | 1.5 | 183.072 | 1.597 | 188.127 | 27.18 | 882 | 87.9 | 0.237
2020-08-05 13:30:00 | 1.3 | 200.9 | 1.366 | 176.568 | 1.209 | 196.481 | 1.362 | 177.471 | 27.71 | 882 | 85.69 | 0.091
2020-08-05 13:45:00 | 0.884 | 199.83 | 0.894 | 175.023 | 0.916 | 195.434 | 0.923 | 175.919 | 27.68 | 882 | 87.29 | 0
2020-08-05 14:00:00 | 1.314 | 185.82 | 1.33 | 184.942 | 1.54 | 185 | 1.508 | 185.884 | 27.9 | 882.4 | 88.2 | 0
2020-08-05 14:15:00 | 1.1347 | 191.2267 | 1.156 | 149.5307 | 1.236 | 187.0193 | 1.2473 | 150.2947 | 28.24 | 883 | 86.64 | 0
2020-08-05 14:30:00 | 1.082 | 179.8267 | 1.1373 | 157.83 | 1.172 | 175.87 | 1.2467 | 158.6373 | 28.3933 | 883 | 83.6733 | 0
2020-08-05 14:45:00 | 0.874 | 202.6467 | 0.92 | 161.722 | 0.936 | 198.1893 | 1.0067 | 162.5493 | 28.46 | 883 | 82.9533 | 0
2020-08-05 15:00:00 | 0.852 | 157.81 | 0.863 | 129.108 | 0.988 | 154.337 | 0.966 | 129.766 | 28.3 | 883 | 83.67 | 0
2020-08-05 15:15:00 | 1.307 | 199.93 | 1.366 | 149.773 | 1.462 | 195.531 | 1.529 | 150.536 | 28.04 | 883 | 85.89 | 0
2020-08-05 15:30:00 | 1.318 | 208.43 | 1.304 | 195.492 | 1.255 | 203.845 | 1.25 | 196.493 | 28.14 | 882.3 | 85.99 | 0
2020-08-05 15:45:00 | 0.993 | 227.2 | 1.008 | 194.398 | 0.972 | 222.202 | 1.004 | 195.391 | 28.23 | 882 | 84.92 | 0
2020-08-05 16:00:00 | 0.918 | 200.93 | 0.913 | 163.513 | 0.883 | 196.51 | 0.886 | 164.348 | 28.61 | 882 | 86.88 | 0
2020-08-05 16:15:00 | 1.164 | 169.99 | 1.218 | 146.407 | 1.319 | 166.249 | 1.376 | 147.155 | 28.98 | 882 | 84.26 | 0
2020-08-05 16:30:00 | 1.064 | 196.08 | 1.038 | 150.142 | 1.176 | 191.768 | 1.098 | 150.91 | 28.64 | 882 | 81.8 | 0
2020-08-05 16:45:00 | 0.778 | 72.0533 | 0.8 | 60.6747 | 1.1333 | 70.468 | 1.0727 | 60.9853 | 13.3 | 882 | 85.6 | 0
2020-08-05 17:00:00 | 1.0047 | 165.86 | 1.042 | 148.5193 | 1.084 | 162.2107 | 1.132 | 149.2787 | 28.66 | 882 | 84.5533 | 0
2020-08-05 17:15:00 | 1.121 | 169.87 | 1.216 | 172.88 | 1.231 | 166.134 | 1.378 | 173.765 | 28.63 | 882 | 85.17 | 0
2020-08-05 17:30:00 | 1.632 | 204.81 | 1.698 | 188.86 | 1.779 | 200.302 | 1.863 | 189.827 | 28.34 | 882 | 86.6 | 0
2020-08-05 17:45:00 | 1.126 | 116.39 | 1.145 | 132.715 | 1.512 | 113.829 | 1.436 | 133.394 | 19.91 | 881.8 | 88.74 | 0.022
2020-08-05 18:00:00 | 0.892 | 219.21 | 0.938 | 161.829 | 0.994 | 214.388 | 1.053 | 162.657 | 28.56 | 881 | 86.87 | 0.059
2020-08-05 18:15:00 | 1.363 | 193.67 | 1.435 | 195.17 | 1.475 | 189.409 | 1.579 | 196.167 | 28.41 | 881 | 85.39 | 0
2020-08-05 18:30:00 | 1.335 | 175.72 | 1.336 | 155.216 | 1.318 | 171.855 | 1.325 | 156.013 | 28.34 | 881 | 88.18 | 0.131
2020-08-05 18:45:00 | 1.609 | 174.09 | 1.656 | 158.544 | 1.572 | 170.26 | 1.671 | 159.354 | 28.17 | 881 | 86.18 | 0.333
2020-08-05 19:00:00 | 1.534 | 163.18 | 1.53 | 154.036 | 1.704 | 159.588 | 1.646 | 154.822 | 28 | 881 | 86.26 | 0.012
2020-08-05 19:15:00 | 1.1733 | 201.1 | 1.2 | 174.2144 | 1.28 | 196.6756 | 1.2978 | 175.1056 | 27.7889 | 881 | 89.525 | 0.71
2020-08-05 19:30:00 | 1.2207 | 165.2133 | 1.244 | 171.802 | 1.2147 | 161.578 | 1.2613 | 172.68 | 27.8133 | 881 | 89.48 | 1.3773
2020-08-05 19:45:00 | 1.2587 | 155.7733 | 1.3133 | 156.166 | 1.3507 | 152.3467 | 1.4273 | 156.9667 | 27.5667 | 881 | 91.8267 | 1.186
2020-08-05 20:00:00 | 0.97533 | 136.6667 | 0.99333 | 134.6113 | 0.95333 | 133.6607 | 0.99333 | 135.3007 | 27.3867 | 881 | 91.24 | 0.69133
2020-08-05 20:15:00 | 1.479 | 144.94 | 1.514 | 135.042 | 1.444 | 141.75 | 1.526 | 135.734 | 27.5 | 881 | 92.88 | 1.481
2020-08-05 20:30:00 | 1.273 | 167.25 | 1.336 | 159.308 | 1.408 | 163.913 | 1.493 | 160.119 | 27.14 | 881 | 93.2 | 0.313
2020-08-05 20:45:00 | 1.039 | 154.21 | 1.092 | 137.506 | 1.136 | 150.817 | 1.209 | 138.209 | 27.29 | 881 | 94.52 | 2.287
2020-08-05 21:00:00 | 1.458 | 134.09 | 1.477 | 119.307 | 1.406 | 131.138 | 1.46 | 119.916 | 27.23 | 881 | 94.59 | 1.817
2020-08-05 21:15:00 | 1.483 | 130.32 | 1.542 | 137.985 | 1.402 | 127.454 | 1.539 | 138.69 | 27.29 | 881 | 96.11 | 1.41
2020-08-05 21:30:00 | 1.633 | 144.98 | 1.646 | 143.894 | 1.561 | 141.76 | 1.61 | 144.629 | 27.37 | 881 | 96.7 | 1.708
2020-08-05 21:45:00 | 1.428 | 156.76 | 1.498 | 153.978 | 1.386 | 153.308 | 1.534 | 154.764 | 27.24 | 881 | 96.6 | 1.716
2020-08-05 22:00:00 | 1.3407 | 156.4667 | 1.3753 | 146.7387 | 1.168 | 153.024 | 1.2887 | 147.4887 | 27.28 | 881.8 | 95.7733 | 1.748
2020-08-05 22:15:00 | 1.3227 | 145.2333 | 1.362 | 135.6827 | 1.1287 | 141.874 | 1.2647 | 136.3753 | 27.3 | 882 | 93.36 | 2.0113
2020-08-05 22:30:00 | 1.409 | 164.05 | 1.464 | 161.106 | 1.389 | 160.442 | 1.503 | 161.93 | 27.26 | 882 | 93.19 | 1.912
2020-08-05 22:45:00 | 1.698 | 160.49 | 1.755 | 152.197 | 1.746 | 156.959 | 1.842 | 152.973 | 27.08 | 882 | 94.68 | 3.176
2020-08-05 23:00:00 | 1.696 | 164.37 | 1.764 | 166.554 | 1.785 | 160.753 | 1.886 | 167.404 | 26.98 | 882 | 95.55 | 2.241
2020-08-05 23:15:00 | 1.901 | 153 | 2.004 | 155.726 | 2.064 | 149.634 | 2.212 | 156.523 | 26.77 | 881.8 | 96.5 | 2.174
2020-08-05 23:30:00 | 1.847 | 166.78 | 1.939 | 166.387 | 1.917 | 163.111 | 2.071 | 167.238 | 26.54 | 881 | 96.73 | 2.4
2020-08-05 23:45:00 | 1.489 | 146.55 | 1.583 | 145.907 | 1.696 | 143.325 | 1.814 | 146.652 | 26.53 | 882 | 97.03 | 2.611