## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-06 00:00:00 | 1.426 | 164.12 | 1.518 | 154.309 | 1.715 | 160.509 | 1.805 | 155.097 | 26.5 | 882 | 97.64 | 3.305
2020-08-06 00:15:00 | 1.775 | 153.15 | 1.847 | 153.819 | 2.016 | 149.779 | 2.086 | 154.605 | 26.51 | 882 | 98.4 | 4.814
2020-08-06 00:30:00 | 2.012 | 147.86 | 2.044 | 148.99 | 2.116 | 144.608 | 2.148 | 149.75 | 26.48 | 882 | 98.2 | 5.334
2020-08-06 00:45:00 | 1.941 | 146.62 | 2.022 | 150.934 | 2.105 | 143.394 | 2.215 | 151.706 | 26.19 | 882 | 97.72 | 5.331
2020-08-06 01:00:00 | 2.201 | 130.43 | 2.317 | 129.155 | 2.402 | 127.561 | 2.566 | 129.816 | 25.89 | 881.3 | 98.05 | 4.715
2020-08-06 01:15:00 | 2.1207 | 132.9667 | 2.264 | 138.8293 | 2.4367 | 130.0407 | 2.618 | 139.5393 | 25.7667 | 881 | 98.3467 | 5.1333
2020-08-06 01:30:00 | 2.2027 | 150.7867 | 2.328 | 139.306 | 2.4833 | 147.4687 | 2.6433 | 140.018 | 25.5667 | 881 | 97.9067 | 6.0787
2020-08-06 01:45:00 | 2.321 | 158.45 | 2.444 | 140.431 | 2.441 | 154.964 | 2.64 | 141.15 | 25.87 | 881 | 97.18 | 9.323
2020-08-06 02:00:00 | 2.824 | 155 | 2.977 | 145.605 | 3.081 | 151.59 | 3.294 | 146.351 | 26.01 | 881 | 96.92 | 11.338
2020-08-06 02:15:00 | 2.853 | 147.31 | 3.016 | 135.083 | 3.16 | 144.07 | 3.382 | 135.771 | 25.64 | 880.8 | 95.05 | 12.078
2020-08-06 02:30:00 | 2.678 | 157.55 | 2.752 | 148.89 | 2.777 | 154.083 | 2.893 | 149.651 | 26.19 | 880 | 95.12 | 11.489
2020-08-06 02:45:00 | 3.07 | 153.82 | 3.142 | 149.8 | 3.312 | 150.434 | 3.379 | 150.567 | 26.27 | 880 | 96.44 | 15.285
2020-08-06 03:00:00 | 3.522 | 148.33 | 3.668 | 151.698 | 3.958 | 145.066 | 4.108 | 152.474 | 26.27 | 880 | 96.74 | 18.506
2020-08-06 03:15:00 | 3.702 | 153.31 | 3.831 | 152.391 | 4.14 | 149.937 | 4.262 | 153.172 | 26.2 | 880 | 94.67 | 20.882
2020-08-06 03:30:00 | 3.523 | 142.93 | 3.6 | 147.403 | 3.915 | 139.786 | 3.948 | 148.158 | 26.12 | 880 | 93.79 | 17.739
2020-08-06 03:45:00 | 3.678 | 138.42 | 3.81 | 143.96 | 4.188 | 135.374 | 4.288 | 144.7 | 26.16 | 880 | 94.38 | 19.54
2020-08-06 04:00:00 | 3.0227 | 154.7067 | 3.1333 | 152.582 | 3.2447 | 151.3033 | 3.3933 | 153.3607 | 26.2533 | 880 | 92.12 | 12.2133
2020-08-06 04:15:00 | 3.042 | 154.32 | 3.1033 | 154.074 | 3.0947 | 150.9253 | 3.2 | 154.8613 | 26.4067 | 880 | 94.12 | 10.584
2020-08-06 04:30:00 | 2.929 | 150.98 | 2.986 | 142.554 | 2.973 | 147.659 | 3.072 | 143.283 | 26.53 | 880 | 94.42 | 8.692
2020-08-06 04:45:00 | 2.651 | 143.64 | 2.765 | 147.668 | 2.847 | 140.48 | 3.008 | 148.424 | 26.22 | 880 | 93.72 | 7.062
2020-08-06 05:00:00 | 3.164 | 164.49 | 3.219 | 146.084 | 3.317 | 160.87 | 3.388 | 146.831 | 26.52 | 880 | 92.75 | 11.182
2020-08-06 05:15:00 | 3.337 | 173.16 | 3.327 | 145.204 | 3.413 | 169.352 | 3.375 | 145.946 | 26.95 | 880 | 90.93 | 10.775
2020-08-06 05:30:00 | 3.708 | 191.56 | 3.91 | 164.364 | 4.215 | 187.345 | 4.452 | 165.203 | 26.24 | 880 | 90.74 | 18.35
2020-08-06 05:45:00 | 3.661 | 173.04 | 3.814 | 164.362 | 3.963 | 169.234 | 4.168 | 165.202 | 26.52 | 880 | 91.74 | 17.43
2020-08-06 06:00:00 | 3.5673 | 166.1 | 3.6407 | 151.732 | 3.808 | 162.4447 | 3.8787 | 152.5093 | 26.4333 | 880 | 91.8067 | 16.6
2020-08-06 06:15:00 | 3.554 | 141.1333 | 3.6453 | 141.5167 | 3.714 | 138.0273 | 3.8453 | 142.24 | 26.48 | 880 | 90.6867 | 13.738
2020-08-06 06:30:00 | 3.2547 | 137.2067 | 3.3953 | 142.5333 | 3.636 | 134.1887 | 3.7933 | 143.2613 | 26.26 | 880.1333 | 89.7267 | 11.4053
2020-08-06 06:45:00 | 2.955 | 154.13 | 3.053 | 152.109 | 3.252 | 150.739 | 3.352 | 152.885 | 26.07 | 881 | 89.44 | 9.84
2020-08-06 07:00:00 | 2.899 | 162.1 | 2.987 | 160.822 | 3.14 | 158.532 | 3.239 | 161.645 | 25.9 | 881 | 90.16 | 11.169
2020-08-06 07:15:00 | 3.299 | 165.71 | 3.352 | 147.11 | 3.388 | 162.066 | 3.464 | 147.861 | 26.03 | 881 | 90.72 | 11.335
2020-08-06 07:30:00 | 3.348 | 147.16 | 3.413 | 142.661 | 3.362 | 143.924 | 3.483 | 143.391 | 26.12 | 881 | 91.92 | 10.517
2020-08-06 07:45:00 | 3.42 | 148.86 | 3.534 | 142.457 | 3.705 | 145.584 | 3.842 | 143.184 | 26.22 | 881 | 92.96 | 11.381
2020-08-06 08:00:00 | 2.977 | 151.67 | 3.05 | 148.969 | 3.077 | 148.332 | 3.189 | 149.73 | 26.21 | 881 | 89.66 | 9.933
2020-08-06 08:15:00 | 2.882 | 147.57 | 2.949 | 135.365 | 3.258 | 144.322 | 3.28 | 136.056 | 26.12 | 881 | 88.4 | 8.853
2020-08-06 08:30:00 | 2.97 | 148.6067 | 3.102 | 147.8987 | 3.3787 | 145.3367 | 3.5167 | 148.6567 | 26.14 | 881.8 | 87.3667 | 10.1253
2020-08-06 08:45:00 | 2.8393 | 151.2 | 2.9693 | 157.4907 | 3.2173 | 147.8727 | 3.3553 | 158.2967 | 26.1867 | 882 | 88.08 | 9.0327
2020-08-06 09:00:00 | 2.799 | 156.66 | 2.927 | 164.92 | 3.15 | 153.214 | 3.294 | 165.765 | 26.1 | 882 | 87.4 | 7.875
2020-08-06 09:15:00 | 2.446 | 162.05 | 2.592 | 166.624 | 2.827 | 158.485 | 2.996 | 167.475 | 26.11 | 882 | 87.77 | 6.875
2020-08-06 09:30:00 | 2.632 | 169.47 | 2.74 | 158.211 | 2.808 | 165.741 | 2.968 | 159.022 | 26.07 | 882 | 87.62 | 5.757
2020-08-06 09:45:00 | 2.754 | 157.45 | 2.882 | 158.652 | 2.856 | 153.986 | 3.073 | 159.462 | 26.19 | 883 | 88.28 | 4.992
2020-08-06 10:00:00 | 2.748 | 148.11 | 2.846 | 147.883 | 2.854 | 144.852 | 3.013 | 148.639 | 26.35 | 883 | 87.58 | 4.582
2020-08-06 10:15:00 | 2.715 | 148.53 | 2.786 | 142.887 | 2.974 | 145.262 | 3.042 | 143.616 | 26.5 | 883 | 88.44 | 4.252
2020-08-06 10:30:00 | 2.963 | 148.12 | 3.042 | 143.551 | 3.15 | 144.861 | 3.246 | 144.283 | 26.52 | 883 | 88.12 | 4.384
2020-08-06 10:45:00 | 2.9593 | 137.9333 | 3.0313 | 136.1113 | 3.232 | 134.8993 | 3.2927 | 136.808 | 26.6267 | 883 | 86.1333 | 3.7587
2020-08-06 11:00:00 | 2.73 | 132.7067 | 2.806 | 130.8547 | 3.1113 | 129.788 | 3.1473 | 131.5267 | 26.8867 | 883 | 85.5 | 2.7013
2020-08-06 11:15:00 | 2.846 | 133.54 | 2.9286 | 130.4229 | 3.2421 | 128.9421 | 3.2886 | 131.0893 | 27.12 | 883 | 84.1467 | 2.5573
2020-08-06 11:30:00 | 2.823 | 138.11 | 2.877 | 126.083 | 3.38 | 135.072 | 3.324 | 126.728 | 27.39 | 883 | 83.69 | 3.671
2020-08-06 11:45:00 | 3.264 | 135.81 | 3.33 | 130.965 | 3.714 | 132.822 | 3.708 | 131.633 | 27.62 | 883 | 82.58 | 4.085
2020-08-06 12:00:00 | 3.262 | 152.66 | 3.324 | 136.518 | 3.814 | 149.301 | 3.772 | 137.217 | 27.78 | 883 | 80.432 | 5.418
2020-08-06 12:15:00 | 3.063 | 150.09 | 3.165 | 130.114 | 3.402 | 146.789 | 3.497 | 130.777 | 27.69 | 883 | 80.05 | 5.159
2020-08-06 12:30:00 | 2.161 | 158.32 | 2.127 | 134.623 | 2.529 | 154.836 | 2.361 | 135.31 | 27.46 | 883 | 82.34 | 1.471
2020-08-06 12:45:00 | 2.011 | 183.15 | 2.176 | 160.225 | 2.341 | 179.121 | 2.557 | 161.047 | 27.75 | 883 | 85.08 | 0.168
2020-08-06 13:00:00 | 2.2213 | 167.9733 | 2.384 | 173.06 | 2.674 | 164.2767 | 2.8493 | 173.9453 | 27.7333 | 882.8667 | 86.4733 | 0.88133
2020-08-06 13:15:00 | 2.4267 | 168.52 | 2.5647 | 167.0487 | 2.6933 | 164.8127 | 2.878 | 167.9027 | 27.6667 | 882 | 84.8467 | 0.778
2020-08-06 13:30:00 | 2.1107 | 162.3333 | 2.2033 | 162.394 | 2.4053 | 158.7627 | 2.4947 | 163.2227 | 27.7467 | 882 | 86.38 | 1.052
2020-08-06 13:45:00 | 2.198 | 173.78 | 2.328 | 175.913 | 2.475 | 169.957 | 2.646 | 176.812 | 27.64 | 882 | 87.11 | 1.258
2020-08-06 14:00:00 | 2.379 | 182.22 | 2.506 | 182.211 | 2.784 | 178.211 | 2.911 | 183.143 | 27.6 | 882 | 87.44 | 2.622
2020-08-06 14:15:00 | 2.773 | 176.36 | 2.932 | 170.69 | 3.176 | 172.48 | 3.362 | 171.562 | 27.36 | 882 | 87.56 | 4.372
2020-08-06 14:30:00 | 3.064 | 173.32 | 3.238 | 166.251 | 3.316 | 169.508 | 3.573 | 167.101 | 27.5 | 882 | 90.48 | 6.045
2020-08-06 14:45:00 | 2.72 | 191.1 | 2.869 | 171.503 | 3.084 | 186.894 | 3.266 | 172.38 | 27.42 | 882 | 89 | 4.53
2020-08-06 15:00:00 | 2.336 | 162.59 | 2.441 | 149.467 | 2.547 | 159.012 | 2.685 | 150.231 | 27.73 | 881.3 | 88.4 | 1.699
2020-08-06 15:15:00 | 1.81 | 165.92 | 1.922 | 172.52 | 2.014 | 162.268 | 2.17 | 173.402 | 27.78 | 881 | 85.16 | 0.644
2020-08-06 15:30:00 | 2.1287 | 193.0133 | 2.2593 | 185.56 | 2.518 | 188.768 | 2.6513 | 186.508 | 27.7267 | 881 | 85.56 | 0.928
2020-08-06 15:45:00 | 1.5487 | 187.2733 | 1.602 | 173.0213 | 1.7613 | 183.1533 | 1.804 | 173.9053 | 28.42 | 881 | 85.7267 | 1.6693
2020-08-06 16:00:00 | 1.586 | 182.32 | 1.58 | 141.271 | 1.695 | 178.31 | 1.652 | 141.993 | 28.6 | 881 | 84.53 | 1.203
2020-08-06 16:15:00 | 1.503 | 179.96 | 1.505 | 154.279 | 1.759 | 176.001 | 1.693 | 155.067 | 29.11 | 881 | 83.34 | 0.078
2020-08-06 16:30:00 | 1.625 | 179.28 | 1.611 | 156.548 | 1.678 | 175.335 | 1.638 | 157.349 | 28.78 | 881 | 82.62 | 0.354
2020-08-06 16:45:00 | 1.646 | 176.35 | 1.657 | 151.452 | 1.669 | 172.47 | 1.687 | 152.228 | 28.68 | 882 | 85.21 | 0.158
2020-08-06 17:00:00 | 1.608 | 166.57 | 1.619 | 159.023 | 1.527 | 162.906 | 1.578 | 159.836 | 28.83 | 882 | 83.65 | 0.184
2020-08-06 17:15:00 | 1.06 | 148.24 | 1.058 | 163.473 | 0.856 | 144.98 | 0.91 | 164.308 | 28.87 | 882 | 82.92 | 0
2020-08-06 17:30:00 | 1.081 | 130.43 | 1.14 | 133.829 | 1.239 | 127.561 | 1.309 | 134.512 | 28.75 | 882 | 83.35 | 0
2020-08-06 17:45:00 | 0.756 | 126.28 | 0.88 | 128.762 | 0.78 | 123.502 | 1.006 | 129.42 | 28.54 | 882 | 83.9 | 0
2020-08-06 18:00:00 | 1.2613 | 125.0067 | 1.364 | 115.286 | 1.4327 | 122.2567 | 1.5753 | 115.8753 | 28.5 | 881.2 | 84.4667 | 0
2020-08-06 18:15:00 | 1.212 | 124.1933 | 1.2507 | 117.1187 | 1.378 | 121.462 | 1.406 | 117.718 | 28.4133 | 881 | 83.6867 | 0
2020-08-06 18:30:00 | 0.555 | 116.81 | 0.594 | 122.054 | 0.586 | 114.239 | 0.649 | 122.679 | 28.55 | 881 | 86.05 | 0
2020-08-06 18:45:00 | 0.63 | 122.96 | 0.658 | 130.043 | 1.004 | 120.255 | 0.952 | 130.708 | 28.44 | 881 | 89.61 | 0
2020-08-06 19:00:00 | 0.657 | 138.88 | 0.768 | 152.138 | 0.778 | 135.827 | 0.953 | 152.915 | 28.62 | 881 | 91.87 | 0
2020-08-06 19:15:00 | 0.582 | 126.41 | 0.641 | 197.039 | 0.616 | 123.629 | 0.716 | 198.046 | 28.51 | 880.8 | 93.33 | 0
2020-08-06 19:30:00 | 0.537 | 198.71 | 0.577 | 193.165 | 0.863 | 194.338 | 0.842 | 194.154 | 28.48 | 880 | 93.07 | 0
2020-08-06 19:45:00 | 0.674 | 136.44 | 0.689 | 316.08 | 1.064 | 133.436 | 0.979 | 317.697 | 28.22 | 880 | 93.3 | 0.016
2020-08-06 20:00:00 | 1.3 | 306.18 | 1.244 | 319.951 | 1.873 | 299.445 | 1.602 | 321.588 | 27.53 | 880 | 93.96 | 0.009
2020-08-06 20:15:00 | 1.774 | 317.96 | 1.768 | 312.098 | 2.298 | 310.964 | 2.132 | 313.696 | 27.46 | 880 | 95.2 | 0.064
2020-08-06 20:30:00 | 2.1533 | 329.2733 | 2.1773 | 319.702 | 2.694 | 322.0287 | 2.588 | 321.3367 | 27.5533 | 880 | 95.6867 | 0.60333
2020-08-06 20:45:00 | 3.186 | 326.9333 | 3.4053 | 316.2453 | 3.988 | 319.74 | 4.1693 | 317.8633 | 26.7933 | 880 | 96.32 | 3.4627
2020-08-06 21:00:00 | 3.339 | 323.8 | 3.571 | 329.86 | 4.102 | 316.676 | 4.322 | 331.546 | 26.41 | 880.7 | 96.9 | 4.175
2020-08-06 21:15:00 | 3.387 | 333.71 | 3.595 | 332.353 | 4.051 | 326.368 | 4.255 | 334.053 | 26.55 | 881 | 96.36 | 3.876
2020-08-06 21:30:00 | 3.038 | 332.29 | 3.145 | 324.91 | 3.905 | 324.979 | 3.859 | 326.571 | 26.43 | 881 | 97.24 | 4.59
2020-08-06 21:45:00 | 3.194 | 336.01 | 3.317 | 324.814 | 3.927 | 328.618 | 3.949 | 326.473 | 26.61 | 881 | 97.62 | 4.615
2020-08-06 22:00:00 | 3.085 | 332.91 | 3.153 | 326.221 | 3.741 | 325.585 | 3.683 | 327.888 | 26.52 | 881 | 97.5 | 3.601
2020-08-06 22:15:00 | 3.086 | 326.85 | 3.123 | 325.322 | 3.785 | 319.66 | 3.657 | 326.986 | 26.25 | 881 | 97.6 | 3.864
2020-08-06 22:30:00 | 2.788 | 298.33 | 2.79 | 320.677 | 3.395 | 291.766 | 3.226 | 322.315 | 26.08 | 881 | 97.4 | 2.526
2020-08-06 22:45:00 | 2.246 | 299.3867 | 2.1533 | 322.2967 | 2.8647 | 292.8007 | 2.512 | 323.944 | 26.22 | 881 | 98.2533 | 1.524
2020-08-06 23:00:00 | 2.8727 | 305.8267 | 2.8613 | 314.1867 | 3.714 | 299.0987 | 3.4527 | 315.7913 | 26.12 | 881 | 98.42 | 3.6667
2020-08-06 23:15:00 | 2.8607 | 334.34 | 2.9321 | 318.0521 | 3.5786 | 326.6464 | 3.4679 | 319.6779 | 26.1467 | 881 | 99.0867 | 3.0787
2020-08-06 23:30:00 | 2.589 | 297.69 | 2.603 | 320.148 | 3.203 | 291.14 | 3.056 | 321.786 | 26 | 881 | 99.64 | 2.5
2020-08-06 23:45:00 | 2.433 | 232.39 | 2.366 | 320.15 | 3 | 227.279 | 2.711 | 321.786 | 25.85 | 881 | 99.94 | 2.403