## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-07 00:00:00 | 2.19 | 145.78 | 2.066 | 325.488 | 2.848 | 142.571 | 2.425 | 327.152 | 25.66 | 881 | 100 | 1.821
2020-08-07 00:15:00 | 3.049 | 299.09 | 3.048 | 322.338 | 3.752 | 292.51 | 3.549 | 323.986 | 25.51 | 881 | 100 | 4.093
2020-08-07 00:30:00 | 3.119 | 335.47 | 3.144 | 312.715 | 3.888 | 328.089 | 3.72 | 314.314 | 25.32 | 881 | 100 | 4.658
2020-08-07 00:45:00 | 3.647 | 300.23 | 3.864 | 311.269 | 4.528 | 293.625 | 4.686 | 312.861 | 25.03 | 880 | 100 | 7.388
2020-08-07 01:00:00 | 3.822 | 339.11 | 4.088 | 307.209 | 4.325 | 331.649 | 4.685 | 308.78 | 25.07 | 880.7 | 100 | 7.838
2020-08-07 01:15:00 | 3.6889 | 330.0222 | 3.9311 | 312.2333 | 4.2889 | 322.7622 | 4.5744 | 313.8278 | 25.0111 | 881 | 100 | 7.2722
2020-08-07 01:30:00 | 3.316 | 337.6933 | 3.5547 | 328.0287 | 3.954 | 330.264 | 4.2253 | 329.7047 | 24.7267 | 880.2 | 100 | 5.8267
2020-08-07 01:45:00 | 2.59 | 302.5467 | 2.6847 | 317.3733 | 3.366 | 295.892 | 3.3193 | 318.9973 | 24.52 | 880 | 100 | 2.6953
2020-08-07 02:00:00 | 1.511 | 260.3 | 1.51 | 294.936 | 1.937 | 254.574 | 1.815 | 296.443 | 24.64 | 880 | 100 | 0
2020-08-07 02:15:00 | 1.261 | 16.18 | 1.418 | 143.679 | 1.675 | 15.823 | 1.849 | 144.412 | 24.68 | 880 | 100 | 0
2020-08-07 02:30:00 | 1.657 | 24.94 | 1.833 | 35.247 | 1.967 | 24.392 | 2.21 | 35.427 | 24.6 | 880 | 100 | 0
2020-08-07 02:45:00 | 2.073 | 53.38 | 2.159 | 43.237 | 2.081 | 52.205 | 2.239 | 43.458 | 24.85 | 880 | 100 | 0
2020-08-07 03:00:00 | 2.097 | 43.66 | 2.12 | 47.647 | 1.955 | 42.699 | 2.04 | 47.891 | 24.41 | 880 | 100 | 0.205
2020-08-07 03:15:00 | 0.874 | 163.27 | 0.906 | 119.112 | 0.937 | 159.678 | 0.983 | 119.72 | 25.02 | 880 | 100 | 0
2020-08-07 03:30:00 | 2.472 | 146.53 | 2.554 | 185.487 | 3.033 | 143.306 | 3.023 | 186.435 | 24.75 | 880 | 100 | 0
2020-08-07 03:45:00 | 2.9427 | 151.94 | 3.014 | 136.4693 | 3.2073 | 148.598 | 3.27 | 137.1667 | 24.14 | 880 | 100 | 5.2773
2020-08-07 04:00:00 | 3.876 | 175.74 | 4.1187 | 142.684 | 4.242 | 171.8727 | 4.594 | 143.414 | 23.4733 | 880 | 100 | 13.134
2020-08-07 04:15:00 | 3.4636 | 177.6 | 3.5614 | 156.2907 | 3.5264 | 173.6943 | 3.6964 | 157.0914 | 22.7714 | 880 | 100 | 11.6753
2020-08-07 04:30:00 | 3.352 | 160.45 | 3.401 | 137.761 | 3.811 | 156.92 | 3.772 | 138.465 | 22.5 | 880 | 100 | 11.942
2020-08-07 04:45:00 | 2.139 | 116.92 | 2.146 | 140.303 | 2.471 | 114.347 | 2.394 | 141.022 | 22.34 | 880 | 100 | 3.661
2020-08-07 05:00:00 | 2.787 | 158.9 | 2.886 | 137.76 | 3.16 | 155.405 | 3.242 | 138.464 | 22.25 | 880 | 100 | 4.816
2020-08-07 05:15:00 | 2.501 | 165.06 | 2.622 | 143.59 | 2.928 | 161.429 | 3.034 | 144.325 | 22.44 | 880 | 100 | 1.691
2020-08-07 05:30:00 | 1.386 | 193.59 | 1.348 | 169.555 | 1.389 | 189.332 | 1.319 | 170.422 | 22.64 | 880 | 100 | 0
2020-08-07 05:45:00 | 0.432 | 207.31 | 0.485 | 173.849 | 0.571 | 202.749 | 0.625 | 174.737 | 22.67 | 880 | 100 | 0
2020-08-07 06:00:00 | 0.322 | 104.08 | 0.338 | 99.344 | 0.648 | 101.792 | 0.582 | 99.854 | 22.72 | 880 | 100 | 0
2020-08-07 06:15:00 | 1.59 | 137.8733 | 1.6193 | 140.1527 | 2.044 | 134.84 | 1.9707 | 140.87 | 22.7133 | 880 | 100 | 0
2020-08-07 06:30:00 | 1.2493 | 173.4867 | 1.304 | 162.4187 | 1.4913 | 169.6693 | 1.5253 | 163.25 | 22.7333 | 880 | 100 | 0
2020-08-07 06:45:00 | 0.649 | 82.01 | 0.676 | 256.325 | 0.825 | 80.207 | 0.824 | 257.632 | 22.85 | 880 | 100 | 0
2020-08-07 07:00:00 | 0.575 | 260.38 | 0.599 | 157.811 | 0.706 | 254.65 | 0.714 | 158.618 | 23 | 880 | 100 | 0
2020-08-07 07:15:00 | 1.187 | 114.45 | 1.267 | 179.152 | 1.442 | 111.932 | 1.517 | 180.064 | 23.15 | 880 | 100 | 0
2020-08-07 07:30:00 | 0.639 | 152.68 | 0.72 | 191.452 | 0.773 | 149.321 | 0.888 | 192.433 | 23.03 | 880 | 100 | 0
2020-08-07 07:45:00 | 0.424 | 141.95 | 0.447 | 79.904 | 0.589 | 138.829 | 0.588 | 80.311 | 23.29 | 880 | 100 | 0
2020-08-07 08:00:00 | 0.334 | 134.97 | 0.355 | 162.965 | 0.417 | 132 | 0.431 | 163.798 | 23.49 | 880 | 100 | 0
2020-08-07 08:15:00 | 0.788 | 142.54 | 0.758 | 174.036 | 0.909 | 139.404 | 0.816 | 174.925 | 23.57 | 880.2 | 100 | 0
2020-08-07 08:30:00 | 1.0573 | 133.42 | 1.0853 | 142.8853 | 1.21 | 130.4853 | 1.2213 | 143.6167 | 24.0533 | 881 | 100 | 0
2020-08-07 08:45:00 | 0.93 | 131.7733 | 0.96267 | 137.6107 | 0.99667 | 128.8747 | 1.0393 | 138.3147 | 23.9467 | 881 | 100 | 0
2020-08-07 09:00:00 | 0.899 | 129.88 | 0.9 | 139.845 | 0.916 | 127.024 | 0.915 | 140.56 | 24.04 | 881 | 100 | 0
2020-08-07 09:15:00 | 0.905 | 113.99 | 0.996 | 134.131 | 0.887 | 111.482 | 1.067 | 134.818 | 24.37 | 881 | 100 | 0
2020-08-07 09:30:00 | 0.959 | 152.08 | 0.945 | 138.534 | 1.13 | 148.735 | 1.051 | 139.242 | 24.21 | 881 | 100 | 0
2020-08-07 09:45:00 | 0.602 | 197.92 | 0.582 | 177.097 | 0.734 | 193.566 | 0.661 | 178.002 | 24.42 | 882 | 100 | 0
2020-08-07 10:00:00 | 0.281 | 194.93 | 0.294 | 212.666 | 0.356 | 190.642 | 0.361 | 213.754 | 24.94 | 882 | 100 | 0
2020-08-07 10:15:00 | 0.421 | 298.41 | 0.473 | 266.191 | 0.543 | 291.845 | 0.605 | 267.554 | 25.05 | 882 | 100 | 0
2020-08-07 10:30:00 | 0.803 | 299.22 | 0.821 | 319.552 | 0.906 | 292.638 | 0.912 | 321.186 | 25.04 | 882 | 100 | 0
2020-08-07 10:45:00 | 1.1633 | 331.5533 | 1.2093 | 309.7913 | 1.2827 | 324.2593 | 1.3353 | 311.376 | 25.28 | 882 | 100 | 0
2020-08-07 11:00:00 | 1.6489 | 339.4333 | 1.7044 | 323.2411 | 1.88 | 331.9667 | 1.9189 | 324.8922 | 25.2 | 882 | 100 | 0
2020-08-07 11:15:00 | 2.018 | 333.66 | 2.062 | 319.964 | 2.236 | 326.318 | 2.256 | 321.6 | 25.04 | 882 | 99.8 | 0
2020-08-07 11:30:00 | 2.296 | 311.3267 | 2.436 | 260.8787 | 2.6893 | 304.4773 | 2.842 | 262.212 | 26.0067 | 882 | 94.28 | 0.368
2020-08-07 11:45:00 | 1.824 | 301.52 | 1.88 | 304.0267 | 2.2273 | 294.886 | 2.2167 | 305.5807 | 26.5467 | 882 | 90.08 | 0.43667
2020-08-07 12:00:00 | 2.41 | 228.23 | 2.448 | 295.131 | 2.773 | 223.209 | 2.744 | 296.64 | 27.43 | 882 | 87.72 | 0.974
2020-08-07 12:15:00 | 2.336 | 252.35 | 2.457 | 261.42 | 2.846 | 246.799 | 2.932 | 262.756 | 27.34 | 882.8 | 86.01 | 1.506
2020-08-07 12:30:00 | 2.308 | 260.21 | 2.381 | 324.775 | 2.796 | 254.487 | 2.799 | 326.436 | 26.64 | 882.7 | 84.86 | 1.21
2020-08-07 12:45:00 | 1.598 | 231.04 | 1.699 | 146.749 | 2.12 | 225.956 | 2.164 | 147.5 | 26.66 | 883 | 85.56 | 0.123
2020-08-07 13:00:00 | 1.489 | 332.86 | 1.575 | 15.601 | 1.877 | 325.535 | 1.93 | 15.679 | 26.83 | 883 | 87.5 | 0
2020-08-07 13:15:00 | 0.713 | 310.36 | 0.758 | 134.014 | 0.906 | 303.533 | 0.939 | 134.7 | 27.06 | 882 | 86.5 | 0
2020-08-07 13:30:00 | 0.458 | 174.63 | 0.456 | 93.819 | 0.389 | 170.789 | 0.402 | 94.297 | 27.27 | 882 | 84.56 | 0
2020-08-07 13:45:00 | 1.002 | 172.06 | 1.024 | 153.389 | 1.056 | 168.274 | 1.082 | 154.175 | 27.09 | 882 | 84.08 | 0
2020-08-07 14:00:00 | 0.641 | 215.93 | 0.635 | 153.174 | 0.682 | 211.178 | 0.661 | 153.957 | 27.86 | 882 | 85.7 | 0
2020-08-07 14:15:00 | 1.079 | 139.52 | 1.189 | 136.392 | 1.119 | 136.45 | 1.313 | 137.087 | 28.29 | 882 | 84.59 | 0
2020-08-07 14:30:00 | 1.506 | 179.89 | 1.515 | 128.586 | 1.899 | 175.932 | 1.803 | 129.245 | 28.46 | 882 | 85.78 | 0
2020-08-07 14:45:00 | 1.94 | 177.92 | 1.953 | 146.359 | 2.148 | 174.006 | 2.116 | 147.105 | 27.67 | 882 | 86.61 | 0
2020-08-07 15:00:00 | 1.48 | 162.86 | 1.62 | 157.996 | 1.73 | 159.277 | 1.922 | 158.805 | 28.19 | 882 | 87.17 | 0
2020-08-07 15:15:00 | 1.729 | 165.78 | 1.817 | 131.209 | 1.879 | 162.133 | 2.006 | 131.878 | 28.38 | 882 | 88.45 | 0
2020-08-07 15:30:00 | 1.697 | 181.18 | 1.797 | 135.854 | 2.026 | 177.195 | 2.12 | 136.549 | 28.4 | 882 | 85.76 | 0
2020-08-07 15:45:00 | 2.2029 | 173.0071 | 2.3064 | 137.3464 | 2.5614 | 169.2007 | 2.655 | 138.0479 | 28.4643 | 881.5714 | 86.1143 | 0.32867
2020-08-07 16:00:00 | 2.344 | 167.4467 | 2.3913 | 134.338 | 2.662 | 163.7627 | 2.6627 | 135.0247 | 27.64 | 881.1333 | 85.58 | 1.528
2020-08-07 16:15:00 | 2.194 | 144.3 | 2.264 | 138.3793 | 2.504 | 141.126 | 2.5473 | 139.0873 | 27.68 | 882 | 87.2933 | 1.378
2020-08-07 16:30:00 | 2.0353 | 151.5933 | 2.0967 | 139.638 | 2.436 | 148.2593 | 2.438 | 140.3533 | 27.66 | 881.2 | 87.38 | 1.402
2020-08-07 16:45:00 | 2.008 | 156.94 | 2.036 | 151.06 | 2.206 | 153.488 | 2.202 | 151.834 | 27.72 | 881 | 86.66 | 0.692
2020-08-07 17:00:00 | 2.29 | 158.5 | 2.346 | 138.368 | 2.614 | 155.014 | 2.626 | 139.074 | 27.46 | 881 | 86.04 | 1.542
2020-08-07 17:15:00 | 2.29 | 158.5 | 2.346 | 138.368 | 2.614 | 155.014 | 2.626 | 139.074 | 27.46 | 881 | 86.04 | 1.542
2020-08-07 17:30:00 | 2.058 | 139.32 | 2.073 | 133.096 | 2.303 | 136.255 | 2.263 | 133.777 | 27.3 | 881 | 88.23 | 1.527
2020-08-07 17:45:00 | 2.15 | 142.35 | 2.137 | 139.364 | 2.424 | 139.218 | 2.323 | 140.077 | 27.34 | 881 | 88.64 | 1.991
2020-08-07 18:00:00 | 2.268 | 120.27 | 2.339 | 125.135 | 2.405 | 117.624 | 2.505 | 125.775 | 27.31 | 880.3 | 88.71 | 1.882
2020-08-07 18:15:00 | 2.337 | 120.41 | 2.401 | 120.606 | 2.537 | 117.761 | 2.598 | 121.223 | 27.4 | 880 | 90.28 | 3.538
2020-08-07 18:30:00 | 2.161 | 132.98 | 2.226 | 117.057 | 2.36 | 130.055 | 2.429 | 117.655 | 27.59 | 880 | 88.18 | 2.627
2020-08-07 18:45:00 | 2.292 | 133.97 | 2.375 | 131.383 | 2.34 | 131.022 | 2.485 | 132.057 | 27.52 | 880 | 85.99 | 2.573
2020-08-07 19:00:00 | 2.985 | 129.13 | 3.094 | 128.519 | 3.618 | 126.289 | 3.644 | 129.175 | 27.55 | 880 | 86.57 | 4.191
2020-08-07 19:15:00 | 2.753 | 125.52 | 2.874 | 123.715 | 3.114 | 122.758 | 3.242 | 124.349 | 27.43 | 880 | 84.98 | 4.411
2020-08-07 19:30:00 | 2.633 | 132.04 | 2.736 | 124.471 | 2.903 | 128.743 | 3.022 | 125.106 | 27.23 | 880 | 86 | 3.78
2020-08-07 19:45:00 | 2.688 | 129.19 | 2.79 | 127.981 | 2.92 | 126.348 | 3.044 | 128.636 | 26.96 | 880 | 86.64 | 4.451
2020-08-07 20:00:00 | 2.769 | 142.73 | 2.844 | 130.739 | 3.143 | 139.592 | 3.181 | 131.408 | 26.77 | 880 | 87.44 | 5.338
2020-08-07 20:15:00 | 2.9114 | 137.3571 | 3.0171 | 136.4386 | 3.2829 | 134.3343 | 3.3793 | 137.1343 | 26.7429 | 880 | 89.1143 | 6.8453
2020-08-07 20:30:00 | 2.968 | 136.4267 | 3.0913 | 136.5233 | 3.4293 | 133.4267 | 3.532 | 137.2193 | 26.3867 | 880 | 91.8267 | 7.2913
2020-08-07 20:45:00 | 2.754 | 130.9533 | 2.8533 | 132.5973 | 3.1887 | 128.074 | 3.2513 | 133.2733 | 26.3067 | 880 | 92.6533 | 6.5433
2020-08-07 21:00:00 | 2.7373 | 127.08 | 2.81 | 134.7033 | 3.1347 | 124.284 | 3.1567 | 135.392 | 26.0933 | 880 | 93.82 | 6.3047
2020-08-07 21:15:00 | 2.676 | 126.34 | 2.75 | 129.252 | 3.002 | 123.56 | 3.044 | 129.914 | 26 | 880 | 94.9 | 6.004
2020-08-07 21:30:00 | 2.7 | 123.16 | 2.876 | 127.902 | 2.832 | 120.45 | 3.122 | 128.556 | 25.82 | 880 | 95.28 | 4.358
2020-08-07 21:45:00 | 2.21 | 132.3778 | 2.2989 | 123.0989 | 2.5422 | 129.4667 | 2.6111 | 123.7267 | 25.5111 | 880 | 95.9111 | 3.3033
2020-08-07 22:00:00 | 2.156 | 145.13 | 2.22 | 126.477 | 2.311 | 141.937 | 2.388 | 127.122 | 25.35 | 880 | 96.01 | 3.166
2020-08-07 22:15:00 | 2.132 | 132.89 | 2.212 | 135.249 | 2.199 | 129.968 | 2.336 | 135.939 | 25.35 | 881 | 97.04 | 2.86
2020-08-07 22:30:00 | 1.98 | 129.95 | 2.063 | 120.48 | 2.187 | 127.09 | 2.285 | 121.095 | 25.29 | 881 | 97.13 | 2.854
2020-08-07 22:45:00 | 2.065 | 102.16 | 2.108 | 124.167 | 2.506 | 99.912 | 2.459 | 124.801 | 25.26 | 881 | 97.22 | 2.791
2020-08-07 23:00:00 | 1.763 | 107.62 | 1.812 | 125.848 | 1.943 | 105.253 | 1.987 | 126.494 | 25.21 | 881 | 97.55 | 1.778
2020-08-07 23:15:00 | 1.59 | 128.24 | 1.65 | 119.717 | 1.772 | 125.42 | 1.831 | 120.33 | 25.37 | 881 | 97.42 | 0.873
2020-08-07 23:30:00 | 1.644 | 107.46 | 1.712 | 118.954 | 1.9 | 105.096 | 1.955 | 119.563 | 25.32 | 881 | 97.7 | 0.361
2020-08-07 23:45:00 | 1.831 | 117.26 | 1.89 | 121.976 | 2.008 | 114.68 | 2.067 | 122.6 | 25.36 | 881 | 97.72 | 0.012