## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-08 00:00:00 | 1.403 | 104.23 | 1.482 | 109.017 | 1.602 | 101.936 | 1.696 | 109.576 | 25.52 | 881 | 98 | 0
2020-08-08 00:15:00 | 1.688 | 124.6733 | 1.7673 | 111.3413 | 1.8727 | 121.9307 | 1.9673 | 111.912 | 25.54 | 881 | 97.12 | 0
2020-08-08 00:30:00 | 1.7533 | 144.26 | 1.8633 | 138.6933 | 1.9707 | 141.0873 | 2.1147 | 139.4027 | 25.42 | 881 | 96.6133 | 0
2020-08-08 00:45:00 | 1.856 | 134.52 | 1.94 | 128.94 | 1.92 | 131.562 | 2.064 | 129.598 | 25.34 | 881 | 97.08 | 0
2020-08-08 01:00:00 | 1.6411 | 115.8667 | 1.6878 | 126.88 | 1.7556 | 113.3178 | 1.8156 | 127.5267 | 25.4556 | 881 | 97 | 0
2020-08-08 01:15:00 | 1.25 | 113.99 | 1.299 | 122.367 | 1.514 | 111.483 | 1.529 | 122.993 | 25.45 | 880 | 97.4 | 0
2020-08-08 01:30:00 | 0.863 | 90.62 | 0.889 | 93.555 | 0.992 | 88.627 | 1.003 | 94.035 | 25.57 | 880 | 97.6 | 0
2020-08-08 01:45:00 | 0.645 | 64.39 | 0.677 | 64.714 | 0.63 | 62.974 | 0.698 | 65.046 | 25.55 | 880 | 96.62 | 0
2020-08-08 02:00:00 | 1.272 | 34.54 | 1.345 | 15.531 | 1.391 | 33.781 | 1.494 | 15.61 | 25.56 | 880 | 95.96 | 0
2020-08-08 02:15:00 | 1.715 | 16.46 | 1.769 | 141.261 | 1.991 | 16.097 | 2.014 | 141.985 | 25.39 | 880 | 97.98 | 0
2020-08-08 02:30:00 | 1.773 | 76.87 | 1.827 | 271.054 | 2.146 | 75.178 | 2.141 | 272.439 | 25.28 | 880 | 99.44 | 0
2020-08-08 02:45:00 | 1.1893 | 167.72 | 1.2367 | 322.8247 | 1.5307 | 164.0293 | 1.5193 | 324.4747 | 25.28 | 879.5333 | 99.7467 | 0
2020-08-08 03:00:00 | 1.454 | 344.48 | 1.548 | 318.828 | 1.854 | 336.902 | 1.92 | 320.458 | 25.3 | 879 | 99.84 | 0
2020-08-08 03:15:00 | 1.614 | 280.04 | 1.692 | 328.334 | 1.822 | 273.88 | 1.908 | 330.014 | 25.36 | 879 | 100 | 0
2020-08-08 03:30:00 | 1.872 | 271.44 | 1.985 | 326.731 | 2.165 | 264.481 | 2.291 | 328.401 | 25.3 | 879 | 100 | 0
2020-08-08 03:45:00 | 1.879 | 209.91 | 1.975 | 333.89 | 2.139 | 205.291 | 2.245 | 335.596 | 25.19 | 879 | 100 | 0
2020-08-08 04:00:00 | 2.225 | 279.17 | 2.323 | 336.852 | 2.528 | 273.028 | 2.625 | 338.575 | 25.15 | 879 | 100 | 0
2020-08-08 04:15:00 | 2.233 | 241.82 | 2.312 | 315.346 | 2.588 | 236.499 | 2.638 | 316.958 | 25.01 | 879 | 100 | 0.333
2020-08-08 04:30:00 | 1.833 | 76.12 | 1.92 | 308.999 | 2.116 | 74.446 | 2.201 | 310.579 | 25.08 | 879 | 100 | 0
2020-08-08 04:45:00 | 2.0893 | 321.96 | 2.1273 | 306.2373 | 2.336 | 314.8767 | 2.3393 | 307.8047 | 24.9733 | 879 | 100 | 0
2020-08-08 05:00:00 | 1.978 | 337.5 | 2.0627 | 317.988 | 2.2167 | 330.0753 | 2.3073 | 319.6127 | 24.9267 | 879 | 100 | 0
2020-08-08 05:15:00 | 2.302 | 298.1267 | 2.3687 | 320.4187 | 2.7453 | 291.5687 | 2.7467 | 322.0573 | 24.6067 | 879 | 100 | 0.58267
2020-08-08 05:30:00 | 2.478 | 209.18 | 2.61 | 310.732 | 2.938 | 204.578 | 3.062 | 312.318 | 24.52 | 879 | 100 | 0.824
2020-08-08 05:45:00 | 2.236 | 339.78 | 2.376 | 305.546 | 2.824 | 332.308 | 2.924 | 307.11 | 24.54 | 879 | 100 | 0.792
2020-08-08 06:00:00 | 2.557 | 342.51 | 2.743 | 315.22 | 3.138 | 334.975 | 3.318 | 316.832 | 24.47 | 879 | 100 | 2.266
2020-08-08 06:15:00 | 2.891 | 345.58 | 3.047 | 326.585 | 3.393 | 337.978 | 3.543 | 328.253 | 24.47 | 879 | 100 | 3.307
2020-08-08 06:30:00 | 2.998 | 347.36 | 3.133 | 330.839 | 3.556 | 339.719 | 3.646 | 332.529 | 24.63 | 879 | 100 | 3.981
2020-08-08 06:45:00 | 3.006 | 350.39 | 3.186 | 323.464 | 3.542 | 342.684 | 3.732 | 325.118 | 24.57 | 879 | 100 | 4.021
2020-08-08 07:00:00 | 3.033 | 349.94 | 3.266 | 334.232 | 3.591 | 342.241 | 3.873 | 335.94 | 24.43 | 879 | 100 | 4.906
2020-08-08 07:15:00 | 2.85 | 246.86 | 3.072 | 331.66 | 3.322 | 241.429 | 3.609 | 333.357 | 24.45 | 879 | 100 | 3.92
2020-08-08 07:30:00 | 2.809 | 343.58 | 3.002 | 329.215 | 3.302 | 336.019 | 3.527 | 330.897 | 24.39 | 879 | 100 | 4.19
2020-08-08 07:45:00 | 2.449 | 340.07 | 2.557 | 331.2 | 2.832 | 332.588 | 2.924 | 332.892 | 24.55 | 880 | 100 | 2.325
2020-08-08 08:00:00 | 2.492 | 334 | 2.633 | 327.796 | 2.831 | 326.652 | 3.002 | 329.472 | 24.64 | 880 | 100 | 1.865
2020-08-08 08:15:00 | 2.443 | 331.89 | 2.59 | 324.627 | 2.865 | 324.588 | 3.02 | 326.287 | 24.8 | 880 | 100 | 1.463
2020-08-08 08:30:00 | 2.7207 | 335.4714 | 2.8864 | 321.2793 | 3.0736 | 328.0914 | 3.2864 | 322.9229 | 24.7857 | 880 | 100 | 1.7636
2020-08-08 08:45:00 | 2.486 | 332.6733 | 2.656 | 316.9773 | 2.9173 | 325.3547 | 3.1153 | 318.5973 | 25.0467 | 880 | 99.32 | 1.132
2020-08-08 09:00:00 | 1.8127 | 339.1267 | 1.96 | 299.9407 | 2.178 | 331.666 | 2.35 | 301.4733 | 25.3133 | 880 | 97.9067 | 0.11267
2020-08-08 09:15:00 | 1.6693 | 312.2333 | 1.756 | 289.2407 | 2.0113 | 305.364 | 2.076 | 290.72 | 25.6533 | 880.4667 | 95.06 | 0
2020-08-08 09:30:00 | 1.754 | 329.88 | 1.896 | 339.776 | 2.04 | 322.624 | 2.23 | 341.512 | 25.74 | 881 | 93.8 | 0
2020-08-08 09:45:00 | 2.164 | 208.26 | 2.29 | 72.684 | 2.676 | 203.678 | 2.772 | 73.058 | 26.5 | 881 | 93.08 | 0.194
2020-08-08 10:00:00 | 1.9589 | 287.2778 | 2.0111 | 328.3789 | 2.1122 | 280.9589 | 2.1644 | 330.0589 | 26.3222 | 881 | 92.9667 | 0
2020-08-08 10:15:00 | 1.952 | 274.54 | 2 | 324.767 | 2.26 | 268.5 | 2.262 | 326.426 | 26.57 | 881 | 89.83 | 0
2020-08-08 10:30:00 | 1.911 | 241.1 | 1.941 | 269.703 | 2.28 | 235.794 | 2.232 | 271.081 | 27.02 | 881 | 88.66 | 0
2020-08-08 10:45:00 | 2.397 | 302.07 | 2.483 | 297.644 | 2.588 | 295.425 | 2.695 | 299.167 | 26.98 | 882 | 85.96 | 0.482
2020-08-08 11:00:00 | 2.579 | 313.93 | 2.741 | 324.049 | 3.038 | 307.024 | 3.215 | 325.707 | 26.81 | 882 | 86.56 | 0.673
2020-08-08 11:15:00 | 2.12 | 208.84 | 2.253 | 323.885 | 2.395 | 204.246 | 2.571 | 325.539 | 27.2 | 882 | 86.31 | 0
2020-08-08 11:30:00 | 2.217 | 305.7 | 2.33 | 268.686 | 2.382 | 298.974 | 2.55 | 270.059 | 28 | 882 | 84 | 0
2020-08-08 11:45:00 | 2.443 | 288.08 | 2.507 | 266.799 | 2.519 | 281.741 | 2.627 | 268.161 | 28.62 | 882 | 81.205 | 0.107
2020-08-08 12:00:00 | 1.895 | 248.2857 | 1.9757 | 170.4514 | 2.33 | 242.8236 | 2.3571 | 171.3221 | 28.5429 | 882 | 76.4329 | 0.39133
2020-08-08 12:15:00 | 2.5387 | 335.2 | 2.7193 | 228.2253 | 2.878 | 327.826 | 3.1233 | 229.392 | 28.8867 | 882 | 76.6427 | 0.034
2020-08-08 12:30:00 | 1.898 | 249.5733 | 1.9833 | 270.8473 | 2.142 | 244.0833 | 2.232 | 272.232 | 28.96 | 882 | 76.0947 | 0
2020-08-08 12:45:00 | 0.904 | 265.78 | 0.972 | 227.64 | 1.268 | 259.932 | 1.28 | 228.802 | 29.58 | 882 | 76.904 | 0
2020-08-08 13:00:00 | 1.118 | 209.05 | 1.158 | 169.898 | 1.256 | 204.451 | 1.295 | 170.766 | 30.2 | 882 | 71.849 | 0
2020-08-08 13:15:00 | 1.477 | 177.77 | 1.496 | 30.056 | 1.62 | 173.859 | 1.614 | 30.208 | 30.22 | 882 | 70.73 | 0
2020-08-08 13:30:00 | 0.965 | 185.99 | 1.01 | 103.297 | 1.197 | 181.897 | 1.216 | 103.826 | 30.77 | 882 | 73.544 | 0
2020-08-08 13:45:00 | 1.411 | 110.54 | 1.445 | 169.213 | 1.278 | 108.108 | 1.381 | 170.078 | 30.76 | 882 | 70.058 | 0
2020-08-08 14:00:00 | 1.026 | 151.05 | 1.122 | 167.443 | 0.964 | 147.726 | 1.163 | 168.3 | 30.88 | 882 | 67.264 | 0
2020-08-08 14:15:00 | 0.839 | 209.1 | 0.92 | 54.132 | 0.784 | 204.499 | 0.957 | 54.41 | 31.8 | 881 | 63.212 | 0
2020-08-08 14:30:00 | 1.278 | 199.64 | 1.2447 | 66.7073 | 1.242 | 195.248 | 1.1893 | 67.0473 | 31.62 | 881 | 62.0773 | 0
2020-08-08 14:45:00 | 1.452 | 178.06 | 1.464 | 336.354 | 1.23 | 174.144 | 1.322 | 338.076 | 31.74 | 881 | 60.79 | 0
2020-08-08 15:00:00 | 0.96 | 202.23 | 1.018 | 206.583 | 0.883 | 197.781 | 1.018 | 207.64 | 31.99 | 881 | 61.529 | 0
2020-08-08 15:15:00 | 1.305 | 193.46 | 1.443 | 194.308 | 1.337 | 189.203 | 1.588 | 195.302 | 32.4 | 881 | 59.38 | 0
2020-08-08 15:30:00 | 2.095 | 200.49 | 2.174 | 132.746 | 2.306 | 196.08 | 2.396 | 133.422 | 31.23 | 881 | 64.352 | 0
2020-08-08 15:45:00 | 1.677 | 188.9 | 1.698 | 142.914 | 1.953 | 184.355 | 1.908 | 143.645 | 31.15 | 881 | 72.674 | 0
2020-08-08 16:00:00 | 1.746 | 189.69 | 1.822 | 141.662 | 1.816 | 185.516 | 1.943 | 142.386 | 31.67 | 880.3 | 71.768 | 0
2020-08-08 16:15:00 | 1.619 | 206.09 | 1.695 | 142.63 | 1.716 | 201.556 | 1.832 | 143.362 | 31.59 | 880 | 70.866 | 0
2020-08-08 16:30:00 | 1.847 | 192.45 | 1.956 | 153.996 | 1.97 | 188.216 | 2.143 | 154.782 | 31.53 | 880 | 70.202 | 0
2020-08-08 16:45:00 | 1.695 | 187.7071 | 1.7621 | 169.9343 | 1.9314 | 183.5764 | 1.99 | 170.8036 | 31.4714 | 880 | 69.3786 | 0
2020-08-08 17:00:00 | 1.5247 | 171.5933 | 1.586 | 172.1747 | 1.678 | 167.818 | 1.7527 | 173.052 | 31.7067 | 880 | 69.1567 | 0
2020-08-08 17:15:00 | 1.7453 | 177.0267 | 1.8473 | 162.224 | 1.9307 | 173.1327 | 2.07 | 163.0527 | 31.4733 | 880 | 69.1413 | 0
2020-08-08 17:30:00 | 1.942 | 188 | 2.076 | 137.254 | 2.262 | 183.866 | 2.426 | 137.954 | 31.2 | 880 | 70.22 | 0.068
2020-08-08 17:45:00 | 1.984 | 203.24 | 2.11 | 186.045 | 2.21 | 198.769 | 2.385 | 186.995 | 31.39 | 880 | 70.67 | 0
2020-08-08 18:00:00 | 2.306 | 200.5 | 2.531 | 182.73 | 2.688 | 196.088 | 3.004 | 183.663 | 31.02 | 880 | 71.017 | 1.14
2020-08-08 18:15:00 | 2.409 | 195.44 | 2.574 | 181.223 | 2.748 | 191.14 | 2.96 | 182.151 | 30.42 | 880 | 75.174 | 2.361
2020-08-08 18:30:00 | 2.307 | 200.61 | 2.491 | 196.979 | 2.715 | 196.198 | 2.945 | 197.985 | 30.48 | 880 | 76.638 | 2.247
2020-08-08 18:45:00 | 2.126 | 201.83 | 2.342 | 197.468 | 2.361 | 197.39 | 2.702 | 198.478 | 30.01 | 879 | 75.104 | 1.688
2020-08-08 19:00:00 | 2.392 | 201.51 | 2.549 | 191.727 | 2.764 | 197.077 | 2.963 | 192.708 | 29.73 | 879 | 74.899 | 1.768
2020-08-08 19:15:00 | 1.699 | 211.33 | 1.842 | 210.103 | 2.031 | 206.679 | 2.204 | 211.178 | 30.05 | 879 | 75.265 | 0
2020-08-08 19:30:00 | 1.4753 | 195.6533 | 1.6013 | 225.5067 | 1.712 | 191.3493 | 1.882 | 226.66 | 30.1133 | 879 | 73.5447 | 0
2020-08-08 19:45:00 | 2.25 | 176.3867 | 2.2653 | 200.6527 | 2.726 | 172.506 | 2.6207 | 201.6773 | 29.78 | 879 | 72.5047 | 0
2020-08-08 20:00:00 | 7.776 | 351.28 | 8.65 | 278.71 | 9.22 | 343.552 | 10.46 | 280.134 | 27.02 | 879 | 76.88 | 6.862
2020-08-08 20:15:00 | 7.8678 | 338.1 | 8.4356 | 319.9922 | 8.6811 | 330.6622 | 9.5256 | 321.6267 | 23.4889 | 879 | 81.4222 | 37.147
2020-08-08 20:30:00 | 4.42 | 308.39 | 4.729 | 292.235 | 5.142 | 301.605 | 5.52 | 293.73 | 25.82 | 879 | 94.47 | 14.265
2020-08-08 20:45:00 | 2.587 | 306.61 | 2.695 | 301.83 | 3.16 | 299.865 | 3.201 | 303.374 | 26.24 | 879 | 93.71 | 2.88
2020-08-08 21:00:00 | 1.083 | 234.18 | 1.143 | 285.519 | 1.13 | 229.027 | 1.233 | 286.977 | 26.3 | 879 | 95.87 | 0
2020-08-08 21:15:00 | 0.904 | 265.4 | 1.062 | 286.926 | 1.048 | 259.561 | 1.309 | 288.393 | 25.99 | 879 | 97.72 | 0
2020-08-08 21:30:00 | 1.093 | 114.05 | 1.061 | 49.644 | 1.244 | 111.541 | 1.14 | 49.897 | 25.76 | 879 | 95.83 | 0
2020-08-08 21:45:00 | 0.88133 | 153.5533 | 0.90733 | 242.7853 | 0.96933 | 150.1753 | 0.992 | 244.0253 | 24.4867 | 879 | 96.8533 | 0
2020-08-08 22:00:00 | 0.45933 | 214.4467 | 0.474 | 80.8613 | 0.432 | 209.7293 | 0.46667 | 81.2747 | 24.1867 | 879.8 | 95.1467 | 0
2020-08-08 22:15:00 | 0.77467 | 263.46 | 0.78067 | 256.1967 | 0.74133 | 257.664 | 0.76533 | 257.5073 | 24.08 | 880 | 97.3733 | 0
2020-08-08 22:30:00 | 1.272 | 282.06 | 1.224 | 287.436 | 1.138 | 275.856 | 1.094 | 288.904 | 23.82 | 880 | 96.56 | 0
2020-08-08 22:45:00 | 0.395 | 245.54 | 0.409 | 218.749 | 0.513 | 240.139 | 0.511 | 219.866 | 24.34 | 880 | 92.9 | 0
2020-08-08 23:00:00 | 0.817 | 43.79 | 0.88 | 218.553 | 0.881 | 42.827 | 0.986 | 219.672 | 24.22 | 880 | 95.14 | 0
2020-08-08 23:15:00 | 0.503 | 139.95 | 0.526 | 148.645 | 0.555 | 136.872 | 0.584 | 149.405 | 24.21 | 880 | 96.51 | 0
2020-08-08 23:30:00 | 0.639 | 162.87 | 0.709 | 143.483 | 0.808 | 159.287 | 0.889 | 144.216 | 24.38 | 880 | 97.28 | 0
2020-08-08 23:45:00 | 0.91 | 304.52 | 0.934 | 302.729 | 1.046 | 297.82 | 1.05 | 304.278 | 23.89 | 880 | 97.33 | 0